## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-19 00:00:00 | 5.081 | 247.56 | 6.311 | 264.449 | 6.702 | 267.633 | 6.886 | 263.417 | -5.997 | 890.008 | 64.032 | 33.0037
2020-02-19 00:15:00 | 5.225 | 259.36 | 6.393 | 266.762 | 6.846 | 270.3 | 7.198 | 264.3 | -5.944 | 890.058 | 63.456 | 40.7411
2020-02-19 00:30:00 | 6.451 | 243.413 | 7.517 | 262.797 | 7.922 | 268.033 | 8.084 | 264.017 | -5.997 | 889.933 | 63.28 | 48.1885
2020-02-19 00:45:00 | 6.289 | 241.993 | 7.442 | 263.323 | 7.908 | 268.633 | 8.336 | 263.317 | -5.898 | 889.633 | 63.877 | 50.9931
2020-02-19 01:00:00 | 6.83 | 272.307 | 7.83 | 278.718 | 8.03 | 280.667 | 8.347 | 274.8 | -5.918 | 889.85 | 63.899 | 44.4957
2020-02-19 01:15:00 | 8.546 | 230.567 | 9.932 | 267.883 | 10.594 | 272.533 | 11.173 | 268.333 | -6.306 | 890.442 | 62.624 | 66.8913
2020-02-19 01:30:00 | 11.818 | 217.307 | 13.616 | 260.673 | 14.077 | 266.367 | 14.515 | 262.267 | -6.136 | 890.225 | 61.077 | 73.388
2020-02-19 01:45:00 | 11.094 | 221.133 | 12.824 | 260.691 | 13.461 | 266.6 | 14.039 | 261.733 | -5.918 | 889.625 | 60.176 | 70.2672
2020-02-19 02:00:00 | 10.464 | 231.727 | 12.549 | 262.966 | 13.556 | 266.8 | 14.245 | 264.05 | -6.395 | 889.783 | 60.768 | 69.3847
2020-02-19 02:15:00 | 12.022 | 232.647 | 13.889 | 263.837 | 14.657 | 267.4 | 15.027 | 263.933 | -6.245 | 889.925 | 61.056 | 68.8049
2020-02-19 02:30:00 | 13.04 | 228.653 | 14.593 | 263.611 | 15.226 | 265.467 | 15.487 | 261.767 | -6.295 | 889.692 | 61.152 | 68.3039
2020-02-19 02:45:00 | 12.692 | 230.087 | 14.289 | 261.372 | 14.921 | 267.533 | 15.364 | 263.6 | -6.07 | 889.825 | 61.093 | 60.8195
2020-02-19 03:00:00 | 10.396 | 224.72 | 12.124 | 265.148 | 12.672 | 267.933 | 12.851 | 266.467 | -6.213 | 889.825 | 61.317 | 60.6113
2020-02-19 03:15:00 | 12.467 | 242.333 | 14.19 | 267.893 | 14.849 | 269.4 | 14.96 | 267.733 | -6.575 | 889.942 | 60.213 | 59.2478
2020-02-19 03:30:00 | 10.644 | 230.693 | 11.751 | 269.792 | 12.645 | 274.8 | 12.858 | 271.433 | -6.462 | 889.958 | 59.669 | 57.3918
2020-02-19 03:45:00 | 11.597 | 235.507 | 13.06 | 265.84 | 13.58 | 269.967 | 13.811 | 265.867 | -6.678 | 889.908 | 60.283 | 56.6833
2020-02-19 04:00:00 | 11.333 | 237.227 | 12.762 | 270.692 | 12.97 | 273.5 | 13.27 | 271.067 | -6.814 | 889.983 | 60.507 | 55.9323
2020-02-19 04:15:00 | 11.837 | 231.893 | 13.43 | 272.114 | 13.578 | 276.7 | 14.027 | 272.617 | -6.843 | 889.992 | 60.773 | 55.8179
2020-02-19 04:30:00 | 12.109 | 229.393 | 13.366 | 265.287 | 13.684 | 271.667 | 14.257 | 267.3 | -6.992 | 890.117 | 64.533 | 55.508
2020-02-19 04:45:00 | 11.393 | 227.14 | 12.347 | 262.078 | 12.784 | 264.867 | 12.967 | 259.333 | -7.071 | 889.825 | 63.307 | 54.4017
2020-02-19 05:00:00 | 8.815 | 229.513 | 10.287 | 261.185 | 10.757 | 265.083 | 11.235 | 259.833 | -7.071 | 889.758 | 60.939 | 51.7399
2020-02-19 05:15:00 | 11.984 | 218.127 | 13.461 | 262.401 | 14.403 | 265.6 | 14.24 | 261.567 | -6.942 | 889.817 | 60.379 | 52.5954
2020-02-19 05:30:00 | 13.44 | 223.2 | 14.702 | 260.644 | 15 | 263.367 | 15.057 | 258.483 | -6.512 | 890.375 | 59.893 | 53.4005
2020-02-19 05:45:00 | 11.8 | 220.473 | 13.558 | 258.807 | 14.528 | 262.433 | 14.946 | 259.05 | -6.817 | 889.658 | 59.541 | 53.6187
2020-02-19 06:00:00 | 12.417 | 221.653 | 13.791 | 258.772 | 14.625 | 262.667 | 14.989 | 258.6 | -6.853 | 889.633 | 60.112 | 54.008
2020-02-19 06:15:00 | 12.811 | 218.833 | 14.188 | 252.299 | 14.99 | 256.367 | 15.602 | 254.233 | -6.578 | 889.85 | 59.605 | 53.7167
2020-02-19 06:30:00 | 12.878 | 230.62 | 14.609 | 253.354 | 15.163 | 256.833 | 15.622 | 254.833 | -6.078 | 889.825 | 59.045 | 53.9704
2020-02-19 06:45:00 | 13.883 | 222.693 | 15.545 | 255.975 | 16.25 | 259.333 | 16.511 | 256.2 | -6.378 | 889.933 | 58.395 | 54.1295
2020-02-19 07:00:00 | 14.339 | 229.047 | 15.585 | 257.267 | 16.093 | 259.733 | 16.491 | 255.983 | -6.624 | 889.8 | 57.755 | 54.5118
2020-02-19 07:15:00 | 13.656 | 225.48 | 15.49 | 257.429 | 16.112 | 260.167 | 16.803 | 257.233 | -6.787 | 889.683 | 56.955 | 54.6888
2020-02-19 07:30:00 | 11.278 | 214.933 | 12.457 | 251.253 | 13.186 | 254.867 | 13.16 | 252 | -6.992 | 889.8 | 57.493 | 54.4401
2020-02-19 07:45:00 | 10.962 | 215.34 | 12.526 | 253.756 | 13.359 | 257.5 | 13.592 | 255.433 | -6.913 | 890.025 | 57.227 | 61.7362
2020-02-19 08:00:00 | 10.887 | 212.9 | 12.255 | 252.647 | 12.742 | 255.767 | 13.168 | 252.7 | -7.091 | 890.033 | 57.739 | 66.3207
2020-02-19 08:15:00 | 11.526 | 207.947 | 13.028 | 253.6 | 13.714 | 257.467 | 14.07 | 253.983 | -7.091 | 889.975 | 59.872 | 67.0988
2020-02-19 08:30:00 | 12.481 | 221.22 | 14.222 | 258.38 | 14.814 | 261 | 14.864 | 258.067 | -6.75 | 889.858 | 60.427 | 68.3679
2020-02-19 08:45:00 | 11.239 | 241.133 | 12.214 | 271.39 | 13.269 | 274.067 | 13.621 | 270.567 | -6.717 | 889.742 | 56.811 | 68.5732
2020-02-19 09:00:00 | 9.97 | 261.433 | 11.22 | 276.101 | 11.693 | 279.9 | 12.466 | 277.233 | -7.289 | 890.133 | 55.291 | 68.9676
2020-02-19 09:15:00 | 11.343 | 236.547 | 12.482 | 267.351 | 13.374 | 269.067 | 13.842 | 268.433 | -7.21 | 889.942 | 57.595 | 68.3395
2020-02-19 09:30:00 | 12.786 | 229.773 | 14.464 | 263.605 | 15.191 | 267.367 | 15.379 | 262.667 | -6.902 | 890.108 | 58.091 | 67.5244
2020-02-19 09:45:00 | 11.673 | 216.4 | 12.815 | 262.173 | 13.431 | 264.3 | 13.876 | 262.833 | -6.565 | 890.408 | 57.621 | 68.0076
2020-02-19 10:00:00 | 11.154 | 224.307 | 12.381 | 255.174 | 13.132 | 257.933 | 13.06 | 254.917 | -6.774 | 889.55 | 56.672 | 67.2054
2020-02-19 10:15:00 | 10.472 | 210.1 | 11.342 | 253.142 | 11.939 | 258.9 | 12.065 | 254.6 | -6.662 | 889.517 | 55.643 | 64.4249
2020-02-19 10:30:00 | 12.708 | 226.28 | 13.635 | 262.366 | 14.082 | 265.6 | 14.321 | 262.633 | -6.478 | 889.658 | 52.085 | 59.1156
2020-02-19 10:45:00 | 11.981 | 221.213 | 13.12 | 254.717 | 13.411 | 258.4 | 13.446 | 255.367 | -5.997 | 889.525 | 50.144 | 56.3863
2020-02-19 11:00:00 | 10.92 | 212.733 | 11.913 | 257.869 | 12.028 | 259.867 | 12.322 | 256.267 | -5.898 | 890.225 | 50.304 | 55.6495
2020-02-19 11:15:00 | 11.197 | 214.333 | 11.796 | 251.425 | 12.168 | 257.183 | 11.921 | 251.3 | -5.622 | 890.083 | 49.819 | 55.8228
2020-02-19 11:30:00 | 11.034 | 209.033 | 12.007 | 250.138 | 11.913 | 254.133 | 11.668 | 250.367 | -5.419 | 889.85 | 48.832 | 54.4905
2020-02-19 11:45:00 | 10.266 | 210.533 | 11.033 | 246.952 | 11.343 | 251.8 | 11.07 | 247.5 | -5.035 | 889.742 | 48.283 | 49.098
2020-02-19 12:00:00 | 10.929 | 221.727 | 11.966 | 259.584 | 12.27 | 262.3 | 12.392 | 258.1 | -4.969 | 889.692 | 47.296 | 49.685
2020-02-19 12:15:00 | 11.403 | 226.793 | 12.325 | 261.855 | 12.538 | 264.9 | 12.628 | 262.15 | -4.779 | 889.683 | 46.448 | 44.1141
2020-02-19 12:30:00 | 10.964 | 237.447 | 11.84 | 267.113 | 12.004 | 269.3 | 12.196 | 266.967 | -4.719 | 890.008 | 46.027 | 41.0608
2020-02-19 12:45:00 | 11.008 | 238.487 | 11.787 | 265.999 | 12.171 | 269.933 | 12.224 | 266.017 | -4.919 | 889.575 | 45.525 | 38.9021
2020-02-19 13:00:00 | 11.403 | 223.287 | 12.343 | 258.608 | 12.453 | 263.1 | 12.614 | 260.1 | -5.319 | 889.758 | 48.283 | 35.053
2020-02-19 13:15:00 | 11.832 | 228.927 | 12.83 | 260.96 | 13.055 | 264.767 | 13.278 | 259.567 | -4.785 | 889.633 | 49.355 | 33.0634
2020-02-19 13:30:00 | 11.761 | 232.847 | 12.63 | 260.888 | 13.025 | 263.967 | 12.842 | 259.817 | -4.969 | 889.933 | 48.011 | 32.8687
2020-02-19 13:45:00 | 11.403 | 229.807 | 12.505 | 268.8 | 12.843 | 269.733 | 13.12 | 267.617 | -4.61 | 889.75 | 46.555 | 29.1254
2020-02-19 14:00:00 | 11.464 | 238.133 | 12.162 | 267.947 | 11.906 | 271 | 11.695 | 267.133 | -4.619 | 889.692 | 45.429 | 25.7794
2020-02-19 14:15:00 | 12.929 | 233.787 | 13.917 | 268.398 | 13.968 | 271.833 | 14.07 | 268.467 | -4.424 | 889.817 | 45.093 | 23.4395
2020-02-19 14:30:00 | 11.977 | 233.04 | 13.015 | 269.648 | 13.349 | 273.433 | 13.69 | 271.333 | -4.703 | 889.883 | 45.083 | 25.4461
2020-02-19 14:45:00 | 12.247 | 232.433 | 13.65 | 271.464 | 14.21 | 274.2 | 14.102 | 270.433 | -4.796 | 890.267 | 45.205 | 26.5063
2020-02-19 15:00:00 | 12.38 | 228.74 | 13.617 | 269.578 | 13.968 | 273.4 | 13.697 | 269.333 | -4.44 | 889.983 | 45.637 | 25.9527
2020-02-19 15:15:00 | 12.182 | 236.02 | 13.377 | 270.583 | 13.564 | 274.133 | 13.446 | 270.967 | -4.364 | 889.908 | 45.803 | 24.0413
2020-02-19 15:30:00 | 12.733 | 256.807 | 13.741 | 281.164 | 14 | 285.467 | 14.407 | 283.3 | -3.501 | 889.767 | 41.16 | 24.1856
2020-02-19 15:45:00 | 13.208 | 239.833 | 14.613 | 273.822 | 14.736 | 275.867 | 14.673 | 275.3 | -3.271 | 889.583 | 41.715 | 24.7341
2020-02-19 16:00:00 | 13.152 | 248.233 | 14.526 | 280.098 | 14.671 | 280.733 | 15.066 | 279.833 | -3.706 | 890.242 | 42.464 | 32.3514
2020-02-19 16:15:00 | 14.27 | 259 | 15.299 | 280.201 | 15.818 | 281.533 | 16.145 | 279.633 | -3.622 | 889.8 | 42.64 | 51.5466
2020-02-19 16:30:00 | 12.605 | 268.833 | 13.569 | 284.802 | 14.186 | 287.7 | 14.369 | 285.3 | -3.722 | 889.758 | 44.229 | 60.4571
2020-02-19 16:45:00 | 12.768 | 262.567 | 14.035 | 283.516 | 14.387 | 286.033 | 14.99 | 283.5 | -3.588 | 889.842 | 43.509 | 58.9529
2020-02-19 17:00:00 | 13.497 | 268.167 | 14.714 | 280.804 | 15.276 | 281 | 15.709 | 281 | -3.773 | 889.6 | 44.219 | 61.4271
2020-02-19 17:15:00 | 13.244 | 258.567 | 14.548 | 281.909 | 14.962 | 284.567 | 15.448 | 282.7 | -3.488 | 889.733 | 44.619 | 66.3136
2020-02-19 17:30:00 | 12.367 | 257.313 | 13.281 | 280.172 | 13.217 | 281.4 | 13.476 | 277.6 | -3.977 | 890.4 | 46.123 | 66.0728
2020-02-19 17:45:00 | 12.387 | 245.8 | 13.352 | 268.101 | 13.898 | 271.667 | 13.877 | 268.367 | -4.215 | 889.908 | 47.755 | 63.9446
2020-02-19 18:00:00 | 12.883 | 244.147 | 13.949 | 273.094 | 14.592 | 277 | 14.942 | 275.2 | -4.384 | 890.125 | 48.64 | 67.0974
2020-02-19 18:15:00 | 12.731 | 228.087 | 13.775 | 265.746 | 13.945 | 270.2 | 14.044 | 267.9 | -4.364 | 890.133 | 49.227 | 68.0503
2020-02-19 18:30:00 | 11.536 | 236.24 | 12.375 | 272.413 | 12.504 | 275.933 | 12.933 | 272.833 | -4.869 | 889.992 | 50.597 | 67.6552
2020-02-19 18:45:00 | 11.203 | 228.633 | 12.44 | 265.49 | 12.902 | 268.333 | 12.971 | 265.833 | -4.952 | 889.633 | 51.109 | 67.6218
2020-02-19 19:00:00 | 10.912 | 227.7 | 12.437 | 270.401 | 12.837 | 274.133 | 13.254 | 271.433 | -5.219 | 889.742 | 53.024 | 65.9186
2020-02-19 19:15:00 | 8.855 | 225.987 | 9.972 | 266.988 | 10.725 | 270.333 | 11.147 | 267.917 | -5.485 | 889.942 | 53.712 | 65.2663
2020-02-19 19:30:00 | 7.45 | 236.72 | 9.256 | 274.472 | 10.086 | 278 | 10.372 | 274.933 | -5.819 | 890.233 | 55.269 | 67.4285
2020-02-19 19:45:00 | 10.82 | 233.5 | 12.58 | 270.73 | 12.948 | 273.9 | 13.324 | 270.667 | -6.175 | 889.725 | 54.672 | 70.9963
2020-02-19 20:00:00 | 9.463 | 232.573 | 10.837 | 273.098 | 11.51 | 276.8 | 12.064 | 274.633 | -5.918 | 890.075 | 55.403 | 71.041
2020-02-19 20:15:00 | 9.432 | 227.68 | 10.684 | 267.767 | 11.088 | 271.633 | 11.559 | 269.6 | -6.478 | 889.892 | 56.043 | 70.7405
2020-02-19 20:30:00 | 8.381 | 238.487 | 9.753 | 270.783 | 10.43 | 273.167 | 11.018 | 269.867 | -6.545 | 889.792 | 54.341 | 67.5145
2020-02-19 20:45:00 | 5.631 | 235.72 | 7.013 | 265.839 | 7.616 | 270.433 | 7.946 | 266.883 | -6.562 | 890.067 | 53.067 | 53.5746
2020-02-19 21:00:00 | 4.787 | 237.1 | 5.684 | 257.594 | 6.37 | 263.633 | 6.774 | 261.033 | -6.678 | 889.967 | 50.085 | 64.1443
2020-02-19 21:15:00 | 9.132 | 228.673 | 10.876 | 258.791 | 11.581 | 262.633 | 11.794 | 259.967 | -6.678 | 889.392 | 49.851 | 78.7976
2020-02-19 21:30:00 | 9.461 | 223.58 | 11.076 | 261.671 | 11.948 | 265.1 | 12.25 | 261.217 | -6.345 | 890.475 | 48.827 | 78.1488
2020-02-19 21:45:00 | 9.122 | 220.653 | 9.974 | 263.604 | 10.578 | 267.967 | 11.07 | 264.817 | -6.136 | 890.533 | 47.792 | 75.978
2020-02-19 22:00:00 | 10.907 | 241.213 | 12.582 | 270.801 | 13.21 | 272.3 | 13.625 | 269.167 | -5.812 | 889.8 | 46.96 | 79.3135
2020-02-19 22:15:00 | 11.028 | 227.953 | 12.111 | 260.543 | 12.596 | 265.367 | 12.705 | 262.733 | -5.997 | 889.892 | 46.848 | 76.0647
2020-02-19 22:30:00 | 8.475 | 225.253 | 9.41 | 263.267 | 9.703 | 268.933 | 10.245 | 265.683 | -5.898 | 890.292 | 47.664 | 61.4477
2020-02-19 22:45:00 | 8.967 | 219.033 | 10.81 | 254.793 | 11.494 | 256.633 | 11.584 | 254.633 | -5.938 | 889.883 | 48.245 | 52.8903
2020-02-19 23:00:00 | 11.133 | 214.167 | 12.632 | 259.594 | 13.58 | 262.083 | 14.057 | 259.833 | -5.918 | 889.667 | 48.821 | 52.2338
2020-02-19 23:15:00 | 11.497 | 227.553 | 12.908 | 263.39 | 13.606 | 266.1 | 13.861 | 263.033 | -5.958 | 889.467 | 49.147 | 57.7229
2020-02-19 23:30:00 | 9.474 | 213.973 | 11.247 | 263.226 | 11.993 | 265.933 | 12.262 | 263.2 | -5.958 | 889.775 | 49.269 | 58.302
2020-02-19 23:45:00 | 7.939 | 225.46 | 9.478 | 265.764 | 10.202 | 270.7 | 10.568 | 265.483 | -5.879 | 889.767 | 48.251 | 58.2586