## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-20 00:00:00 | 7.934 | 223.693 | 9.761 | 260.892 | 10.768 | 262.933 | 11.27 | 260.283 | -6.096 | 890.017 | 44.581 | 51.8174
2020-02-20 00:15:00 | 9.91 | 209.92 | 11.605 | 250.952 | 12.915 | 254.633 | 13.334 | 251 | -5.868 | 889.625 | 43.307 | 44.8829
2020-02-20 00:30:00 | 10.768 | 216.9 | 12.995 | 250.405 | 14.136 | 254.667 | 14.361 | 250.9 | -5.898 | 889.708 | 44.32 | 39.9935
2020-02-20 00:45:00 | 8.662 | 210.647 | 11.011 | 249.859 | 12.411 | 255.033 | 12.983 | 251.45 | -6.302 | 890.017 | 45.291 | 37.5385
2020-02-20 01:00:00 | 9.614 | 209.92 | 11.631 | 250.287 | 13.1 | 254.767 | 13.477 | 251.117 | -6.322 | 890.167 | 45.035 | 36.4641
2020-02-20 01:15:00 | 8.436 | 217.353 | 10.518 | 250.1 | 11.74 | 254.533 | 12.096 | 251.3 | -6.392 | 890.033 | 45.728 | 35.0856
2020-02-20 01:30:00 | 9.016 | 214.6 | 10.443 | 253.649 | 11.098 | 256.633 | 11.394 | 253.25 | -6.578 | 889.85 | 45.989 | 34.7446
2020-02-20 01:45:00 | 7.369 | 219.947 | 9.313 | 248.844 | 10.258 | 254.733 | 10.678 | 250.017 | -6.445 | 890.05 | 46.667 | 33.5004
2020-02-20 02:00:00 | 8.279 | 205.24 | 10.599 | 247.923 | 12.014 | 253.733 | 12.812 | 248.483 | -7.012 | 890.142 | 47.2 | 30.9971
2020-02-20 02:15:00 | 9.743 | 204.42 | 11.769 | 247.063 | 13.143 | 252 | 13.683 | 246.8 | -6.952 | 889.525 | 47.477 | 29.1133
2020-02-20 02:30:00 | 7.278 | 221.607 | 9.368 | 242.112 | 11.133 | 245.3 | 12.034 | 240.767 | -6.73 | 890.133 | 46.667 | 28.9613
2020-02-20 02:45:00 | 8.56 | 208.027 | 11.206 | 236.695 | 12.793 | 243.2 | 13.406 | 239.033 | -7.302 | 890.192 | 47.648 | 29.8722
2020-02-20 03:00:00 | 9.656 | 211.473 | 12.079 | 231.42 | 13.554 | 239.167 | 14.007 | 235.367 | -7.111 | 889.858 | 48.565 | 28.2905
2020-02-20 03:15:00 | 8.498 | 211.847 | 10.673 | 232.337 | 12.311 | 241.3 | 13.054 | 238 | -7.313 | 889.792 | 48.629 | 28.2806
2020-02-20 03:30:00 | 10.153 | 213.653 | 12.6 | 239.846 | 13.945 | 245.733 | 14.281 | 241.133 | -7.249 | 890.133 | 49.6 | 28.5193
2020-02-20 03:45:00 | 9.825 | 206.753 | 11.718 | 229.275 | 12.895 | 236.833 | 13.403 | 233.667 | -7.316 | 890.292 | 50.592 | 29.5091
2020-02-20 04:00:00 | 8.935 | 213.51 | 10.845 | 230.451 | 12.23 | 238.3 | 12.631 | 236.333 | -7.433 | 889.667 | 51.029 | 30.7086
2020-02-20 04:15:00 | 9.564 | 215.827 | 11.96 | 231.412 | 13.663 | 239.333 | 14.31 | 237.167 | -7.576 | 889.75 | 52.715 | 30.7924
2020-02-20 04:30:00 | 9.798 | 212.2 | 11.945 | 231.984 | 13.232 | 238.267 | 13.386 | 235.367 | -8.291 | 889.808 | 53.515 | 30.7981
2020-02-20 04:45:00 | 10.04 | 207.6 | 12.061 | 234.151 | 13.026 | 241 | 13.1 | 239 | -7.706 | 889.775 | 52.384 | 30.8365
2020-02-20 05:00:00 | 8.915 | 217.02 | 10.756 | 235.276 | 11.818 | 241.733 | 12.141 | 240.9 | -7.366 | 889.908 | 52.149 | 30.9018
2020-02-20 05:15:00 | 8.844 | 215.833 | 10.736 | 235.981 | 11.619 | 244.5 | 12.139 | 244 | -7.572 | 889.592 | 52.149 | 30.8635
2020-02-20 05:30:00 | 8.731 | 218.707 | 10.274 | 236.662 | 10.653 | 244.1 | 10.685 | 242.1 | -7.786 | 889.933 | 52.277 | 30.6574
2020-02-20 05:45:00 | 6.976 | 214.333 | 9.006 | 232.106 | 10.062 | 237.333 | 10.144 | 234.4 | -8.474 | 889.742 | 53.333 | 31.0802
2020-02-20 06:00:00 | 7.328 | 209.507 | 8.999 | 232.557 | 10.413 | 237.133 | 10.807 | 232.7 | -8.271 | 889.65 | 52.704 | 31.5563
2020-02-20 06:15:00 | 7.361 | 214.48 | 8.793 | 235.769 | 9.883 | 238.8 | 10.558 | 233.667 | -8.15 | 890.183 | 52.149 | 31.0248
2020-02-20 06:30:00 | 8.321 | 207.66 | 9.74 | 233.854 | 10.811 | 238.633 | 11.049 | 234.233 | -7.776 | 890.008 | 50.976 | 30.926
2020-02-20 06:45:00 | 7.193 | 209.133 | 8.801 | 239.121 | 9.215 | 246.467 | 9.458 | 244.1 | -7.756 | 889.442 | 49.611 | 30.8201
2020-02-20 07:00:00 | 6.482 | 222.067 | 8.156 | 250.68 | 8.957 | 254.767 | 9.191 | 251.4 | -7.639 | 890.108 | 46.971 | 31.0752
2020-02-20 07:15:00 | 8.148 | 222.033 | 9.806 | 256.048 | 10.564 | 259.033 | 10.856 | 254.717 | -7.23 | 890.017 | 44.459 | 31.859
2020-02-20 07:30:00 | 8.042 | 219.113 | 9.502 | 254.531 | 10.358 | 258.667 | 10.65 | 256.45 | -7.15 | 889.408 | 42.747 | 34.3097
2020-02-20 07:45:00 | 7.382 | 230.727 | 8.559 | 264.905 | 9.106 | 266.933 | 9.44 | 261.267 | -6.956 | 890.008 | 41.824 | 48.386
2020-02-20 08:00:00 | 7.085 | 230.86 | 7.742 | 265.144 | 7.832 | 267.3 | 8.072 | 261.5 | -6.906 | 889.808 | 41.763 | 58.0235
2020-02-20 08:15:00 | 7.366 | 218.367 | 9.035 | 258.31 | 10.056 | 259.233 | 11.062 | 252.633 | -6.753 | 889.8 | 44.101 | 73.2871
2020-02-20 08:30:00 | 7.69 | 208.3 | 8.833 | 247.197 | 9.686 | 251.9 | 10.009 | 247.317 | -6.992 | 890.475 | 43.243 | 53.4957
2020-02-20 08:45:00 | 6.392 | 222.353 | 7.343 | 258.795 | 7.648 | 261.833 | 7.787 | 256.95 | -6.322 | 889.792 | 41.403 | 31.476
2020-02-20 09:00:00 | 5.213 | 241.433 | 6.256 | 262.177 | 6.757 | 266.9 | 7.14 | 262.15 | -6.462 | 889.567 | 41.664 | 36.4485
2020-02-20 09:15:00 | 4.41 | 249.413 | 5.739 | 264.808 | 6.41 | 269.5 | 6.731 | 264.9 | -6.445 | 889.825 | 41.68 | 48.212
2020-02-20 09:30:00 | 7.296 | 218.58 | 8.256 | 259.481 | 8.858 | 261.833 | 9.019 | 258.95 | -6.222 | 889.367 | 40.824 | 72.2724
2020-02-20 09:45:00 | 10.118 | 209.14 | 11.396 | 253.77 | 11.958 | 258.267 | 11.914 | 254.85 | -5.879 | 889.867 | 38.533 | 79.5352
2020-02-20 10:00:00 | 11.322 | 199.973 | 12.569 | 252.878 | 12.988 | 256.633 | 12.837 | 252.433 | -5.485 | 889.9 | 36.723 | 79.3504
2020-02-20 10:15:00 | 11.89 | 228.84 | 12.62 | 249.294 | 13.15 | 252.417 | 13.2 | 248.817 | -5.135 | 889.95 | 36.875 | 79.3518
2020-02-20 10:30:00 | 10.508 | 204.167 | 11.362 | 252.363 | 11.525 | 255.267 | 11.344 | 251.633 | -5.152 | 889.717 | 38.613 | 79.2353
2020-02-20 10:45:00 | 9.481 | 209.04 | 10.462 | 251.509 | 10.97 | 255.6 | 10.97 | 252.417 | -4.999 | 889.633 | 40.288 | 79.268
2020-02-20 11:00:00 | 9.7 | 219.347 | 11.13 | 256.105 | 11.353 | 260.9 | 11.326 | 260.15 | -5.285 | 889.717 | 43.733 | 78.3464
2020-02-20 11:15:00 | 10.667 | 228.26 | 11.474 | 264.242 | 11.927 | 266.633 | 12.075 | 264 | -5.085 | 889.65 | 45.499 | 59.4773
2020-02-20 11:30:00 | 11.267 | 232.04 | 12.351 | 268.289 | 12.853 | 272.033 | 13.2 | 267.833 | -5.085 | 890.317 | 46.187 | 43.2863
2020-02-20 11:45:00 | 12.328 | 227.32 | 12.959 | 267.367 | 13.238 | 272.033 | 13.557 | 269.033 | -4.885 | 889.825 | 46.891 | 38.0956
2020-02-20 12:00:00 | 10.996 | 232.973 | 11.95 | 266.814 | 12.402 | 270.333 | 12.52 | 268 | -4.702 | 889.892 | 47.237 | 38.0842
2020-02-20 12:15:00 | 13.154 | 241.633 | 14.075 | 270.952 | 14.338 | 273.367 | 14.437 | 271.133 | -3.89 | 889.75 | 46.432 | 38.2171
2020-02-20 12:30:00 | 13.44 | 235.933 | 14.736 | 269.399 | 14.941 | 271.067 | 15.142 | 267.733 | -3.79 | 889.458 | 46.88 | 38.4118
2020-02-20 12:45:00 | 12.288 | 244.133 | 13.586 | 272.4 | 13.93 | 273.467 | 13.996 | 270.3 | -3.605 | 890.133 | 46.672 | 38.1908
2020-02-20 13:00:00 | 13.03 | 241.733 | 14.152 | 274.562 | 15.016 | 277.433 | 15.249 | 275.233 | -3.471 | 889.942 | 46.576 | 37.5733
2020-02-20 13:15:00 | 12.328 | 238.44 | 13.626 | 271.518 | 13.752 | 273.567 | 13.952 | 275.1 | -3.33 | 889.225 | 46.955 | 37.7844
2020-02-20 13:30:00 | 14.061 | 253.367 | 15.166 | 279.43 | 15.57 | 281.067 | 15.814 | 280.733 | -2.971 | 889.717 | 45.835 | 38.0047
2020-02-20 13:45:00 | 12.642 | 255.12 | 13.762 | 278.035 | 14.338 | 280.9 | 14.242 | 279.8 | -3.084 | 889.742 | 46.155 | 37.9023
2020-02-20 14:00:00 | 11.71 | 275.407 | 12.594 | 284.438 | 12.79 | 286.333 | 13.364 | 287.167 | -3.2 | 890.042 | 46.299 | 38.0075
2020-02-20 14:15:00 | 12.726 | 239.333 | 13.643 | 271.54 | 13.529 | 274.9 | 13.78 | 274.9 | -3.204 | 889.975 | 47.275 | 37.4966
2020-02-20 14:30:00 | 12.228 | 265.133 | 13.139 | 282.588 | 13.724 | 285.567 | 14.152 | 284.633 | -3.321 | 890.183 | 47.056 | 36.6901
2020-02-20 14:45:00 | 12.459 | 254.607 | 13.632 | 278.494 | 13.921 | 281.1 | 14.322 | 279.5 | -2.864 | 890.033 | 46.267 | 31.5278
2020-02-20 15:00:00 | 13.052 | 265.5 | 14.125 | 284.51 | 14.477 | 287.967 | 14.872 | 286.167 | -3.043 | 889.908 | 45.925 | 21.7881
2020-02-20 15:15:00 | 12.15 | 269.38 | 13.111 | 286.635 | 13.589 | 288.333 | 14.321 | 288.333 | -2.74 | 890.05 | 45.077 | 17.5801
2020-02-20 15:30:00 | 12.18 | 265.2 | 13.054 | 283.297 | 13.414 | 283.067 | 13.882 | 284.067 | -2.464 | 890.033 | 44.96 | 16.8248
2020-02-20 15:45:00 | 12.094 | 276.847 | 12.869 | 293.028 | 13.017 | 293.867 | 13.6 | 294.6 | -2.443 | 890.167 | 45.557 | 16.0993
2020-02-20 16:00:00 | 11.792 | 254.867 | 12.624 | 280.31 | 12.833 | 282.867 | 13.005 | 282.567 | -2.912 | 889.733 | 47.029 | 15.0782
2020-02-20 16:15:00 | 10.58 | 277.993 | 11.42 | 290.028 | 11.683 | 292.367 | 11.962 | 288.467 | -2.76 | 889.967 | 47.728 | 15.4101
2020-02-20 16:30:00 | 11.427 | 258.927 | 12.427 | 280.767 | 12.566 | 282.333 | 13.025 | 281.167 | -2.666 | 889.567 | 48.176 | 16.046
2020-02-20 16:45:00 | 11.169 | 243.293 | 11.927 | 277.659 | 12.121 | 282.533 | 12.238 | 279.867 | -2.7 | 889.717 | 48.533 | 17.8672
2020-02-20 17:00:00 | 9.891 | 255.193 | 10.581 | 277.009 | 10.447 | 280.933 | 11.006 | 278.133 | -2.845 | 889.8 | 48.245 | 20.691
2020-02-20 17:15:00 | 11.095 | 252.713 | 11.852 | 277.29 | 12.097 | 280.333 | 12.391 | 277.433 | -2.528 | 889.775 | 47.2 | 30.467
2020-02-20 17:30:00 | 9.979 | 237.307 | 10.716 | 272.822 | 11.04 | 274.967 | 11.008 | 274.2 | -2.74 | 889.667 | 48.56 | 31.898
2020-02-20 17:45:00 | 10.112 | 258.813 | 11.022 | 277.247 | 11.216 | 280.7 | 11.338 | 278.7 | -2.528 | 889.942 | 48.667 | 34.7119
2020-02-20 18:00:00 | 9.846 | 230.34 | 10.366 | 260.637 | 10.378 | 265.7 | 10.268 | 261.667 | -2.532 | 889.908 | 48.187 | 41.5113
2020-02-20 18:15:00 | 8.331 | 234.24 | 9.361 | 263.476 | 9.99 | 266.633 | 10.108 | 263.167 | -2.267 | 890.008 | 47.76 | 72.0728
2020-02-20 18:30:00 | 8.847 | 224.873 | 9.978 | 271.01 | 10.199 | 275 | 10.378 | 272.267 | -2.451 | 889.525 | 48.837 | 72.637
2020-02-20 18:45:00 | 9.938 | 233.673 | 10.844 | 271.256 | 11.128 | 274.267 | 11.415 | 270.6 | -3.052 | 890.108 | 49.968 | 72.8423
2020-02-20 19:00:00 | 8.788 | 230.493 | 9.733 | 267.259 | 9.933 | 269.6 | 10.165 | 265.767 | -3.147 | 889.842 | 51.264 | 67.8563
2020-02-20 19:15:00 | 7.762 | 219.167 | 8.792 | 261.714 | 9.21 | 264.667 | 9.41 | 262.5 | -3.304 | 890.058 | 52.475 | 55.6459
2020-02-20 19:30:00 | 6.559 | 227.3 | 7.421 | 253.699 | 8.011 | 258.133 | 8.05 | 253.5 | -3.672 | 889.542 | 54.027 | 50.9682
2020-02-20 19:45:00 | 6.766 | 209.7 | 8.013 | 255.945 | 8.531 | 259.6 | 8.844 | 256.583 | -3.956 | 890.025 | 55.952 | 57.185
2020-02-20 20:00:00 | 7.102 | 221.027 | 8.315 | 255.331 | 8.714 | 259.267 | 8.858 | 254.567 | -4.285 | 889.742 | 56.859 | 60.87
2020-02-20 20:15:00 | 7.328 | 217.827 | 8.389 | 250.434 | 8.829 | 254.633 | 8.922 | 251.233 | -4.749 | 889.833 | 57.92 | 56.0182
2020-02-20 20:30:00 | 6.486 | 220.7 | 7.678 | 248.087 | 8.051 | 253.667 | 8.089 | 249.067 | -4.653 | 889.85 | 58.421 | 56.279
2020-02-20 20:45:00 | 7.522 | 208.033 | 8.891 | 246.449 | 9.353 | 252.333 | 9.393 | 248.9 | -4.885 | 889.567 | 58.432 | 56.7316
2020-02-20 21:00:00 | 7.027 | 216.267 | 8.505 | 244.519 | 8.976 | 251.9 | 8.9 | 247 | -5.085 | 890.108 | 58.379 | 56.2342
2020-02-20 21:15:00 | 6.692 | 221.9 | 7.932 | 243.354 | 8.129 | 250.667 | 8.047 | 247.55 | -5.169 | 889.7 | 58.624 | 46.0859
2020-02-20 21:30:00 | 6.253 | 216.867 | 7.439 | 235.714 | 7.842 | 241.9 | 7.87 | 237.233 | -5.469 | 889.992 | 57.397 | 37.0035
2020-02-20 21:45:00 | 6.351 | 221.447 | 7.476 | 234.112 | 7.809 | 239.2 | 7.834 | 234.1 | -6.136 | 890.033 | 58.752 | 36.597
2020-02-20 22:00:00 | 6.328 | 223.853 | 7.371 | 235.482 | 7.587 | 240.567 | 7.517 | 234.767 | -5.958 | 889.717 | 58.592 | 36.322
2020-02-20 22:15:00 | 6.16 | 224.3 | 7.738 | 235.449 | 8.225 | 241.667 | 8.178 | 235.433 | -6.595 | 890.175 | 60.299 | 38.7536
2020-02-20 22:30:00 | 5.854 | 223.867 | 7.261 | 235.024 | 7.754 | 241.233 | 7.874 | 236.233 | -6.662 | 890.283 | 61.163 | 37.9187
2020-02-20 22:45:00 | 5.172 | 220.533 | 6.748 | 231.295 | 7.111 | 239.933 | 7.052 | 236.433 | -7.091 | 889.625 | 62.347 | 34.579
2020-02-20 23:00:00 | 4.209 | 234.047 | 5.901 | 237.235 | 6.618 | 244.533 | 6.594 | 241.1 | -6.933 | 889.517 | 62.837 | 27.9089
2020-02-20 23:15:00 | 3.887 | 225.493 | 6.099 | 235.614 | 7.337 | 244.267 | 7.222 | 241.4 | -7.452 | 890.125 | 62.784 | 25.6031
2020-02-20 23:30:00 | 5.058 | 228.267 | 6.944 | 243.375 | 7.135 | 250.333 | 7.063 | 247.9 | -7.689 | 889.992 | 62.741 | 24.3753
2020-02-20 23:45:00 | 4.629 | 225.767 | 6.015 | 237.053 | 6.581 | 247.033 | 6.575 | 244.933 | -7.439 | 889.633 | 61.376 | 23.9155