## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-21 00:00:00 | 4.939 | 222.127 | 6.267 | 239.04 | 6.448 | 251.033 | 6.306 | 250.7 | -7.486 | 889.875 | 61.269 | 21.0605
2020-02-21 00:15:00 | 5.706 | 212.52 | 6.21 | 227.086 | 6.067 | 241.433 | 5.614 | 243.267 | -8.114 | 890.183 | 60.747 | 21.3397
2020-02-21 00:30:00 | 6.481 | 209.8 | 7.308 | 221.383 | 7.098 | 228.2 | 6.734 | 227.2 | -8.19 | 889.933 | 61.003 | 20.5034
2020-02-21 00:45:00 | 5.354 | 212.513 | 7.191 | 213.026 | 6.967 | 216.4 | 6.474 | 214.633 | -8.05 | 889.958 | 60.683 | 19.8731
2020-02-21 01:00:00 | 5.859 | 207.353 | 6.838 | 219.002 | 7.144 | 221.233 | 6.982 | 217.967 | -7.93 | 889.683 | 59.509 | 16.9953
2020-02-21 01:15:00 | 6.02 | 213.8 | 6.126 | 216.936 | 6.55 | 219.5 | 6.532 | 216.2 | -7.94 | 889.525 | 59.723 | 10.6379
2020-02-21 01:30:00 | 5.382 | 216.6 | 5.124 | 224.363 | 5.124 | 229.7 | 4.987 | 226.033 | -7.422 | 889.75 | 59.211 | 7.1099
2020-02-21 01:45:00 | 5.639 | 220.28 | 4.561 | 226.981 | 4.55 | 235.367 | 4.414 | 234.067 | -7.816 | 889.917 | 60.864 | 4.8333
2020-02-21 02:00:00 | 5.462 | 218.767 | 4.159 | 226.517 | 3.661 | 234.8 | 3.599 | 236.533 | -8.391 | 889.233 | 62.112 | 2.045
2020-02-21 02:15:00 | 5.457 | 215.1 | 3.784 | 223.389 | 2.829 | 237.767 | 2.691 | 237.9 | -8.674 | 890.092 | 63.296 | 0.20393
2020-02-21 02:30:00 | 5.217 | 216.447 | 4.107 | 217.755 | 3.181 | 227.267 | 2.683 | 228.567 | -8.618 | 889.692 | 63.765 | 0.20464
2020-02-21 02:45:00 | 5.435 | 223.993 | 3.644 | 217.622 | 3.489 | 227.967 | 3.224 | 230.967 | -7.676 | 889.8 | 62.016 | 0.14638
2020-02-21 03:00:00 | 4.701 | 228.167 | 2.77 | 238.66 | 2.163 | 259.3 | 2.193 | 269.133 | -8.374 | 889.9 | 63.061 | 0.3496
2020-02-21 03:15:00 | 4.257 | 232.367 | 4.798 | 225.938 | 3.382 | 240.8 | 2.712 | 244.667 | -9.224 | 890.025 | 64.341 | 0.44197
2020-02-21 03:30:00 | 3.55 | 244.487 | 4.296 | 228.289 | 2.945 | 240.5 | 2.201 | 250.633 | -9.662 | 889.942 | 68.011 | 0.11511
2020-02-21 03:45:00 | 2.66 | 260.867 | 3.31 | 236.272 | 4.476 | 228.183 | 3.374 | 225.333 | -9.295 | 890.058 | 67.179 | 0.21317
2020-02-21 04:00:00 | 3.304 | 247.813 | 3.25 | 242.336 | 2.835 | 246.333 | 2.37 | 259.867 | -8.824 | 889.717 | 67.499 | 0.24372
2020-02-21 04:15:00 | 3.447 | 238.833 | 2.623 | 232.459 | 1.623 | 268.3 | 1.65 | 268.533 | -9.041 | 889.867 | 66.741 | 0.25225
2020-02-21 04:30:00 | 2.987 | 236.1 | 2.992 | 225.26 | 2.248 | 220.2 | 1.3 | 214 | -9.041 | 889.883 | 66.901 | 0.22951
2020-02-21 04:45:00 | 3.544 | 215.933 | 3.337 | 199.511 | 3.736 | 198.033 | 3.046 | 200.733 | -9.224 | 889.975 | 66.837 | 0.16343
2020-02-21 05:00:00 | 2.807 | 196.773 | 2.463 | 162 | 1.823 | 138.767 | 2.103 | 134.233 | -9.104 | 889.942 | 66.549 | 2.7819
2020-02-21 05:15:00 | 3.244 | 124.933 | 4.92 | 100.254 | 3.422 | 100.433 | 2.892 | 90.467 | -10.133 | 889.867 | 66.667 | 6.4072
2020-02-21 05:30:00 | 4.491 | 122.653 | 4.635 | 106.454 | 4.224 | 108.267 | 3.842 | 100.9 | -7.746 | 889.767 | 60.853 | 3.4747
2020-02-21 05:45:00 | 3.381 | 138.933 | 3.373 | 114.958 | 3.225 | 112.4 | 2.7 | 103.267 | -8.791 | 890.308 | 62.325 | 4.1334
2020-02-21 06:00:00 | 3.561 | 127.147 | 3.946 | 113.179 | 3.433 | 109.967 | 2.623 | 100.2 | -9.208 | 889.75 | 62.955 | 7.3416
2020-02-21 06:15:00 | 3.707 | 138.74 | 4.54 | 122.972 | 4.56 | 121.4 | 4.226 | 110.033 | -9.954 | 889.708 | 63.36 | 10.0325
2020-02-21 06:30:00 | 4.494 | 135.633 | 4.098 | 126.108 | 3.112 | 128.233 | 2.781 | 129.833 | -10.283 | 889.967 | 65.195 | 14.4565
2020-02-21 06:45:00 | 3.722 | 150.7 | 3.387 | 135.124 | 3.005 | 133.133 | 3.397 | 122.533 | -8.808 | 890.017 | 60.843 | 12.4406
2020-02-21 07:00:00 | 3.202 | 152.707 | 4.152 | 125.782 | 4.363 | 121.233 | 4.463 | 116.933 | -9.624 | 889.95 | 62.688 | 11.7251
2020-02-21 07:15:00 | 2.739 | 142.98 | 4.426 | 114.403 | 4.334 | 117.033 | 4.594 | 113.667 | -9.787 | 889.983 | 63.691 | 13.1938
2020-02-21 07:30:00 | 2.979 | 132.12 | 4.606 | 115.464 | 4.749 | 120.767 | 5.063 | 118.133 | -8.874 | 889.858 | 61.728 | 15.3816
2020-02-21 07:45:00 | 3.504 | 123.98 | 4.887 | 115.729 | 4.84 | 121.633 | 5.014 | 118.033 | -8.224 | 889.942 | 61.131 | 15.0804
2020-02-21 08:00:00 | 4.069 | 142.167 | 4.442 | 123.271 | 4.127 | 131.4 | 4.142 | 126.133 | -8.708 | 889.85 | 61.035 | 16.1498
2020-02-21 08:15:00 | 4.266 | 139.947 | 4.785 | 127.355 | 4.012 | 132.967 | 4.111 | 126.667 | -8.15 | 889.783 | 61.237 | 16.9833
2020-02-21 08:30:00 | 4.727 | 142.093 | 4.517 | 128.428 | 3.984 | 134.333 | 3.88 | 127.533 | -8.01 | 890.35 | 60.48 | 14.3215
2020-02-21 08:45:00 | 4.278 | 146.953 | 4.218 | 126.523 | 3.8 | 129.533 | 3.895 | 122.967 | -8.13 | 889.758 | 61.408 | 10.3757
2020-02-21 09:00:00 | 4.014 | 145.9 | 4.464 | 124.798 | 4.371 | 127.767 | 4.681 | 120.167 | -7.722 | 889.85 | 63.307 | 10.4752
2020-02-21 09:15:00 | 3.8 | 149.247 | 3.663 | 130.27 | 3.207 | 134.433 | 3.236 | 126.367 | -8.25 | 890.133 | 63.531 | 8.5467
2020-02-21 09:30:00 | 3.997 | 148.76 | 4.104 | 130.087 | 3.56 | 133.1 | 3.69 | 124.733 | -7.726 | 889.825 | 62.261 | 10.1774
2020-02-21 09:45:00 | 3.67 | 144.187 | 3.756 | 128.768 | 3.619 | 128.167 | 3.627 | 124.233 | -7.416 | 890.408 | 60.619 | 8.3975
2020-02-21 10:00:00 | 3.164 | 142.047 | 3.765 | 122.242 | 3.727 | 123.733 | 4.12 | 118.7 | -7.131 | 889.875 | 58.965 | 7.5761
2020-02-21 10:15:00 | 3.232 | 119.567 | 3.937 | 112.071 | 3.997 | 114.1 | 4.126 | 108.067 | -6.545 | 890 | 57.728 | 6.0547
2020-02-21 10:30:00 | 2.686 | 125.103 | 3.062 | 120.554 | 3.19 | 123.433 | 3.54 | 119.2 | -5.859 | 890.142 | 55.52 | 5.3285
2020-02-21 10:45:00 | 3.204 | 120.31 | 3.472 | 116.272 | 3.776 | 124.367 | 4.182 | 118.933 | -4.885 | 889.883 | 52.885 | 4.694
2020-02-21 11:00:00 | 3.426 | 110.4 | 3.341 | 104.48 | 3.013 | 105.933 | 3.007 | 98.4 | -4.819 | 889.917 | 51.819 | 2.6597
2020-02-21 11:15:00 | 2.444 | 98.79 | 2.12 | 90.335 | 1.967 | 84.9 | 2.255 | 83.767 | -4.543 | 889.95 | 50.293 | 2.1559
2020-02-21 11:30:00 | 3.384 | 70.523 | 3.466 | 65.51 | 3.614 | 72.733 | 3.599 | 73.433 | -4.063 | 889.625 | 49.76 | 3.3837
2020-02-21 11:45:00 | 3.491 | 73.31 | 3.498 | 69.338 | 3.552 | 76.6 | 3.634 | 74.567 | -4.215 | 889.742 | 49.92 | 4.5952
2020-02-21 12:00:00 | 4.244 | 76.388 | 4.215 | 74.955 | 4.278 | 80.6 | 4.434 | 79.867 | -4.079 | 889.608 | 50.283 | 6.7625
2020-02-21 12:15:00 | 4.128 | 97.733 | 3.613 | 94.341 | 3.656 | 96.2 | 4.26 | 90.133 | -3.773 | 889.558 | 49.899 | 7.9882
2020-02-21 12:30:00 | 4.126 | 102.9 | 3.986 | 100.867 | 3.956 | 102.967 | 4.197 | 97.2 | -3.304 | 889.7 | 47.115 | 12.9408
2020-02-21 12:45:00 | 5.339 | 88.197 | 5.37 | 88.088 | 5.121 | 93.6 | 5.032 | 90.4 | -2.102 | 889.767 | 46.155 | 15.3909
2020-02-21 13:00:00 | 6.268 | 89.457 | 6.153 | 83.177 | 6.069 | 90.3 | 5.865 | 85.567 | -2.094 | 889.867 | 44.448 | 14.5183
2020-02-21 13:15:00 | 5.65 | 96.81 | 5.703 | 87.339 | 5.947 | 89.733 | 6.001 | 87.6 | -1.329 | 890.1 | 41.952 | 13.9903
2020-02-21 13:30:00 | 5.874 | 102.54 | 5.867 | 97.056 | 5.588 | 97.667 | 5.7 | 95.6 | -1.199 | 889.558 | 40.72 | 13.9335
2020-02-21 13:45:00 | 6.588 | 85.26 | 6.35 | 80.494 | 6.45 | 83.133 | 6.887 | 80.167 | -0.965 | 890.15 | 39.941 | 17.1559
2020-02-21 14:00:00 | 5.802 | 99.613 | 5.334 | 90.021 | 5.148 | 96.933 | 5.801 | 88.833 | -0.618 | 889.617 | 38.885 | 17.0969
2020-02-21 14:15:00 | 6.042 | 80.927 | 6.158 | 76.607 | 6.348 | 82.4 | 6.511 | 78.5 | -0.738 | 889.6 | 39.648 | 17.4281
2020-02-21 14:30:00 | 5.643 | 84.492 | 5.415 | 80.468 | 5.474 | 87.267 | 5.586 | 81.333 | -0.169 | 889.633 | 38.549 | 17.4103
2020-02-21 14:45:00 | 5.979 | 97.367 | 5.513 | 89.548 | 5.661 | 91.1 | 5.992 | 88.033 | -0.319 | 889.483 | 37.301 | 17.2675
2020-02-21 15:00:00 | 6.268 | 99.79 | 6.288 | 88.358 | 5.811 | 91.2 | 6.311 | 86.667 | -0.136 | 890.417 | 36.453 | 17.1289
2020-02-21 15:15:00 | 7.143 | 80.102 | 7.131 | 75.683 | 7.228 | 82.9 | 7.242 | 75.967 | 0.499 | 890.033 | 35.371 | 17.9034
2020-02-21 15:30:00 | 7.062 | 81.188 | 6.858 | 79.512 | 6.971 | 84.833 | 7.256 | 80.4 | 0.482 | 889.85 | 34.517 | 20.7137
2020-02-21 15:45:00 | 6.645 | 88.647 | 6.616 | 83.398 | 6.927 | 86.333 | 7.184 | 82.767 | 0.882 | 889.633 | 34.085 | 21.3611
2020-02-21 16:00:00 | 6.343 | 90.167 | 6.162 | 86.592 | 6.121 | 89.967 | 6.115 | 85.067 | 0.865 | 889.817 | 33.867 | 21.8556
2020-02-21 16:15:00 | 5.964 | 98.093 | 5.222 | 90.83 | 5.614 | 95.767 | 5.805 | 92.3 | 0.982 | 889.933 | 33.253 | 22.7275
2020-02-21 16:30:00 | 7.098 | 82.5 | 7.017 | 80.096 | 7.102 | 83.533 | 6.943 | 80.8 | 0.965 | 889.617 | 32.181 | 33.0669
2020-02-21 16:45:00 | 7.344 | 83.893 | 7.674 | 81.691 | 7.689 | 84.7 | 7.772 | 80.633 | 0.932 | 889.733 | 31.067 | 39.0883
2020-02-21 17:00:00 | 7.489 | 78.48 | 7.355 | 74.764 | 7.442 | 82.967 | 7.631 | 78.9 | 0.898 | 889.583 | 31.563 | 37.9521
2020-02-21 17:15:00 | 7.944 | 81.84 | 7.994 | 76.793 | 7.79 | 82.7 | 7.783 | 81.6 | 0.948 | 889.983 | 32.293 | 37.3047
2020-02-21 17:30:00 | 7.106 | 88.947 | 6.915 | 81.64 | 6.812 | 84.333 | 7.326 | 82.733 | 1.145 | 889.583 | 31.84 | 37.346
2020-02-21 17:45:00 | 6.189 | 87.662 | 6.246 | 84.37 | 6.216 | 87.9 | 6.361 | 82.433 | 1.115 | 889.4 | 31.84 | 34.7453
2020-02-21 18:00:00 | 6.656 | 84.417 | 7.105 | 79.052 | 7.272 | 84.967 | 7.453 | 81.333 | 1.018 | 889.85 | 32.203 | 36.047
2020-02-21 18:15:00 | 6.376 | 83.847 | 6.334 | 81.312 | 6.668 | 87.2 | 6.537 | 84.467 | 1.015 | 889.667 | 32.432 | 30.7007
2020-02-21 18:30:00 | 7.192 | 81.183 | 7.184 | 76.572 | 7.29 | 81.4 | 7.276 | 78.067 | 0.648 | 889.8 | 32.571 | 27.9786
2020-02-21 18:45:00 | 6.291 | 81.687 | 6.576 | 76.922 | 6.89 | 81.567 | 6.841 | 76.867 | 0.399 | 889.85 | 33.509 | 23.0721
2020-02-21 19:00:00 | 5.498 | 76.89 | 5.793 | 73.383 | 5.935 | 79.8 | 6.062 | 74.867 | 0.349 | 889.6 | 33.984 | 18.5408
2020-02-21 19:15:00 | 4.198 | 78.69 | 4.632 | 73.886 | 5.041 | 78.333 | 5.217 | 74.567 | -0.063 | 890.1 | 35.184 | 13.9363
2020-02-21 19:30:00 | 4.235 | 72.68 | 4.657 | 70.103 | 4.896 | 75 | 4.908 | 72.7 | -0.715 | 889.75 | 37.056 | 10.9093
2020-02-21 19:45:00 | 3.652 | 72.183 | 4.162 | 70.274 | 4.557 | 75.567 | 4.652 | 72.3 | -1.386 | 889.617 | 39.061 | 9.199
2020-02-21 20:00:00 | 3.515 | 73.483 | 4.211 | 69.978 | 4.397 | 74.2 | 4.4 | 72.967 | -2.078 | 889.858 | 40.965 | 6.3169
2020-02-21 20:15:00 | 3.247 | 80.543 | 3.604 | 76.751 | 3.843 | 81.4 | 4.078 | 77.233 | -2.405 | 889.65 | 42.027 | 4.2257
2020-02-21 20:30:00 | 2.871 | 82.12 | 3.402 | 77.853 | 3.78 | 82.133 | 3.902 | 78.867 | -2.76 | 890.067 | 42.528 | 2.0137
2020-02-21 20:45:00 | 2.684 | 83.1 | 2.856 | 80.622 | 3.053 | 84.9 | 3.051 | 82.867 | -3.171 | 889.5 | 43.669 | 0.7866
2020-02-21 21:00:00 | 1.899 | 90.467 | 1.778 | 86.39 | 2.013 | 89.167 | 2.21 | 81.467 | -3.221 | 889.5 | 44.437 | 0.18475
2020-02-21 21:15:00 | 1.862 | 86.1 | 2.057 | 80.403 | 2.286 | 85.2 | 2.512 | 78 | -3.304 | 890.2 | 45.344 | 0.21885
2020-02-21 21:30:00 | 0 | 86.01 | 0.136 | 78.26 | 0.781 | 82 | 1.203 | 77.9 | -3.983 | 889.925 | 47.211 | 0.22738
2020-02-21 21:45:00 | 0.299 | 304.267 | 0 | 66.269 | 0.093 | 81.95 | 0.39 | 78.033 | -4.919 | 889.875 | 49.728 | 0.22596
2020-02-21 22:00:00 | 0 | 304.4 | 0 | 66.204 | 1.566 | 56.258 | 1.503 | 78 | -4.885 | 890.158 | 50.475 | 0.22738
2020-02-21 22:15:00 | 0 | 304.333 | 0 | 66.266 | 1.453 | 58.058 | 1.42 | 78 | -5.119 | 890.025 | 52.693 | 0.22738
2020-02-21 22:30:00 | 0 | 304.133 | 0.12 | 67.593 | 0.775 | 71.083 | 1.059 | 78 | -5.102 | 890.133 | 53.483 | 0.22028
2020-02-21 22:45:00 | 1.161 | 220.9 | 0 | 68.194 | 0 | 71 | 0.332 | 78.167 | -5.185 | 890.433 | 52.949 | 0.2288
2020-02-21 23:00:00 | 1.457 | 218.8 | 0 | 68.276 | 0 | 71.033 | 1.553 | 107 | -5.419 | 890.042 | 52.405 | 0.57485
2020-02-21 23:15:00 | 0.326 | 219.133 | 0 | 68.224 | 1.787 | 96.3 | 2.697 | 96.667 | -5.352 | 890.008 | 51.979 | 2.0685
2020-02-21 23:30:00 | 0.296 | 241.1 | 0 | 68.221 | 0.439 | 99.4 | 1.905 | 89.4 | -5.651 | 889.433 | 52.256 | 1.8006
2020-02-21 23:45:00 | 0.998 | 203.5 | 0.123 | 96.143 | 1.905 | 93.333 | 2.839 | 81.133 | -6.562 | 889.6 | 51.616 | 2.9759