## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-22 00:00:00 | 1.077 | 194.833 | 0.513 | 114.595 | 2.222 | 110.467 | 2.43 | 97.533 | -6.562 | 890.175 | 54.059 | 3.0931
2020-02-22 00:15:00 | 0.91 | 162.033 | 2.016 | 111.076 | 3.072 | 109.167 | 3.461 | 102.5 | -5.335 | 889.758 | 54.731 | 4.2201
2020-02-22 00:30:00 | 0.187 | 169.18 | 2.103 | 105.546 | 3.376 | 107 | 3.36 | 98.133 | -5.822 | 890.108 | 53.259 | 6.6928
2020-02-22 00:45:00 | 1.568 | 160.887 | 2.755 | 114.058 | 3.143 | 108.833 | 3.37 | 102.567 | -6.156 | 890.025 | 53.056 | 4.0396
2020-02-22 01:00:00 | 2.421 | 224.44 | 1.022 | 185.102 | 1.663 | 156.867 | 2.711 | 121.6 | -6.249 | 889.925 | 53.344 | 1.036
2020-02-22 01:15:00 | 1.554 | 221.36 | 0.03 | 196.068 | 1.486 | 140.2 | 2.448 | 109.067 | -6.375 | 889.825 | 54.08 | 1.8823
2020-02-22 01:30:00 | 1.823 | 177.433 | 2.636 | 124.096 | 3.603 | 117.333 | 4.216 | 105.633 | -5.485 | 890.192 | 52.491 | 3.6402
2020-02-22 01:45:00 | 1.626 | 153.833 | 2.844 | 104.354 | 2.729 | 102.4 | 2.926 | 94 | -5.302 | 890.017 | 50.88 | 5.6078
2020-02-22 02:00:00 | 2.143 | 161.793 | 3.1 | 111.322 | 3.649 | 106.533 | 3.326 | 98.767 | -6.076 | 889.8 | 51.488 | 4.6052
2020-02-22 02:15:00 | 2.546 | 154.813 | 3.336 | 117.91 | 3.547 | 114.233 | 3.892 | 104.5 | -5.657 | 889.675 | 50.891 | 2.6099
2020-02-22 02:30:00 | 2.649 | 195.873 | 2.136 | 152.728 | 2.749 | 125.933 | 2.974 | 103.667 | -6.978 | 890.292 | 53.088 | 1.1909
2020-02-22 02:45:00 | 2.36 | 196.987 | 1.806 | 155.544 | 2.646 | 128.767 | 3.667 | 108.1 | -5.66 | 889.792 | 51.563 | 1.4965
2020-02-22 03:00:00 | 2.472 | 204.18 | 1.116 | 155.653 | 2.091 | 126.5 | 3.223 | 113.733 | -6.784 | 889.908 | 50.88 | 0.94434
2020-02-22 03:15:00 | 2.664 | 218.24 | 0.51 | 176.629 | 1.4 | 144.933 | 2.508 | 115.667 | -5.704 | 889.792 | 51.467 | 0.24728
2020-02-22 03:30:00 | 1.983 | 218.567 | 0 | 167.979 | 1.503 | 127.533 | 2.379 | 110.167 | -5.469 | 889.975 | 50.581 | 0.28281
2020-02-22 03:45:00 | 3.503 | 244.733 | 0.879 | 223.176 | 0 | 123.008 | 0.93 | 104.133 | -5.618 | 890.008 | 50.853 | 0.22596
2020-02-22 04:00:00 | 5.435 | 245.453 | 3.599 | 288.783 | 2.729 | 303.5 | 2.03 | 328.333 | -6.899 | 890.367 | 51.584 | 0.24159
2020-02-22 04:15:00 | 3.597 | 266.793 | 1.752 | 317.886 | 1.316 | 335.967 | 1.302 | 175.433 | -7.032 | 889.958 | 54.656 | 0.22454
2020-02-22 04:30:00 | 3.579 | 245.173 | 1.257 | 317.778 | 0.184 | 22.478 | 1.236 | 35.038 | -6.873 | 890.233 | 53.456 | 0.21885
2020-02-22 04:45:00 | 3.146 | 263.84 | 0.153 | 329.018 | 0.07 | 0 | 1.442 | 51.267 | -5.614 | 889.692 | 52.245 | 0.22454
2020-02-22 05:00:00 | 3.698 | 257.493 | 0.888 | 287.224 | 0 | 56.417 | 0.386 | 72 | -7.387 | 889.767 | 54.533 | 0.2217
2020-02-22 05:15:00 | 3.18 | 237.367 | 0 | 301.22 | 0 | 358 | 0.319 | 73 | -7.572 | 889.767 | 55.221 | 0.21743
2020-02-22 05:30:00 | 3.041 | 241.933 | 0 | 300.836 | 0 | 358 | 0.44 | 72.967 | -7.091 | 889.825 | 55.435 | 0.22312
2020-02-22 05:45:00 | 3.686 | 233.993 | 0.402 | 289.331 | 0 | 358 | 0 | 73 | -6.691 | 889.6 | 55.504 | 0.21601
2020-02-22 06:00:00 | 5.046 | 231.433 | 2.435 | 244.264 | 0.583 | 262.133 | 0 | 73.008 | -7.99 | 890.033 | 57.109 | 0.22738
2020-02-22 06:15:00 | 5.175 | 228.733 | 2.556 | 245.02 | 1.689 | 241.967 | 1.445 | 182 | -8.708 | 889.65 | 59.424 | 0.24017
2020-02-22 06:30:00 | 4.826 | 230.333 | 2.512 | 239.244 | 1.944 | 234.267 | 1.947 | 196.867 | -8.691 | 889.433 | 61.12 | 0.23307
2020-02-22 06:45:00 | 3.622 | 224.033 | 1.553 | 237.469 | 1.266 | 221 | 2.002 | 197 | -6.412 | 889.892 | 56.235 | 0.23591
2020-02-22 07:00:00 | 3.506 | 223.127 | 1.438 | 239.198 | 1.261 | 221 | 1.814 | 197 | -7.17 | 889.817 | 56.448 | 0.21459
2020-02-22 07:15:00 | 0.888 | 222.533 | 0 | 243.585 | 0 | 230.967 | 0 | 197 | -5.602 | 889.75 | 54.88 | 0.22454
2020-02-22 07:30:00 | 2.151 | 238.193 | 0.687 | 306.293 | 0.99 | 328 | 1.147 | 245.5 | -5.879 | 889.975 | 54.277 | 0.21601
2020-02-22 07:45:00 | 2.324 | 238.967 | 1.456 | 313.129 | 0.817 | 328.133 | 1.082 | 250.517 | -6.328 | 890.075 | 55.488 | 0.2217
2020-02-22 08:00:00 | 2.365 | 251.167 | 1.917 | 307.032 | 2.003 | 338.567 | 1.173 | 343 | -6.107 | 890.033 | 55.419 | 0.22312
2020-02-22 08:15:00 | 3.349 | 229.56 | 2.003 | 286.853 | 1.835 | 336.4 | 1.152 | 342.333 | -7.071 | 890 | 55.861 | 0.22454
2020-02-22 08:30:00 | 3.584 | 239.58 | 2.748 | 267.754 | 1.193 | 296.2 | 0.101 | 342.1 | -6.834 | 890.075 | 56.597 | 0.21885
2020-02-22 08:45:00 | 3.554 | 242.467 | 2.594 | 252.571 | 0.923 | 251.867 | 0 | 341.867 | -5.997 | 890.392 | 54.645 | 0.2217
2020-02-22 09:00:00 | 2.671 | 239.467 | 0.066 | 235.424 | 0 | 230 | 1.43 | 157.7 | -5.602 | 889.683 | 53.195 | 0.20322
2020-02-22 09:15:00 | 3.12 | 220.78 | 0 | 235.538 | 0 | 229.867 | 0.541 | 155.1 | -5.938 | 890.167 | 52.48 | 0.085268
2020-02-22 09:30:00 | 2.58 | 212.933 | 0 | 235.47 | 0 | 230 | 0.104 | 155 | -5.997 | 890 | 52.565 | 0.18901
2020-02-22 09:45:00 | 2.728 | 217.9 | 0.036 | 235.537 | 0 | 230 | 0 | 155.067 | -5.8 | 890.042 | 51.051 | 0.23591
2020-02-22 10:00:00 | 2.657 | 227.327 | 0.573 | 235.535 | 0.037 | 230 | 0.49 | 155 | -4.02 | 889.917 | 48.192 | 0.22028
2020-02-22 10:15:00 | 2.362 | 227.113 | 0.703 | 235.48 | 0.94 | 221 | 1.613 | 197.767 | -3.056 | 890.05 | 45.547 | 0.22028
2020-02-22 10:30:00 | 0.133 | 233.273 | 0 | 235.518 | 0 | 221 | 0.027 | 197.067 | -1.736 | 889.917 | 43.061 | 0.22454
2020-02-22 10:45:00 | 0.312 | 278 | 0 | 243.375 | 0 | 223.333 | 0 | 197.3 | -1.6 | 889.533 | 40.069 | 0.21459
2020-02-22 11:00:00 | 0.362 | 340.96 | 0 | 316.003 | 0.053 | 340.333 | 0.06 | 198.867 | -1.306 | 889.733 | 38.232 | 0.21601
2020-02-22 11:15:00 | 1.693 | 38.872 | 1.479 | 37.742 | 1.531 | 38.733 | 1.824 | 57.633 | -0.918 | 889.567 | 37.163 | 0.21957
2020-02-22 11:30:00 | 2.896 | 56.593 | 2.711 | 56.712 | 3.085 | 66.633 | 3.138 | 64.567 | -0.852 | 889.867 | 36.896 | 2.4316
2020-02-22 11:45:00 | 4.436 | 82.4 | 4.272 | 77.465 | 4.433 | 84.3 | 4.502 | 82.567 | -0.558 | 889.367 | 38.336 | 9.0732
2020-02-22 12:00:00 | 5.482 | 90.857 | 5.247 | 86.445 | 4.772 | 93.5 | 4.608 | 91.333 | 0.116 | 889.767 | 37.488 | 12.8875
2020-02-22 12:15:00 | 4.862 | 104.73 | 4.518 | 94.783 | 4.445 | 96.9 | 4.532 | 91.3 | 0.449 | 890.3 | 36.384 | 15.0292
2020-02-22 12:30:00 | 4.713 | 99.877 | 4.528 | 94.466 | 4.647 | 97.767 | 4.743 | 97.433 | 1.286 | 889.667 | 33.925 | 24.3547
2020-02-22 12:45:00 | 6.447 | 83.903 | 6.278 | 80.488 | 6.206 | 86.2 | 6.498 | 83.467 | 1.906 | 889.683 | 31.573 | 27.4726
2020-02-22 13:00:00 | 6.528 | 92.747 | 5.601 | 89.372 | 5.178 | 91.5 | 5.698 | 85.033 | 2.098 | 889.517 | 30.901 | 27.6048
2020-02-22 13:15:00 | 5.698 | 94.687 | 5.531 | 86.918 | 5.308 | 91.367 | 5.63 | 86.033 | 2.557 | 889.967 | 29.781 | 21.84
2020-02-22 13:30:00 | 6.028 | 84.827 | 6.184 | 77.824 | 5.958 | 82.933 | 6.173 | 78.7 | 3.032 | 889.6 | 29.003 | 20.1161
2020-02-22 13:45:00 | 5.426 | 75.277 | 5.657 | 73.36 | 5.714 | 77.433 | 6.016 | 72.867 | 3.084 | 889.833 | 29.307 | 17.2497
2020-02-22 14:00:00 | 4.446 | 89.8 | 4.422 | 85.093 | 4.771 | 88.767 | 4.812 | 84.067 | 3.188 | 890.183 | 28.853 | 12.933
2020-02-22 14:15:00 | 5.757 | 75.333 | 5.731 | 68.558 | 5.891 | 72.533 | 6.242 | 69.367 | 3.539 | 889.467 | 28.635 | 13.8447
2020-02-22 14:30:00 | 5.59 | 84.867 | 5.706 | 78.219 | 6.043 | 79.567 | 5.928 | 75.067 | 3.605 | 889.483 | 27.851 | 13.3821
2020-02-22 14:45:00 | 4.69 | 84.393 | 4.741 | 79.039 | 4.994 | 85 | 5.231 | 78.3 | 4.367 | 890.333 | 26.789 | 13.79
2020-02-22 15:00:00 | 5.587 | 67.157 | 5.341 | 62.739 | 5.662 | 70.033 | 5.921 | 67.8 | 4.156 | 890 | 25.915 | 14.4615
2020-02-22 15:15:00 | 5.332 | 67.863 | 5.238 | 63.984 | 5.596 | 73.367 | 5.481 | 71.467 | 4.547 | 889.933 | 25.131 | 13.8745
2020-02-22 15:30:00 | 4.909 | 77.573 | 4.87 | 71.283 | 5.053 | 74.433 | 5.244 | 71.767 | 4.048 | 890.05 | 25.451 | 14.335
2020-02-22 15:45:00 | 5.354 | 67.377 | 4.957 | 62.351 | 5.103 | 68.767 | 5.373 | 62.6 | 4.107 | 890.15 | 25.499 | 15.4385
2020-02-22 16:00:00 | 5.34 | 61.789 | 5.526 | 60.452 | 5.736 | 64.567 | 5.896 | 64.3 | 4.594 | 889.683 | 25.253 | 14.605
2020-02-22 16:15:00 | 4.943 | 61.232 | 5.012 | 58.201 | 5.076 | 61.3 | 5.338 | 57.833 | 4.806 | 889.883 | 25.429 | 12.9153
2020-02-22 16:30:00 | 4.959 | 68.55 | 5.008 | 62.282 | 5.163 | 67.8 | 5.204 | 64.9 | 4.746 | 889.667 | 25.616 | 11.1907
2020-02-22 16:45:00 | 4.487 | 67.108 | 4.331 | 61.389 | 4.696 | 67.767 | 4.87 | 61.8 | 4.802 | 889.767 | 25.664 | 11.0237
2020-02-22 17:00:00 | 4.695 | 62.202 | 4.624 | 56.955 | 4.535 | 62.4 | 4.909 | 61.533 | 4.596 | 889.9 | 25.611 | 11.9908
2020-02-22 17:15:00 | 4.627 | 62.702 | 4.84 | 59.783 | 4.856 | 64.2 | 4.953 | 61.8 | 4.769 | 889.767 | 25.701 | 11.7677
2020-02-22 17:30:00 | 4.642 | 62.172 | 4.324 | 59.74 | 4.236 | 60.733 | 4.387 | 55.5 | 4.802 | 889.717 | 25.691 | 10.6123
2020-02-22 17:45:00 | 4.617 | 59.055 | 4.362 | 55.592 | 4.451 | 59.267 | 4.781 | 59.4 | 4.55 | 890.3 | 26.085 | 9.3134
2020-02-22 18:00:00 | 3.892 | 50.687 | 3.867 | 42.804 | 4.042 | 50.367 | 3.957 | 50.2 | 4.259 | 889.683 | 26.309 | 7.6933
2020-02-22 18:15:00 | 3.539 | 63.233 | 3.525 | 56.745 | 3.826 | 60.567 | 3.872 | 60.567 | 4.008 | 889.783 | 26.773 | 6.172
2020-02-22 18:30:00 | 3.566 | 62.763 | 3.547 | 59.305 | 3.657 | 64.3 | 3.602 | 62.4 | 4.268 | 889.55 | 27.285 | 5.1665
2020-02-22 18:45:00 | 3.281 | 61.833 | 2.762 | 52.499 | 2.725 | 56.9 | 2.934 | 54.267 | 3.689 | 889.117 | 27.835 | 4.5526
2020-02-22 19:00:00 | 3.545 | 64.267 | 3.208 | 59.979 | 3.233 | 65.1 | 3.181 | 58 | 3.388 | 889.517 | 28.373 | 2.5047
2020-02-22 19:15:00 | 2.719 | 60.233 | 2.586 | 57.188 | 2.794 | 61.733 | 2.99 | 56.833 | 3.405 | 889.383 | 29.248 | 1.6293
2020-02-22 19:30:00 | 2.249 | 55.022 | 1.779 | 49.109 | 1.784 | 62.6 | 2.019 | 51.567 | 2.864 | 889.517 | 30.219 | 0.76031
2020-02-22 19:45:00 | 2.587 | 45.608 | 2.216 | 44.436 | 1.837 | 53.233 | 2.183 | 46.533 | 2.159 | 889.95 | 31.755 | 0.59759
2020-02-22 20:00:00 | 2.265 | 39.75 | 2.413 | 48.746 | 2.39 | 49.2 | 2.312 | 47.867 | 1.556 | 889.733 | 32.8 | 0.25722
2020-02-22 20:15:00 | 1.411 | 58.157 | 1.633 | 54.13 | 1.746 | 63 | 2.022 | 48.2 | 1.419 | 889.767 | 33.835 | 0.25722
2020-02-22 20:30:00 | 0.117 | 58.133 | 1.505 | 50.592 | 1.497 | 59 | 1.743 | 50.933 | 1.155 | 889.383 | 34.512 | 0.20464
2020-02-22 20:45:00 | 0 | 58.173 | 0.957 | 49.568 | 1.357 | 59.533 | 1.753 | 51 | 0.632 | 889.967 | 36.176 | 0.20038
2020-02-22 21:00:00 | 0 | 58.178 | 0.24 | 56.126 | 0.027 | 68.967 | 0.53 | 51 | 0.582 | 889.683 | 37.141 | 0.21743
2020-02-22 21:15:00 | 0.203 | 58.19 | 0 | 56.124 | 0 | 68.733 | 0 | 51 | -0.299 | 890.15 | 38.512 | 0.20749
2020-02-22 21:30:00 | 1.746 | 127.597 | 0 | 56.106 | 0 | 68.167 | 0 | 51 | -0.016 | 890.217 | 38.181 | 0.20749
2020-02-22 21:45:00 | 3.438 | 228.513 | 1.473 | 196.682 | 0.033 | 68.933 | 0.601 | 50.867 | 0.2 | 889.433 | 36.747 | 0.21885
2020-02-22 22:00:00 | 3.997 | 235.64 | 2.205 | 234.464 | 1.323 | 68.7 | 0.964 | 51.033 | -0.612 | 889.5 | 37.168 | 0.21175
2020-02-22 22:15:00 | 3.713 | 237.813 | 2.273 | 250.478 | 1.661 | 264 | 1.324 | 310.2 | -1.559 | 889.617 | 38.523 | 0.22028
2020-02-22 22:30:00 | 5.213 | 218.033 | 3.566 | 236.609 | 2.84 | 246.833 | 2.187 | 265.667 | -2.783 | 889.767 | 40.907 | 0.20464
2020-02-22 22:45:00 | 4.161 | 235.04 | 3.193 | 246.583 | 2.969 | 254.167 | 2.701 | 248.5 | -3.213 | 889.783 | 42.987 | 0.083136
2020-02-22 23:00:00 | 5.004 | 226.733 | 2.893 | 244.383 | 2.793 | 250.8 | 2.746 | 250.8 | -3.187 | 889.817 | 43.616 | 0.16485
2020-02-22 23:15:00 | 5.436 | 222.267 | 3.249 | 248.562 | 2.762 | 263.6 | 2.352 | 258.383 | -3.689 | 890.242 | 45.013 | 0.13714
2020-02-22 23:30:00 | 5.479 | 226.233 | 3.4 | 245.728 | 3.043 | 257.967 | 2.74 | 258.067 | -3.907 | 889.567 | 45.312 | 0.13927
2020-02-22 23:45:00 | 5.474 | 219.033 | 3.113 | 239.096 | 2.5 | 257.267 | 2.487 | 258.067 | -4.486 | 889.983 | 46.325 | 0.30554