## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-23 00:00:00 | 4.861 | 219.413 | 2.473 | 261.605 | 2.407 | 292.067 | 2.583 | 303.567 | -4.444 | 889.85 | 46.629 | 0.25012
2020-02-23 00:15:00 | 4.728 | 228.887 | 2.962 | 269.395 | 2.661 | 289.6 | 2.668 | 292.967 | -4.265 | 889.4 | 46.011 | 0.23164
2020-02-23 00:30:00 | 4.718 | 228.847 | 2.608 | 268.881 | 2.368 | 288.2 | 2.253 | 292.367 | -4.444 | 889.908 | 46.965 | 0.22809
2020-02-23 00:45:00 | 4.406 | 229.833 | 2.704 | 268.846 | 2.153 | 286.667 | 2.534 | 292.833 | -3.504 | 889.867 | 45.328 | 0.26291
2020-02-23 01:00:00 | 3.57 | 247.593 | 2.536 | 293.215 | 2.647 | 303.7 | 3.226 | 301.567 | -2.032 | 889.358 | 42.277 | 0.89887
2020-02-23 01:15:00 | 4.653 | 234.387 | 2.589 | 281.143 | 2.628 | 298.133 | 3.018 | 306.967 | -4.15 | 889.892 | 45.067 | 0.30625
2020-02-23 01:30:00 | 4.483 | 227.62 | 2.601 | 274.921 | 2.348 | 295.333 | 2.748 | 306.667 | -4.431 | 889.692 | 45.872 | 0.28707
2020-02-23 01:45:00 | 5.536 | 222.433 | 2.74 | 260.766 | 2.232 | 298.267 | 2.332 | 306.567 | -5.002 | 889.825 | 47.456 | 0.29062
2020-02-23 02:00:00 | 4.904 | 227.167 | 2.628 | 256.739 | 2.286 | 282 | 2.274 | 306.9 | -4.985 | 889.642 | 49.435 | 0.27428
2020-02-23 02:15:00 | 4.627 | 227.553 | 2.365 | 254.148 | 1.904 | 269.667 | 2.137 | 307 | -4.067 | 890.225 | 48.373 | 0.2082
2020-02-23 02:30:00 | 6.146 | 217.887 | 3.819 | 244.13 | 2.938 | 264.9 | 2.646 | 284.967 | -5.495 | 890.042 | 52.299 | 0.15775
2020-02-23 02:45:00 | 5.773 | 220.44 | 3.82 | 234.794 | 3.019 | 254.167 | 2.652 | 269 | -5.388 | 889.417 | 54.112 | 0.16769
2020-02-23 03:00:00 | 6.05 | 218.287 | 4.557 | 234.968 | 3.853 | 247.567 | 3.256 | 250.8 | -5.809 | 890.317 | 55.36 | 1.0353
2020-02-23 03:15:00 | 6.23 | 215.393 | 4.072 | 240.164 | 3.021 | 248.633 | 2.768 | 251 | -6.292 | 890.308 | 56.203 | 1.7956
2020-02-23 03:30:00 | 6.612 | 212.84 | 4.596 | 231.088 | 3.514 | 236.967 | 2.608 | 247.533 | -5.918 | 889.892 | 55.349 | 1.9093
2020-02-23 03:45:00 | 6.464 | 211.3 | 3.962 | 226.739 | 3.16 | 234.133 | 2.329 | 234 | -6.113 | 889.475 | 56.715 | 2.6234
2020-02-23 04:00:00 | 6.069 | 214.68 | 4.199 | 227.704 | 3.732 | 233.433 | 2.977 | 230.9 | -5.938 | 890 | 56.597 | 3.0036
2020-02-23 04:15:00 | 7.071 | 214.04 | 5.164 | 228.141 | 4.549 | 234.333 | 4.049 | 230.867 | -5.918 | 889.725 | 57.035 | 4.7601
2020-02-23 04:30:00 | 6.307 | 217.147 | 4.511 | 231.846 | 4.246 | 237.3 | 4.109 | 228.133 | -5.806 | 889.817 | 56.853 | 3.194
2020-02-23 04:45:00 | 6.338 | 209.787 | 4.727 | 227.863 | 3.836 | 238.933 | 3.202 | 232.2 | -6.057 | 890.183 | 57.664 | 3.2821
2020-02-23 05:00:00 | 5.865 | 210.553 | 5.536 | 222.199 | 4.7 | 229.667 | 4.18 | 226.133 | -5.66 | 889.533 | 56.917 | 4.009
2020-02-23 05:15:00 | 6.856 | 211.567 | 5.586 | 223.734 | 4.823 | 235.867 | 4.221 | 237 | -5.535 | 890.067 | 55.915 | 4.6741
2020-02-23 05:30:00 | 5.94 | 214.867 | 5.368 | 233.554 | 4.726 | 247.133 | 4.369 | 247.867 | -4.869 | 889.967 | 54.283 | 6.2956
2020-02-23 05:45:00 | 6.106 | 220 | 6.017 | 236.071 | 5.4 | 250.8 | 4.719 | 251.233 | -5.601 | 889.9 | 55.392 | 7.461
2020-02-23 06:00:00 | 6.613 | 217 | 6.011 | 242.073 | 5.349 | 251.267 | 4.702 | 252.633 | -5.452 | 889.725 | 55.115 | 7.3451
2020-02-23 06:15:00 | 6.511 | 216.833 | 5.818 | 247.862 | 5.079 | 257.767 | 4.596 | 262.45 | -5.519 | 890.142 | 55.36 | 6.8492
2020-02-23 06:30:00 | 6.1 | 220.367 | 5.254 | 242.168 | 4.46 | 250.7 | 3.865 | 250.767 | -5.552 | 890.167 | 54.475 | 5.811
2020-02-23 06:45:00 | 5.71 | 217.733 | 4.982 | 246.482 | 4.308 | 252.233 | 3.766 | 249.067 | -5.352 | 889.95 | 54.197 | 5.018
2020-02-23 07:00:00 | 6.632 | 207.367 | 4.952 | 237.689 | 4.546 | 246.6 | 4.031 | 242.933 | -5.352 | 889.883 | 54.091 | 5.4898
2020-02-23 07:15:00 | 6.576 | 212.4 | 4.985 | 233.079 | 4.45 | 244.133 | 4.152 | 239.767 | -5.602 | 889.975 | 54.837 | 5.5531
2020-02-23 07:30:00 | 7.176 | 211.367 | 5.024 | 230.636 | 4.491 | 240.3 | 4.12 | 237.467 | -5.269 | 889.625 | 54.88 | 6.9238
2020-02-23 07:45:00 | 7.082 | 211.7 | 5.257 | 223.51 | 4.661 | 233.367 | 4.188 | 231.933 | -4.902 | 890.075 | 54.944 | 6.2985
2020-02-23 08:00:00 | 7.407 | 211.7 | 5.728 | 213.194 | 4.834 | 219.6 | 4.193 | 220.367 | -5.035 | 889.933 | 55.093 | 4.4183
2020-02-23 08:15:00 | 7.1 | 209.467 | 5.65 | 213.499 | 5.261 | 218.9 | 4.255 | 216.533 | -4.869 | 890.058 | 54.272 | 3.9941
2020-02-23 08:30:00 | 7.332 | 208.867 | 6.442 | 216.626 | 5.433 | 220.033 | 4.731 | 218.467 | -4.919 | 889.842 | 54.101 | 7.7715
2020-02-23 08:45:00 | 7.124 | 202.6 | 7.518 | 219.406 | 6.414 | 226.1 | 5.572 | 223.567 | -4.985 | 890.292 | 53.824 | 9.0668
2020-02-23 09:00:00 | 6.549 | 210.727 | 6.3 | 220.333 | 5.328 | 226.167 | 4.31 | 228.9 | -4.699 | 889.933 | 53.227 | 6.0128
2020-02-23 09:15:00 | 6.666 | 205.013 | 5.919 | 218.09 | 4.916 | 227.367 | 3.766 | 229.033 | -3.964 | 889.233 | 51.168 | 5.4998
2020-02-23 09:30:00 | 6.258 | 208.4 | 5.852 | 221.922 | 4.849 | 231.433 | 3.865 | 235.1 | -3.254 | 890.35 | 48.437 | 4.6968
2020-02-23 09:45:00 | 6.432 | 207.26 | 4.983 | 219.426 | 3.994 | 226.733 | 3.452 | 228.4 | -1.72 | 889.517 | 45.355 | 3.7489
2020-02-23 10:00:00 | 5.415 | 208.007 | 5.481 | 207.725 | 4.506 | 212.267 | 3.678 | 210.867 | 0.017 | 889.492 | 41.616 | 3.42
2020-02-23 10:15:00 | 4.202 | 212.087 | 5.729 | 209.537 | 4.905 | 212.433 | 3.854 | 208.333 | 1.552 | 890.117 | 38.203 | 3.7013
2020-02-23 10:30:00 | 4.497 | 212.773 | 5.37 | 217.177 | 5.698 | 222.1 | 4.988 | 217.133 | 2.659 | 890.1 | 35.227 | 3.474
2020-02-23 10:45:00 | 2.926 | 219.64 | 2.674 | 228.075 | 3.114 | 234.8 | 3.216 | 231 | 3.992 | 889.717 | 33.045 | 0.4775
2020-02-23 11:00:00 | 2.222 | 252.593 | 1.868 | 250.647 | 2.081 | 252.183 | 2.058 | 236.717 | 5.695 | 889.733 | 29.219 | 0.20464
2020-02-23 11:15:00 | 2.426 | 264.26 | 2.327 | 259.9 | 2.581 | 262.8 | 2.605 | 258.5 | 5.64 | 889.683 | 27.371 | 0.2622
2020-02-23 11:30:00 | 2.572 | 282.88 | 2.28 | 280.832 | 2.647 | 279.817 | 2.842 | 273.167 | 5.607 | 889.85 | 26.757 | 0.39081
2020-02-23 11:45:00 | 3.897 | 275.467 | 3.848 | 278.841 | 4.214 | 280.667 | 4.326 | 279.233 | 5.515 | 889.5 | 27.904 | 5.2852
2020-02-23 12:00:00 | 5.595 | 277.68 | 6.025 | 283.247 | 6.025 | 287.267 | 6.204 | 285.567 | 5.319 | 889.283 | 28.728 | 11.1424
2020-02-23 12:15:00 | 7.402 | 276.433 | 7.633 | 282.845 | 7.937 | 285.1 | 8.105 | 282.033 | 6.349 | 889.85 | 28.48 | 15.442
2020-02-23 12:30:00 | 6.894 | 268.973 | 7.398 | 279.407 | 7.643 | 282.967 | 7.712 | 279.633 | 6.601 | 889.683 | 28.397 | 14.3542
2020-02-23 12:45:00 | 8.38 | 271.34 | 9.022 | 284.752 | 9.236 | 287.767 | 9.513 | 284.967 | 6.483 | 889.733 | 27.427 | 14.568
2020-02-23 13:00:00 | 9.402 | 278.607 | 10.103 | 286.687 | 10.358 | 289.733 | 10.663 | 285.8 | 7.006 | 889.817 | 27.44 | 14.4885
2020-02-23 13:15:00 | 10.565 | 277.713 | 11.32 | 288.063 | 11.465 | 290.4 | 11.593 | 288.167 | 6.532 | 889.483 | 27.277 | 15.0669
2020-02-23 13:30:00 | 10.098 | 285.387 | 10.474 | 288.006 | 10.978 | 289.233 | 11.208 | 287.133 | 6.876 | 889.6 | 26.899 | 15.0207
2020-02-23 13:45:00 | 9.504 | 271.927 | 9.874 | 278.016 | 10.314 | 283.133 | 10.805 | 281.367 | 6.74 | 890.333 | 27.832 | 14.7059
2020-02-23 14:00:00 | 11.129 | 285.447 | 11.677 | 289.35 | 12.172 | 291.567 | 12.644 | 289.133 | 6.989 | 890.05 | 27.301 | 14.6078
2020-02-23 14:15:00 | 10.28 | 264.38 | 10.91 | 275.667 | 11.208 | 278.167 | 11.364 | 276.633 | 7.242 | 890.15 | 27.32 | 14.8793
2020-02-23 14:30:00 | 10.576 | 261.353 | 11.205 | 273.878 | 11.523 | 278.033 | 11.824 | 275.233 | 7.472 | 889.917 | 26.584 | 14.465
2020-02-23 14:45:00 | 10.674 | 254.447 | 11.55 | 269.829 | 11.639 | 271.333 | 11.733 | 269.333 | 7.566 | 889.65 | 26.411 | 14.6043
2020-02-23 15:00:00 | 9.334 | 259.973 | 9.923 | 277.372 | 10.108 | 279.967 | 10.249 | 276.067 | 7.406 | 889.967 | 26.469 | 14.2177
2020-02-23 15:15:00 | 9.823 | 256.36 | 10.766 | 277.594 | 11.18 | 279.7 | 11.495 | 277.467 | 7.356 | 889.6 | 26.075 | 14.7777
2020-02-23 15:30:00 | 10.294 | 270.567 | 10.584 | 281.061 | 10.807 | 286.1 | 11.247 | 286.2 | 7.736 | 890.133 | 26.152 | 14.7649
2020-02-23 15:45:00 | 9.189 | 281.34 | 9.686 | 290.715 | 9.818 | 294.267 | 10.395 | 293.033 | 7.539 | 889.567 | 25.565 | 20.5688
2020-02-23 16:00:00 | 9.775 | 262.42 | 10.577 | 275.254 | 11.067 | 278.133 | 11.087 | 275.5 | 8.01 | 889.567 | 25.517 | 21.4278
2020-02-23 16:15:00 | 9.9 | 278.24 | 10.55 | 286.313 | 10.856 | 289.767 | 11.191 | 286.767 | 7.849 | 889.5 | 25.445 | 16.235
2020-02-23 16:30:00 | 9.008 | 260.64 | 9.655 | 278.419 | 9.85 | 281 | 9.946 | 279.8 | 7.933 | 889.3 | 26.037 | 14.2206
2020-02-23 16:45:00 | 8.581 | 284.26 | 8.967 | 288.61 | 9.386 | 291.467 | 9.254 | 288.1 | 8.154 | 889.617 | 25.381 | 15.9465
2020-02-23 17:00:00 | 9.445 | 289.507 | 10.154 | 294.99 | 10.153 | 297.167 | 10.526 | 294.267 | 8.461 | 890.05 | 25.16 | 23.7166
2020-02-23 17:15:00 | 9.878 | 292.547 | 10.303 | 296.351 | 10.436 | 299.633 | 10.822 | 296.467 | 8.17 | 889.817 | 25.512 | 43.6103
2020-02-23 17:30:00 | 9.283 | 276.447 | 9.869 | 285.179 | 10.099 | 288 | 10.248 | 284.333 | 8.488 | 890.1 | 25.867 | 56.1007
2020-02-23 17:45:00 | 9.738 | 270.687 | 10.645 | 282.633 | 10.827 | 285.8 | 10.847 | 284.067 | 8.03 | 889.167 | 25.928 | 64.2573
2020-02-23 18:00:00 | 10.301 | 272.367 | 11.192 | 284.157 | 11.468 | 286 | 11.762 | 284.067 | 8.347 | 889.55 | 26.781 | 61.9515
2020-02-23 18:15:00 | 8.194 | 256.433 | 9.23 | 265.255 | 9.377 | 271.133 | 9.391 | 268.367 | 7.766 | 889.783 | 28.445 | 54.924
2020-02-23 18:30:00 | 8.976 | 253.673 | 9.958 | 264.227 | 10.124 | 267.867 | 10.17 | 263.9 | 7.883 | 889.7 | 29.525 | 57.2809
2020-02-23 18:45:00 | 8.868 | 248.213 | 9.83 | 265.11 | 10.104 | 267.133 | 10.32 | 263.3 | 7.089 | 889.75 | 31.181 | 62.6627
2020-02-23 19:00:00 | 7.554 | 249.967 | 8.456 | 259.102 | 8.839 | 261.25 | 8.82 | 258.183 | 6.604 | 889.733 | 31.723 | 49.1854
2020-02-23 19:15:00 | 6.466 | 248.18 | 7.125 | 271.74 | 7.625 | 272.467 | 8.074 | 268.467 | 6.2 | 889.683 | 31.448 | 28.6266
2020-02-23 19:30:00 | 4.738 | 253.727 | 5.5 | 268.714 | 5.779 | 269.4 | 6.087 | 264.517 | 6.061 | 889.783 | 31.096 | 26.8893
2020-02-23 19:45:00 | 4.783 | 231.393 | 5.393 | 250.416 | 6.151 | 255.7 | 6.145 | 249.1 | 5.778 | 889.65 | 31.563 | 22.6699
2020-02-23 20:00:00 | 5.695 | 235.353 | 6.251 | 243.38 | 6.763 | 246.633 | 6.97 | 238.867 | 6.153 | 889.75 | 30.789 | 14.5169
2020-02-23 20:15:00 | 4.116 | 262.693 | 5.011 | 264.586 | 5.44 | 265.517 | 5.602 | 258.65 | 6.011 | 889.967 | 30.531 | 13.5668
2020-02-23 20:30:00 | 6.633 | 312.467 | 7.994 | 310.892 | 8.942 | 316.167 | 9.26 | 313.6 | 4.189 | 889.95 | 36.621 | 47.0878
2020-02-23 20:45:00 | 6.926 | 280.933 | 8.29 | 288.665 | 9.002 | 288.733 | 9.822 | 287.833 | 3.287 | 889.483 | 39.584 | 52.8022
2020-02-23 21:00:00 | 6.931 | 251.527 | 7.808 | 274.788 | 8.226 | 277.067 | 8.719 | 273.433 | 3.832 | 889.667 | 39.2 | 65.8333
2020-02-23 21:15:00 | 7.58 | 250.22 | 8.377 | 264.712 | 9.112 | 268.667 | 9.65 | 262.467 | 3.895 | 889.8 | 37.605 | 56.6435
2020-02-23 21:30:00 | 5.746 | 245 | 6.502 | 257.088 | 7.006 | 260.633 | 7.23 | 256.433 | 3.756 | 889.717 | 38.205 | 42.413
2020-02-23 21:45:00 | 5.969 | 234.307 | 7.258 | 256.368 | 7.924 | 259.717 | 8.115 | 256.933 | 3.776 | 889.817 | 37.072 | 36.5338
2020-02-23 22:00:00 | 5.721 | 241.913 | 6.533 | 257.16 | 7.303 | 260.833 | 7.463 | 255.983 | 4.069 | 889.55 | 36.757 | 47.7032
2020-02-23 22:15:00 | 6.893 | 275.833 | 7.847 | 285.881 | 8.119 | 286.933 | 8.375 | 283.267 | 3.706 | 889.933 | 38.949 | 45.8884
2020-02-23 22:30:00 | 6.581 | 243.667 | 7.733 | 267.506 | 8.315 | 270 | 8.376 | 266.317 | 3.154 | 890 | 40.219 | 43.1264
2020-02-23 22:45:00 | 7.378 | 230.607 | 8.348 | 258.446 | 8.55 | 262.333 | 8.851 | 256.933 | 2.877 | 890.025 | 42.491 | 44.593
2020-02-23 23:00:00 | 5.261 | 251.493 | 6.015 | 270.709 | 6.636 | 273.2 | 7.324 | 267.333 | 2.395 | 889.85 | 41.696 | 43.4895
2020-02-23 23:15:00 | 6.948 | 280.353 | 8.038 | 286.203 | 8.602 | 286.867 | 8.919 | 281.767 | 2.415 | 889.817 | 40.067 | 50.1077
2020-02-23 23:30:00 | 7.764 | 278.933 | 9.07 | 284.235 | 9.418 | 286.033 | 9.782 | 283 | 2.622 | 889.775 | 40.491 | 41.9128
2020-02-23 23:45:00 | 9.313 | 253.867 | 10.438 | 280.766 | 11.05 | 284.133 | 11.579 | 282.167 | 1.953 | 889.567 | 41.283 | 42.1878