## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-24 00:00:00 | 7.877 | 280.027 | 8.664 | 284.574 | 9.309 | 287.6 | 9.935 | 283.733 | 1.938 | 890.167 | 42.357 | 46.9066
2020-02-24 00:15:00 | 8.101 | 237.34 | 9.515 | 267.96 | 10.153 | 272.167 | 11.048 | 269.467 | 1.994 | 889.383 | 42.16 | 64.356
2020-02-24 00:30:00 | 8.572 | 236.76 | 9.632 | 261.128 | 10.364 | 266.433 | 10.827 | 263.9 | 1.339 | 889.575 | 43.723 | 65.5597
2020-02-24 00:45:00 | 6.737 | 237.693 | 7.662 | 266.655 | 8.202 | 268.3 | 8.744 | 264.483 | 1.058 | 889.9 | 44.448 | 54.6689
2020-02-24 01:00:00 | 6.799 | 237.433 | 7.575 | 268.734 | 8.021 | 271.3 | 8.858 | 269.9 | 0.715 | 889.783 | 44.987 | 48.7918
2020-02-24 01:15:00 | 6.338 | 257.607 | 7.318 | 279.558 | 7.922 | 282.167 | 8.515 | 279.233 | 0.649 | 889.992 | 46.165 | 50.775
2020-02-24 01:30:00 | 6.922 | 231.233 | 8.399 | 278.706 | 9.096 | 280.1 | 9.813 | 275.567 | 0.233 | 889.933 | 48.384 | 64.7191
2020-02-24 01:45:00 | 7.542 | 272.193 | 8.803 | 283.468 | 9.286 | 284.933 | 10.07 | 283.033 | -0.06 | 889.75 | 49.563 | 70.4236
2020-02-24 02:00:00 | 7.356 | 246.193 | 8.728 | 278.057 | 9.477 | 279.267 | 10.074 | 277.467 | -0.116 | 889.733 | 50.485 | 69.0927
2020-02-24 02:15:00 | 6.608 | 244.7 | 7.836 | 274.303 | 8.692 | 276.8 | 9.531 | 274 | 0.083 | 889.658 | 51.04 | 57.1978
2020-02-24 02:30:00 | 6.287 | 245.193 | 7.491 | 277.149 | 7.956 | 279.1 | 8.44 | 278.033 | -0.213 | 890.1 | 52.581 | 45.5239
2020-02-24 02:45:00 | 4.606 | 275.953 | 5.742 | 284.61 | 6.258 | 289.667 | 6.827 | 286.767 | -0.808 | 889.983 | 53.365 | 39.2119
2020-02-24 03:00:00 | 7.215 | 231.953 | 8.086 | 257.724 | 8.527 | 261.033 | 8.958 | 258.55 | -0.302 | 890.083 | 53.029 | 60.8039
2020-02-24 03:15:00 | 7.393 | 212.453 | 8.206 | 244.994 | 8.792 | 249.933 | 8.907 | 246.117 | -0.242 | 889.808 | 54.293 | 70.7582
2020-02-24 03:30:00 | 6.704 | 216.307 | 7.851 | 248.725 | 8.655 | 253.933 | 8.82 | 250.983 | -0.046 | 889.45 | 54.8 | 75.5247
2020-02-24 03:45:00 | 7.07 | 218.333 | 8.182 | 248.092 | 8.802 | 254.433 | 9.004 | 249.967 | -0.738 | 890.175 | 56.405 | 76.516
2020-02-24 04:00:00 | 7.808 | 209.033 | 8.904 | 248.574 | 9.175 | 253.833 | 9.362 | 250.533 | -0.782 | 890.175 | 57.445 | 74.5804
2020-02-24 04:15:00 | 7.731 | 217.227 | 9.226 | 254.691 | 9.722 | 259.367 | 9.822 | 256.317 | -0.678 | 890.442 | 60.101 | 63.9375
2020-02-24 04:30:00 | 8.547 | 222.467 | 9.868 | 249.912 | 10.351 | 256.467 | 10.701 | 253.55 | -0.618 | 889.8 | 61.173 | 60.3498
2020-02-24 04:45:00 | 7.912 | 206.113 | 9.473 | 246.406 | 10.173 | 252.967 | 10.564 | 249.867 | -0.329 | 890.017 | 59.264 | 58.4768
2020-02-24 05:00:00 | 8.426 | 210.667 | 10.363 | 246.128 | 11.209 | 251 | 10.95 | 247.033 | -0.865 | 889.575 | 59.637 | 57.1679
2020-02-24 05:15:00 | 7.498 | 205.8 | 9.012 | 250.57 | 9.715 | 254.567 | 10.062 | 251.133 | -0.638 | 889.883 | 62.624 | 56.1106
2020-02-24 05:30:00 | 7.69 | 207.533 | 9.813 | 246.339 | 10.639 | 252.167 | 10.272 | 248.583 | -0.965 | 889.967 | 63.947 | 55.2714
2020-02-24 05:45:00 | 8.176 | 215.533 | 10.223 | 245.892 | 10.737 | 252.183 | 10.672 | 249.133 | -1.212 | 889.925 | 65.056 | 56.036
2020-02-24 06:00:00 | 8.746 | 212.187 | 10.88 | 252.255 | 11.835 | 256.8 | 11.839 | 253.25 | -1.269 | 889.958 | 65.728 | 57.6127
2020-02-24 06:15:00 | 8.039 | 227.12 | 9.783 | 259.04 | 10.442 | 263.467 | 10.8 | 261.067 | -1.149 | 889.542 | 66.907 | 56.1348
2020-02-24 06:30:00 | 7.255 | 236.62 | 9.119 | 257.466 | 9.875 | 261.733 | 10.316 | 258.45 | -1.195 | 889.633 | 68.059 | 57.1324
2020-02-24 06:45:00 | 8.532 | 207.467 | 10.263 | 249.62 | 10.702 | 255 | 10.714 | 250.45 | -1.282 | 889.917 | 68.16 | 59.3039
2020-02-24 07:00:00 | 6.275 | 234.533 | 8.071 | 259.821 | 8.88 | 264.733 | 9.255 | 261.133 | -1.155 | 890.225 | 67.963 | 60.0244
2020-02-24 07:15:00 | 7.231 | 211.887 | 8.713 | 252.211 | 9.43 | 258.233 | 9.758 | 255.783 | -1.149 | 889.808 | 67.835 | 62.5711
2020-02-24 07:30:00 | 5.609 | 226.467 | 7.126 | 241.475 | 7.547 | 252.567 | 7.778 | 251.183 | -0.978 | 889.817 | 67.531 | 48.8721
2020-02-24 07:45:00 | 5.891 | 229.107 | 6.781 | 244.718 | 7.022 | 252.5 | 7.009 | 251.383 | -1.479 | 889.642 | 69.707 | 45.2205
2020-02-24 08:00:00 | 6.419 | 228.74 | 7.424 | 249.079 | 7.813 | 252.9 | 7.883 | 247.867 | -1.78 | 890 | 69.259 | 43.7467
2020-02-24 08:15:00 | 5.129 | 246.773 | 6.196 | 259.077 | 6.541 | 262 | 6.918 | 257.2 | -1.64 | 889.517 | 68.496 | 37.5741
2020-02-24 08:30:00 | 4.281 | 256.3 | 5.438 | 257.85 | 6.022 | 261.733 | 6.206 | 256.517 | -1.652 | 889.792 | 69.339 | 31.5769
2020-02-24 08:45:00 | 5.312 | 236.067 | 6.523 | 248.206 | 6.862 | 252.483 | 7.021 | 246.033 | -1.84 | 889.958 | 68.933 | 39.2602
2020-02-24 09:00:00 | 5.418 | 229.833 | 6.248 | 244.685 | 7.106 | 248.3 | 7.386 | 242.667 | -1.132 | 889.558 | 66.731 | 39.121
2020-02-24 09:15:00 | 5.473 | 229.053 | 6.485 | 238.507 | 6.904 | 245.767 | 7.167 | 242 | -0.758 | 889.817 | 65.653 | 34.5264
2020-02-24 09:30:00 | 5.944 | 221.267 | 7.199 | 239.215 | 7.769 | 246.5 | 7.976 | 243.433 | -0.698 | 889.975 | 63.968 | 26.2114
2020-02-24 09:45:00 | 5.138 | 227.94 | 6.309 | 243.569 | 6.869 | 249 | 7 | 244.433 | -0.133 | 889.908 | 61.387 | 18.0399
2020-02-24 10:00:00 | 4.221 | 234.933 | 5.096 | 243.729 | 5.648 | 248.767 | 5.96 | 241.767 | 0.465 | 889.933 | 59.605 | 16.8838
2020-02-24 10:15:00 | 4.608 | 227.78 | 4.852 | 235.836 | 5.347 | 240.733 | 5.573 | 235.333 | 1.559 | 889.55 | 55.328 | 16.9108
2020-02-24 10:30:00 | 5.548 | 220.293 | 5.597 | 225.963 | 5.981 | 230.533 | 6.162 | 226.567 | 2.016 | 890.058 | 52.587 | 24.7021
2020-02-24 10:45:00 | 6.26 | 226.507 | 6.215 | 244.097 | 6.519 | 247.1 | 6.521 | 240.433 | 2.389 | 889.633 | 51.253 | 29.5333
2020-02-24 11:00:00 | 6.687 | 213.773 | 7.185 | 245.888 | 7.347 | 250.3 | 7.138 | 245.05 | 2.794 | 889.208 | 49.115 | 35.7387
2020-02-24 11:15:00 | 6.861 | 233.667 | 7.307 | 262.5 | 7.446 | 267.667 | 7.524 | 266.817 | 3.321 | 889.858 | 45.291 | 39.7832
2020-02-24 11:30:00 | 7.913 | 267.973 | 8.476 | 285.264 | 8.858 | 287.2 | 9.099 | 285.667 | 2.517 | 889.908 | 44.341 | 35.0189
2020-02-24 11:45:00 | 8.019 | 243.527 | 8.704 | 273.621 | 8.972 | 279.3 | 9.065 | 278.467 | 3.126 | 889.8 | 44.144 | 34.3161
2020-02-24 12:00:00 | 7.572 | 271.5 | 7.902 | 285.747 | 7.965 | 288.067 | 8.325 | 284.533 | 3.321 | 890.25 | 42.373 | 39.9509
2020-02-24 12:15:00 | 7.158 | 257.107 | 7.638 | 285.916 | 7.875 | 288.133 | 8.142 | 286.733 | 2.862 | 889.917 | 42.667 | 34.3246
2020-02-24 12:30:00 | 7.105 | 280.573 | 7.474 | 288.693 | 7.689 | 291.533 | 8.178 | 289.1 | 3.167 | 889.75 | 41.632 | 22.9897
2020-02-24 12:45:00 | 7.253 | 263.667 | 7.783 | 285.366 | 8.161 | 287 | 8.133 | 285.867 | 3.706 | 889.875 | 41.277 | 20.4593
2020-02-24 13:00:00 | 8.349 | 264.133 | 8.941 | 285.434 | 9.081 | 289.4 | 9.173 | 286.967 | 3.455 | 889.792 | 42.219 | 20.4849
2020-02-24 13:15:00 | 7.486 | 258.987 | 7.987 | 283.094 | 7.981 | 286.9 | 8.094 | 288 | 3.762 | 889.608 | 41.925 | 20.1005
2020-02-24 13:30:00 | 7.659 | 286.767 | 8.123 | 299.672 | 8.174 | 303.433 | 8.63 | 301.6 | 3.488 | 889.683 | 42.453 | 24.4158
2020-02-24 13:45:00 | 7.194 | 274.547 | 7.752 | 287.417 | 7.988 | 291.2 | 8.155 | 289.933 | 4.262 | 889.567 | 40.696 | 32.9987
2020-02-24 14:00:00 | 7.972 | 294.1 | 8.271 | 300.171 | 8.329 | 304.2 | 8.598 | 303.033 | 4.299 | 889.583 | 40.589 | 37.4199
2020-02-24 14:15:00 | 7.752 | 310.2 | 8.02 | 306.101 | 7.795 | 310.933 | 8.202 | 308.233 | 4.322 | 889.217 | 40.629 | 34.5264
2020-02-24 14:30:00 | 7.923 | 286.187 | 8.405 | 294.025 | 8.447 | 298.3 | 8.817 | 296.433 | 4.318 | 889.8 | 38.915 | 32.1666
2020-02-24 14:45:00 | 7 | 270.813 | 7.564 | 283.046 | 7.815 | 284.633 | 8.021 | 282.567 | 4.673 | 889.833 | 38.165 | 37.152
2020-02-24 15:00:00 | 7.792 | 292.773 | 8.178 | 299.2 | 8.327 | 302.533 | 8.631 | 299.733 | 4.723 | 889.65 | 37.141 | 36.2403
2020-02-24 15:15:00 | 8.6 | 281.333 | 9.177 | 294.435 | 9.484 | 296.367 | 9.919 | 293.467 | 4.816 | 889.633 | 37.813 | 35.3152
2020-02-24 15:30:00 | 6.873 | 286.467 | 7.43 | 296.88 | 7.435 | 301.533 | 7.592 | 299.767 | 4.702 | 889.633 | 37.368 | 35.0665
2020-02-24 15:45:00 | 9.235 | 289.847 | 9.679 | 297.966 | 9.965 | 300.667 | 10.226 | 298.267 | 4.964 | 889.917 | 36.835 | 40.9954
2020-02-24 16:00:00 | 7.643 | 301.793 | 7.974 | 298.626 | 8.432 | 302.667 | 8.712 | 301.8 | 4.819 | 889.633 | 36.936 | 45.0329
2020-02-24 16:15:00 | 8.836 | 308.76 | 9.091 | 307.489 | 9.382 | 308.6 | 9.567 | 306.633 | 4.46 | 889.6 | 38.603 | 49.9649
2020-02-24 16:30:00 | 8.963 | 293.053 | 9.451 | 297.682 | 9.993 | 302.167 | 10.382 | 298.633 | 4.925 | 889.583 | 37.771 | 58.6239
2020-02-24 16:45:00 | 9.042 | 274.927 | 9.402 | 290.359 | 9.587 | 295.1 | 9.769 | 295 | 5.113 | 889.867 | 37.056 | 58.2089
2020-02-24 17:00:00 | 8.653 | 291.34 | 9.254 | 297.467 | 9.244 | 299.567 | 9.661 | 295.933 | 4.99 | 889.45 | 36.536 | 59.5377
2020-02-24 17:15:00 | 8.782 | 286.733 | 9.457 | 299.28 | 9.965 | 302.533 | 10.414 | 302.9 | 5.104 | 889.967 | 37.341 | 59.8816
2020-02-24 17:30:00 | 8.628 | 294.747 | 9.104 | 301.162 | 9.34 | 307.533 | 9.762 | 306.433 | 5.004 | 889.967 | 36.616 | 59.5384
2020-02-24 17:45:00 | 9.234 | 304.847 | 9.851 | 305.001 | 10.148 | 309 | 10.696 | 307.4 | 4.848 | 889.667 | 36.165 | 67.6474
2020-02-24 18:00:00 | 8.91 | 298.273 | 9.262 | 303.777 | 10.153 | 306.867 | 10.793 | 304.433 | 4.905 | 890.067 | 36.499 | 69.4479
2020-02-24 18:15:00 | 8.42 | 295.267 | 9.107 | 299.89 | 9.478 | 305.067 | 9.957 | 302.4 | 4.322 | 889.75 | 35.968 | 66.8153
2020-02-24 18:30:00 | 9.162 | 300.267 | 9.791 | 304.142 | 10.088 | 308.9 | 10.433 | 306.3 | 3.655 | 889.767 | 38.64 | 62.6059
2020-02-24 18:45:00 | 8.977 | 303.613 | 9.519 | 304.821 | 9.997 | 311.133 | 10.466 | 309.067 | 3.826 | 889.65 | 38.469 | 58.6907
2020-02-24 19:00:00 | 7.481 | 290.367 | 7.973 | 300.379 | 8.311 | 305.833 | 8.716 | 303.333 | 3.555 | 889.55 | 39.187 | 62.095
2020-02-24 19:15:00 | 7.014 | 279.2 | 7.561 | 292.431 | 7.645 | 294.867 | 8.066 | 293.567 | 3.087 | 889.717 | 39.384 | 44.7756
2020-02-24 19:30:00 | 8.36 | 275.067 | 9.13 | 287.605 | 9.435 | 291.7 | 9.861 | 290.533 | 3.305 | 889.75 | 40.027 | 41.2321
2020-02-24 19:45:00 | 5.608 | 278.133 | 6.142 | 288.365 | 6.51 | 292.133 | 6.96 | 287.5 | 3.254 | 889.992 | 42.043 | 30.9715
2020-02-24 20:00:00 | 5.272 | 255.333 | 5.845 | 280.61 | 6.002 | 282.5 | 6.51 | 281.8 | 3.104 | 890.092 | 42.811 | 23.001
2020-02-24 20:15:00 | 4.298 | 295.333 | 4.52 | 294.558 | 4.972 | 299.7 | 5.475 | 294.667 | 3.187 | 889.817 | 43.845 | 16.5001
2020-02-24 20:30:00 | 5.296 | 290.733 | 5.876 | 296.511 | 6.198 | 301.767 | 6.499 | 298.4 | 2.968 | 890.042 | 45.045 | 24.4044
2020-02-24 20:45:00 | 6.862 | 277.513 | 7.57 | 289.519 | 7.935 | 294.067 | 8.355 | 291.233 | 2.476 | 889.775 | 46.699 | 36.6503
2020-02-24 21:00:00 | 7.122 | 284.593 | 7.859 | 295.422 | 8.328 | 298.433 | 8.971 | 295.733 | 2.462 | 890.067 | 49.376 | 40.4057
2020-02-24 21:15:00 | 7.757 | 284.367 | 8.513 | 294.201 | 8.97 | 297.3 | 9.362 | 293.967 | 1.809 | 890.025 | 53.003 | 48.6482
2020-02-24 21:30:00 | 8.147 | 274.753 | 8.775 | 287.113 | 9.339 | 289.867 | 9.977 | 287.467 | 1.66 | 889.742 | 56.635 | 53.6378
2020-02-24 21:45:00 | 9.497 | 243.053 | 10.541 | 274.749 | 11.058 | 276.733 | 11.732 | 274.833 | 1.733 | 889.867 | 56.667 | 68.0091
2020-02-24 22:00:00 | 6.518 | 276.787 | 7.169 | 284.848 | 7.306 | 287 | 7.566 | 283.933 | 1.519 | 889.725 | 56.101 | 46.1136
2020-02-24 22:15:00 | 6.427 | 248.313 | 7.483 | 270.808 | 8.205 | 274.667 | 8.472 | 268.467 | 1.359 | 889.767 | 55.963 | 51.3761
2020-02-24 22:30:00 | 10.39 | 235.64 | 12.016 | 265.201 | 12.746 | 269.933 | 13.126 | 266.433 | 0.965 | 889.625 | 59.184 | 69.6888
2020-02-24 22:45:00 | 10.126 | 221.687 | 11.496 | 258.929 | 11.797 | 261.9 | 11.695 | 260.233 | 0.865 | 889.708 | 59.024 | 76.1777
2020-02-24 23:00:00 | 9.143 | 238.36 | 10.227 | 264.367 | 10.525 | 269.433 | 10.824 | 265.367 | 0.648 | 890.05 | 58.331 | 77.7985
2020-02-24 23:15:00 | 7.908 | 217.353 | 9.033 | 262.136 | 9.454 | 264.667 | 9.71 | 261.733 | 0.765 | 889.767 | 57.301 | 76.8954
2020-02-24 23:30:00 | 6.959 | 230.18 | 8.172 | 254.78 | 8.528 | 257.817 | 8.653 | 253.467 | 0.582 | 889.842 | 58.043 | 74.5697
2020-02-24 23:45:00 | 6.73 | 216.247 | 8.044 | 255.335 | 8.3 | 258.367 | 8.429 | 253.883 | 0.033 | 890.067 | 58.688 | 69.0685