## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-25 00:00:00 | 6.553 | 222.793 | 7.608 | 251.022 | 8.097 | 254.6 | 8.267 | 250.667 | -0.136 | 889.633 | 59.979 | 67.663
2020-02-25 00:15:00 | 6.717 | 229.467 | 7.789 | 245.127 | 8.575 | 248.867 | 8.9 | 245.85 | -0.798 | 889.483 | 59.531 | 72.831
2020-02-25 00:30:00 | 6.429 | 218.667 | 7.941 | 244.566 | 8.459 | 250.333 | 8.761 | 246.067 | -0.538 | 889.742 | 59.691 | 71.9975
2020-02-25 00:45:00 | 7.028 | 215.9 | 8.176 | 250.19 | 8.66 | 253.333 | 8.872 | 248.467 | -0.698 | 889.858 | 59.765 | 61.4903
2020-02-25 01:00:00 | 5.738 | 222.453 | 7.155 | 248.217 | 7.837 | 253 | 8.02 | 249.65 | -0.582 | 889.708 | 59.669 | 44.468
2020-02-25 01:15:00 | 2.742 | 242.727 | 4.165 | 245.947 | 5.219 | 252.167 | 5.752 | 247.55 | -1.079 | 889.475 | 61.504 | 40.5499
2020-02-25 01:30:00 | 4.05 | 240.56 | 5.165 | 249.926 | 5.77 | 253.983 | 6.035 | 251.133 | -1.64 | 889.733 | 63.824 | 27.3057
2020-02-25 01:45:00 | 4.328 | 250.027 | 4.648 | 252.642 | 4.999 | 257.233 | 5.225 | 254.583 | -1.115 | 889.283 | 63.851 | 15.3291
2020-02-25 02:00:00 | 4.169 | 236.367 | 4.276 | 237.085 | 4.346 | 244.267 | 4.406 | 243.967 | -1.6 | 890.05 | 64.107 | 9.2196
2020-02-25 02:15:00 | 3.223 | 209.533 | 4.487 | 238.499 | 4.882 | 245.033 | 5.013 | 240.733 | -2.7 | 889.683 | 65.739 | 9.5209
2020-02-25 02:30:00 | 4.232 | 212.567 | 4.295 | 224.62 | 4.649 | 234.267 | 4.788 | 231.433 | -3.237 | 889.983 | 67.947 | 11.1843
2020-02-25 02:45:00 | 5.73 | 224.633 | 5.608 | 229.6 | 5.324 | 234.267 | 4.892 | 231.7 | -3.271 | 889.767 | 68.875 | 9.9103
2020-02-25 03:00:00 | 5.73 | 223.633 | 5.657 | 226.934 | 5.462 | 233.033 | 5.226 | 231 | -3.622 | 890.133 | 69.419 | 9.8485
2020-02-25 03:15:00 | 5.552 | 213.633 | 5.171 | 223.093 | 4.964 | 233.367 | 4.878 | 232.7 | -3.89 | 889.9 | 70.645 | 9.8378
2020-02-25 03:30:00 | 5.612 | 217.433 | 5.601 | 232.459 | 5.502 | 238.867 | 5.29 | 237.483 | -3.89 | 889.933 | 70.432 | 12.1294
2020-02-25 03:45:00 | 5.795 | 223.153 | 5.793 | 238.861 | 6.068 | 246.833 | 6.014 | 244.333 | -3.232 | 889.442 | 68.267 | 15.9096
2020-02-25 04:00:00 | 5.235 | 220.007 | 6.178 | 232.92 | 6.17 | 239.967 | 6.359 | 237.167 | -3.776 | 890.058 | 67.616 | 18.0122
2020-02-25 04:15:00 | 5.72 | 222.307 | 6.135 | 237.47 | 6.435 | 247.1 | 6.578 | 245.45 | -2.659 | 889.958 | 67.605 | 21.462
2020-02-25 04:30:00 | 5.678 | 224.107 | 5.961 | 248.072 | 6.145 | 254.533 | 6.364 | 256.7 | -2.98 | 890.05 | 66.512 | 21.9132
2020-02-25 04:45:00 | 4.825 | 239.9 | 5.987 | 256.665 | 6.159 | 262.2 | 6.382 | 263.833 | -2.335 | 889.983 | 65.595 | 20.3684
2020-02-25 05:00:00 | 5.511 | 236.54 | 6.14 | 259.83 | 6.47 | 267.833 | 6.734 | 266.567 | -2.666 | 890.175 | 66.709 | 18.0967
2020-02-25 05:15:00 | 4.396 | 231.62 | 5.344 | 254.772 | 5.418 | 264.467 | 5.543 | 263.567 | -2.696 | 890.15 | 64.837 | 10.9996
2020-02-25 05:30:00 | 5.72 | 215.367 | 4.845 | 241.41 | 4.808 | 251.1 | 4.677 | 252.2 | -4.238 | 889.75 | 66.592 | 7.6144
2020-02-25 05:45:00 | 4.862 | 224.107 | 4.414 | 244.637 | 4.332 | 254.533 | 4.201 | 254.283 | -4.706 | 890.025 | 67.797 | 6.4562
2020-02-25 06:00:00 | 5.178 | 225.5 | 4.134 | 249.677 | 4.179 | 256.2 | 4.165 | 255.583 | -5.285 | 889.817 | 69.237 | 5.1687
2020-02-25 06:15:00 | 5.825 | 216.307 | 4.444 | 234.47 | 4.116 | 247.267 | 3.986 | 246.767 | -5.522 | 889.925 | 68.832 | 4.6599
2020-02-25 06:30:00 | 6.012 | 212.2 | 4.793 | 222.82 | 4.4 | 233.667 | 4.09 | 236.733 | -5.452 | 889.867 | 70.933 | 3.9415
2020-02-25 06:45:00 | 6.319 | 213.633 | 4.563 | 222.842 | 4.064 | 232.467 | 3.835 | 235.3 | -5.319 | 889.517 | 71.147 | 4.3515
2020-02-25 07:00:00 | 5.976 | 216.5 | 4.498 | 220.907 | 4.302 | 229.167 | 3.995 | 229.167 | -5.485 | 889.967 | 70.005 | 3.2842
2020-02-25 07:15:00 | 6.021 | 214.687 | 4.564 | 228.134 | 3.998 | 234.2 | 3.387 | 228.067 | -6.057 | 890.058 | 70.88 | 2.6604
2020-02-25 07:30:00 | 6.201 | 225.013 | 4.728 | 233.037 | 4.21 | 241 | 3.887 | 240.3 | -5.938 | 890.25 | 71.392 | 1.8382
2020-02-25 07:45:00 | 4.907 | 222.647 | 3.249 | 229.279 | 2.974 | 238.8 | 2.98 | 238 | -5.938 | 889.925 | 71.392 | 1.392
2020-02-25 08:00:00 | 4.309 | 226.54 | 5.143 | 237.02 | 4.005 | 250.733 | 3.75 | 248.7 | -5.819 | 890.25 | 71.029 | 4.6066
2020-02-25 08:15:00 | 5.642 | 222.18 | 5.724 | 238.691 | 5.046 | 251.267 | 4.958 | 250.4 | -6.685 | 889.792 | 72.533 | 6.6871
2020-02-25 08:30:00 | 5.875 | 226.867 | 5.488 | 243.572 | 5.194 | 256.433 | 4.633 | 254.65 | -6.445 | 889.892 | 71.627 | 8.9638
2020-02-25 08:45:00 | 5.921 | 223.207 | 6.542 | 237.136 | 5.987 | 251.5 | 5.528 | 250.517 | -5.572 | 890.358 | 69.205 | 11.3577
2020-02-25 09:00:00 | 5.414 | 216.633 | 6.24 | 235.372 | 5.681 | 250.067 | 5.173 | 247.7 | -5.235 | 889.792 | 67.893 | 8.568
2020-02-25 09:15:00 | 6.006 | 211.513 | 5.898 | 223.448 | 5.229 | 237.7 | 4.738 | 236.9 | -4.113 | 890.008 | 65.024 | 4.9384
2020-02-25 09:30:00 | 4.797 | 212.407 | 5.457 | 220.652 | 4.145 | 232.733 | 3.878 | 232.433 | -3.13 | 889.475 | 62.304 | 2.0699
2020-02-25 09:45:00 | 4.27 | 213.987 | 4.896 | 216.049 | 4.133 | 224.667 | 3.371 | 228.967 | -1.74 | 889.575 | 58.624 | 1.5988
2020-02-25 10:00:00 | 3.324 | 210.573 | 4.367 | 205.408 | 4.351 | 214.8 | 3.861 | 215.667 | -0.292 | 889.808 | 54.357 | 0.89673
2020-02-25 10:15:00 | 3.003 | 215.26 | 3.538 | 211.863 | 3.556 | 213.1 | 3.1 | 216.667 | 1.145 | 889.792 | 48.875 | 0.16627
2020-02-25 10:30:00 | 2.883 | 222.667 | 2.871 | 220.24 | 3.038 | 228.533 | 2.719 | 225.1 | 2.496 | 890.008 | 43.819 | 0.25012
2020-02-25 10:45:00 | 3.101 | 229.7 | 2.9 | 231.082 | 2.99 | 239.167 | 2.694 | 236.2 | 3.689 | 889.85 | 38.603 | 0.10516
2020-02-25 11:00:00 | 3.08 | 234.627 | 2.97 | 240.069 | 2.983 | 242.967 | 2.933 | 241.6 | 4.649 | 889.9 | 35.491 | 0.052582
2020-02-25 11:15:00 | 2.707 | 249.26 | 2.745 | 248.354 | 2.777 | 251.917 | 2.88 | 245 | 4.981 | 890.117 | 34.261 | 0.083847
2020-02-25 11:30:00 | 2.222 | 246.14 | 2.144 | 258.275 | 2.219 | 259.75 | 2.348 | 252.5 | 4.955 | 889.967 | 33.379 | 0.13643
2020-02-25 11:45:00 | 2.504 | 302.527 | 2.194 | 292.807 | 2.336 | 290.1 | 2.326 | 284.9 | 4.902 | 889.55 | 32.533 | 0.27215
2020-02-25 12:00:00 | 2.188 | 283.847 | 2.19 | 284.903 | 2.287 | 285.433 | 2.369 | 284.867 | 4.693 | 889.733 | 32.477 | 0.21743
2020-02-25 12:15:00 | 2.906 | 303.8 | 2.756 | 302.406 | 2.763 | 306.933 | 2.77 | 299.333 | 5.002 | 889.367 | 31.709 | 0.19825
2020-02-25 12:30:00 | 2.884 | 314.013 | 2.947 | 327.407 | 3.09 | 324.5 | 3.354 | 319.567 | 5.263 | 889.667 | 31.413 | 0.21885
2020-02-25 12:45:00 | 2.597 | 284.9 | 2.447 | 297.378 | 2.667 | 292.667 | 2.488 | 287.167 | 5.684 | 889.583 | 30.541 | 0.22312
2020-02-25 13:00:00 | 1.912 | 202.566 | 1.94 | 122.696 | 2.093 | 125.411 | 2.324 | 110.034 | 6.18 | 889.967 | 29.541 | 0.22667
2020-02-25 13:15:00 | 2.065 | 120.374 | 1.677 | 155.948 | 1.942 | 19.736 | 2.102 | 18.8 | 5.845 | 889.967 | 29.437 | 0.13145
2020-02-25 13:30:00 | 1.79 | 210.79 | 1.412 | 254.56 | 1.695 | 183.933 | 1.956 | 106.367 | 6.064 | 889.9 | 29.136 | 0.2288
2020-02-25 13:45:00 | 0.579 | 69.46 | 0.33 | 57.06 | 0.948 | 68.7 | 0.907 | 40.8 | 5.945 | 889.8 | 29.285 | 0.21033
2020-02-25 14:00:00 | 0.516 | 4.88 | 0.314 | 29.831 | 0.38 | 40.767 | 0.765 | 44.267 | 6.012 | 889.383 | 28.448 | 0.19043
2020-02-25 14:15:00 | 1.77 | 83.627 | 1.51 | 121.835 | 1.516 | 196.033 | 1.724 | 72.435 | 5.978 | 890.133 | 28.427 | 0.22596
2020-02-25 14:30:00 | 1.733 | 163.113 | 1.182 | 209.03 | 1.333 | 207.9 | 1.647 | 13.733 | 5.865 | 889.933 | 28.408 | 0.1883
2020-02-25 14:45:00 | 0.443 | 91.745 | 0.383 | 17.025 | 0.426 | 16.675 | 1.132 | 35.967 | 5.928 | 889.4 | 28.299 | 0.18191
2020-02-25 15:00:00 | 1.298 | 85.462 | 0.436 | 35.496 | 0.17 | 328.8 | 0.158 | 328.3 | 6.206 | 890.117 | 28.237 | 0.17622
2020-02-25 15:15:00 | 2.189 | 62.212 | 1.93 | 103.739 | 1.871 | 31.283 | 1.899 | 13.733 | 5.778 | 889.733 | 28.379 | 0.18048
2020-02-25 15:30:00 | 1.399 | 20.853 | 0.606 | 66.637 | 0.986 | 102.633 | 1.453 | 84.133 | 5.988 | 889.75 | 28.736 | 0.18191
2020-02-25 15:45:00 | 1.63 | 62.374 | 0.977 | 93.443 | 0.679 | 350.833 | 1.266 | 340.533 | 5.616 | 889.683 | 29.059 | 0.21033
2020-02-25 16:00:00 | 1.603 | 80.315 | 1.294 | 18.386 | 1.526 | 25.577 | 1.791 | 17.633 | 6.015 | 890.05 | 28.576 | 0.25296
2020-02-25 16:15:00 | 0.976 | 155.39 | 0.67 | 135.22 | 1.266 | 168.571 | 1.716 | 157.1 | 5.958 | 889.5 | 27.731 | 0.90882
2020-02-25 16:30:00 | 2.313 | 85.319 | 2.074 | 225.506 | 2.054 | 165.433 | 2.044 | 47.733 | 6.17 | 889.767 | 28.501 | 1.289
2020-02-25 16:45:00 | 2.97 | 18.597 | 2.734 | 6.52 | 2.58 | 10.202 | 2.856 | 10.133 | 5.975 | 889.917 | 30.411 | 1.2122
2020-02-25 17:00:00 | 2.823 | 9.992 | 2.579 | 51.48 | 2.694 | 6.233 | 2.658 | 4.4 | 5.862 | 889.433 | 30.667 | 0.37589
2020-02-25 17:15:00 | 1.858 | 3.375 | 1.711 | 6.153 | 1.556 | 10.8 | 1.68 | 4.833 | 5.954 | 889.767 | 30.875 | 0.60256
2020-02-25 17:30:00 | 1.847 | 26.792 | 1.71 | 92.738 | 1.696 | 59.3 | 1.942 | 62.5 | 5.892 | 889.983 | 30.251 | 0.60114
2020-02-25 17:45:00 | 2.533 | 3.575 | 2.22 | 13.367 | 2.181 | 4.4 | 2.109 | 0 | 5.828 | 889.867 | 30.157 | 0.4171
2020-02-25 18:00:00 | 3.255 | 151.277 | 3.262 | 165.742 | 3.211 | 72.167 | 3.131 | 59.2 | 5.707 | 889.517 | 31.525 | 1.9512
2020-02-25 18:15:00 | 3.858 | 119.542 | 4.184 | 164.48 | 4.126 | 118.167 | 4.077 | 164.7 | 5.283 | 889.933 | 33.533 | 1.797
2020-02-25 18:30:00 | 3.495 | 56.361 | 3.744 | 190.393 | 3.779 | 0.7 | 3.895 | 24.633 | 5.295 | 889.85 | 33.664 | 1.5583
2020-02-25 18:45:00 | 3.478 | 71.548 | 3.757 | 154.718 | 3.703 | 23.967 | 3.75 | 11.933 | 4.785 | 889.733 | 33.731 | 0.91663
2020-02-25 19:00:00 | 2.886 | 343.133 | 2.82 | 339.532 | 2.91 | 342.033 | 3.085 | 339.7 | 4.77 | 889.967 | 33.768 | 0.21885
2020-02-25 19:15:00 | 2.05 | 46.64 | 2.174 | 273.059 | 2.182 | 128.733 | 2.597 | 349.867 | 4.616 | 889.933 | 33.923 | 0.27002
2020-02-25 19:30:00 | 2.024 | 336.467 | 1.933 | 334.005 | 1.9 | 340.233 | 2.14 | 348.267 | 4.554 | 889.683 | 34.491 | 0.19327
2020-02-25 19:45:00 | 1.988 | 330.04 | 1.995 | 329.1 | 2.097 | 334.2 | 2.427 | 336.933 | 3.904 | 889.733 | 35.173 | 0.18901
2020-02-25 20:00:00 | 1.879 | 326 | 1.694 | 323.838 | 1.925 | 330.067 | 2.352 | 328.333 | 4.072 | 889.417 | 35.797 | 0.18901
2020-02-25 20:15:00 | 2.019 | 321.227 | 2.025 | 319.352 | 2.401 | 323 | 2.839 | 328.7 | 3.895 | 890.283 | 36.419 | 0.19967
2020-02-25 20:30:00 | 1.14 | 319.787 | 0.77 | 320.825 | 1.227 | 320.6 | 1.694 | 327.7 | 3.902 | 889.417 | 36.837 | 0.1947
2020-02-25 20:45:00 | 0.688 | 310.633 | 0 | 320.936 | 0 | 316.633 | 0.896 | 302 | 3.689 | 889.7 | 37.525 | 0.18333
2020-02-25 21:00:00 | 0 | 227.18 | 0 | 321.077 | 0 | 316 | 0.826 | 302 | 2.905 | 889.633 | 38.635 | 0.18901
2020-02-25 21:15:00 | 0 | 227.293 | 0 | 320.927 | 0 | 316 | 0.344 | 302 | 2.286 | 889.383 | 40.8 | 0.19896
2020-02-25 21:30:00 | 1.451 | 224.053 | 0.023 | 319.017 | 0 | 316 | 0 | 302.033 | 2.315 | 889.408 | 41.477 | 0.20606
2020-02-25 21:45:00 | 0.548 | 199.107 | 0 | 352.956 | 0 | 0 | 0.201 | 0 | 2.76 | 890.083 | 41.547 | 0.20464
2020-02-25 22:00:00 | 1.774 | 281.947 | 1.852 | 299.924 | 1.23 | 304.867 | 1.399 | 283.467 | 1.322 | 890.025 | 42.352 | 0.19896
2020-02-25 22:15:00 | 1.881 | 254.127 | 0.773 | 281.077 | 1.171 | 262.1 | 0.981 | 292 | 0.282 | 890.117 | 49.237 | 0.21033
2020-02-25 22:30:00 | 3.363 | 258.62 | 3.986 | 271.173 | 4.345 | 272.833 | 4.097 | 271.733 | 0.649 | 890.342 | 45.451 | 2.4685
2020-02-25 22:45:00 | 5.105 | 238.893 | 5.069 | 253.334 | 4.596 | 264.133 | 4.502 | 267.5 | -1.015 | 889.333 | 49.856 | 9.916
2020-02-25 23:00:00 | 4.955 | 233.493 | 4.746 | 250.378 | 4.42 | 258.4 | 4.441 | 258.867 | -0.955 | 889.633 | 54.176 | 8.9375
2020-02-25 23:15:00 | 4.978 | 227.14 | 5.319 | 247.763 | 5.075 | 257.133 | 5.084 | 255.733 | -1.266 | 890 | 55.904 | 11.2959
2020-02-25 23:30:00 | 5.42 | 238.2 | 5.828 | 257.28 | 5.685 | 268 | 5.802 | 267.333 | -1.102 | 889.675 | 57.728 | 13.2542
2020-02-25 23:45:00 | 5.898 | 228.54 | 6.369 | 252.678 | 5.997 | 261.133 | 5.994 | 261 | -2.114 | 890.025 | 59.147 | 18.2054