## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-26 00:00:00 | 5.913 | 233.533 | 6.405 | 243.048 | 6.095 | 249.267 | 5.739 | 246.9 | -0.965 | 889.383 | 56.32 | 20.4032
2020-02-26 00:15:00 | 5.43 | 223.32 | 5.972 | 237.214 | 5.579 | 244.733 | 5.452 | 246.1 | -1.149 | 890.383 | 56.32 | 18.9302
2020-02-26 00:30:00 | 5.557 | 222.42 | 6.511 | 240.461 | 6.148 | 250.367 | 5.884 | 250.367 | -1.892 | 889.542 | 56.789 | 22.4361
2020-02-26 00:45:00 | 5.716 | 223.213 | 6.391 | 241.207 | 6.124 | 252.533 | 6.202 | 252.433 | -1.899 | 889.8 | 57.131 | 30.0691
2020-02-26 01:00:00 | 5.095 | 212.333 | 7.36 | 242.706 | 7.281 | 250.2 | 7.179 | 247.933 | -2.238 | 889.733 | 58.955 | 34.2252
2020-02-26 01:15:00 | 6.056 | 218.14 | 7.418 | 237.544 | 7.494 | 245.9 | 7.368 | 245.033 | -1.958 | 889.933 | 58.293 | 37.5861
2020-02-26 01:30:00 | 6.508 | 216.3 | 7.35 | 232.592 | 7.285 | 243.533 | 7.058 | 243.6 | -1.952 | 890.325 | 57.728 | 37.476
2020-02-26 01:45:00 | 6.022 | 205.92 | 7.309 | 229.848 | 7.217 | 239.567 | 6.873 | 237.667 | -2.39 | 889.842 | 58.635 | 33.8187
2020-02-26 02:00:00 | 5.555 | 217.773 | 6.75 | 230.964 | 6.776 | 239.8 | 6.275 | 237.4 | -2.208 | 890.192 | 59.083 | 25.6387
2020-02-26 02:15:00 | 5.328 | 214.26 | 6.311 | 230.227 | 6.233 | 241.067 | 6.095 | 237.833 | -2.541 | 890.142 | 58.656 | 21.3824
2020-02-26 02:30:00 | 5.208 | 220.027 | 5.791 | 236.35 | 6.219 | 246.633 | 6.119 | 246.233 | -2.74 | 889.65 | 58.656 | 19.839
2020-02-26 02:45:00 | 5.829 | 211.153 | 6.415 | 231.653 | 6.24 | 243.467 | 5.766 | 244.833 | -3.234 | 890.058 | 57.696 | 21.7142
2020-02-26 03:00:00 | 6.118 | 212.067 | 6.361 | 232.539 | 6.091 | 244.633 | 5.706 | 245.4 | -3.588 | 889.933 | 58.741 | 22.6372
2020-02-26 03:15:00 | 5.557 | 212.567 | 6.391 | 237.14 | 6.241 | 250.5 | 5.824 | 251.517 | -3.404 | 889.975 | 58.368 | 21.1266
2020-02-26 03:30:00 | 5.853 | 210.267 | 6.313 | 237.067 | 6.019 | 247.033 | 5.548 | 244.833 | -3.321 | 890.25 | 58.08 | 19.5143
2020-02-26 03:45:00 | 5.265 | 212.833 | 6.193 | 235.49 | 5.535 | 249.167 | 5.231 | 255.133 | -3.504 | 889.342 | 57.056 | 13.6614
2020-02-26 04:00:00 | 5.861 | 211.52 | 5.817 | 230.323 | 5.337 | 245.3 | 5.083 | 251.9 | -2.488 | 889.808 | 55.467 | 12.5593
2020-02-26 04:15:00 | 5.621 | 210.8 | 6.113 | 232.994 | 6.243 | 258.067 | 6.423 | 264.333 | -3.421 | 889.625 | 57.259 | 18.0619
2020-02-26 04:30:00 | 5.108 | 221.8 | 6.936 | 243.645 | 6.646 | 258.367 | 6.508 | 263.5 | -3.857 | 889.967 | 56.523 | 22.7808
2020-02-26 04:45:00 | 5.314 | 219.567 | 6.77 | 238.066 | 6.802 | 252.1 | 6.331 | 254.15 | -3.907 | 889.825 | 58.571 | 29.7479
2020-02-26 05:00:00 | 5.508 | 229.6 | 7.207 | 249.803 | 7.1 | 261.133 | 7.153 | 263.433 | -3.505 | 889.958 | 59.371 | 33.4883
2020-02-26 05:15:00 | 5.866 | 230.68 | 6.942 | 245.653 | 6.638 | 255.5 | 6.602 | 254.85 | -2.618 | 890.258 | 57.579 | 32.3251
2020-02-26 05:30:00 | 6.122 | 224.907 | 7.126 | 241.915 | 7.258 | 250.1 | 7.196 | 248.4 | -2.912 | 889.725 | 58.357 | 32.259
2020-02-26 05:45:00 | 7.006 | 211.013 | 7.665 | 231.347 | 7.511 | 240.667 | 7.205 | 238.633 | -2.821 | 889.867 | 57.515 | 30.0115
2020-02-26 06:00:00 | 6.678 | 202.127 | 7.251 | 231.909 | 6.967 | 242.2 | 6.794 | 242.2 | -3.093 | 889.783 | 57.109 | 25.6117
2020-02-26 06:15:00 | 5.938 | 210.667 | 6.808 | 235.138 | 6.674 | 244.733 | 6.42 | 241.767 | -3.539 | 889.892 | 57.973 | 21.4811
2020-02-26 06:30:00 | 6.116 | 221.533 | 6.507 | 235.702 | 6.298 | 245.467 | 6.219 | 243.733 | -3.706 | 890.083 | 57.653 | 18.9558
2020-02-26 06:45:00 | 6.119 | 221.833 | 5.847 | 237.721 | 5.647 | 248.433 | 5.356 | 246.733 | -3.572 | 889.867 | 56.693 | 15.2772
2020-02-26 07:00:00 | 6.234 | 213.8 | 6.783 | 228.571 | 6.268 | 237.7 | 5.763 | 236.733 | -3.722 | 889.567 | 56.949 | 17.2923
2020-02-26 07:15:00 | 6.622 | 206.833 | 6.96 | 226.739 | 6.738 | 234.133 | 6.368 | 231.733 | -4.105 | 890.108 | 57.835 | 20.3378
2020-02-26 07:30:00 | 6.596 | 203.967 | 7.282 | 227.136 | 7.131 | 233.267 | 6.786 | 229.167 | -4.404 | 890.008 | 57.323 | 21.0427
2020-02-26 07:45:00 | 5.907 | 209.2 | 7.004 | 232.426 | 6.824 | 239.433 | 6.58 | 234.267 | -3.773 | 890.158 | 57.536 | 20.6789
2020-02-26 08:00:00 | 6.653 | 206.72 | 7.636 | 229.897 | 7.175 | 237.733 | 6.746 | 234.067 | -4.265 | 889.967 | 58.261 | 23.5532
2020-02-26 08:15:00 | 6.651 | 216.353 | 7.478 | 231.852 | 7.147 | 239.4 | 6.732 | 236.267 | -4.148 | 889.525 | 58.987 | 20.7194
2020-02-26 08:30:00 | 5.618 | 224.113 | 6.804 | 236.527 | 6.544 | 245.5 | 6.42 | 243.367 | -4.345 | 889.792 | 59.019 | 22.7538
2020-02-26 08:45:00 | 5.046 | 233.933 | 6.61 | 235.897 | 7.202 | 243.467 | 6.783 | 241.333 | -3.471 | 890.033 | 57.973 | 26.6242
2020-02-26 09:00:00 | 5.293 | 224.693 | 7.288 | 231.847 | 7.27 | 240.833 | 6.975 | 237.833 | -2.276 | 889.658 | 54.592 | 30.7711
2020-02-26 09:15:00 | 5.235 | 210.213 | 7.428 | 230.326 | 7.668 | 237.033 | 7.514 | 233.8 | -1.886 | 890.167 | 52.277 | 33.1422
2020-02-26 09:30:00 | 4.68 | 220.267 | 7.136 | 229.328 | 8.157 | 235.933 | 8.212 | 232.133 | -0.233 | 889.75 | 49.323 | 36.58
2020-02-26 09:45:00 | 6.449 | 207.447 | 8.218 | 224.825 | 8.576 | 230.5 | 8.72 | 227.433 | 0.865 | 890.008 | 45.419 | 35.1802
2020-02-26 10:00:00 | 5.577 | 208.913 | 7.056 | 222.871 | 8.182 | 229.8 | 8.336 | 226.433 | 1.916 | 889.825 | 42.304 | 29.0693
2020-02-26 10:15:00 | 5.737 | 211.067 | 6.228 | 224.718 | 6.885 | 229.4 | 7.275 | 226.667 | 3.054 | 889.817 | 40.128 | 21.1912
2020-02-26 10:30:00 | 6.156 | 219.907 | 6.348 | 235.467 | 6.635 | 238.833 | 6.711 | 234.933 | 4.011 | 890.083 | 37.963 | 14.8786
2020-02-26 10:45:00 | 5.595 | 227.387 | 5.786 | 242.128 | 5.927 | 246.833 | 5.942 | 241.1 | 5.01 | 889.6 | 35.837 | 14.6384
2020-02-26 11:00:00 | 5.185 | 238.247 | 5.42 | 249.245 | 5.646 | 253.333 | 5.813 | 250.65 | 5.398 | 889.733 | 34.699 | 17.6853
2020-02-26 11:15:00 | 5.434 | 239.547 | 5.536 | 254.423 | 5.62 | 262.767 | 5.512 | 260.783 | 5.693 | 889.8 | 33.645 | 25.1455
2020-02-26 11:30:00 | 7.042 | 279.78 | 7.566 | 288.855 | 7.524 | 290.267 | 8.247 | 286.633 | 5.157 | 889.833 | 30.312 | 34.498
2020-02-26 11:45:00 | 6.392 | 268.893 | 6.919 | 288.153 | 7.154 | 290.2 | 7.243 | 285.4 | 5.445 | 889.633 | 28.76 | 35.3287
2020-02-26 12:00:00 | 8.029 | 284.267 | 8.55 | 293.721 | 8.596 | 299.133 | 8.772 | 299.4 | 5.336 | 889.533 | 31.141 | 30.6538
2020-02-26 12:15:00 | 8.348 | 270.293 | 8.909 | 289.8 | 8.87 | 294.067 | 9.082 | 293.233 | 5.637 | 889.85 | 32.693 | 29.1574
2020-02-26 12:30:00 | 8.141 | 261.167 | 8.483 | 284.119 | 8.579 | 288.367 | 8.625 | 288.133 | 5.828 | 889.533 | 32.707 | 26.8807
2020-02-26 12:45:00 | 8.291 | 277.347 | 8.524 | 293.099 | 8.883 | 297.033 | 9.185 | 294.9 | 6.062 | 889.883 | 31.469 | 40.444
2020-02-26 13:00:00 | 8.192 | 292.913 | 8.334 | 299.022 | 8.477 | 302.167 | 8.558 | 299.667 | 5.948 | 889.617 | 31.349 | 37.4241
2020-02-26 13:15:00 | 8.395 | 298.053 | 8.647 | 303.564 | 8.97 | 306.567 | 9.528 | 303.3 | 6.466 | 889.65 | 31.605 | 37.4959
2020-02-26 13:30:00 | 6.656 | 296.44 | 7.077 | 302.689 | 7.162 | 305.967 | 7.66 | 306.067 | 6.39 | 889.5 | 31.091 | 28.6444
2020-02-26 13:45:00 | 6.38 | 284.393 | 6.806 | 292.055 | 6.84 | 295.433 | 7.029 | 291.5 | 6.873 | 889.6 | 31.075 | 31.6508
2020-02-26 14:00:00 | 5.666 | 301.96 | 5.949 | 303.69 | 6.199 | 310.833 | 6.972 | 312.433 | 6.781 | 889.9 | 31.387 | 33.7334
2020-02-26 14:15:00 | 7.484 | 289.693 | 7.997 | 295.091 | 8.175 | 301.267 | 8.403 | 300.9 | 6.828 | 889.667 | 31.853 | 33.6787
2020-02-26 14:30:00 | 7.123 | 305.32 | 7.686 | 306.152 | 8.046 | 313.9 | 8.226 | 313.5 | 6.72 | 889.5 | 31.813 | 28.4923
2020-02-26 14:45:00 | 6.814 | 299.133 | 7.038 | 301.928 | 7.255 | 307.067 | 7.45 | 302.533 | 6.86 | 889.667 | 30.981 | 35.6875
2020-02-26 15:00:00 | 7.37 | 325.053 | 7.492 | 316.901 | 7.836 | 321.333 | 7.889 | 316.133 | 7.169 | 889.517 | 30.984 | 36.6432
2020-02-26 15:15:00 | 8.223 | 290.2 | 8.394 | 297.119 | 8.599 | 299.8 | 8.954 | 296.267 | 7.406 | 889.767 | 29.933 | 36.0136
2020-02-26 15:30:00 | 7.93 | 298.307 | 8.291 | 301.667 | 8.459 | 306.067 | 8.558 | 305.633 | 7.522 | 889.783 | 30.061 | 35.0231
2020-02-26 15:45:00 | 7.087 | 312.333 | 7.381 | 309.623 | 7.829 | 312.9 | 8.173 | 310.4 | 7.339 | 889.783 | 29.931 | 31.8106
2020-02-26 16:00:00 | 7.24 | 304.467 | 7.561 | 303.464 | 7.753 | 307.567 | 8.007 | 304.933 | 7.622 | 889.85 | 29.069 | 31.3907
2020-02-26 16:15:00 | 6 | 292.853 | 6.382 | 300.423 | 6.645 | 301.7 | 7.062 | 303 | 7.88 | 889.8 | 29.171 | 30.8841
2020-02-26 16:30:00 | 7.52 | 301.1 | 7.731 | 301.23 | 7.92 | 303.733 | 8.336 | 300 | 7.776 | 889.567 | 29.125 | 36.6524
2020-02-26 16:45:00 | 5.271 | 305.773 | 5.619 | 304.415 | 5.896 | 309.067 | 6.268 | 309.433 | 7.679 | 889.367 | 28.861 | 28.5364
2020-02-26 17:00:00 | 6.384 | 312.587 | 6.856 | 308.142 | 6.882 | 313.1 | 7.213 | 308.6 | 7.742 | 889.817 | 28.16 | 31.6721
2020-02-26 17:15:00 | 5.889 | 304.4 | 6.085 | 305.4 | 6.2 | 309.1 | 6.37 | 307.5 | 7.689 | 889.3 | 28.179 | 28.4745
2020-02-26 17:30:00 | 6.255 | 310.867 | 6.282 | 305.994 | 6.463 | 311.7 | 6.833 | 310.033 | 7.856 | 889.917 | 27.872 | 28.4312
2020-02-26 17:45:00 | 6.088 | 322.12 | 6.516 | 319.832 | 6.644 | 324.3 | 6.852 | 321.533 | 8.077 | 889.983 | 28.117 | 31.1008
2020-02-26 18:00:00 | 6.703 | 329.107 | 6.948 | 321.315 | 7.073 | 324.833 | 7.482 | 323.033 | 7.896 | 889.9 | 27.563 | 33.6361
2020-02-26 18:15:00 | 6.494 | 321.147 | 6.752 | 317.671 | 7.051 | 324.167 | 7.284 | 322.9 | 8.187 | 889.683 | 27.933 | 30.1074
2020-02-26 18:30:00 | 6.568 | 328.107 | 6.738 | 323.047 | 6.921 | 328.367 | 7.036 | 325.867 | 7.629 | 889.483 | 28.104 | 27.1571
2020-02-26 18:45:00 | 6.437 | 321.8 | 6.77 | 317.889 | 7.279 | 322 | 7.431 | 320.9 | 7.089 | 889.717 | 28.981 | 22.5711
2020-02-26 19:00:00 | 6.254 | 328.333 | 6.634 | 323.567 | 7.012 | 327.133 | 7.274 | 325.567 | 7.306 | 889.783 | 29.432 | 16.1483
2020-02-26 19:15:00 | 4.297 | 330.213 | 4.702 | 326.344 | 4.957 | 333.033 | 5.084 | 333.233 | 7.01 | 890.05 | 30.011 | 10.9676
2020-02-26 19:30:00 | 3.2 | 337.267 | 3.963 | 330.058 | 4.189 | 334.3 | 4.639 | 333.4 | 6.226 | 889.6 | 31.36 | 4.0445
2020-02-26 19:45:00 | 1.074 | 334.707 | 0.957 | 339.107 | 1.549 | 348 | 2.498 | 339.8 | 5.723 | 889.583 | 33.147 | 0.75036
2020-02-26 20:00:00 | 0.03 | 326.547 | 0 | 305.731 | 0 | 324.8 | 1.298 | 328 | 5.286 | 889.567 | 35.181 | 0.27286
2020-02-26 20:15:00 | 0 | 290.387 | 0 | 304.9 | 0 | 320 | 0.141 | 328 | 4.682 | 889.683 | 37.152 | 0.18617
2020-02-26 20:30:00 | 0 | 290.533 | 0 | 304.85 | 0 | 320 | 1.106 | 327.933 | 5.034 | 889.45 | 38.027 | 0.13998
2020-02-26 20:45:00 | 2.214 | 327.52 | 2.764 | 325.792 | 2.854 | 328.1 | 3.205 | 329 | 5.181 | 889.7 | 37.157 | 0.13572
2020-02-26 21:00:00 | 1.754 | 320.467 | 2.091 | 316.947 | 2.056 | 326.233 | 2.661 | 329 | 5.151 | 890.117 | 36.453 | 0.086689
2020-02-26 21:15:00 | 1.563 | 292.013 | 2.186 | 312.55 | 2.24 | 316.9 | 2.748 | 319.333 | 4.789 | 889.883 | 36.88 | 0.12577
2020-02-26 21:30:00 | 2.029 | 280.347 | 1.951 | 299.057 | 2.095 | 308.267 | 2.694 | 307.4 | 4.424 | 889.733 | 37.739 | 0.10232
2020-02-26 21:45:00 | 2.569 | 262.9 | 2.432 | 289.737 | 2.361 | 296.833 | 2.835 | 298.733 | 3.354 | 889.683 | 38.456 | 0.11298
2020-02-26 22:00:00 | 2.702 | 253.94 | 2.607 | 279.087 | 2.583 | 288.133 | 2.787 | 294.9 | 2.894 | 890.033 | 40.72 | 0.23875
2020-02-26 22:15:00 | 2.899 | 259.04 | 2.824 | 280.572 | 2.84 | 288.433 | 3.468 | 295.1 | 3.049 | 889.842 | 41.317 | 0.76102
2020-02-26 22:30:00 | 2.931 | 238.547 | 2.541 | 276.535 | 2.552 | 288.133 | 3.081 | 290.833 | 2.736 | 889.717 | 41.059 | 0.20606
2020-02-26 22:45:00 | 3.266 | 217.747 | 1.641 | 258.333 | 1.66 | 284.867 | 2.291 | 286.367 | 2.528 | 889.367 | 40.587 | 0.26433
2020-02-26 23:00:00 | 2.157 | 225.913 | 1.42 | 258.171 | 1.467 | 288.667 | 2.305 | 286.067 | 2.736 | 889.65 | 40.92 | 0.2018
2020-02-26 23:15:00 | 1.011 | 221.307 | 0 | 268.926 | 0.256 | 306 | 1.7 | 302 | 2.565 | 889.45 | 41.435 | 0.20038
2020-02-26 23:30:00 | 1.55 | 174.1 | 0 | 269.001 | 0 | 305.933 | 0 | 302.033 | 2.403 | 889.9 | 43.099 | 0.20749
2020-02-26 23:45:00 | 2.554 | 159.413 | 0 | 183.731 | 0 | 306 | 0 | 302 | 2.532 | 889.783 | 41.685 | 0.21885