## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-27 00:00:00 | 2.425 | 146.547 | 1.631 | 108.359 | 1.303 | 120 | 1.538 | 110.867 | 2.23 | 889.758 | 41.141 | 0.22028
2020-02-27 00:15:00 | 2.9 | 133.813 | 2.483 | 95.033 | 2.327 | 98.367 | 2.478 | 109.9 | 1.809 | 889.9 | 42.459 | 0.24586
2020-02-27 00:30:00 | 2.91 | 145.493 | 2.978 | 115.907 | 3.221 | 106 | 3.272 | 103 | 2.381 | 889.658 | 41.483 | 0.12364
2020-02-27 00:45:00 | 2.034 | 168.18 | 2.23 | 133.91 | 2.07 | 129.033 | 2.428 | 124.267 | 1.955 | 889.892 | 41.371 | 0.78873
2020-02-27 01:00:00 | 3.591 | 173.113 | 3.693 | 148.121 | 3.636 | 155.433 | 3.92 | 163.333 | 1.199 | 889.608 | 42.155 | 2.298
2020-02-27 01:15:00 | 3.9 | 186.02 | 4.236 | 191.707 | 5.161 | 206.267 | 5.916 | 205.267 | 2.696 | 889.45 | 39.477 | 3.2963
2020-02-27 01:30:00 | 3.168 | 238.86 | 2.708 | 230.376 | 3.79 | 208.433 | 4.712 | 205.7 | -0.768 | 890.033 | 45.109 | 1.5426
2020-02-27 01:45:00 | 2.031 | 229.153 | 0.3 | 269.713 | 0 | 278 | 1.132 | 251.5 | -0.14 | 889.942 | 45.328 | 0.23733
2020-02-27 02:00:00 | 1.064 | 248.633 | 0 | 268.946 | 0 | 278.533 | 0.05 | 250.417 | -0.482 | 889.575 | 46.635 | 0.25083
2020-02-27 02:15:00 | 0.865 | 228.493 | 0 | 267.562 | 0.369 | 176.033 | 1.643 | 174.217 | 0.133 | 889.708 | 46.56 | 0.23662
2020-02-27 02:30:00 | 1.238 | 249.727 | 0.19 | 229.241 | 0.14 | 159.367 | 1.579 | 154.067 | 0.382 | 889.608 | 45.653 | 0.84415
2020-02-27 02:45:00 | 2.506 | 187.487 | 2.501 | 160.676 | 3.05 | 150.733 | 3.44 | 144.1 | 0.682 | 890.167 | 42.976 | 5.3705
2020-02-27 03:00:00 | 2.342 | 105.2 | 2.879 | 120.553 | 3.707 | 138.9 | 4.476 | 146.5 | -0.572 | 890.008 | 43.403 | 13.7004
2020-02-27 03:15:00 | 5.579 | 153.8 | 5.344 | 137.097 | 4.208 | 139.4 | 4.064 | 137 | 0.935 | 889.533 | 42.112 | 18.128
2020-02-27 03:30:00 | 6.461 | 145.08 | 5.493 | 136.807 | 5.115 | 141.933 | 5.541 | 138.5 | 0.932 | 889.733 | 43.168 | 16.0439
2020-02-27 03:45:00 | 6.24 | 148.593 | 6.19 | 137.216 | 5.646 | 145.033 | 5.075 | 138.5 | 1.015 | 890.158 | 42.517 | 12.3518
2020-02-27 04:00:00 | 5.364 | 154.12 | 5.481 | 140.1 | 4.746 | 147.233 | 4.185 | 148.167 | 0.715 | 889.667 | 43.157 | 7.9456
2020-02-27 04:15:00 | 4.673 | 165.18 | 4.397 | 144.25 | 3.73 | 147.767 | 3.497 | 148.1 | 0.549 | 889.775 | 43.403 | 4.0424
2020-02-27 04:30:00 | 4.238 | 170.873 | 3.461 | 146.138 | 3.07 | 149.633 | 3.01 | 152.467 | 0.648 | 889.458 | 43.157 | 1.8084
2020-02-27 04:45:00 | 3.542 | 172.487 | 2.942 | 143.188 | 2.308 | 138.433 | 2.22 | 138.733 | 1.402 | 889.967 | 41.44 | 2.0272
2020-02-27 05:00:00 | 4.657 | 191.327 | 2.469 | 160.09 | 2.228 | 154.033 | 2.399 | 149.067 | -1.329 | 890.158 | 45.728 | 0.82994
2020-02-27 05:15:00 | 4.042 | 174.527 | 2.755 | 155.455 | 2.72 | 160.967 | 3.208 | 163.733 | 2.842 | 889.792 | 41.675 | 0.4235
2020-02-27 05:30:00 | 3.934 | 184.307 | 2.413 | 166.408 | 2.095 | 161.567 | 2.452 | 172.733 | 3.147 | 889.633 | 38.869 | 0.10161
2020-02-27 05:45:00 | 3.01 | 173.84 | 2.284 | 171.469 | 2.66 | 179.233 | 3.433 | 178.767 | 3.809 | 889.65 | 37.936 | 0.14211
2020-02-27 06:00:00 | 3.199 | 187.333 | 3.307 | 183.475 | 3.634 | 189.3 | 4.048 | 189.567 | 3.371 | 889.65 | 38.037 | 0.4306
2020-02-27 06:15:00 | 3.961 | 162.447 | 4.078 | 166.553 | 4.454 | 174.1 | 4.742 | 176.933 | 2.517 | 889.833 | 37.653 | 0.8001
2020-02-27 06:30:00 | 4.654 | 150.613 | 4.026 | 142.073 | 3.721 | 157.033 | 4.434 | 169.733 | 2.046 | 889.75 | 38.352 | 3.4313
2020-02-27 06:45:00 | 6.415 | 151.48 | 6.107 | 142.763 | 5.714 | 155.5 | 5.523 | 159.8 | 1.406 | 889.983 | 38.171 | 5.0905
2020-02-27 07:00:00 | 5.471 | 141.987 | 4.304 | 129.374 | 3.733 | 133.967 | 3.959 | 129.767 | 2.131 | 889.65 | 37.072 | 8.9389
2020-02-27 07:15:00 | 5.429 | 154.52 | 4.994 | 136.33 | 4.404 | 139.067 | 3.892 | 132.733 | 1.769 | 889.65 | 39.557 | 9.2878
2020-02-27 07:30:00 | 4.988 | 156.753 | 4.978 | 137.183 | 4.351 | 138.633 | 3.839 | 134.5 | 1.582 | 889.8 | 38.645 | 10.856
2020-02-27 07:45:00 | 3.715 | 160.533 | 4.868 | 135.656 | 4.112 | 133.8 | 3.649 | 129.967 | -0.575 | 889.908 | 43.424 | 10.4155
2020-02-27 08:00:00 | 3.334 | 156.267 | 4.161 | 125.55 | 4.299 | 124.567 | 4.5 | 118.367 | -0.698 | 889.75 | 44.267 | 6.5713
2020-02-27 08:15:00 | 1.085 | 127.645 | 0.326 | 41.984 | 0.824 | 65.183 | 1.76 | 89.9 | -1.76 | 889.825 | 44.907 | 3.4832
2020-02-27 08:30:00 | 0.362 | 305.653 | 0 | 39.104 | 0.237 | 88.992 | 1.833 | 104.4 | -1.959 | 889.858 | 49.024 | 1.9313
2020-02-27 08:45:00 | 0.223 | 245.36 | 0.206 | 86.228 | 1.228 | 108.358 | 2.298 | 98.933 | -2.062 | 889.608 | 49.824 | 1.1639
2020-02-27 09:00:00 | 0.036 | 221.667 | 0 | 86.184 | 0.363 | 113.033 | 1.539 | 121.067 | -0.618 | 889.492 | 48 | 0.39792
2020-02-27 09:15:00 | 1.309 | 206.007 | 0.814 | 98.708 | 2.073 | 113.267 | 2.757 | 110 | 0.482 | 889.858 | 44.864 | 0.15846
2020-02-27 09:30:00 | 3.203 | 180.767 | 3.249 | 146.121 | 3.345 | 143.3 | 2.835 | 135.133 | 0.715 | 889.708 | 41.6 | 0.24017
2020-02-27 09:45:00 | 1.223 | 166.413 | 1.899 | 111.751 | 1.935 | 98.1 | 1.736 | 88.5 | 1.025 | 890.1 | 40.176 | 0.29631
2020-02-27 10:00:00 | 0.62 | 198.92 | 1.184 | 133.909 | 2.214 | 113.033 | 2.588 | 106.767 | 2.386 | 889.6 | 38.443 | 0.22738
2020-02-27 10:15:00 | 1.85 | 166.453 | 2.035 | 133.284 | 2.349 | 124.2 | 2.808 | 126.6 | 3.199 | 889.55 | 35.691 | 0.3567
2020-02-27 10:30:00 | 2.963 | 144.3 | 2.766 | 138.715 | 2.963 | 142.733 | 2.926 | 134.433 | 3.021 | 889.883 | 35.355 | 1.5895
2020-02-27 10:45:00 | 3.007 | 136.04 | 2.676 | 134.846 | 2.997 | 142.867 | 3.092 | 133.3 | 3.776 | 889.567 | 34.325 | 2.644
2020-02-27 11:00:00 | 3.53 | 122.653 | 3.398 | 118.779 | 3.548 | 125.8 | 3.55 | 126.2 | 4.434 | 889.433 | 33.675 | 7.3068
2020-02-27 11:15:00 | 4.626 | 119.513 | 4.971 | 114.31 | 4.839 | 122.133 | 5.22 | 119.867 | 4.902 | 889.433 | 33.029 | 9.1436
2020-02-27 11:30:00 | 5.105 | 107.473 | 4.974 | 103.399 | 5.046 | 109.067 | 4.967 | 106.4 | 5.604 | 889.833 | 31.371 | 9.5479
2020-02-27 11:45:00 | 4.592 | 107.067 | 4.278 | 102.074 | 4.152 | 105.133 | 4.501 | 101.933 | 5.745 | 889.45 | 30.843 | 7.0808
2020-02-27 12:00:00 | 3.711 | 84.887 | 3.912 | 79.376 | 4.079 | 84.533 | 3.871 | 83.433 | 6.297 | 889.917 | 30.096 | 5.929
2020-02-27 12:15:00 | 4.236 | 96.167 | 4.313 | 93.421 | 4.29 | 96.933 | 4.265 | 93.2 | 6.195 | 890.083 | 30.176 | 9.4761
2020-02-27 12:30:00 | 5.01 | 89.433 | 4.956 | 83.088 | 5.031 | 87.167 | 5.281 | 84.733 | 7.222 | 889.933 | 29.045 | 11.087
2020-02-27 12:45:00 | 4.829 | 72.947 | 4.71 | 67.841 | 4.98 | 69.3 | 5.092 | 66.1 | 7.272 | 889.867 | 27.776 | 13.7914
2020-02-27 13:00:00 | 5.06 | 76.923 | 5.401 | 67.836 | 5.694 | 68.033 | 5.741 | 62.667 | 7.056 | 889.633 | 27.051 | 16.2187
2020-02-27 13:15:00 | 5.088 | 59.072 | 4.729 | 52.958 | 4.894 | 58.967 | 5.093 | 52.7 | 7.106 | 890.117 | 26.533 | 16.105
2020-02-27 13:30:00 | 4.942 | 69.27 | 5.006 | 66.572 | 4.917 | 72.2 | 5.041 | 66.067 | 7.256 | 889.7 | 26.299 | 16.9527
2020-02-27 13:45:00 | 5.317 | 64.687 | 5.026 | 60.71 | 5.185 | 66.933 | 5.464 | 63.2 | 7.422 | 889.7 | 25.888 | 14.6526
2020-02-27 14:00:00 | 4.874 | 76.757 | 5.013 | 72.564 | 5.146 | 80.2 | 5.378 | 72.833 | 7.356 | 889.617 | 26.283 | 12.5912
2020-02-27 14:15:00 | 4.79 | 84.078 | 5.092 | 78.439 | 5.377 | 81.867 | 5.572 | 77.2 | 7.569 | 889.65 | 26.549 | 11.1744
2020-02-27 14:30:00 | 4.057 | 74.803 | 4.225 | 76 | 4.404 | 77.2 | 4.518 | 73.433 | 7.609 | 889.667 | 25.467 | 9.3447
2020-02-27 14:45:00 | 4.428 | 93.24 | 4.397 | 88.279 | 4.316 | 90.667 | 4.484 | 84 | 7.839 | 890.05 | 24.693 | 8.6831
2020-02-27 15:00:00 | 3.414 | 51.213 | 3.496 | 56.623 | 3.981 | 61.6 | 4.114 | 58.133 | 8.066 | 889.8 | 23.099 | 7.9086
2020-02-27 15:15:00 | 3.492 | 55.258 | 3.481 | 48.296 | 3.998 | 51.433 | 4.136 | 48.267 | 8.03 | 889.883 | 22.96 | 8.1637
2020-02-27 15:30:00 | 3.763 | 78.863 | 3.774 | 72.157 | 4.052 | 78.233 | 4.224 | 69.1 | 8.083 | 889.95 | 23.035 | 8.4131
2020-02-27 15:45:00 | 4.252 | 94.357 | 4.535 | 86.693 | 4.605 | 88.933 | 4.602 | 82.133 | 8.23 | 889.617 | 23.243 | 9.7731
2020-02-27 16:00:00 | 3.837 | 74.23 | 3.864 | 74.827 | 4.058 | 77.9 | 4.255 | 75.433 | 8.691 | 890.233 | 23.792 | 9.7341
2020-02-27 16:15:00 | 4.023 | 100.167 | 3.959 | 98.442 | 3.891 | 105.367 | 4.394 | 98.167 | 8.845 | 889.75 | 24.491 | 8.8075
2020-02-27 16:30:00 | 4.335 | 85.127 | 4.592 | 82.599 | 4.473 | 86.7 | 4.647 | 83.033 | 9.224 | 889.567 | 24.325 | 8.1161
2020-02-27 16:45:00 | 4.559 | 107.773 | 4.406 | 99.561 | 4.411 | 104.633 | 4.711 | 98.267 | 9.287 | 889.517 | 24.4 | 7.1085
2020-02-27 17:00:00 | 3.552 | 56.972 | 3.589 | 56.886 | 3.903 | 62.9 | 4.073 | 60.733 | 9.851 | 889.817 | 24.117 | 6.3994
2020-02-27 17:15:00 | 4.075 | 74.9 | 3.979 | 72.514 | 4.338 | 79.5 | 4.228 | 75.567 | 9.712 | 889.817 | 23.973 | 6.4917
2020-02-27 17:30:00 | 3.923 | 94.523 | 3.718 | 84.839 | 3.862 | 91.8 | 3.962 | 89.167 | 10.085 | 889.5 | 24.075 | 8.18
2020-02-27 17:45:00 | 4.051 | 90.953 | 3.985 | 87.364 | 3.973 | 94.333 | 4.048 | 92.533 | 9.52 | 889.883 | 24.299 | 6.8499
2020-02-27 18:00:00 | 4.288 | 89.7 | 4.493 | 84.203 | 4.5 | 89.8 | 4.559 | 86.367 | 9.216 | 889.833 | 24.571 | 7.7139
2020-02-27 18:15:00 | 4.651 | 83.687 | 4.778 | 76.875 | 4.837 | 80.267 | 4.801 | 75 | 8.933 | 889.883 | 24.661 | 7.824
2020-02-27 18:30:00 | 4.225 | 79.14 | 4.391 | 70.981 | 4.513 | 74.2 | 4.542 | 69.3 | 9.045 | 889.25 | 25.029 | 7.9981
2020-02-27 18:45:00 | 4.123 | 70.04 | 4.631 | 65.835 | 4.933 | 71.633 | 4.943 | 69.667 | 8.878 | 890.083 | 25.269 | 7.8162
2020-02-27 19:00:00 | 3.76 | 74.967 | 4.174 | 70.583 | 4.382 | 73.233 | 4.489 | 69.733 | 8.745 | 889.667 | 25.467 | 7.4148
2020-02-27 19:15:00 | 3.74 | 66.703 | 3.803 | 61.153 | 3.748 | 67.5 | 3.696 | 61.733 | 8.28 | 889.717 | 26.128 | 5.9979
2020-02-27 19:30:00 | 3.22 | 71.583 | 3.506 | 71.313 | 3.913 | 75.133 | 4.165 | 71.567 | 7.82 | 890.033 | 26.757 | 5.2973
2020-02-27 19:45:00 | 3.091 | 93.367 | 2.872 | 87.243 | 2.808 | 90.3 | 2.641 | 88.467 | 7.339 | 890.1 | 27.227 | 5.1147
2020-02-27 20:00:00 | 3.048 | 104.757 | 3.346 | 99.815 | 2.763 | 104.3 | 2.761 | 98.433 | 7.13 | 889.667 | 27.68 | 4.6954
2020-02-27 20:15:00 | 2.329 | 98.657 | 2.699 | 90.663 | 2.759 | 91.467 | 3.028 | 85.433 | 6.582 | 889.65 | 28.363 | 3.815
2020-02-27 20:30:00 | 2.685 | 121.543 | 2.913 | 108.262 | 2.845 | 111.767 | 2.859 | 102.3 | 6.519 | 889.633 | 28.741 | 2.9723
2020-02-27 20:45:00 | 2.376 | 128.487 | 2.77 | 111.012 | 2.704 | 113.6 | 2.991 | 105.567 | 5.862 | 889.783 | 28.896 | 1.9036
2020-02-27 21:00:00 | 1.964 | 144.613 | 2.498 | 119.402 | 2.83 | 123.4 | 3.279 | 118.567 | 5.538 | 889.817 | 29.867 | 0.61322
2020-02-27 21:15:00 | 1.523 | 149.313 | 1.609 | 124.783 | 1.83 | 125.633 | 2.083 | 121.867 | 5.455 | 889.533 | 30.379 | 0.15561
2020-02-27 21:30:00 | 1.417 | 157.36 | 1.426 | 128.136 | 1.67 | 134.767 | 2.109 | 132.4 | 5.395 | 889.717 | 30.933 | 0.23449
2020-02-27 21:45:00 | 1.752 | 180.54 | 0.586 | 118.742 | 1.42 | 130.067 | 2.013 | 122.533 | 5.269 | 890.05 | 31.6 | 0.21601
2020-02-27 22:00:00 | 2.09 | 220 | 0 | 120.195 | 1.412 | 137 | 1.89 | 125.067 | 4.769 | 889.5 | 32.085 | 0.18759
2020-02-27 22:15:00 | 3.159 | 232.133 | 1.206 | 181.29 | 1.058 | 155.667 | 1.703 | 127.4 | 4.919 | 889.917 | 32.517 | 0.20322
2020-02-27 22:30:00 | 3.498 | 231.46 | 1.815 | 200.472 | 1.634 | 181.967 | 2.406 | 165.2 | 4.285 | 889.583 | 32.896 | 0.21317
2020-02-27 22:45:00 | 4.957 | 234.273 | 2.838 | 219.462 | 2.132 | 208.533 | 2.118 | 173.5 | 3.959 | 889.85 | 33.072 | 0.22028
2020-02-27 23:00:00 | 5.335 | 229.3 | 3.905 | 230.208 | 2.724 | 217.8 | 2.482 | 192.1 | 1.102 | 889.633 | 37.067 | 0.16983
2020-02-27 23:15:00 | 5.636 | 228.707 | 4.076 | 241.49 | 3.041 | 237.367 | 2.38 | 226.033 | 0.682 | 889.85 | 38.763 | 0.89673
2020-02-27 23:30:00 | 5.845 | 228.14 | 4.688 | 247.396 | 3.348 | 245 | 3.141 | 227 | 0.565 | 889.833 | 39.925 | 1.9867
2020-02-27 23:45:00 | 5.725 | 229.987 | 4.423 | 245.462 | 3.435 | 247.033 | 3.125 | 227 | 0.532 | 889.833 | 40.117 | 3.9685