## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-28 00:00:00 | 5.394 | 244.18 | 7.561 | 278.456 | 8.03 | 294.2 | 8.292 | 299.5 | 0.2 | 889.6 | 40.712 | 24.0896
2020-02-28 00:15:00 | 5.013 | 277.853 | 6.325 | 299.492 | 6.948 | 306.633 | 7.56 | 304.067 | 0.882 | 889.258 | 40.909 | 20.6079
2020-02-28 00:30:00 | 5.07 | 260.993 | 6.813 | 286.512 | 6.776 | 292.5 | 6.965 | 291.2 | 0.466 | 889.417 | 41.877 | 19.0133
2020-02-28 00:45:00 | 5.778 | 241.98 | 7.502 | 277.264 | 7.577 | 282.1 | 7.877 | 281.467 | 0.017 | 890.008 | 51.232 | 24.0974
2020-02-28 01:00:00 | 5.77 | 254.947 | 7.243 | 283.817 | 7.502 | 286.7 | 7.844 | 285.6 | 0.1 | 889.625 | 54.277 | 29.551
2020-02-28 01:15:00 | 5.992 | 264.833 | 7.614 | 283.264 | 7.775 | 285.833 | 8.271 | 282.4 | -0.043 | 890.225 | 57.077 | 29.836
2020-02-28 01:30:00 | 6.082 | 246.247 | 7.941 | 269.534 | 8.522 | 271.633 | 9.039 | 267.6 | -0.518 | 889.817 | 60.549 | 33.2858
2020-02-28 01:45:00 | 7.24 | 265.6 | 8.444 | 284.049 | 8.82 | 285.567 | 9.199 | 282.933 | 0.482 | 889.667 | 56.672 | 31.3104
2020-02-28 02:00:00 | 6.632 | 248.787 | 8.008 | 276.499 | 8.401 | 279.033 | 8.78 | 276.3 | -0.08 | 889.992 | 57.131 | 32.205
2020-02-28 02:15:00 | 6.229 | 242.18 | 7.596 | 267.92 | 7.89 | 270.1 | 8.2 | 265.2 | -0.558 | 889.817 | 58.235 | 39.3654
2020-02-28 02:30:00 | 6.867 | 225.62 | 8.117 | 260.781 | 8.737 | 262.333 | 9.274 | 258.067 | -0.532 | 890.242 | 56.011 | 65.3046
2020-02-28 02:45:00 | 8.239 | 217.68 | 10.005 | 256.052 | 10.89 | 258.133 | 11.297 | 254.567 | -0.465 | 889.967 | 55.541 | 77.0368
2020-02-28 03:00:00 | 8.623 | 218.587 | 9.771 | 253.299 | 10.515 | 256.1 | 10.744 | 250.333 | -0.788 | 889.617 | 55.947 | 70.3369
2020-02-28 03:15:00 | 10.98 | 208.493 | 12.197 | 250.734 | 12.87 | 254.567 | 12.933 | 250.433 | -0.915 | 889.967 | 57.115 | 76.3547
2020-02-28 03:30:00 | 11.488 | 214.327 | 12.796 | 260.834 | 13.669 | 260.767 | 13.741 | 256.083 | -1.689 | 890.075 | 61.013 | 74.0666
2020-02-28 03:45:00 | 12.458 | 224.547 | 14.095 | 256.352 | 14.981 | 257.717 | 15.089 | 254.867 | -1.718 | 890.1 | 62.677 | 72.8061
2020-02-28 04:00:00 | 13.803 | 209.213 | 15.244 | 254.668 | 16.076 | 256.967 | 16.286 | 252.15 | -1.842 | 889.658 | 63.925 | 72.9922
2020-02-28 04:15:00 | 14.632 | 223.66 | 16.686 | 253.956 | 17.811 | 258.233 | 17.953 | 253.783 | -2.098 | 890.075 | 67.355 | 71.9634
2020-02-28 04:30:00 | 14.904 | 227.98 | 17.386 | 255.636 | 18.468 | 259.667 | 18.695 | 255.883 | -2.14 | 889.717 | 66.501 | 71.3281
2020-02-28 04:45:00 | 14.298 | 224.78 | 16.192 | 253.922 | 16.964 | 258.167 | 17.639 | 255.25 | -2.385 | 889.775 | 66.645 | 71.3061
2020-02-28 05:00:00 | 15.58 | 228.973 | 17.863 | 258.374 | 18.48 | 261.133 | 18.955 | 257.567 | -2.578 | 889.933 | 67.568 | 71.1824
2020-02-28 05:15:00 | 15.78 | 239.407 | 17.743 | 258.716 | 18.218 | 262.183 | 18.778 | 259.917 | -2.679 | 890.233 | 66.475 | 71.4013
2020-02-28 05:30:00 | 16.481 | 232.06 | 18.961 | 258.924 | 19.765 | 261.967 | 20.027 | 259.283 | -2.76 | 889.658 | 66.619 | 71.284
2020-02-28 05:45:00 | 16.52 | 231.06 | 18.692 | 254.796 | 19.875 | 259.067 | 19.973 | 255.617 | -2.823 | 889.858 | 66.896 | 67.8733
2020-02-28 06:00:00 | 13.392 | 220.6 | 14.778 | 246.17 | 15.332 | 250.233 | 15.803 | 247.667 | -3.102 | 890.167 | 65.877 | 63.19
2020-02-28 06:15:00 | 12.909 | 212.46 | 14.964 | 244.511 | 15.909 | 248.533 | 16.259 | 244.167 | -2.639 | 889.883 | 64.096 | 58.221
2020-02-28 06:30:00 | 12.647 | 206.44 | 14.462 | 247.137 | 15.62 | 250.233 | 15.766 | 245.083 | -2.963 | 889.817 | 63.899 | 54.6134
2020-02-28 06:45:00 | 10.527 | 209.927 | 12.178 | 246.781 | 13.336 | 250.667 | 13.559 | 246.45 | -2.263 | 889.725 | 64.8 | 49.292
2020-02-28 07:00:00 | 8.695 | 215.44 | 9.981 | 246.723 | 10.738 | 252.033 | 11.09 | 246.767 | -2.114 | 890.658 | 65.099 | 45.1281
2020-02-28 07:15:00 | 12.55 | 222.973 | 14.296 | 256.406 | 14.858 | 259.367 | 15.384 | 255.85 | -1.868 | 889.608 | 68.219 | 45.17
2020-02-28 07:30:00 | 13.238 | 213.5 | 14.812 | 246.985 | 15.586 | 251.7 | 15.966 | 246.85 | -2.23 | 889.842 | 70.283 | 44.8396
2020-02-28 07:45:00 | 12.973 | 219.347 | 15.365 | 247.258 | 16.442 | 251.7 | 16.589 | 247.2 | -2.164 | 889.975 | 72.064 | 43.2103
2020-02-28 08:00:00 | 11.392 | 221.7 | 13.425 | 256.479 | 14.348 | 258.533 | 14.8 | 256.067 | -2.312 | 889.967 | 73.056 | 42.7747
2020-02-28 08:15:00 | 12.774 | 230.167 | 14.62 | 255.294 | 15.412 | 257.967 | 15.616 | 254.433 | -1.189 | 889.583 | 73.056 | 50.2598
2020-02-28 08:30:00 | 13.682 | 234.5 | 15.348 | 258.178 | 16.081 | 262.2 | 16.224 | 257.867 | -1.216 | 889.842 | 72.149 | 59.5696
2020-02-28 08:45:00 | 12.3 | 228.153 | 13.785 | 248.846 | 14.173 | 254.133 | 14.5 | 249.083 | -1.182 | 889.792 | 70.528 | 69.0706
2020-02-28 09:00:00 | 10.832 | 222.88 | 12.198 | 242.793 | 12.972 | 247.533 | 13.168 | 242.217 | -0.972 | 889.617 | 68.411 | 71.839
2020-02-28 09:15:00 | 12.664 | 214.533 | 14.449 | 248.793 | 15.256 | 252.7 | 15.654 | 248.767 | -0.459 | 889.7 | 66.373 | 71.5612
2020-02-28 09:30:00 | 11.098 | 205.8 | 12.484 | 242.628 | 13.06 | 249.867 | 13.078 | 245.833 | -0.538 | 890.125 | 65.291 | 70.3369
2020-02-28 09:45:00 | 8.889 | 229.247 | 10.374 | 259.493 | 11.042 | 261.9 | 11.653 | 260.65 | -0.598 | 889.742 | 66.272 | 68.0225
2020-02-28 10:00:00 | 12.908 | 239.72 | 14.391 | 267.669 | 15.212 | 270.4 | 16.226 | 268.5 | -0.542 | 890.075 | 67.163 | 71.7303
2020-02-28 10:15:00 | 15.038 | 237.16 | 17.273 | 266.983 | 18.196 | 269.933 | 18.89 | 266.783 | -0.865 | 889.95 | 66.288 | 71.1888
2020-02-28 10:30:00 | 19.007 | 241.747 | 21.14 | 272.425 | 21.915 | 274.9 | 22.422 | 273.7 | -0.878 | 889.858 | 67.632 | 71.1249
2020-02-28 10:45:00 | 17.827 | 243.447 | 19.158 | 268.778 | 20.062 | 272.633 | 20.793 | 269.033 | -0.735 | 889.525 | 68.949 | 68.4453
2020-02-28 11:00:00 | 14.62 | 250.733 | 16.425 | 269.424 | 17.221 | 274.3 | 17.681 | 271.333 | -0.698 | 889.667 | 68.731 | 69.7073
2020-02-28 11:15:00 | 14.824 | 249.16 | 16.585 | 266.415 | 17.223 | 268.667 | 17.539 | 265.8 | -0.518 | 889.933 | 67.451 | 70.987
2020-02-28 11:30:00 | 13.986 | 247.04 | 15.742 | 269.031 | 16.321 | 272.7 | 16.627 | 269.567 | -0.309 | 889.508 | 66.8 | 68.0638
2020-02-28 11:45:00 | 14.815 | 242.407 | 16.284 | 270.518 | 16.617 | 272.833 | 16.843 | 270.233 | -0.292 | 889.733 | 67.227 | 58.3048
2020-02-28 12:00:00 | 13.424 | 243.067 | 14.887 | 263.325 | 15.079 | 265.833 | 15.027 | 263.633 | -0.09 | 889.975 | 66.309 | 58.6672
2020-02-28 12:15:00 | 12.638 | 243.52 | 14.152 | 269.286 | 14.707 | 272.833 | 14.987 | 267 | -0.133 | 889.375 | 66.219 | 60.2362
2020-02-28 12:30:00 | 13.345 | 247.78 | 14.928 | 260.852 | 15.414 | 263 | 15.471 | 258.833 | -0.033 | 890.008 | 64.955 | 58.3347
2020-02-28 12:45:00 | 12.498 | 243.513 | 13.852 | 259.906 | 14.276 | 263.133 | 14.437 | 260.667 | 0.216 | 890.233 | 63.643 | 59.2875
2020-02-28 13:00:00 | 11.211 | 236.627 | 11.969 | 263.674 | 12.396 | 266.2 | 12.885 | 263.683 | 0.283 | 890.1 | 63.072 | 67.604
2020-02-28 13:15:00 | 13.741 | 241.007 | 15.588 | 266.234 | 16.37 | 270.333 | 16.822 | 268.667 | -0.149 | 889.892 | 62.459 | 67.0242
2020-02-28 13:30:00 | 15.19 | 244.927 | 16.578 | 266.709 | 17.518 | 271.833 | 17.696 | 267.933 | 0.233 | 889.817 | 58.768 | 64.8655
2020-02-28 13:45:00 | 14.662 | 247.5 | 16.484 | 272.636 | 17.217 | 277.567 | 17.686 | 275.8 | 0.465 | 889.758 | 56.693 | 62.2257
2020-02-28 14:00:00 | 15.601 | 236.24 | 17.736 | 271.75 | 18.471 | 275.067 | 18.925 | 274.3 | 0.682 | 889.825 | 54.203 | 63.5218
2020-02-28 14:15:00 | 17.494 | 242.573 | 19.021 | 274.917 | 19.515 | 278.167 | 20.2 | 275.167 | 0.999 | 889.717 | 49.749 | 65.8177
2020-02-28 14:30:00 | 17.432 | 242.273 | 19.5 | 273.928 | 20.333 | 275.833 | 20.705 | 274.967 | 0.765 | 889.75 | 51.371 | 68.1355
2020-02-28 14:45:00 | 15.445 | 234.213 | 17.416 | 268.538 | 18.477 | 273.167 | 18.887 | 269.967 | 0.598 | 890.183 | 52.645 | 68.5974
2020-02-28 15:00:00 | 15.536 | 243.727 | 17.01 | 271.751 | 17.944 | 273.933 | 18.419 | 270.733 | 0.432 | 889.95 | 54.187 | 67.3489
2020-02-28 15:15:00 | 14.103 | 241.147 | 16.027 | 270.3 | 16.512 | 272.967 | 16.764 | 269.817 | 0.548 | 889.758 | 55.84 | 71.6187
2020-02-28 15:30:00 | 14.932 | 246.667 | 16.418 | 276.851 | 16.82 | 280.567 | 17.337 | 278.5 | 0.648 | 889.75 | 51.691 | 71.613
2020-02-28 15:45:00 | 14.194 | 241.98 | 15.54 | 272.97 | 16.018 | 276.467 | 16.165 | 274.2 | 0.163 | 889.842 | 53.648 | 70.172
2020-02-28 16:00:00 | 14.108 | 238.013 | 15.233 | 270.3 | 15.923 | 275.2 | 16.331 | 272.667 | 0.299 | 890.033 | 53.653 | 59.3472
2020-02-28 16:15:00 | 15.079 | 232.827 | 16.356 | 271.504 | 16.845 | 275.2 | 17.076 | 274.833 | 0.582 | 889.825 | 53.344 | 54.8351
2020-02-28 16:30:00 | 16.824 | 237.847 | 18.802 | 274.324 | 19.638 | 276.767 | 20.084 | 274.467 | 0.399 | 890.083 | 52.4 | 56.0445
2020-02-28 16:45:00 | 16.581 | 245.927 | 18.417 | 278.466 | 19.144 | 279.733 | 19.438 | 276.833 | 0.249 | 889.875 | 52.091 | 60.4969
2020-02-28 17:00:00 | 15.893 | 241.113 | 17.72 | 273.144 | 18.144 | 277.367 | 18.728 | 275.2 | 0.432 | 889.825 | 53.019 | 60.6817
2020-02-28 17:15:00 | 15.495 | 232.46 | 17.531 | 273.498 | 18.2 | 275.367 | 18.851 | 273.733 | 0.05 | 890.333 | 54.795 | 57.9588
2020-02-28 17:30:00 | 15.668 | 240.5 | 17.778 | 271.715 | 18.383 | 273.533 | 18.563 | 271.133 | 0.017 | 889.758 | 55.936 | 62.3529
2020-02-28 17:45:00 | 15.82 | 238.573 | 17.508 | 271.554 | 18.154 | 273.533 | 18.656 | 270.4 | -0.538 | 889.7 | 56.224 | 66.9276
2020-02-28 18:00:00 | 14.198 | 243.627 | 15.998 | 279.155 | 16.671 | 279.8 | 17.364 | 278.433 | -0.449 | 889.967 | 56.032 | 69.4657
2020-02-28 18:15:00 | 15.723 | 250.327 | 17.354 | 276.335 | 17.944 | 279.433 | 18.309 | 275.867 | -0.878 | 889.617 | 56.171 | 70.4683
2020-02-28 18:30:00 | 15.318 | 248.88 | 16.829 | 280.253 | 17.078 | 281.4 | 17.666 | 279.867 | -1.062 | 889.475 | 56.331 | 66.9055
2020-02-28 18:45:00 | 15.437 | 232.193 | 17.375 | 270.759 | 18.066 | 273.7 | 18.724 | 271.133 | -1.359 | 890.35 | 56.549 | 68.8781
2020-02-28 19:00:00 | 14.997 | 237.887 | 16.948 | 270.654 | 18.21 | 272.9 | 18.299 | 271.3 | -1.306 | 889.95 | 57.163 | 71.8696
2020-02-28 19:15:00 | 17.387 | 229.82 | 19.14 | 269.571 | 19.905 | 272.533 | 20.602 | 270.667 | -1.559 | 890.283 | 58.496 | 74.655
2020-02-28 19:30:00 | 11.843 | 227.927 | 13.654 | 264.697 | 14.532 | 267.433 | 15.292 | 267.1 | -2.197 | 889.783 | 61.472 | 72.4814
2020-02-28 19:45:00 | 12.717 | 228.22 | 14.486 | 266.006 | 15.773 | 267.9 | 16.067 | 267.883 | -2.197 | 890.05 | 63.429 | 71.0275
2020-02-28 20:00:00 | 13.081 | 227.287 | 14.943 | 269.343 | 15.967 | 272 | 16.809 | 269.7 | -2.151 | 889.817 | 64.149 | 71.1775
2020-02-28 20:15:00 | 13.204 | 236.433 | 15.463 | 266.471 | 16.262 | 269.5 | 17.103 | 266.6 | -2.683 | 890.067 | 65.051 | 71.4517
2020-02-28 20:30:00 | 12.554 | 227.933 | 14.431 | 266.039 | 15.422 | 268.533 | 15.96 | 264.3 | -2.792 | 890.083 | 65.051 | 71.2983
2020-02-28 20:45:00 | 11.108 | 234.62 | 13.104 | 265.086 | 13.782 | 267.833 | 14.071 | 265.167 | -2.882 | 889.8 | 66.549 | 71.7679
2020-02-28 21:00:00 | 10.894 | 223.747 | 12.652 | 258.914 | 13.267 | 261.9 | 13.491 | 259.033 | -2.81 | 889.867 | 66.629 | 71.7594
2020-02-28 21:15:00 | 9.53 | 222.367 | 11.245 | 258.566 | 11.825 | 261.567 | 12.46 | 259.667 | -3.304 | 889.917 | 66.4 | 72.4792
2020-02-28 21:30:00 | 9.37 | 225.44 | 11.169 | 257.105 | 11.694 | 261.533 | 11.944 | 258.717 | -3.163 | 890.025 | 67.008 | 73.2665
2020-02-28 21:45:00 | 7.766 | 225.3 | 9.087 | 258 | 9.821 | 262.767 | 9.833 | 258.217 | -3.421 | 889.908 | 67.936 | 72.1247
2020-02-28 22:00:00 | 7.358 | 233.893 | 8.476 | 259.316 | 9.182 | 263.633 | 9.306 | 261.833 | -3.043 | 889.867 | 66.917 | 69.4785
2020-02-28 22:15:00 | 8.018 | 230.873 | 9.136 | 264.882 | 9.659 | 268.2 | 9.723 | 264.2 | -2.434 | 890.1 | 66.304 | 67.216
2020-02-28 22:30:00 | 7.26 | 239.953 | 8.053 | 264.861 | 8.272 | 269.7 | 8.075 | 267.167 | -2.842 | 889.525 | 66 | 63.2099
2020-02-28 22:45:00 | 6.752 | 234.86 | 8.128 | 265.265 | 8.554 | 268.633 | 8.75 | 266.8 | -2.659 | 890.025 | 66.187 | 39.531
2020-02-28 23:00:00 | 5.822 | 234.207 | 6.689 | 258.847 | 6.924 | 263.4 | 6.898 | 259.8 | -2.932 | 890.092 | 67.456 | 35.2462
2020-02-28 23:15:00 | 5.07 | 244.967 | 5.651 | 254.901 | 6.105 | 258.55 | 6.03 | 254.717 | -3.321 | 889.8 | 69.893 | 38.124
2020-02-28 23:30:00 | 5.984 | 240.8 | 7.2 | 262.911 | 7.626 | 267.633 | 7.779 | 264.4 | -3.756 | 890.042 | 70.539 | 35.954
2020-02-28 23:45:00 | 5.82 | 224.667 | 6.773 | 250.932 | 7.091 | 256.1 | 7.284 | 252.8 | -3.706 | 889.617 | 72.677 | 39.494