## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-29 00:00:00 | 6.114 | 242.413 | 7.2 | 254.414 | 7.55 | 259.533 | 7.771 | 255.267 | -4.322 | 889.608 | 73.989 | 48.1658
2020-02-29 00:15:00 | 6.205 | 223.1 | 7.625 | 241.204 | 7.705 | 247.3 | 7.315 | 242.067 | -5.219 | 889.683 | 76.085 | 58.3183
2020-02-29 00:30:00 | 6.284 | 224.833 | 8.103 | 253.27 | 8.582 | 258.5 | 8.683 | 255.85 | -5.252 | 890.283 | 76.363 | 57.6028
2020-02-29 00:45:00 | 6.758 | 230.033 | 8.369 | 250.562 | 8.797 | 256.167 | 8.952 | 252.85 | -5.452 | 889.95 | 77.179 | 56.9555
2020-02-29 01:00:00 | 6.02 | 218.167 | 7.559 | 241.739 | 8.072 | 250.033 | 8.124 | 248.383 | -5.502 | 889.4 | 76.837 | 54.7534
2020-02-29 01:15:00 | 6.733 | 216.433 | 8.22 | 239.595 | 8.595 | 248.5 | 8.715 | 244.683 | -5.469 | 890.017 | 77.557 | 50.787
2020-02-29 01:30:00 | 6.543 | 219.1 | 8.044 | 241.624 | 8.688 | 249.033 | 9.009 | 245.933 | -5.369 | 890.025 | 77.024 | 46.9756
2020-02-29 01:45:00 | 6.792 | 218.433 | 8.78 | 246.092 | 9.41 | 251.933 | 9.593 | 247.583 | -5.519 | 889.75 | 76.693 | 44.7941
2020-02-29 02:00:00 | 6.514 | 214.9 | 8.524 | 237.115 | 9.41 | 244.7 | 9.368 | 241.1 | -5.385 | 890.142 | 77.355 | 44.1056
2020-02-29 02:15:00 | 7.417 | 214.867 | 9.389 | 235.99 | 10.292 | 242.333 | 10.009 | 237.767 | -5.335 | 889.575 | 76.715 | 43.6331
2020-02-29 02:30:00 | 7.514 | 216.633 | 9.69 | 236.424 | 10.768 | 244.233 | 10.756 | 241.067 | -5.369 | 889.475 | 76.373 | 44.134
2020-02-29 02:45:00 | 8.043 | 215.767 | 10.056 | 240.451 | 11.072 | 246.867 | 11.036 | 242.767 | -5.369 | 890.108 | 76.021 | 44.4211
2020-02-29 03:00:00 | 8.239 | 216.567 | 10.406 | 238.68 | 11.433 | 245.3 | 11.737 | 239.3 | -5.385 | 890.117 | 75.765 | 44.1255
2020-02-29 03:15:00 | 8.857 | 209.333 | 11.6 | 241.451 | 12.963 | 246.433 | 13.393 | 242.333 | -5.402 | 889.5 | 74.731 | 44.09
2020-02-29 03:30:00 | 8.36 | 215.967 | 10.966 | 241.975 | 12.541 | 247.833 | 12.648 | 242.767 | -5.352 | 890.067 | 74.197 | 42.612
2020-02-29 03:45:00 | 8.062 | 212.513 | 10.15 | 236.416 | 11.362 | 243.667 | 11.853 | 239.067 | -5.921 | 889.692 | 73.835 | 39.6354
2020-02-29 04:00:00 | 8.742 | 216.473 | 10.592 | 240.233 | 11.56 | 245.067 | 11.878 | 241.6 | -5.786 | 889.808 | 71.936 | 44.3486
2020-02-29 04:15:00 | 7.248 | 212.107 | 9.406 | 231.899 | 10.83 | 238.8 | 11.019 | 236.367 | -6.017 | 890.125 | 72.224 | 45.0386
2020-02-29 04:30:00 | 7.208 | 220.027 | 9.46 | 239.791 | 10.748 | 244.633 | 11.238 | 238.967 | -6.275 | 890.008 | 72.715 | 45.5999
2020-02-29 04:45:00 | 7.86 | 212.233 | 9.946 | 235.149 | 11.169 | 241.367 | 11.846 | 236.4 | -5.898 | 889.608 | 72.128 | 45.8593
2020-02-29 05:00:00 | 8.568 | 204.34 | 10.635 | 236.397 | 11.974 | 242.1 | 12.356 | 237.4 | -5.687 | 889.617 | 71.424 | 45.7306
2020-02-29 05:15:00 | 9.261 | 213.68 | 11.228 | 236.868 | 12.242 | 243.467 | 12.286 | 237.533 | -5.839 | 890.4 | 70.805 | 45.7065
2020-02-29 05:30:00 | 9.033 | 208.52 | 11.362 | 239.965 | 12.373 | 247.367 | 12.631 | 241.783 | -6.057 | 889.858 | 70.155 | 45.7804
2020-02-29 05:45:00 | 8.507 | 210.393 | 10.468 | 236.237 | 11.737 | 242.5 | 12.01 | 238.367 | -6.076 | 889.875 | 70.923 | 50.0694
2020-02-29 06:00:00 | 8.9 | 216.793 | 11.015 | 240.587 | 11.855 | 246.7 | 12.219 | 241.1 | -5.978 | 889.658 | 71.584 | 50.6705
2020-02-29 06:15:00 | 8.037 | 215.867 | 9.731 | 236.362 | 10.997 | 246.033 | 11.297 | 241.633 | -5.997 | 889.5 | 71.989 | 50.4538
2020-02-29 06:30:00 | 7.14 | 215 | 9.183 | 236.579 | 11.12 | 246 | 12.046 | 242.933 | -6.644 | 890.092 | 72.853 | 49.9521
2020-02-29 06:45:00 | 8.197 | 215.12 | 10.694 | 237.33 | 12.145 | 244.133 | 12.446 | 238.2 | -6.638 | 890.133 | 73.12 | 50.9412
2020-02-29 07:00:00 | 8.063 | 217.213 | 10.397 | 239.624 | 11.615 | 245.533 | 11.996 | 240.9 | -6.252 | 889.842 | 72 | 49.9045
2020-02-29 07:15:00 | 7.783 | 213.733 | 9.873 | 233.652 | 11.184 | 238.933 | 11.404 | 234.2 | -6.478 | 889.758 | 71.509 | 50.598
2020-02-29 07:30:00 | 7.849 | 217.667 | 9.641 | 231.182 | 11.043 | 237.5 | 11.329 | 233.2 | -6.445 | 889.433 | 70.624 | 51.7619
2020-02-29 07:45:00 | 6.842 | 218.733 | 8.868 | 233.894 | 10.506 | 237.133 | 10.933 | 231.733 | -6.528 | 890.183 | 69.589 | 49.545
2020-02-29 08:00:00 | 7.725 | 213.3 | 10.141 | 231.146 | 11.473 | 237.033 | 11.644 | 233.1 | -6.612 | 889.833 | 70.251 | 45.4933
2020-02-29 08:15:00 | 6.776 | 208.3 | 8.997 | 226.856 | 10.021 | 234.3 | 9.948 | 231.967 | -6.562 | 889.925 | 70.059 | 47.3216
2020-02-29 08:30:00 | 6.284 | 213.693 | 8.531 | 227.965 | 9.621 | 235.6 | 9.856 | 231.5 | -6.794 | 889.792 | 70.688 | 54.801
2020-02-29 08:45:00 | 5.205 | 218.433 | 7.094 | 223.251 | 8.5 | 230.367 | 8.942 | 228.333 | -6.478 | 889.942 | 69.685 | 55.8363
2020-02-29 09:00:00 | 5.472 | 215.9 | 7.356 | 228.394 | 8.583 | 236.267 | 8.652 | 234.433 | -5.552 | 889.983 | 67.648 | 54.7911
2020-02-29 09:15:00 | 5.121 | 217.593 | 6.723 | 226.984 | 7.563 | 234.833 | 7.621 | 234.233 | -4.384 | 889.867 | 63.84 | 53.5348
2020-02-29 09:30:00 | 6.408 | 214.487 | 7.807 | 234.457 | 8.736 | 240.967 | 8.919 | 237.7 | -3.3 | 890.025 | 58.272 | 49.4952
2020-02-29 09:45:00 | 7.205 | 212.22 | 7.901 | 243.371 | 8.352 | 247.733 | 8.481 | 241.7 | -1.84 | 889.9 | 50.272 | 39.8109
2020-02-29 10:00:00 | 6.064 | 225.093 | 6.339 | 246.79 | 6.712 | 248.6 | 6.625 | 242.283 | -1.048 | 890.142 | 48.592 | 34.2124
2020-02-29 10:15:00 | 5.706 | 214.433 | 6.161 | 232.318 | 6.292 | 238.833 | 6.17 | 234.833 | -0.965 | 890.083 | 49.845 | 25.8852
2020-02-29 10:30:00 | 5.749 | 262.367 | 6.281 | 280.346 | 6.497 | 282 | 6.912 | 279.433 | -1.162 | 890.083 | 47.253 | 23.8821
2020-02-29 10:45:00 | 5.877 | 266.96 | 6.046 | 285.86 | 6.191 | 288.733 | 6.554 | 288.633 | -1.546 | 889.958 | 46.795 | 35.6854
2020-02-29 11:00:00 | 7.75 | 278.687 | 8.179 | 292.932 | 8.146 | 298.8 | 8.492 | 293.867 | -1.048 | 890 | 43.947 | 44.2363
2020-02-29 11:15:00 | 6.613 | 249.607 | 7.346 | 279.798 | 7.354 | 282.333 | 7.666 | 281.567 | -0.342 | 889.65 | 43.488 | 47.2285
2020-02-29 11:30:00 | 8.145 | 232.933 | 8.586 | 259.611 | 8.838 | 264.133 | 8.789 | 260.683 | -0.399 | 889.733 | 42.864 | 47.2911
2020-02-29 11:45:00 | 7.356 | 246.627 | 7.913 | 266.546 | 7.714 | 268.967 | 7.705 | 266.633 | -0.409 | 890.3 | 42.528 | 42.8905
2020-02-29 12:00:00 | 7.041 | 231.393 | 7.482 | 263.888 | 7.689 | 268.133 | 7.64 | 267.45 | -0.189 | 889.742 | 42.267 | 36.3462
2020-02-29 12:15:00 | 6.777 | 241.76 | 7.224 | 271.858 | 7.255 | 274 | 7.232 | 268.983 | 0.416 | 889.85 | 41.013 | 28.6124
2020-02-29 12:30:00 | 6.799 | 254.54 | 7.231 | 277.149 | 7.48 | 277.1 | 7.548 | 272.667 | 0.15 | 889.592 | 40.728 | 24.2722
2020-02-29 12:45:00 | 5.771 | 244.387 | 6.361 | 275.627 | 6.262 | 277.5 | 6.419 | 275.717 | 0.848 | 889.6 | 38.435 | 24.4016
2020-02-29 13:00:00 | 6.53 | 244.9 | 7.28 | 265.444 | 7.358 | 269.833 | 7.158 | 265.533 | 1.312 | 889.85 | 37.291 | 20.5801
2020-02-29 13:15:00 | 5.509 | 280.887 | 5.722 | 300.231 | 5.997 | 301.433 | 6.365 | 299.167 | 1.359 | 889.967 | 36.669 | 15.577
2020-02-29 13:30:00 | 5.78 | 271.227 | 6.019 | 289.413 | 6.068 | 292.5 | 6.253 | 290 | 1.089 | 890.15 | 36.299 | 13.2229
2020-02-29 13:45:00 | 4.129 | 257.707 | 4.325 | 273.28 | 4.382 | 278.967 | 4.53 | 281.617 | 1.95 | 890.15 | 35.131 | 12.8279
2020-02-29 14:00:00 | 5.214 | 315.533 | 5.365 | 315.658 | 5.422 | 319.967 | 5.478 | 313.967 | 2.337 | 890.1 | 34.301 | 12.6047
2020-02-29 14:15:00 | 5.091 | 324.96 | 5.168 | 317.443 | 5.5 | 318.333 | 5.744 | 310.667 | 2.208 | 889.767 | 35.088 | 11.379
2020-02-29 14:30:00 | 4.462 | 293.08 | 4.483 | 296.68 | 4.58 | 300.067 | 4.614 | 301.433 | 2.541 | 889.733 | 33.619 | 11.2795
2020-02-29 14:45:00 | 4.972 | 321.067 | 5.226 | 315.753 | 5.375 | 315.367 | 5.772 | 311.933 | 2.496 | 889.783 | 31.747 | 14.4551
2020-02-29 15:00:00 | 5.085 | 316.293 | 5.087 | 309.751 | 5.292 | 315.3 | 5.645 | 311.933 | 2.72 | 889.8 | 30.821 | 15.5152
2020-02-29 15:15:00 | 5.537 | 325.973 | 5.444 | 321.06 | 5.351 | 323.533 | 5.624 | 320.1 | 3.016 | 889.883 | 32.859 | 12.9359
2020-02-29 15:30:00 | 5.389 | 301.6 | 5.29 | 312.774 | 5.395 | 319.567 | 5.852 | 316.067 | 3.304 | 889.9 | 31.819 | 14.9574
2020-02-29 15:45:00 | 5.185 | 314.733 | 5.524 | 325.942 | 5.881 | 330.033 | 5.864 | 324.667 | 3.271 | 890.083 | 32.112 | 12.5067
2020-02-29 16:00:00 | 4.9 | 309.467 | 5.008 | 309.217 | 4.92 | 312.167 | 5.001 | 308.8 | 3.187 | 889.433 | 32.323 | 14.0202
2020-02-29 16:15:00 | 5.095 | 312.133 | 5.335 | 311.505 | 5.252 | 296.533 | 5.483 | 316.633 | 3.287 | 889.95 | 33.147 | 10.6514
2020-02-29 16:30:00 | 5.269 | 329.467 | 5.412 | 323.368 | 5.469 | 327.4 | 5.816 | 322.533 | 3.555 | 889.317 | 33.4 | 10.132
2020-02-29 16:45:00 | 4.308 | 329.667 | 4.325 | 324.512 | 4.323 | 326.4 | 4.67 | 321.933 | 3.672 | 889.467 | 33.429 | 10.1973
2020-02-29 17:00:00 | 3.98 | 306.467 | 4.125 | 323.906 | 4.251 | 329.033 | 4.668 | 324.033 | 3.672 | 890.3 | 33.507 | 9.0043
2020-02-29 17:15:00 | 4.015 | 327 | 4.313 | 316.789 | 4.022 | 316.433 | 4.27 | 311.567 | 3.672 | 889.717 | 33.101 | 7.9249
2020-02-29 17:30:00 | 4.265 | 309.747 | 4.208 | 310.88 | 4.195 | 314.133 | 4.702 | 310.3 | 3.658 | 889.6 | 32.845 | 7.1085
2020-02-29 17:45:00 | 4.53 | 328 | 4.45 | 322.026 | 4.574 | 317.1 | 5.106 | 328.133 | 3.504 | 889.717 | 32.645 | 6.9593
2020-02-29 18:00:00 | 4.032 | 280.467 | 4.439 | 324.58 | 4.671 | 316.633 | 4.826 | 325.967 | 3.706 | 889.667 | 32.96 | 6.9849
2020-02-29 18:15:00 | 4.683 | 319.6 | 4.764 | 316.967 | 4.877 | 320.967 | 5.174 | 319.467 | 3.689 | 890.083 | 33.371 | 6.8627
2020-02-29 18:30:00 | 4.877 | 328.467 | 4.892 | 324.218 | 4.79 | 325.767 | 4.79 | 322.967 | 3.288 | 890.117 | 33.861 | 7.3039
2020-02-29 18:45:00 | 4.075 | 314.933 | 4.211 | 317.518 | 4.366 | 323.133 | 4.73 | 322.333 | 3.489 | 889.483 | 34.323 | 6.6722
2020-02-29 19:00:00 | 3.89 | 315.133 | 4.016 | 313.631 | 4.081 | 318.567 | 4.437 | 317.833 | 3.171 | 889.9 | 34.981 | 5.6106
2020-02-29 19:15:00 | 3.744 | 322.173 | 3.792 | 316.316 | 3.752 | 319.133 | 3.822 | 318.233 | 2.916 | 889.517 | 34.72 | 4.3835
2020-02-29 19:30:00 | 2.983 | 326.773 | 3.256 | 323.567 | 3.227 | 327.1 | 3.526 | 323.933 | 2.884 | 890.217 | 35.763 | 3.5166
2020-02-29 19:45:00 | 2.957 | 314.76 | 3.346 | 313.569 | 3.331 | 318.8 | 3.586 | 314.767 | 2.254 | 889.467 | 38.645 | 2.0422
2020-02-29 20:00:00 | 3.093 | 311.867 | 3.306 | 313.195 | 3.317 | 316.333 | 3.65 | 316.133 | 1.965 | 889.7 | 40 | 0.30341
2020-02-29 20:15:00 | 2.541 | 306.547 | 2.642 | 307.125 | 2.788 | 313.033 | 3.246 | 316.7 | 1.379 | 889.942 | 41.584 | 0.19327
2020-02-29 20:30:00 | 1.59 | 298.907 | 1.612 | 306.984 | 1.397 | 313 | 2.07 | 313.967 | 1.232 | 889.892 | 42.187 | 0.23093
2020-02-29 20:45:00 | 2.553 | 290.92 | 2.444 | 302.953 | 2.065 | 312.167 | 2.384 | 314.067 | 1.015 | 889.708 | 43.381 | 0.10658
2020-02-29 21:00:00 | 2.212 | 291 | 2.057 | 295.631 | 1.884 | 301.033 | 2.467 | 303.767 | 0.698 | 889.692 | 46.299 | 0.2288
2020-02-29 21:15:00 | 2.328 | 274.867 | 2.031 | 278.694 | 1.933 | 286.767 | 2.575 | 292.033 | 0.515 | 889.683 | 47.397 | 0.22099
2020-02-29 21:30:00 | 3.06 | 271.493 | 2.639 | 281.575 | 2.483 | 286.8 | 2.877 | 292 | 0.2 | 890.458 | 47.733 | 0.23449
2020-02-29 21:45:00 | 3.873 | 273.4 | 3.492 | 290.718 | 3.389 | 298.433 | 3.701 | 292.033 | -0.518 | 890.1 | 48.917 | 0.55922
2020-02-29 22:00:00 | 3.774 | 253.173 | 3.602 | 283.382 | 3.354 | 291.3 | 3.468 | 292.033 | -1.789 | 890.025 | 51.824 | 0.078162
2020-02-29 22:15:00 | 4.099 | 232.427 | 3.345 | 267.526 | 2.94 | 276.6 | 3.217 | 288.2 | -2.447 | 889.775 | 57.595 | 0.13572
2020-02-29 22:30:00 | 3.792 | 233.993 | 2.61 | 263.221 | 2.234 | 274 | 2.594 | 276.033 | -2.18 | 890.175 | 58.24 | 0.28991
2020-02-29 22:45:00 | 3.478 | 185.067 | 2.563 | 229.497 | 1.781 | 274 | 2.264 | 276.033 | -3.553 | 889.842 | 55.717 | 0.21459
2020-02-29 23:00:00 | 4.925 | 193.347 | 4.284 | 194.346 | 3.165 | 214.767 | 2.368 | 247.967 | -3.846 | 890.642 | 58.635 | 0.21957
2020-02-29 23:15:00 | 4.217 | 199.853 | 3.855 | 197.589 | 3.521 | 205.167 | 2.966 | 206.5 | -2.131 | 889.717 | 58.923 | 0.21672
2020-02-29 23:30:00 | 2.853 | 213.153 | 2.573 | 212.788 | 2.404 | 222.2 | 2.237 | 216.933 | -1.509 | 890.042 | 56.331 | 0.25154
2020-02-29 23:45:00 | 2.48 | 211.507 | 1.856 | 212.799 | 1.647 | 215.6 | 1.892 | 216 | -0.998 | 889.867 | 57.163 | 0.21601