## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-01 00:00:00 | 2.393 | 219.167 | 0.466 | 209.616 | 0.053 | 212 | 0.43 | 210 | -1.132 | 890.108 | 55.787 | 0.22596
2020-03-01 00:15:00 | 3.368 | 216.707 | 1.883 | 209.426 | 1.436 | 212 | 1.639 | 210.067 | -1.68 | 889.892 | 52.043 | 0.20962
2020-03-01 00:30:00 | 3.768 | 212.44 | 1.657 | 209.496 | 1.152 | 212 | 1.53 | 210 | -3.843 | 889.75 | 52.501 | 0.22738
2020-03-01 00:45:00 | 3.667 | 212.973 | 1.569 | 204.437 | 2.143 | 208 | 2.429 | 199.867 | -3.15 | 889.617 | 54.4 | 0.23164
2020-03-01 01:00:00 | 3.87 | 214.347 | 1.602 | 204.493 | 1.648 | 203.567 | 1.589 | 200 | -2.996 | 889.575 | 49.771 | 0.21317
2020-03-01 01:15:00 | 4.639 | 218.08 | 2.029 | 204.517 | 1.368 | 203 | 1.459 | 200 | -4.311 | 889.925 | 51.947 | 0.22596
2020-03-01 01:30:00 | 3.851 | 213.08 | 1.735 | 200.788 | 1.566 | 197.333 | 1.852 | 197.767 | -3.746 | 890.042 | 54.955 | 0.21601
2020-03-01 01:45:00 | 4.863 | 225.433 | 2.442 | 226.75 | 0.912 | 199.5 | 0.728 | 182.1 | -3.722 | 889.683 | 49.536 | 0.21743
2020-03-01 02:00:00 | 3.998 | 218.9 | 1.206 | 203.617 | 0.094 | 204.8 | 1.606 | 182 | -3.271 | 889.917 | 48.512 | 0.22951
2020-03-01 02:15:00 | 3.914 | 211.887 | 2.062 | 201.103 | 1.1 | 177.633 | 1.812 | 158 | -4.463 | 889.725 | 48.512 | 0.17622
2020-03-01 02:30:00 | 2.222 | 220.193 | 0.063 | 187.296 | 0.027 | 159.9 | 1.31 | 158.133 | -1.833 | 889.967 | 46.667 | 0.23662
2020-03-01 02:45:00 | 2.213 | 213.34 | 0.28 | 154.38 | 0.696 | 120.067 | 1.85 | 111.667 | -2.28 | 889.842 | 45.92 | 0.23591
2020-03-01 03:00:00 | 2.099 | 220.113 | 0 | 138.474 | 0.936 | 114 | 2.42 | 110 | -2.635 | 889.8 | 46.229 | 0.23307
2020-03-01 03:15:00 | 3.112 | 210.273 | 1.335 | 171.114 | 1.029 | 127 | 1.89 | 110.033 | -5.952 | 890.025 | 52.469 | 0.22454
2020-03-01 03:30:00 | 2.514 | 210.227 | 0.023 | 182.474 | 1.363 | 148.867 | 2.178 | 118 | -4.003 | 889.942 | 49.76 | 0.23022
2020-03-01 03:45:00 | 4.146 | 210.147 | 1.438 | 186.053 | 1.563 | 157.933 | 2.273 | 150.433 | -4.328 | 890.2 | 50.005 | 0.23236
2020-03-01 04:00:00 | 4.86 | 211.9 | 2.663 | 205.151 | 2.757 | 191.1 | 3.26 | 173.667 | -3.455 | 890.025 | 46.859 | 0.44268
2020-03-01 04:15:00 | 5.401 | 210.707 | 3.461 | 212.625 | 3.114 | 210.933 | 3.28 | 200.233 | -4.441 | 890 | 45.675 | 0.31194
2020-03-01 04:30:00 | 3.922 | 211.38 | 2.169 | 210.688 | 1.976 | 210.233 | 2.275 | 203 | -6.7 | 889.783 | 55.232 | 0.23804
2020-03-01 04:45:00 | 6.101 | 213.493 | 2.451 | 211.176 | 2.134 | 209.133 | 2.312 | 199.9 | -7.402 | 889.858 | 56.085 | 0.24586
2020-03-01 05:00:00 | 5.788 | 216.42 | 3.342 | 214.231 | 2.102 | 212 | 1.864 | 199.867 | -7.646 | 889.817 | 59.157 | 0.21885
2020-03-01 05:15:00 | 6.016 | 227.24 | 5.488 | 239.896 | 5.03 | 246.7 | 4.424 | 237.7 | -8.371 | 890.192 | 63.36 | 0.61961
2020-03-01 05:30:00 | 5.354 | 220.613 | 4.452 | 232.651 | 3.862 | 236.033 | 3.055 | 221.367 | -7.446 | 890.125 | 61.589 | 1.1454
2020-03-01 05:45:00 | 6.592 | 214.913 | 5.059 | 228.28 | 4.47 | 229.8 | 3.422 | 215.333 | -8.351 | 890.067 | 63.957 | 1.8723
2020-03-01 06:00:00 | 6.441 | 213.807 | 4.298 | 226.099 | 3.278 | 218.633 | 2.66 | 200.9 | -8.02 | 889.933 | 64.331 | 0.77807
2020-03-01 06:15:00 | 6.493 | 213.667 | 4.378 | 227.703 | 2.65 | 216.3 | 2.089 | 188.233 | -7.506 | 890.075 | 63.2 | 0.34747
2020-03-01 06:30:00 | 6.111 | 214.433 | 4.365 | 236.751 | 3.092 | 230.7 | 2.197 | 210.133 | -7.99 | 890.183 | 64.512 | 0.17906
2020-03-01 06:45:00 | 5.828 | 215.287 | 5.389 | 241.65 | 4.088 | 246.433 | 2.863 | 232.867 | -8.28 | 889.825 | 65.28 | 0.62317
2020-03-01 07:00:00 | 6.25 | 212.267 | 5.117 | 242.78 | 3.899 | 243.7 | 2.663 | 233.467 | -8.824 | 889.583 | 66.4 | 1.5959
2020-03-01 07:15:00 | 5.957 | 216.407 | 4.164 | 246.831 | 2.233 | 242.067 | 0.98 | 234 | -8.538 | 889.617 | 66.848 | 0.35955
2020-03-01 07:30:00 | 6.443 | 209.853 | 4.926 | 237.658 | 3.647 | 243.3 | 1.881 | 232.867 | -8.598 | 889.708 | 66.667 | 1.2478
2020-03-01 07:45:00 | 5.839 | 210.267 | 4.166 | 238.577 | 2.6 | 243.933 | 1.532 | 232.8 | -8.674 | 889.55 | 66.485 | 0.84984
2020-03-01 08:00:00 | 5.924 | 217.32 | 3.528 | 244.209 | 1.978 | 250.767 | 0.557 | 233.117 | -8.531 | 889.842 | 65.749 | 0.14496
2020-03-01 08:15:00 | 5.918 | 220.867 | 4.345 | 246.232 | 2.695 | 258.8 | 1.216 | 262.667 | -8.558 | 890.292 | 65.792 | 0.17551
2020-03-01 08:30:00 | 5.939 | 228.167 | 4.53 | 251.552 | 3.144 | 266.133 | 2.475 | 264.2 | -8.508 | 890.033 | 65.685 | 0.11369
2020-03-01 08:45:00 | 5.955 | 225.733 | 4.29 | 258.275 | 2.959 | 279.467 | 2.332 | 298.467 | -7.656 | 889.775 | 63.093 | 0.098769
2020-03-01 09:00:00 | 5.853 | 219.087 | 4.007 | 259.61 | 3.024 | 278.333 | 2.651 | 295.867 | -7.383 | 889.658 | 60.832 | 0.2423
2020-03-01 09:15:00 | 5.436 | 219.887 | 4.109 | 252.336 | 2.996 | 268.133 | 2.547 | 292.233 | -6.289 | 889.842 | 58.016 | 0.59688
2020-03-01 09:30:00 | 4.775 | 213.687 | 3.732 | 247.518 | 2.65 | 265.733 | 2.241 | 292.133 | -4.962 | 890.2 | 53.867 | 0.1414
2020-03-01 09:45:00 | 4.584 | 215.833 | 3.914 | 236.786 | 2.938 | 247.567 | 2.071 | 250.1 | -3.388 | 890.033 | 49.397 | 0.38513
2020-03-01 10:00:00 | 4.062 | 219.54 | 4.285 | 231.025 | 3.435 | 233.533 | 2.593 | 231.6 | -1.703 | 889.742 | 45.461 | 0.87187
2020-03-01 10:15:00 | 3.938 | 226.76 | 3.798 | 230.523 | 3.77 | 232.533 | 3.316 | 223.933 | -0.282 | 889.717 | 41.931 | 0.97774
2020-03-01 10:30:00 | 3.454 | 232.527 | 3.476 | 241.48 | 3.314 | 242.95 | 3.215 | 234.167 | 0.915 | 889.917 | 39.477 | 0.28352
2020-03-01 10:45:00 | 2.697 | 261.873 | 2.547 | 269.438 | 2.29 | 267.967 | 2.478 | 261.85 | 1.409 | 889.933 | 38.011 | 0.26504
2020-03-01 11:00:00 | 2.566 | 252.813 | 2.533 | 263.975 | 2.448 | 266.283 | 2.846 | 266.867 | 0.985 | 889.85 | 38.696 | 0.2828
2020-03-01 11:15:00 | 2.797 | 257.713 | 2.863 | 262.327 | 3.047 | 267.033 | 3.163 | 262.467 | 1.64 | 889.75 | 38.064 | 1.2826
2020-03-01 11:30:00 | 3.755 | 280.673 | 4.004 | 292.835 | 4.08 | 296.967 | 4.238 | 294.9 | 1.296 | 889.767 | 38.328 | 2.6398
2020-03-01 11:45:00 | 3.983 | 260.833 | 4.125 | 281.686 | 4.235 | 284.967 | 4.45 | 284.733 | 1.249 | 889.717 | 37.549 | 4.4979
2020-03-01 12:00:00 | 4.761 | 300.04 | 4.85 | 305.869 | 4.65 | 308.667 | 4.988 | 307.767 | 1.212 | 889.583 | 38.445 | 8.1054
2020-03-01 12:15:00 | 4.869 | 326.147 | 5.015 | 318.45 | 5.36 | 321.1 | 5.728 | 318.4 | 1.975 | 889.5 | 37.072 | 8.3392
2020-03-01 12:30:00 | 4.713 | 284.233 | 4.658 | 292.335 | 4.778 | 297.433 | 5.239 | 296.8 | 2.122 | 889.767 | 34.368 | 10.6486
2020-03-01 12:45:00 | 5.585 | 281.827 | 5.378 | 293.438 | 5.305 | 298.067 | 5.796 | 292.767 | 2.517 | 889.95 | 34.227 | 10.8525
2020-03-01 13:00:00 | 5.181 | 268.787 | 5.486 | 281.971 | 5.536 | 286.667 | 5.647 | 284.933 | 2.635 | 889.333 | 34.827 | 9.5401
2020-03-01 13:15:00 | 4.491 | 250.4 | 4.864 | 277.98 | 4.825 | 281.733 | 4.972 | 280.9 | 3.488 | 889.8 | 33.517 | 8.6639
2020-03-01 13:30:00 | 4.44 | 280.1 | 4.6 | 285.692 | 4.708 | 290.033 | 5.057 | 284.567 | 3.554 | 889.683 | 33.371 | 9.064
2020-03-01 13:45:00 | 4.208 | 256.88 | 4.432 | 277.328 | 4.54 | 281.5 | 4.983 | 277.317 | 4.361 | 889.817 | 32.325 | 9.4903
2020-03-01 14:00:00 | 4.097 | 262.82 | 4.258 | 284.243 | 4.357 | 284.133 | 4.642 | 281.6 | 4.57 | 889.783 | 31.229 | 9.3297
2020-03-01 14:15:00 | 4.596 | 266.887 | 4.878 | 280.982 | 4.762 | 284.933 | 5.041 | 281.067 | 4.885 | 889.883 | 30.6 | 7.8951
2020-03-01 14:30:00 | 4.44 | 281.173 | 4.563 | 285.441 | 4.55 | 284.7 | 4.708 | 281.45 | 5.623 | 889.717 | 26.52 | 7.6237
2020-03-01 14:45:00 | 4.852 | 305.587 | 5.273 | 306.833 | 5.282 | 312.067 | 5.396 | 308.567 | 5.532 | 889.6 | 26.245 | 8.8167
2020-03-01 15:00:00 | 4.419 | 304.08 | 4.668 | 300.716 | 4.912 | 303.2 | 5.394 | 300.6 | 5.468 | 889.8 | 24.816 | 12.0469
2020-03-01 15:15:00 | 5.703 | 293.578 | 5.961 | 323.764 | 6.029 | 315.233 | 6.219 | 331.633 | 5.716 | 889.45 | 25.283 | 15.5671
2020-03-01 15:30:00 | 6.256 | 326.44 | 6.551 | 334.246 | 6.605 | 313.833 | 6.765 | 336.433 | 5.862 | 889.6 | 24.952 | 22.1242
2020-03-01 15:45:00 | 5.66 | 316.84 | 6.051 | 309.311 | 6.388 | 312.5 | 6.629 | 312.3 | 5.954 | 889.283 | 25.211 | 21.8279
2020-03-01 16:00:00 | 7.064 | 338.467 | 7.399 | 328.173 | 7.283 | 332.533 | 7.463 | 329.4 | 5.978 | 889.583 | 26.147 | 24.7007
2020-03-01 16:15:00 | 5.302 | 323.707 | 5.537 | 320.273 | 5.755 | 324.633 | 6.192 | 323.633 | 6.004 | 889.7 | 26.6 | 24.3589
2020-03-01 16:30:00 | 6.096 | 320.267 | 6.473 | 314.565 | 6.902 | 316.5 | 7.345 | 313.8 | 6.095 | 889.65 | 26.693 | 29.3244
2020-03-01 16:45:00 | 6.794 | 305.907 | 7.06 | 306.67 | 7.356 | 310.633 | 7.574 | 307.233 | 6.22 | 889.617 | 26.987 | 33.6972
2020-03-01 17:00:00 | 6.824 | 306.173 | 6.823 | 308.032 | 6.829 | 312.733 | 7.3 | 308.333 | 6.413 | 889.65 | 26.891 | 39.094
2020-03-01 17:15:00 | 6.772 | 308.413 | 7.053 | 311.08 | 7.25 | 313.4 | 7.57 | 312.7 | 6.512 | 889.533 | 27.28 | 39.5672
2020-03-01 17:30:00 | 7.073 | 316.493 | 7.464 | 314.408 | 7.726 | 319 | 7.798 | 317.3 | 6.284 | 889.65 | 27.632 | 40.3509
2020-03-01 17:45:00 | 8.532 | 300.507 | 8.586 | 303.605 | 8.688 | 309.633 | 9.001 | 306.6 | 6.469 | 889.717 | 27.339 | 44.0274
2020-03-01 18:00:00 | 8.057 | 297.12 | 8.589 | 301.031 | 8.773 | 304.867 | 9.202 | 302.767 | 5.962 | 889.4 | 27.269 | 43.9692
2020-03-01 18:15:00 | 8.029 | 295.787 | 8.563 | 300.936 | 8.854 | 305.2 | 9.11 | 302.2 | 6.061 | 889.417 | 26.333 | 44.5525
2020-03-01 18:30:00 | 7.704 | 293.32 | 8.096 | 297.799 | 8.196 | 304.433 | 8.704 | 301.8 | 5.974 | 889.8 | 27.077 | 42.9992
2020-03-01 18:45:00 | 7.498 | 285.26 | 7.908 | 293.09 | 8.181 | 295.767 | 8.643 | 293.633 | 5.663 | 889.683 | 28.971 | 43.611
2020-03-01 19:00:00 | 7.313 | 292.72 | 7.774 | 298.735 | 8.123 | 303.633 | 8.595 | 299.8 | 5.611 | 889.683 | 28.872 | 43.0845
2020-03-01 19:15:00 | 6.964 | 294.587 | 7.506 | 300.827 | 7.772 | 306.567 | 8.3 | 304.2 | 5.312 | 889.767 | 28.709 | 35.3756
2020-03-01 19:30:00 | 5.894 | 295.82 | 7.02 | 302.929 | 7.343 | 307.033 | 7.986 | 303.1 | 4.776 | 889.933 | 30.168 | 26.07
2020-03-01 19:45:00 | 5.354 | 289.16 | 6.367 | 294.989 | 6.734 | 298.867 | 7.247 | 294.933 | 4.096 | 889.6 | 33.744 | 23.1524
2020-03-01 20:00:00 | 5.615 | 279.533 | 6.67 | 292.479 | 6.924 | 296.467 | 7.406 | 293.333 | 3.773 | 889.567 | 36.963 | 23.5588
2020-03-01 20:15:00 | 5.277 | 283.72 | 6.073 | 290.484 | 6.058 | 292.7 | 6.448 | 289.033 | 3.143 | 889.75 | 39.941 | 18.1919
2020-03-01 20:30:00 | 4.941 | 253.073 | 6.013 | 279.948 | 6.244 | 282.8 | 6.573 | 280.2 | 2.639 | 889.942 | 40.691 | 14.7052
2020-03-01 20:45:00 | 4.46 | 268.693 | 5.643 | 276.546 | 6.052 | 279.7 | 6.448 | 277.267 | 2.065 | 889.842 | 41.317 | 15.4996
2020-03-01 21:00:00 | 5.3 | 246.527 | 7.158 | 272.494 | 7.409 | 275.133 | 7.75 | 270.3 | 1.569 | 889.842 | 43.253 | 17.4707
2020-03-01 21:15:00 | 4.762 | 235.773 | 6.555 | 262.942 | 6.807 | 266.9 | 7.09 | 263.1 | 1.546 | 890.125 | 42.869 | 17.9518
2020-03-01 21:30:00 | 5.124 | 224.78 | 6.094 | 235.852 | 6.029 | 246.533 | 5.825 | 248.467 | -0.126 | 889.975 | 47.723 | 26.7912
2020-03-01 21:45:00 | 6.123 | 220.22 | 7.4 | 233.396 | 7.331 | 239.9 | 7.109 | 235.367 | -0.203 | 889.817 | 51.285 | 32.8019
2020-03-01 22:00:00 | 5.953 | 218.16 | 7.102 | 232.448 | 7.385 | 238.567 | 7.228 | 233.8 | -0.582 | 890.033 | 50.88 | 31.6792
2020-03-01 22:15:00 | 6.082 | 211.7 | 7.837 | 234.873 | 7.997 | 241.633 | 7.882 | 237.833 | -0.359 | 889.908 | 50.208 | 32.4793
2020-03-01 22:30:00 | 5.503 | 215.66 | 7.283 | 231.675 | 7.66 | 238.733 | 7.573 | 234.1 | -0.832 | 889.717 | 49.003 | 31.1171
2020-03-01 22:45:00 | 5.095 | 214.507 | 6.925 | 228.761 | 7.136 | 239.1 | 6.856 | 236.367 | -1.888 | 889.508 | 51.275 | 26.3052
2020-03-01 23:00:00 | 5.157 | 213.14 | 6.809 | 229.78 | 6.834 | 239.367 | 6.534 | 236.1 | -1.706 | 889.975 | 51.808 | 24.8933
2020-03-01 23:15:00 | 5.569 | 215.44 | 6.921 | 232.125 | 6.779 | 241.367 | 6.61 | 238.3 | -1.68 | 889.975 | 50.624 | 26.6306
2020-03-01 23:30:00 | 6.412 | 212.28 | 7.607 | 230.016 | 7.497 | 238.2 | 7.193 | 234.4 | -1.829 | 890.258 | 50.389 | 28.7104
2020-03-01 23:45:00 | 5.597 | 210.927 | 7.292 | 228.023 | 7.163 | 237.733 | 6.677 | 235.8 | -1.998 | 889.442 | 50.677 | 24.7789