## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-02 00:00:00 | 5.847 | 211.36 | 7.255 | 226.08 | 6.764 | 236.667 | 6.279 | 234.533 | -2.263 | 889.883 | 50.976 | 20.6434
2020-03-02 00:15:00 | 5.757 | 213.18 | 6.742 | 227.821 | 6.507 | 237.7 | 6.119 | 234.867 | -2.094 | 889.967 | 50.379 | 17.5155
2020-03-02 00:30:00 | 5.765 | 214.64 | 7.022 | 224.948 | 6.511 | 236.433 | 6.07 | 233.833 | -2.366 | 890.042 | 50.315 | 16.7004
2020-03-02 00:45:00 | 5.601 | 207.227 | 7.269 | 221.354 | 6.495 | 233.267 | 5.753 | 233.333 | -2.689 | 889.733 | 49.333 | 12.9593
2020-03-02 01:00:00 | 5.564 | 211.907 | 6.574 | 222.987 | 5.889 | 233.133 | 5.274 | 233.167 | -3.012 | 889.775 | 49.909 | 11.1396
2020-03-02 01:15:00 | 6.016 | 208.2 | 6.364 | 224.07 | 5.372 | 234.433 | 4.846 | 234.433 | -3.487 | 890.308 | 50.229 | 9.5948
2020-03-02 01:30:00 | 6.234 | 210.9 | 6.964 | 219.291 | 5.692 | 230.067 | 4.853 | 230.6 | -3.371 | 890.05 | 48.224 | 10.9058
2020-03-02 01:45:00 | 5.756 | 206.953 | 6.974 | 214.833 | 6.403 | 221.633 | 5.385 | 221.5 | -3.1 | 890.358 | 42.613 | 10.8909
2020-03-02 02:00:00 | 6.206 | 209.107 | 6.839 | 218.577 | 6.406 | 221.267 | 5.681 | 219.833 | -3.23 | 889.792 | 40.517 | 11.6604
2020-03-02 02:15:00 | 6.287 | 212.18 | 6.326 | 220.214 | 5.648 | 224.7 | 5.175 | 222.9 | -3.19 | 889.717 | 39.888 | 10.7125
2020-03-02 02:30:00 | 6.131 | 212.9 | 6.84 | 217.109 | 6.251 | 222 | 5.69 | 220.967 | -3.505 | 890.025 | 42.677 | 11.7485
2020-03-02 02:45:00 | 6.642 | 212.267 | 6.639 | 213.892 | 6.009 | 219.4 | 5.322 | 219.067 | -3.371 | 889.908 | 43.733 | 8.9766
2020-03-02 03:00:00 | 7.051 | 209.093 | 6.044 | 214.095 | 5.355 | 219.233 | 4.847 | 217.467 | -3.21 | 889.758 | 41.877 | 8.2745
2020-03-02 03:15:00 | 5.901 | 211 | 7.071 | 212.254 | 6.041 | 215.5 | 5.21 | 213.8 | -3.773 | 889.675 | 43.776 | 9.6815
2020-03-02 03:30:00 | 7.156 | 209.5 | 6.987 | 214.098 | 6.458 | 215.1 | 5.673 | 211.2 | -3.924 | 890.225 | 47.435 | 11.1637
2020-03-02 03:45:00 | 6.963 | 208.767 | 7.148 | 215.962 | 6.561 | 218.267 | 5.89 | 214.7 | -3.991 | 889.592 | 46.283 | 11.6568
2020-03-02 04:00:00 | 6.863 | 204.9 | 6.589 | 218.453 | 6.101 | 223.033 | 5.024 | 222.5 | -3.337 | 890.125 | 42.389 | 11.2653
2020-03-02 04:15:00 | 6.797 | 209.333 | 6.723 | 220.295 | 6.105 | 225.533 | 5.252 | 224.067 | -4.206 | 889.783 | 42.549 | 13.0154
2020-03-02 04:30:00 | 6.566 | 203.253 | 6.943 | 217.16 | 6.432 | 223 | 5.671 | 221.767 | -3.998 | 889.617 | 43.915 | 15.6538
2020-03-02 04:45:00 | 7.052 | 207.467 | 7.391 | 213.935 | 6.808 | 220.1 | 6.054 | 218.333 | -3.773 | 890.033 | 45.035 | 15.6985
2020-03-02 05:00:00 | 7.02 | 207.8 | 7.356 | 216.104 | 6.472 | 221.533 | 5.599 | 220.033 | -3.706 | 889.758 | 44.704 | 17.1211
2020-03-02 05:15:00 | 7.823 | 209.853 | 7.922 | 212.708 | 7.49 | 216.467 | 6.855 | 213.133 | -4.067 | 889.8 | 44.437 | 19.1384
2020-03-02 05:30:00 | 6.364 | 207.053 | 7.443 | 212.55 | 7.278 | 216.267 | 6.64 | 214.267 | -3.95 | 889.833 | 45.899 | 17.5759
2020-03-02 05:45:00 | 7.173 | 208.28 | 8.045 | 212.546 | 7.549 | 217 | 7.224 | 213.6 | -4.227 | 889.7 | 46.517 | 20.3918
2020-03-02 06:00:00 | 7.057 | 210.113 | 8.44 | 213.269 | 7.984 | 219.733 | 7.172 | 218.433 | -4.246 | 889.675 | 46.187 | 21.7803
2020-03-02 06:15:00 | 7.122 | 207.1 | 7.799 | 212.749 | 7.74 | 218.433 | 7.097 | 218.333 | -4.271 | 890.308 | 46.677 | 20.5091
2020-03-02 06:30:00 | 6.868 | 211.453 | 7.085 | 212.62 | 7.048 | 216.8 | 6.554 | 215.067 | -4.082 | 889.817 | 46.667 | 17.3954
2020-03-02 06:45:00 | 6.055 | 209.613 | 7.129 | 212.023 | 6.914 | 215.367 | 6.464 | 213.467 | -4.345 | 889.5 | 46.805 | 15.5749
2020-03-02 07:00:00 | 5.929 | 211.333 | 7.026 | 210.664 | 6.536 | 214.167 | 6.159 | 212.833 | -4.919 | 889.842 | 47.947 | 13.7758
2020-03-02 07:15:00 | 6.329 | 210.3 | 6.958 | 212.653 | 6.548 | 217.233 | 5.594 | 217.1 | -5.002 | 890.183 | 47.733 | 12.0768
2020-03-02 07:30:00 | 6.427 | 206.98 | 6.795 | 212.608 | 6.31 | 217.667 | 5.741 | 216.033 | -4.494 | 889.8 | 47.509 | 13.1441
2020-03-02 07:45:00 | 5.856 | 210.027 | 7.163 | 208.046 | 6.628 | 211.9 | 5.978 | 210.067 | -4.533 | 889.683 | 46.869 | 13.6493
2020-03-02 08:00:00 | 5.796 | 206.533 | 7.255 | 212.137 | 6.375 | 214.1 | 6.183 | 212.267 | -4.769 | 890.033 | 46.891 | 15.1216
2020-03-02 08:15:00 | 6.232 | 211.313 | 6.917 | 210.957 | 6.258 | 214.167 | 6.081 | 212.733 | -4.793 | 889.908 | 45.173 | 14.2732
2020-03-02 08:30:00 | 6.169 | 211.427 | 7.147 | 206.484 | 6.238 | 211.967 | 5.667 | 212.1 | -4.483 | 889.742 | 43.04 | 13.9463
2020-03-02 08:45:00 | 6.04 | 210.6 | 6.916 | 207.872 | 6.366 | 212.833 | 6.216 | 212 | -3.907 | 889.942 | 41.205 | 14.3101
2020-03-02 09:00:00 | 5.722 | 211.153 | 6.893 | 206.754 | 6.202 | 211.767 | 5.968 | 210.433 | -2.89 | 889.833 | 39.685 | 11.9425
2020-03-02 09:15:00 | 5.087 | 208.147 | 6.897 | 202.283 | 6.195 | 205.667 | 5.695 | 204.467 | -1.66 | 889.233 | 37.093 | 8.3186
2020-03-02 09:30:00 | 4.97 | 203.193 | 6.666 | 195.666 | 6.069 | 201.367 | 5.396 | 198.1 | -0.016 | 890.05 | 34.053 | 6.0817
2020-03-02 09:45:00 | 3.258 | 208.747 | 4.664 | 202.216 | 5.919 | 202.3 | 5.354 | 198.2 | 1.299 | 889.717 | 31.669 | 4.8141
2020-03-02 10:00:00 | 2.855 | 196.507 | 2.848 | 188.466 | 3.535 | 196.033 | 4.222 | 196.533 | 2.862 | 890.1 | 29.045 | 1.9825
2020-03-02 10:15:00 | 3.32 | 204.487 | 3.183 | 195.421 | 3.506 | 198.867 | 4.098 | 196.4 | 4.265 | 889.733 | 26.293 | 0.67575
2020-03-02 10:30:00 | 3.237 | 208.92 | 3.06 | 207.496 | 3.153 | 210.333 | 3.296 | 202.5 | 5.26 | 889.983 | 23.355 | 0.21246
2020-03-02 10:45:00 | 2.992 | 218.1 | 2.82 | 218.866 | 2.958 | 222.367 | 3.003 | 217.367 | 5.978 | 889.933 | 21.224 | 0.21033
2020-03-02 11:00:00 | 1.976 | 207.18 | 1.771 | 212.121 | 2.365 | 213.1 | 2.68 | 209.8 | 6.813 | 889.333 | 19.837 | 0.26931
2020-03-02 11:15:00 | 1.159 | 212.967 | 0.952 | 223.517 | 1.443 | 232.833 | 2.064 | 225.933 | 7.506 | 889.867 | 19.056 | 0.23378
2020-03-02 11:30:00 | 1.544 | 256.56 | 1.353 | 245.724 | 1.343 | 255.25 | 1.603 | 253.25 | 8.07 | 889.533 | 18.251 | 0.22454
2020-03-02 11:45:00 | 1.65 | 252.613 | 1.637 | 338.332 | 1.639 | 287 | 2.1 | 327.1 | 6.989 | 889.733 | 18.545 | 0.23164
2020-03-02 12:00:00 | 3.02 | 313.587 | 2.74 | 310.092 | 2.729 | 310.2 | 2.545 | 304.867 | 6.887 | 889.367 | 18.787 | 0.23449
2020-03-02 12:15:00 | 2.02 | 274.413 | 1.776 | 277.154 | 2.025 | 280.4 | 2.419 | 279.967 | 6.562 | 889.5 | 18.793 | 0.23875
2020-03-02 12:30:00 | 1.256 | 208.817 | 0.695 | 290.03 | 0.596 | 312.6 | 0.919 | 323.967 | 7.91 | 889.433 | 17.836 | 0.21601
2020-03-02 12:45:00 | 2.438 | 274.473 | 2.26 | 287.159 | 2.511 | 294.1 | 2.651 | 291.033 | 8.491 | 889.2 | 16.972 | 0.20251
2020-03-02 13:00:00 | 1.775 | 272.227 | 1.467 | 277.632 | 1.377 | 291.8 | 1.906 | 288.967 | 7.783 | 889.567 | 16.879 | 0.20677
2020-03-02 13:15:00 | 0.919 | 284.96 | 0.573 | 273.872 | 0.643 | 272.667 | 0.908 | 277.067 | 8.501 | 889.4 | 16.608 | 0.20535
2020-03-02 13:30:00 | 2.763 | 276.28 | 2.393 | 274.543 | 2.31 | 285.267 | 2.339 | 282.067 | 8.574 | 889.567 | 15.888 | 0.20251
2020-03-02 13:45:00 | 2.924 | 319.973 | 2.895 | 308.752 | 2.888 | 316.5 | 3 | 310.767 | 9.191 | 889.1 | 15.872 | 0.16414
2020-03-02 14:00:00 | 1.632 | 47.662 | 1.167 | 89.648 | 1.147 | 62 | 1.642 | 37.134 | 8.547 | 889.1 | 16.108 | 0.18119
2020-03-02 14:15:00 | 1.344 | 179.82 | 0.927 | 213.81 | 1.222 | 170.333 | 1.772 | 280.533 | 8.774 | 889.533 | 15.979 | 0.11724
2020-03-02 14:30:00 | 2.643 | 68.533 | 2.61 | 130.753 | 2.614 | 107.3 | 3.012 | 153.567 | 9.583 | 889.6 | 14.825 | 0.1208
2020-03-02 14:45:00 | 3.014 | 321.827 | 2.76 | 325.241 | 2.498 | 292.333 | 2.989 | 329.1 | 9.183 | 889.7 | 14.332 | 0.068214
2020-03-02 15:00:00 | 2.162 | 61.315 | 1.844 | 60.82 | 1.951 | 96.133 | 2.494 | 166.733 | 9.162 | 889.233 | 13.669 | 0.50024
2020-03-02 15:15:00 | 2.81 | 63.13 | 2.578 | 153.451 | 2.566 | 247.067 | 2.579 | 254.633 | 9.349 | 889.533 | 13.947 | 2.0095
2020-03-02 15:30:00 | 3.773 | 124.299 | 3.906 | 109.678 | 4.079 | 104.402 | 4.052 | 105.367 | 9.358 | 889.467 | 15.364 | 2.9901
2020-03-02 15:45:00 | 4.138 | 56.492 | 3.9 | 47.816 | 4.147 | 49.833 | 4.306 | 42.8 | 9.099 | 889.6 | 16.099 | 2.1161
2020-03-02 16:00:00 | 2.912 | 68.702 | 2.92 | 49.919 | 3.438 | 51.433 | 3.645 | 48.733 | 8.995 | 889.1 | 16.309 | 2.4266
2020-03-02 16:15:00 | 3.744 | 50.803 | 3.492 | 39.932 | 3.463 | 45.9 | 3.625 | 44.1 | 9.12 | 889.633 | 16.723 | 3.2267
2020-03-02 16:30:00 | 3.689 | 49.033 | 3.662 | 43.054 | 3.955 | 49.367 | 3.896 | 49.233 | 9.554 | 889.6 | 16.981 | 4.5583
2020-03-02 16:45:00 | 4.354 | 30.842 | 4.274 | 31.525 | 4.377 | 38.167 | 4.365 | 36.267 | 9.699 | 889.3 | 17.067 | 3.9351
2020-03-02 17:00:00 | 4.22 | 52.245 | 4.392 | 48.27 | 4.641 | 55.833 | 4.629 | 50.467 | 9.241 | 889.567 | 17.776 | 3.6623
2020-03-02 17:15:00 | 4.165 | 70.154 | 4.305 | 65.417 | 4.28 | 71.233 | 4.362 | 69.167 | 9.408 | 889.6 | 17.797 | 3.8264
2020-03-02 17:30:00 | 3.826 | 78.807 | 3.758 | 72.337 | 4.041 | 75.433 | 4.451 | 65.633 | 9.32 | 889.667 | 18.192 | 4.5057
2020-03-02 17:45:00 | 3.586 | 50.532 | 3.528 | 47.806 | 3.823 | 55.167 | 4.057 | 49.267 | 9.166 | 889.4 | 18.184 | 4.6997
2020-03-02 18:00:00 | 3.642 | 69.96 | 3.715 | 66.342 | 3.958 | 70.433 | 4.119 | 67.2 | 9.095 | 889.533 | 18.56 | 3.3823
2020-03-02 18:15:00 | 3.207 | 44.94 | 2.93 | 45.386 | 3.253 | 52.633 | 3.568 | 52.833 | 8.895 | 889.467 | 18.536 | 2.9922
2020-03-02 18:30:00 | 3.128 | 56.872 | 3.337 | 53.685 | 3.784 | 58 | 3.897 | 54.067 | 8.591 | 889.567 | 18.707 | 2.9908
2020-03-02 18:45:00 | 3.23 | 65.988 | 3.457 | 62.318 | 3.648 | 68.833 | 3.793 | 64.3 | 8.616 | 889.333 | 19.032 | 2.7712
2020-03-02 19:00:00 | 3.632 | 64.207 | 3.401 | 59.055 | 3.205 | 56.533 | 3.49 | 51 | 8.067 | 889.6 | 19.139 | 3.4981
2020-03-02 19:15:00 | 3.593 | 72.303 | 3.532 | 67.264 | 3.717 | 71.533 | 3.857 | 66.4 | 8.287 | 889.433 | 18.869 | 2.7151
2020-03-02 19:30:00 | 3.027 | 69.882 | 2.946 | 64.419 | 3.205 | 67.267 | 3.347 | 64.567 | 8.12 | 889.367 | 19.525 | 1.3018
2020-03-02 19:45:00 | 2.804 | 71.33 | 2.803 | 66.122 | 2.986 | 70.433 | 3.162 | 65.4 | 7.086 | 889.75 | 21.6 | 0.80223
2020-03-02 20:00:00 | 2.509 | 68.7 | 2.261 | 62.987 | 2.237 | 63.767 | 2.448 | 66.4 | 7.056 | 889.483 | 22.384 | 0.75604
2020-03-02 20:15:00 | 2.147 | 75.007 | 2.421 | 65.806 | 2.666 | 71.133 | 2.93 | 69.233 | 6.483 | 889.8 | 22.965 | 0.58337
2020-03-02 20:30:00 | 1.546 | 75.147 | 1.957 | 64.836 | 2.367 | 70.367 | 2.792 | 65.7 | 5.362 | 889.733 | 24.144 | 0.39508
2020-03-02 20:45:00 | 1.279 | 86.07 | 1.8 | 73.028 | 2.102 | 78.067 | 2.472 | 71.9 | 5.55 | 889.217 | 24.827 | 0.17906
2020-03-02 21:00:00 | 1.33 | 103.083 | 2.037 | 87.271 | 2.186 | 89 | 2.449 | 79 | 5.398 | 889.783 | 25.547 | 0.26433
2020-03-02 21:15:00 | 1.116 | 137.96 | 1.881 | 93.513 | 2.297 | 93 | 2.539 | 82 | 5.163 | 889.55 | 25.979 | 0.18617
2020-03-02 21:30:00 | 1.49 | 153.2 | 1.645 | 93.256 | 1.936 | 93.1 | 2.216 | 82 | 4.702 | 889.767 | 26.501 | 0.1748
2020-03-02 21:45:00 | 1.317 | 189.087 | 0 | 93.226 | 0.177 | 93.033 | 1.558 | 82.033 | 4.364 | 889.9 | 27.445 | 0.18617
2020-03-02 22:00:00 | 1.837 | 200.02 | 0 | 93.244 | 0.346 | 93 | 1.334 | 82 | 4.181 | 889.567 | 28.123 | 0.19043
2020-03-02 22:15:00 | 2.751 | 207.307 | 1.034 | 121.289 | 1.24 | 121.667 | 1.893 | 81.967 | 3.992 | 890 | 27.952 | 0.20038
2020-03-02 22:30:00 | 3.932 | 211.573 | 1.852 | 186.427 | 1.648 | 151.5 | 2.123 | 105.3 | 3.675 | 889.917 | 27.232 | 0.2288
2020-03-02 22:45:00 | 4.003 | 212.073 | 2.045 | 186.562 | 1.714 | 164.467 | 2.056 | 141.933 | 1.88 | 889.967 | 28.928 | 0.20322
2020-03-02 23:00:00 | 5.766 | 211.54 | 3.306 | 198.629 | 2.292 | 178.633 | 2.266 | 141.967 | -0.103 | 890.167 | 30.053 | 0.21459
2020-03-02 23:15:00 | 6.291 | 209.9 | 3.996 | 204.624 | 3.228 | 202.967 | 2.667 | 187.767 | -0.578 | 889.75 | 31.552 | 0.20606
2020-03-02 23:30:00 | 6.125 | 211.727 | 3.594 | 209.18 | 2.874 | 206.367 | 2.462 | 193.067 | -0.912 | 890.15 | 32.592 | 0.25083
2020-03-02 23:45:00 | 6.557 | 205.36 | 6.662 | 224.599 | 4.87 | 232.833 | 3.416 | 215.1 | -0.732 | 890.167 | 32.624 | 6.3162