## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-03 00:00:00 | 6.141 | 216.387 | 6.388 | 222.494 | 5.589 | 228.733 | 4.72 | 225.1 | -0.962 | 889.433 | 33.232 | 9.3411
2020-03-03 00:15:00 | 6.366 | 215.533 | 6.421 | 220.664 | 5.927 | 226.7 | 5.215 | 222.667 | -0.698 | 889.817 | 32.539 | 10.559
2020-03-03 00:30:00 | 6.364 | 219.787 | 5.868 | 223.003 | 5.429 | 227.8 | 5.148 | 225.933 | 0.216 | 889.9 | 29.237 | 9.4989
2020-03-03 00:45:00 | 4.99 | 207.427 | 7.258 | 217.537 | 6.449 | 220.6 | 6.028 | 215.1 | -0.752 | 889.583 | 28.789 | 9.2942
2020-03-03 01:00:00 | 5.577 | 208.98 | 7.696 | 216.508 | 7.223 | 221.1 | 6.703 | 216 | -0.702 | 889.267 | 31.429 | 11.627
2020-03-03 01:15:00 | 6.839 | 209.16 | 7.318 | 212.914 | 6.933 | 216.6 | 6.268 | 209.967 | -0.692 | 890.033 | 32.043 | 12.5422
2020-03-03 01:30:00 | 4.981 | 200.627 | 7.233 | 207.927 | 6.756 | 211.6 | 6.225 | 206.267 | -1.359 | 889.467 | 33.605 | 11.8068
2020-03-03 01:45:00 | 5.374 | 211.26 | 7.198 | 202.615 | 6.578 | 203.467 | 6.309 | 199.9 | -0.828 | 889.633 | 33.355 | 12.1777
2020-03-03 02:00:00 | 5.744 | 209.873 | 7.267 | 204.232 | 6.92 | 205.667 | 6.59 | 198.867 | -0.795 | 889.65 | 33.093 | 13.9591
2020-03-03 02:15:00 | 5.578 | 208.673 | 7.155 | 203.934 | 6.489 | 207.5 | 6.297 | 202.9 | -0.938 | 889.567 | 33.093 | 12.4939
2020-03-03 02:30:00 | 5.739 | 209.54 | 7.814 | 209.64 | 7.247 | 212.5 | 6.716 | 209.633 | -1.526 | 889.617 | 34.027 | 14.1751
2020-03-03 02:45:00 | 5.552 | 209.033 | 7.532 | 210.207 | 7.504 | 213.833 | 6.889 | 212.833 | -1.9 | 889.633 | 33.76 | 15.7909
2020-03-03 03:00:00 | 6.059 | 209.667 | 7.135 | 207.318 | 6.975 | 211.333 | 6.83 | 211 | -1.939 | 889.667 | 33.392 | 14.6966
2020-03-03 03:15:00 | 4.969 | 206.84 | 7.407 | 208.82 | 6.938 | 211.4 | 6.492 | 207.167 | -1.919 | 889.583 | 32.96 | 18.4619
2020-03-03 03:30:00 | 6.286 | 202.767 | 7.183 | 204.95 | 7.119 | 207.133 | 6.968 | 202.433 | -1.723 | 889.65 | 31.195 | 23.7699
2020-03-03 03:45:00 | 5.692 | 196.647 | 7.088 | 205.888 | 8.945 | 212.867 | 8.358 | 210.567 | -1.942 | 889.617 | 30.245 | 28.1981
2020-03-03 04:00:00 | 5.5 | 207.32 | 8.326 | 210.203 | 8.288 | 213.567 | 7.95 | 211 | -2.679 | 889.45 | 29.467 | 29.0892
2020-03-03 04:15:00 | 6.667 | 212.467 | 7.505 | 210.244 | 7.542 | 210.8 | 7.722 | 203.6 | -1.982 | 889.667 | 27.077 | 28.2152
2020-03-03 04:30:00 | 5.268 | 210.807 | 7.057 | 208.004 | 6.968 | 211.167 | 6.636 | 206.633 | -2.197 | 889.95 | 26.085 | 24.9949
2020-03-03 04:45:00 | 5.827 | 210.527 | 7.582 | 203.346 | 7.322 | 207.333 | 6.852 | 203.6 | -2.263 | 889.583 | 29.237 | 22.9001
2020-03-03 05:00:00 | 5.496 | 212.367 | 7.008 | 209.005 | 6.567 | 213.867 | 6.529 | 211.967 | -2.173 | 889.383 | 29.531 | 18.6588
2020-03-03 05:15:00 | 4.956 | 211.14 | 6.578 | 211.785 | 6.517 | 215.167 | 6.357 | 211.867 | -2.659 | 890.1 | 28.645 | 14.5268
2020-03-03 05:30:00 | 4.115 | 211.273 | 6.468 | 213.367 | 6.29 | 217.733 | 6.025 | 212.9 | -2.569 | 889.683 | 28.96 | 12.064
2020-03-03 05:45:00 | 5.807 | 209.667 | 6.446 | 211.964 | 6.158 | 217.4 | 6.058 | 213.6 | -2.986 | 889.533 | 30.688 | 11.3108
2020-03-03 06:00:00 | 7.072 | 210.647 | 6.019 | 204.307 | 5.511 | 206.367 | 5.535 | 202.3 | -2.275 | 889.867 | 33.077 | 12.1258
2020-03-03 06:15:00 | 5.912 | 208.267 | 5.797 | 200.216 | 5.602 | 199.367 | 5.871 | 193.8 | -3.237 | 889.817 | 35.563 | 12.5749
2020-03-03 06:30:00 | 6.573 | 204.107 | 6.345 | 198.717 | 5.926 | 199.3 | 6.306 | 194.133 | -2.46 | 889.417 | 37.76 | 10.6272
2020-03-03 06:45:00 | 5.982 | 204.56 | 6.619 | 198.718 | 6.118 | 201.133 | 6.176 | 195.833 | -1.826 | 889.8 | 36.667 | 11.0124
2020-03-03 07:00:00 | 5.564 | 202.147 | 6.242 | 196.179 | 5.674 | 199.767 | 5.733 | 193.667 | -1.559 | 889.4 | 37.061 | 8.1424
2020-03-03 07:15:00 | 5.456 | 209.193 | 6.117 | 197.978 | 6.849 | 199.167 | 6.936 | 192.133 | -2.054 | 889.65 | 37.504 | 5.3982
2020-03-03 07:30:00 | 6.22 | 211.607 | 5.676 | 201.386 | 5.731 | 201.6 | 6.164 | 193.967 | -2.885 | 889.833 | 40.085 | 7.7956
2020-03-03 07:45:00 | 6.048 | 211.833 | 5.529 | 208.309 | 5.416 | 207.467 | 5.237 | 197.7 | -3.321 | 889.817 | 38.997 | 8.244
2020-03-03 08:00:00 | 6.359 | 209 | 6.803 | 210.939 | 6.577 | 213.1 | 6.514 | 208.933 | -3.773 | 889.767 | 39.488 | 8.1118
2020-03-03 08:15:00 | 6.656 | 209.1 | 6.969 | 211.986 | 6.549 | 216.733 | 6.059 | 212.967 | -3.689 | 889.917 | 39.067 | 8.2298
2020-03-03 08:30:00 | 6.736 | 210.2 | 6.938 | 211.273 | 6.57 | 213.567 | 6.421 | 212.9 | -3.438 | 889.617 | 39.472 | 9.1372
2020-03-03 08:45:00 | 6.111 | 205.6 | 6.931 | 205.303 | 6.217 | 208.2 | 6.196 | 205.267 | -3.371 | 889.8 | 39.12 | 9.3241
2020-03-03 09:00:00 | 6.271 | 209.1 | 6.732 | 207.27 | 6.134 | 209 | 5.969 | 205.6 | -2.834 | 889.317 | 38.411 | 9.14
2020-03-03 09:15:00 | 5.598 | 207.653 | 6.013 | 207.122 | 5.543 | 209.033 | 5.471 | 204.133 | -1.84 | 889.55 | 35.936 | 7.0481
2020-03-03 09:30:00 | 5.99 | 211.527 | 5.87 | 210.117 | 5.458 | 209.833 | 5.477 | 207.3 | -0.302 | 890 | 33.184 | 6.4264
2020-03-03 09:45:00 | 4.658 | 207.927 | 6.345 | 204.988 | 6.066 | 206.267 | 5.732 | 201.267 | 1.236 | 890.017 | 30.416 | 6.2395
2020-03-03 10:00:00 | 4.116 | 206.067 | 5.425 | 204.822 | 5.599 | 203.7 | 5.652 | 198.867 | 3.254 | 889.483 | 27.413 | 4.2478
2020-03-03 10:15:00 | 4.322 | 206.567 | 4.427 | 200.454 | 4.907 | 202.467 | 5.125 | 194.867 | 4.602 | 889.283 | 24.267 | 1.9398
2020-03-03 10:30:00 | 3.173 | 205.98 | 3.143 | 201.953 | 3.313 | 204.8 | 3.553 | 196.967 | 5.985 | 889.967 | 21.899 | 0.19541
2020-03-03 10:45:00 | 2.732 | 204.433 | 2.74 | 198.155 | 2.935 | 198.9 | 3.144 | 192.967 | 7.006 | 889.6 | 20.032 | 0.11937
2020-03-03 11:00:00 | 2.907 | 210.527 | 2.593 | 209.267 | 2.815 | 210.9 | 3.054 | 206.533 | 7.993 | 889.2 | 18.717 | 0.22241
2020-03-03 11:15:00 | 1.68 | 131.153 | 1.336 | 124.646 | 1.874 | 128.567 | 1.921 | 131.733 | 9.158 | 889.5 | 17.493 | 0.23236
2020-03-03 11:30:00 | 3.2 | 61.143 | 2.947 | 51.382 | 2.904 | 61.133 | 2.633 | 58.867 | 7.139 | 889.3 | 19.28 | 1.4567
2020-03-03 11:45:00 | 3.071 | 64.014 | 3.155 | 57.6 | 3.475 | 63.067 | 3.611 | 58.767 | 7.322 | 889.333 | 19.435 | 7.0602
2020-03-03 12:00:00 | 4.386 | 66.788 | 4.503 | 63.248 | 4.488 | 66.333 | 4.506 | 62.933 | 6.797 | 889.383 | 20.168 | 8.6774
2020-03-03 12:15:00 | 4.49 | 65.623 | 4.596 | 61.752 | 4.75 | 66.667 | 4.766 | 65.267 | 6.644 | 889.783 | 20.496 | 8.3193
2020-03-03 12:30:00 | 4.016 | 76.857 | 4.021 | 68.409 | 4.092 | 72.467 | 4.33 | 71.9 | 7.039 | 889.433 | 19.971 | 7.4425
2020-03-03 12:45:00 | 4.044 | 79.175 | 4.238 | 71.756 | 4.487 | 74.867 | 4.599 | 75.967 | 7.189 | 889.5 | 20.112 | 8.3534
2020-03-03 13:00:00 | 4.223 | 70.893 | 4.455 | 65.734 | 4.756 | 69.967 | 4.94 | 66.8 | 7.356 | 889.333 | 19.989 | 10.7146
2020-03-03 13:15:00 | 5.175 | 68.502 | 5.225 | 64.496 | 5.447 | 71.567 | 5.437 | 70.267 | 7.406 | 889.167 | 19.843 | 13.4937
2020-03-03 13:30:00 | 4.988 | 71.598 | 5.108 | 65.491 | 5.428 | 70.533 | 5.63 | 66.633 | 7.489 | 889.533 | 19.891 | 14.6952
2020-03-03 13:45:00 | 5.686 | 64.302 | 5.686 | 59.126 | 5.859 | 63.033 | 5.787 | 59.133 | 7.489 | 890.133 | 20.216 | 16.0887
2020-03-03 14:00:00 | 4.994 | 79.812 | 5.146 | 72.623 | 5.193 | 74.733 | 5.372 | 68.7 | 7.889 | 889.683 | 20.477 | 16.2833
2020-03-03 14:15:00 | 5.079 | 61.188 | 5.041 | 60.115 | 5.324 | 66.967 | 5.512 | 64.133 | 8.01 | 889.383 | 20.347 | 16.3381
2020-03-03 14:30:00 | 5.48 | 69.138 | 5.153 | 59.718 | 5.592 | 65.267 | 5.973 | 63.033 | 8.566 | 889.467 | 19.835 | 15.9806
2020-03-03 14:45:00 | 4.32 | 70.46 | 4.653 | 70.728 | 5.134 | 75.033 | 5.372 | 71.933 | 8.699 | 889.333 | 19.187 | 16.5647
2020-03-03 15:00:00 | 4.83 | 80.54 | 4.531 | 74.72 | 4.92 | 79.567 | 5.149 | 76.567 | 8.737 | 889.1 | 18.509 | 14.9567
2020-03-03 15:15:00 | 5.08 | 71.633 | 5.163 | 64.357 | 5.629 | 71.6 | 5.917 | 65.833 | 9.162 | 889.233 | 18.597 | 14.8118
2020-03-03 15:30:00 | 5.13 | 78.2 | 5.079 | 76.188 | 5.348 | 76.567 | 5.684 | 74.2 | 9.528 | 889.667 | 18.264 | 13.9975
2020-03-03 15:45:00 | 4.631 | 81.763 | 4.476 | 80.256 | 4.628 | 82.667 | 4.962 | 76.4 | 9.412 | 889.367 | 18.317 | 14.3549
2020-03-03 16:00:00 | 5.477 | 72.77 | 5.515 | 73.689 | 5.842 | 80.2 | 5.799 | 78.033 | 9.728 | 889.767 | 18.269 | 15.5408
2020-03-03 16:15:00 | 4.932 | 63.703 | 5.234 | 60.824 | 5.58 | 66.567 | 5.658 | 58.9 | 9.578 | 889.667 | 18.352 | 15.4108
2020-03-03 16:30:00 | 5.272 | 71.373 | 5.473 | 62.47 | 5.687 | 71.233 | 6.108 | 68.567 | 9.562 | 889.667 | 18.56 | 16.7964
2020-03-03 16:45:00 | 5.71 | 65.558 | 5.59 | 57.738 | 5.666 | 65.533 | 5.93 | 63.033 | 9.772 | 889.467 | 18.541 | 17.7116
2020-03-03 17:00:00 | 5.323 | 70.2 | 5.378 | 68.904 | 5.717 | 73.4 | 6.003 | 69.733 | 9.733 | 889.933 | 18.56 | 18.4911
2020-03-03 17:15:00 | 5.71 | 77.62 | 5.666 | 76.015 | 5.824 | 81.6 | 6.118 | 76.733 | 9.704 | 889.267 | 18.565 | 17.8658
2020-03-03 17:30:00 | 5.217 | 74.302 | 5.316 | 65.847 | 5.646 | 71.6 | 5.759 | 67.367 | 9.843 | 889.167 | 18.485 | 16.8099
2020-03-03 17:45:00 | 5.752 | 75.487 | 5.94 | 71.319 | 6.15 | 74.2 | 6.186 | 71 | 9.154 | 889.133 | 18.68 | 19.6678
2020-03-03 18:00:00 | 5.991 | 73.987 | 6.113 | 71.911 | 6.298 | 76.633 | 6.349 | 74.533 | 9.354 | 889.267 | 18.56 | 23.1922
2020-03-03 18:15:00 | 5.39 | 82.463 | 5.422 | 76.272 | 5.704 | 80.167 | 5.864 | 75.167 | 9.066 | 889.167 | 18.803 | 23.4096
2020-03-03 18:30:00 | 6.075 | 76.463 | 5.882 | 71.686 | 6.03 | 75.7 | 6.167 | 72.633 | 8.949 | 889.767 | 18.835 | 21.6659
2020-03-03 18:45:00 | 6.101 | 78.947 | 6.198 | 72.915 | 6.42 | 77.567 | 6.467 | 73.367 | 8.699 | 889.267 | 19.109 | 20.1034
2020-03-03 19:00:00 | 5.509 | 71.062 | 5.544 | 66.475 | 5.846 | 71.1 | 5.901 | 68.267 | 8.11 | 889.667 | 19.155 | 16.8696
2020-03-03 19:15:00 | 5.088 | 71.33 | 5.518 | 67.661 | 5.858 | 71.533 | 5.87 | 68.667 | 8.337 | 889.067 | 19.16 | 14.8629
2020-03-03 19:30:00 | 4.48 | 70.765 | 4.964 | 67.66 | 5.134 | 73.6 | 5.376 | 71.4 | 7.73 | 889.733 | 20.093 | 13.8013
2020-03-03 19:45:00 | 4.17 | 72.495 | 4.963 | 68.732 | 5.217 | 74.1 | 5.299 | 71.533 | 6.889 | 890.117 | 21.093 | 10.6471
2020-03-03 20:00:00 | 3.587 | 72.38 | 4.157 | 69.572 | 4.388 | 75.533 | 4.427 | 72.2 | 6.406 | 889.6 | 21.92 | 6.9444
2020-03-03 20:15:00 | 3.154 | 70.533 | 3.487 | 69.083 | 3.722 | 74.067 | 3.918 | 71 | 5.828 | 889.883 | 22.853 | 2.8359
2020-03-03 20:30:00 | 2.808 | 72.01 | 2.956 | 68.344 | 3.106 | 75.667 | 3.259 | 73.767 | 5.74 | 889.733 | 23.403 | 1.3025
2020-03-03 20:45:00 | 2.2 | 74.57 | 2.829 | 68.841 | 3.112 | 75.6 | 3.338 | 72.9 | 4.872 | 890 | 24.277 | 0.15775
2020-03-03 21:00:00 | 2.198 | 73.683 | 2.771 | 69.949 | 2.567 | 77.8 | 2.828 | 78.833 | 4.77 | 889.267 | 24.8 | 0.13998
2020-03-03 21:15:00 | 0 | 92 | 0.882 | 78.334 | 1.647 | 81.833 | 1.572 | 78.167 | 3.823 | 889.7 | 25.883 | 0.27854
2020-03-03 21:30:00 | 1.55 | 228.733 | 0 | 91.883 | 0 | 79 | 0.027 | 78.067 | 3.371 | 890.083 | 27.296 | 0.19185
2020-03-03 21:45:00 | 1.567 | 238.1 | 0 | 230.503 | 0 | 79 | 0 | 78 | 3.054 | 889.7 | 27.483 | 0.19896
2020-03-03 22:00:00 | 2.276 | 259.9 | 0.526 | 248.552 | 0 | 176.592 | 0 | 78 | 3.153 | 889.783 | 27.776 | 0.19327
2020-03-03 22:15:00 | 3.079 | 258.98 | 0.61 | 269.654 | 0 | 330.5 | 0.376 | 78.083 | 2.773 | 889.35 | 26.821 | 0.21885
2020-03-03 22:30:00 | 4.425 | 246.333 | 2.67 | 281.02 | 2.212 | 308.767 | 1.767 | 234.01 | 1.779 | 889.45 | 27.04 | 0.19967
2020-03-03 22:45:00 | 3.972 | 245.093 | 2.396 | 289.162 | 2.117 | 302.1 | 1.687 | 326.967 | 2.062 | 890.2 | 27.477 | 0.16698
2020-03-03 23:00:00 | 3.351 | 220.213 | 1.4 | 275.559 | 0 | 302 | 0 | 327 | 1.616 | 889.633 | 28.635 | 0.22596
2020-03-03 23:15:00 | 5.12 | 233.247 | 4.003 | 259.313 | 2.692 | 270.667 | 1.744 | 278.867 | 0.383 | 889.783 | 29.36 | 0.16201
2020-03-03 23:30:00 | 4.711 | 238.42 | 3.1 | 262.68 | 2.281 | 269.933 | 1.76 | 280.7 | 0.067 | 889.65 | 30.461 | 0.14638
2020-03-03 23:45:00 | 5.454 | 225.3 | 3.071 | 250.826 | 2.273 | 261.067 | 2.062 | 266.333 | -0.905 | 889.95 | 31.469 | 0.25794