## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-04 00:00:00 | 5.213 | 226.833 | 3.495 | 267.516 | 3.12 | 275.8 | 2.714 | 270.3 | -0.909 | 889.85 | 31.995 | 0.76599
2020-03-04 00:15:00 | 5.173 | 224.5 | 3.855 | 257.853 | 3.642 | 268.333 | 3.649 | 263.7 | -0.073 | 889.333 | 31.197 | 1.3373
2020-03-04 00:30:00 | 5.098 | 225.88 | 4.339 | 251.514 | 3.929 | 261.4 | 3.976 | 258.233 | -0.615 | 889.617 | 30.955 | 0.90597
2020-03-04 00:45:00 | 3.787 | 230.02 | 2.378 | 255.532 | 2.312 | 264 | 2.336 | 258 | -0.123 | 889.633 | 30.605 | 0.29773
2020-03-04 01:00:00 | 5.89 | 221.8 | 3.267 | 240.946 | 2.329 | 263.733 | 2.142 | 257.733 | -0.719 | 890.267 | 29.739 | 0.23307
2020-03-04 01:15:00 | 5.626 | 214.953 | 2.12 | 218.253 | 0.894 | 228.6 | 0.262 | 238.067 | -1.563 | 889.767 | 30.624 | 0.20322
2020-03-04 01:30:00 | 1.838 | 235.313 | 0.638 | 216.27 | 0 | 226.917 | 0 | 62 | -0.969 | 890.217 | 29.253 | 0.32331
2020-03-04 01:45:00 | 1.982 | 235.48 | 0.11 | 166.713 | 1.66 | 103.533 | 2.764 | 67.1 | -1.309 | 889.283 | 30.16 | 1.8425
2020-03-04 02:00:00 | 1.854 | 206.14 | 0.446 | 141.18 | 1.886 | 110.867 | 2.606 | 89 | 0.532 | 890.033 | 28.512 | 7.8113
2020-03-04 02:15:00 | 1.251 | 199.88 | 0.383 | 125.982 | 2.006 | 97.433 | 3.445 | 83.6 | 1.115 | 889.767 | 28.379 | 9.1372
2020-03-04 02:30:00 | 0.41 | 135.28 | 1.776 | 89.068 | 2.246 | 95.533 | 2.843 | 86.7 | 1.419 | 889.7 | 28.64 | 4.0119
2020-03-04 02:45:00 | 2.689 | 239.26 | 0.123 | 140.752 | 0.06 | 70.942 | 0.746 | 78.867 | 0.815 | 889.767 | 28.517 | 0.30554
2020-03-04 03:00:00 | 0.791 | 266.307 | 0 | 313.102 | 0 | 0 | 0.615 | 75.933 | 0.033 | 889.567 | 29.768 | 0.2217
2020-03-04 03:15:00 | 3.351 | 226.813 | 0.478 | 284.549 | 0 | 0 | 0 | 76 | -0.103 | 889.717 | 30.059 | 0.21743
2020-03-04 03:30:00 | 2.516 | 222.367 | 0.246 | 238.875 | 0.146 | 326.733 | 0 | 76.4 | -0.885 | 889.917 | 31.211 | 0.21814
2020-03-04 03:45:00 | 4.43 | 230.373 | 2.646 | 260.776 | 2.299 | 263.6 | 2.016 | 272.3 | -1.78 | 889.483 | 32.475 | 0.1947
2020-03-04 04:00:00 | 4.186 | 228.787 | 2.596 | 260.945 | 1.896 | 283.2 | 1.644 | 279.317 | -3.815 | 889.933 | 35.995 | 0.26717
2020-03-04 04:15:00 | 4.75 | 235.08 | 2.986 | 272.245 | 2.466 | 304.733 | 1.814 | 308.233 | -2.626 | 890.067 | 35.232 | 0.18404
2020-03-04 04:30:00 | 3.9 | 225.24 | 1.543 | 244.457 | 0.284 | 270.333 | 0.03 | 320.033 | -2.193 | 889.617 | 35.653 | 0.14638
2020-03-04 04:45:00 | 3.418 | 226.933 | 1.87 | 230.846 | 0.77 | 219.933 | 0 | 290 | -0.216 | 889.65 | 31.749 | 0.22809
2020-03-04 05:00:00 | 4.442 | 227.9 | 2.283 | 234.457 | 1.549 | 225.4 | 0.54 | 290.067 | 0.382 | 890.1 | 30.197 | 0.23449
2020-03-04 05:15:00 | 5.172 | 234.993 | 2.866 | 240.284 | 2.102 | 246 | 1.017 | 284.167 | -0.099 | 890.067 | 30.939 | 0.15632
2020-03-04 05:30:00 | 5.502 | 224.72 | 3.008 | 234.319 | 1.493 | 228.3 | 0.507 | 244.433 | -0.389 | 889.817 | 31.36 | 0.28849
2020-03-04 05:45:00 | 5.09 | 227.073 | 3.777 | 241.336 | 2.346 | 244 | 1.082 | 223.45 | -1.418 | 889.617 | 33.456 | 0.3226
2020-03-04 06:00:00 | 6.339 | 226.987 | 3.862 | 242.944 | 2.479 | 255.333 | 1.424 | 234.367 | -1.159 | 889.633 | 31.344 | 0.2018
2020-03-04 06:15:00 | 6.055 | 223.867 | 3.881 | 233.242 | 2.608 | 244.2 | 1.377 | 248.033 | -2.615 | 889.733 | 36.661 | 0.25936
2020-03-04 06:30:00 | 4.579 | 218.413 | 2.454 | 223.684 | 1.652 | 225.767 | 0.635 | 217 | 1.835 | 889.75 | 31.787 | 0.23164
2020-03-04 06:45:00 | 5.343 | 216.26 | 2.743 | 231.541 | 1.714 | 241 | 1.077 | 219.667 | 0.283 | 889.55 | 30.784 | 0.20322
2020-03-04 07:00:00 | 6.1 | 216.273 | 3.378 | 227.436 | 2.486 | 248.167 | 2.314 | 255 | -0.499 | 889.583 | 34.528 | 0.25367
2020-03-04 07:15:00 | 6.118 | 219.68 | 4.174 | 228.754 | 3.421 | 240.333 | 3.064 | 243.467 | -1.559 | 889.75 | 37.381 | 0.5315
2020-03-04 07:30:00 | 5.372 | 226.553 | 3.492 | 227.066 | 3.138 | 236.633 | 3.127 | 236.267 | -1.792 | 889.683 | 37.755 | 0.72336
2020-03-04 07:45:00 | 6.291 | 214.673 | 2.914 | 227.183 | 2.695 | 236.5 | 2.786 | 234.3 | -0.955 | 890.15 | 36.24 | 2.2838
2020-03-04 08:00:00 | 4.782 | 213.833 | 5.102 | 233.843 | 4.435 | 246.3 | 3.865 | 244.367 | -3.338 | 889.9 | 39.979 | 4.8219
2020-03-04 08:15:00 | 4.04 | 230.447 | 4.544 | 241.985 | 5.231 | 264 | 4.766 | 263.933 | -4.41 | 889.633 | 43.771 | 4.478
2020-03-04 08:30:00 | 3.315 | 281.067 | 3.893 | 275.702 | 4.35 | 270.35 | 4.877 | 261.933 | -3.756 | 889.642 | 44.293 | 4.9022
2020-03-04 08:45:00 | 2.789 | 251.467 | 2.518 | 248.097 | 3.8 | 248.267 | 4.577 | 254.933 | -3.806 | 889.942 | 45.157 | 4.0879
2020-03-04 09:00:00 | 3.154 | 258.113 | 2.766 | 246.517 | 3.109 | 241.55 | 5.232 | 246.6 | -3.675 | 889.975 | 44.859 | 6.9003
2020-03-04 09:15:00 | 5.596 | 237.107 | 6.4 | 261.869 | 5.929 | 273.2 | 5.554 | 263.05 | -3.481 | 890.208 | 46.48 | 12.3447
2020-03-04 09:30:00 | 4.895 | 250.573 | 5.894 | 260.359 | 5.536 | 272.033 | 5.504 | 273.233 | -1.035 | 889.783 | 40.752 | 13.6216
2020-03-04 09:45:00 | 4.535 | 237.12 | 5.802 | 263.4 | 5.729 | 274.5 | 5.995 | 272 | 0.249 | 889.883 | 36.76 | 13.6557
2020-03-04 10:00:00 | 4.687 | 250.347 | 5.662 | 272.77 | 5.833 | 278.3 | 6.228 | 275.4 | 0.868 | 889.4 | 33.04 | 14.632
2020-03-04 10:15:00 | 3.948 | 259.287 | 4.109 | 269.982 | 4.322 | 273.3 | 4.583 | 268.217 | 1.968 | 889.933 | 28.853 | 11.1396
2020-03-04 10:30:00 | 5.957 | 274.693 | 6.007 | 286.333 | 5.888 | 290.233 | 6.031 | 285.933 | 1.779 | 890.017 | 28.299 | 11.4181
2020-03-04 10:45:00 | 5.388 | 282.607 | 5.536 | 292.436 | 5.61 | 297.5 | 5.901 | 295.533 | 2.148 | 889.8 | 28.211 | 9.2025
2020-03-04 11:00:00 | 6.293 | 285.353 | 6.663 | 295.53 | 6.678 | 299.567 | 6.685 | 297.067 | 2.712 | 889.767 | 28.437 | 11.7066
2020-03-04 11:15:00 | 5.728 | 299.187 | 5.859 | 301.812 | 5.879 | 303.367 | 6.152 | 298.033 | 2.639 | 890.017 | 30.795 | 15.6666
2020-03-04 11:30:00 | 6.706 | 303.013 | 6.529 | 307.571 | 6.735 | 311.233 | 6.964 | 307.767 | 2.879 | 889.667 | 35.955 | 24.1806
2020-03-04 11:45:00 | 7.302 | 302.967 | 7.616 | 307.845 | 8.182 | 311.9 | 8.405 | 309.467 | 3.371 | 889.75 | 39.251 | 26.5709
2020-03-04 12:00:00 | 7.594 | 299.5 | 7.962 | 307.205 | 8.19 | 311.333 | 8.392 | 309.967 | 3.488 | 890.167 | 39.275 | 29.9063
2020-03-04 12:15:00 | 8.58 | 317.333 | 8.752 | 312.708 | 8.922 | 317.533 | 9.356 | 315.867 | 3.322 | 890.017 | 41.043 | 35.2739
2020-03-04 12:30:00 | 8.365 | 311.08 | 8.73 | 308.497 | 8.908 | 312.7 | 8.969 | 309 | 3.843 | 889.867 | 39.907 | 38.5923
2020-03-04 12:45:00 | 8.219 | 313.987 | 8.808 | 316.93 | 9.005 | 320.167 | 8.928 | 316.1 | 3.919 | 889.633 | 40.12 | 45.7847
2020-03-04 13:00:00 | 9.549 | 321.093 | 9.578 | 319.142 | 9.831 | 323.4 | 10.175 | 321.967 | 3.796 | 889.892 | 43.621 | 49.4462
2020-03-04 13:15:00 | 10.23 | 325.213 | 10.743 | 320.496 | 11.02 | 324.2 | 11.245 | 322.6 | 4.574 | 889.625 | 43.019 | 48.32
2020-03-04 13:30:00 | 11.142 | 313.747 | 11.402 | 313.673 | 11.738 | 318.3 | 11.808 | 315.467 | 4.358 | 889.6 | 43.221 | 44.2669
2020-03-04 13:45:00 | 10.699 | 311.067 | 11.533 | 310.326 | 11.892 | 314.433 | 12.405 | 313.067 | 4.156 | 890.15 | 41.571 | 42.5693
2020-03-04 14:00:00 | 11.953 | 310.427 | 12.335 | 309.783 | 12.76 | 313.233 | 13.13 | 311.1 | 4.128 | 889.85 | 38.845 | 41.927
2020-03-04 14:15:00 | 10.757 | 306.107 | 10.947 | 308.126 | 11.229 | 313.933 | 11.534 | 311.233 | 4.066 | 890.067 | 36.48 | 41.2946
2020-03-04 14:30:00 | 9.555 | 319.52 | 9.934 | 318.723 | 9.837 | 318.733 | 10.173 | 316.867 | 4.5 | 889.967 | 37.528 | 39.4094
2020-03-04 14:45:00 | 9.502 | 322.28 | 10.095 | 321.8 | 10.279 | 325.067 | 10.409 | 321.867 | 4.291 | 890.158 | 41.584 | 38.2839
2020-03-04 15:00:00 | 9.708 | 320.76 | 10.062 | 317.857 | 9.989 | 323.467 | 10.109 | 323.233 | 4.13 | 889.683 | 41.085 | 37.9983
2020-03-04 15:15:00 | 8.58 | 326.133 | 8.958 | 323.745 | 9.262 | 327.467 | 9.438 | 325.4 | 3.706 | 890.133 | 46.048 | 39.7711
2020-03-04 15:30:00 | 9.754 | 325.44 | 10.076 | 324.479 | 10.524 | 329.333 | 10.738 | 329.333 | 4.58 | 890.208 | 45.531 | 40.8142
2020-03-04 15:45:00 | 9.402 | 333.6 | 9.768 | 327.978 | 9.844 | 333.9 | 10.118 | 331.767 | 4.702 | 889.658 | 44.944 | 41.1965
2020-03-04 16:00:00 | 9.394 | 322.093 | 9.663 | 320.355 | 10.047 | 325.8 | 10.225 | 325.033 | 4.992 | 889.975 | 46.16 | 40.692
2020-03-04 16:15:00 | 10.521 | 330.333 | 10.958 | 324.49 | 11.219 | 328.8 | 11.54 | 326.2 | 4.785 | 890.158 | 44.128 | 40.7823
2020-03-04 16:30:00 | 11.085 | 326.8 | 11.766 | 325.886 | 12.018 | 330.267 | 12.178 | 328.567 | 4.835 | 889.808 | 44.411 | 47.166
2020-03-04 16:45:00 | 9.912 | 325.6 | 10.356 | 320.672 | 10.69 | 325.733 | 10.963 | 324.033 | 3.84 | 889.808 | 47.637 | 61.0093
2020-03-04 17:00:00 | 10.122 | 324.107 | 10.716 | 320.922 | 11.212 | 325.167 | 11.532 | 325.067 | 4.166 | 889.5 | 46.325 | 76.209
2020-03-04 17:15:00 | 9.611 | 331.133 | 9.614 | 325.521 | 10.004 | 327.833 | 10.253 | 326.567 | 4.405 | 889.942 | 46.203 | 69.5211
2020-03-04 17:30:00 | 9.55 | 324.947 | 9.801 | 319.346 | 10.215 | 323 | 10.344 | 322.367 | 4.341 | 890.05 | 50.075 | 68.2613
2020-03-04 17:45:00 | 9.815 | 316.333 | 10.461 | 314.294 | 10.829 | 316.733 | 11.05 | 314.533 | 4.636 | 889.992 | 52.528 | 71.3046
2020-03-04 18:00:00 | 9.918 | 293.347 | 10.402 | 299.614 | 10.806 | 304.267 | 11.262 | 301.8 | 4.772 | 889.675 | 46.267 | 71.5306
2020-03-04 18:15:00 | 8.438 | 285.6 | 9.221 | 297.255 | 9.441 | 302.5 | 9.896 | 299.733 | 5.227 | 889.875 | 44.368 | 63.7606
2020-03-04 18:30:00 | 8.595 | 283.847 | 9.064 | 292.664 | 9.192 | 297.433 | 9.523 | 294.267 | 4.428 | 890.008 | 47.819 | 51.8515
2020-03-04 18:45:00 | 5.976 | 275.033 | 6.183 | 288.433 | 6.525 | 291.667 | 6.817 | 290.033 | 4.504 | 890.183 | 43.819 | 29.1546
2020-03-04 19:00:00 | 5.553 | 288.52 | 5.721 | 294.304 | 5.758 | 298.7 | 6.072 | 294.867 | 4.471 | 889.925 | 42.187 | 22.6038
2020-03-04 19:15:00 | 5.305 | 282.367 | 5.82 | 289.732 | 5.868 | 294.733 | 6.272 | 291.6 | 4.107 | 890.058 | 44.32 | 19.9207
2020-03-04 19:30:00 | 6.179 | 276.673 | 6.878 | 291.404 | 7.13 | 296.9 | 7.638 | 292.567 | 4.076 | 889.8 | 48.848 | 27.6787
2020-03-04 19:45:00 | 7.335 | 266.687 | 8.37 | 287.526 | 8.82 | 290.933 | 9.148 | 288.233 | 3.11 | 889.792 | 53.52 | 35.7614
2020-03-04 20:00:00 | 6.18 | 277.86 | 6.872 | 288.246 | 7.144 | 289.867 | 7.669 | 287.1 | 2.098 | 889.942 | 56.309 | 35.6775
2020-03-04 20:15:00 | 9.014 | 238.573 | 10.284 | 276.63 | 10.546 | 277.667 | 10.734 | 275.233 | 1.802 | 889.667 | 57.093 | 61.2402
2020-03-04 20:30:00 | 9.204 | 238.147 | 9.948 | 270.504 | 10.123 | 273.233 | 10.234 | 269.6 | 1.586 | 889.8 | 57.525 | 74.736
2020-03-04 20:45:00 | 6.059 | 242.647 | 6.899 | 266.153 | 7.328 | 269.833 | 7.614 | 263.767 | 1.392 | 889.5 | 56.757 | 54.5488
2020-03-04 21:00:00 | 5.561 | 239.033 | 6.59 | 260.336 | 7.214 | 265.033 | 7.776 | 259.717 | 1.048 | 889.692 | 56.24 | 44.9504
2020-03-04 21:15:00 | 6.459 | 233.453 | 7.586 | 254.54 | 8.104 | 260.55 | 8.563 | 258.55 | 0.465 | 890.108 | 56.981 | 50.4296
2020-03-04 21:30:00 | 5.978 | 231.487 | 7.149 | 251.084 | 7.774 | 255 | 8.239 | 251.433 | 0.432 | 890.467 | 57.808 | 44.684
2020-03-04 21:45:00 | 5.142 | 222.333 | 6.282 | 239.064 | 7.145 | 245.567 | 7.549 | 240.867 | 0.349 | 889.983 | 58.336 | 36.1174
2020-03-04 22:00:00 | 6.397 | 230.713 | 7.996 | 244.785 | 8.781 | 248.4 | 8.518 | 244.133 | 0.499 | 890.142 | 56.757 | 22.3651
2020-03-04 22:15:00 | 3.908 | 338.733 | 4.365 | 327.287 | 3.921 | 327.2 | 3.596 | 314.8 | 0.246 | 889.892 | 58.213 | 15.1145
2020-03-04 22:30:00 | 5.592 | 271.167 | 7.192 | 289.639 | 8.234 | 292.3 | 9.146 | 288.433 | -0.1 | 890.258 | 62.347 | 36.2872
2020-03-04 22:45:00 | 8.677 | 236.86 | 9.969 | 270.181 | 10.411 | 272.533 | 10.804 | 268.167 | 0.017 | 889.683 | 64.869 | 66.8799
2020-03-04 23:00:00 | 6.295 | 239.533 | 6.788 | 274.125 | 7.353 | 277.833 | 7.642 | 274.5 | -0.518 | 890.008 | 67.259 | 43.1079
2020-03-04 23:15:00 | 6.082 | 234.667 | 7.275 | 275.178 | 8.031 | 278.933 | 8.467 | 277.733 | -0.628 | 889.875 | 70.683 | 40.238
2020-03-04 23:30:00 | 7.477 | 224.167 | 8.415 | 261.313 | 8.81 | 265.6 | 8.791 | 261.883 | -1.059 | 890.183 | 69.845 | 63.8814
2020-03-04 23:45:00 | 5.706 | 240.213 | 6.322 | 262.378 | 6.556 | 263.4 | 6.685 | 260.817 | -1.249 | 889.792 | 70.347 | 48.3086