## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-05 00:00:00 | 5.329 | 261.533 | 6.18 | 272.67 | 6.565 | 277 | 6.91 | 272.4 | -1.236 | 889.558 | 71.616 | 40.6124
2020-03-05 00:15:00 | 6.268 | 249.333 | 7.216 | 273.572 | 7.831 | 277.8 | 8.218 | 275.2 | -1.499 | 889.783 | 73.397 | 33.8052
2020-03-05 00:30:00 | 7.553 | 240.907 | 8.721 | 270.429 | 9.296 | 274.967 | 9.676 | 272.633 | -1.216 | 889.458 | 72.629 | 32.7656
2020-03-05 00:45:00 | 6.352 | 238.04 | 7.818 | 268.882 | 8.511 | 273.6 | 8.865 | 268.4 | -1.282 | 889.992 | 72.251 | 39.111
2020-03-05 01:00:00 | 8.191 | 226.72 | 9.374 | 269.562 | 9.794 | 273.133 | 9.745 | 271.233 | -1.015 | 889.525 | 71.984 | 60.1878
2020-03-05 01:15:00 | 7.996 | 238.34 | 9.148 | 272.132 | 9.547 | 275.633 | 9.782 | 273 | -0.679 | 889.917 | 71.749 | 55.6288
2020-03-05 01:30:00 | 7.833 | 239.86 | 8.832 | 270.626 | 9.347 | 274.833 | 9.683 | 270.9 | -0.749 | 889.775 | 71.893 | 47.652
2020-03-05 01:45:00 | 6.336 | 249.54 | 6.875 | 278.989 | 7.109 | 280.333 | 7.54 | 278.8 | -0.798 | 889.533 | 71.616 | 43.0241
2020-03-05 02:00:00 | 7.398 | 243.713 | 8.121 | 269.663 | 8.634 | 274.4 | 8.677 | 271.2 | -0.545 | 889.533 | 72.891 | 55.5947
2020-03-05 02:15:00 | 8.591 | 233.52 | 9.711 | 261.911 | 10.157 | 265.533 | 10.298 | 260.917 | -0.638 | 889.517 | 74.064 | 59.3849
2020-03-05 02:30:00 | 7.508 | 224.887 | 8.449 | 248.594 | 8.838 | 252.883 | 8.898 | 249.85 | -0.179 | 889.658 | 73.579 | 57.6362
2020-03-05 02:45:00 | 4.981 | 237.78 | 5.35 | 247.722 | 5.795 | 252.233 | 5.81 | 247.867 | 0.017 | 889.833 | 72.651 | 40.017
2020-03-05 03:00:00 | 5.224 | 245.42 | 5.914 | 270.542 | 6.032 | 273.733 | 6.025 | 269.233 | -0.189 | 889.583 | 71.179 | 28.5442
2020-03-05 03:15:00 | 4.639 | 248.367 | 5.162 | 267.483 | 5.464 | 271.633 | 5.526 | 267.45 | -0.099 | 889.742 | 70.213 | 26.5446
2020-03-05 03:30:00 | 4.604 | 256.94 | 5.301 | 269.602 | 5.781 | 273.1 | 5.985 | 267.417 | 0.067 | 889.683 | 69.851 | 37.0632
2020-03-05 03:45:00 | 2.794 | 330.973 | 3.288 | 326.622 | 3.221 | 325.3 | 3.134 | 307.8 | -0.405 | 889.517 | 71.365 | 22.4724
2020-03-05 04:00:00 | 3.466 | 343.667 | 3.509 | 333.682 | 3.552 | 333.633 | 3.614 | 330.067 | -0.765 | 889.483 | 76.864 | 6.8207
2020-03-05 04:15:00 | 1.104 | 303.787 | 1.099 | 328.66 | 1.29 | 299.833 | 1.892 | 283.683 | -1.072 | 890.158 | 77.925 | 3.221
2020-03-05 04:30:00 | 5.545 | 254.313 | 6.501 | 280.264 | 6.806 | 283.367 | 7.175 | 281.567 | -0.425 | 890.158 | 74.192 | 19.2649
2020-03-05 04:45:00 | 5.356 | 252.813 | 6.23 | 279.91 | 6.538 | 284.033 | 6.873 | 282 | -0.213 | 889.617 | 72.037 | 27.403
2020-03-05 05:00:00 | 5.914 | 244.767 | 6.898 | 277.087 | 7.507 | 279.833 | 7.776 | 277.767 | -0.638 | 889.75 | 71.904 | 40.6082
2020-03-05 05:15:00 | 10.148 | 242.713 | 11.408 | 277.827 | 11.756 | 280.167 | 12.152 | 276.767 | -0.492 | 889.883 | 67.312 | 65.5803
2020-03-05 05:30:00 | 7.318 | 256.72 | 7.826 | 280.981 | 7.892 | 285.7 | 8.58 | 283.5 | -0.638 | 889.917 | 68.576 | 56.5711
2020-03-05 05:45:00 | 6.201 | 296.4 | 7.148 | 301.924 | 7.249 | 303.767 | 7.596 | 302.233 | -1.032 | 889.75 | 71.877 | 47.3458
2020-03-05 06:00:00 | 5.439 | 257.34 | 6.383 | 282.44 | 6.612 | 283.767 | 6.984 | 279.633 | -1.346 | 889.842 | 72.587 | 42.3981
2020-03-05 06:15:00 | 6.232 | 234.407 | 7.089 | 266.654 | 7.647 | 271.467 | 7.806 | 268.35 | -1.048 | 889.683 | 70.971 | 47.306
2020-03-05 06:30:00 | 7.571 | 230.773 | 8.08 | 268 | 8.102 | 273.833 | 8.421 | 275.8 | -1.356 | 889.992 | 70.128 | 49.2906
2020-03-05 06:45:00 | 6.613 | 239.233 | 7.588 | 267.216 | 7.849 | 271.1 | 8.096 | 268.867 | -1.626 | 889.742 | 69.099 | 36.4471
2020-03-05 07:00:00 | 5.322 | 231.293 | 6.427 | 261.602 | 7.076 | 267.633 | 7.282 | 265.283 | -1.689 | 889.658 | 69.568 | 25.9023
2020-03-05 07:15:00 | 4.496 | 230.113 | 5.335 | 253.124 | 5.879 | 257.9 | 6.192 | 257.617 | -2.205 | 889.533 | 69.925 | 21.6147
2020-03-05 07:30:00 | 4.189 | 241.553 | 5.31 | 268.615 | 6.112 | 275.933 | 6.488 | 275.9 | -2.332 | 889.533 | 69.269 | 21.9736
2020-03-05 07:45:00 | 5.68 | 259.893 | 7.193 | 282.903 | 8.234 | 285.767 | 9.069 | 285 | -2.434 | 889.825 | 67.744 | 33.511
2020-03-05 08:00:00 | 7.427 | 255.8 | 9.212 | 281.65 | 9.986 | 285.733 | 10.599 | 283.933 | -2.659 | 889.925 | 67.488 | 44.6122
2020-03-05 08:15:00 | 5.46 | 269.913 | 6.998 | 282.752 | 7.445 | 283.867 | 8.055 | 281 | -2.781 | 890.183 | 68.171 | 35.8431
2020-03-05 08:30:00 | 4.462 | 278.947 | 5.685 | 289.058 | 6.212 | 290.233 | 7.259 | 285 | -3.18 | 890.017 | 69.371 | 27.9949
2020-03-05 08:45:00 | 4.769 | 243.833 | 6.865 | 275.358 | 7.665 | 278.7 | 8.314 | 275.867 | -3.287 | 889.75 | 69.125 | 41.2441
2020-03-05 09:00:00 | 7.405 | 222.993 | 8.652 | 266.233 | 9.223 | 270.133 | 9.521 | 265.767 | -2.395 | 889.567 | 64.139 | 54.6227
2020-03-05 09:15:00 | 7.133 | 222.94 | 8.349 | 257.288 | 9.123 | 264.4 | 9.566 | 259.85 | -1.436 | 890.125 | 60.011 | 57.1416
2020-03-05 09:30:00 | 8.273 | 226.1 | 9.277 | 262.047 | 9.398 | 264.5 | 9.665 | 260.683 | -1.132 | 890.317 | 56.373 | 48.4614
2020-03-05 09:45:00 | 10.022 | 232.567 | 10.916 | 265.036 | 11.235 | 268.033 | 11.354 | 264.017 | -0.605 | 889.833 | 53.552 | 39.1615
2020-03-05 10:00:00 | 10.769 | 221.533 | 11.861 | 266.806 | 12.361 | 270.7 | 12.384 | 265.433 | -0.922 | 889.908 | 52.891 | 32.8445
2020-03-05 10:15:00 | 11.353 | 218.68 | 12.489 | 267.148 | 12.94 | 269.467 | 13.006 | 266.033 | -0.538 | 889.85 | 52.107 | 50.2506
2020-03-05 10:30:00 | 12.468 | 217.133 | 13.462 | 264.529 | 13.638 | 267.933 | 13.555 | 264.533 | -0.236 | 889.9 | 51.499 | 56.5227
2020-03-05 10:45:00 | 11.498 | 227.907 | 12.538 | 274.858 | 12.83 | 275.767 | 12.828 | 273.533 | -0.369 | 889.958 | 51.237 | 53.4588
2020-03-05 11:00:00 | 12.235 | 219.853 | 13.289 | 268.852 | 13.328 | 272.333 | 13.294 | 268.667 | -0.103 | 889.608 | 50.005 | 52.8768
2020-03-05 11:15:00 | 11.333 | 236.407 | 12.113 | 276.034 | 12.025 | 279.833 | 12.138 | 277.3 | 0.067 | 890.008 | 48.197 | 52.6303
2020-03-05 11:30:00 | 10.089 | 242.66 | 10.966 | 276.855 | 10.919 | 279.733 | 10.957 | 277.133 | 0.333 | 889.975 | 46.613 | 52.7645
2020-03-05 11:45:00 | 9.617 | 242.593 | 10.84 | 276.249 | 10.874 | 278.6 | 11.131 | 277.067 | 0.382 | 889.975 | 45.835 | 52.0327
2020-03-05 12:00:00 | 11.053 | 246.487 | 11.544 | 281.079 | 11.93 | 284.5 | 12.164 | 281.2 | 0.665 | 890.075 | 44.939 | 50.7991
2020-03-05 12:15:00 | 10.05 | 259.567 | 10.411 | 290.676 | 10.605 | 295.433 | 11.16 | 294.1 | 0.748 | 889.658 | 43.867 | 51.0912
2020-03-05 12:30:00 | 10.263 | 274.507 | 10.73 | 296.994 | 10.983 | 299.433 | 11.473 | 298.667 | 1.279 | 889.925 | 41.696 | 50.8254
2020-03-05 12:45:00 | 10.473 | 287.753 | 10.874 | 296.251 | 10.948 | 299.5 | 11.492 | 295.5 | 1.269 | 889.858 | 41.301 | 51.7527
2020-03-05 13:00:00 | 10.456 | 281.16 | 10.925 | 293.19 | 11.185 | 297.533 | 11.716 | 294.9 | 1.499 | 889.517 | 38.643 | 51.5033
2020-03-05 13:15:00 | 10.673 | 246.653 | 11.039 | 281.271 | 11.087 | 285.1 | 11.279 | 283.967 | 1.499 | 890.083 | 39.453 | 51.1807
2020-03-05 13:30:00 | 10.026 | 280.993 | 10.509 | 294.486 | 10.662 | 298.833 | 11.098 | 296.467 | 1.68 | 889.5 | 36.963 | 51.9453
2020-03-05 13:45:00 | 8.94 | 259.287 | 9.461 | 287.879 | 10.009 | 292.667 | 10.209 | 288.233 | 2.111 | 889.383 | 35.731 | 52.2259
2020-03-05 14:00:00 | 9.735 | 272.787 | 9.985 | 292.75 | 10.199 | 294.067 | 10.519 | 290.767 | 2.578 | 889.633 | 33.197 | 52.6473
2020-03-05 14:15:00 | 8.243 | 238.093 | 8.702 | 270.23 | 8.924 | 273.967 | 9.272 | 276 | 2.74 | 889.9 | 32.837 | 52.1961
2020-03-05 14:30:00 | 7.816 | 243.667 | 8.617 | 278.293 | 8.669 | 284 | 9.036 | 281.1 | 3.227 | 889.483 | 29.309 | 54.7136
2020-03-05 14:45:00 | 8.31 | 255.547 | 9.089 | 283.404 | 9.104 | 287.867 | 9.301 | 284.983 | 3.928 | 889.8 | 28.784 | 55.6928
2020-03-05 15:00:00 | 8.565 | 297.933 | 8.97 | 303.536 | 9.199 | 306.3 | 9.506 | 301 | 3.337 | 889.267 | 28.512 | 56.9057
2020-03-05 15:15:00 | 9.141 | 272.767 | 9.35 | 290.293 | 9.817 | 293.267 | 10.052 | 292.1 | 3.538 | 889.7 | 28.547 | 55.5841
2020-03-05 15:30:00 | 9.938 | 228.56 | 10.52 | 272.62 | 10.614 | 275.8 | 10.47 | 273.5 | 4.032 | 889.783 | 28.864 | 57.0819
2020-03-05 15:45:00 | 8.234 | 237.733 | 8.733 | 277.93 | 8.788 | 281.933 | 8.948 | 281.9 | 3.304 | 889.483 | 28.277 | 44.4111
2020-03-05 16:00:00 | 6.261 | 248.787 | 6.785 | 276.8 | 6.844 | 280.667 | 7.258 | 275.05 | 4.084 | 889.5 | 27.539 | 41.2178
2020-03-05 16:15:00 | 6.548 | 272 | 7.107 | 290.026 | 7.426 | 296.367 | 7.704 | 295.5 | 4.226 | 889.283 | 25.627 | 36.3725
2020-03-05 16:30:00 | 6.839 | 293.48 | 6.993 | 299.323 | 7.142 | 303 | 7.408 | 301.267 | 4.285 | 889.933 | 25.477 | 30.5082
2020-03-05 16:45:00 | 6.903 | 304.907 | 7.106 | 304.62 | 7.188 | 308.733 | 7.302 | 306.3 | 4.63 | 889.7 | 24.424 | 27.344
2020-03-05 17:00:00 | 6.01 | 290.213 | 6.252 | 303.196 | 6.38 | 308.5 | 6.953 | 305.6 | 4.952 | 889.867 | 23.685 | 26.2846
2020-03-05 17:15:00 | 5.632 | 274.273 | 6.141 | 290.014 | 6.19 | 295.167 | 6.625 | 293.733 | 4.483 | 890.05 | 23.853 | 19.7069
2020-03-05 17:30:00 | 4.681 | 289.613 | 4.927 | 294.035 | 5.133 | 299.833 | 5.344 | 294.717 | 4.835 | 889.583 | 23.461 | 16.4859
2020-03-05 17:45:00 | 5.645 | 269.24 | 5.728 | 285.927 | 5.94 | 289.767 | 6.342 | 290.2 | 4.693 | 889.75 | 24.379 | 12.646
2020-03-05 18:00:00 | 5.111 | 278.407 | 4.962 | 286.35 | 4.98 | 293.2 | 5.269 | 291.367 | 4.508 | 889.617 | 25.448 | 8.3698
2020-03-05 18:15:00 | 4.721 | 297.6 | 4.694 | 301.35 | 4.704 | 304.167 | 4.864 | 302.7 | 4.332 | 889.517 | 25.48 | 7.6052
2020-03-05 18:30:00 | 3.225 | 283.993 | 3.203 | 283.736 | 3.441 | 283.967 | 3.59 | 282.833 | 4.414 | 889.517 | 25.752 | 4.9725
2020-03-05 18:45:00 | 4.192 | 270.06 | 4.485 | 282.793 | 4.386 | 284.4 | 4.396 | 279.3 | 4.338 | 889.817 | 25.667 | 3.5912
2020-03-05 19:00:00 | 4.189 | 283.133 | 4.316 | 285.392 | 4.286 | 288.567 | 4.405 | 285 | 4.226 | 889.683 | 24.608 | 2.0258
2020-03-05 19:15:00 | 3.046 | 289.32 | 2.985 | 293.58 | 3.074 | 297.833 | 3.34 | 295.367 | 4.368 | 889.95 | 23.864 | 1.4211
2020-03-05 19:30:00 | 2.946 | 321.253 | 3.026 | 313.628 | 3.048 | 311.467 | 3.448 | 306.433 | 4.201 | 889.783 | 24.336 | 1.1966
2020-03-05 19:45:00 | 2.413 | 307.667 | 3.095 | 306.925 | 3.231 | 312 | 3.644 | 311.3 | 3.221 | 889.633 | 26.309 | 1.2868
2020-03-05 20:00:00 | 2.455 | 333.667 | 2.606 | 322.261 | 2.898 | 323.2 | 3.28 | 323.467 | 3.169 | 889.8 | 27.68 | 1.7437
2020-03-05 20:15:00 | 2.623 | 333.427 | 3.165 | 332.369 | 3.36 | 340.367 | 3.523 | 336.6 | 2.761 | 889.7 | 28.885 | 2.649
2020-03-05 20:30:00 | 2.447 | 330.64 | 2.77 | 328.686 | 3.051 | 331 | 3.441 | 332.067 | 2.048 | 889.867 | 29.979 | 1.5767
2020-03-05 20:45:00 | 2.252 | 316.133 | 2.467 | 324.423 | 2.611 | 330.333 | 3.244 | 332.733 | 1.8 | 889.283 | 31.171 | 1.2279
2020-03-05 21:00:00 | 2.232 | 300.08 | 2.514 | 316.856 | 2.643 | 325.5 | 3.181 | 326.9 | 1.68 | 889.933 | 31.787 | 0.93439
2020-03-05 21:15:00 | 2.627 | 274.18 | 2.089 | 303.748 | 2.09 | 315.933 | 2.794 | 319.2 | 1.115 | 889.65 | 31.96 | 0.28636
2020-03-05 21:30:00 | 2.963 | 227.8 | 1.216 | 275.077 | 0.087 | 306 | 1.571 | 306.333 | 0.449 | 890.117 | 32.517 | 0.24728
2020-03-05 21:45:00 | 3.629 | 220.927 | 1.107 | 245.149 | 0.333 | 278 | 1.633 | 306.133 | -0.119 | 889.617 | 33.776 | 0.20749
2020-03-05 22:00:00 | 3.9 | 210.827 | 2.407 | 213.999 | 0.503 | 240 | 1.14 | 305.867 | -0.066 | 889.817 | 33.771 | 0.20749
2020-03-05 22:15:00 | 3.709 | 205.773 | 2.4 | 201.206 | 1.591 | 210.1 | 1.068 | 306 | 0.815 | 890.067 | 32.507 | 0.20891
2020-03-05 22:30:00 | 3.208 | 214.473 | 1.723 | 200.532 | 0.726 | 210.067 | 1.259 | 306.067 | 0.117 | 890.033 | 32.491 | 0.21175
2020-03-05 22:45:00 | 4.165 | 220.64 | 1.214 | 208.199 | 0 | 210.067 | 1.145 | 306 | -0.126 | 889.9 | 31.867 | 0.20749
2020-03-05 23:00:00 | 4.423 | 215.26 | 1.448 | 212.628 | 0.71 | 210.267 | 1.218 | 306 | -0.582 | 890 | 34.432 | 0.22596
2020-03-05 23:15:00 | 4.41 | 211.893 | 2.93 | 206.484 | 2.42 | 209.033 | 2.299 | 212.033 | -1.543 | 889.833 | 38.688 | 0.23307
2020-03-05 23:30:00 | 3.617 | 210.28 | 2.633 | 193.078 | 2.296 | 189.7 | 2.096 | 200 | -1.376 | 889.65 | 39.189 | 0.22738
2020-03-05 23:45:00 | 3.944 | 209.313 | 2.886 | 183.413 | 2.092 | 172.1 | 1.727 | 178.033 | -2.356 | 890 | 39.259 | 0.23164