## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-06 00:00:00 | 4.177 | 199.907 | 2.428 | 166.608 | 2.159 | 150.2 | 1.9 | 159 | -2.81 | 889.717 | 39.467 | 0.22383
2020-03-06 00:15:00 | 3.583 | 197.66 | 1.239 | 145.444 | 1.849 | 141 | 2.334 | 147.667 | -1.933 | 889.8 | 37.376 | 0.16983
2020-03-06 00:30:00 | 3.101 | 197.673 | 1.746 | 150.944 | 2.519 | 137.567 | 2.888 | 131 | -1.165 | 889.75 | 34.171 | 0.23093
2020-03-06 00:45:00 | 2.165 | 189.187 | 0.483 | 149.38 | 1.68 | 144.467 | 2.397 | 124.533 | -0.402 | 889.917 | 33.701 | 0.23022
2020-03-06 01:00:00 | 3.169 | 192.72 | 2.258 | 148.039 | 1.596 | 143.567 | 2.072 | 134.667 | -1.586 | 889.633 | 34.064 | 0.18119
2020-03-06 01:15:00 | 4.248 | 171.82 | 3.771 | 148.013 | 3.326 | 139.567 | 3.175 | 133.967 | -0.562 | 890.033 | 32.704 | 4.6755
2020-03-06 01:30:00 | 5.321 | 176.613 | 4.3 | 158.096 | 3.692 | 163.5 | 3.732 | 156.733 | -1.981 | 890.067 | 33.387 | 14.6412
2020-03-06 01:45:00 | 4.518 | 171.54 | 5.135 | 156.234 | 4.481 | 159.3 | 4.582 | 154.767 | -3.314 | 889.917 | 35.301 | 17.9859
2020-03-06 02:00:00 | 5.076 | 169.593 | 4.913 | 151.351 | 4.735 | 154 | 4.863 | 147.167 | -2.74 | 889.817 | 36.027 | 18.3312
2020-03-06 02:15:00 | 4.657 | 172.78 | 5.362 | 146.476 | 5.435 | 147.533 | 5.491 | 142.7 | -1.686 | 889.583 | 34.8 | 14.4664
2020-03-06 02:30:00 | 4.851 | 196.327 | 4.662 | 163.356 | 3.862 | 159.167 | 3.698 | 153.433 | -3.109 | 889.9 | 35.003 | 11.2028
2020-03-06 02:45:00 | 4.375 | 199.973 | 4.122 | 164.585 | 3.915 | 159.767 | 3.491 | 150.567 | -4.623 | 890.017 | 38.875 | 10.1178
2020-03-06 03:00:00 | 5.082 | 183.133 | 4.829 | 160.308 | 4.031 | 160.867 | 3.662 | 154.6 | -5.202 | 889.775 | 41.664 | 11.0834
2020-03-06 03:15:00 | 4.873 | 171.6 | 4.22 | 150.554 | 3.521 | 156.467 | 3.857 | 149.133 | -3.404 | 889.733 | 37.776 | 11.3605
2020-03-06 03:30:00 | 4.526 | 169.293 | 3.823 | 149.331 | 3.836 | 152.233 | 4.262 | 146.3 | -2.74 | 889.483 | 34.523 | 10.9584
2020-03-06 03:45:00 | 4.148 | 163.86 | 3.791 | 141.619 | 3.607 | 144.4 | 3.804 | 139.267 | -3.043 | 889.733 | 34.181 | 11.7563
2020-03-06 04:00:00 | 3.843 | 162.773 | 2.948 | 152.132 | 3.464 | 151.933 | 4.342 | 146 | -2.149 | 889.683 | 32.48 | 9.6424
2020-03-06 04:15:00 | 4.04 | 168.853 | 3.973 | 142.819 | 3.605 | 141.467 | 3.097 | 135.7 | -2.311 | 889.517 | 30.475 | 12.3468
2020-03-06 04:30:00 | 4.158 | 171.733 | 4.814 | 149.403 | 4.034 | 152.467 | 3.594 | 148.233 | -2.884 | 889.75 | 31.168 | 13.6244
2020-03-06 04:45:00 | 5.508 | 154.227 | 5.578 | 140.453 | 4.658 | 141.633 | 4.03 | 139 | -2.74 | 890 | 30.859 | 12.614
2020-03-06 05:00:00 | 5.216 | 165.46 | 4.179 | 149.536 | 3.608 | 154.2 | 4.057 | 147.3 | -2.502 | 889.75 | 29.221 | 8.1381
2020-03-06 05:15:00 | 5.032 | 166.533 | 3.6 | 154.386 | 3.096 | 157.167 | 3.253 | 149.867 | -2.606 | 889.55 | 29.84 | 5.983
2020-03-06 05:30:00 | 4.37 | 167.733 | 3.4 | 151.65 | 2.683 | 147.667 | 2.508 | 134.567 | -3.288 | 889.833 | 30.901 | 6.0412
2020-03-06 05:45:00 | 4.108 | 170.787 | 3.467 | 140.982 | 2.89 | 140.1 | 2.7 | 128.767 | -2.781 | 889.667 | 31.205 | 5.3385
2020-03-06 06:00:00 | 4.122 | 173.9 | 3.41 | 146.81 | 2.96 | 141.8 | 2.496 | 131.333 | -3.655 | 889.85 | 32.987 | 3.7589
2020-03-06 06:15:00 | 4.356 | 171.96 | 2.948 | 145.775 | 2.775 | 143.1 | 2.625 | 127.767 | -2.992 | 889.633 | 33.456 | 3.7021
2020-03-06 06:30:00 | 4.324 | 176.367 | 2.658 | 152.514 | 2.314 | 147.867 | 2.127 | 135.5 | -3.471 | 889.717 | 34.667 | 1.7295
2020-03-06 06:45:00 | 4.169 | 189.967 | 1.028 | 156.354 | 0 | 145.133 | 1.133 | 130.767 | -3.655 | 889.067 | 35.216 | 0.61322
2020-03-06 07:00:00 | 3.475 | 181.72 | 1.307 | 159.267 | 1.009 | 148.433 | 1.888 | 108.5 | -3.149 | 889.683 | 34.693 | 0.14496
2020-03-06 07:15:00 | 2.407 | 206.58 | 0.632 | 155.492 | 0 | 141 | 0.494 | 106 | -2.923 | 889.9 | 33.392 | 0.22738
2020-03-06 07:30:00 | 1.832 | 234.687 | 0 | 155.455 | 0 | 141.067 | 0.802 | 104.567 | -2.394 | 889.567 | 32.635 | 0.23733
2020-03-06 07:45:00 | 3.062 | 247.133 | 1.191 | 259.123 | 0.147 | 213.65 | 0 | 104.108 | -1.842 | 889.367 | 31.827 | 0.23164
2020-03-06 08:00:00 | 3.312 | 246.92 | 1.164 | 274.049 | 0.663 | 299.3 | 0.868 | 249.803 | -1.982 | 889.833 | 30.739 | 0.25154
2020-03-06 08:15:00 | 3.564 | 243.74 | 2.012 | 283.861 | 1.528 | 286.767 | 1.68 | 303.333 | -1.6 | 889.717 | 30.984 | 0.21388
2020-03-06 08:30:00 | 3.274 | 247.287 | 1.671 | 309.415 | 0.603 | 320.5 | 0.276 | 298.467 | -1.74 | 889.617 | 31.155 | 0.23164
2020-03-06 08:45:00 | 5.521 | 243.267 | 3.972 | 270.322 | 2.911 | 292.367 | 2.202 | 308.367 | -2.752 | 889.967 | 33.2 | 0.13288
2020-03-06 09:00:00 | 4.715 | 236.667 | 3.209 | 275.905 | 2.231 | 301.4 | 1.975 | 311.067 | -3.337 | 889.5 | 34.451 | 0.24515
2020-03-06 09:15:00 | 3.55 | 245.6 | 2.142 | 279.77 | 1.179 | 301.267 | 1.055 | 310.233 | -1.76 | 889.35 | 33.424 | 0.23804
2020-03-06 09:30:00 | 3.741 | 228.167 | 2.77 | 251.709 | 1.738 | 267.467 | 0.975 | 307.367 | -1.813 | 889.817 | 35.168 | 0.23307
2020-03-06 09:45:00 | 4.309 | 227.773 | 4.389 | 254.35 | 2.629 | 264.333 | 2.091 | 258.7 | -1.449 | 889.867 | 34.728 | 0.3695
2020-03-06 10:00:00 | 3.241 | 244.92 | 2.961 | 261.613 | 1.696 | 267.167 | 1.296 | 258.667 | 0.249 | 889.8 | 32.008 | 0.6722
2020-03-06 10:15:00 | 3.895 | 285.213 | 3.796 | 293.31 | 3.96 | 299.633 | 4.151 | 298.4 | -0.469 | 889.75 | 30.104 | 4.7629
2020-03-06 10:30:00 | 4.507 | 310.187 | 4.453 | 308.026 | 4.638 | 311.033 | 4.83 | 308.167 | -0.139 | 889.833 | 28.499 | 4.9512
2020-03-06 10:45:00 | 3.689 | 310.053 | 3.848 | 307.096 | 3.893 | 308.1 | 4.158 | 306.7 | 0.233 | 889.733 | 27.245 | 4.2002
2020-03-06 11:00:00 | 3.817 | 307.387 | 3.676 | 307.811 | 3.74 | 314.6 | 3.947 | 312.167 | 0.748 | 889.617 | 26.592 | 3.0505
2020-03-06 11:15:00 | 3.111 | 326.853 | 3.026 | 319.311 | 3.27 | 320.6 | 3.398 | 319.533 | 0.848 | 889.733 | 25.752 | 2.4486
2020-03-06 11:30:00 | 2.992 | 328.707 | 2.674 | 326.929 | 2.81 | 330.633 | 3.126 | 327.367 | 1.609 | 889.567 | 24.989 | 0.79157
2020-03-06 11:45:00 | 2.809 | 323.333 | 2.922 | 327.561 | 3.08 | 333.967 | 3.368 | 309.467 | 2.032 | 890 | 24.336 | 0.23875
2020-03-06 12:00:00 | 2.653 | 44.286 | 2.38 | 55.352 | 2.411 | 86.433 | 2.671 | 222.367 | 2.347 | 889.467 | 24.064 | 0.22312
2020-03-06 12:15:00 | 2.46 | 296.21 | 2.053 | 290.338 | 2.156 | 296.234 | 2.458 | 299.002 | 2.214 | 889.917 | 23.88 | 0.26362
2020-03-06 12:30:00 | 0.323 | 82.535 | 0.306 | 41.047 | 0.47 | 44.945 | 0.504 | 285.083 | 3.424 | 889.833 | 22.891 | 0.24444
2020-03-06 12:45:00 | 1.525 | 40 | 0.64 | 38.916 | 0.657 | 90.7 | 1.475 | 2.3 | 3.846 | 889.467 | 21.739 | 0.21601
2020-03-06 13:00:00 | 1.75 | 44.694 | 1.313 | 41.509 | 1.426 | 53.3 | 1.737 | 30.133 | 4.378 | 889.533 | 20.389 | 0.21175
2020-03-06 13:15:00 | 2.17 | 62.721 | 1.993 | 121.937 | 2.022 | 55.868 | 2.294 | 21.333 | 4.653 | 889.733 | 20.243 | 0.1748
2020-03-06 13:30:00 | 1.98 | 103.377 | 1.62 | 160.283 | 1.553 | 185.5 | 2.075 | 99.308 | 4.335 | 889.483 | 20.76 | 0.13145
2020-03-06 13:45:00 | 1.619 | 64.075 | 1.243 | 56.51 | 1.286 | 75.5 | 1.884 | 66.467 | 4.905 | 889.733 | 20.677 | 0.66154
2020-03-06 14:00:00 | 3.399 | 52.965 | 3.261 | 49.444 | 3.378 | 51.9 | 3.243 | 51.3 | 4.911 | 889.467 | 20.659 | 1.2158
2020-03-06 14:15:00 | 3.045 | 70.948 | 2.837 | 59.994 | 3.222 | 60.2 | 3.222 | 57.333 | 4.819 | 889.867 | 21.461 | 0.17551
2020-03-06 14:30:00 | 2.683 | 68.282 | 1.903 | 47.894 | 2.046 | 24.974 | 2.332 | 32.533 | 4.858 | 889.833 | 21.261 | 0.20891
2020-03-06 14:45:00 | 1.348 | 140.775 | 1.183 | 115.543 | 1.627 | 76.467 | 2.103 | 73.767 | 5.19 | 889.717 | 20.209 | 0.18191
2020-03-06 15:00:00 | 3.263 | 65.611 | 3.166 | 58.672 | 3.128 | 52.133 | 3.303 | 44.4 | 5.095 | 889.55 | 20.419 | 0.18404
2020-03-06 15:15:00 | 2.956 | 303.533 | 2.643 | 326.727 | 2.547 | 154.71 | 2.874 | 109.402 | 5.028 | 889.633 | 20.356 | 0.12577
2020-03-06 15:30:00 | 2.504 | 106.145 | 2.186 | 64.99 | 2.274 | 49.134 | 2.544 | 33.033 | 5.395 | 889.6 | 19.996 | 0.19612
2020-03-06 15:45:00 | 2.225 | 64.044 | 2.105 | 27.995 | 2.612 | 39.367 | 2.972 | 37.567 | 5.64 | 889.733 | 19.643 | 0.19114
2020-03-06 16:00:00 | 1.123 | 75.742 | 0.756 | 65.153 | 1.046 | 29.467 | 1.632 | 34.833 | 5.683 | 889.633 | 19.524 | 0.17551
2020-03-06 16:15:00 | 1.928 | 174.94 | 1.776 | 156.062 | 1.756 | 151.469 | 1.918 | 141.733 | 5.912 | 889.7 | 19.759 | 0.16414
2020-03-06 16:30:00 | 2.366 | 96.491 | 2.066 | 80.188 | 2.132 | 79.867 | 2.405 | 68.9 | 6.177 | 889.667 | 19.801 | 0.18262
2020-03-06 16:45:00 | 2.407 | 85.656 | 2.394 | 165.693 | 2.537 | 198.767 | 3.11 | 176.135 | 5.888 | 889.367 | 20.5 | 0.097348
2020-03-06 17:00:00 | 3.891 | 126.45 | 3.912 | 184.294 | 4.082 | 124.034 | 3.845 | 127.568 | 6.38 | 889.5 | 20.056 | 0.067504
2020-03-06 17:15:00 | 3.064 | 311.88 | 3.015 | 339.517 | 3.044 | 312.233 | 3.098 | 290.967 | 6.28 | 889.7 | 20.479 | 0.39437
2020-03-06 17:30:00 | 2.524 | 176.494 | 2.516 | 130.806 | 2.606 | 76.401 | 2.817 | 96.033 | 5.998 | 890.133 | 20.72 | 0.90953
2020-03-06 17:45:00 | 3.698 | 114.605 | 3.639 | 144.733 | 4.04 | 126.167 | 4.035 | 89.567 | 5.935 | 889.917 | 21.168 | 1.2172
2020-03-06 18:00:00 | 3.351 | 19.846 | 3.225 | 18.69 | 3.354 | 9.2 | 3.469 | 8.267 | 5.825 | 890.05 | 21.285 | 1.8262
2020-03-06 18:15:00 | 3.56 | 6.047 | 3.598 | 51.906 | 3.562 | 2.767 | 3.764 | 36.667 | 5.57 | 889.983 | 21.747 | 2.288
2020-03-06 18:30:00 | 3.167 | 212.988 | 3.311 | 232.877 | 3.261 | 154.5 | 3.527 | 164.933 | 5.535 | 889.333 | 22.155 | 3.1237
2020-03-06 18:45:00 | 3.637 | 28.166 | 3.714 | 24.128 | 3.694 | 12.667 | 3.779 | 23.933 | 5.084 | 889.433 | 22.496 | 2.4749
2020-03-06 19:00:00 | 3.11 | 6.975 | 3.103 | 3.007 | 2.973 | 4.667 | 2.957 | 1.667 | 4.755 | 889.917 | 22.624 | 1.2108
2020-03-06 19:15:00 | 3.387 | 15.518 | 3.058 | 10.592 | 3.271 | 13.633 | 3.275 | 11.133 | 4.842 | 890.083 | 22.923 | 0.92089
2020-03-06 19:30:00 | 3.263 | 12.815 | 3.696 | 12.663 | 3.32 | 2 | 3.416 | 1.333 | 4.799 | 889.767 | 22.827 | 1.1788
2020-03-06 19:45:00 | 3.52 | 28.987 | 3.859 | 118.874 | 4.104 | 0 | 4.257 | 11.933 | 4.285 | 889.767 | 22.821 | 1.5206
2020-03-06 20:00:00 | 2.873 | 343.067 | 3.212 | 338.272 | 3.296 | 341.033 | 3.402 | 342.167 | 4.305 | 889.6 | 23.019 | 1.3963
2020-03-06 20:15:00 | 2.991 | 340.627 | 2.791 | 332.591 | 2.962 | 332 | 3.334 | 329.333 | 3.829 | 889.7 | 23.4 | 3.4626
2020-03-06 20:30:00 | 3.549 | 326.533 | 4.636 | 327.097 | 4.871 | 333.133 | 4.991 | 331.9 | 3.622 | 889.8 | 23.416 | 6.6438
2020-03-06 20:45:00 | 3.373 | 308.067 | 3.476 | 308.629 | 3.675 | 314.3 | 3.965 | 312.767 | 3.154 | 889.717 | 23.971 | 6.6424
2020-03-06 21:00:00 | 2.83 | 300.2 | 2.905 | 302.428 | 3.164 | 306.033 | 3.699 | 303.067 | 3.288 | 889.817 | 24.195 | 4.7977
2020-03-06 21:15:00 | 5.859 | 274.513 | 7.007 | 289.056 | 7.311 | 292.467 | 7.749 | 290.3 | 3.036 | 889.95 | 32.76 | 22.6031
2020-03-06 21:30:00 | 4.685 | 256.807 | 5.626 | 279.598 | 5.98 | 281.7 | 6.289 | 280.467 | 2.692 | 889.8 | 37.053 | 19.4717
2020-03-06 21:45:00 | 5.189 | 248.467 | 5.966 | 280.564 | 6.206 | 285.033 | 6.612 | 284.367 | 2.578 | 889.933 | 36.683 | 24.5636
2020-03-06 22:00:00 | 5.941 | 268.453 | 6.794 | 288.279 | 7.269 | 289.833 | 7.782 | 288.433 | 2.315 | 889.85 | 37.84 | 33.3924
2020-03-06 22:15:00 | 6.467 | 242.253 | 7.099 | 273.883 | 7.264 | 275.633 | 7.648 | 273.3 | 1.815 | 889.808 | 45.205 | 32.8587
2020-03-06 22:30:00 | 7.415 | 220.22 | 8.451 | 264.817 | 8.923 | 268.367 | 9.063 | 264.517 | 1.58 | 889.817 | 44.736 | 52.8051
2020-03-06 22:45:00 | 8.135 | 222.453 | 9.299 | 264.014 | 9.733 | 268.733 | 9.848 | 265.1 | 1.302 | 889.817 | 43.984 | 74.3878
2020-03-06 23:00:00 | 8.538 | 213.88 | 9.959 | 255.673 | 10.362 | 259.567 | 10.46 | 255.883 | 0.865 | 889.775 | 49.504 | 78.7464
2020-03-06 23:15:00 | 7.043 | 213.28 | 8.077 | 251.696 | 8.703 | 254.7 | 8.762 | 250.7 | 0.782 | 889.808 | 51.611 | 60.5403
2020-03-06 23:30:00 | 5.215 | 229.987 | 5.786 | 255.357 | 6.128 | 260.1 | 6.284 | 256.917 | 0.465 | 890.05 | 52.443 | 40.2202
2020-03-06 23:45:00 | 4.875 | 222.167 | 5.865 | 250.117 | 6.352 | 253.933 | 6.696 | 251.3 | 0.05 | 889.733 | 53.051 | 36.3597