## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-07 00:00:00 | 4.973 | 227.553 | 5.898 | 252.812 | 6.314 | 255.933 | 6.691 | 254.817 | 0.133 | 890.208 | 53.536 | 34.3673
2020-03-07 00:15:00 | 5.224 | 216.02 | 5.945 | 243.188 | 6.424 | 250.1 | 6.626 | 246.033 | 0.083 | 889.567 | 54.272 | 37.2337
2020-03-07 00:30:00 | 4.803 | 217.693 | 6.098 | 252.903 | 6.834 | 257.867 | 7.243 | 256.233 | -0.662 | 889.458 | 54.635 | 34.0646
2020-03-07 00:45:00 | 5.982 | 213.92 | 6.989 | 255.941 | 7.714 | 260.7 | 8.09 | 260.2 | -0.425 | 889.717 | 51.211 | 35.4225
2020-03-07 01:00:00 | 7.618 | 217.28 | 9.012 | 261.109 | 9.552 | 266.067 | 9.955 | 261.6 | -0.113 | 889.808 | 45.856 | 45.2098
2020-03-07 01:15:00 | 7.552 | 225.34 | 9.186 | 264.328 | 9.986 | 269.5 | 10.591 | 265.517 | 0.083 | 889.933 | 44.011 | 65.3188
2020-03-07 01:30:00 | 9.186 | 219.853 | 10.601 | 263.075 | 11.299 | 266.267 | 11.602 | 264.5 | -0.046 | 889.775 | 47.611 | 78.5965
2020-03-07 01:45:00 | 10.276 | 213.247 | 11.941 | 265.087 | 12.684 | 267.333 | 13.395 | 263.583 | -0.678 | 889.65 | 53.595 | 77.3452
2020-03-07 02:00:00 | 10.191 | 217.013 | 11.892 | 263.74 | 12.625 | 268.333 | 13.071 | 263.867 | -0.598 | 889.917 | 56.656 | 77.3949
2020-03-07 02:15:00 | 10.973 | 216.86 | 12.204 | 263.087 | 12.938 | 266.267 | 13.611 | 264.017 | -0.738 | 890.158 | 60.496 | 77.3359
2020-03-07 02:30:00 | 9.892 | 204.06 | 11.369 | 257.664 | 12.038 | 260.567 | 12.14 | 258 | -0.498 | 890.042 | 62.629 | 76.7163
2020-03-07 02:45:00 | 7.978 | 211.813 | 9.347 | 252.784 | 9.962 | 258.033 | 10.369 | 254.117 | -0.948 | 889.875 | 64.613 | 70.8606
2020-03-07 03:00:00 | 7.527 | 217.627 | 8.904 | 261.723 | 9.472 | 266.7 | 10.247 | 261.65 | -0.538 | 890.375 | 65.28 | 64.1635
2020-03-07 03:15:00 | 7.134 | 224.24 | 8.478 | 259.348 | 9.29 | 264.767 | 9.594 | 262.033 | -0.372 | 890.1 | 64.949 | 58.6082
2020-03-07 03:30:00 | 6.314 | 215.5 | 7.891 | 257.793 | 8.576 | 263.933 | 8.906 | 262.517 | -0.578 | 889.667 | 64.283 | 52.9017
2020-03-07 03:45:00 | 7.148 | 234.78 | 8.423 | 269.115 | 8.873 | 274.467 | 9.314 | 271.267 | -0.306 | 889.292 | 64.096 | 59.8226
2020-03-07 04:00:00 | 7.338 | 227.913 | 8.535 | 264.566 | 9.427 | 270.5 | 9.736 | 265.183 | -0.05 | 889.867 | 62.32 | 59.9626
2020-03-07 04:15:00 | 9.503 | 220.02 | 10.513 | 266.253 | 11.114 | 269.9 | 11.327 | 267.133 | 0.05 | 889.042 | 61.936 | 60.8998
2020-03-07 04:30:00 | 9.71 | 201.067 | 11.493 | 255.041 | 12.208 | 258.4 | 12.408 | 255.283 | 0.15 | 890.267 | 62.747 | 61.4462
2020-03-07 04:45:00 | 6.636 | 213.053 | 7.445 | 247.893 | 7.959 | 253.1 | 8.108 | 249.783 | 0.05 | 889.725 | 64.117 | 60.5865
2020-03-07 05:00:00 | 9.018 | 212.907 | 10.105 | 258.786 | 10.592 | 264.433 | 11.036 | 261.017 | -0.498 | 889.808 | 66.005 | 56.5249
2020-03-07 05:15:00 | 7.687 | 207.987 | 8.496 | 248.175 | 8.862 | 253.567 | 9.022 | 250.117 | -0.166 | 890.108 | 65.589 | 56.0808
2020-03-07 05:30:00 | 6.939 | 219.867 | 7.796 | 257.195 | 8.251 | 263.867 | 8.536 | 259.383 | -0.299 | 889.892 | 66.517 | 44.9959
2020-03-07 05:45:00 | 8.738 | 208.24 | 10.166 | 260.469 | 10.782 | 263.767 | 11.191 | 261.417 | -0.116 | 890.05 | 67.275 | 51.9964
2020-03-07 06:00:00 | 7.32 | 216.173 | 8.284 | 257.829 | 8.741 | 262.1 | 9.048 | 259.183 | -0.099 | 889.525 | 67.013 | 48.7442
2020-03-07 06:15:00 | 7.905 | 232.18 | 9.203 | 259.967 | 9.862 | 262.533 | 10.083 | 259.3 | -0.033 | 889.875 | 67.275 | 48.0286
2020-03-07 06:30:00 | 7.046 | 218.273 | 8.142 | 256.972 | 8.531 | 259.9 | 8.65 | 257.483 | 0.133 | 890.033 | 67.36 | 39.6439
2020-03-07 06:45:00 | 6.844 | 241.133 | 7.835 | 273.822 | 8.309 | 275.667 | 8.856 | 274.133 | -0.299 | 889.358 | 68.363 | 37.4561
2020-03-07 07:00:00 | 7.978 | 235.247 | 8.974 | 275.836 | 9.306 | 277.633 | 9.923 | 276.767 | -0.356 | 889.825 | 72.485 | 45.0691
2020-03-07 07:15:00 | 7.835 | 214.4 | 8.969 | 265.036 | 9.804 | 269.167 | 10.033 | 264.967 | -1.165 | 889.833 | 75.467 | 46.233
2020-03-07 07:30:00 | 9.027 | 219.047 | 10.503 | 264.394 | 11.352 | 267.367 | 11.748 | 265.833 | -0.995 | 890.042 | 75.931 | 45.666
2020-03-07 07:45:00 | 8.234 | 225.613 | 9.782 | 264.049 | 10.766 | 268.033 | 11.326 | 263.267 | -1.259 | 889.775 | 75.445 | 46.5698
2020-03-07 08:00:00 | 7.324 | 226.453 | 8.777 | 263.813 | 9.538 | 268 | 9.773 | 265.3 | -1.58 | 889.933 | 74.795 | 40.0781
2020-03-07 08:15:00 | 6.452 | 229.507 | 8.324 | 266.228 | 8.788 | 272.067 | 9.049 | 268.367 | -1.319 | 889.842 | 74.379 | 27.9288
2020-03-07 08:30:00 | 6.849 | 236.98 | 8.141 | 267.232 | 8.778 | 270.133 | 9.202 | 265.267 | -1.316 | 889.933 | 72.848 | 22.9222
2020-03-07 08:45:00 | 6.933 | 213.493 | 8.04 | 259.808 | 8.691 | 264.6 | 9.267 | 259.917 | -0.822 | 890.008 | 71.445 | 28.8518
2020-03-07 09:00:00 | 7.316 | 215.02 | 8.219 | 264.156 | 8.616 | 268.633 | 8.666 | 264.1 | -0.419 | 889.575 | 70.395 | 30.7945
2020-03-07 09:15:00 | 6.095 | 237.567 | 6.888 | 267.852 | 6.951 | 271.233 | 7.389 | 267.8 | -0.06 | 889.692 | 67.797 | 27.8144
2020-03-07 09:30:00 | 7.073 | 238.833 | 7.729 | 271.424 | 7.896 | 274.7 | 8.019 | 271.033 | -0.083 | 889.9 | 67.024 | 37.3637
2020-03-07 09:45:00 | 8.567 | 227.633 | 9.531 | 270.298 | 9.892 | 273.733 | 10.126 | 271.7 | 0.116 | 890.117 | 65.749 | 48.3178
2020-03-07 10:00:00 | 9.762 | 213.92 | 11.16 | 265.033 | 11.702 | 269.033 | 11.706 | 266.3 | 0.083 | 890.217 | 63.989 | 46.449
2020-03-07 10:15:00 | 9.078 | 223.693 | 9.555 | 264.571 | 10.005 | 268.1 | 10.274 | 263.517 | 0.632 | 889.683 | 62.555 | 45.5438
2020-03-07 10:30:00 | 10.404 | 219.953 | 11.279 | 264.932 | 11.268 | 266.583 | 11.211 | 261.917 | 1.032 | 890.075 | 60.304 | 44.8495
2020-03-07 10:45:00 | 10.536 | 225.347 | 11.7 | 264.363 | 11.752 | 268.067 | 11.854 | 265.667 | 1.286 | 889.625 | 57.835 | 44.3607
2020-03-07 11:00:00 | 10.3 | 227.593 | 11.072 | 263.35 | 11.1 | 267.233 | 11.015 | 264.933 | 2.016 | 889.558 | 53.371 | 44.8517
2020-03-07 11:15:00 | 9.938 | 228.273 | 10.55 | 265.383 | 11.07 | 268.667 | 11.163 | 264.05 | 2.368 | 889.6 | 51.36 | 44.5689
2020-03-07 11:30:00 | 10.465 | 220.413 | 10.686 | 268.804 | 11.177 | 274.967 | 11.164 | 271.333 | 2.048 | 889.742 | 51.397 | 44.7167
2020-03-07 11:45:00 | 9.752 | 245.967 | 10.275 | 275.056 | 10.659 | 277.633 | 10.991 | 277.067 | 2.585 | 889.875 | 47.691 | 43.4156
2020-03-07 12:00:00 | 9.619 | 248.207 | 10.344 | 279.152 | 10.538 | 282.933 | 10.802 | 283.333 | 2.737 | 889.508 | 44.16 | 45.0037
2020-03-07 12:15:00 | 9.949 | 269.267 | 10.396 | 294.434 | 10.654 | 297.233 | 11.29 | 296.667 | 2.966 | 890.033 | 42.011 | 45.2794
2020-03-07 12:30:00 | 9.496 | 273.113 | 9.921 | 289.603 | 10.158 | 292.933 | 10.547 | 292.167 | 2.868 | 889.65 | 40.389 | 49.3588
2020-03-07 12:45:00 | 9.51 | 274.467 | 10.32 | 299.279 | 10.647 | 303.5 | 11.422 | 300.767 | 2.988 | 889.658 | 41.304 | 52.5251
2020-03-07 13:00:00 | 9.981 | 273.7 | 10.598 | 290.56 | 10.925 | 292.633 | 11.295 | 293.067 | 3.404 | 889.633 | 43.131 | 52.9059
2020-03-07 13:15:00 | 10.412 | 238.733 | 10.724 | 269.9 | 10.885 | 273.367 | 10.897 | 271.867 | 3.221 | 889.817 | 43.584 | 50.5739
2020-03-07 13:30:00 | 10.233 | 258.74 | 10.706 | 283.238 | 10.787 | 286.767 | 11.143 | 284.8 | 3.09 | 889.758 | 45.627 | 54.3704
2020-03-07 13:45:00 | 9.769 | 258.067 | 10.442 | 284.666 | 10.667 | 288.4 | 10.962 | 286.867 | 3.171 | 889.675 | 45.797 | 54.4649
2020-03-07 14:00:00 | 10.836 | 235.767 | 11.627 | 280.617 | 11.558 | 282.767 | 11.995 | 279.167 | 3.756 | 889.625 | 45.381 | 56.4552
2020-03-07 14:15:00 | 11.674 | 241.9 | 12.201 | 278.436 | 12.421 | 282.767 | 12.627 | 280.967 | 3.388 | 889.85 | 45.36 | 55.7326
2020-03-07 14:30:00 | 12.082 | 249.88 | 12.761 | 283.683 | 12.912 | 285.267 | 13.142 | 282.3 | 3.425 | 889.933 | 47.141 | 55.2466
2020-03-07 14:45:00 | 11.911 | 238.967 | 12.484 | 275.192 | 12.799 | 278.233 | 12.728 | 277.333 | 3.288 | 890.192 | 45.248 | 54.2873
2020-03-07 15:00:00 | 8.894 | 224.827 | 9.612 | 275.151 | 9.823 | 278.433 | 9.962 | 275.633 | 2.753 | 889.583 | 46.448 | 54.0763
2020-03-07 15:15:00 | 11.449 | 227.887 | 12.058 | 275.173 | 12.566 | 278.567 | 12.791 | 277.433 | 3.073 | 890.042 | 47.632 | 55.5983
2020-03-07 15:30:00 | 10.875 | 225.72 | 11.93 | 263.086 | 11.977 | 266.233 | 12.107 | 264.567 | 3.1 | 889.975 | 45.227 | 55.8008
2020-03-07 15:45:00 | 9.903 | 252.793 | 10.426 | 283.981 | 10.602 | 286.267 | 10.827 | 285.433 | 3.214 | 889.717 | 45.099 | 55.5883
2020-03-07 16:00:00 | 10.508 | 242.167 | 11.042 | 279.389 | 11.264 | 282.1 | 11.517 | 279.733 | 2.864 | 890.133 | 46.901 | 56.4638
2020-03-07 16:15:00 | 11.126 | 246.707 | 11.582 | 283.386 | 11.742 | 284.333 | 12.07 | 284.933 | 3.167 | 890.067 | 47.099 | 56.7729
2020-03-07 16:30:00 | 9.771 | 242.88 | 10.731 | 281.284 | 11.19 | 283.333 | 11.649 | 282.333 | 2.81 | 890.3 | 47.904 | 55.5926
2020-03-07 16:45:00 | 8.478 | 249.333 | 9.05 | 279.061 | 9.22 | 282.567 | 9.684 | 279.967 | 3.237 | 889.75 | 45.141 | 51.045
2020-03-07 17:00:00 | 9.313 | 224.587 | 10.061 | 272.783 | 10.218 | 276.633 | 10.538 | 276.433 | 3.117 | 889.933 | 45.659 | 54.1097
2020-03-07 17:15:00 | 8.416 | 232.633 | 9.02 | 277.754 | 9.188 | 278.533 | 9.628 | 276.233 | 2.894 | 889.942 | 47.445 | 51.3917
2020-03-07 17:30:00 | 9.938 | 244.527 | 10.6 | 274.112 | 10.916 | 277.3 | 11.031 | 274.5 | 2.823 | 890.108 | 48.464 | 54.838
2020-03-07 17:45:00 | 8.622 | 234.913 | 9.753 | 276.645 | 10.195 | 280.067 | 10.398 | 277.833 | 2.517 | 889.725 | 51.179 | 54.8337
2020-03-07 18:00:00 | 9.924 | 265.647 | 10.916 | 285.871 | 11.125 | 289.467 | 11.692 | 286.433 | 2.578 | 889.9 | 48.533 | 57.8309
2020-03-07 18:15:00 | 10.573 | 221.44 | 11.119 | 275.481 | 11.311 | 277.967 | 11.424 | 275.133 | 2.381 | 889.767 | 49.232 | 57.0379
2020-03-07 18:30:00 | 8.166 | 263.447 | 8.812 | 285.878 | 9.083 | 289.433 | 9.349 | 288.367 | 2.197 | 889.717 | 53.296 | 54.45
2020-03-07 18:45:00 | 9.228 | 252.853 | 10.027 | 283.381 | 10.392 | 285.7 | 10.727 | 284.167 | 2.114 | 889.7 | 56.677 | 57.4038
2020-03-07 19:00:00 | 9.083 | 267.507 | 9.721 | 288.476 | 9.907 | 293.3 | 10.26 | 291 | 1.868 | 889.583 | 60.709 | 55.4185
2020-03-07 19:15:00 | 9.579 | 277.047 | 10.149 | 298.284 | 10.526 | 303.667 | 11.047 | 299.567 | 1.459 | 889.883 | 61.845 | 55.4285
2020-03-07 19:30:00 | 6.67 | 279.773 | 7.037 | 298.147 | 7.368 | 302.267 | 7.812 | 300.1 | 0.598 | 889.925 | 71.296 | 32.7898
2020-03-07 19:45:00 | 8.808 | 254.18 | 10.103 | 283.922 | 10.796 | 286.167 | 11.551 | 286.133 | 0.665 | 889.708 | 73.189 | 53.1944
2020-03-07 20:00:00 | 11.232 | 244.74 | 12.101 | 283.371 | 12.392 | 286.267 | 12.784 | 285.133 | -0.12 | 889.75 | 79.616 | 59.6798
2020-03-07 20:15:00 | 10.311 | 249.88 | 11.422 | 285.799 | 11.728 | 287 | 12.405 | 286.167 | -0.605 | 889.858 | 80.821 | 59.8013
2020-03-07 20:30:00 | 11.47 | 259.413 | 12.931 | 291.38 | 13.383 | 292.9 | 14.414 | 291.767 | -1.079 | 889.733 | 81.723 | 59.7032
2020-03-07 20:45:00 | 11.564 | 258.6 | 13.052 | 282.809 | 13.59 | 285.167 | 14.161 | 286.933 | -1.065 | 889.675 | 80.096 | 58.8562
2020-03-07 21:00:00 | 11.478 | 292.527 | 13.09 | 304.145 | 13.816 | 308.533 | 14.449 | 306.633 | -1.826 | 889.35 | 81.179 | 58.4299
2020-03-07 21:15:00 | 11.205 | 274.82 | 12.874 | 297.832 | 13.717 | 300.633 | 14.784 | 299.833 | -1.992 | 889.692 | 81.888 | 57.946
2020-03-07 21:30:00 | 11.193 | 270.127 | 12.708 | 294.164 | 13.181 | 296.567 | 13.93 | 293.433 | -2.818 | 889.967 | 87.093 | 58.1037
2020-03-07 21:45:00 | 12.979 | 242.433 | 14.793 | 282.106 | 15.334 | 283 | 15.979 | 281.367 | -3.143 | 890.5 | 82.997 | 56.2449
2020-03-07 22:00:00 | 12.885 | 242.88 | 14.599 | 278.842 | 15.4 | 279.4 | 16.087 | 278.533 | -2.999 | 890.275 | 78.219 | 54.9936
2020-03-07 22:15:00 | 12.671 | 231.8 | 14.582 | 277.909 | 15.315 | 280.567 | 15.842 | 279.567 | -2.794 | 889.958 | 75.803 | 52.1414
2020-03-07 22:30:00 | 12.252 | 229.7 | 13.72 | 270.745 | 14.187 | 273.3 | 14.563 | 270.767 | -3.454 | 889.8 | 75.675 | 50.6499
2020-03-07 22:45:00 | 11.245 | 231.1 | 12.987 | 277.595 | 13.394 | 280.9 | 13.408 | 278.467 | -3.137 | 889.875 | 70.763 | 51.0663
2020-03-07 23:00:00 | 11.054 | 223.8 | 12.24 | 267.47 | 12.782 | 271.133 | 13.257 | 269.233 | -3.656 | 890.267 | 69.979 | 52.0824
2020-03-07 23:15:00 | 10.698 | 218.2 | 12.907 | 269.654 | 13.68 | 273 | 14.322 | 269.267 | -3.89 | 889.65 | 67.072 | 53.0111
2020-03-07 23:30:00 | 10.538 | 218.227 | 11.843 | 267.22 | 12.666 | 270.7 | 13.151 | 266.6 | -4.012 | 889.85 | 65.813 | 51.7861
2020-03-07 23:45:00 | 13.957 | 219.373 | 14.781 | 263.85 | 15.606 | 266.633 | 15.773 | 263.867 | -4.629 | 889.858 | 63.797 | 50.2797