## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-08 00:00:00 | 12.194 | 224.8 | 13.385 | 259.799 | 14.365 | 263.1 | 14.812 | 259.45 | -4.384 | 889.875 | 63.979 | 48.3626
2020-03-08 00:15:00 | 12.055 | 218.113 | 13.865 | 261.264 | 14.946 | 264.767 | 15.35 | 263.183 | -4.902 | 889.9 | 63.424 | 45.8095
2020-03-08 00:30:00 | 12.994 | 221.507 | 14.772 | 266.04 | 15.238 | 267.867 | 15.216 | 264.133 | -4.746 | 889.825 | 63.365 | 45.7541
2020-03-08 00:45:00 | 15.106 | 222.187 | 16.887 | 260.306 | 17.839 | 264.033 | 17.951 | 260.933 | -4.819 | 889.817 | 62.544 | 45.1551
2020-03-08 01:00:00 | 14.831 | 216.007 | 16.482 | 257.159 | 17.463 | 261.233 | 17.498 | 257.7 | -5.235 | 889.592 | 62.304 | 45.8998
2020-03-08 01:15:00 | 13.31 | 214.38 | 14.658 | 255.9 | 15.132 | 260 | 15.394 | 257.417 | -5.352 | 889.767 | 61.904 | 49.6068
2020-03-08 01:30:00 | 12.641 | 203.567 | 13.657 | 253.948 | 14.033 | 256.6 | 14.204 | 253.417 | -5.832 | 889.942 | 61.061 | 49.5215
2020-03-08 01:45:00 | 13.244 | 206.84 | 14.894 | 253.868 | 15.535 | 257.833 | 15.691 | 254.833 | -5.918 | 890.242 | 60.027 | 47.8055
2020-03-08 02:00:00 | 12.778 | 202.147 | 13.94 | 250.674 | 14.499 | 254 | 14.602 | 249.333 | -6.037 | 889.975 | 58.784 | 44.8424
2020-03-08 02:15:00 | 13.31 | 201.72 | 14.677 | 252.504 | 15.338 | 256.133 | 15.504 | 253.283 | -6.439 | 889.9 | 58.773 | 39.9751
2020-03-08 02:30:00 | 13.874 | 213.2 | 15.143 | 253.28 | 15.626 | 257.3 | 15.681 | 253.683 | -6.612 | 890.017 | 58.272 | 38.6598
2020-03-08 02:45:00 | 12.576 | 202.847 | 14.318 | 251.297 | 14.918 | 255.183 | 15.21 | 252.317 | -6.445 | 890.3 | 57.867 | 38.9021
2020-03-08 03:00:00 | 14.703 | 206.84 | 16.506 | 255.408 | 17.104 | 259.2 | 17.356 | 255.633 | -6.703 | 890.017 | 56.288 | 38.9874
2020-03-08 03:15:00 | 15.128 | 216.647 | 16.365 | 258.946 | 17.052 | 261.7 | 17.082 | 258.433 | -6.88 | 889.667 | 54.245 | 38.8126
2020-03-08 03:30:00 | 15.024 | 209.253 | 16.817 | 260.171 | 17.531 | 265.067 | 17.59 | 261.7 | -7.25 | 889.817 | 54.528 | 39.8166
2020-03-08 03:45:00 | 15.064 | 212.747 | 16.263 | 258.977 | 17.041 | 261.1 | 17.187 | 258.617 | -7.9 | 889.658 | 55.797 | 41.5127
2020-03-08 04:00:00 | 15.842 | 211.42 | 17.033 | 259.553 | 17.488 | 260.533 | 17.957 | 259.267 | -8.147 | 890.058 | 56.171 | 42.1203
2020-03-08 04:15:00 | 15.408 | 214.493 | 17.915 | 256.715 | 18.545 | 260.2 | 18.294 | 256.9 | -8.724 | 890.192 | 56.112 | 42.5757
2020-03-08 04:30:00 | 13.887 | 212.24 | 15.432 | 257.232 | 16.004 | 259.233 | 16.095 | 257.083 | -8.588 | 889.917 | 54.763 | 43.7816
2020-03-08 04:45:00 | 13.404 | 206.4 | 14.558 | 259.161 | 15.26 | 260.933 | 15.674 | 258.9 | -8.608 | 890.125 | 52.688 | 44.0232
2020-03-08 05:00:00 | 13.072 | 200.9 | 14.154 | 253.419 | 14.614 | 256.433 | 14.61 | 251.65 | -8.941 | 889.792 | 52.373 | 44.026
2020-03-08 05:15:00 | 13.644 | 207.633 | 15.299 | 249.81 | 15.961 | 253.1 | 15.88 | 250.617 | -9.108 | 890.117 | 53.808 | 44.4303
2020-03-08 05:30:00 | 13.994 | 205.367 | 15.432 | 253.519 | 16.052 | 257.233 | 16.297 | 254.783 | -9.412 | 889.942 | 55.264 | 40.0973
2020-03-08 05:45:00 | 13.826 | 196.787 | 15.376 | 255.785 | 16.277 | 257.267 | 16.458 | 253.85 | -9.724 | 889.817 | 54 | 42.6319
2020-03-08 06:00:00 | 15.058 | 210.58 | 16.722 | 252.915 | 17.102 | 256.533 | 17.265 | 253.3 | -9.704 | 890.175 | 54.251 | 49.3567
2020-03-08 06:15:00 | 13.578 | 205.227 | 14.948 | 252.047 | 15.322 | 254.85 | 15.628 | 251.15 | -10.162 | 890.217 | 57.589 | 50.4538
2020-03-08 06:30:00 | 13.184 | 202.6 | 15.022 | 247.64 | 15.634 | 251.933 | 15.717 | 247.2 | -10.266 | 889.6 | 58.677 | 50.9931
2020-03-08 06:45:00 | 12.896 | 209.64 | 14.589 | 246.135 | 15.35 | 249.867 | 15.491 | 243.733 | -10.547 | 889.925 | 59.232 | 49.2572
2020-03-08 07:00:00 | 11.929 | 203.353 | 12.771 | 245.552 | 13.538 | 249.767 | 13.866 | 244.95 | -10.816 | 889.958 | 58.357 | 48.7612
2020-03-08 07:15:00 | 13.3 | 209.033 | 15.193 | 247.668 | 15.722 | 252.4 | 15.566 | 248.55 | -10.891 | 890.3 | 57.131 | 48.6589
2020-03-08 07:30:00 | 11.901 | 206.287 | 13.115 | 254.856 | 13.445 | 257.1 | 13.777 | 254.183 | -11.211 | 889.875 | 55.765 | 50.0722
2020-03-08 07:45:00 | 13.486 | 205.12 | 15.299 | 259.561 | 15.478 | 264.633 | 15.706 | 260.85 | -11.411 | 890.317 | 55.067 | 48.8301
2020-03-08 08:00:00 | 12.766 | 210.413 | 14.265 | 254.198 | 14.975 | 258.1 | 14.901 | 254.383 | -11.87 | 889.842 | 58.891 | 42.1984
2020-03-08 08:15:00 | 10.888 | 209.533 | 12.237 | 255.427 | 12.735 | 258.133 | 13.25 | 255.8 | -12.245 | 889.817 | 56.821 | 46.6487
2020-03-08 08:30:00 | 11.717 | 216.607 | 12.928 | 261.501 | 13.511 | 264.9 | 13.835 | 263.2 | -12.649 | 890.633 | 56.075 | 49.6942
2020-03-08 08:45:00 | 11.382 | 205.48 | 12.628 | 260.582 | 13.097 | 263.567 | 13.315 | 261.517 | -13.003 | 890.042 | 56.576 | 49.9116
2020-03-08 09:00:00 | 11.383 | 201.907 | 12.555 | 260.637 | 13.063 | 263.133 | 13.32 | 259.617 | -12.853 | 890.092 | 56.245 | 49.4185
2020-03-08 09:15:00 | 11.418 | 210.84 | 12.75 | 260.818 | 12.928 | 265 | 13.129 | 261.167 | -12.436 | 889.925 | 53.883 | 50.301
2020-03-08 09:30:00 | 13.565 | 211.56 | 14.588 | 264.38 | 15.026 | 266.867 | 15.117 | 262.783 | -12.249 | 889.883 | 53.728 | 48.8401
2020-03-08 09:45:00 | 13.077 | 222.953 | 13.809 | 265.718 | 14.12 | 268.933 | 14.436 | 264.733 | -12.224 | 890.442 | 52.635 | 45.1437
2020-03-08 10:00:00 | 13.48 | 218.247 | 14.766 | 270.017 | 15.076 | 272.667 | 15.255 | 270.967 | -12.036 | 889.867 | 50.779 | 46.7155
2020-03-08 10:15:00 | 12.955 | 234.167 | 13.829 | 279.154 | 14.483 | 279.267 | 14.813 | 279.267 | -12.14 | 890.033 | 50.352 | 48.197
2020-03-08 10:30:00 | 14.32 | 234.587 | 15.821 | 277.079 | 16.205 | 282 | 16.937 | 280.7 | -11.849 | 889.742 | 49.536 | 49.8427
2020-03-08 10:45:00 | 14.099 | 242.74 | 15.316 | 277.599 | 15.796 | 280.6 | 16.176 | 280.8 | -11.603 | 889.692 | 49.499 | 51.9268
2020-03-08 11:00:00 | 14.681 | 237.94 | 16.024 | 275.562 | 16.365 | 278.4 | 16.756 | 277.7 | -11.345 | 890.025 | 48.837 | 51.0983
2020-03-08 11:15:00 | 15.73 | 228.267 | 17.1 | 273.828 | 17.169 | 275.8 | 17.477 | 272.467 | -10.976 | 889.917 | 48.149 | 49.4434
2020-03-08 11:30:00 | 16.048 | 225.707 | 17.172 | 271.399 | 17.923 | 274.233 | 18.147 | 272.067 | -10.889 | 889.842 | 47.024 | 50.7728
2020-03-08 11:45:00 | 14.755 | 217.1 | 15.885 | 270.366 | 16.188 | 272.933 | 16.365 | 270.017 | -10.283 | 889.617 | 45.973 | 51.9566
2020-03-08 12:00:00 | 14.581 | 229.147 | 16.042 | 268.959 | 16.29 | 271.867 | 16.711 | 268.967 | -10.245 | 889.875 | 45.419 | 51.6767
2020-03-08 12:15:00 | 15.47 | 235.6 | 16.704 | 275.884 | 17.155 | 278.767 | 17.233 | 277.533 | -10.149 | 889.425 | 43.547 | 51.5481
2020-03-08 12:30:00 | 14.878 | 253.5 | 15.699 | 281.6 | 16.274 | 283.333 | 16.457 | 283 | -10.283 | 889.4 | 41.272 | 51.4244
2020-03-08 12:45:00 | 13.497 | 245.153 | 14.386 | 280.948 | 14.665 | 282.067 | 14.988 | 281.767 | -9.766 | 889.858 | 40.504 | 48.8038
2020-03-08 13:00:00 | 13.023 | 253.82 | 14.04 | 282.306 | 14.082 | 285.367 | 14.781 | 283.133 | -9.691 | 889.983 | 39.803 | 48.3875
2020-03-08 13:15:00 | 12.603 | 253.433 | 13.459 | 282.205 | 13.735 | 283.767 | 14.141 | 283.533 | -9.52 | 889.833 | 39.952 | 50.3998
2020-03-08 13:30:00 | 13.738 | 261 | 14.323 | 285.792 | 14.428 | 290.9 | 15.185 | 290.033 | -8.941 | 889.867 | 39.464 | 51.2461
2020-03-08 13:45:00 | 14.032 | 256.173 | 14.851 | 284.854 | 15.039 | 287.1 | 15.733 | 287.6 | -8.591 | 889.883 | 39.571 | 50.7195
2020-03-08 14:00:00 | 13.71 | 265.893 | 14.092 | 288.595 | 14.822 | 290.267 | 15.152 | 288.633 | -8.768 | 889.667 | 39.76 | 50.8354
2020-03-08 14:15:00 | 12.413 | 255.46 | 13.176 | 281.644 | 13.197 | 285.433 | 13.691 | 285.167 | -8.407 | 889.683 | 39.84 | 50.8062
2020-03-08 14:30:00 | 11.488 | 259.587 | 12.03 | 282.293 | 12.309 | 285 | 12.594 | 284.233 | -8.287 | 889.933 | 38.285 | 52.0057
2020-03-08 14:45:00 | 11.293 | 240.547 | 12.448 | 275.545 | 12.554 | 278.9 | 12.94 | 278.9 | -8 | 889.467 | 38.216 | 51.8003
2020-03-08 15:00:00 | 11.106 | 271.867 | 11.62 | 287.745 | 12.095 | 291.233 | 12.783 | 290.233 | -7.349 | 890.067 | 36.107 | 47.6769
2020-03-08 15:15:00 | 12.164 | 268.727 | 12.583 | 288.165 | 12.788 | 290.967 | 13.114 | 288.033 | -7.519 | 889.967 | 36.677 | 48.4791
2020-03-08 15:30:00 | 11.749 | 250.507 | 12.281 | 280.158 | 12.594 | 281.3 | 13.176 | 281.433 | -6.814 | 889.35 | 34.685 | 49.0753
2020-03-08 15:45:00 | 12.634 | 233.547 | 13.613 | 279.484 | 13.972 | 280.333 | 14.232 | 280.367 | -6.478 | 889.55 | 34.048 | 48.8877
2020-03-08 16:00:00 | 12.319 | 273.473 | 12.829 | 290.093 | 13.148 | 292.467 | 13.51 | 289.667 | -6.17 | 889.7 | 32.688 | 48.3221
2020-03-08 16:15:00 | 11.956 | 272.733 | 12.54 | 287.062 | 12.547 | 289.967 | 12.891 | 290.7 | -6.362 | 889.667 | 31.909 | 49.6693
2020-03-08 16:30:00 | 11.739 | 280.227 | 12.26 | 291.247 | 12.776 | 293.567 | 13.777 | 292.9 | -6.087 | 889.717 | 32.064 | 49.6821
2020-03-08 16:45:00 | 13.029 | 242.713 | 13.887 | 278.472 | 14.175 | 282.067 | 14.477 | 281.667 | -6.395 | 889.7 | 33.997 | 49.1613
2020-03-08 17:00:00 | 13.27 | 225.5 | 14.628 | 270.642 | 14.965 | 274.433 | 15.16 | 272.867 | -6.565 | 889.5 | 37.221 | 48.1089
2020-03-08 17:15:00 | 14.163 | 234.82 | 15.055 | 273.529 | 15.366 | 275.967 | 15.626 | 274.633 | -6.893 | 889.65 | 39.171 | 49.815
2020-03-08 17:30:00 | 13.273 | 249.793 | 14.452 | 279.104 | 14.632 | 280.233 | 14.756 | 276.667 | -6.843 | 889.45 | 38.853 | 56.8169
2020-03-08 17:45:00 | 13.5 | 223.847 | 14.56 | 267.3 | 14.787 | 270.133 | 15.02 | 268.9 | -6.787 | 889.6 | 38.821 | 61.5237
2020-03-08 18:00:00 | 13.1 | 226.893 | 13.898 | 266.405 | 14.186 | 270.067 | 14.243 | 268.733 | -6.565 | 889.917 | 37.059 | 62.8894
2020-03-08 18:15:00 | 13.335 | 222.28 | 14.212 | 266.261 | 14.404 | 270.233 | 14.667 | 268.633 | -6.621 | 889.65 | 37.856 | 63.9069
2020-03-08 18:30:00 | 11.561 | 220.52 | 12.57 | 265.098 | 12.89 | 268.533 | 13.228 | 266.067 | -6.806 | 889.9 | 38.032 | 64.1968
2020-03-08 18:45:00 | 12.211 | 218.907 | 13.292 | 269.47 | 13.636 | 271.933 | 13.955 | 268.867 | -6.962 | 889.517 | 39.368 | 64.0817
2020-03-08 19:00:00 | 12.533 | 226.793 | 14.576 | 271.717 | 15.176 | 274.667 | 15.5 | 272.533 | -7.088 | 889.55 | 38.443 | 65.0154
2020-03-08 19:15:00 | 10.798 | 233.953 | 12.204 | 268.723 | 12.732 | 271.833 | 12.845 | 269.933 | -7.23 | 889.817 | 38.547 | 66.8572
2020-03-08 19:30:00 | 11.809 | 226.533 | 13.092 | 266.826 | 13.588 | 270.167 | 13.821 | 268.1 | -7.486 | 889.667 | 38.021 | 68.898
2020-03-08 19:45:00 | 10.289 | 221.427 | 11.646 | 267.495 | 12.298 | 271.867 | 12.861 | 268.333 | -7.689 | 889.833 | 38.717 | 71.9271
2020-03-08 20:00:00 | 10.033 | 213.02 | 11.633 | 258.821 | 12.434 | 263.3 | 12.511 | 259.983 | -8.13 | 889.633 | 39.387 | 73.0392
2020-03-08 20:15:00 | 9.46 | 209.827 | 10.753 | 259.06 | 11.425 | 262.567 | 11.835 | 259.233 | -8.17 | 889.733 | 41.224 | 71.2684
2020-03-08 20:30:00 | 8.426 | 207 | 9.825 | 251.175 | 10.321 | 255.7 | 10.485 | 252.483 | -8.658 | 889.758 | 42.784 | 71.4041
2020-03-08 20:45:00 | 9.859 | 214.233 | 11.182 | 252.273 | 11.585 | 255.967 | 11.573 | 251.183 | -8.924 | 889.692 | 43.061 | 69.7656
2020-03-08 21:00:00 | 8.218 | 218.7 | 9.565 | 251.871 | 9.936 | 255.1 | 10.028 | 250.867 | -8.974 | 890.142 | 43.333 | 68.969
2020-03-08 21:15:00 | 9.016 | 213.333 | 10.042 | 246.763 | 10.661 | 251.433 | 10.742 | 247.05 | -9.074 | 890.108 | 44.757 | 68.4844
2020-03-08 21:30:00 | 7.824 | 203.12 | 9.175 | 246.598 | 9.798 | 250.933 | 9.868 | 246.6 | -9.658 | 889.958 | 47.712 | 68.7139
2020-03-08 21:45:00 | 7.884 | 210.407 | 9.071 | 242.363 | 9.815 | 246.9 | 10.129 | 243.1 | -9.624 | 889.925 | 50.741 | 65.542
2020-03-08 22:00:00 | 9.034 | 208.133 | 10.025 | 247.481 | 10.723 | 251.7 | 11.04 | 247.283 | -9.599 | 889.433 | 51.493 | 66.7947
2020-03-08 22:15:00 | 8.452 | 201.9 | 9.783 | 247.707 | 10.305 | 252.3 | 10.53 | 247.2 | -9.599 | 889.833 | 49.141 | 67.2637
2020-03-08 22:30:00 | 8.698 | 202.76 | 9.986 | 241.786 | 10.53 | 247.133 | 10.853 | 242.833 | -9.716 | 889.717 | 47.093 | 67.3255
2020-03-08 22:45:00 | 8.296 | 211.547 | 10.102 | 241.229 | 10.844 | 245.867 | 10.998 | 241.533 | -9.787 | 890.108 | 45.056 | 67.8669
2020-03-08 23:00:00 | 9.081 | 199.147 | 10.5 | 238.195 | 11.413 | 244.867 | 11.546 | 239.8 | -9.787 | 890.042 | 44.171 | 66.4749
2020-03-08 23:15:00 | 8.65 | 199.393 | 10.053 | 243.845 | 10.835 | 249.6 | 11.08 | 245.183 | -9.404 | 889.933 | 43.221 | 66.7386
2020-03-08 23:30:00 | 8.4 | 207.067 | 10.085 | 233.711 | 11.086 | 239.967 | 11.19 | 235.3 | -9.808 | 889.508 | 42.667 | 66.622
2020-03-08 23:45:00 | 8.485 | 207.633 | 9.92 | 237.908 | 10.87 | 244.3 | 11.091 | 239.7 | -9.808 | 890.058 | 42.4 | 67.317