## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-09 00:00:00 | 7.863 | 203.227 | 9.314 | 233.436 | 10.271 | 239.4 | 10.7 | 235.333 | -9.974 | 889.992 | 41.557 | 68.0396
2020-03-09 00:15:00 | 7.584 | 205.767 | 8.816 | 235.293 | 9.668 | 240.533 | 9.952 | 237 | -10.183 | 889.6 | 44.171 | 68.1234
2020-03-09 00:30:00 | 6.458 | 213.073 | 7.923 | 232.384 | 8.288 | 242.667 | 8.402 | 241.667 | -10.724 | 889.65 | 48.651 | 57.4863
2020-03-09 00:45:00 | 5.074 | 218.66 | 6.475 | 244.538 | 7.646 | 254.867 | 8.59 | 257.3 | -11.03 | 889.908 | 47.371 | 47.4452
2020-03-09 01:00:00 | 7.065 | 210.607 | 8.418 | 245.108 | 9.093 | 250.233 | 9.193 | 249.217 | -10.818 | 889.842 | 45.301 | 57.2276
2020-03-09 01:15:00 | 7.306 | 206.673 | 8.736 | 235.995 | 10.211 | 244.033 | 10.369 | 242.6 | -10.674 | 889.55 | 43.307 | 72.9176
2020-03-09 01:30:00 | 8.529 | 202.82 | 10.134 | 242.063 | 11.254 | 248.067 | 11.453 | 243.1 | -10.066 | 889.917 | 40.085 | 75.4984
2020-03-09 01:45:00 | 8.222 | 210.193 | 9.563 | 246.317 | 10.31 | 252.633 | 10.595 | 249.433 | -9.87 | 889.933 | 38.437 | 69.7677
2020-03-09 02:00:00 | 6.96 | 202.067 | 8.359 | 243.649 | 9.153 | 250.3 | 9.234 | 248.433 | -9.658 | 889.767 | 36.517 | 66.2959
2020-03-09 02:15:00 | 7.787 | 201.233 | 9.086 | 239.382 | 9.602 | 244.933 | 9.688 | 241.467 | -10.216 | 889.7 | 37.515 | 61.95
2020-03-09 02:30:00 | 6.536 | 212.1 | 7.829 | 230.312 | 8.47 | 236.267 | 8.591 | 232.267 | -10.316 | 889.683 | 37.397 | 60.1146
2020-03-09 02:45:00 | 6.508 | 216.18 | 8.632 | 230.561 | 9.416 | 238.4 | 9.458 | 234.9 | -11.099 | 889.642 | 41.584 | 65.7153
2020-03-09 03:00:00 | 7.075 | 214.88 | 8.826 | 233.398 | 9.763 | 239.6 | 10.024 | 235.167 | -10.558 | 889.683 | 37.621 | 75.0351
2020-03-09 03:15:00 | 6.113 | 211.333 | 7.816 | 238.965 | 8.449 | 244.3 | 8.692 | 240.533 | -10.216 | 889.933 | 36.496 | 55.1826
2020-03-09 03:30:00 | 6.081 | 216.767 | 7.258 | 237.05 | 7.878 | 244.633 | 8.065 | 241.75 | -10.466 | 889.883 | 35.381 | 48.0173
2020-03-09 03:45:00 | 5.268 | 216.807 | 6.812 | 244.318 | 7.722 | 251.067 | 7.98 | 247.467 | -10.647 | 890.1 | 35.883 | 47.2648
2020-03-09 04:00:00 | 6.003 | 201.507 | 7.332 | 248.612 | 8.222 | 255.167 | 8.695 | 252.083 | -10.63 | 889.8 | 34.288 | 49.5187
2020-03-09 04:15:00 | 6.279 | 212.68 | 7.987 | 240.64 | 8.746 | 248 | 8.903 | 243.633 | -10.312 | 889.717 | 32.251 | 49.8548
2020-03-09 04:30:00 | 6.12 | 207.033 | 7.791 | 241.506 | 8.449 | 247.167 | 8.689 | 243.467 | -9.978 | 889.667 | 30.368 | 47.9171
2020-03-09 04:45:00 | 6.604 | 206.447 | 8.162 | 225.518 | 8.702 | 233.1 | 8.869 | 230.7 | -9.958 | 889.467 | 28.069 | 66.8288
2020-03-09 05:00:00 | 7.366 | 207.34 | 9.246 | 228.942 | 10.076 | 237.133 | 10.262 | 234.933 | -10.834 | 889.717 | 31.893 | 72.3137
2020-03-09 05:15:00 | 7.669 | 201.927 | 9.648 | 234.359 | 10.661 | 240.967 | 10.843 | 236.267 | -9.991 | 889.9 | 25.893 | 71.2691
2020-03-09 05:30:00 | 7.791 | 215.4 | 9.442 | 240.12 | 10.673 | 245.2 | 11.037 | 242.867 | -9.274 | 889.85 | 23.008 | 71.7438
2020-03-09 05:45:00 | 7.275 | 208.333 | 9.146 | 246.47 | 10.264 | 250.633 | 11.126 | 246.733 | -9.158 | 889.1 | 22.363 | 71.2002
2020-03-09 06:00:00 | 8.362 | 217.567 | 10.088 | 242.052 | 10.898 | 247 | 11.31 | 242.667 | -8.741 | 889.6 | 21.493 | 71.1782
2020-03-09 06:15:00 | 7.577 | 220.86 | 9.111 | 233.092 | 9.748 | 239.433 | 9.805 | 236.167 | -9.662 | 890.133 | 24.032 | 70.231
2020-03-09 06:30:00 | 7.93 | 214.013 | 9.642 | 232.824 | 10.476 | 239.8 | 10.546 | 236.467 | -9.787 | 889.617 | 24.395 | 71.0595
2020-03-09 06:45:00 | 8.728 | 205.947 | 10.404 | 227.969 | 11.546 | 232.8 | 11.541 | 229.233 | -9.995 | 889.45 | 24.869 | 71.9484
2020-03-09 07:00:00 | 8.566 | 211.08 | 10.286 | 230.846 | 11.48 | 235.5 | 11.621 | 231.7 | -9.441 | 889.65 | 23.493 | 71.9236
2020-03-09 07:15:00 | 7.653 | 210.387 | 9.359 | 223.178 | 10.412 | 227.533 | 10.641 | 224.567 | -9.245 | 889.85 | 22.715 | 71.9747
2020-03-09 07:30:00 | 7.987 | 209.76 | 9.797 | 220.112 | 10.331 | 226.233 | 10.323 | 223.9 | -9.766 | 889.917 | 22.736 | 73.4122
2020-03-09 07:45:00 | 7.771 | 208.2 | 9.268 | 218.944 | 9.706 | 227.133 | 9.889 | 225.433 | -9.912 | 889.65 | 23.003 | 75.8843
2020-03-09 08:00:00 | 8.018 | 218.933 | 10.078 | 233.775 | 10.986 | 239.9 | 10.923 | 235.9 | -9.341 | 889.783 | 22.149 | 78.0799
2020-03-09 08:15:00 | 9.468 | 217.98 | 10.997 | 234.861 | 11.874 | 242.033 | 12.126 | 237.967 | -8.401 | 890 | 21.307 | 78.8111
2020-03-09 08:30:00 | 9.591 | 220.073 | 11.338 | 233.137 | 12.143 | 239.067 | 12.231 | 234.733 | -7.36 | 889.783 | 20.581 | 78.4643
2020-03-09 08:45:00 | 8.921 | 214.087 | 10.476 | 228.652 | 11.421 | 236 | 11.526 | 233.2 | -7.249 | 889.65 | 20.533 | 77.7005
2020-03-09 09:00:00 | 8.956 | 217.3 | 10.094 | 228.318 | 10.693 | 233.533 | 10.628 | 230 | -6.662 | 889.833 | 20.64 | 77.1633
2020-03-09 09:15:00 | 9.671 | 215.087 | 10.993 | 232.873 | 11.936 | 238.867 | 12.354 | 233.933 | -6.023 | 889.333 | 20.403 | 77.3075
2020-03-09 09:30:00 | 11.48 | 213.033 | 12.358 | 236.908 | 13.261 | 241 | 13.359 | 235.833 | -5.019 | 889.733 | 19.539 | 76.8385
2020-03-09 09:45:00 | 12.38 | 218.32 | 13.32 | 237.866 | 14.005 | 240.033 | 14.512 | 234.967 | -4.166 | 889.3 | 18.589 | 75.7464
2020-03-09 10:00:00 | 11.162 | 218.033 | 11.59 | 237.458 | 12.146 | 241 | 12.204 | 236.067 | -3.471 | 889.733 | 17.496 | 75.7578
2020-03-09 10:15:00 | 11.004 | 214.787 | 11.55 | 237.1 | 11.894 | 241.233 | 11.928 | 235.933 | -2.679 | 889.133 | 16.24 | 75.7478
2020-03-09 10:30:00 | 10.332 | 213.373 | 10.971 | 238.731 | 11.42 | 242.3 | 11.238 | 238.033 | -2.28 | 889.533 | 15.989 | 75.9063
2020-03-09 10:45:00 | 12.247 | 225.22 | 13.396 | 245.689 | 13.552 | 250.067 | 13.881 | 245.033 | -1.326 | 889.433 | 15.537 | 75.8757
2020-03-09 11:00:00 | 12.521 | 223.94 | 13.757 | 249.298 | 14.155 | 252.2 | 13.797 | 248.833 | -1.042 | 889.867 | 16.708 | 75.848
2020-03-09 11:15:00 | 11.634 | 227.407 | 12.53 | 252.401 | 12.603 | 255.7 | 12.309 | 252.383 | -0.578 | 889.467 | 17.849 | 75.924
2020-03-09 11:30:00 | 12.215 | 232.807 | 12.7 | 256.115 | 12.906 | 257.8 | 12.391 | 253.183 | -0.379 | 889.533 | 18.621 | 76.4463
2020-03-09 11:45:00 | 10.263 | 236.24 | 10.917 | 258.87 | 11.111 | 263.067 | 11.26 | 260.417 | -0.518 | 889.333 | 20.217 | 76.2793
2020-03-09 12:00:00 | 11.145 | 224.747 | 11.841 | 264.783 | 12.009 | 269.1 | 11.882 | 266.033 | -0.272 | 889.867 | 21.4 | 77.3814
2020-03-09 12:15:00 | 8.836 | 256.807 | 9.211 | 277.212 | 9.713 | 281.067 | 10.112 | 279.617 | -0.518 | 889.867 | 21.413 | 75.1502
2020-03-09 12:30:00 | 8.795 | 254.773 | 9.21 | 278.601 | 9.426 | 285.267 | 9.798 | 282.6 | 0.15 | 889.133 | 20.276 | 74.493
2020-03-09 12:45:00 | 8.996 | 268.56 | 9.633 | 282.267 | 9.556 | 284.767 | 9.772 | 284.067 | 0.15 | 889.167 | 19.244 | 62.8297
2020-03-09 13:00:00 | 7.68 | 229.92 | 8.091 | 263.12 | 8.342 | 267.467 | 8.182 | 266.267 | 0.598 | 889.367 | 18.525 | 50.1539
2020-03-09 13:15:00 | 6.502 | 272.027 | 6.912 | 284.543 | 7.151 | 284.867 | 7.505 | 282.867 | 0.848 | 889.633 | 18.753 | 42.0101
2020-03-09 13:30:00 | 7.036 | 276.753 | 7.698 | 292.86 | 8.033 | 296.533 | 8.301 | 293.167 | 0.882 | 889.367 | 17.735 | 46.1712
2020-03-09 13:45:00 | 8.191 | 262.733 | 8.585 | 287.088 | 8.63 | 291.033 | 9.065 | 289.867 | 0.968 | 889.1 | 16.539 | 50.922
2020-03-09 14:00:00 | 8.305 | 255.167 | 8.801 | 278.545 | 8.982 | 279.633 | 9.231 | 279.567 | 1.296 | 889.533 | 15.369 | 54.1509
2020-03-09 14:15:00 | 8.564 | 236 | 9.148 | 265.9 | 9.37 | 269.75 | 9.224 | 268.65 | 1.696 | 889.567 | 14.996 | 58.2281
2020-03-09 14:30:00 | 8.814 | 269.14 | 9.423 | 281.624 | 9.688 | 284.5 | 9.809 | 281.033 | 2.098 | 889.3 | 12.952 | 69.0507
2020-03-09 14:45:00 | 10.53 | 256.8 | 11.484 | 277.289 | 11.528 | 279.1 | 11.658 | 277.133 | 2.385 | 889.167 | 12.087 | 75.2383
2020-03-09 15:00:00 | 9.84 | 256.813 | 10.805 | 282.517 | 11.044 | 283.6 | 11.146 | 281.9 | 2.442 | 889.533 | 11.931 | 77.8739
2020-03-09 15:15:00 | 11.316 | 266.067 | 11.817 | 283.177 | 12.03 | 285.733 | 12.391 | 283.367 | 2.254 | 889.1 | 11.44 | 75.2987
2020-03-09 15:30:00 | 10.098 | 287.02 | 10.526 | 292.093 | 10.764 | 298.667 | 11.177 | 296.033 | 1.996 | 889.333 | 12.701 | 71.6926
2020-03-09 15:45:00 | 10.32 | 277.527 | 10.616 | 294.255 | 10.812 | 297.933 | 10.99 | 294.433 | 2.74 | 889.667 | 13.468 | 65.1895
2020-03-09 16:00:00 | 8.656 | 255.433 | 9.097 | 278.126 | 9.309 | 281.067 | 9.322 | 278.967 | 2.418 | 889.233 | 13.707 | 57.8181
2020-03-09 16:15:00 | 8.213 | 238.14 | 8.768 | 264.569 | 8.79 | 272.333 | 9.058 | 268.117 | 3.017 | 889.7 | 13.608 | 54.801
2020-03-09 16:30:00 | 7.865 | 261.007 | 8.194 | 279.762 | 8.366 | 282.767 | 8.582 | 280.4 | 2.81 | 889.467 | 14.159 | 58.6487
2020-03-09 16:45:00 | 8.117 | 262.68 | 8.693 | 283.802 | 9.363 | 284.967 | 9.625 | 281.35 | 2.781 | 889.9 | 14.137 | 53.8702
2020-03-09 17:00:00 | 8.912 | 243.78 | 9.18 | 268.873 | 9.266 | 272.433 | 9.274 | 271.633 | 2.818 | 889.5 | 15.372 | 49.7269
2020-03-09 17:15:00 | 8.468 | 232.807 | 9.137 | 262.034 | 9.418 | 265.2 | 9.367 | 262.983 | 3.029 | 889.733 | 15.892 | 54.0173
2020-03-09 17:30:00 | 8.545 | 260.847 | 8.993 | 276.77 | 9.354 | 279.833 | 9.57 | 279.467 | 2.709 | 889.667 | 17.328 | 52.2849
2020-03-09 17:45:00 | 8.242 | 242.193 | 8.518 | 269.63 | 8.749 | 272.2 | 8.937 | 268.267 | 2.346 | 889.867 | 18.035 | 54.099
2020-03-09 18:00:00 | 7.881 | 245.387 | 8.312 | 272.05 | 8.54 | 274.133 | 8.7 | 272.3 | 2.188 | 889.667 | 18.092 | 52.3332
2020-03-09 18:15:00 | 7.065 | 243.413 | 7.504 | 267.432 | 7.799 | 270.7 | 8.056 | 268.4 | 2.578 | 889.533 | 18.371 | 59.3231
2020-03-09 18:30:00 | 7.936 | 241.547 | 8.518 | 269.835 | 8.756 | 272.267 | 8.851 | 269.533 | 2.482 | 889.433 | 18.132 | 61.9266
2020-03-09 18:45:00 | 7.338 | 260.9 | 7.772 | 283.477 | 8.13 | 285.267 | 8.634 | 283.9 | 1.982 | 889.4 | 18.769 | 61.6864
2020-03-09 19:00:00 | 7.33 | 239.087 | 8.04 | 276.44 | 8.216 | 278.067 | 8.487 | 275.233 | 2.164 | 889.533 | 18.369 | 57.9716
2020-03-09 19:15:00 | 8.782 | 253.42 | 9.758 | 276.733 | 9.964 | 278.367 | 10.001 | 275.3 | 1.908 | 889.433 | 18.333 | 54.4507
2020-03-09 19:30:00 | 7.27 | 227.12 | 8.15 | 261.354 | 8.511 | 264.433 | 8.653 | 260.483 | 1.359 | 889.867 | 20.628 | 48.1125
2020-03-09 19:45:00 | 7.07 | 240.373 | 8.24 | 267.832 | 8.489 | 270.767 | 8.728 | 267.233 | 1.048 | 889.767 | 21.504 | 46.5627
2020-03-09 20:00:00 | 7.664 | 250.087 | 8.587 | 281.306 | 9.068 | 282.1 | 9.643 | 280.5 | 0.598 | 889.567 | 22.523 | 48.9573
2020-03-09 20:15:00 | 6.172 | 244.26 | 7.136 | 273.298 | 7.455 | 276.367 | 7.598 | 273.567 | 0.449 | 890.15 | 22.896 | 41.9334
2020-03-09 20:30:00 | 6.225 | 266.747 | 7.235 | 279.794 | 7.643 | 283.533 | 8.027 | 281.133 | -0.033 | 889.917 | 23.285 | 42.0094
2020-03-09 20:45:00 | 6.018 | 277.88 | 7.066 | 286.872 | 7.382 | 288.867 | 8.041 | 285.6 | -0.282 | 889.967 | 23.797 | 41.9447
2020-03-09 21:00:00 | 5.664 | 276.933 | 6.64 | 286.283 | 7.136 | 287.867 | 7.605 | 286.333 | -0.582 | 889.8 | 24.011 | 36.7711
2020-03-09 21:15:00 | 5.705 | 291.98 | 6.79 | 293.123 | 7.201 | 297.933 | 7.769 | 293.733 | -0.659 | 889.783 | 24.448 | 33.5146
2020-03-09 21:30:00 | 5.356 | 292.88 | 6.55 | 295.69 | 6.803 | 298.667 | 7.318 | 295.667 | -1.082 | 889.8 | 24.683 | 24.673
2020-03-09 21:45:00 | 4.734 | 282.807 | 6.43 | 292.788 | 6.801 | 296.733 | 7.221 | 293.3 | -1.489 | 889.25 | 24.968 | 15.194
2020-03-09 22:00:00 | 3.227 | 265.913 | 4.681 | 283.654 | 5.245 | 289.067 | 5.728 | 287.433 | -2.16 | 889.7 | 25.691 | 6.545
2020-03-09 22:15:00 | 2.534 | 214.733 | 1.627 | 233.141 | 2.484 | 265.867 | 3.759 | 282.933 | -3.321 | 889.933 | 27.128 | 5.2916
2020-03-09 22:30:00 | 1.786 | 216.313 | 0.87 | 239.344 | 2.099 | 270.767 | 3.547 | 285.567 | -2.955 | 889.817 | 27.131 | 4.3231
2020-03-09 22:45:00 | 2.103 | 213.533 | 2.513 | 237.228 | 2.652 | 259.567 | 3.492 | 270.233 | -3.154 | 889.983 | 27.301 | 6.0775
2020-03-09 23:00:00 | 3.758 | 215.467 | 4.167 | 247.222 | 4.35 | 261.667 | 4.487 | 266.967 | -3.304 | 889.567 | 27.344 | 7.6443
2020-03-09 23:15:00 | 4.374 | 230.093 | 3.944 | 244.695 | 4.014 | 256.667 | 4.016 | 261.267 | -3.986 | 889.667 | 27.381 | 6.4605
2020-03-09 23:30:00 | 4.522 | 246.8 | 4.135 | 258.399 | 4.02 | 268.867 | 4.142 | 274.567 | -3.756 | 889.867 | 27.821 | 5.7641
2020-03-09 23:45:00 | 5.164 | 254.967 | 4.964 | 262.253 | 4.947 | 270.8 | 5.152 | 273.9 | -3.287 | 889.783 | 27.133 | 6.1286