## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-10 00:00:00 | 4.734 | 250.667 | 4.857 | 266.241 | 4.982 | 274.4 | 5.188 | 276.4 | -3.371 | 889.283 | 27.232 | 6.6488
2020-03-10 00:15:00 | 4.662 | 229.793 | 4.615 | 244.104 | 4.663 | 255.633 | 4.703 | 258.75 | -4.102 | 889.967 | 27.776 | 7.2833
2020-03-10 00:30:00 | 4.215 | 239.367 | 4.421 | 253.761 | 4.413 | 262 | 4.516 | 265.567 | -3.555 | 889.433 | 26.688 | 6.0661
2020-03-10 00:45:00 | 4.574 | 241.893 | 4.427 | 267.488 | 4.447 | 278.133 | 4.528 | 282.133 | -4.733 | 890.033 | 27.032 | 3.572
2020-03-10 01:00:00 | 3.979 | 252.013 | 3.987 | 268.544 | 3.842 | 278.767 | 3.998 | 285.867 | -5.269 | 889.95 | 29.141 | 3.6893
2020-03-10 01:15:00 | 3.733 | 273.72 | 3.692 | 284.308 | 3.839 | 302.333 | 4.19 | 309.6 | -4.268 | 889.4 | 27.813 | 4.0026
2020-03-10 01:30:00 | 3.422 | 285.333 | 3.568 | 298.231 | 3.979 | 316.133 | 4.449 | 317.633 | -3.572 | 889.833 | 26.861 | 6.2366
2020-03-10 01:45:00 | 3.746 | 282.14 | 3.787 | 293.625 | 3.874 | 310.767 | 4.432 | 310.6 | -5.588 | 890.033 | 29.099 | 8.735
2020-03-10 02:00:00 | 4.064 | 285.533 | 3.815 | 291.709 | 4.205 | 302 | 4.56 | 300 | -5.519 | 889.35 | 29.821 | 11.0571
2020-03-10 02:15:00 | 4.527 | 289.347 | 4.4 | 296.523 | 4.464 | 306.433 | 4.988 | 303.533 | -5.172 | 889.733 | 29.837 | 13.0197
2020-03-10 02:30:00 | 4.47 | 283.907 | 4.201 | 296.04 | 4.674 | 306.433 | 5.036 | 302.733 | -6.057 | 889.767 | 32.453 | 15.4605
2020-03-10 02:45:00 | 4.451 | 275.393 | 4.389 | 290.966 | 4.718 | 299.933 | 5.22 | 298.3 | -5.621 | 889.933 | 32.189 | 12.5678
2020-03-10 03:00:00 | 4.776 | 272.653 | 5.163 | 292.996 | 5.264 | 301.1 | 5.696 | 300.7 | -6.116 | 889.5 | 32.232 | 8.9517
2020-03-10 03:15:00 | 3.427 | 269.14 | 3.995 | 296.629 | 4.011 | 306.733 | 4.281 | 306.3 | -6.478 | 889.483 | 32.589 | 4.3721
2020-03-10 03:30:00 | 3.133 | 260.833 | 3.426 | 292.923 | 3.271 | 300.533 | 3.937 | 297.767 | -6.933 | 889.95 | 34.061 | 2.6334
2020-03-10 03:45:00 | 2.854 | 263.507 | 3.31 | 294.8 | 3.053 | 299.4 | 3.178 | 293.233 | -7.357 | 889.933 | 34.363 | 1.247
2020-03-10 04:00:00 | 3.079 | 286.64 | 3.082 | 298.968 | 2.745 | 310.4 | 3.374 | 304.033 | -6.489 | 889.467 | 34.117 | 0.47963
2020-03-10 04:15:00 | 2.628 | 254.32 | 2.02 | 297.328 | 2.061 | 310.5 | 2.822 | 298.4 | -6.975 | 889.417 | 33.387 | 0.49384
2020-03-10 04:30:00 | 4.057 | 275.553 | 3.896 | 300.54 | 3.85 | 301.1 | 3.89 | 276.433 | -6.419 | 889.617 | 34.123 | 1.3458
2020-03-10 04:45:00 | 4.246 | 270.32 | 3.977 | 296.233 | 3.608 | 289.367 | 3.823 | 269.6 | -5.71 | 889.7 | 31.515 | 2.5552
2020-03-10 05:00:00 | 4.179 | 291.987 | 4.649 | 311.408 | 4.574 | 319.633 | 4.225 | 304.367 | -5.991 | 890.067 | 30.891 | 5.8551
2020-03-10 05:15:00 | 4.975 | 280.44 | 4.898 | 291.243 | 4.398 | 300.133 | 4.302 | 294.8 | -6.146 | 889.7 | 31.547 | 8.2575
2020-03-10 05:30:00 | 5.031 | 280.893 | 5.132 | 291.012 | 5.008 | 300.867 | 5.253 | 298.667 | -6.037 | 889.6 | 31.661 | 8.5211
2020-03-10 05:45:00 | 4.62 | 265.58 | 4.153 | 281.95 | 4.231 | 290.2 | 4.271 | 281.033 | -5.938 | 889.567 | 31.059 | 8.1943
2020-03-10 06:00:00 | 4.522 | 251.707 | 3.774 | 266.178 | 3.723 | 252.483 | 4.58 | 239.983 | -5.941 | 889.95 | 31.651 | 10.483
2020-03-10 06:15:00 | 3.664 | 241.533 | 2.921 | 252.857 | 3.391 | 243 | 3.842 | 231.1 | -5.352 | 889.933 | 31.675 | 11.293
2020-03-10 06:30:00 | 5.368 | 226.573 | 4.24 | 238.956 | 4.927 | 243.567 | 5.319 | 234.667 | -6.183 | 889.7 | 32.187 | 9.393
2020-03-10 06:45:00 | 4.828 | 237.2 | 4.316 | 240.114 | 4.02 | 243.833 | 3.838 | 239.4 | -4.107 | 889.933 | 30.208 | 6.2018
2020-03-10 07:00:00 | 4.82 | 236.2 | 4.674 | 235.975 | 4.691 | 238.4 | 4.436 | 232.867 | -4.355 | 889.817 | 30.352 | 5.7073
2020-03-10 07:15:00 | 5.245 | 234.633 | 4.835 | 233.45 | 4.083 | 241.833 | 3.728 | 238.767 | -6.462 | 889.617 | 36.592 | 5.821
2020-03-10 07:30:00 | 4.808 | 220.973 | 5.865 | 230.4 | 5.625 | 240.333 | 5.347 | 240 | -6.697 | 889.583 | 39.381 | 8.4621
2020-03-10 07:45:00 | 5.484 | 216.673 | 5.97 | 237.064 | 5.914 | 246.867 | 5.755 | 244.267 | -7.276 | 890.042 | 42.837 | 10.7821
2020-03-10 08:00:00 | 4.787 | 226.98 | 6.314 | 240.904 | 6.182 | 247.733 | 5.944 | 243.367 | -7.015 | 889.775 | 43.051 | 10.9967
2020-03-10 08:15:00 | 5.841 | 221.26 | 6.092 | 236.99 | 5.868 | 242.267 | 5.642 | 235.3 | -6.076 | 889.6 | 40.453 | 13.601
2020-03-10 08:30:00 | 6.132 | 210.453 | 6.931 | 230.209 | 6.617 | 235.4 | 6.233 | 230.7 | -5.826 | 890.167 | 39.728 | 15.1315
2020-03-10 08:45:00 | 5.303 | 223.7 | 6.37 | 235.879 | 5.918 | 242 | 5.781 | 238.4 | -5.452 | 890.033 | 39.653 | 12.8087
2020-03-10 09:00:00 | 5.181 | 225.853 | 5.748 | 237.899 | 5.617 | 245.033 | 5.577 | 241.733 | -3.35 | 889.733 | 37.195 | 12.0036
2020-03-10 09:15:00 | 4.129 | 213.773 | 6.072 | 230.459 | 5.818 | 236.8 | 5.593 | 234.267 | -1.95 | 889.65 | 34.208 | 12.7561
2020-03-10 09:30:00 | 3.875 | 219.253 | 5.676 | 226.673 | 6.094 | 234.467 | 5.775 | 232.433 | -0.366 | 889.45 | 32.091 | 12.9998
2020-03-10 09:45:00 | 4.269 | 215.893 | 5.097 | 227.525 | 5.689 | 238.3 | 5.824 | 236.6 | 1.099 | 889.933 | 29.44 | 12.2061
2020-03-10 10:00:00 | 4.624 | 228.28 | 4.677 | 231.666 | 5.096 | 237.533 | 5.316 | 236.1 | 2.652 | 889.667 | 27.179 | 8.3776
2020-03-10 10:15:00 | 4.415 | 232.58 | 4.296 | 239.783 | 4.498 | 244.133 | 4.547 | 241.667 | 3.628 | 889.833 | 25.12 | 5.7222
2020-03-10 10:30:00 | 4.529 | 240.26 | 4.581 | 253.546 | 4.719 | 256.55 | 4.561 | 253.25 | 4.246 | 889.917 | 24.219 | 6.4718
2020-03-10 10:45:00 | 4.185 | 250.587 | 4.147 | 256.74 | 4.196 | 263.917 | 4.393 | 262.883 | 4.693 | 889.683 | 23.512 | 7.1455
2020-03-10 11:00:00 | 4.597 | 246.133 | 4.614 | 259.44 | 4.681 | 265.283 | 4.692 | 264.9 | 4.629 | 889.633 | 24.283 | 9.5656
2020-03-10 11:15:00 | 5.273 | 262.013 | 5.379 | 275.071 | 5.527 | 276.733 | 5.749 | 274.067 | 4.325 | 889.867 | 24.92 | 13.1711
2020-03-10 11:30:00 | 5.963 | 291.647 | 6.011 | 293.262 | 6.025 | 297.7 | 6.135 | 292.4 | 4.6 | 889.9 | 24.76 | 17.1723
2020-03-10 11:45:00 | 6.485 | 270.187 | 6.724 | 290.131 | 6.926 | 296.3 | 7.075 | 297.133 | 4.805 | 889.567 | 23.309 | 25.3772
2020-03-10 12:00:00 | 5.84 | 314.013 | 6.133 | 312.042 | 6.361 | 317.067 | 6.556 | 310.5 | 5.048 | 889.617 | 21.445 | 21.8137
2020-03-10 12:15:00 | 6.384 | 309.027 | 6.841 | 308.146 | 7.14 | 313.633 | 7.394 | 310.833 | 5.67 | 889.2 | 20.236 | 22.2976
2020-03-10 12:30:00 | 7.021 | 280.287 | 7.033 | 292.956 | 7.272 | 298.533 | 7.797 | 297.167 | 6.101 | 889.617 | 20.139 | 26.1624
2020-03-10 12:45:00 | 7.21 | 312.88 | 7.307 | 310.221 | 7.412 | 312.133 | 7.612 | 310.1 | 6.13 | 889.55 | 20.523 | 25.2116
2020-03-10 13:00:00 | 6.273 | 312.12 | 6.582 | 307.566 | 6.926 | 310.4 | 7.334 | 308.8 | 6.291 | 889.4 | 19.217 | 22.4468
2020-03-10 13:15:00 | 6.487 | 299.187 | 6.637 | 298.485 | 6.841 | 304.967 | 7.016 | 303.8 | 7.136 | 889.5 | 17.489 | 22.4369
2020-03-10 13:30:00 | 5.794 | 314.133 | 6.121 | 312.608 | 6.418 | 315.567 | 6.603 | 312.2 | 7.089 | 889.4 | 16.931 | 25.5761
2020-03-10 13:45:00 | 5.804 | 292.287 | 5.888 | 284.709 | 6.128 | 299.067 | 6.545 | 294.483 | 7.672 | 889.133 | 17.396 | 27.0591
2020-03-10 14:00:00 | 7.555 | 296.847 | 7.63 | 301.764 | 8.182 | 305.9 | 8.322 | 304.767 | 7.496 | 889.783 | 20.988 | 36.2709
2020-03-10 14:15:00 | 6.745 | 281.013 | 6.754 | 289.854 | 6.904 | 292.5 | 6.998 | 290.267 | 7.576 | 889.617 | 20.811 | 38.6364
2020-03-10 14:30:00 | 6.099 | 303.713 | 6.05 | 299.68 | 6.418 | 302.8 | 6.857 | 300.767 | 7.793 | 889.533 | 19.664 | 33.3291
2020-03-10 14:45:00 | 7.529 | 298.933 | 8.139 | 302.967 | 8.616 | 308.033 | 8.886 | 306.7 | 7.95 | 889.4 | 18.056 | 36.8678
2020-03-10 15:00:00 | 7.123 | 311.4 | 7.617 | 306.458 | 7.876 | 309.967 | 8.223 | 304.167 | 7.589 | 889.533 | 17.996 | 48.2567
2020-03-10 15:15:00 | 8.917 | 318.92 | 9.136 | 313.24 | 9.268 | 314.3 | 9.714 | 310.4 | 7.859 | 889.667 | 17.013 | 56.9583
2020-03-10 15:30:00 | 8.349 | 304.427 | 8.623 | 310.262 | 9.08 | 310.5 | 9.602 | 309.133 | 7.632 | 889.667 | 17.463 | 67.4783
2020-03-10 15:45:00 | 9.659 | 289.433 | 10.072 | 298.409 | 10.311 | 301.833 | 10.591 | 300.233 | 8.003 | 889.233 | 18.377 | 65.0481
2020-03-10 16:00:00 | 10.031 | 285.253 | 10.64 | 294.14 | 11.062 | 298.433 | 11.47 | 297.867 | 7.883 | 889.533 | 18.947 | 63.8807
2020-03-10 16:15:00 | 10.332 | 313.387 | 10.811 | 313.377 | 11.044 | 319.467 | 11.384 | 317.167 | 7.876 | 889.7 | 18.367 | 63.595
2020-03-10 16:30:00 | 11.216 | 288.2 | 11.877 | 299.529 | 12.178 | 305.533 | 12.898 | 301.733 | 7.776 | 889.667 | 19.16 | 63.3307
2020-03-10 16:45:00 | 13.462 | 297.773 | 14.493 | 299.663 | 14.999 | 302.667 | 15.713 | 302.533 | 7.763 | 889.267 | 18.788 | 63.1964
2020-03-10 17:00:00 | 14.983 | 285.96 | 16.11 | 301.181 | 16.322 | 304.3 | 17.179 | 304.433 | 6.889 | 889.733 | 18.9 | 61.0697
2020-03-10 17:15:00 | 14.473 | 295.06 | 15.497 | 303.263 | 15.847 | 307.9 | 16.521 | 306.967 | 6.711 | 889.633 | 18.951 | 62.176
2020-03-10 17:30:00 | 14.533 | 294.413 | 15.803 | 299.046 | 16.218 | 303.3 | 16.927 | 302.433 | 6.744 | 889.367 | 18.604 | 64.7184
2020-03-10 17:45:00 | 14.505 | 301.907 | 15.786 | 305.235 | 15.851 | 310.233 | 16.428 | 306.433 | 6.237 | 889.733 | 18.916 | 67.7419
2020-03-10 18:00:00 | 14.193 | 294.807 | 15.146 | 302.078 | 15.562 | 305.033 | 16.469 | 302.267 | 5.862 | 889.367 | 19.503 | 70.96
2020-03-10 18:15:00 | 13.711 | 292.607 | 14.827 | 298.871 | 15.096 | 300.933 | 15.943 | 299.167 | 5.555 | 889.033 | 20.387 | 74.3153
2020-03-10 18:30:00 | 13.019 | 278.74 | 14.068 | 294.374 | 14.471 | 295.667 | 15.218 | 294.767 | 5.014 | 890.183 | 21.096 | 76.5515
2020-03-10 18:45:00 | 12.212 | 270.5 | 13.208 | 293.453 | 13.555 | 296.133 | 14.424 | 294.733 | 5.094 | 889.883 | 21.781 | 76.5501
2020-03-10 19:00:00 | 12.052 | 278.8 | 13.482 | 293.283 | 14.192 | 297.867 | 14.911 | 296 | 4.524 | 889.95 | 21.637 | 76.4691
2020-03-10 19:15:00 | 13.343 | 275.373 | 14.42 | 291.908 | 15.147 | 295.7 | 16.124 | 294.667 | 3.965 | 889.55 | 21.483 | 77.0183
2020-03-10 19:30:00 | 12.94 | 262.94 | 14.171 | 285.252 | 14.694 | 286.867 | 15.402 | 287.5 | 3.81 | 889.833 | 22.141 | 76.8599
2020-03-10 19:45:00 | 11.601 | 252.7 | 13.152 | 280.367 | 13.997 | 281.233 | 14.305 | 281.3 | 3.121 | 889.833 | 23.163 | 76.8989
2020-03-10 20:00:00 | 10.567 | 251.26 | 12.056 | 282.174 | 12.777 | 285.4 | 13.675 | 283.6 | 3.012 | 889.85 | 24.264 | 77.1619
2020-03-10 20:15:00 | 9.976 | 263.02 | 11.148 | 282.451 | 12.005 | 283.433 | 12.804 | 283.8 | 2.7 | 889.483 | 24.741 | 77.7445
2020-03-10 20:30:00 | 9.309 | 241.36 | 10.82 | 280.007 | 11.55 | 283.433 | 12.112 | 282.5 | 2.278 | 889.35 | 24.907 | 78.8992
2020-03-10 20:45:00 | 9.112 | 241.207 | 10.391 | 276.186 | 10.778 | 278.733 | 11.275 | 278.567 | 2.214 | 889.683 | 25.413 | 72.4039
2020-03-10 21:00:00 | 8.985 | 236.26 | 10.403 | 274.864 | 10.868 | 278.1 | 11.206 | 276.467 | 1.532 | 889.95 | 27.413 | 72.0309
2020-03-10 21:15:00 | 8.908 | 227.66 | 10.158 | 266.262 | 10.526 | 269.767 | 10.725 | 268.867 | 1.486 | 889.883 | 30.445 | 61.302
2020-03-10 21:30:00 | 7.962 | 222.12 | 9.392 | 263.639 | 10.01 | 268.5 | 10.779 | 264.667 | 1.082 | 889.45 | 29.853 | 73.3319
2020-03-10 21:45:00 | 7.481 | 226.673 | 8.917 | 262.96 | 9.268 | 267.4 | 9.546 | 264.65 | 0.798 | 889.367 | 29.776 | 74.7623
2020-03-10 22:00:00 | 8.505 | 231.58 | 9.724 | 259.565 | 10.26 | 264.567 | 10.754 | 262.867 | 0.515 | 889.867 | 30.587 | 77.5832
2020-03-10 22:15:00 | 8.911 | 226.713 | 10.551 | 261.788 | 11.116 | 267.167 | 11.164 | 264.267 | 0.233 | 890.183 | 32.653 | 78.7876
2020-03-10 22:30:00 | 8.644 | 221.347 | 10.065 | 262.751 | 10.774 | 266.933 | 11.186 | 262.517 | -0.033 | 889.8 | 33.589 | 76.9366
2020-03-10 22:45:00 | 8.671 | 219.313 | 10.409 | 261.933 | 11.134 | 265 | 11.427 | 261.917 | -0.02 | 889.45 | 34.44 | 64.14
2020-03-10 23:00:00 | 7.157 | 224.273 | 9.093 | 254.778 | 9.862 | 259.733 | 10.125 | 257.117 | -0.269 | 890.117 | 34.709 | 53.382
2020-03-10 23:15:00 | 8.97 | 220.893 | 10.186 | 258.27 | 10.993 | 260.967 | 11.269 | 259.85 | -0.598 | 889.833 | 35.877 | 70.4676
2020-03-10 23:30:00 | 9.007 | 208.927 | 10.548 | 253.838 | 11.251 | 258.533 | 11.478 | 255.183 | -1.015 | 889.933 | 35.571 | 79.7398
2020-03-10 23:45:00 | 8.364 | 223.653 | 10.226 | 253.739 | 10.897 | 257.467 | 11.139 | 255.533 | -1.068 | 889.767 | 36.875 | 79.7711