## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-11 00:00:00 | 9.286 | 214.567 | 11.111 | 251.782 | 11.634 | 257.233 | 11.992 | 255.317 | -1.6 | 889.717 | 37.091 | 78.519
2020-03-11 00:15:00 | 6.724 | 210.88 | 8.032 | 248.103 | 9.329 | 253.067 | 9.844 | 251.167 | -1.169 | 889.483 | 35.109 | 79.8506
2020-03-11 00:30:00 | 8.761 | 218.233 | 10.365 | 238.912 | 11.008 | 245.233 | 11.066 | 243.567 | -1.286 | 889.467 | 35.216 | 79.6083
2020-03-11 00:45:00 | 7.598 | 212.96 | 8.931 | 239.705 | 9.682 | 247.4 | 9.494 | 245.167 | -1.802 | 889.433 | 35.584 | 64.4655
2020-03-11 01:00:00 | 6.036 | 217.78 | 7.367 | 251.691 | 7.948 | 257.533 | 8.31 | 256.033 | -2.254 | 889.983 | 37.195 | 40.5258
2020-03-11 01:15:00 | 4.496 | 247.24 | 6.068 | 265.234 | 6.906 | 269.933 | 7.318 | 267.067 | -2.569 | 889.617 | 38.861 | 37.648
2020-03-11 01:30:00 | 7.473 | 228.88 | 9.09 | 272.235 | 9.402 | 275.467 | 9.926 | 270.967 | -2.353 | 889.933 | 39.709 | 48.2844
2020-03-11 01:45:00 | 6.659 | 236.287 | 7.868 | 273.182 | 8.42 | 274.7 | 9.11 | 271.3 | -2.18 | 889.9 | 39.733 | 47.6485
2020-03-11 02:00:00 | 6.813 | 212.947 | 7.963 | 256.319 | 8.676 | 259.033 | 9.04 | 256.583 | -2.724 | 890.017 | 41.349 | 60.0997
2020-03-11 02:15:00 | 6.139 | 204.033 | 7.388 | 248.964 | 8.236 | 254.767 | 8.506 | 250.5 | -2.801 | 889.842 | 42.581 | 57.3847
2020-03-11 02:30:00 | 4.949 | 223.087 | 5.983 | 240.902 | 6.468 | 247.833 | 6.657 | 247.2 | -3.2 | 889.7 | 40.971 | 57.0123
2020-03-11 02:45:00 | 6.577 | 209.593 | 7.466 | 245.948 | 7.872 | 251 | 8.214 | 247.033 | -3.01 | 889.95 | 41.792 | 60.5829
2020-03-11 03:00:00 | 7.301 | 200.34 | 9.077 | 249.014 | 10.107 | 252.233 | 10.396 | 248.267 | -3.029 | 889.642 | 43.008 | 64.059
2020-03-11 03:15:00 | 8.434 | 200.7 | 10.577 | 248.231 | 11.59 | 251.967 | 12.082 | 248.633 | -2.868 | 890.067 | 41.691 | 53.1078
2020-03-11 03:30:00 | 6.333 | 208.507 | 7.815 | 236.326 | 9.175 | 243.833 | 9.553 | 240.4 | -2.995 | 889.683 | 38.832 | 27.5309
2020-03-11 03:45:00 | 4.749 | 212.827 | 5.333 | 222.186 | 6.196 | 230.467 | 6.715 | 227.767 | -2.975 | 889.817 | 38.373 | 26.593
2020-03-11 04:00:00 | 5.739 | 209.167 | 7.4 | 228.506 | 8.166 | 233.5 | 8.403 | 230.367 | -3.405 | 889.692 | 40.576 | 53.6151
2020-03-11 04:15:00 | 7.364 | 210.767 | 8.582 | 238.098 | 9.418 | 242.833 | 9.549 | 239.033 | -3.271 | 890.117 | 42.773 | 67.2566
2020-03-11 04:30:00 | 7.295 | 199.067 | 9.168 | 243.968 | 10.077 | 250.867 | 10.444 | 246.633 | -3.672 | 889.983 | 43.573 | 56.9448
2020-03-11 04:45:00 | 8.035 | 198.767 | 10.142 | 249.954 | 11.346 | 252.6 | 11.312 | 248.383 | -3.79 | 889.942 | 43.659 | 60.3093
2020-03-11 05:00:00 | 8.662 | 202.033 | 10.403 | 249.741 | 11.621 | 253.95 | 11.983 | 250.1 | -3.706 | 889.633 | 42.336 | 66.74
2020-03-11 05:15:00 | 7.984 | 193 | 9.866 | 250.283 | 10.949 | 254.9 | 11.652 | 251.65 | -3.404 | 890.067 | 41.301 | 68.2201
2020-03-11 05:30:00 | 8.602 | 192.64 | 9.882 | 246.819 | 10.741 | 252.4 | 11.044 | 249.383 | -3.247 | 889.5 | 41.648 | 76.8009
2020-03-11 05:45:00 | 8.938 | 196.393 | 10.552 | 247.251 | 11.238 | 250.8 | 11.324 | 246.233 | -2.639 | 889.917 | 40.027 | 79.4847
2020-03-11 06:00:00 | 10.068 | 199.62 | 11.64 | 245.448 | 12.456 | 249.467 | 12.388 | 246.767 | -2.916 | 889.717 | 39.445 | 79.5948
2020-03-11 06:15:00 | 9.955 | 200.94 | 11.584 | 245.016 | 12.233 | 249.7 | 12.459 | 244.483 | -2.76 | 890.133 | 39.76 | 79.4236
2020-03-11 06:30:00 | 10.691 | 198.753 | 11.962 | 244.352 | 12.734 | 248.167 | 12.919 | 244.467 | -2.984 | 889.733 | 40.832 | 79.4897
2020-03-11 06:45:00 | 8.946 | 203.853 | 10.068 | 240.537 | 10.776 | 246.167 | 10.948 | 243.767 | -2.984 | 889.883 | 41.344 | 76.133
2020-03-11 07:00:00 | 7.52 | 207.327 | 8.206 | 243.063 | 8.565 | 246.9 | 8.729 | 244.017 | -2.96 | 889.667 | 39.6 | 72.1403
2020-03-11 07:15:00 | 7.69 | 204.6 | 8.706 | 240.524 | 8.909 | 245.6 | 9.224 | 242.4 | -3.371 | 889.567 | 39.968 | 70.4868
2020-03-11 07:30:00 | 7.374 | 196.733 | 8.646 | 240.704 | 9.496 | 245.367 | 9.64 | 242 | -3.019 | 889.467 | 40.451 | 76.8421
2020-03-11 07:45:00 | 7.54 | 212.873 | 8.81 | 241.845 | 9.522 | 246.267 | 9.605 | 243.833 | -3.163 | 889.867 | 39.259 | 73.6751
2020-03-11 08:00:00 | 7.928 | 202.287 | 9.124 | 244.165 | 9.518 | 249.5 | 9.799 | 246.433 | -3.284 | 889.683 | 35.856 | 76.732
2020-03-11 08:15:00 | 7.697 | 200.313 | 9.057 | 243.56 | 9.542 | 249.2 | 9.602 | 245.767 | -3.156 | 890.05 | 33.291 | 72.7755
2020-03-11 08:30:00 | 6.53 | 213.973 | 7.252 | 242.342 | 7.776 | 248.333 | 7.808 | 244.667 | -3.113 | 889.983 | 32.619 | 63.6547
2020-03-11 08:45:00 | 6.024 | 205.06 | 6.968 | 245.576 | 7.578 | 251.533 | 7.902 | 246.633 | -3.16 | 889.483 | 32.197 | 56.3501
2020-03-11 09:00:00 | 7.217 | 208.62 | 8.033 | 245.457 | 8.696 | 251.133 | 8.815 | 247.6 | -3.132 | 889.267 | 30.555 | 56.5561
2020-03-11 09:15:00 | 6.32 | 208.867 | 7.209 | 243.441 | 7.823 | 248.2 | 8.217 | 245.483 | -3.321 | 890.2 | 29.392 | 47.7053
2020-03-11 09:30:00 | 7.51 | 209.053 | 8.411 | 253.124 | 8.855 | 255.567 | 9.142 | 253.567 | -2.781 | 889.483 | 28.437 | 52.9543
2020-03-11 09:45:00 | 6.959 | 218.22 | 7.84 | 251.012 | 8.398 | 254.5 | 8.618 | 248.85 | -2.409 | 890.15 | 28.723 | 56.4382
2020-03-11 10:00:00 | 6.904 | 216.68 | 7.971 | 255.769 | 8.739 | 258.3 | 8.813 | 253.833 | -2.576 | 889.483 | 29.304 | 52.2693
2020-03-11 10:15:00 | 7.622 | 206.827 | 8.429 | 253.11 | 8.819 | 257.05 | 8.905 | 253 | -2.377 | 889.817 | 30.323 | 48.7228
2020-03-11 10:30:00 | 7.603 | 213.567 | 8.573 | 255.803 | 8.869 | 260.867 | 9.039 | 256.25 | -2.104 | 890.133 | 30.555 | 45.1473
2020-03-11 10:45:00 | 7.37 | 207.207 | 8.129 | 251.718 | 8.479 | 254.567 | 8.46 | 249.983 | -2.28 | 889.633 | 30.912 | 54.9069
2020-03-11 11:00:00 | 7.702 | 215.887 | 8.637 | 255.606 | 8.903 | 259.3 | 8.979 | 255.233 | -2.054 | 889.817 | 32.84 | 50.5682
2020-03-11 11:15:00 | 7.386 | 221.98 | 7.955 | 258.035 | 8.184 | 259.8 | 8.376 | 256.8 | -1.893 | 889.9 | 33.533 | 41.9504
2020-03-11 11:30:00 | 7.807 | 219.213 | 8.555 | 260.846 | 8.74 | 263.683 | 8.578 | 260.317 | -1.065 | 889.617 | 32.141 | 51.3448
2020-03-11 11:45:00 | 8.829 | 240.813 | 9.131 | 277.013 | 9.226 | 277.567 | 9.32 | 275.9 | -0.708 | 889.133 | 31.051 | 60.1132
2020-03-11 12:00:00 | 8.602 | 241.62 | 9.069 | 266.775 | 9.212 | 268.067 | 9.246 | 267.2 | 0.017 | 889.7 | 28.285 | 59.0296
2020-03-11 12:15:00 | 8.671 | 236.133 | 9.126 | 267.659 | 9.416 | 269.133 | 9.401 | 266.267 | 0.449 | 889.85 | 27.683 | 57.5104
2020-03-11 12:30:00 | 8.832 | 247.28 | 9.402 | 280.44 | 9.953 | 279.633 | 10.379 | 279.983 | -0.016 | 890.083 | 29.333 | 61.8314
2020-03-11 12:45:00 | 9.247 | 239.787 | 10.208 | 274.919 | 10.401 | 277.167 | 10.759 | 274.467 | 0.349 | 889.567 | 29.555 | 60.5453
2020-03-11 13:00:00 | 10.723 | 251.407 | 11.516 | 279.836 | 11.769 | 280.5 | 11.919 | 277.033 | 0.565 | 890.017 | 30.483 | 64.3503
2020-03-11 13:15:00 | 10.767 | 240.54 | 11.185 | 275.97 | 11.501 | 277.567 | 11.575 | 276.9 | 0.482 | 890.017 | 32.08 | 68.6294
2020-03-11 13:30:00 | 10.995 | 243.767 | 11.775 | 273.74 | 11.901 | 275.767 | 11.941 | 273.4 | 0.249 | 889.65 | 33.507 | 66.6789
2020-03-11 13:45:00 | 9.424 | 233.76 | 10.002 | 273.382 | 9.999 | 277.567 | 10.434 | 275.2 | 0.166 | 889.8 | 34.933 | 64.5656
2020-03-11 14:00:00 | 10.136 | 262.72 | 10.721 | 289.806 | 10.896 | 293.167 | 11.2 | 289.6 | 0.096 | 889.683 | 36.565 | 67.4804
2020-03-11 14:15:00 | 11.661 | 269.413 | 12.34 | 291.753 | 12.725 | 294.867 | 13.344 | 293.6 | 0.1 | 890.15 | 36.621 | 66.5581
2020-03-11 14:30:00 | 11.82 | 272.387 | 12.63 | 294.142 | 12.894 | 298.6 | 13.496 | 296.067 | -0.159 | 889.75 | 36.752 | 65.0993
2020-03-11 14:45:00 | 10.121 | 233.08 | 10.85 | 273.246 | 11.267 | 276.6 | 11.514 | 275.167 | 0.25 | 889.783 | 36.635 | 63.9013
2020-03-11 15:00:00 | 11.915 | 259.22 | 12.936 | 284.683 | 13.165 | 284.5 | 13.487 | 285.3 | 0.15 | 889.5 | 35.901 | 63.0941
2020-03-11 15:15:00 | 10.974 | 251.833 | 11.746 | 283.935 | 11.784 | 282.867 | 12.143 | 281.3 | 0.349 | 889.767 | 35.547 | 62.2243
2020-03-11 15:30:00 | 11.858 | 250.493 | 12.87 | 275.732 | 13.04 | 278.4 | 13.516 | 277.133 | 0.449 | 889.667 | 36.104 | 61.9749
2020-03-11 15:45:00 | 9.548 | 274.373 | 10.6 | 289.93 | 11.446 | 290.433 | 11.879 | 287.7 | 0.515 | 890 | 36.557 | 64.3262
2020-03-11 16:00:00 | 12.354 | 248.5 | 13.221 | 282.151 | 13.499 | 282.933 | 13.694 | 284 | 0.465 | 889.833 | 36.76 | 66.3016
2020-03-11 16:15:00 | 10.419 | 280.093 | 11.108 | 294.386 | 11.572 | 299.2 | 12.021 | 298.767 | 0.033 | 889.683 | 38.344 | 67.0867
2020-03-11 16:30:00 | 10.926 | 275.92 | 11.917 | 291.028 | 12.29 | 294.033 | 12.661 | 293.567 | -0.033 | 889.817 | 39.56 | 71.4965
2020-03-11 16:45:00 | 11.139 | 264.987 | 11.922 | 287.52 | 12.39 | 287.6 | 12.932 | 284.633 | -0.05 | 890.1 | 41.189 | 75.5766
2020-03-11 17:00:00 | 10.287 | 283.193 | 10.884 | 292.852 | 11.255 | 295.2 | 11.494 | 294.333 | -0.449 | 890.158 | 42.496 | 74.2784
2020-03-11 17:15:00 | 7.54 | 245.187 | 8.23 | 279.299 | 8.701 | 284.9 | 8.95 | 284.9 | -0.439 | 890.067 | 44.779 | 60.8309
2020-03-11 17:30:00 | 7.524 | 240.12 | 8.225 | 267.677 | 8.345 | 275.45 | 8.551 | 272.333 | -0.409 | 889.575 | 45.557 | 60.8309
2020-03-11 17:45:00 | 9.731 | 271.327 | 10.506 | 288.223 | 11.184 | 291.433 | 11.634 | 290.533 | -0.598 | 889.983 | 43.493 | 72.9695
2020-03-11 18:00:00 | 9.634 | 283.56 | 10.326 | 296.091 | 10.811 | 299.5 | 11.21 | 297.967 | -0.659 | 889.292 | 44.192 | 73.9764
2020-03-11 18:15:00 | 9.595 | 278.987 | 10.376 | 294.097 | 10.673 | 299.1 | 11.36 | 297.5 | -0.685 | 889.967 | 43.472 | 72.8714
2020-03-11 18:30:00 | 8.373 | 304.94 | 8.796 | 307.986 | 8.856 | 311.767 | 9.42 | 308.4 | -0.998 | 889.825 | 49.029 | 69.4899
2020-03-11 18:45:00 | 8.997 | 292.653 | 9.757 | 301.991 | 10.113 | 306.2 | 10.422 | 302.967 | -1.493 | 889.383 | 49.163 | 60.7087
2020-03-11 19:00:00 | 9.383 | 293.773 | 10.122 | 301.015 | 10.564 | 304.933 | 11.17 | 301.967 | -1.319 | 889.992 | 51.333 | 65.6876
2020-03-11 19:15:00 | 7.712 | 277.727 | 8.312 | 292.217 | 8.533 | 296.9 | 9.054 | 293.433 | -1.543 | 889.433 | 53.2 | 68.5128
2020-03-11 19:30:00 | 9.896 | 274.147 | 10.39 | 291.937 | 10.769 | 296.767 | 11.168 | 294.433 | -1.64 | 889.85 | 51.595 | 76.6019
2020-03-11 19:45:00 | 8.22 | 264.193 | 8.921 | 289.123 | 9.528 | 291.7 | 9.916 | 291.267 | -1.925 | 889.958 | 53.552 | 75.3613
2020-03-11 20:00:00 | 10.305 | 238.867 | 10.955 | 277.036 | 11.101 | 280.767 | 11.382 | 280.567 | -2.098 | 889.867 | 58.219 | 74.0844
2020-03-11 20:15:00 | 8.876 | 238.753 | 9.578 | 276.139 | 9.929 | 280.4 | 10.426 | 277.933 | -2.446 | 890.067 | 60.624 | 70.9487
2020-03-11 20:30:00 | 7.795 | 256.36 | 8.66 | 282.824 | 8.977 | 285.967 | 9.35 | 285.167 | -2.56 | 889.925 | 59.504 | 64.6978
2020-03-11 20:45:00 | 7.822 | 245.633 | 8.711 | 279.056 | 9.085 | 282 | 9.618 | 281.867 | -3.004 | 890.317 | 58.277 | 46.5535
2020-03-11 21:00:00 | 7.464 | 237.073 | 8.946 | 279.615 | 9.229 | 281.4 | 9.406 | 279.033 | -2.986 | 889.808 | 60.171 | 36.4741
2020-03-11 21:15:00 | 6.36 | 243.38 | 7.591 | 276.122 | 7.979 | 279.5 | 8.562 | 277.567 | -2.945 | 890.05 | 60.667 | 30.8912
2020-03-11 21:30:00 | 7.073 | 251.567 | 8.171 | 280.671 | 8.647 | 281.233 | 9.08 | 280.633 | -3.421 | 889.908 | 63.291 | 32.0252
2020-03-11 21:45:00 | 5.172 | 225.867 | 6.019 | 267.486 | 6.45 | 270.933 | 6.819 | 269 | -3.672 | 889.642 | 65.835 | 33.1991
2020-03-11 22:00:00 | 5.045 | 228.14 | 6.282 | 268.093 | 6.521 | 271.267 | 6.783 | 269.367 | -4.075 | 889.592 | 66.32 | 27.0094
2020-03-11 22:15:00 | 5.846 | 233.12 | 7.191 | 273.607 | 7.396 | 277.033 | 7.707 | 276.6 | -4.404 | 889.983 | 67.045 | 18.641
2020-03-11 22:30:00 | 4.391 | 230.62 | 5.468 | 266.838 | 5.968 | 272.1 | 6.32 | 268.867 | -4.424 | 889.883 | 66.672 | 16.741
2020-03-11 22:45:00 | 3.741 | 252.153 | 4.802 | 267.167 | 4.954 | 272.433 | 5.331 | 268.933 | -4.819 | 889.467 | 66.101 | 16.0744
2020-03-11 23:00:00 | 3.775 | 262.053 | 4.851 | 271.94 | 4.887 | 276.067 | 5.25 | 271.567 | -5.052 | 890.075 | 65.403 | 15.7753
2020-03-11 23:15:00 | 3.792 | 268.087 | 4.784 | 269.552 | 4.911 | 275 | 5.292 | 271.8 | -4.902 | 890.008 | 64.923 | 15.1372
2020-03-11 23:30:00 | 4.274 | 270.44 | 5.124 | 277.421 | 5.24 | 281.333 | 5.731 | 278.6 | -5.535 | 890.383 | 66.997 | 17.7627
2020-03-11 23:45:00 | 5.33 | 234.3 | 6.384 | 271.9 | 6.501 | 277.933 | 6.843 | 276.3 | -5.654 | 890.067 | 68.181 | 20.0785