## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-12 00:00:00 | 4.731 | 236.84 | 6.118 | 266.486 | 6.193 | 272.633 | 6.442 | 268.767 | -6.333 | 889.692 | 69.616 | 17.8203
2020-03-12 00:15:00 | 3.723 | 237.473 | 5.698 | 261.033 | 6.182 | 271 | 6.375 | 268.9 | -7.012 | 889.825 | 73.52 | 15.7845
2020-03-12 00:30:00 | 3.742 | 250.593 | 4.921 | 263.57 | 5.113 | 273.9 | 5.449 | 273.267 | -7.322 | 889.75 | 76.181 | 16.2663
2020-03-12 00:45:00 | 4.17 | 252.913 | 4.744 | 265.637 | 4.927 | 273.633 | 5.25 | 272.567 | -6.992 | 889.542 | 75.659 | 19.5392
2020-03-12 01:00:00 | 5.057 | 237.64 | 5.572 | 264.776 | 5.871 | 273 | 6.301 | 270.6 | -7.211 | 889.758 | 75.056 | 24.9182
2020-03-12 01:15:00 | 5.39 | 230.247 | 5.922 | 261.708 | 6.182 | 268.067 | 6.429 | 267.3 | -7.732 | 889.908 | 75.616 | 23.2234
2020-03-12 01:30:00 | 5.313 | 246.507 | 6.124 | 267.296 | 6.644 | 273.4 | 7.053 | 271 | -8.09 | 889.658 | 76.005 | 27.1145
2020-03-12 01:45:00 | 4.522 | 243.433 | 6.23 | 269.875 | 6.786 | 274.9 | 7.161 | 271.633 | -8.371 | 889.842 | 76.571 | 28.223
2020-03-12 02:00:00 | 4.421 | 244.867 | 6.036 | 270.016 | 6.455 | 273.1 | 6.896 | 269.467 | -7.572 | 889.833 | 71.989 | 27.9643
2020-03-12 02:15:00 | 4.7 | 252.4 | 6.328 | 265.028 | 6.93 | 270.5 | 7.641 | 266.867 | -7.672 | 889.858 | 71.509 | 25.9009
2020-03-12 02:30:00 | 4.826 | 221.2 | 6.587 | 261.115 | 7.449 | 268 | 7.97 | 266.367 | -7.586 | 889.742 | 70.032 | 18.4513
2020-03-12 02:45:00 | 3.829 | 222.32 | 5.469 | 258.738 | 6.447 | 269.633 | 7.339 | 268.4 | -7.606 | 889.692 | 68.901 | 15.614
2020-03-12 03:00:00 | 4.743 | 206.493 | 4.388 | 217.035 | 4.516 | 235.5 | 5.108 | 244.433 | -8.461 | 889.575 | 69.013 | 19.3338
2020-03-12 03:15:00 | 5.594 | 210.567 | 6.139 | 219.126 | 6.052 | 226.2 | 5.782 | 223.833 | -8.624 | 889.658 | 71.019 | 24.5607
2020-03-12 03:30:00 | 5.798 | 216.633 | 6.518 | 238.708 | 6.745 | 246 | 6.871 | 244.583 | -7.706 | 889.917 | 67.627 | 28.8412
2020-03-12 03:45:00 | 5.156 | 226.46 | 6.423 | 243.299 | 6.732 | 250.433 | 6.76 | 246.85 | -8.01 | 889.892 | 68.053 | 32.669
2020-03-12 04:00:00 | 5.373 | 218.753 | 6.785 | 243.64 | 6.952 | 253.267 | 6.937 | 254.633 | -8.197 | 889.85 | 68.021 | 35.2498
2020-03-12 04:15:00 | 5.848 | 215.067 | 7.106 | 233.21 | 7.034 | 241.6 | 6.825 | 242.267 | -8.941 | 889.817 | 68.363 | 36.607
2020-03-12 04:30:00 | 6.338 | 217.6 | 7.54 | 245.847 | 7.532 | 252.433 | 7.538 | 251.8 | -8.608 | 889.65 | 68.469 | 38.6825
2020-03-12 04:45:00 | 5.866 | 215.867 | 7.234 | 248.039 | 7.373 | 256.567 | 7.392 | 255.467 | -8.574 | 889.775 | 68.277 | 34.2628
2020-03-12 05:00:00 | 5.636 | 221.6 | 6.769 | 245.416 | 6.858 | 254.867 | 6.876 | 254.933 | -8.674 | 889.917 | 68.491 | 29.0352
2020-03-12 05:15:00 | 4.82 | 224.367 | 5.977 | 239.161 | 5.903 | 251.333 | 5.912 | 252.933 | -9.008 | 889.708 | 69.152 | 27.5792
2020-03-12 05:30:00 | 5.354 | 223.713 | 6.273 | 242.05 | 6.084 | 253.333 | 6.062 | 254.683 | -9.528 | 889.908 | 70.187 | 26.3414
2020-03-12 05:45:00 | 5.628 | 235 | 6.265 | 254.674 | 6.388 | 263.267 | 6.602 | 262.267 | -9.224 | 889.992 | 70.347 | 23.8416
2020-03-12 06:00:00 | 5.058 | 226.2 | 5.828 | 251.664 | 6.004 | 262 | 6.387 | 259.7 | -9.478 | 890.167 | 70.277 | 24.3348
2020-03-12 06:15:00 | 5.827 | 227.473 | 6.161 | 243.294 | 6.115 | 253.367 | 6.209 | 253.133 | -9.745 | 889.558 | 71.125 | 26.3926
2020-03-12 06:30:00 | 5.546 | 223.267 | 6.218 | 240.562 | 6.125 | 251.4 | 6.067 | 252.667 | -10.166 | 889.975 | 71.648 | 26.092
2020-03-12 06:45:00 | 5.67 | 227.36 | 6.698 | 240.547 | 6.596 | 252.233 | 6.579 | 253.383 | -9.662 | 889.633 | 70.88 | 29.0195
2020-03-12 07:00:00 | 5.972 | 224.213 | 6.802 | 247.468 | 6.73 | 255.2 | 6.681 | 254.95 | -9.891 | 889.633 | 71.232 | 25.2272
2020-03-12 07:15:00 | 4.427 | 225.847 | 5.798 | 248.413 | 5.742 | 260.6 | 5.933 | 259.067 | -10.328 | 889.933 | 70.581 | 20.5737
2020-03-12 07:30:00 | 5.019 | 221.433 | 5.674 | 239.939 | 5.426 | 252.633 | 5.524 | 254.283 | -10.426 | 889.833 | 71.573 | 17.028
2020-03-12 07:45:00 | 4.875 | 221.887 | 5.537 | 246.146 | 5.208 | 256.9 | 5.187 | 257.733 | -10.578 | 890.083 | 71.957 | 16.1533
2020-03-12 08:00:00 | 5.37 | 211.353 | 6.18 | 228.828 | 5.707 | 247.5 | 5.109 | 252.933 | -10.782 | 890.067 | 70.944 | 18.4541
2020-03-12 08:15:00 | 6.289 | 211.22 | 6.526 | 233.674 | 5.937 | 244.167 | 5.602 | 247.033 | -10.628 | 890.008 | 70.485 | 24.8691
2020-03-12 08:30:00 | 5.839 | 206.793 | 7.192 | 231.424 | 6.746 | 238.3 | 6.212 | 237.5 | -10.074 | 890.117 | 67.637 | 29.4572
2020-03-12 08:45:00 | 5.42 | 211.467 | 7.252 | 229.716 | 7.06 | 238.2 | 6.597 | 234.7 | -9.124 | 889.875 | 64.107 | 25.6038
2020-03-12 09:00:00 | 5.21 | 217.027 | 6.908 | 231.596 | 6.826 | 239.333 | 6.375 | 235.833 | -7.926 | 890.025 | 60.448 | 20.6974
2020-03-12 09:15:00 | 4.986 | 215.367 | 5.979 | 230.834 | 6.229 | 240.9 | 6.055 | 238.133 | -6.528 | 889.675 | 55.968 | 16.3914
2020-03-12 09:30:00 | 4.864 | 219.313 | 5.169 | 228.426 | 5.496 | 233.433 | 5.34 | 230.333 | -5.772 | 889.533 | 50.549 | 10.8866
2020-03-12 09:45:00 | 4.894 | 216.1 | 4.788 | 227.31 | 4.926 | 231.167 | 4.97 | 229.1 | -5.002 | 890.017 | 46.133 | 9.766
2020-03-12 10:00:00 | 4.763 | 219.813 | 4.917 | 230.651 | 4.944 | 235.667 | 4.963 | 230.067 | -4.444 | 889.775 | 43.403 | 9.641
2020-03-12 10:15:00 | 4.3 | 217.267 | 4.374 | 241.015 | 4.532 | 245.317 | 4.36 | 239.683 | -3.171 | 889.533 | 38.677 | 7.2989
2020-03-12 10:30:00 | 3.534 | 233.027 | 3.705 | 256.341 | 3.768 | 255.85 | 3.918 | 254.167 | -2.768 | 890.15 | 36.019 | 2.6071
2020-03-12 10:45:00 | 3.369 | 254.64 | 3.607 | 266.117 | 3.714 | 267.55 | 3.684 | 266.383 | -2.7 | 890.15 | 34.072 | 1.387
2020-03-12 11:00:00 | 2.917 | 277.32 | 3.19 | 289.72 | 3.262 | 285.967 | 3.277 | 282.933 | -3.149 | 889.583 | 32.749 | 0.51019
2020-03-12 11:15:00 | 1.805 | 265.627 | 2.21 | 273.849 | 2.4 | 274 | 2.684 | 267.017 | -1.306 | 889.783 | 31.235 | 0.15632
2020-03-12 11:30:00 | 2.436 | 259.207 | 2.424 | 271.81 | 2.273 | 281.367 | 2.398 | 286.5 | -1.855 | 889.717 | 30.699 | 0.22383
2020-03-12 11:45:00 | 2.557 | 297.247 | 2.609 | 297.923 | 2.703 | 300.333 | 2.823 | 294.267 | -1.853 | 890.133 | 30.064 | 0.17054
2020-03-12 12:00:00 | 1.556 | 276.947 | 1.843 | 288.016 | 2.264 | 277.8 | 2.772 | 272.05 | -1.499 | 889.9 | 29.555 | 0.16201
2020-03-12 12:15:00 | 1.556 | 27.467 | 1.524 | 80.012 | 1.346 | 103.067 | 1.864 | 230.733 | -1.329 | 889.583 | 28.475 | 0.094505
2020-03-12 12:30:00 | 2.669 | 308.567 | 2.786 | 310.839 | 2.89 | 316.567 | 3.152 | 314.067 | -1.429 | 889.517 | 28.341 | 0.14069
2020-03-12 12:45:00 | 2.163 | 81.698 | 2.167 | 142.649 | 2.061 | 105.7 | 2.208 | 179.268 | -0.895 | 889.883 | 26.603 | 0.10232
2020-03-12 13:00:00 | 1.873 | 141.644 | 2.345 | 164.511 | 2.587 | 198 | 3.215 | 205.7 | -1.095 | 889.867 | 25.555 | 0.13643
2020-03-12 13:15:00 | 2.189 | 71.79 | 1.847 | 25.597 | 1.787 | 27.312 | 1.753 | 28.767 | -0.932 | 889.633 | 23.755 | 0.10161
2020-03-12 13:30:00 | 2.59 | 296.867 | 2.479 | 312.061 | 2.283 | 332.367 | 2.513 | 327.6 | -0.542 | 889.7 | 22.547 | 0.21317
2020-03-12 13:45:00 | 2.037 | 237.773 | 2.386 | 247.993 | 2.58 | 250.933 | 2.424 | 258.283 | 0.366 | 889.867 | 22.531 | 0.22028
2020-03-12 14:00:00 | 1.906 | 302.853 | 1.521 | 299.456 | 1.442 | 286.367 | 1.77 | 302.133 | -0.06 | 890.333 | 22.768 | 0.20109
2020-03-12 14:15:00 | 1.424 | 106.937 | 0.62 | 99.746 | 0.36 | 108.067 | 0.46 | 41.742 | 0.732 | 889.6 | 21.765 | 0.20962
2020-03-12 14:30:00 | 2.537 | 213.4 | 2.694 | 228.452 | 2.882 | 227.533 | 2.703 | 223.333 | 1.479 | 889.233 | 19.307 | 0.24941
2020-03-12 14:45:00 | 1.427 | 210.027 | 1.342 | 274.988 | 1.22 | 265.583 | 1.655 | 265.417 | 0.416 | 890.033 | 18.643 | 0.2423
2020-03-12 15:00:00 | 2.4 | 169.96 | 2.497 | 180.793 | 2.576 | 190.433 | 2.523 | 191.833 | 1.306 | 888.9 | 17.229 | 0.21033
2020-03-12 15:15:00 | 2.584 | 213.273 | 2.549 | 218.911 | 2.327 | 215.767 | 2.473 | 206.45 | 1.826 | 889.2 | 16.175 | 0.23449
2020-03-12 15:30:00 | 1.609 | 227.013 | 1.477 | 227.023 | 1.35 | 227.6 | 1.586 | 213.167 | 2.594 | 889.433 | 14.439 | 0.19754
2020-03-12 15:45:00 | 2.213 | 217.893 | 2.053 | 217.34 | 2.304 | 214.383 | 2.48 | 218.333 | 2.208 | 889.7 | 14.225 | 0.22809
2020-03-12 16:00:00 | 2.218 | 298.714 | 1.959 | 302.089 | 2.038 | 324.6 | 2.268 | 325.733 | 1.229 | 889.433 | 15.645 | 0.11156
2020-03-12 16:15:00 | 1.358 | 219.831 | 1.177 | 250.701 | 1.32 | 229.967 | 1.759 | 216.736 | 1.912 | 889.333 | 16.075 | 0.15419
2020-03-12 16:30:00 | 2.324 | 295.973 | 2.397 | 334.147 | 2.741 | 333.267 | 2.661 | 325.6 | 1.349 | 889.267 | 15.684 | 0.13359
2020-03-12 16:45:00 | 2.168 | 285.373 | 2.204 | 296.742 | 2.059 | 303.7 | 2.267 | 308.867 | 1.339 | 889.267 | 16.196 | 0.20109
2020-03-12 17:00:00 | 0.346 | 197.487 | 0.097 | 231.282 | 0.067 | 315.067 | 0.552 | 320.367 | 1.516 | 889.333 | 15.648 | 0.19185
2020-03-12 17:15:00 | 1.431 | 203.901 | 1.446 | 308.449 | 1.536 | 203.1 | 1.939 | 296.9 | 2.659 | 889.333 | 15.232 | 0.19185
2020-03-12 17:30:00 | 2.911 | 35.01 | 2.586 | 34.018 | 2.702 | 38.867 | 2.761 | 35.333 | 1.888 | 889.633 | 15.277 | 0.2082
2020-03-12 17:45:00 | 1.244 | 113.14 | 0.414 | 111.042 | 0.753 | 121.533 | 0.95 | 77.867 | 1.978 | 889.7 | 15.795 | 0.22596
2020-03-12 18:00:00 | 2.18 | 108.107 | 1.956 | 101.664 | 2.02 | 101.167 | 2.143 | 93.667 | 1.925 | 889.867 | 15.237 | 0.20464
2020-03-12 18:15:00 | 1.018 | 143.87 | 0.17 | 24.896 | 0.057 | 49.767 | 0.118 | 90.75 | 2.082 | 889.733 | 15.389 | 0.20393
2020-03-12 18:30:00 | 1.029 | 231.66 | 0.583 | 227.694 | 0.5 | 212.067 | 0.611 | 185.267 | 2.196 | 889.733 | 15.32 | 0.19327
2020-03-12 18:45:00 | 1.716 | 111.847 | 1.083 | 120.07 | 1.293 | 127.433 | 1.568 | 125.4 | 1.812 | 889.367 | 15.272 | 0.20109
2020-03-12 19:00:00 | 1.814 | 78.012 | 1.406 | 74.995 | 1.267 | 81.1 | 1.582 | 100.733 | 2.214 | 889.833 | 14.155 | 0.21743
2020-03-12 19:15:00 | 2.388 | 86.163 | 2.356 | 82.806 | 2.484 | 88.3 | 2.52 | 86.833 | 2.38 | 889.667 | 13.869 | 0.21885
2020-03-12 19:30:00 | 2.411 | 76.353 | 2.13 | 66.48 | 2.376 | 71.2 | 2.567 | 70.233 | 1.812 | 889.367 | 14.301 | 0.18119
2020-03-12 19:45:00 | 2.402 | 58.797 | 2.1 | 51.897 | 2.24 | 56.367 | 2.294 | 53.367 | 1.165 | 889.767 | 14.741 | 0.1748
2020-03-12 20:00:00 | 2.704 | 63.503 | 2.784 | 57.417 | 3.118 | 62.433 | 3.233 | 61.033 | 0.765 | 889.367 | 16.317 | 0.39152
2020-03-12 20:15:00 | 2.559 | 62.908 | 2.909 | 62.634 | 3.308 | 69.5 | 3.462 | 65.767 | 0.05 | 889.4 | 16.989 | 0.079583
2020-03-12 20:30:00 | 2.72 | 78.39 | 2.397 | 77.48 | 2.48 | 83.2 | 2.502 | 78.333 | 0.083 | 889.433 | 17.237 | 0.60825
2020-03-12 20:45:00 | 2.237 | 93.94 | 2.22 | 82.376 | 2.25 | 86.133 | 2.374 | 82.933 | 0.1 | 889.733 | 17.088 | 1.8532
2020-03-12 21:00:00 | 2.642 | 92.027 | 3.031 | 80.037 | 3.127 | 82.467 | 3.195 | 77.133 | -0.366 | 889.467 | 17.229 | 2.4031
2020-03-12 21:15:00 | 2.288 | 105.52 | 2.647 | 87.467 | 2.48 | 92.733 | 2.301 | 82.1 | -0.775 | 889.5 | 17.344 | 1.7324
2020-03-12 21:30:00 | 2.359 | 126.61 | 2.06 | 96.167 | 1.658 | 100.7 | 1.596 | 80.367 | -1.219 | 889.467 | 17.507 | 1.8716
2020-03-12 21:45:00 | 3.505 | 161.24 | 3.56 | 137.372 | 3.675 | 132.6 | 3.63 | 122.067 | -2.197 | 890 | 17.867 | 2.7307
2020-03-12 22:00:00 | 3.12 | 143.52 | 3.307 | 119.005 | 3.886 | 120.633 | 4.141 | 114.967 | -1.202 | 889.6 | 17.811 | 0.97987
2020-03-12 22:15:00 | 3.3 | 196.133 | 2.752 | 188.266 | 2.731 | 189.4 | 2.581 | 174.367 | -2.602 | 889.517 | 29.029 | 0.11867
2020-03-12 22:30:00 | 3.84 | 196.92 | 3.627 | 194.922 | 3.722 | 196.567 | 3.94 | 194.167 | -3.798 | 889.683 | 35.968 | 0.21246
2020-03-12 22:45:00 | 3.44 | 201.1 | 3.085 | 176.923 | 3.343 | 176.033 | 3.054 | 173.367 | -3.84 | 889.867 | 41.685 | 0.18048
2020-03-12 23:00:00 | 3.478 | 196.78 | 2.641 | 168.449 | 1.75 | 173.567 | 1.714 | 164 | -4.378 | 889.742 | 41.205 | 0.69067
2020-03-12 23:15:00 | 4.738 | 194.427 | 4.145 | 175.376 | 3.129 | 169.7 | 2.866 | 163 | -4.632 | 889.733 | 41.424 | 0.54287
2020-03-12 23:30:00 | 4.618 | 205.7 | 4.604 | 185.637 | 4.308 | 182.5 | 3.982 | 174.1 | -5.485 | 889.492 | 42.229 | 0.71128
2020-03-12 23:45:00 | 5.158 | 198.4 | 4.797 | 179.427 | 4.262 | 179.3 | 4.001 | 172.767 | -4.902 | 890.117 | 39.344 | 2.4905