## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-13 00:00:00 | 4.771 | 206.833 | 4.221 | 178.604 | 3.362 | 175.9 | 2.906 | 159.967 | -5.551 | 889.517 | 39.259 | 1.7224
2020-03-13 00:15:00 | 5.12 | 210.4 | 4.1 | 182.775 | 3.046 | 179 | 2.496 | 161.167 | -6.562 | 889.567 | 41.035 | 0.80223
2020-03-13 00:30:00 | 5.664 | 208.173 | 4.648 | 188.811 | 3.98 | 182.2 | 3.612 | 174.1 | -6.615 | 890.225 | 42.485 | 0.58977
2020-03-13 00:45:00 | 5.092 | 205 | 3.844 | 180.896 | 3.291 | 179.167 | 3.148 | 167.733 | -5.235 | 890.05 | 39.637 | 1.0516
2020-03-13 01:00:00 | 4.274 | 200.76 | 2.218 | 173.18 | 1.786 | 166.667 | 2.153 | 147.267 | -6.028 | 889.533 | 38.853 | 1.6926
2020-03-13 01:15:00 | 4.711 | 203.753 | 2.846 | 172.807 | 2.693 | 163.133 | 2.936 | 153.833 | -6.156 | 889.683 | 37.893 | 2.7499
2020-03-13 01:30:00 | 5.125 | 207.14 | 3.375 | 181.178 | 2.391 | 173.267 | 2.278 | 157.467 | -6.813 | 889.983 | 39.237 | 1.878
2020-03-13 01:45:00 | 5.665 | 209.267 | 3.85 | 185.195 | 3.138 | 176.033 | 2.762 | 163.267 | -6.512 | 889.717 | 39.563 | 1.5206
2020-03-13 02:00:00 | 6.037 | 209.333 | 4.483 | 192.129 | 3.626 | 183 | 3.245 | 171.133 | -7.39 | 889.933 | 42.485 | 1.9683
2020-03-13 02:15:00 | 4.859 | 206.1 | 4.452 | 184.158 | 3.66 | 180.967 | 3.285 | 164.433 | -6.76 | 889.667 | 40.373 | 2.8693
2020-03-13 02:30:00 | 5.443 | 205.387 | 5.012 | 182.849 | 3.906 | 180.633 | 3.387 | 167.533 | -7.996 | 889.825 | 42.933 | 3.4889
2020-03-13 02:45:00 | 4.953 | 204.7 | 4.572 | 181.762 | 3.614 | 180.533 | 3.112 | 166.333 | -7.656 | 889.858 | 41.771 | 3.8193
2020-03-13 03:00:00 | 5.563 | 208.447 | 5.374 | 186.74 | 4.167 | 182.467 | 3.116 | 170.6 | -8 | 889.467 | 42.112 | 2.7186
2020-03-13 03:15:00 | 4.473 | 210 | 4.838 | 190.274 | 4.033 | 184.767 | 3.319 | 171.767 | -8.874 | 889.608 | 44.341 | 1.7658
2020-03-13 03:30:00 | 4.876 | 202.633 | 4.542 | 184.683 | 3.682 | 180.167 | 3.037 | 163.9 | -8.458 | 889.825 | 44.789 | 1.2563
2020-03-13 03:45:00 | 5 | 207.587 | 4.87 | 183.646 | 4.285 | 180.6 | 3.839 | 172.4 | -8.498 | 889.7 | 44.64 | 1.0786
2020-03-13 04:00:00 | 5.24 | 212.333 | 5.098 | 188.928 | 4.078 | 184.333 | 3.692 | 174.467 | -8.724 | 889.792 | 44.501 | 1.5533
2020-03-13 04:15:00 | 5.404 | 210.933 | 5.498 | 191.939 | 4.696 | 187.933 | 3.988 | 177.533 | -8.608 | 889.508 | 44.725 | 2.8458
2020-03-13 04:30:00 | 5.421 | 207.833 | 5.005 | 192.034 | 5.26 | 187.567 | 4.665 | 177.033 | -8.674 | 890.083 | 44.523 | 1.5604
2020-03-13 04:45:00 | 5.202 | 200.633 | 4.152 | 179.03 | 3.34 | 177.4 | 3.17 | 166.033 | -8.291 | 889.842 | 42.432 | 1.7864
2020-03-13 05:00:00 | 6.022 | 195.2 | 5.276 | 179.192 | 4.244 | 177.933 | 3.697 | 169.233 | -8.09 | 889.9 | 41.733 | 2.5346
2020-03-13 05:15:00 | 5.829 | 198 | 5.286 | 183.162 | 5.155 | 181.467 | 4.81 | 173.333 | -8.341 | 890 | 40.027 | 2.698
2020-03-13 05:30:00 | 6.79 | 198.507 | 5.461 | 185.233 | 4.7 | 183.3 | 4.371 | 176.233 | -7.161 | 889.65 | 37.472 | 3.9458
2020-03-13 05:45:00 | 6.194 | 202.56 | 6.977 | 188.184 | 5.919 | 190.2 | 5.354 | 178.8 | -7.926 | 889.733 | 38.043 | 4.6855
2020-03-13 06:00:00 | 5.695 | 202.827 | 6.019 | 187.52 | 5.063 | 187.733 | 4.46 | 175.267 | -8.311 | 889.717 | 39.552 | 1.274
2020-03-13 06:15:00 | 5.475 | 201.28 | 5.015 | 181.866 | 3.913 | 178.033 | 3.279 | 166.633 | -8.484 | 889.733 | 40.171 | 0.59474
2020-03-13 06:30:00 | 5.122 | 195.8 | 3.438 | 174.033 | 2.497 | 173.433 | 2.265 | 151.767 | -8.891 | 889.4 | 44.331 | 1.0239
2020-03-13 06:45:00 | 4.954 | 191.427 | 2.493 | 171.596 | 2.294 | 163.1 | 2.267 | 145.933 | -7.204 | 890.258 | 43.499 | 1.4766
2020-03-13 07:00:00 | 5.424 | 204.433 | 3.644 | 179.559 | 2.74 | 169.633 | 2.402 | 149.933 | -9.208 | 890.017 | 47.136 | 1.2598
2020-03-13 07:15:00 | 4.907 | 204.767 | 4.331 | 181.103 | 3.151 | 175.667 | 2.463 | 159.567 | -9.308 | 889.908 | 49.28 | 0.16556
2020-03-13 07:30:00 | 3.848 | 200.6 | 2.42 | 175.119 | 2.033 | 158.5 | 2.348 | 140.233 | -8.858 | 889.683 | 47.477 | 0.16769
2020-03-13 07:45:00 | 5.186 | 211.14 | 2.675 | 182.094 | 2.084 | 154.567 | 2.469 | 138.6 | -9.199 | 889.4 | 46.411 | 0.13856
2020-03-13 08:00:00 | 4.49 | 206.727 | 3.845 | 190.399 | 3.043 | 180.7 | 2.371 | 156.067 | -9.766 | 890.258 | 45.099 | 0.092374
2020-03-13 08:15:00 | 4.627 | 207.853 | 2.917 | 183.77 | 2.326 | 173.467 | 2.266 | 154.033 | -9.162 | 889.892 | 44.501 | 0.35386
2020-03-13 08:30:00 | 5.053 | 208.047 | 2.995 | 182.178 | 2.483 | 171.333 | 2.542 | 152.033 | -8.3 | 889.775 | 41.616 | 1.0026
2020-03-13 08:45:00 | 5.029 | 209.78 | 3.119 | 181.501 | 2.602 | 165.567 | 2.62 | 149.133 | -7.032 | 890.15 | 38.987 | 2.2532
2020-03-13 09:00:00 | 3.435 | 207.46 | 3.698 | 183.022 | 3.242 | 175.367 | 3.064 | 158.633 | -6.459 | 889.367 | 37.499 | 3.2992
2020-03-13 09:15:00 | 3.006 | 203.953 | 3.35 | 180.962 | 2.681 | 164.133 | 3.056 | 147.5 | -4.364 | 890.05 | 33.115 | 3.6608
2020-03-13 09:30:00 | 3.287 | 192.627 | 3.461 | 180.264 | 2.693 | 173.933 | 2.751 | 149.033 | -2.943 | 889.733 | 29.68 | 3.2849
2020-03-13 09:45:00 | 2.644 | 187.26 | 2.166 | 173.346 | 2.295 | 159.233 | 2.859 | 145.867 | -1.443 | 889.883 | 26.603 | 3.5678
2020-03-13 10:00:00 | 2.975 | 152.187 | 2.889 | 145.926 | 3.054 | 149.567 | 3.57 | 143.433 | -1.065 | 889.817 | 23.029 | 4.1099
2020-03-13 10:15:00 | 3.48 | 135.52 | 3.387 | 131.889 | 3.457 | 136.067 | 3.528 | 132.967 | -0.932 | 889.433 | 21.995 | 7.1057
2020-03-13 10:30:00 | 4.739 | 123.713 | 4.531 | 120.882 | 4.746 | 127.133 | 5.023 | 124.7 | -0.459 | 889.55 | 21.189 | 9.7355
2020-03-13 10:45:00 | 4.528 | 120.72 | 4.956 | 117.917 | 5.044 | 123.767 | 5.228 | 119.333 | -0.106 | 889.833 | 21.253 | 13.6685
2020-03-13 11:00:00 | 5.701 | 117.09 | 5.773 | 112.552 | 5.884 | 115 | 5.961 | 110.367 | 0.05 | 890 | 20.869 | 15.8797
2020-03-13 11:15:00 | 5.39 | 112.683 | 5.781 | 109.393 | 5.624 | 108.033 | 5.928 | 102.8 | 0.332 | 889.483 | 20.045 | 20.1169
2020-03-13 11:30:00 | 5.765 | 97.053 | 5.961 | 90.216 | 5.882 | 94.567 | 5.993 | 90 | 0.865 | 889.467 | 19.435 | 32.0103
2020-03-13 11:45:00 | 6.583 | 93.533 | 6.283 | 89.668 | 6.07 | 91.4 | 6.158 | 89.2 | 1.499 | 889.233 | 18.363 | 33.8343
2020-03-13 12:00:00 | 5.884 | 96.65 | 6.062 | 89.144 | 5.9 | 94.4 | 6.15 | 93.6 | 2.078 | 889.267 | 17.464 | 32.6107
2020-03-13 12:15:00 | 6.375 | 88.527 | 5.768 | 84.439 | 5.853 | 88.333 | 5.898 | 85.467 | 2.131 | 889.433 | 17.04 | 35.2441
2020-03-13 12:30:00 | 6.801 | 97.27 | 5.955 | 94.037 | 5.631 | 96.067 | 6.038 | 90.2 | 2.373 | 889.633 | 16.437 | 37.4184
2020-03-13 12:45:00 | 7.041 | 90.603 | 7.191 | 87.884 | 7.129 | 92.8 | 7.262 | 88.433 | 2.895 | 889.967 | 16.035 | 36.6581
2020-03-13 13:00:00 | 6.67 | 94.143 | 6.534 | 89.267 | 6.271 | 91.367 | 6.658 | 91.267 | 3.134 | 889.633 | 15.344 | 36.0321
2020-03-13 13:15:00 | 6.416 | 100.433 | 6.098 | 94.086 | 6.702 | 102.933 | 6.902 | 98.633 | 3.622 | 889.333 | 14.709 | 34.9734
2020-03-13 13:30:00 | 7.194 | 85.267 | 7.413 | 79.858 | 7.485 | 85.433 | 7.861 | 82.2 | 3.488 | 889.7 | 14.757 | 36.7491
2020-03-13 13:45:00 | 6.718 | 95.14 | 6.641 | 86.168 | 6.537 | 90.433 | 6.816 | 84.833 | 3.829 | 889.8 | 14.424 | 31.4397
2020-03-13 14:00:00 | 6.368 | 96.007 | 6.153 | 89.436 | 6.066 | 92.6 | 6.208 | 86 | 3.88 | 889.767 | 14.285 | 29.5176
2020-03-13 14:15:00 | 6.437 | 103.743 | 6.255 | 103.222 | 6.368 | 104 | 6.606 | 97.9 | 4.265 | 889.767 | 14.083 | 28.1178
2020-03-13 14:30:00 | 6.647 | 103.087 | 6.653 | 94.037 | 6.729 | 96.467 | 6.712 | 93.333 | 4.556 | 889.833 | 12.947 | 25.9407
2020-03-13 14:45:00 | 5.872 | 88.002 | 5.806 | 83.709 | 6.168 | 89.667 | 6.53 | 85.567 | 4.44 | 889.3 | 12.971 | 26.3748
2020-03-13 15:00:00 | 6.198 | 81.728 | 6.277 | 80.132 | 6.275 | 85.4 | 6.72 | 82.6 | 4.669 | 889.233 | 12.52 | 28.7893
2020-03-13 15:15:00 | 6.058 | 96.187 | 6.253 | 90.114 | 6.246 | 91.367 | 6.244 | 88.533 | 5.101 | 889.367 | 12.243 | 30.8464
2020-03-13 15:30:00 | 6.143 | 94.357 | 6.418 | 87.192 | 6.275 | 92.1 | 6.331 | 87.533 | 5.207 | 889.6 | 11.848 | 30.6141
2020-03-13 15:45:00 | 7.382 | 79.492 | 7.404 | 72.73 | 7.752 | 78.467 | 8.019 | 75.3 | 5.247 | 889.467 | 12.056 | 31.4269
2020-03-13 16:00:00 | 7.04 | 99.477 | 6.215 | 88.035 | 5.808 | 91.033 | 5.762 | 88.333 | 5.376 | 889.433 | 12.131 | 35.6541
2020-03-13 16:15:00 | 6.171 | 93.08 | 5.843 | 92.656 | 5.893 | 96.067 | 5.773 | 91.733 | 5.379 | 889.267 | 12.128 | 30.975
2020-03-13 16:30:00 | 6.225 | 91.587 | 6.394 | 85.546 | 6.39 | 90.4 | 6.936 | 85.233 | 5.568 | 889.467 | 12.208 | 34.7552
2020-03-13 16:45:00 | 7.14 | 91.023 | 6.656 | 87.534 | 7.098 | 88.733 | 7.27 | 82.5 | 5.769 | 889.333 | 12.648 | 32.706
2020-03-13 17:00:00 | 6.128 | 96.07 | 6.26 | 89.74 | 5.968 | 91.233 | 5.87 | 89.8 | 5.7 | 889 | 12.648 | 30.3455
2020-03-13 17:15:00 | 6.735 | 88.39 | 6.733 | 84.754 | 6.68 | 90.733 | 6.729 | 86.267 | 5.636 | 889.6 | 12.259 | 34.8
2020-03-13 17:30:00 | 6.838 | 87.4 | 6.741 | 82.104 | 6.968 | 87.067 | 7.066 | 85.1 | 5.762 | 889.533 | 12.149 | 36.5587
2020-03-13 17:45:00 | 6.625 | 93.167 | 6.088 | 84.046 | 5.897 | 93.067 | 5.978 | 87.867 | 5.795 | 889.533 | 12.557 | 35.7237
2020-03-13 18:00:00 | 6.483 | 95.043 | 6.049 | 93.702 | 5.646 | 93.367 | 5.362 | 89.933 | 5.938 | 889.167 | 12.477 | 33.4556
2020-03-13 18:15:00 | 6.056 | 96.247 | 5.723 | 89.896 | 5.71 | 96.367 | 5.72 | 89.533 | 5.76 | 889.3 | 12.52 | 27.5757
2020-03-13 18:30:00 | 5.602 | 90.587 | 5.355 | 84.762 | 5.463 | 89.4 | 5.357 | 82.733 | 5.766 | 889.7 | 12.685 | 18.4136
2020-03-13 18:45:00 | 5.245 | 94.177 | 5.175 | 88.936 | 4.99 | 94.1 | 4.832 | 90.2 | 5.557 | 889.6 | 12.88 | 15.7909
2020-03-13 19:00:00 | 5.522 | 80.31 | 5.673 | 74.941 | 5.939 | 80.067 | 5.818 | 78.333 | 5.59 | 889.733 | 13.04 | 18.9402
2020-03-13 19:15:00 | 5.787 | 76.193 | 5.923 | 71.069 | 6.332 | 75.3 | 6.644 | 72.6 | 5.163 | 889.333 | 13.891 | 20.8516
2020-03-13 19:30:00 | 5.165 | 85.58 | 5.35 | 79.949 | 5.244 | 86.167 | 5.113 | 80.833 | 4.335 | 889.567 | 14.741 | 16.1306
2020-03-13 19:45:00 | 6.016 | 81.633 | 6.625 | 78.832 | 7 | 83.4 | 6.992 | 79.6 | 4.122 | 889.633 | 15.733 | 22.1313
2020-03-13 20:00:00 | 4.391 | 92.8 | 4.933 | 86.389 | 4.524 | 93.8 | 4.376 | 90.5 | 3.254 | 889.833 | 16.677 | 17.2518
2020-03-13 20:15:00 | 4.716 | 92.167 | 4.962 | 88.461 | 3.696 | 99.1 | 3.628 | 88.833 | 2.598 | 889.8 | 17.123 | 14.2241
2020-03-13 20:30:00 | 4.826 | 85.913 | 4.795 | 83.194 | 4.618 | 87.433 | 4.159 | 84.133 | 2.106 | 889.5 | 17.76 | 12.6474
2020-03-13 20:45:00 | 3.499 | 89.027 | 3.916 | 85.634 | 3.233 | 96.267 | 3.414 | 92.533 | 1.879 | 889.633 | 18.203 | 9.2097
2020-03-13 21:00:00 | 3.491 | 86.7 | 3.785 | 85.863 | 3.046 | 96.067 | 2.998 | 92.1 | 1.499 | 889.633 | 18.461 | 6.7596
2020-03-13 21:15:00 | 2.529 | 88.957 | 3.139 | 85.32 | 2.814 | 93.233 | 2.638 | 91.267 | 1.346 | 889.967 | 18.875 | 3.3517
2020-03-13 21:30:00 | 1.313 | 120.383 | 1.808 | 93.55 | 1.918 | 94.967 | 1.817 | 103.833 | 0.598 | 889.833 | 19.917 | 1.1
2020-03-13 21:45:00 | 1.147 | 107.693 | 2.094 | 83.494 | 2.115 | 88.267 | 1.968 | 87.3 | 0.432 | 890.35 | 20.661 | 0.84202
2020-03-13 22:00:00 | 0.293 | 96.39 | 1.794 | 83.746 | 2.417 | 87.067 | 2.589 | 78.633 | -0.103 | 889.967 | 21.035 | 1.5441
2020-03-13 22:15:00 | 0.289 | 122.067 | 0.661 | 91.355 | 2.498 | 87.5 | 2.936 | 83.4 | -0.478 | 889.65 | 21.723 | 0.55495
2020-03-13 22:30:00 | 0 | 182.613 | 0.053 | 88.234 | 1.563 | 88.5 | 2.271 | 80.033 | -1.012 | 889.55 | 22.576 | 1.0289
2020-03-13 22:45:00 | 0 | 157.387 | 1.164 | 87.715 | 2.065 | 91.533 | 2.468 | 94 | -1.539 | 890.25 | 23.856 | 1.8581
2020-03-13 23:00:00 | 0.053 | 68.07 | 1.544 | 64.496 | 3.311 | 77.333 | 4.088 | 75.6 | -1.279 | 889.467 | 23.648 | 2.8849
2020-03-13 23:15:00 | 0.935 | 41.527 | 2.788 | 61.697 | 3.602 | 73.467 | 4.341 | 72.867 | -0.339 | 889.75 | 22.187 | 2.5424
2020-03-13 23:30:00 | 1.12 | 60.713 | 3.248 | 68.067 | 3.863 | 77.2 | 4.061 | 76.167 | -1.082 | 889.383 | 21.957 | 3.3965
2020-03-13 23:45:00 | 1.79 | 160.2 | 2.987 | 106.313 | 2.735 | 101.533 | 2.6 | 101.2 | -1.529 | 890.35 | 20.896 | 0.67717