## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-14 00:00:00 | 2.128 | 196.78 | 1.427 | 154.854 | 2.047 | 141.567 | 2.768 | 120.633 | -2.177 | 889.95 | 22.491 | 1.1405
2020-03-14 00:15:00 | 2.472 | 146.353 | 3.168 | 123.367 | 3.911 | 120.833 | 4.636 | 112.8 | -0.978 | 889.867 | 21.995 | 5.9212
2020-03-14 00:30:00 | 2.611 | 199.68 | 2.249 | 159.862 | 2.813 | 139.133 | 4.15 | 118.067 | -2.137 | 890 | 22.96 | 4.0588
2020-03-14 00:45:00 | 3.488 | 212.24 | 2.338 | 177.108 | 2.587 | 160.8 | 3.451 | 127.233 | -1.68 | 889.683 | 22.245 | 1.328
2020-03-14 01:00:00 | 2.874 | 211.687 | 1.703 | 181.059 | 1.977 | 158.133 | 2.557 | 127.233 | -2.074 | 890.017 | 21.488 | 0.50806
2020-03-14 01:15:00 | 2.449 | 226.847 | 0.43 | 199.773 | 0.977 | 153.133 | 1.978 | 111.467 | -1.816 | 889.167 | 21.893 | 1.1653
2020-03-14 01:30:00 | 0.525 | 181.693 | 0.426 | 89.214 | 1.632 | 87.167 | 2.426 | 87.267 | -0.915 | 889.883 | 20.64 | 2.4849
2020-03-14 01:45:00 | 2.951 | 234.987 | 0.193 | 244.345 | 0.227 | 111.633 | 1.267 | 80.367 | -1.64 | 889.817 | 20.508 | 0.464
2020-03-14 02:00:00 | 2.344 | 262.24 | 0.914 | 246.679 | 0.907 | 58.747 | 1.943 | 50.646 | -1.489 | 889.417 | 20.305 | 0.13714
2020-03-14 02:15:00 | 1.727 | 244.267 | 0.17 | 131.089 | 0.767 | 50.179 | 1.311 | 71.033 | -3.371 | 889.733 | 21.557 | 0.099479
2020-03-14 02:30:00 | 0.52 | 246.867 | 0.873 | 95.82 | 1.583 | 122.667 | 2.112 | 116.1 | -3.354 | 889.617 | 22.624 | 1.7317
2020-03-14 02:45:00 | 6.526 | 212.14 | 4.818 | 198.471 | 4.616 | 178.533 | 4.97 | 162.667 | -5.238 | 889.733 | 27.371 | 2.8622
2020-03-14 03:00:00 | 6.017 | 207.6 | 5.185 | 198.979 | 5.2 | 193.433 | 5.168 | 176.467 | -5.052 | 889.917 | 30.155 | 3.405
2020-03-14 03:15:00 | 6.994 | 210.413 | 6.018 | 207.282 | 5.822 | 204.233 | 5.908 | 190.633 | -5.839 | 889.933 | 35.899 | 5.2653
2020-03-14 03:30:00 | 4.972 | 209.353 | 5.234 | 208.316 | 4.778 | 202.767 | 4.866 | 192.933 | -6.339 | 889.783 | 38.331 | 3.3027
2020-03-14 03:45:00 | 5.082 | 209.273 | 5.674 | 214.728 | 4.5 | 205.3 | 4.235 | 187.433 | -6.714 | 889.867 | 39.483 | 0.36452
2020-03-14 04:00:00 | 7.271 | 213.233 | 4.958 | 225.733 | 3.433 | 217.7 | 2.717 | 196.233 | -6.528 | 889.6 | 40.357 | 0.15064
2020-03-14 04:15:00 | 7.233 | 213.773 | 5.121 | 222.783 | 3.767 | 220.367 | 2.514 | 201.367 | -5.918 | 889.917 | 37.365 | 0.11937
2020-03-14 04:30:00 | 6.506 | 213.04 | 5.292 | 222.706 | 4.123 | 218.933 | 3.149 | 204.933 | -6.234 | 889.833 | 34.016 | 0.42847
2020-03-14 04:45:00 | 6.645 | 213.62 | 4.466 | 214.607 | 3.535 | 208.467 | 3.242 | 193.233 | -5.66 | 889.517 | 31.867 | 0.62956
2020-03-14 05:00:00 | 6.558 | 218.527 | 4.365 | 218.079 | 3.567 | 208.033 | 3.224 | 194.1 | -5.829 | 890.183 | 31.573 | 1.1987
2020-03-14 05:15:00 | 6.624 | 213.787 | 6.163 | 226.776 | 4.839 | 229.167 | 3.794 | 216.567 | -6.123 | 889.7 | 31.36 | 1.7693
2020-03-14 05:30:00 | 5.565 | 220.753 | 4.829 | 237.134 | 4.237 | 242.333 | 3.363 | 227.9 | -6.389 | 889.783 | 30.992 | 0.59119
2020-03-14 05:45:00 | 6.624 | 226.533 | 4.387 | 243.781 | 3.425 | 250.867 | 2.392 | 230.233 | -6.612 | 889.633 | 30.677 | 0.11085
2020-03-14 06:00:00 | 6.276 | 221.26 | 4.875 | 236.778 | 3.417 | 242.933 | 2.377 | 238 | -6.492 | 889.983 | 30.587 | 0.10872
2020-03-14 06:15:00 | 6.31 | 221.467 | 4.582 | 234.012 | 3.454 | 235.5 | 2.15 | 223.4 | -6.645 | 889.667 | 30.4 | 0.23591
2020-03-14 06:30:00 | 5.873 | 224.133 | 3.25 | 245.534 | 2.166 | 238.3 | 1.361 | 226.067 | -5.898 | 890.083 | 29.147 | 0.24586
2020-03-14 06:45:00 | 5.924 | 224.1 | 3.527 | 249.826 | 2.35 | 253.633 | 1.703 | 229.883 | -6.395 | 890 | 29.675 | 0.21885
2020-03-14 07:00:00 | 6.073 | 227.893 | 3.642 | 252.847 | 2.522 | 255.867 | 1.794 | 234.383 | -6.459 | 889.85 | 29.259 | 0.2288
2020-03-14 07:15:00 | 4.573 | 231.973 | 2.235 | 263.242 | 0.804 | 270 | 0.229 | 250.367 | -5.304 | 889.9 | 28.411 | 0.2217
2020-03-14 07:30:00 | 5.662 | 227.2 | 2.027 | 257.62 | 0.46 | 270 | 0.232 | 250.333 | -5.402 | 889.683 | 27.68 | 0.21885
2020-03-14 07:45:00 | 5.99 | 231.027 | 3.342 | 255.564 | 2.542 | 275.333 | 2.504 | 260.533 | -6.392 | 889.783 | 28.765 | 0.2217
2020-03-14 08:00:00 | 4.951 | 231.967 | 2.316 | 257.608 | 1.821 | 286 | 1.687 | 266.533 | -5.335 | 889.733 | 27.84 | 0.21743
2020-03-14 08:15:00 | 3.738 | 233.587 | 1.78 | 256.088 | 1.508 | 274 | 1.158 | 266.867 | -2.714 | 889.783 | 24.653 | 0.21459
2020-03-14 08:30:00 | 4.651 | 231.34 | 2.181 | 275.148 | 2.359 | 288 | 2.607 | 272.067 | -3.049 | 889.833 | 23.547 | 0.23449
2020-03-14 08:45:00 | 5.683 | 227.9 | 4.207 | 270.941 | 3.972 | 285.533 | 3.954 | 286.167 | -5.385 | 890.033 | 25.672 | 0.81715
2020-03-14 09:00:00 | 4.943 | 224.913 | 4.212 | 262.988 | 3.792 | 276.333 | 3.524 | 282.667 | -4.444 | 889.933 | 26.323 | 0.44766
2020-03-14 09:15:00 | 4.03 | 229.833 | 4.096 | 264.515 | 3.043 | 278.2 | 2.84 | 271.267 | -2.919 | 889.967 | 24.835 | 0.15775
2020-03-14 09:30:00 | 2.939 | 237.76 | 1.948 | 272.961 | 1.85 | 282 | 2.085 | 284.067 | -1.039 | 889.35 | 22.4 | 0.26362
2020-03-14 09:45:00 | 3.078 | 241.6 | 3.104 | 258.442 | 2.566 | 281.6 | 2.626 | 285.033 | 0.548 | 889.683 | 20.757 | 0.29489
2020-03-14 10:00:00 | 3.808 | 262.74 | 3.735 | 275.577 | 3.788 | 281.4 | 3.933 | 286.933 | 1.489 | 889.067 | 18.009 | 1.8574
2020-03-14 10:15:00 | 3.814 | 252.753 | 3.849 | 269.59 | 3.972 | 273.5 | 4.138 | 269.033 | 1.769 | 889.8 | 17.279 | 2.9474
2020-03-14 10:30:00 | 3.217 | 274.613 | 3.126 | 279.903 | 3.291 | 283.5 | 3.269 | 278.933 | 1.985 | 889.067 | 16.82 | 1.5867
2020-03-14 10:45:00 | 3.1 | 312.173 | 2.898 | 299.82 | 2.927 | 302.833 | 3.144 | 299.267 | 2.476 | 889.333 | 16.337 | 0.57485
2020-03-14 11:00:00 | 2.838 | 281.4 | 2.77 | 283.832 | 2.895 | 282.3 | 2.825 | 282.467 | 3.138 | 889.233 | 15.947 | 0.25012
2020-03-14 11:15:00 | 2.322 | 303.733 | 2.098 | 298.863 | 2.33 | 297.767 | 2.543 | 286.633 | 3.622 | 889.667 | 15.756 | 0.26646
2020-03-14 11:30:00 | 1.932 | 282.213 | 1.51 | 307.592 | 1.848 | 310.433 | 1.846 | 308.067 | 4.666 | 889.633 | 15.104 | 0.27428
2020-03-14 11:45:00 | 1.766 | 199.508 | 1.487 | 266.936 | 1.537 | 291.567 | 2.012 | 316.033 | 4.938 | 889.633 | 14.679 | 0.22454
2020-03-14 12:00:00 | 1.548 | 52.178 | 0.98 | 34.747 | 1.46 | 33.533 | 1.694 | 41.533 | 5.871 | 889.6 | 14.456 | 0.22738
2020-03-14 12:15:00 | 0.615 | 261.527 | 0.163 | 224.21 | 0.406 | 250.1 | 0.838 | 167.933 | 6.302 | 889.667 | 13.995 | 0.21317
2020-03-14 12:30:00 | 1.614 | 312.947 | 1.174 | 305.292 | 1.556 | 302.233 | 1.974 | 306.967 | 6.728 | 889.267 | 13.397 | 0.21459
2020-03-14 12:45:00 | 2.01 | 211.859 | 1.75 | 197.951 | 2.046 | 183.035 | 2.161 | 150.133 | 7.106 | 889.133 | 13.021 | 0.20464
2020-03-14 13:00:00 | 1.88 | 177.296 | 1.317 | 97.97 | 1.82 | 49.991 | 1.911 | 27.533 | 7.156 | 889.667 | 12.784 | 0.21175
2020-03-14 13:15:00 | 2.06 | 268.972 | 1.449 | 266.428 | 1.566 | 199.067 | 1.559 | 223.233 | 7.272 | 889.3 | 12.577 | 0.23236
2020-03-14 13:30:00 | 2.688 | 202.757 | 2.601 | 287.547 | 2.68 | 225.068 | 2.821 | 120.003 | 8.524 | 889.567 | 11.516 | 0.20322
2020-03-14 13:45:00 | 2.898 | 25.852 | 2.807 | 56.292 | 2.988 | 16.035 | 2.951 | 15.233 | 8.57 | 889.333 | 11.512 | 0.21104
2020-03-14 14:00:00 | 0.386 | 54.055 | 0 | 72.026 | 0.147 | 35.333 | 1.361 | 150.633 | 8.536 | 889.467 | 11.736 | 0.17267
2020-03-14 14:15:00 | 0.942 | 170.778 | 0.829 | 69.42 | 0.536 | 69.138 | 0.252 | 59.467 | 8.845 | 889.8 | 11.581 | 0.15561
2020-03-14 14:30:00 | 2.1 | 156.227 | 2.11 | 72.336 | 2.845 | 95.169 | 3.009 | 80.7 | 8.841 | 889.433 | 10.563 | 0.085268
2020-03-14 14:45:00 | 3.437 | 42.155 | 3.298 | 38.018 | 3.505 | 39.733 | 3.551 | 28.567 | 8.691 | 889.3 | 10.448 | 0.29631
2020-03-14 15:00:00 | 4.012 | 30.311 | 4.022 | 25.751 | 4.24 | 33.867 | 4.058 | 28.3 | 9.078 | 889.2 | 9.795 | 0.86476
2020-03-14 15:15:00 | 2.883 | 55.812 | 2.655 | 58.1 | 3.22 | 62.267 | 3.264 | 36.033 | 8.691 | 889.067 | 10.131 | 1.5426
2020-03-14 15:30:00 | 4.087 | 34.256 | 3.737 | 39.514 | 3.871 | 33.667 | 3.921 | 30.2 | 8.887 | 889.5 | 10.404 | 1.753
2020-03-14 15:45:00 | 3.767 | 46.648 | 3.55 | 40.852 | 3.566 | 44.333 | 3.417 | 39.633 | 8.795 | 889.7 | 10.667 | 0.72052
2020-03-14 16:00:00 | 3.234 | 67.383 | 3.357 | 48.156 | 3.623 | 49.233 | 3.915 | 44.133 | 8.574 | 889.4 | 10.947 | 0.83705
2020-03-14 16:15:00 | 3.351 | 38.146 | 3.119 | 31.826 | 2.978 | 29.633 | 3.111 | 27.3 | 9.028 | 889.133 | 10.904 | 0.49029
2020-03-14 16:30:00 | 3.421 | 39.632 | 3.336 | 31.555 | 3.718 | 33.767 | 3.586 | 28.833 | 9.412 | 889.733 | 10.949 | 0.56277
2020-03-14 16:45:00 | 4.084 | 29.692 | 3.859 | 30.124 | 4.13 | 34.1 | 4.34 | 32.7 | 9.374 | 889.9 | 11.333 | 0.91024
2020-03-14 17:00:00 | 3.298 | 67.265 | 3.201 | 105.359 | 3.428 | 74.433 | 3.409 | 35.501 | 9.395 | 889.533 | 11.833 | 0.80507
2020-03-14 17:15:00 | 2.438 | 53.299 | 2.316 | 42.876 | 2.59 | 32.467 | 2.84 | 28.367 | 9.078 | 889.467 | 12.076 | 0.14425
2020-03-14 17:30:00 | 3.196 | 256.4 | 3.145 | 319.185 | 3.328 | 297.833 | 3.443 | 247.367 | 9.649 | 889.5 | 12.24 | 0.19114
2020-03-14 17:45:00 | 1.371 | 152.629 | 1.469 | 243.702 | 1.884 | 245.7 | 2.118 | 242.9 | 9.52 | 889.5 | 12.868 | 0.15704
2020-03-14 18:00:00 | 3.659 | 20.833 | 3.467 | 14.334 | 3.622 | 16.5 | 3.396 | 11.767 | 9.683 | 889.1 | 12.816 | 0.29133
2020-03-14 18:15:00 | 3.223 | 117.522 | 3.22 | 102.366 | 3.247 | 16.702 | 3.192 | 102.967 | 9.508 | 889.1 | 12.991 | 0.41284
2020-03-14 18:30:00 | 3.5 | 31.908 | 3.264 | 25.268 | 3.25 | 25.933 | 3.222 | 19.033 | 9.337 | 889.4 | 13.088 | 0.1684
2020-03-14 18:45:00 | 3.095 | 41.258 | 2.94 | 35.599 | 2.88 | 42.033 | 3.01 | 37.333 | 8.791 | 889.467 | 12.979 | 0.36736
2020-03-14 19:00:00 | 3.2 | 82.737 | 3.073 | 141.382 | 3.194 | 119.667 | 3.251 | 164.3 | 9.037 | 889.433 | 13.073 | 0.68641
2020-03-14 19:15:00 | 3.709 | 181.756 | 3.921 | 304.886 | 3.84 | 259.467 | 3.976 | 282.3 | 9.099 | 889.567 | 13.353 | 0.91379
2020-03-14 19:30:00 | 2.537 | 33.142 | 2.79 | 83.655 | 2.813 | 16.9 | 3.027 | 0 | 8.504 | 889.2 | 14.165 | 0.23946
2020-03-14 19:45:00 | 2.058 | 1.974 | 2.323 | 23.853 | 2.535 | 0 | 2.953 | 0 | 7.776 | 889.333 | 14.644 | 0.20038
2020-03-14 20:00:00 | 2.695 | 1.204 | 3.362 | 330.456 | 3.983 | 292.8 | 4.465 | 352.467 | 7.122 | 889.433 | 15.191 | 1.0211
2020-03-14 20:15:00 | 1.61 | 358.987 | 3.012 | 347.548 | 3.219 | 349.2 | 3.349 | 348.633 | 6.472 | 889.567 | 15.532 | 0.46613
2020-03-14 20:30:00 | 1.153 | 352.853 | 2.022 | 339.006 | 2.319 | 349 | 2.585 | 345.967 | 6.074 | 889.367 | 16.328 | 0.2352
2020-03-14 20:45:00 | 0.763 | 317.84 | 1.887 | 322.102 | 2.496 | 337.467 | 2.882 | 337.767 | 5.872 | 889.7 | 16.721 | 0.17267
2020-03-14 21:00:00 | 2.203 | 267.96 | 1.927 | 297.628 | 2.442 | 314.1 | 2.892 | 320.167 | 5.52 | 889.4 | 16.924 | 0.20251
2020-03-14 21:15:00 | 2.409 | 252.273 | 1.555 | 299.034 | 1.448 | 314.033 | 1.931 | 313.8 | 4.726 | 889.5 | 16.829 | 0.18333
2020-03-14 21:30:00 | 2.932 | 235.293 | 2.163 | 278.722 | 2.258 | 314 | 2.559 | 314 | 4.849 | 889.733 | 17.517 | 0.18759
2020-03-14 21:45:00 | 3.627 | 235.62 | 2.946 | 270.707 | 2.734 | 300.067 | 2.859 | 304.067 | 4.596 | 889.3 | 17.461 | 0.17196
2020-03-14 22:00:00 | 3.951 | 230.44 | 3 | 268.477 | 2.573 | 291.933 | 2.706 | 292.067 | 4.041 | 889.767 | 17.304 | 0.18546
2020-03-14 22:15:00 | 4.235 | 225.1 | 2.968 | 265.014 | 2.73 | 294.667 | 2.686 | 299.667 | 2.553 | 889.333 | 17.944 | 0.18475
2020-03-14 22:30:00 | 5.533 | 225.293 | 3.395 | 254.327 | 2.106 | 275.333 | 1.775 | 300.8 | 1.146 | 889.6 | 19.441 | 0.2288
2020-03-14 22:45:00 | 5.637 | 229.693 | 4.404 | 248.893 | 3.87 | 255.933 | 3.234 | 257.367 | 1.306 | 889.267 | 20.027 | 1.3039
2020-03-14 23:00:00 | 5.635 | 228.927 | 4.414 | 240.381 | 3.702 | 248.833 | 3.717 | 248.867 | 1.062 | 889.717 | 21.765 | 5.0749
2020-03-14 23:15:00 | 6.06 | 220.393 | 5.405 | 241.826 | 4.852 | 252.1 | 4.611 | 250.1 | 0.898 | 889.55 | 23.312 | 11.5048
2020-03-14 23:30:00 | 5.889 | 231.313 | 6.457 | 234.214 | 6.383 | 239.767 | 6.01 | 236.733 | 0.515 | 889.65 | 27.253 | 18.5898
2020-03-14 23:45:00 | 4.946 | 229.833 | 6.407 | 241.949 | 6.678 | 247.233 | 6.348 | 243.367 | 1.292 | 889.917 | 26.944 | 20.3165