## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-15 00:00:00 | 4.812 | 227.66 | 5.814 | 237.268 | 5.904 | 243.7 | 5.902 | 237.567 | 1.72 | 889.783 | 26.171 | 16.7473
2020-03-15 00:15:00 | 5.471 | 225.593 | 6.348 | 233.82 | 5.95 | 240.2 | 5.583 | 235.633 | 0.449 | 889.867 | 27.077 | 17.6455
2020-03-15 00:30:00 | 5.463 | 231.607 | 6.106 | 236.243 | 6.031 | 242.233 | 5.774 | 237.7 | 0.882 | 889.767 | 27.952 | 18.879
2020-03-15 00:45:00 | 5.681 | 229.933 | 6.159 | 236.955 | 6.272 | 242.4 | 6.085 | 239.067 | 1.095 | 889.633 | 27.733 | 17.3904
2020-03-15 01:00:00 | 6.002 | 225.24 | 5.983 | 236.553 | 5.907 | 243.767 | 5.7 | 242.067 | 0.482 | 889.783 | 29.008 | 15.943
2020-03-15 01:15:00 | 5.875 | 217.667 | 5.541 | 235.28 | 5.27 | 244.667 | 4.81 | 246.633 | 0.05 | 889.983 | 30.181 | 12.7945
2020-03-15 01:30:00 | 6.098 | 218.007 | 5.331 | 234.21 | 4.731 | 246.767 | 4.688 | 250.467 | -0.09 | 889.85 | 30.357 | 10.5526
2020-03-15 01:45:00 | 6.491 | 216.993 | 5.636 | 233.306 | 4.888 | 243.067 | 4.442 | 245.367 | -0.502 | 889.367 | 30.661 | 10.6478
2020-03-15 02:00:00 | 6.494 | 212.22 | 5.824 | 228.765 | 5.393 | 235.967 | 4.679 | 234.033 | -0.985 | 889.833 | 31.189 | 9.4392
2020-03-15 02:15:00 | 6.194 | 215.767 | 5.452 | 233.438 | 5.023 | 241.2 | 4.548 | 240.367 | -1.132 | 889.633 | 31.68 | 9.6253
2020-03-15 02:30:00 | 6.189 | 214.887 | 5.9 | 231.026 | 5.35 | 240.4 | 4.618 | 239.867 | -1.379 | 890 | 32.347 | 8.4422
2020-03-15 02:45:00 | 6.262 | 214.873 | 5.688 | 228.947 | 5.177 | 236.167 | 4.564 | 233.967 | -1.503 | 889.683 | 33.104 | 7.5754
2020-03-15 03:00:00 | 5.842 | 213.773 | 5.457 | 232.706 | 4.997 | 242.4 | 4.512 | 240.633 | -1.749 | 889.833 | 33.349 | 6.4178
2020-03-15 03:15:00 | 5.912 | 217.447 | 5.12 | 234.286 | 4.574 | 246.133 | 4.028 | 249.433 | -1.559 | 889.9 | 33.189 | 5.4813
2020-03-15 03:30:00 | 6.304 | 211.313 | 5.639 | 227.272 | 4.641 | 240.5 | 3.85 | 248.033 | -1.968 | 889.8 | 33.125 | 5.8906
2020-03-15 03:45:00 | 6.218 | 212.46 | 5.478 | 229.009 | 4.417 | 240.567 | 3.7 | 241.567 | -2.18 | 889.517 | 33.115 | 5.6526
2020-03-15 04:00:00 | 5.908 | 210.44 | 6.341 | 228.418 | 5.289 | 240.5 | 4.328 | 242.533 | -2.565 | 890.017 | 33.643 | 8.5048
2020-03-15 04:15:00 | 6.769 | 211.76 | 6.304 | 223.852 | 5.759 | 233.833 | 5.041 | 231.467 | -2.18 | 890.067 | 33.355 | 11.0195
2020-03-15 04:30:00 | 6.563 | 208.02 | 6.33 | 224.318 | 5.833 | 234.633 | 5.336 | 233.6 | -2.304 | 889.3 | 33.061 | 11.4657
2020-03-15 04:45:00 | 6.466 | 211.647 | 6.991 | 216.048 | 6.398 | 225.3 | 5.745 | 224.5 | -2.246 | 889.783 | 32.523 | 10.3892
2020-03-15 05:00:00 | 6.083 | 213.28 | 6.538 | 228.148 | 5.891 | 241.2 | 5.442 | 241.333 | -2.246 | 889.967 | 32.309 | 11.2554
2020-03-15 05:15:00 | 6.733 | 211.173 | 6.939 | 228.338 | 6.024 | 238.433 | 4.954 | 238.833 | -2.197 | 889.833 | 32 | 14.2525
2020-03-15 05:30:00 | 6.934 | 210.193 | 6.868 | 231.485 | 6.037 | 242.033 | 5.254 | 242.9 | -2.65 | 889.617 | 32.069 | 17.4672
2020-03-15 05:45:00 | 6.992 | 210.027 | 7.931 | 223.474 | 7.365 | 232.033 | 6.445 | 230.6 | -2.74 | 889.933 | 31.627 | 23.0067
2020-03-15 06:00:00 | 6.811 | 210.867 | 7.515 | 221.85 | 7.02 | 228.2 | 6.692 | 226.833 | -2.148 | 889.767 | 31.301 | 21.0271
2020-03-15 06:15:00 | 6.468 | 210.433 | 7.315 | 222.342 | 6.761 | 229.733 | 6.299 | 228 | -2.078 | 889.483 | 31.52 | 20.4039
2020-03-15 06:30:00 | 6.25 | 212.247 | 7.166 | 222.329 | 6.569 | 233.333 | 5.934 | 231.867 | -2.164 | 889.8 | 31.339 | 18.9735
2020-03-15 06:45:00 | 6.31 | 211.127 | 7.26 | 221.509 | 6.446 | 233.933 | 5.713 | 233.667 | -2.18 | 889.967 | 31.376 | 17.8331
2020-03-15 07:00:00 | 6.772 | 211.16 | 7.202 | 223.832 | 6.356 | 236.5 | 5.514 | 238.6 | -2.346 | 890.083 | 31.195 | 18.1543
2020-03-15 07:15:00 | 6.666 | 210.747 | 7.912 | 217.965 | 6.839 | 228.7 | 5.783 | 230.267 | -2.329 | 889.467 | 31.115 | 18.2346
2020-03-15 07:30:00 | 6.264 | 211.74 | 7.867 | 220.404 | 6.744 | 230.2 | 5.968 | 229.6 | -2.28 | 889.45 | 31.099 | 15.9139
2020-03-15 07:45:00 | 6.67 | 213.113 | 7.164 | 224.566 | 6.185 | 232.6 | 5.613 | 231.333 | -2.423 | 889.917 | 31.189 | 14.0507
2020-03-15 08:00:00 | 6.907 | 212.247 | 6.688 | 225.069 | 6.1 | 237.667 | 5.279 | 236 | -2.064 | 890.05 | 30.437 | 15.2303
2020-03-15 08:15:00 | 7.09 | 207.187 | 7.36 | 222.155 | 6.555 | 235.733 | 5.861 | 234.533 | -2.005 | 889.633 | 30.315 | 16.709
2020-03-15 08:30:00 | 7.059 | 207.313 | 7.867 | 219.207 | 6.676 | 226.967 | 6.074 | 226.133 | -1.76 | 889.9 | 29.781 | 20.3542
2020-03-15 08:45:00 | 7.078 | 209.8 | 8.645 | 218.393 | 7.454 | 223.567 | 6.78 | 223.433 | -0.598 | 889.883 | 28.341 | 23.7258
2020-03-15 09:00:00 | 6.339 | 209.62 | 8.442 | 216.601 | 7.361 | 225.067 | 6.894 | 224 | 0.885 | 889.833 | 26.587 | 23.47
2020-03-15 09:15:00 | 6.659 | 209.66 | 8.033 | 219.806 | 7.478 | 228.5 | 7.22 | 227.033 | 2.184 | 889.683 | 24.757 | 26.2817
2020-03-15 09:30:00 | 5.624 | 210 | 7.504 | 215.526 | 7.904 | 226.167 | 7.539 | 224.367 | 3.84 | 889.8 | 22.859 | 28.4433
2020-03-15 09:45:00 | 6.546 | 209.567 | 7.43 | 213.544 | 8.338 | 218.967 | 8.264 | 218.133 | 5.878 | 889.7 | 20.501 | 27.4762
2020-03-15 10:00:00 | 6.922 | 212.567 | 7.321 | 218.046 | 7.837 | 222.533 | 8.034 | 220.333 | 6.889 | 889.533 | 18.997 | 27.1436
2020-03-15 10:15:00 | 6.081 | 217.167 | 6.42 | 220.2 | 6.849 | 226.633 | 6.977 | 223.633 | 7.472 | 889.533 | 18.48 | 20.9049
2020-03-15 10:30:00 | 5.171 | 228.453 | 5.246 | 229.599 | 5.609 | 233.733 | 5.617 | 228.367 | 8.431 | 889.367 | 17.765 | 15.6147
2020-03-15 10:45:00 | 5.231 | 223.233 | 5.164 | 225.54 | 5.486 | 231.967 | 5.614 | 226.533 | 9.524 | 889.567 | 16.829 | 13.4084
2020-03-15 11:00:00 | 5.271 | 241.093 | 5.372 | 255.137 | 5.446 | 259 | 5.424 | 251.983 | 10.536 | 889.7 | 15.956 | 13.7885
2020-03-15 11:15:00 | 4.432 | 259.893 | 4.929 | 267.802 | 5.13 | 270.1 | 5.428 | 269.017 | 9.691 | 889.7 | 16.144 | 17.217
2020-03-15 11:30:00 | 5.461 | 266.98 | 5.576 | 277.066 | 5.773 | 280.667 | 6.125 | 278.4 | 10.324 | 889.6 | 15.867 | 17.5588
2020-03-15 11:45:00 | 5.055 | 268.867 | 5.524 | 280.052 | 5.718 | 284.1 | 6.086 | 279.067 | 10.12 | 888.867 | 15.78 | 20.8018
2020-03-15 12:00:00 | 5.49 | 292.947 | 5.894 | 293.022 | 5.951 | 295.333 | 6.327 | 294.8 | 10.224 | 889.6 | 15.747 | 22.974
2020-03-15 12:15:00 | 5.904 | 285.32 | 6.059 | 289.848 | 6.312 | 293.433 | 6.411 | 292.55 | 10.366 | 889.267 | 15.716 | 24.7959
2020-03-15 12:30:00 | 6.133 | 289.733 | 6.231 | 290.472 | 6.386 | 297.4 | 7.047 | 293.5 | 11.011 | 889.767 | 14.983 | 24.8379
2020-03-15 12:45:00 | 6.242 | 279.14 | 6.464 | 288.802 | 6.388 | 290.533 | 6.641 | 287.733 | 10.626 | 889.367 | 14.664 | 23.772
2020-03-15 13:00:00 | 5.316 | 291.353 | 5.75 | 292.851 | 5.979 | 297.433 | 6.053 | 293.4 | 11.116 | 889.267 | 13.507 | 22.5932
2020-03-15 13:15:00 | 6.426 | 293.347 | 6.591 | 296.124 | 6.643 | 298.767 | 6.95 | 294.7 | 10.928 | 889.533 | 12.799 | 20.7962
2020-03-15 13:30:00 | 6.106 | 265.32 | 6.324 | 273.788 | 6.408 | 275.85 | 6.704 | 272.667 | 11.49 | 889.067 | 12.88 | 20.1936
2020-03-15 13:45:00 | 6.682 | 276.633 | 7.121 | 284.882 | 7.341 | 288.9 | 7.789 | 285.7 | 11.345 | 889.6 | 12.316 | 24.2531
2020-03-15 14:00:00 | 6.007 | 285.727 | 6.456 | 290.344 | 6.73 | 292.267 | 6.942 | 286.767 | 11.703 | 889.667 | 12.336 | 24.8173
2020-03-15 14:15:00 | 7.229 | 317.533 | 7.41 | 312.656 | 7.781 | 314.9 | 8.08 | 312.467 | 11.72 | 889.867 | 11.908 | 28.898
2020-03-15 14:30:00 | 6.654 | 276.22 | 7.208 | 284.382 | 7.318 | 288.333 | 7.529 | 286.633 | 11.828 | 889.433 | 12.392 | 32.3393
2020-03-15 14:45:00 | 7.51 | 317.02 | 7.718 | 315.568 | 7.964 | 318.767 | 8.041 | 317.3 | 11.807 | 889.3 | 11.983 | 32.475
2020-03-15 15:00:00 | 7.164 | 307.14 | 7.509 | 305.969 | 7.834 | 313.233 | 8.105 | 310.967 | 11.861 | 889.467 | 11.823 | 34.9364
2020-03-15 15:15:00 | 6.88 | 302.693 | 7.051 | 300.934 | 7.191 | 306.667 | 7.371 | 305.7 | 12.145 | 889.533 | 11.753 | 42.8095
2020-03-15 15:30:00 | 6.38 | 300.187 | 6.601 | 300.923 | 7.001 | 303.367 | 7.019 | 299.75 | 11.97 | 889.767 | 11.693 | 46.3858
2020-03-15 15:45:00 | 8.686 | 288.3 | 8.913 | 294.184 | 9.05 | 298.533 | 9.19 | 297.333 | 11.766 | 889.333 | 11.491 | 49.3126
2020-03-15 16:00:00 | 7.528 | 277.893 | 7.792 | 288.243 | 7.872 | 292.767 | 7.965 | 289.533 | 12.045 | 889.333 | 11.345 | 49.8796
2020-03-15 16:15:00 | 9.22 | 290.513 | 9.734 | 294.128 | 9.887 | 296.933 | 10.13 | 295.267 | 11.924 | 889.3 | 12.308 | 48.9616
2020-03-15 16:30:00 | 8.481 | 308.333 | 8.815 | 306.463 | 9.085 | 311.733 | 9.791 | 309.267 | 12.007 | 889.667 | 12.279 | 54.2844
2020-03-15 16:45:00 | 8.301 | 296.8 | 8.807 | 300.773 | 9.199 | 303.933 | 9.642 | 301.7 | 11.89 | 889.5 | 12.279 | 53.9377
2020-03-15 17:00:00 | 7.031 | 277.493 | 7.71 | 284.852 | 8.181 | 289.367 | 8.496 | 289.533 | 12.128 | 889.733 | 12.087 | 51.386
2020-03-15 17:15:00 | 8.14 | 300.413 | 8.606 | 301.051 | 8.809 | 306.9 | 9.146 | 303.767 | 11.828 | 889.6 | 12.061 | 59.3678
2020-03-15 17:30:00 | 9.169 | 317.72 | 9.406 | 313.268 | 9.786 | 316.867 | 10.065 | 313.933 | 11.711 | 889.7 | 11.983 | 56.5647
2020-03-15 17:45:00 | 8.225 | 282.92 | 8.909 | 292.766 | 9.103 | 298 | 9.405 | 295.067 | 11.636 | 889.433 | 12.656 | 58.3958
2020-03-15 18:00:00 | 7.986 | 267.153 | 8.579 | 283.89 | 8.757 | 285.1 | 8.924 | 283.7 | 11.386 | 889.4 | 13.007 | 57.2944
2020-03-15 18:15:00 | 8.584 | 292.56 | 8.828 | 295.061 | 8.993 | 300.733 | 9.264 | 298.567 | 11.403 | 889.467 | 12.971 | 53.1348
2020-03-15 18:30:00 | 7.862 | 293.053 | 8.388 | 294.129 | 8.582 | 300.067 | 8.998 | 298.833 | 11.561 | 889.567 | 13.44 | 48.4201
2020-03-15 18:45:00 | 7.146 | 286.047 | 7.718 | 288.636 | 7.989 | 293.967 | 8.151 | 293.7 | 11.178 | 889.467 | 13.392 | 48.7342
2020-03-15 19:00:00 | 7.734 | 286.853 | 8.352 | 296.214 | 8.682 | 301.5 | 8.975 | 299.933 | 11.32 | 890 | 13.049 | 44.4701
2020-03-15 19:15:00 | 6.807 | 284.313 | 7.225 | 291.257 | 7.655 | 294.5 | 8.146 | 292.667 | 11.295 | 889.433 | 13.572 | 44.8353
2020-03-15 19:30:00 | 6.556 | 283.893 | 7.773 | 289.631 | 8.077 | 294.567 | 8.58 | 291.9 | 10.501 | 889.5 | 14.764 | 44.6236
2020-03-15 19:45:00 | 6.665 | 275.393 | 7.594 | 285.368 | 8.112 | 288.967 | 8.509 | 287.1 | 9.712 | 889.333 | 15.835 | 42.1224
2020-03-15 20:00:00 | 6.365 | 257.753 | 7.689 | 278.76 | 8.076 | 283.4 | 8.539 | 281.267 | 9.637 | 889.733 | 17.403 | 42.0208
2020-03-15 20:15:00 | 6.042 | 262.733 | 7.236 | 278.184 | 7.813 | 282.567 | 8.292 | 280.267 | 8.624 | 889.6 | 18.036 | 36.0769
2020-03-15 20:30:00 | 5.551 | 255.887 | 7.089 | 268.315 | 7.53 | 273.867 | 7.668 | 270.333 | 8.166 | 889.4 | 18.272 | 28.5868
2020-03-15 20:45:00 | 5.486 | 256.747 | 6.676 | 266.317 | 7.097 | 272.633 | 7.447 | 269.7 | 7.422 | 889.2 | 18.901 | 25.0908
2020-03-15 21:00:00 | 4.876 | 250 | 6.414 | 264.172 | 6.802 | 270.933 | 7.051 | 267.6 | 6.784 | 889.267 | 19.861 | 24.7483
2020-03-15 21:15:00 | 5.615 | 238.893 | 6.963 | 260.697 | 7.386 | 267.067 | 7.498 | 264.867 | 6.274 | 889.267 | 20.743 | 27.506
2020-03-15 21:30:00 | 5.224 | 229.493 | 6.525 | 247.952 | 6.875 | 258.267 | 7.147 | 260.533 | 5.23 | 890.017 | 21.808 | 27.7043
2020-03-15 21:45:00 | 5.318 | 229.167 | 6.632 | 242.974 | 6.6 | 253.033 | 6.551 | 254.267 | 5.216 | 889.633 | 22.389 | 24.889
2020-03-15 22:00:00 | 5.051 | 214.947 | 6.45 | 228.928 | 6.504 | 241.1 | 6.247 | 242.467 | 3.962 | 889.417 | 23.861 | 24.0534
2020-03-15 22:15:00 | 5.863 | 220.133 | 6.888 | 232.301 | 6.61 | 240.633 | 6.152 | 238.4 | 3.605 | 889.667 | 24.768 | 25.6486
2020-03-15 22:30:00 | 5.482 | 219.12 | 6.462 | 231.804 | 6.584 | 238.033 | 6.392 | 234.167 | 3.899 | 889.583 | 24.896 | 27.9501
2020-03-15 22:45:00 | 6.102 | 224.533 | 6.773 | 234.395 | 6.907 | 242.733 | 6.862 | 239.267 | 4.305 | 889.483 | 24.821 | 28.876
2020-03-15 23:00:00 | 5.788 | 228.787 | 7.009 | 240.869 | 7.289 | 248.7 | 7.275 | 246.167 | 3.799 | 889.317 | 24.875 | 29.1389
2020-03-15 23:15:00 | 5.931 | 224.5 | 7.471 | 234.898 | 7.427 | 246.267 | 7.128 | 245 | 3.338 | 890.05 | 25.504 | 28.9918
2020-03-15 23:30:00 | 6.018 | 219.06 | 7.392 | 236.062 | 7.204 | 244.467 | 6.961 | 241.467 | 2.494 | 890.117 | 26.549 | 31.8561
2020-03-15 23:45:00 | 5.578 | 212.573 | 7.005 | 227.97 | 7.088 | 240.767 | 6.89 | 239.533 | 1.95 | 890.517 | 27.435 | 28.9392