## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-16 00:00:00 | 6.112 | 221.327 | 7.426 | 232.389 | 7.25 | 240.267 | 6.773 | 237.7 | 1.519 | 889.717 | 28.597 | 26.3165
2020-03-16 00:15:00 | 6.144 | 209.34 | 7.271 | 225.473 | 7.206 | 234.467 | 6.719 | 233.1 | 1.259 | 889.8 | 29.349 | 26.0209
2020-03-16 00:30:00 | 6.457 | 212.313 | 7.309 | 228.069 | 7.137 | 236.833 | 6.582 | 235.133 | 1.66 | 889.967 | 29.627 | 25.6415
2020-03-16 00:45:00 | 6.58 | 215.22 | 7.595 | 229.776 | 7.238 | 237.6 | 6.686 | 235.9 | 1.089 | 889.85 | 30.395 | 22.633
2020-03-16 01:00:00 | 6.196 | 212.16 | 7.494 | 222.515 | 7.215 | 231.1 | 6.684 | 229.7 | 0.969 | 889.733 | 31.141 | 22.7737
2020-03-16 01:15:00 | 6.917 | 211.98 | 7.978 | 220.383 | 7.32 | 227.967 | 6.758 | 226.733 | 0.698 | 890.233 | 32.267 | 25.2123
2020-03-16 01:30:00 | 6.596 | 212.613 | 8.2 | 217.229 | 7.639 | 224.633 | 6.536 | 222.967 | 0.266 | 889.483 | 33.36 | 23.4039
2020-03-16 01:45:00 | 6.424 | 210.82 | 7.756 | 216.931 | 7.545 | 221.2 | 7.006 | 218.967 | 0.282 | 889.55 | 32.923 | 23.2007
2020-03-16 02:00:00 | 6.778 | 211.7 | 7.603 | 219.827 | 7.138 | 224.8 | 6.523 | 223.967 | 0.515 | 889.667 | 32.272 | 19.6692
2020-03-16 02:15:00 | 6.865 | 208.62 | 6.913 | 222.423 | 6.275 | 229.2 | 5.931 | 228.1 | 0.432 | 889.783 | 31.035 | 17.5688
2020-03-16 02:30:00 | 6.852 | 210.933 | 7.429 | 221.386 | 6.474 | 227.4 | 6.022 | 227.9 | 0.246 | 889.633 | 30.688 | 17.7151
2020-03-16 02:45:00 | 6.864 | 211.86 | 7.107 | 221.093 | 6.538 | 227.467 | 5.916 | 226.933 | 0.449 | 889.883 | 30.389 | 17.4252
2020-03-16 03:00:00 | 6.801 | 212.213 | 7.162 | 216.045 | 6.402 | 221.933 | 5.857 | 220.167 | 0.15 | 890 | 30.005 | 21.2346
2020-03-16 03:15:00 | 6.455 | 208.567 | 8.579 | 216.406 | 7.406 | 222.967 | 6.45 | 221.3 | -0.116 | 889.883 | 30.16 | 26.1538
2020-03-16 03:30:00 | 8.124 | 207.16 | 8.796 | 215.064 | 8.356 | 221 | 7.985 | 218.867 | 0.499 | 889.967 | 30.651 | 26.3762
2020-03-16 03:45:00 | 7.142 | 211.36 | 7.413 | 214.466 | 6.842 | 217.533 | 6.863 | 213.633 | 0.416 | 889.8 | 31.808 | 24.9373
2020-03-16 04:00:00 | 7.52 | 208.867 | 8.32 | 212.766 | 7.599 | 216.7 | 7.356 | 213.467 | -0.08 | 889.667 | 33.259 | 26.799
2020-03-16 04:15:00 | 7.179 | 202.607 | 7.93 | 217.897 | 7.63 | 221.533 | 7.024 | 216.067 | -0.472 | 889.833 | 33.477 | 27.5629
2020-03-16 04:30:00 | 6.954 | 208.92 | 8.462 | 218.136 | 7.872 | 223.533 | 7.477 | 219.033 | -0.362 | 889.9 | 33.077 | 28.822
2020-03-16 04:45:00 | 7.418 | 209.64 | 8.648 | 215.228 | 8.229 | 220.067 | 7.757 | 217.6 | -0.755 | 889.6 | 33.552 | 28.5079
2020-03-16 05:00:00 | 6.733 | 208.533 | 8.989 | 216.423 | 8.617 | 222.6 | 7.884 | 218.6 | -0.762 | 889.75 | 34.117 | 29.404
2020-03-16 05:15:00 | 7.714 | 207.713 | 9.339 | 213.661 | 9.025 | 219.2 | 8.115 | 214.767 | -0.848 | 889.4 | 34.821 | 31.9222
2020-03-16 05:30:00 | 7.364 | 210.193 | 9.077 | 212.967 | 8.615 | 218.633 | 8.265 | 215.3 | -0.752 | 889.5 | 35.237 | 27.9835
2020-03-16 05:45:00 | 6.863 | 209.26 | 8.802 | 216.12 | 8.631 | 221.1 | 8.025 | 217.367 | -1.015 | 889.817 | 35.472 | 24.5387
2020-03-16 06:00:00 | 6.63 | 212.387 | 8.174 | 220.238 | 7.443 | 224.3 | 6.74 | 223.467 | -1.065 | 889.283 | 35.504 | 26.6157
2020-03-16 06:15:00 | 7.375 | 204.547 | 8.387 | 216.885 | 7.557 | 223.5 | 7.29 | 223.433 | -1.306 | 889.733 | 35.493 | 29.0053
2020-03-16 06:30:00 | 7.607 | 210.993 | 9.42 | 211.9 | 8.714 | 215.8 | 8.138 | 214.2 | -1.015 | 889.767 | 35.744 | 34.5328
2020-03-16 06:45:00 | 6.73 | 206.747 | 9.49 | 209.051 | 9.168 | 212.667 | 8.551 | 211.967 | -1.66 | 889.867 | 35.557 | 34.7069
2020-03-16 07:00:00 | 6.424 | 207.607 | 9.339 | 205.997 | 9.468 | 213.4 | 8.821 | 212 | -1.68 | 889.55 | 35.483 | 36.0378
2020-03-16 07:15:00 | 5.839 | 209.787 | 7.919 | 208.206 | 8.644 | 213.567 | 8.393 | 212.233 | -1.539 | 889.783 | 35.973 | 33.8152
2020-03-16 07:30:00 | 6.478 | 209.42 | 8.707 | 207.952 | 9.02 | 210.567 | 8.94 | 208.1 | -1.652 | 889.883 | 35.685 | 35.4033
2020-03-16 07:45:00 | 6.842 | 210.153 | 9.067 | 207.914 | 9.018 | 210.6 | 8.728 | 205.467 | -1.84 | 889.867 | 32.96 | 36.3213
2020-03-16 08:00:00 | 6.862 | 209.353 | 8.866 | 208.953 | 8.524 | 211.067 | 8.381 | 205.833 | -1.84 | 889.467 | 31.451 | 36.5452
2020-03-16 08:15:00 | 7.808 | 208.567 | 9.75 | 210.067 | 9.248 | 212 | 9.056 | 207.333 | -0.598 | 889.85 | 28.928 | 40.9095
2020-03-16 08:30:00 | 7.486 | 207.96 | 9.583 | 211.401 | 9.119 | 213.2 | 8.823 | 209.467 | 0.366 | 889.817 | 24.843 | 36.7789
2020-03-16 08:45:00 | 5.771 | 210.627 | 8.387 | 208.481 | 8.292 | 212 | 8.237 | 208.433 | 0.632 | 889.933 | 25.28 | 36.187
2020-03-16 09:00:00 | 6.158 | 209.327 | 7.681 | 208.082 | 7.961 | 212.1 | 8.035 | 208.267 | 1.902 | 890.1 | 23.92 | 32.8786
2020-03-16 09:15:00 | 5.913 | 207.133 | 7.148 | 207.036 | 7.54 | 211.1 | 7.593 | 208.5 | 3.287 | 890.017 | 23.339 | 31.1591
2020-03-16 09:30:00 | 5.467 | 204.147 | 6.453 | 202.208 | 7.707 | 208.3 | 7.89 | 205.533 | 4.842 | 889.833 | 21.92 | 28.5776
2020-03-16 09:45:00 | 6.214 | 201.927 | 6.094 | 201.387 | 6.553 | 205.767 | 7.163 | 202.433 | 6.158 | 889.4 | 19.92 | 20.5638
2020-03-16 10:00:00 | 6.025 | 205.9 | 6.005 | 202.166 | 6.48 | 205.833 | 6.839 | 201.9 | 7.322 | 889.633 | 17.243 | 16.5079
2020-03-16 10:15:00 | 5.322 | 208.373 | 5.335 | 206.488 | 5.616 | 207.333 | 5.833 | 202.2 | 8.335 | 889.267 | 15.48 | 14.8899
2020-03-16 10:30:00 | 5.071 | 208.413 | 5.217 | 208.014 | 5.421 | 210.667 | 5.41 | 208.367 | 9.283 | 889.6 | 14.043 | 9.8286
2020-03-16 10:45:00 | 4.355 | 207.327 | 4.355 | 210.568 | 4.653 | 214.8 | 4.754 | 212.033 | 10.199 | 889.367 | 12.728 | 4.694
2020-03-16 11:00:00 | 3.141 | 234.967 | 3.238 | 232.778 | 3.574 | 231.75 | 3.862 | 224.367 | 11.261 | 889.533 | 11.621 | 1.365
2020-03-16 11:15:00 | 2.403 | 275.38 | 2.165 | 259.706 | 2.183 | 264.617 | 2.705 | 255.183 | 11.578 | 889.367 | 10.54 | 0.083136
2020-03-16 11:30:00 | 2.909 | 268.473 | 2.868 | 273.766 | 3.13 | 280.5 | 3.348 | 275.9 | 12.057 | 889.067 | 9.572 | 0.16414
2020-03-16 11:45:00 | 2.005 | 242.2 | 1.751 | 249.355 | 2.423 | 254.867 | 2.818 | 253.183 | 12.557 | 888.867 | 9.449 | 0.10516
2020-03-16 12:00:00 | 2.66 | 239.54 | 2.373 | 249.421 | 2.62 | 266.35 | 2.74 | 261.6 | 12.918 | 888.733 | 9.013 | 0.23236
2020-03-16 12:15:00 | 2.327 | 226.86 | 2.341 | 230.088 | 2.484 | 234.167 | 2.817 | 231.533 | 13.878 | 888.867 | 8.317 | 0.1144
2020-03-16 12:30:00 | 2.183 | 312.18 | 1.823 | 306.922 | 2.564 | 303 | 2.885 | 291.2 | 12.92 | 889.133 | 8.056 | 0.14993
2020-03-16 12:45:00 | 2.446 | 273.72 | 2.482 | 272.943 | 2.656 | 275.75 | 3.006 | 259.9 | 13.466 | 888.733 | 7.328 | 0.19043
2020-03-16 13:00:00 | 3.354 | 267.8 | 3.254 | 262.853 | 3.279 | 264.533 | 3.489 | 256.6 | 14.358 | 889.067 | 6.531 | 0.11156
2020-03-16 13:15:00 | 2.329 | 226.433 | 2.245 | 223.655 | 2.585 | 224.767 | 2.956 | 223.667 | 14.958 | 888.667 | 6.479 | 0.15846
2020-03-16 13:30:00 | 2.33 | 214.487 | 2.188 | 221.612 | 2.358 | 233.2 | 2.467 | 227.767 | 14.358 | 889.267 | 6.162 | 0.1144
2020-03-16 13:45:00 | 2.912 | 295.2 | 2.696 | 284.023 | 2.698 | 276.35 | 2.92 | 268.583 | 14.854 | 889.067 | 6.237 | 0.15775
2020-03-16 14:00:00 | 0.887 | 218.067 | 0.606 | 235.892 | 0.779 | 231.733 | 1.071 | 231.417 | 15.381 | 889.267 | 6.206 | 0.17409
2020-03-16 14:15:00 | 1.256 | 136.655 | 0.85 | 122.221 | 1.077 | 211.1 | 1.338 | 126.336 | 15.626 | 889 | 5.92 | 0.093795
2020-03-16 14:30:00 | 2.817 | 256.888 | 2.385 | 280.747 | 2.637 | 286.95 | 2.958 | 282.183 | 15.433 | 888.533 | 5.015 | 0.0874
2020-03-16 14:45:00 | 2.867 | 237.927 | 2.918 | 247.804 | 3.262 | 272.567 | 3.622 | 275.183 | 15.3 | 888.067 | 4.609 | 0.1478
2020-03-16 15:00:00 | 2.93 | 275.733 | 2.415 | 249.675 | 2.628 | 251.617 | 3.307 | 249.217 | 15.744 | 888 | 4.113 | 0.1144
2020-03-16 15:15:00 | 2.936 | 304.44 | 2.592 | 336.491 | 2.167 | 313.933 | 2.327 | 312.767 | 16.153 | 888 | 4.086 | 0.11369
2020-03-16 15:30:00 | 1.759 | 274.08 | 1.502 | 292.844 | 1.505 | 289.917 | 2.112 | 295.2 | 16.364 | 888 | 4.017 | 0.13074
2020-03-16 15:45:00 | 1.369 | 120.423 | 1.23 | 168.052 | 1.317 | 174.504 | 1.914 | 8.813 | 16.448 | 888 | 4.219 | 0.11724
2020-03-16 16:00:00 | 3.191 | 307.253 | 2.932 | 304.962 | 3.1 | 308.3 | 3.372 | 295.983 | 17.085 | 888 | 3.957 | 0.1414
2020-03-16 16:15:00 | 3.652 | 272.433 | 3.678 | 280.405 | 3.708 | 275.467 | 3.897 | 285.667 | 15.965 | 888 | 4.528 | 0.39223
2020-03-16 16:30:00 | 2.94 | 224.673 | 2.804 | 216.434 | 2.939 | 215.45 | 2.921 | 195.15 | 16.448 | 888 | 4.741 | 0.15704
2020-03-16 16:45:00 | 3.154 | 273.847 | 3.072 | 275.309 | 3.378 | 277.4 | 3.723 | 274.533 | 16.564 | 888 | 4.738 | 0.41426
2020-03-16 17:00:00 | 3.924 | 18.196 | 3.528 | 37.384 | 3.758 | 16.033 | 3.595 | 21.433 | 16.631 | 888.067 | 4.971 | 1.36
2020-03-16 17:15:00 | 1.604 | 117.07 | 0.863 | 142.826 | 1.668 | 90.833 | 2.08 | 22.233 | 15.944 | 888.333 | 5.158 | 2.7861
2020-03-16 17:30:00 | 2.127 | 30.861 | 1.729 | 28.283 | 2.527 | 24.1 | 3.047 | 29.833 | 16.464 | 888.8 | 5.743 | 6.356
2020-03-16 17:45:00 | 5.237 | 44.7 | 5.318 | 37.752 | 5.696 | 40.9 | 5.53 | 35.433 | 15.946 | 889.067 | 9.109 | 7.5597
2020-03-16 18:00:00 | 4.116 | 58.543 | 4.033 | 51.984 | 4.229 | 54.333 | 4.319 | 52.967 | 15.276 | 888.8 | 9.565 | 4.3956
2020-03-16 18:15:00 | 5.179 | 43.095 | 5.195 | 35.841 | 5.228 | 39.1 | 5.167 | 36.1 | 15.096 | 888.867 | 9.744 | 6.1684
2020-03-16 18:30:00 | 4.771 | 36.263 | 4.553 | 34.228 | 4.852 | 43.367 | 4.768 | 42.6 | 15.324 | 888.8 | 9.864 | 7.132
2020-03-16 18:45:00 | 4.962 | 59.697 | 5.015 | 55.25 | 5.396 | 61.1 | 5.437 | 55.133 | 14.858 | 888.9 | 10.015 | 7.6748
2020-03-16 19:00:00 | 4.094 | 38.855 | 3.99 | 34.172 | 4.228 | 39.367 | 4.248 | 38.467 | 15.129 | 889.2 | 9.829 | 7.0474
2020-03-16 19:15:00 | 3.744 | 45.967 | 3.59 | 42.753 | 3.49 | 48.967 | 3.557 | 50.267 | 14.908 | 889.067 | 9.547 | 5.0237
2020-03-16 19:30:00 | 3.186 | 52.19 | 3.033 | 47.821 | 2.926 | 54.2 | 3.075 | 48.467 | 14.62 | 888.867 | 9.819 | 3.69
2020-03-16 19:45:00 | 2.885 | 57.357 | 2.552 | 54.054 | 2.53 | 57.333 | 2.547 | 51.967 | 14.045 | 889.133 | 10.568 | 2.1601
2020-03-16 20:00:00 | 2.751 | 73.915 | 2.708 | 70.606 | 2.82 | 72.4 | 3.022 | 69.2 | 13.235 | 889.433 | 11.357 | 2.8046
2020-03-16 20:15:00 | 3.34 | 114.93 | 2.904 | 104.661 | 2.543 | 102.333 | 2.482 | 96.567 | 12.576 | 889.233 | 11.709 | 2.3406
2020-03-16 20:30:00 | 2.64 | 120.45 | 2.744 | 107.391 | 2.641 | 110.767 | 2.607 | 108.633 | 12.651 | 889.4 | 11.944 | 0.8271
2020-03-16 20:45:00 | 1.95 | 144.21 | 2.511 | 112.454 | 2.398 | 110.933 | 2.28 | 103.267 | 11.69 | 889.467 | 12.507 | 0.20109
2020-03-16 21:00:00 | 1.969 | 155.227 | 1.775 | 115.982 | 1.877 | 118.2 | 2.144 | 107 | 11.699 | 889.767 | 13.077 | 0.2153
2020-03-16 21:15:00 | 2.968 | 167.167 | 2.383 | 133.306 | 1.943 | 125 | 2.28 | 111.267 | 11.178 | 889.8 | 13.373 | 0.25936
2020-03-16 21:30:00 | 2.663 | 179.867 | 1.645 | 141.354 | 1.981 | 126.1 | 2.247 | 114.9 | 11.228 | 889.3 | 13.421 | 0.19185
2020-03-16 21:45:00 | 2.07 | 191.1 | 0.753 | 141.521 | 1.311 | 142 | 1.869 | 140 | 10.297 | 889.767 | 13.704 | 0.17054
2020-03-16 22:00:00 | 3.212 | 191.187 | 1.698 | 151.537 | 1.759 | 142 | 1.99 | 140 | 9.647 | 889.533 | 13.691 | 0.17054
2020-03-16 22:15:00 | 3.307 | 205.093 | 1.65 | 151.479 | 1.269 | 141.933 | 1.743 | 140 | 9.058 | 889.367 | 13.845 | 0.16911
2020-03-16 22:30:00 | 3.852 | 209.74 | 2.612 | 172.732 | 2.245 | 153.333 | 2.33 | 140.4 | 9.02 | 889.433 | 13.715 | 0.16627
2020-03-16 22:45:00 | 4.831 | 214.893 | 2.933 | 180.704 | 2.39 | 179 | 2.361 | 164.867 | 8.54 | 889.1 | 13.341 | 0.29418
2020-03-16 23:00:00 | 7.385 | 213.76 | 6.966 | 221.251 | 5.235 | 217.9 | 4.358 | 204.667 | 4.052 | 889.433 | 16.757 | 11.9446
2020-03-16 23:15:00 | 6.932 | 212.933 | 7.276 | 221.5 | 6.204 | 229.3 | 5.531 | 224.833 | 3.907 | 889.767 | 19.712 | 14.8821
2020-03-16 23:30:00 | 6.405 | 208.853 | 7.957 | 212.79 | 6.723 | 218.733 | 5.821 | 219.1 | 3.983 | 889.85 | 20.515 | 17.6867
2020-03-16 23:45:00 | 4.927 | 204.167 | 7.211 | 208.234 | 7.527 | 213.067 | 7.025 | 210.767 | 3.572 | 889.833 | 21.675 | 21.9423