## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-17 00:00:00 | 4.925 | 207.4 | 8.07 | 210.481 | 7.758 | 216.133 | 7.13 | 214.1 | 3.388 | 889.417 | 22.005 | 25.8376
2020-03-17 00:15:00 | 5.116 | 198.8 | 7.109 | 205.164 | 8.737 | 212.567 | 8.087 | 209.567 | 3.004 | 889.6 | 22.208 | 30.0264
2020-03-17 00:30:00 | 4.561 | 192.333 | 7.208 | 206.248 | 9.035 | 213.967 | 8.64 | 212.3 | 3.305 | 889.5 | 22.272 | 33.8386
2020-03-17 00:45:00 | 5.184 | 204.28 | 8.07 | 207.763 | 8.736 | 213.4 | 8.612 | 211.6 | 2.618 | 889.383 | 22.421 | 33.44
2020-03-17 01:00:00 | 5.535 | 203.067 | 8.084 | 207.805 | 8.488 | 211.933 | 8.57 | 206.567 | 3.171 | 889.917 | 21.515 | 35.4253
2020-03-17 01:15:00 | 6.141 | 208.567 | 8.963 | 211.005 | 8.768 | 212.733 | 9.199 | 209.433 | 3.656 | 889.75 | 21.115 | 35.1361
2020-03-17 01:30:00 | 6.624 | 209.133 | 9.46 | 213.536 | 9.135 | 217.733 | 8.616 | 213.733 | 3.254 | 889.617 | 20.939 | 39.8834
2020-03-17 01:45:00 | 6.834 | 209.9 | 9.327 | 220.646 | 8.841 | 225.267 | 8.144 | 222.033 | 3.472 | 889.5 | 20.923 | 44.2271
2020-03-17 02:00:00 | 7.486 | 210.787 | 9.428 | 221.618 | 8.97 | 227.867 | 8.814 | 224.6 | 3.866 | 889.933 | 21.056 | 42.3718
2020-03-17 02:15:00 | 7.088 | 210.167 | 9.324 | 219.576 | 8.459 | 226.3 | 8.359 | 225.033 | 3.454 | 890.1 | 21.157 | 39.6098
2020-03-17 02:30:00 | 7.572 | 208.847 | 9.491 | 214.643 | 9.195 | 220.033 | 8.903 | 219.133 | 2.77 | 890.333 | 21.547 | 41.414
2020-03-17 02:45:00 | 6.995 | 207.327 | 9.516 | 214.239 | 8.841 | 219.2 | 8.871 | 217.633 | 2.942 | 890.017 | 21.675 | 37.5385
2020-03-17 03:00:00 | 5.927 | 210.713 | 8.806 | 212.305 | 8.541 | 219.433 | 8.56 | 216.433 | 2.87 | 889.567 | 21.893 | 36.5011
2020-03-17 03:15:00 | 5.895 | 210.4 | 8.688 | 213.393 | 8.939 | 217.967 | 8.696 | 214.433 | 3.186 | 889.767 | 21.728 | 41.6619
2020-03-17 03:30:00 | 6.647 | 206.407 | 8.8 | 210.465 | 8.818 | 214.8 | 8.781 | 212.8 | 3.063 | 889.867 | 21.205 | 41.4417
2020-03-17 03:45:00 | 6.128 | 212.46 | 8.938 | 214.548 | 9.183 | 221.033 | 9.21 | 218.6 | 3.026 | 889.767 | 20.843 | 44.8126
2020-03-17 04:00:00 | 7.086 | 212.673 | 8.765 | 217.699 | 9.107 | 223.5 | 9.096 | 220.033 | 2.997 | 889.75 | 21.104 | 49.0049
2020-03-17 04:15:00 | 6.07 | 216.127 | 8.747 | 218.241 | 9.118 | 223.367 | 9.258 | 219.7 | 2.74 | 889.567 | 21.083 | 50.3166
2020-03-17 04:30:00 | 6.167 | 211.533 | 8.342 | 215.675 | 8.542 | 221.6 | 8.669 | 217.5 | 3.171 | 889.967 | 20.768 | 46.3105
2020-03-17 04:45:00 | 6.491 | 212.127 | 8.492 | 211.944 | 8.855 | 217.333 | 9.02 | 214 | 3.01 | 889.933 | 20.8 | 45.5551
2020-03-17 05:00:00 | 6.515 | 208.073 | 7.815 | 207.393 | 8.189 | 212.433 | 8.545 | 210.4 | 3.281 | 889.65 | 20.821 | 39.0094
2020-03-17 05:15:00 | 6.913 | 210.88 | 7.578 | 215.057 | 8.283 | 217.4 | 8.698 | 213.5 | 2.865 | 889.583 | 21.429 | 30.8777
2020-03-17 05:30:00 | 5.474 | 213.893 | 6.189 | 218.481 | 6.991 | 222.1 | 7.477 | 218.967 | 5.131 | 889.417 | 19.96 | 23.4864
2020-03-17 05:45:00 | 5.936 | 216.147 | 6.807 | 217.151 | 7.516 | 220.9 | 7.819 | 217.033 | 4.477 | 889.767 | 20.715 | 26.8161
2020-03-17 06:00:00 | 6.409 | 215.513 | 7.5 | 220.439 | 7.958 | 224.3 | 8.122 | 219.967 | 4.195 | 889.75 | 21.04 | 31.0667
2020-03-17 06:15:00 | 6.546 | 217.267 | 7 | 215.084 | 7.519 | 217.867 | 7.758 | 213.567 | 4.322 | 889.25 | 21.499 | 25.9293
2020-03-17 06:30:00 | 6.037 | 209.3 | 7.347 | 207.888 | 7.122 | 209 | 7.374 | 206.267 | 2.834 | 889.85 | 23.504 | 24.9473
2020-03-17 06:45:00 | 6.367 | 210.307 | 8.024 | 210.954 | 8.28 | 214.6 | 8.202 | 213.067 | 2.76 | 889.45 | 24.235 | 29.7607
2020-03-17 07:00:00 | 6.793 | 210.393 | 7.937 | 210.591 | 8.14 | 215.233 | 8.333 | 212.733 | 2.564 | 889.967 | 24.96 | 33.3298
2020-03-17 07:15:00 | 6.215 | 208.547 | 8.016 | 204.393 | 7.909 | 210.4 | 8.265 | 207.767 | 2.175 | 889.933 | 25.739 | 34.7858
2020-03-17 07:30:00 | 5.853 | 209.953 | 7.97 | 205.913 | 7.698 | 209.567 | 7.72 | 207.667 | 1.966 | 889.883 | 26.293 | 33.143
2020-03-17 07:45:00 | 6.624 | 209.653 | 7.191 | 211.142 | 7.352 | 214.233 | 7.743 | 211.833 | 1.609 | 889.2 | 27.28 | 26.7855
2020-03-17 08:00:00 | 6.718 | 207.947 | 7.977 | 203.881 | 7.53 | 209.367 | 7.557 | 207.067 | 1.76 | 889.983 | 27.339 | 25.9201
2020-03-17 08:15:00 | 6.459 | 206.633 | 7.947 | 205.633 | 7.499 | 211.433 | 7.88 | 210.067 | 2.148 | 889.8 | 26.869 | 27.2907
2020-03-17 08:30:00 | 5.836 | 208.993 | 7.009 | 206.575 | 6.802 | 212 | 7.008 | 210.6 | 2.655 | 889.583 | 26.155 | 23.3094
2020-03-17 08:45:00 | 5.46 | 210.727 | 7.067 | 207.65 | 6.98 | 212.167 | 7.19 | 210.333 | 2.585 | 889.467 | 25.893 | 25.7502
2020-03-17 09:00:00 | 5.319 | 206.007 | 6.605 | 203.525 | 6.951 | 207.867 | 7.366 | 205.567 | 4.342 | 889.733 | 23.685 | 26.2327
2020-03-17 09:15:00 | 5.278 | 208.72 | 6.803 | 206.83 | 7.103 | 213.133 | 7.304 | 210.2 | 5.094 | 889.55 | 22.565 | 24.1898
2020-03-17 09:30:00 | 4.626 | 210.5 | 6.413 | 211.048 | 7.697 | 215.633 | 8.084 | 212.467 | 6.311 | 889.833 | 20.291 | 23.6171
2020-03-17 09:45:00 | 5.31 | 211.5 | 6.206 | 213.272 | 7.453 | 215.967 | 8.215 | 212.4 | 7.99 | 889.467 | 18.216 | 25.7971
2020-03-17 10:00:00 | 5.277 | 210.467 | 6.029 | 210.807 | 6.753 | 214.733 | 7.437 | 212.667 | 9.722 | 889.433 | 16.475 | 25.0716
2020-03-17 10:15:00 | 6.191 | 214.933 | 6.282 | 217.647 | 6.49 | 221.1 | 6.673 | 217.533 | 10.911 | 889.4 | 14.987 | 20.1446
2020-03-17 10:30:00 | 5.232 | 217.38 | 5.016 | 218.496 | 5.184 | 221.367 | 5.265 | 216.367 | 11.99 | 889.567 | 14.032 | 14.9525
2020-03-17 10:45:00 | 4.126 | 218.813 | 4.098 | 217.922 | 4.213 | 222.233 | 4.447 | 217.9 | 12.678 | 889.867 | 13.621 | 10.3984
2020-03-17 11:00:00 | 3.291 | 264.22 | 3.3 | 258.867 | 3.709 | 262.667 | 3.742 | 257.533 | 13.491 | 889.7 | 12.827 | 5.1537
2020-03-17 11:15:00 | 3.265 | 310.613 | 3.182 | 306.113 | 3.486 | 305.967 | 3.63 | 302.767 | 12.928 | 889.667 | 12.263 | 2.2369
2020-03-17 11:30:00 | 2.519 | 310.48 | 2.374 | 308.222 | 2.64 | 316.867 | 3.002 | 316.467 | 12.834 | 889.233 | 12.365 | 1.0772
2020-03-17 11:45:00 | 3.07 | 237.932 | 2.896 | 236.631 | 3.007 | 241.569 | 2.932 | 249.133 | 13.289 | 889.633 | 12.379 | 1.0857
2020-03-17 12:00:00 | 3.403 | 209.663 | 3.374 | 282.422 | 3.485 | 286.633 | 3.876 | 264.367 | 13.795 | 889.167 | 12.145 | 2.7321
2020-03-17 12:15:00 | 3.998 | 331.96 | 3.852 | 322.214 | 4.168 | 322.267 | 4.404 | 322.1 | 13.733 | 889.233 | 11.863 | 3.4534
2020-03-17 12:30:00 | 4.511 | 327.56 | 4.478 | 321.346 | 4.744 | 322.567 | 4.892 | 321.533 | 14.349 | 889.033 | 11.332 | 3.928
2020-03-17 12:45:00 | 3.051 | 302.653 | 2.958 | 332.765 | 3.42 | 331.033 | 3.707 | 320.9 | 14.974 | 889.8 | 10.753 | 4.441
2020-03-17 13:00:00 | 3.17 | 304.8 | 3.429 | 307.109 | 3.661 | 316.4 | 3.89 | 309.7 | 15.471 | 889.3 | 10.555 | 7.2002
2020-03-17 13:15:00 | 4.212 | 298.693 | 4.521 | 298.136 | 4.713 | 299.167 | 4.793 | 301.133 | 15.433 | 889.1 | 10.143 | 10.461
2020-03-17 13:30:00 | 4.497 | 321.92 | 4.293 | 315.966 | 4.514 | 310.133 | 4.962 | 318.933 | 15.635 | 888.967 | 10.223 | 13.0844
2020-03-17 13:45:00 | 5.989 | 309.627 | 6.273 | 304.158 | 6.527 | 310.167 | 6.693 | 306.5 | 15.896 | 889.233 | 10.173 | 18.1465
2020-03-17 14:00:00 | 4.526 | 308 | 4.501 | 298.85 | 4.863 | 303.567 | 5.205 | 313.767 | 16.074 | 889 | 10.233 | 19.6308
2020-03-17 14:15:00 | 5.452 | 291.147 | 5.801 | 293.531 | 5.947 | 299.667 | 6.043 | 299.967 | 16.381 | 889.633 | 10.093 | 16.5391
2020-03-17 14:30:00 | 5.225 | 313.307 | 5.238 | 311.968 | 5.6 | 317.9 | 5.729 | 318.233 | 16.781 | 888.8 | 9.339 | 17.9198
2020-03-17 14:45:00 | 4.46 | 283.253 | 4.652 | 330.343 | 5.298 | 321.733 | 5.582 | 326.333 | 16.798 | 888.933 | 9.229 | 22.5292
2020-03-17 15:00:00 | 5.255 | 234.787 | 6.012 | 305.248 | 6.439 | 296.833 | 6.638 | 334.133 | 16.981 | 888.933 | 9.043 | 30.7562
2020-03-17 15:15:00 | 7.432 | 309.6 | 7.433 | 309.608 | 7.755 | 312.833 | 8.328 | 313.367 | 17.014 | 889.2 | 8.631 | 43.5712
2020-03-17 15:30:00 | 7.258 | 325.573 | 7.752 | 320.292 | 7.867 | 323.367 | 8.294 | 326 | 17.398 | 888.933 | 8.699 | 40.6487
2020-03-17 15:45:00 | 7.206 | 332.2 | 7.337 | 326.266 | 7.523 | 329.133 | 7.676 | 328.067 | 17.314 | 889.333 | 8.634 | 40.0987
2020-03-17 16:00:00 | 6.886 | 319.4 | 7.019 | 318.131 | 7.603 | 320.633 | 7.702 | 318.833 | 17.502 | 888.667 | 8.675 | 46.0099
2020-03-17 16:15:00 | 6.79 | 315.933 | 6.976 | 308.563 | 7.122 | 314.733 | 7.309 | 313.067 | 17.468 | 889.133 | 8.685 | 48.5345
2020-03-17 16:30:00 | 9.256 | 301.093 | 9.933 | 298.155 | 10.592 | 305.4 | 10.957 | 304.633 | 17.335 | 889.067 | 8.529 | 49.4398
2020-03-17 16:45:00 | 8.215 | 312.88 | 8.519 | 307.248 | 8.682 | 311.167 | 8.702 | 310.4 | 17.398 | 888.8 | 8.329 | 46.6217
2020-03-17 17:00:00 | 6.33 | 286.133 | 6.539 | 285.306 | 6.508 | 290.4 | 6.754 | 289.267 | 17.21 | 889.4 | 8.645 | 32.0139
2020-03-17 17:15:00 | 7.664 | 317.427 | 7.925 | 311.778 | 8.22 | 317.6 | 8.401 | 315.767 | 17.531 | 889.267 | 8.591 | 35.3308
2020-03-17 17:30:00 | 7.955 | 311.48 | 8.472 | 308.115 | 8.639 | 312.233 | 8.946 | 311.733 | 17.618 | 888.933 | 8.633 | 50.4566
2020-03-17 17:45:00 | 8.463 | 318.307 | 9.157 | 309.313 | 9.37 | 313.467 | 9.665 | 310.933 | 17.231 | 888.867 | 8.469 | 58.8619
2020-03-17 18:00:00 | 9.553 | 315.813 | 9.988 | 311.476 | 10.189 | 317.133 | 10.565 | 316.933 | 17.289 | 889.333 | 8.481 | 63.0017
2020-03-17 18:15:00 | 9.148 | 311.76 | 9.802 | 306.883 | 10.28 | 310.867 | 10.724 | 309.333 | 17.081 | 889.067 | 8.891 | 62.8901
2020-03-17 18:30:00 | 9.05 | 317.787 | 9.618 | 313.873 | 10.08 | 317.9 | 10.301 | 317.333 | 16.914 | 888.733 | 9.152 | 65.7594
2020-03-17 18:45:00 | 9.548 | 310.44 | 10.499 | 308.83 | 11.163 | 314.2 | 11.557 | 312.267 | 16.531 | 888.733 | 9.351 | 76.4662
2020-03-17 19:00:00 | 9.283 | 305.187 | 10.017 | 304.559 | 10.658 | 311.667 | 11.142 | 309.067 | 16.17 | 888.733 | 9.652 | 75.0401
2020-03-17 19:15:00 | 9.044 | 306.667 | 9.942 | 305.647 | 10.593 | 310.767 | 11.075 | 307.467 | 15.828 | 889.667 | 10.182 | 73.96
2020-03-17 19:30:00 | 8.453 | 304.787 | 9.298 | 303.988 | 10.032 | 307.867 | 10.626 | 306.467 | 15.708 | 889.6 | 10.555 | 73.1777
2020-03-17 19:45:00 | 8.058 | 294.267 | 9.081 | 296.326 | 9.74 | 300.533 | 10.206 | 297.267 | 14.891 | 889.333 | 11.145 | 65.4816
2020-03-17 20:00:00 | 6.716 | 283.933 | 8.003 | 282.225 | 8.339 | 286.667 | 8.84 | 283.4 | 14.708 | 889.667 | 11.635 | 50.1802
2020-03-17 20:15:00 | 5.904 | 268.733 | 7.221 | 269.438 | 7.884 | 274 | 8.417 | 271.533 | 14.145 | 889.433 | 12.169 | 40.1484
2020-03-17 20:30:00 | 5.882 | 270.787 | 7.092 | 272.386 | 7.61 | 276.233 | 8.024 | 270.4 | 13.716 | 889.167 | 12.811 | 35.7124
2020-03-17 20:45:00 | 5.174 | 266.46 | 6.626 | 268.94 | 7.019 | 272.933 | 7.388 | 268.733 | 13.108 | 889.667 | 13.353 | 36.1984
2020-03-17 21:00:00 | 5.785 | 262.833 | 7.308 | 267.601 | 7.971 | 272.467 | 8.362 | 268.433 | 12.793 | 889.333 | 13.98 | 36.8102
2020-03-17 21:15:00 | 5.927 | 262.9 | 7.504 | 263.316 | 8.277 | 268.533 | 8.56 | 265.667 | 12.166 | 889.4 | 14.636 | 34.0361
2020-03-17 21:30:00 | 5.048 | 263.653 | 6.303 | 263.996 | 7.094 | 269.233 | 7.57 | 264.933 | 12.028 | 889.567 | 15.004 | 32.6605
2020-03-17 21:45:00 | 5.168 | 259.187 | 6.632 | 264.4 | 7.024 | 269.233 | 7.285 | 264.933 | 11.403 | 889.233 | 15.627 | 26.0259
2020-03-17 22:00:00 | 4.867 | 234.44 | 5.658 | 247.278 | 6.095 | 256.467 | 6.343 | 257.133 | 10.191 | 889.567 | 16.592 | 25.7076
2020-03-17 22:15:00 | 4.961 | 237.88 | 5.432 | 249.55 | 5.738 | 257.933 | 6.053 | 256.15 | 9.674 | 889.5 | 17.456 | 30.1294
2020-03-17 22:30:00 | 6.039 | 239.14 | 6.301 | 247.852 | 6.889 | 255.867 | 7.131 | 253.617 | 8.883 | 889.5 | 18.555 | 34.6067
2020-03-17 22:45:00 | 5.084 | 233.613 | 6.706 | 248.181 | 7.382 | 257.067 | 7.594 | 256.45 | 8.874 | 889.4 | 18.8 | 30.3696
2020-03-17 23:00:00 | 5.076 | 225.807 | 6.212 | 244.578 | 6.959 | 258.367 | 7.334 | 258.533 | 8.087 | 889.067 | 19.283 | 28.3815
2020-03-17 23:15:00 | 5.561 | 235.767 | 6.625 | 246.452 | 6.707 | 256.767 | 7.008 | 255.067 | 6.956 | 889.467 | 20.099 | 27.4819
2020-03-17 23:30:00 | 4.453 | 233.167 | 6.168 | 240.648 | 6.328 | 252.833 | 6.328 | 253.583 | 7.222 | 889.333 | 20.059 | 22.5562
2020-03-17 23:45:00 | 6.03 | 222.707 | 6.758 | 237.075 | 6.983 | 246.233 | 6.904 | 245.1 | 6.893 | 889.633 | 19.528 | 24.2509