## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-18 00:00:00 | 5.689 | 235.747 | 7.055 | 243.576 | 7.225 | 251.3 | 6.758 | 250.45 | 6.017 | 889.267 | 19.509 | 21.0527
2020-03-18 00:15:00 | 5.078 | 238.22 | 7.025 | 245.194 | 6.652 | 253.867 | 6.235 | 252.1 | 6.121 | 889.633 | 19.464 | 18.7092
2020-03-18 00:30:00 | 5.595 | 217.773 | 6.111 | 231.111 | 6.883 | 246.867 | 6.122 | 245.333 | 5.302 | 889.117 | 20.373 | 20.9717
2020-03-18 00:45:00 | 5.281 | 237.273 | 6.907 | 243.252 | 6.578 | 257.3 | 5.916 | 258.167 | 4.756 | 889.633 | 20.675 | 22.6209
2020-03-18 01:00:00 | 6.091 | 236.133 | 6.854 | 246.23 | 6.336 | 253.8 | 5.937 | 251.683 | 4.769 | 889.633 | 20.816 | 22.5306
2020-03-18 01:15:00 | 6.526 | 236.807 | 7.082 | 246.494 | 6.489 | 255.133 | 6.447 | 257.717 | 4.408 | 889.483 | 20.923 | 31.0297
2020-03-18 01:30:00 | 7.087 | 230.187 | 8.201 | 249.227 | 8.201 | 259.533 | 8.469 | 260.2 | 4.696 | 889.65 | 21.029 | 36.3767
2020-03-18 01:45:00 | 6.203 | 232.9 | 7.796 | 247.461 | 7.609 | 257.9 | 7.72 | 260.467 | 4.835 | 890.083 | 21.365 | 32.7116
2020-03-18 02:00:00 | 6.157 | 228.447 | 7.693 | 245.422 | 7.526 | 257.7 | 7.664 | 260.583 | 4.925 | 889.933 | 21.984 | 31.0503
2020-03-18 02:15:00 | 6.381 | 227.313 | 7.549 | 244.829 | 7.438 | 259.167 | 7.652 | 264.3 | 4.428 | 889.567 | 22.448 | 28.1441
2020-03-18 02:30:00 | 6.808 | 214.953 | 7.698 | 235.386 | 7.388 | 252.533 | 7.293 | 257.367 | 3.682 | 889.9 | 22.629 | 32.7351
2020-03-18 02:45:00 | 7.908 | 213.007 | 7.891 | 227.796 | 7.504 | 243.933 | 7.216 | 250.633 | 3.826 | 890.283 | 22.341 | 34.2458
2020-03-18 03:00:00 | 6.409 | 212.233 | 7.876 | 227.923 | 7.722 | 242.867 | 7.159 | 244.367 | 3.455 | 889.867 | 22.107 | 30.0058
2020-03-18 03:15:00 | 5.582 | 217.2 | 7.34 | 232.576 | 6.892 | 243 | 6.489 | 244.633 | 3.354 | 890.117 | 22.832 | 26.3087
2020-03-18 03:30:00 | 6.356 | 213.933 | 7.785 | 231.473 | 7.399 | 240.167 | 7.011 | 239.833 | 3.371 | 889.8 | 22.475 | 27.7064
2020-03-18 03:45:00 | 6.243 | 213.907 | 7.61 | 229.997 | 7.1 | 240.967 | 6.844 | 241.967 | 3.08 | 890.217 | 22.576 | 28.7495
2020-03-18 04:00:00 | 6.584 | 214.64 | 7.758 | 225.367 | 7.16 | 235.167 | 6.624 | 233.7 | 3.03 | 889.6 | 22.469 | 27.3412
2020-03-18 04:15:00 | 5.988 | 215.76 | 7.125 | 226.012 | 6.858 | 236.3 | 6.18 | 233.167 | 3.176 | 889.633 | 22.523 | 23.1595
2020-03-18 04:30:00 | 5.572 | 213.98 | 7.784 | 223.69 | 7.507 | 236.167 | 6.725 | 233.167 | 2.905 | 889.8 | 22.667 | 23.2561
2020-03-18 04:45:00 | 6.482 | 212.2 | 8.416 | 227.161 | 7.863 | 235.867 | 6.988 | 235.767 | 2.425 | 889.667 | 22.981 | 25.5506
2020-03-18 05:00:00 | 6.597 | 211.78 | 8.254 | 228.709 | 7.711 | 237.233 | 6.92 | 237.233 | 2.82 | 890.1 | 22.709 | 26.809
2020-03-18 05:15:00 | 6.446 | 215.433 | 7.653 | 232.362 | 7.162 | 239.533 | 6.608 | 238.433 | 2.766 | 889.433 | 22.437 | 24.7966
2020-03-18 05:30:00 | 6.579 | 216.96 | 7.964 | 230.548 | 7.509 | 238.733 | 7.026 | 237.867 | 2.672 | 889.917 | 23.2 | 27.7895
2020-03-18 05:45:00 | 7.522 | 211.833 | 8.434 | 225.093 | 7.974 | 234.767 | 7.32 | 235.5 | 2.598 | 889.783 | 24.928 | 32.4942
2020-03-18 06:00:00 | 7.546 | 212.073 | 8.778 | 221.528 | 8.302 | 229.233 | 7.939 | 229.7 | 2.557 | 889.8 | 25.749 | 37.6927
2020-03-18 06:15:00 | 7.946 | 211.987 | 8.617 | 221.843 | 8.4 | 229.4 | 8.284 | 228.2 | 2.897 | 889.333 | 25.984 | 38.8296
2020-03-18 06:30:00 | 7.744 | 209.62 | 8.942 | 220.59 | 8.577 | 228.667 | 8.473 | 226.633 | 2.696 | 890.1 | 26.389 | 39.7853
2020-03-18 06:45:00 | 7.62 | 209.267 | 8.883 | 219.995 | 8.512 | 227.533 | 8.354 | 226.7 | 2.75 | 889.917 | 27.088 | 38.2548
2020-03-18 07:00:00 | 7.555 | 210.547 | 8.86 | 219.238 | 8.582 | 225.2 | 8.332 | 224.767 | 2.668 | 889.883 | 27.531 | 38.9895
2020-03-18 07:15:00 | 7.83 | 212.447 | 8.581 | 222.456 | 8.457 | 230.1 | 8.508 | 230.233 | 3.023 | 889.417 | 26.928 | 39.1927
2020-03-18 07:30:00 | 7.572 | 210.747 | 8.411 | 225.172 | 8.069 | 232.233 | 8.132 | 231.9 | 3.073 | 889.8 | 26.448 | 40.1328
2020-03-18 07:45:00 | 7.862 | 217.793 | 8.111 | 222.481 | 7.75 | 229.367 | 7.514 | 227.167 | 3.01 | 889.433 | 25.952 | 39.6041
2020-03-18 08:00:00 | 7.032 | 216.1 | 8.334 | 220.356 | 8.073 | 227.233 | 7.698 | 226.233 | 3.405 | 889.95 | 25.419 | 34.4177
2020-03-18 08:15:00 | 6.584 | 209.467 | 7.903 | 218.217 | 7.477 | 223.1 | 7.191 | 220.9 | 3.706 | 889.283 | 24.448 | 26.6988
2020-03-18 08:30:00 | 5.948 | 214.3 | 7.143 | 221.663 | 6.232 | 228.233 | 5.715 | 226.333 | 3.689 | 889.65 | 24.059 | 18.4996
2020-03-18 08:45:00 | 5.256 | 216.253 | 6.02 | 225.858 | 5.883 | 232.567 | 5.832 | 228.833 | 4.166 | 889.733 | 23.227 | 13.942
2020-03-18 09:00:00 | 5.48 | 214.707 | 6.301 | 225.53 | 6.231 | 233.233 | 6.031 | 230.867 | 5.105 | 889.517 | 22.037 | 17.6256
2020-03-18 09:15:00 | 5.256 | 211.573 | 6.768 | 220.153 | 6.612 | 230.333 | 6.449 | 230.2 | 6.512 | 889.367 | 20.904 | 21.3959
2020-03-18 09:30:00 | 4.95 | 211.14 | 6.341 | 217.744 | 6.674 | 229.233 | 6.778 | 228.233 | 8.349 | 889.567 | 19.243 | 24.6368
2020-03-18 09:45:00 | 5.547 | 214.487 | 6.139 | 219.365 | 6.605 | 227.7 | 6.907 | 226.5 | 9.901 | 889.433 | 17.603 | 25.7012
2020-03-18 10:00:00 | 5.84 | 224.1 | 5.81 | 226.974 | 6.172 | 232.467 | 6.213 | 230.2 | 11.278 | 888.867 | 16.085 | 18.6552
2020-03-18 10:15:00 | 5.354 | 231.967 | 5.356 | 236.004 | 5.722 | 239.533 | 5.748 | 236.333 | 12.503 | 889.4 | 14.693 | 18.1237
2020-03-18 10:30:00 | 6.198 | 240.84 | 6.509 | 244.696 | 6.765 | 248.867 | 6.581 | 245.05 | 13.695 | 889.867 | 13.488 | 27.9217
2020-03-18 10:45:00 | 6.518 | 248.22 | 7.129 | 252.146 | 7.397 | 256.2 | 7.355 | 252.783 | 14.116 | 889.833 | 13.064 | 26.0302
2020-03-18 11:00:00 | 6.244 | 274 | 6.393 | 272.724 | 6.284 | 275.367 | 6.144 | 268.583 | 13.633 | 889.433 | 12.684 | 18.5877
2020-03-18 11:15:00 | 5.216 | 280.987 | 5.488 | 281.98 | 5.567 | 284.533 | 5.874 | 279.533 | 14.378 | 889.667 | 12.399 | 15.1614
2020-03-18 11:30:00 | 5.317 | 306.267 | 5.44 | 306.671 | 5.752 | 309.633 | 5.893 | 303.633 | 14.028 | 889.433 | 11.953 | 16.4986
2020-03-18 11:45:00 | 6.043 | 282.373 | 6.181 | 280.619 | 6.326 | 286 | 6.517 | 285.133 | 14.128 | 889.633 | 12.207 | 19.1434
2020-03-18 12:00:00 | 5.118 | 289.653 | 5.258 | 288.132 | 5.492 | 289.933 | 5.768 | 288.4 | 14.428 | 889.167 | 12.467 | 20.3485
2020-03-18 12:15:00 | 5.967 | 299.333 | 6.316 | 293.681 | 6.494 | 297.267 | 6.796 | 292.767 | 14.724 | 889.333 | 12.019 | 20.8807
2020-03-18 12:30:00 | 6.914 | 298 | 7.204 | 295.511 | 7.466 | 298.033 | 7.783 | 294.267 | 15.374 | 889.533 | 11.508 | 28.1811
2020-03-18 12:45:00 | 6.424 | 274.16 | 6.53 | 273.932 | 6.604 | 281.033 | 6.632 | 279.2 | 15.632 | 889.9 | 11.508 | 36.7192
2020-03-18 13:00:00 | 8.871 | 289.853 | 9.321 | 290.526 | 9.316 | 292.667 | 9.56 | 290.633 | 15.495 | 889.3 | 11.349 | 50.8311
2020-03-18 13:15:00 | 7.709 | 286.367 | 8.232 | 289.168 | 8.776 | 295.167 | 9.083 | 292.133 | 16.158 | 889.1 | 11.291 | 52.4569
2020-03-18 13:30:00 | 7.994 | 272.66 | 8.624 | 274.218 | 8.783 | 277.367 | 8.58 | 275.683 | 15.808 | 889.467 | 11.996 | 50.9171
2020-03-18 13:45:00 | 9.082 | 296.387 | 9.299 | 300.623 | 9.298 | 302.467 | 9.538 | 299.5 | 15.858 | 889.733 | 12.913 | 53.3614
2020-03-18 14:00:00 | 8.855 | 269.067 | 9.525 | 273.571 | 9.744 | 277.233 | 9.801 | 273.9 | 16.15 | 889.267 | 13.253 | 51.3562
2020-03-18 14:15:00 | 9.187 | 292.933 | 9.62 | 294.012 | 9.659 | 298.667 | 10.252 | 297.5 | 16.498 | 889.367 | 13.347 | 59.0047
2020-03-18 14:30:00 | 9.083 | 288.773 | 9.601 | 289.592 | 9.916 | 293.533 | 10.349 | 291.433 | 15.844 | 889.433 | 13.464 | 59.4588
2020-03-18 14:45:00 | 9.747 | 270.38 | 10.276 | 274.192 | 10.511 | 278.4 | 10.917 | 275.033 | 16.314 | 889.233 | 13.125 | 54.3257
2020-03-18 15:00:00 | 8.602 | 276.647 | 8.788 | 278.198 | 9.272 | 280.733 | 9.367 | 277.983 | 16.676 | 889.767 | 12.863 | 52.4249
2020-03-18 15:15:00 | 9.754 | 279.06 | 10.21 | 283.407 | 10.525 | 288.4 | 10.553 | 284.1 | 16.348 | 889.4 | 12.669 | 53.7615
2020-03-18 15:30:00 | 8.435 | 265.02 | 9.212 | 267.904 | 9.306 | 271.867 | 9.063 | 269.483 | 16.781 | 889.567 | 12.992 | 52.5876
2020-03-18 15:45:00 | 9.002 | 287.987 | 9.364 | 287.074 | 9.62 | 288.233 | 9.804 | 286.167 | 16.631 | 889.433 | 12.549 | 53.7799
2020-03-18 16:00:00 | 9.351 | 263.333 | 9.945 | 269.968 | 10.337 | 273.333 | 10.23 | 270.117 | 16.731 | 889.467 | 12.839 | 53.6904
2020-03-18 16:15:00 | 7.835 | 292.72 | 8.132 | 289.689 | 8.406 | 293.133 | 8.308 | 290.767 | 16.381 | 889.5 | 12.884 | 50.6691
2020-03-18 16:30:00 | 8.649 | 275.287 | 9.432 | 275.607 | 9.668 | 280.033 | 9.728 | 276.917 | 16.422 | 889.4 | 13.141 | 53.6243
2020-03-18 16:45:00 | 9.279 | 274.527 | 9.796 | 277.828 | 10.149 | 280.367 | 10.418 | 276.833 | 16.664 | 889.567 | 13.471 | 54.6078
2020-03-18 17:00:00 | 10.397 | 282.553 | 10.847 | 283.464 | 11.203 | 288.2 | 11.674 | 285.2 | 16.948 | 889.8 | 12.697 | 61.6914
2020-03-18 17:15:00 | 12.088 | 287.667 | 12.72 | 291.401 | 13.057 | 296 | 13.538 | 294.967 | 16.748 | 889.567 | 12.735 | 62.3743
2020-03-18 17:30:00 | 9.855 | 290.52 | 10.716 | 294.577 | 10.859 | 298.367 | 11.09 | 298.067 | 16.598 | 888.967 | 13.223 | 72.6505
2020-03-18 17:45:00 | 10.1 | 285.413 | 11.047 | 290.48 | 11.381 | 294.267 | 11.806 | 292.267 | 16.331 | 889.667 | 13.057 | 75.8736
2020-03-18 18:00:00 | 10.056 | 288.787 | 10.829 | 290.648 | 11.076 | 294.1 | 11.339 | 289.967 | 16.212 | 889.667 | 13.059 | 76.16
2020-03-18 18:15:00 | 10.457 | 283.127 | 11.224 | 286.64 | 11.486 | 290.8 | 12.16 | 288.6 | 15.972 | 889.467 | 12.671 | 78.7777
2020-03-18 18:30:00 | 10.315 | 282.327 | 11.251 | 287.708 | 11.827 | 291.267 | 12.511 | 289.767 | 15.863 | 889.6 | 12.733 | 78.971
2020-03-18 18:45:00 | 10.243 | 286.787 | 11.64 | 289.819 | 11.887 | 293.3 | 12.245 | 291.567 | 15.718 | 889.433 | 13.58 | 78.5347
2020-03-18 19:00:00 | 10.213 | 292.36 | 11.561 | 291.4 | 12.06 | 298.433 | 12.479 | 294.333 | 15.896 | 889.767 | 13.856 | 78.5084
2020-03-18 19:15:00 | 10.343 | 286.853 | 11.08 | 291.279 | 11.64 | 294.333 | 12.342 | 292.233 | 15.614 | 889.467 | 14.016 | 77.9449
2020-03-18 19:30:00 | 9.632 | 276 | 11.128 | 282.399 | 11.506 | 286.5 | 11.945 | 283.667 | 15.143 | 889.267 | 14.327 | 78.8615
2020-03-18 19:45:00 | 9.692 | 271.347 | 11.032 | 279.741 | 11.756 | 283.367 | 12.238 | 282.033 | 14.874 | 889.567 | 14.381 | 78.033
2020-03-18 20:00:00 | 9.321 | 266.853 | 10.784 | 280.055 | 11.365 | 283.333 | 11.692 | 280.6 | 14.258 | 889.5 | 15.031 | 77.6109
2020-03-18 20:15:00 | 8.072 | 266.353 | 9.2 | 274.694 | 9.733 | 278 | 9.968 | 274.233 | 14.091 | 889.5 | 15.444 | 67.118
2020-03-18 20:30:00 | 6.942 | 265.4 | 8.472 | 269.041 | 8.992 | 275.667 | 9.326 | 271.067 | 13.27 | 889.367 | 15.951 | 55.9827
2020-03-18 20:45:00 | 6.339 | 255.88 | 7.691 | 258.993 | 8.118 | 264 | 8.55 | 260.3 | 12.934 | 889.533 | 16.517 | 43.0014
2020-03-18 21:00:00 | 6.79 | 249.053 | 7.928 | 255.657 | 8.3 | 262.2 | 8.534 | 258.517 | 12.303 | 889.8 | 17.416 | 49.4085
2020-03-18 21:15:00 | 6.392 | 247.6 | 7.877 | 256.069 | 8.633 | 261.2 | 9.011 | 259.117 | 12.024 | 889.833 | 18.259 | 54.0841
2020-03-18 21:30:00 | 6.998 | 248.54 | 8.227 | 253.917 | 8.782 | 259.367 | 8.901 | 256.667 | 11.432 | 889.133 | 18.947 | 53.4176
2020-03-18 21:45:00 | 5.167 | 231.167 | 6.814 | 240.313 | 7.487 | 250.7 | 7.462 | 248.617 | 10.911 | 889.7 | 19.449 | 47.6783
2020-03-18 22:00:00 | 5.791 | 230.827 | 6.931 | 239.034 | 7.38 | 247 | 7.52 | 245.433 | 9.949 | 889.633 | 20.736 | 53.8027
2020-03-18 22:15:00 | 5.958 | 233.033 | 7.514 | 244.779 | 8.194 | 252.367 | 8.573 | 252.633 | 9.883 | 889.8 | 21.16 | 57.1615
2020-03-18 22:30:00 | 6.01 | 234.9 | 7.531 | 246.98 | 8.169 | 255.7 | 8.499 | 253.217 | 9.733 | 889.633 | 22.043 | 64.69
2020-03-18 22:45:00 | 6.493 | 233.6 | 8.512 | 247.11 | 9.528 | 255.167 | 9.775 | 252.917 | 9.616 | 889.517 | 24.008 | 74.4553
2020-03-18 23:00:00 | 7.505 | 234.04 | 8.956 | 244.491 | 9.612 | 250.367 | 9.758 | 246.417 | 10.004 | 889.917 | 25.925 | 79.582
2020-03-18 23:15:00 | 7.946 | 232.967 | 9.406 | 247.25 | 10.249 | 252.133 | 10.251 | 250.133 | 10.457 | 889.733 | 29.619 | 78.9767
2020-03-18 23:30:00 | 8.858 | 241.04 | 10.33 | 246.58 | 11.192 | 254.2 | 11.701 | 251.2 | 10.368 | 889.65 | 29.477 | 78.9404
2020-03-18 23:45:00 | 9.34 | 233.613 | 10.926 | 248.808 | 11.78 | 253.267 | 12.09 | 249.85 | 10.555 | 889.8 | 29.461 | 77.8717