## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-19 00:00:00 | 8.98 | 232.887 | 10.686 | 248.739 | 11.676 | 254.5 | 11.779 | 251.433 | 10.237 | 889.75 | 29.365 | 76.6133
2020-03-19 00:15:00 | 8.796 | 231.327 | 10.583 | 249.516 | 11.636 | 255.867 | 12.25 | 253.6 | 10.258 | 889.917 | 28.584 | 77.277
2020-03-19 00:30:00 | 10.451 | 245.36 | 12.054 | 257.186 | 13.545 | 259.667 | 14.149 | 258.2 | 10.624 | 889.65 | 27.619 | 77.7353
2020-03-19 00:45:00 | 11.62 | 252.427 | 13.103 | 260.356 | 14.24 | 264.017 | 14.69 | 261.55 | 10.578 | 889.933 | 26.6 | 77.3416
2020-03-19 01:00:00 | 10.213 | 243.353 | 12.34 | 255.53 | 13.21 | 259.767 | 13.719 | 257.95 | 10.52 | 889.75 | 26.765 | 77.1704
2020-03-19 01:15:00 | 10.647 | 233.833 | 11.879 | 250.75 | 12.569 | 255.667 | 13.341 | 253.85 | 10.393 | 889.75 | 27.725 | 76.0619
2020-03-19 01:30:00 | 8.933 | 225.773 | 10.764 | 245.227 | 11.638 | 251.2 | 11.543 | 248.167 | 9.947 | 889.9 | 29.221 | 76.0569
2020-03-19 01:45:00 | 8.735 | 226.767 | 9.991 | 249.008 | 11.055 | 254.467 | 11.579 | 251.8 | 9.716 | 889.45 | 29.773 | 76.5458
2020-03-19 02:00:00 | 8.824 | 226.553 | 10.005 | 247.288 | 10.699 | 253.867 | 11.112 | 250.267 | 9.978 | 889.617 | 29.621 | 77.0254
2020-03-19 02:15:00 | 8.792 | 225.84 | 9.831 | 246.295 | 10.599 | 252.567 | 10.703 | 249.517 | 9.914 | 889.85 | 29.605 | 76.9636
2020-03-19 02:30:00 | 9.069 | 224.627 | 10.251 | 247.17 | 11.035 | 252.467 | 11.042 | 250.95 | 10.166 | 889.667 | 29.744 | 78.2711
2020-03-19 02:45:00 | 8.197 | 219.467 | 9.418 | 242.206 | 10.308 | 247.2 | 10.43 | 243.8 | 9.783 | 889.65 | 29.963 | 77.7879
2020-03-19 03:00:00 | 8.124 | 222.36 | 9.501 | 237.773 | 10.217 | 245.767 | 10.241 | 241.433 | 9.789 | 889.883 | 30.544 | 74.0979
2020-03-19 03:15:00 | 8.003 | 224.1 | 9.346 | 246.081 | 10.225 | 252.467 | 10.314 | 246.467 | 9.943 | 889.417 | 30.963 | 67.1514
2020-03-19 03:30:00 | 7.043 | 223.993 | 8.058 | 248.64 | 8.625 | 254.033 | 8.761 | 249.917 | 10.032 | 889.583 | 31.677 | 59.6912
2020-03-19 03:45:00 | 7.211 | 232.107 | 8.528 | 256.892 | 9.147 | 261.033 | 9.424 | 255.883 | 9.704 | 889.367 | 31.869 | 62.3373
2020-03-19 04:00:00 | 8.033 | 234.453 | 9.527 | 253.75 | 10.048 | 258.017 | 10.174 | 254.683 | 9.86 | 889.283 | 32.259 | 71.7836
2020-03-19 04:15:00 | 7.491 | 228.507 | 8.656 | 253.594 | 9.396 | 257.767 | 9.797 | 252.567 | 9.72 | 889.7 | 32.947 | 75.0181
2020-03-19 04:30:00 | 10.094 | 236.407 | 11.214 | 254.26 | 11.853 | 258.1 | 11.918 | 255 | 9.533 | 890.067 | 33.243 | 79.4016
2020-03-19 04:45:00 | 9.857 | 225.193 | 11.108 | 254.328 | 11.784 | 258.067 | 11.8 | 255.783 | 9.608 | 889.967 | 33.685 | 77.8838
2020-03-19 05:00:00 | 10.815 | 237.96 | 12.179 | 256.303 | 12.788 | 262.433 | 13.094 | 259.267 | 9.316 | 889.817 | 34.803 | 76.5373
2020-03-19 05:15:00 | 10.237 | 231.62 | 11.743 | 255.017 | 12.565 | 258.5 | 12.784 | 256.233 | 8.774 | 889.85 | 35.947 | 76.9018
2020-03-19 05:30:00 | 9.62 | 230.413 | 11.07 | 254.522 | 11.729 | 259.4 | 12.148 | 255.483 | 8.566 | 889.367 | 37.267 | 77.6585
2020-03-19 05:45:00 | 8.932 | 217.467 | 10.23 | 245.632 | 10.976 | 252.767 | 10.942 | 250.35 | 8.458 | 889.875 | 41.213 | 78.6327
2020-03-19 06:00:00 | 8.744 | 215.04 | 10.163 | 250.158 | 10.604 | 254.733 | 10.574 | 251.083 | 8.254 | 889.708 | 45.04 | 77.3608
2020-03-19 06:15:00 | 9.182 | 217.847 | 10.889 | 249.4 | 11.671 | 255.4 | 11.994 | 251.783 | 8.25 | 889.983 | 47.584 | 77.5818
2020-03-19 06:30:00 | 9.875 | 217.04 | 11.419 | 248.207 | 12.57 | 254.3 | 12.676 | 250.55 | 7.986 | 889.7 | 49.008 | 78.1773
2020-03-19 06:45:00 | 9.142 | 222.66 | 10.692 | 246.295 | 11.481 | 251.933 | 11.708 | 248.117 | 7.909 | 889.95 | 49.328 | 74.7516
2020-03-19 07:00:00 | 9.386 | 228.32 | 10.612 | 249.496 | 11.203 | 255.567 | 11.33 | 252.267 | 8.073 | 890.292 | 50.107 | 70.8719
2020-03-19 07:15:00 | 8.325 | 213.727 | 9.702 | 245.564 | 10.471 | 251.4 | 10.703 | 247.567 | 8.01 | 889.708 | 51.072 | 69.2938
2020-03-19 07:30:00 | 9.199 | 216.207 | 10.952 | 245.688 | 11.867 | 251.5 | 11.953 | 248.217 | 8.12 | 889.858 | 51.339 | 69.8487
2020-03-19 07:45:00 | 9.59 | 210.607 | 10.952 | 246.561 | 11.729 | 253.333 | 11.798 | 249.767 | 8.337 | 889.808 | 51.072 | 69.4103
2020-03-19 08:00:00 | 8.679 | 215.44 | 10.059 | 240.412 | 11.02 | 247.667 | 10.864 | 243.25 | 8.17 | 889.742 | 51.456 | 70.0683
2020-03-19 08:15:00 | 8.989 | 212.313 | 10.049 | 242.384 | 10.842 | 249.1 | 10.889 | 242.817 | 7.933 | 889.817 | 51.349 | 73.3625
2020-03-19 08:30:00 | 9.885 | 215.607 | 11.08 | 238.699 | 11.532 | 244.2 | 11.716 | 239.767 | 8.137 | 889.575 | 49.568 | 77.3686
2020-03-19 08:45:00 | 9.164 | 217.373 | 10.441 | 236.806 | 11 | 243.9 | 11.087 | 239.267 | 8.387 | 889.825 | 48.501 | 75.8303
2020-03-19 09:00:00 | 8.047 | 205.727 | 9.124 | 238.345 | 9.727 | 245.5 | 9.784 | 241.95 | 8.411 | 889.958 | 47.637 | 74.9619
2020-03-19 09:15:00 | 7.501 | 213.753 | 8.367 | 244.88 | 8.834 | 251.267 | 9.055 | 248.167 | 8.662 | 889.908 | 47.872 | 72.9304
2020-03-19 09:30:00 | 8.97 | 235.66 | 10.09 | 252.785 | 10.25 | 257.867 | 10.678 | 253.75 | 9.12 | 890.242 | 48.251 | 76.5366
2020-03-19 09:45:00 | 8.452 | 223.52 | 9.189 | 252.799 | 9.676 | 255.667 | 9.75 | 251.367 | 9.258 | 889.4 | 47.483 | 75.8494
2020-03-19 10:00:00 | 9.252 | 225.98 | 10.242 | 251.077 | 10.802 | 253.333 | 10.682 | 250.067 | 9.66 | 890.15 | 45.664 | 76.3589
2020-03-19 10:15:00 | 10.324 | 224.533 | 11.384 | 252.479 | 11.644 | 255.767 | 11.574 | 253.117 | 10.137 | 889.633 | 44.501 | 75.8331
2020-03-19 10:30:00 | 9.583 | 232.593 | 10.319 | 258.45 | 10.53 | 261.533 | 10.441 | 257.267 | 10.004 | 889.408 | 44.112 | 74.6415
2020-03-19 10:45:00 | 11.517 | 234.407 | 12.796 | 259.101 | 12.814 | 263 | 12.67 | 257.95 | 11.061 | 889.683 | 42.464 | 71.7459
2020-03-19 11:00:00 | 11.399 | 240.407 | 12.893 | 263.463 | 13.416 | 267.217 | 13.671 | 263.4 | 11.361 | 889.817 | 41.877 | 70.712
2020-03-19 11:15:00 | 13.854 | 251.487 | 14.841 | 273.776 | 14.964 | 277.767 | 15.088 | 274.733 | 11.195 | 889.75 | 43.147 | 70.388
2020-03-19 11:30:00 | 14.118 | 258.673 | 14.686 | 274.101 | 15.041 | 276.633 | 15.069 | 273.7 | 11.549 | 889.658 | 42.011 | 71.0787
2020-03-19 11:45:00 | 13.472 | 254.98 | 14.415 | 270.143 | 14.631 | 273.367 | 14.988 | 272.3 | 12.559 | 889.8 | 40.419 | 72.1893
2020-03-19 12:00:00 | 13.953 | 254.687 | 15.082 | 273.731 | 15.91 | 277.1 | 15.855 | 274.967 | 12.47 | 889.633 | 38.549 | 72.1197
2020-03-19 12:15:00 | 13.795 | 258.527 | 15.07 | 278.582 | 15.416 | 280.333 | 16.159 | 279.267 | 12.476 | 889.833 | 39.136 | 71.5988
2020-03-19 12:30:00 | 14.153 | 260.58 | 15.546 | 279.52 | 15.749 | 283.3 | 15.834 | 277.6 | 12.49 | 889.833 | 38.184 | 66.7648
2020-03-19 12:45:00 | 14.791 | 262.98 | 16.052 | 282.012 | 16.13 | 282.3 | 16.598 | 280.9 | 12.934 | 889.983 | 36.453 | 65.9555
2020-03-19 13:00:00 | 15.24 | 273.14 | 16.01 | 281.842 | 16.4 | 285.833 | 16.551 | 284.567 | 12.699 | 889.917 | 34.669 | 66.4117
2020-03-19 13:15:00 | 15.648 | 254.64 | 16.774 | 273.128 | 17.214 | 275.333 | 17.536 | 274.367 | 13.034 | 889.583 | 35.003 | 66.4685
2020-03-19 13:30:00 | 14.94 | 256.86 | 16.179 | 277.512 | 16.088 | 278.5 | 16.48 | 277.033 | 13.247 | 890.167 | 35.077 | 66.622
2020-03-19 13:45:00 | 14.331 | 271.553 | 15.269 | 283.29 | 15.6 | 287.033 | 16.229 | 285.033 | 13.445 | 889.633 | 34.475 | 65.7949
2020-03-19 14:00:00 | 13.069 | 263.127 | 14.136 | 282.097 | 14.481 | 284.467 | 15.093 | 282.8 | 13.155 | 889.383 | 34.269 | 63.5147
2020-03-19 14:15:00 | 15.127 | 257.373 | 16.653 | 280.554 | 16.61 | 283.3 | 17.254 | 281.833 | 13.191 | 889.75 | 34.088 | 60.0734
2020-03-19 14:30:00 | 14.353 | 257.44 | 15.652 | 272.942 | 16.026 | 276.033 | 16.039 | 273.7 | 13.962 | 889.85 | 32.539 | 55.9209
2020-03-19 14:45:00 | 13.45 | 264.727 | 14.535 | 279.788 | 14.778 | 282.533 | 15.294 | 282.6 | 13.737 | 889.583 | 32.083 | 54.013
2020-03-19 15:00:00 | 14.106 | 261.22 | 15.54 | 281.47 | 16.236 | 282.9 | 16.63 | 282.667 | 13.941 | 889.8 | 31.864 | 52.7169
2020-03-19 15:15:00 | 10.961 | 246.12 | 11.971 | 273.855 | 12.271 | 275.833 | 12.623 | 276.133 | 14.191 | 889.417 | 31.208 | 51.8508
2020-03-19 15:30:00 | 12.093 | 258.127 | 12.628 | 274 | 13.145 | 277.8 | 13.425 | 273.267 | 14.458 | 889.867 | 30.755 | 50.252
2020-03-19 15:45:00 | 12.119 | 266.64 | 12.903 | 282.219 | 13.375 | 285.3 | 13.757 | 283.9 | 14.274 | 889.85 | 30.467 | 50.2932
2020-03-19 16:00:00 | 12.63 | 265.24 | 13.476 | 274.503 | 14.002 | 278.933 | 14.267 | 276.567 | 14.104 | 889.683 | 30.549 | 50.5227
2020-03-19 16:15:00 | 13.026 | 255.513 | 13.898 | 266.94 | 14.241 | 269.667 | 14.496 | 266.217 | 13.728 | 889.6 | 32.011 | 50.63
2020-03-19 16:30:00 | 11.042 | 268.86 | 11.89 | 284.229 | 12.304 | 285.5 | 12.751 | 285.033 | 13.293 | 890 | 33.067 | 50.5
2020-03-19 16:45:00 | 11.41 | 248.193 | 12.371 | 275.68 | 12.553 | 277.467 | 13.041 | 277.333 | 13.774 | 890.083 | 31.973 | 50.1212
2020-03-19 17:00:00 | 11.43 | 258.66 | 12.752 | 275.19 | 13.11 | 276.533 | 13.509 | 276.2 | 13.866 | 889.45 | 31.128 | 49.6345
2020-03-19 17:15:00 | 11.33 | 262.533 | 11.973 | 286.44 | 11.99 | 290.333 | 12.444 | 289.033 | 14.295 | 889.95 | 31.379 | 49.8079
2020-03-19 17:30:00 | 13.002 | 270.94 | 13.753 | 287.449 | 13.78 | 289 | 14.212 | 288.567 | 13.933 | 889.583 | 31.72 | 52.2387
2020-03-19 17:45:00 | 11.52 | 277.833 | 12.69 | 286.828 | 13.025 | 288.567 | 13.599 | 288.2 | 13.954 | 889.667 | 32.077 | 54.9389
2020-03-19 18:00:00 | 11.023 | 288.72 | 11.367 | 293.648 | 11.843 | 296.467 | 12.466 | 296.1 | 13.662 | 889.283 | 32.384 | 54.9716
2020-03-19 18:15:00 | 9.945 | 289.533 | 10.785 | 292.11 | 10.908 | 296.667 | 11.328 | 295.867 | 13.737 | 889.967 | 32.645 | 56.4211
2020-03-19 18:30:00 | 9.132 | 279.32 | 10.048 | 291.964 | 10.599 | 294.9 | 11.19 | 293.167 | 13.141 | 889.567 | 34.229 | 61.6289
2020-03-19 18:45:00 | 9.833 | 276.413 | 10.926 | 289.452 | 11.541 | 293.533 | 12.2 | 291.7 | 13.247 | 889.733 | 33.944 | 64.6609
2020-03-19 19:00:00 | 7.86 | 272.74 | 9.202 | 285.774 | 9.709 | 289.533 | 10.246 | 289.2 | 13.139 | 889.733 | 33.995 | 68.0034
2020-03-19 19:15:00 | 8.884 | 255.753 | 9.685 | 279.319 | 9.831 | 282.267 | 10.419 | 280.9 | 12.932 | 889.917 | 33.856 | 63.5481
2020-03-19 19:30:00 | 8.585 | 260.633 | 9.643 | 283.242 | 9.998 | 284.733 | 10.469 | 281.333 | 12.595 | 889.933 | 34.467 | 62.704
2020-03-19 19:45:00 | 8.227 | 256.48 | 9.114 | 278.576 | 9.503 | 281.3 | 9.606 | 278.7 | 12.474 | 889.533 | 34.701 | 53.4197
2020-03-19 20:00:00 | 8.226 | 245.16 | 9.484 | 271.298 | 9.736 | 275.2 | 10.041 | 271.6 | 12.245 | 889.75 | 34.928 | 52.152
2020-03-19 20:15:00 | 6.971 | 255.647 | 8.051 | 279.072 | 8.48 | 282.3 | 8.753 | 279.867 | 12.282 | 890.183 | 35.093 | 40.7602
2020-03-19 20:30:00 | 5.636 | 253.253 | 6.801 | 275.332 | 7.224 | 279.333 | 7.65 | 277.933 | 11.232 | 889.783 | 36.355 | 26.102
2020-03-19 20:45:00 | 4.482 | 261.107 | 5.058 | 263.711 | 5.186 | 269.067 | 5.391 | 265.2 | 11.228 | 889.55 | 37.648 | 22.8746
2020-03-19 21:00:00 | 4.672 | 245.447 | 6.007 | 261.092 | 6.474 | 265.7 | 6.708 | 263.033 | 10.686 | 889.817 | 39.707 | 24.7668
2020-03-19 21:15:00 | 4.724 | 249.713 | 5.846 | 258.673 | 6.221 | 264.933 | 6.434 | 262.133 | 10.316 | 889.817 | 41.109 | 26.88
2020-03-19 21:30:00 | 5.825 | 249.8 | 6.952 | 262.035 | 7.205 | 266.867 | 7.31 | 263.2 | 10.241 | 889.283 | 41.936 | 31.0702
2020-03-19 21:45:00 | 5.445 | 242.433 | 6.615 | 260.064 | 7.071 | 266.3 | 7.3 | 264.1 | 9.616 | 889.592 | 42.352 | 28.466
2020-03-19 22:00:00 | 5.357 | 235.98 | 6.447 | 259.145 | 6.876 | 266.267 | 7.241 | 264.233 | 9.299 | 889.533 | 43.429 | 26.588
2020-03-19 22:15:00 | 5.217 | 233.927 | 6.422 | 258.03 | 6.752 | 264.733 | 7.139 | 262.133 | 9.233 | 890.517 | 44.277 | 27.0967
2020-03-19 22:30:00 | 5.4 | 241.973 | 6.528 | 258.853 | 6.828 | 265.033 | 7.018 | 261.7 | 8.77 | 889.758 | 45.227 | 26.8239
2020-03-19 22:45:00 | 5.861 | 230.793 | 6.895 | 250.526 | 7.177 | 257.3 | 7.233 | 255.183 | 8.077 | 889.7 | 45.867 | 35.4871
2020-03-19 23:00:00 | 6.041 | 223.407 | 7.15 | 252.795 | 7.56 | 258.633 | 7.597 | 257.35 | 7.97 | 889.775 | 47.099 | 38.0778
2020-03-19 23:15:00 | 6.506 | 215.413 | 7.992 | 255.008 | 8.326 | 262.4 | 8.562 | 259.617 | 8.134 | 889.908 | 48.027 | 40.4341
2020-03-19 23:30:00 | 6.614 | 221.227 | 7.644 | 240.64 | 7.885 | 252.467 | 8.199 | 251.267 | 7.136 | 889.633 | 49.472 | 42.3746
2020-03-19 23:45:00 | 6.402 | 223.5 | 7.805 | 244.209 | 7.958 | 252.067 | 7.983 | 250.317 | 7.089 | 889.95 | 50.56 | 40.8498