## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-20 00:00:00 | 6.754 | 217.1 | 8.325 | 246.046 | 8.472 | 254 | 8.769 | 253.067 | 7.006 | 890 | 50.645 | 44.0558
2020-03-20 00:15:00 | 5.765 | 228.633 | 7.206 | 246.394 | 7.539 | 255.633 | 7.865 | 252.25 | 7.172 | 889.967 | 50.688 | 37.503
2020-03-20 00:30:00 | 4.641 | 230.567 | 6.104 | 252.022 | 6.684 | 257.833 | 6.876 | 255.933 | 7.156 | 889.758 | 51.627 | 32.183
2020-03-20 00:45:00 | 5.496 | 222.167 | 7.245 | 248.391 | 8.01 | 255.1 | 8.218 | 251.2 | 7.339 | 890.058 | 53.173 | 43.8846
2020-03-20 01:00:00 | 6.507 | 229.993 | 7.947 | 253.383 | 8.655 | 258.267 | 9.14 | 256.65 | 8.06 | 889.458 | 51.195 | 48.9282
2020-03-20 01:15:00 | 6.242 | 246.64 | 7.543 | 263.719 | 8.062 | 269.133 | 8.337 | 265.4 | 8.458 | 889.475 | 49.739 | 43.9976
2020-03-20 01:30:00 | 5.927 | 245.127 | 7.442 | 269.097 | 7.929 | 273.933 | 8.221 | 270.3 | 8.824 | 889.942 | 48.965 | 41.0615
2020-03-20 01:45:00 | 5.523 | 240.373 | 6.624 | 255.709 | 7.053 | 261.733 | 7.209 | 259.05 | 8.541 | 889.75 | 49.168 | 34.0013
2020-03-20 02:00:00 | 5.111 | 233.327 | 6.418 | 251.935 | 6.81 | 257.033 | 7.058 | 252.8 | 8.527 | 889.75 | 49.664 | 36.985
2020-03-20 02:15:00 | 5.64 | 230.213 | 6.656 | 246.238 | 7.345 | 252.3 | 7.452 | 249.1 | 8.25 | 890.025 | 49.899 | 32.7095
2020-03-20 02:30:00 | 4.971 | 231.367 | 6.017 | 244.281 | 6.337 | 251.833 | 6.37 | 250.067 | 8.457 | 889.933 | 50.133 | 22.2116
2020-03-20 02:45:00 | 5.011 | 230.933 | 5.906 | 242.739 | 6.116 | 248.833 | 6.082 | 245.567 | 7.789 | 890.175 | 50.827 | 20.7606
2020-03-20 03:00:00 | 4.675 | 228.647 | 5.703 | 241.527 | 5.813 | 249.233 | 5.774 | 246.033 | 7.916 | 889.55 | 51.819 | 18.0726
2020-03-20 03:15:00 | 4.728 | 230.667 | 5.911 | 242.783 | 6.044 | 250.833 | 6.155 | 248.35 | 7.406 | 890.117 | 52.896 | 16.8809
2020-03-20 03:30:00 | 5.046 | 231.367 | 5.938 | 245.41 | 6.263 | 252.5 | 6.372 | 248.117 | 7.006 | 889.808 | 53.749 | 15.6318
2020-03-20 03:45:00 | 4.448 | 233.8 | 5.525 | 247.438 | 5.787 | 255.767 | 5.851 | 253.467 | 6.94 | 889.658 | 54.688 | 12.6097
2020-03-20 04:00:00 | 3.982 | 229.52 | 5.063 | 244.78 | 5.207 | 251.8 | 5.299 | 247.767 | 6.486 | 890.475 | 55.744 | 8.8416
2020-03-20 04:15:00 | 3.536 | 230.973 | 4.391 | 246.029 | 4.433 | 253.933 | 4.57 | 251.217 | 6.246 | 889.9 | 56.779 | 8.5232
2020-03-20 04:30:00 | 3.585 | 225.627 | 3.618 | 244.643 | 3.785 | 254.667 | 4.001 | 253.217 | 5.725 | 889.883 | 58.357 | 10.9164
2020-03-20 04:45:00 | 4.752 | 220.067 | 4.499 | 234.308 | 4.712 | 246.1 | 5.042 | 245.083 | 5.878 | 889.842 | 57.515 | 16.6209
2020-03-20 05:00:00 | 5.822 | 221.473 | 5.558 | 235.319 | 5.827 | 244.8 | 5.963 | 243.533 | 6.246 | 889.942 | 56.939 | 24.4009
2020-03-20 05:15:00 | 5.795 | 226.413 | 5.902 | 245.248 | 6.082 | 252.133 | 6.135 | 250.05 | 5.852 | 889.825 | 56.939 | 32.5631
2020-03-20 05:30:00 | 6.16 | 218.8 | 6.723 | 242.838 | 6.982 | 251.067 | 7.166 | 247.333 | 5.266 | 890 | 58.848 | 36.9104
2020-03-20 05:45:00 | 6.159 | 225.007 | 7.258 | 244.542 | 7.549 | 251.567 | 7.612 | 249.667 | 5.221 | 889.85 | 59.349 | 44.5802
2020-03-20 06:00:00 | 6.695 | 221.413 | 7.959 | 240.892 | 8.404 | 247.333 | 8.379 | 243.4 | 5.819 | 889.933 | 58.912 | 51.5218
2020-03-20 06:15:00 | 6.935 | 216.6 | 8.145 | 240.806 | 8.552 | 247.567 | 8.626 | 243.067 | 5.912 | 889.592 | 58.293 | 53.3678
2020-03-20 06:30:00 | 5.638 | 223.68 | 6.979 | 244.267 | 7.724 | 252.7 | 7.953 | 249.05 | 5.786 | 889.992 | 58.475 | 47.711
2020-03-20 06:45:00 | 5.375 | 229.42 | 6.919 | 240.766 | 7.722 | 248.8 | 7.776 | 244.167 | 5.161 | 889.958 | 59.733 | 43.2216
2020-03-20 07:00:00 | 5.588 | 220.307 | 7.019 | 233.381 | 7.541 | 240.8 | 7.613 | 237.4 | 5.221 | 890.192 | 59.915 | 44.301
2020-03-20 07:15:00 | 6.159 | 219.3 | 7.631 | 231.158 | 8.196 | 238.367 | 8.523 | 233.8 | 5.596 | 890.092 | 59.253 | 50.7011
2020-03-20 07:30:00 | 5.681 | 220.733 | 7.622 | 230.76 | 8.22 | 236.533 | 8.3 | 231.833 | 5.631 | 889.592 | 59.616 | 48.2631
2020-03-20 07:45:00 | 5.509 | 224.213 | 7.016 | 230.602 | 7.572 | 237.967 | 7.76 | 234.167 | 5.239 | 889.892 | 59.957 | 39.7441
2020-03-20 08:00:00 | 4.799 | 229.453 | 6.37 | 240.36 | 7.11 | 247.6 | 7.294 | 244.033 | 4.911 | 890.333 | 60.523 | 30.7832
2020-03-20 08:15:00 | 4.984 | 222.06 | 6.625 | 244.538 | 6.858 | 250.467 | 6.727 | 246.467 | 5.725 | 889.725 | 59.445 | 29.3855
2020-03-20 08:30:00 | 5.774 | 218.06 | 7.182 | 242.963 | 7.468 | 247.9 | 7.292 | 244.467 | 6.373 | 889.692 | 57.451 | 27.1792
2020-03-20 08:45:00 | 5.655 | 330.147 | 6.256 | 325.415 | 6.409 | 329.367 | 6.414 | 325.467 | 6.495 | 889.833 | 55.659 | 15.1194
2020-03-20 09:00:00 | 2.353 | 285.813 | 3.039 | 293.893 | 4.128 | 298.933 | 5.33 | 296.867 | 6.69 | 889.833 | 53.851 | 5.0955
2020-03-20 09:15:00 | 4.212 | 249.04 | 4.848 | 264.485 | 4.905 | 274.267 | 5.596 | 274 | 7.853 | 890.008 | 51.296 | 5.6298
2020-03-20 09:30:00 | 4.612 | 236.893 | 5.117 | 246.348 | 5.37 | 251 | 5.517 | 247.467 | 8.72 | 889.967 | 48.683 | 5.438
2020-03-20 09:45:00 | 4.808 | 269.373 | 5.13 | 278.7 | 5.257 | 281.467 | 5.357 | 278.55 | 8.601 | 889.592 | 49.845 | 14.3961
2020-03-20 10:00:00 | 5.744 | 273.147 | 6.029 | 286.952 | 6.004 | 288.967 | 6.188 | 286.667 | 8.422 | 889.45 | 49.467 | 23.6654
2020-03-20 10:15:00 | 6.209 | 260.4 | 6.642 | 279.714 | 6.757 | 282.733 | 6.762 | 279.267 | 8.674 | 889.642 | 49.573 | 34.7154
2020-03-20 10:30:00 | 6.557 | 261.227 | 7.224 | 279.846 | 7.487 | 280.9 | 7.639 | 281.033 | 8.92 | 889.742 | 48.203 | 41.4815
2020-03-20 10:45:00 | 8.254 | 269.413 | 9.197 | 287.23 | 9.499 | 292.667 | 9.586 | 288.767 | 8.808 | 890.042 | 48.667 | 54.99
2020-03-20 11:00:00 | 8.116 | 261.693 | 8.699 | 278.791 | 8.895 | 283.667 | 9.161 | 281.2 | 8.804 | 890.45 | 49.861 | 50.5085
2020-03-20 11:15:00 | 8.229 | 275.193 | 8.718 | 296.873 | 8.995 | 299.7 | 9.186 | 297.7 | 8.895 | 890.033 | 48.704 | 45.1373
2020-03-20 11:30:00 | 7.949 | 281.107 | 8.244 | 297.183 | 8.261 | 301.5 | 8.632 | 299.133 | 8.595 | 890.142 | 50.197 | 42.3526
2020-03-20 11:45:00 | 8.204 | 290.9 | 8.599 | 299.868 | 8.766 | 304.833 | 8.938 | 300.633 | 8.364 | 890.425 | 50.336 | 35.9824
2020-03-20 12:00:00 | 6.944 | 282.007 | 7.516 | 298.19 | 7.501 | 302.067 | 7.734 | 300.767 | 8.658 | 890.125 | 50.325 | 35.9092
2020-03-20 12:15:00 | 6.803 | 303.12 | 7.119 | 305.805 | 7.072 | 310.767 | 7.144 | 307.367 | 8.704 | 890.092 | 50.235 | 32.3663
2020-03-20 12:30:00 | 6.809 | 248.32 | 7.09 | 267.235 | 7.152 | 270.833 | 7.21 | 268.067 | 9.68 | 889.733 | 48.144 | 26.4118
2020-03-20 12:45:00 | 5.532 | 271.86 | 6.168 | 282.926 | 6.361 | 283.133 | 6.587 | 281.1 | 10.476 | 889.983 | 45.877 | 29.4793
2020-03-20 13:00:00 | 7.709 | 272.02 | 8.213 | 283.798 | 8.426 | 288.533 | 8.691 | 287.233 | 10.018 | 889.642 | 46.987 | 38.0714
2020-03-20 13:15:00 | 7.017 | 279.22 | 7.483 | 291.702 | 7.816 | 290.533 | 8.212 | 288.8 | 10.114 | 889.708 | 45.941 | 44.2797
2020-03-20 13:30:00 | 8.6 | 280.507 | 9.213 | 295.25 | 9.523 | 298.967 | 9.984 | 298.967 | 10.141 | 889.583 | 45.92 | 57.7279
2020-03-20 13:45:00 | 8.069 | 292.987 | 8.539 | 299.006 | 8.553 | 302.833 | 8.888 | 299.7 | 10.316 | 889.883 | 45.056 | 54.7961
2020-03-20 14:00:00 | 8.986 | 320.6 | 9.322 | 314.675 | 10.11 | 319.367 | 10.246 | 318.867 | 11.011 | 890.117 | 43.392 | 54.3605
2020-03-20 14:15:00 | 8.55 | 292.12 | 8.679 | 298.714 | 9.096 | 305.033 | 9.502 | 302 | 10.559 | 889.975 | 44.112 | 53.2094
2020-03-20 14:30:00 | 8.635 | 296.587 | 9.074 | 302.512 | 9.317 | 305.967 | 9.563 | 302.867 | 10.657 | 889.533 | 44.763 | 62.7047
2020-03-20 14:45:00 | 11.082 | 302.02 | 11.732 | 307.597 | 11.866 | 313.133 | 12.247 | 313.6 | 10.855 | 889.55 | 45.392 | 74.2599
2020-03-20 15:00:00 | 11.615 | 296.333 | 12.249 | 303.674 | 12.439 | 307.567 | 12.938 | 305.333 | 10.453 | 890.092 | 46.043 | 72.5666
2020-03-20 15:15:00 | 11.216 | 311.133 | 11.873 | 312.456 | 12.186 | 315.133 | 12.714 | 312.467 | 10.84 | 890.108 | 46 | 73.5117
2020-03-20 15:30:00 | 9.81 | 282.067 | 10.789 | 294.348 | 10.967 | 299.867 | 11.542 | 299.433 | 9.86 | 889.933 | 48.624 | 72.8736
2020-03-20 15:45:00 | 11.684 | 278.113 | 12.206 | 290.352 | 12.581 | 292.3 | 13.239 | 293 | 9.872 | 890.017 | 48.277 | 69.4046
2020-03-20 16:00:00 | 12.574 | 278.253 | 13.072 | 298.438 | 13.376 | 302.033 | 14.22 | 301.2 | 9.466 | 889.908 | 48.357 | 69.1737
2020-03-20 16:15:00 | 11.615 | 282.253 | 12.383 | 298.116 | 12.901 | 302.667 | 13.34 | 301.167 | 9.708 | 889.583 | 48.976 | 69.3527
2020-03-20 16:30:00 | 11.949 | 285.587 | 13.161 | 299.934 | 13.31 | 304 | 14.044 | 301.4 | 9.349 | 889.558 | 48.965 | 69.6824
2020-03-20 16:45:00 | 12.182 | 259.627 | 13.186 | 288.859 | 13.716 | 292 | 14.192 | 292.333 | 10.016 | 889.575 | 48.352 | 69.7869
2020-03-20 17:00:00 | 12.374 | 271.567 | 13.56 | 292.961 | 14.313 | 295.467 | 14.878 | 293.9 | 9.847 | 890.092 | 47.984 | 70.4257
2020-03-20 17:15:00 | 12.336 | 268.153 | 13.24 | 286.787 | 13.55 | 290.467 | 14.205 | 289.433 | 9.724 | 889.417 | 49.557 | 70.4541
2020-03-20 17:30:00 | 12.145 | 271.24 | 12.755 | 288.987 | 12.979 | 289.167 | 13.456 | 288.933 | 9.508 | 889.933 | 50.293 | 70.2793
2020-03-20 17:45:00 | 10.86 | 255.527 | 12.092 | 280.261 | 12.029 | 283.6 | 12.163 | 283.233 | 9.793 | 889.867 | 49.584 | 71.0822
2020-03-20 18:00:00 | 10.034 | 243.233 | 11.012 | 273.353 | 11.435 | 277.4 | 11.648 | 275.967 | 9.649 | 890.108 | 48.763 | 72.4316
2020-03-20 18:15:00 | 10.639 | 242.333 | 11.781 | 269.006 | 11.962 | 272.467 | 11.943 | 270.233 | 9.649 | 889.658 | 48.224 | 66.9105
2020-03-20 18:30:00 | 7.34 | 257.74 | 7.809 | 276.162 | 7.98 | 278.467 | 8.472 | 275.533 | 9.483 | 889.942 | 48.027 | 51.2581
2020-03-20 18:45:00 | 8.077 | 244.267 | 8.735 | 272.815 | 9.073 | 276.033 | 9.387 | 272.333 | 9.278 | 890.05 | 48.859 | 57.6156
2020-03-20 19:00:00 | 8.304 | 246.387 | 8.972 | 275.247 | 9.15 | 278.833 | 9.17 | 276.033 | 9.556 | 889.675 | 46.885 | 58.8477
2020-03-20 19:15:00 | 8.597 | 241.553 | 9.32 | 274.955 | 9.528 | 276.8 | 9.393 | 273.567 | 9.254 | 890.017 | 48.24 | 59.5085
2020-03-20 19:30:00 | 8.454 | 240.327 | 9.568 | 268.047 | 9.538 | 274.4 | 9.576 | 271.633 | 9.158 | 889.925 | 49.92 | 60.2937
2020-03-20 19:45:00 | 8.319 | 240.513 | 8.748 | 269.372 | 9.225 | 273.4 | 9.386 | 270.9 | 8.704 | 890.167 | 50.251 | 54.8998
2020-03-20 20:00:00 | 7.659 | 234.167 | 8.566 | 258.714 | 8.897 | 262.567 | 9.083 | 258.317 | 8.157 | 890.267 | 51.269 | 58.3958
2020-03-20 20:15:00 | 6.634 | 240.473 | 7.836 | 261.046 | 8.312 | 264.333 | 8.506 | 260 | 8.134 | 889.858 | 53.328 | 47.6009
2020-03-20 20:30:00 | 6.299 | 245.8 | 7.537 | 265.01 | 8.065 | 268.2 | 8.337 | 265.317 | 7.586 | 889.392 | 54.283 | 42.5125
2020-03-20 20:45:00 | 6.62 | 238.433 | 7.696 | 262.147 | 8.206 | 265.967 | 8.463 | 260.6 | 7.429 | 889.625 | 56.411 | 49.1534
2020-03-20 21:00:00 | 6.546 | 246.633 | 7.708 | 264.759 | 8.425 | 269.567 | 8.942 | 264.3 | 6.956 | 889.467 | 58.571 | 44.9618
2020-03-20 21:15:00 | 7.546 | 233.427 | 8.403 | 260.962 | 8.879 | 265.3 | 9.115 | 262.217 | 7.339 | 890.075 | 60.059 | 42.6134
2020-03-20 21:30:00 | 6.238 | 244.227 | 7.35 | 261.105 | 7.756 | 266.133 | 8.173 | 261.517 | 6.741 | 889.575 | 60.901 | 41.0622
2020-03-20 21:45:00 | 5.658 | 244.973 | 7.026 | 261.105 | 7.524 | 264.8 | 7.832 | 262.983 | 6.724 | 890.033 | 60.208 | 34.9549
2020-03-20 22:00:00 | 6.128 | 249.86 | 7.076 | 261.792 | 7.572 | 268.4 | 8.044 | 264.75 | 6.184 | 890.1 | 59.525 | 35.4644
2020-03-20 22:15:00 | 5.85 | 237.74 | 7.375 | 265.673 | 7.926 | 271.967 | 7.994 | 267.067 | 6.074 | 889.908 | 58.891 | 27.3689
2020-03-20 22:30:00 | 6.604 | 236.9 | 7.836 | 260.967 | 8.252 | 267.1 | 8.248 | 263.867 | 5.865 | 890 | 57.541 | 28.898
2020-03-20 22:45:00 | 5.091 | 246.2 | 6.082 | 258.867 | 6.539 | 264.3 | 6.714 | 259.233 | 5.71 | 890.025 | 56.112 | 24.3767
2020-03-20 23:00:00 | 4.666 | 246.667 | 5.773 | 258.764 | 6.162 | 263.5 | 6.26 | 258.633 | 5.342 | 889.717 | 56.304 | 19.1114
2020-03-20 23:15:00 | 3.91 | 237.407 | 5.351 | 246.415 | 5.648 | 254.533 | 5.783 | 252.283 | 4.54 | 889.733 | 59.403 | 22.6678
2020-03-20 23:30:00 | 3.519 | 249.367 | 4.751 | 252.452 | 4.725 | 259.433 | 4.85 | 255.1 | 3.973 | 889.417 | 62.139 | 24.268
2020-03-20 23:45:00 | 3.48 | 241.633 | 5.102 | 251.224 | 5.506 | 258.933 | 5.715 | 256.3 | 3.723 | 889.667 | 62.427 | 29.6633