## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-21 00:00:00 | 5.342 | 233.2 | 6.339 | 245.772 | 6.563 | 253.033 | 6.829 | 249.417 | 3.288 | 889.742 | 63.797 | 37.7766
2020-03-21 00:15:00 | 5.616 | 222.733 | 7.225 | 255.341 | 7.807 | 260.3 | 8.185 | 255.95 | 3.154 | 889.842 | 63.317 | 33.7384
2020-03-21 00:30:00 | 3.883 | 246.16 | 6.022 | 260.832 | 6.527 | 266.967 | 6.75 | 264.433 | 3.247 | 890.075 | 64.816 | 25.633
2020-03-21 00:45:00 | 3.626 | 242.853 | 5.502 | 257.947 | 6.031 | 264.367 | 6.215 | 260.567 | 2.537 | 889.833 | 67.264 | 22.1981
2020-03-21 01:00:00 | 4.262 | 225.707 | 5.552 | 242.504 | 5.907 | 251 | 6.283 | 249.333 | 2.298 | 889.683 | 69.067 | 19.0524
2020-03-21 01:15:00 | 3.752 | 239.873 | 5.036 | 248.636 | 5.232 | 258.1 | 5.342 | 256.183 | 1.95 | 889.833 | 69.589 | 15.2552
2020-03-21 01:30:00 | 3.395 | 240.067 | 4.764 | 245.865 | 4.607 | 255.933 | 4.653 | 255.067 | 1.309 | 889.825 | 71.371 | 12.987
2020-03-21 01:45:00 | 4.267 | 248.173 | 4.993 | 253.464 | 4.693 | 262.067 | 4.711 | 262.933 | 1.58 | 890.133 | 71.051 | 10.7004
2020-03-21 02:00:00 | 5.048 | 240.313 | 5.256 | 256.093 | 5.05 | 265.4 | 5.101 | 265.533 | 1.698 | 889.717 | 70.416 | 10.6024
2020-03-21 02:15:00 | 3.471 | 226.713 | 5.146 | 245.865 | 4.683 | 256.2 | 4.554 | 260.833 | 0.932 | 890.058 | 71.264 | 9.7156
2020-03-21 02:30:00 | 4.447 | 223.88 | 5.446 | 239.61 | 4.98 | 251.533 | 4.858 | 253.25 | 0.765 | 889.733 | 73.568 | 14.2625
2020-03-21 02:45:00 | 4.79 | 227.513 | 5.773 | 242.739 | 5.79 | 252.367 | 6.04 | 251.817 | 0.582 | 890.067 | 73.749 | 20.9255
2020-03-21 03:00:00 | 5.045 | 227.267 | 6.056 | 249.978 | 5.999 | 258.233 | 6.261 | 256.317 | 0.949 | 889.55 | 74.261 | 24.01
2020-03-21 03:15:00 | 5.645 | 234.72 | 6.355 | 255.109 | 6.672 | 265.067 | 7.191 | 262.7 | 0.515 | 889.567 | 74.901 | 28.6699
2020-03-21 03:30:00 | 5.377 | 229.667 | 6.773 | 255.347 | 7.217 | 263.533 | 7.8 | 261.233 | 0.715 | 889.567 | 74.864 | 27.6382
2020-03-21 03:45:00 | 5.4 | 233.52 | 6.523 | 252.461 | 6.784 | 262.133 | 7.127 | 261.833 | 0.765 | 890.017 | 72.395 | 23.8537
2020-03-21 04:00:00 | 5.922 | 224.347 | 6.446 | 240.516 | 6.306 | 253.833 | 6.199 | 254.633 | 0.349 | 889.625 | 72.544 | 26.1055
2020-03-21 04:15:00 | 6.155 | 223.867 | 7.035 | 234.956 | 6.786 | 246.033 | 6.286 | 246.167 | 0.342 | 889.933 | 68.917 | 23.4743
2020-03-21 04:30:00 | 4.896 | 216.133 | 6.54 | 227.486 | 6.375 | 239.267 | 5.818 | 238.633 | 0.648 | 889.608 | 65.259 | 23.8971
2020-03-21 04:45:00 | 5.638 | 211.853 | 6.93 | 220.812 | 7.088 | 230.533 | 6.835 | 228.433 | 0 | 889.483 | 68.277 | 25.299
2020-03-21 05:00:00 | 5.617 | 211.24 | 6.988 | 217.946 | 6.788 | 226.233 | 6.614 | 224.867 | 0.366 | 890.025 | 71.435 | 23.907
2020-03-21 05:15:00 | 5.903 | 213.747 | 6.402 | 222.568 | 6.302 | 233.067 | 6.269 | 231.933 | 0.1 | 890.283 | 71.947 | 19.9172
2020-03-21 05:30:00 | 5.594 | 213.833 | 6.796 | 222.758 | 6.525 | 231.967 | 6.296 | 231.6 | 0.05 | 889.792 | 73.088 | 16.3004
2020-03-21 05:45:00 | 6.288 | 216.673 | 6.045 | 224.412 | 5.996 | 233.367 | 5.757 | 230.633 | -0.292 | 889.842 | 75.221 | 15.3511
2020-03-21 06:00:00 | 6.035 | 213.373 | 6.911 | 221.373 | 6.254 | 229.433 | 5.866 | 228.067 | -0.229 | 890 | 74.112 | 18.4399
2020-03-21 06:15:00 | 6.589 | 213.16 | 7.032 | 218.063 | 6.475 | 225.167 | 6.01 | 225.467 | -0.136 | 889.792 | 70.613 | 18.1813
2020-03-21 06:30:00 | 6.833 | 212.667 | 7.656 | 219.925 | 6.652 | 226.933 | 5.992 | 227.5 | -0.336 | 889.733 | 68.757 | 17.1218
2020-03-21 06:45:00 | 6.419 | 215 | 6.803 | 222.024 | 6.188 | 229.7 | 5.773 | 229.267 | -0.379 | 889.742 | 68.085 | 13.6713
2020-03-21 07:00:00 | 6.171 | 214.207 | 7.42 | 220.468 | 6.481 | 227.767 | 5.712 | 228.567 | -0.392 | 889.975 | 66.805 | 15.879
2020-03-21 07:15:00 | 6.34 | 211.1 | 7.554 | 217.132 | 6.877 | 223.433 | 6.161 | 221.467 | -0.296 | 889.458 | 65.621 | 17.4672
2020-03-21 07:30:00 | 6.619 | 214.713 | 7.598 | 219.183 | 6.881 | 225.567 | 6.082 | 223.967 | -0.023 | 889.95 | 62.539 | 15.6033
2020-03-21 07:45:00 | 6.124 | 215.987 | 6.767 | 222.272 | 6.026 | 230.667 | 5.36 | 233.667 | 0.166 | 889.717 | 59.733 | 10.6606
2020-03-21 08:00:00 | 5.664 | 214.72 | 7.13 | 219.286 | 6.111 | 226.767 | 5.262 | 226.7 | 0.033 | 889.792 | 57.344 | 11.1388
2020-03-21 08:15:00 | 5.468 | 217.247 | 5.613 | 223.211 | 5.023 | 230.2 | 4.572 | 230.9 | 0.183 | 889.725 | 54.944 | 8.6014
2020-03-21 08:30:00 | 5.794 | 213.313 | 6.288 | 223.227 | 5.458 | 232.333 | 4.89 | 232.167 | 0.382 | 890.15 | 53.205 | 8.6035
2020-03-21 08:45:00 | 5.234 | 210.453 | 6.222 | 220.861 | 5.277 | 228.567 | 4.697 | 229.4 | 1.309 | 890.083 | 49.76 | 7.6862
2020-03-21 09:00:00 | 5.186 | 207.82 | 6.762 | 212.5 | 6.067 | 216.433 | 5.024 | 215.567 | 2.611 | 889.767 | 45.685 | 6.059
2020-03-21 09:15:00 | 3.984 | 210.4 | 4.506 | 210.513 | 3.766 | 220.633 | 3.182 | 226.7 | 3.254 | 889.475 | 43.147 | 2.7598
2020-03-21 09:30:00 | 4.319 | 210.073 | 4.98 | 210.521 | 4.812 | 217.133 | 3.991 | 222.6 | 4.325 | 889.808 | 40.736 | 1.9413
2020-03-21 09:45:00 | 3.638 | 213.02 | 3.891 | 214.193 | 3.622 | 226.133 | 3.273 | 232.167 | 5.722 | 889.867 | 36.779 | 0.24444
2020-03-21 10:00:00 | 3.075 | 210.667 | 2.986 | 215.029 | 3.064 | 220.4 | 2.997 | 221 | 6.624 | 889.733 | 33.627 | 0.23236
2020-03-21 10:15:00 | 2.675 | 214.853 | 2.646 | 222.697 | 2.763 | 227.133 | 2.96 | 224.533 | 7.93 | 889.7 | 28.059 | 0.21814
2020-03-21 10:30:00 | 2.174 | 229.873 | 2.209 | 233.454 | 2.503 | 237.4 | 2.645 | 238.567 | 8.354 | 889.75 | 24.656 | 0.22454
2020-03-21 10:45:00 | 0.635 | 242.033 | 0 | 273.386 | 0.173 | 268.933 | 0.411 | 283.033 | 9.054 | 890.067 | 22.659 | 0.22241
2020-03-21 11:00:00 | 1.94 | 319.147 | 2.001 | 312.904 | 2.406 | 316.3 | 2.58 | 315.467 | 8.741 | 889.5 | 17.089 | 0.22241
2020-03-21 11:15:00 | 1.469 | 227.27 | 1.627 | 317.436 | 2.267 | 296.9 | 2.627 | 325.467 | 8.745 | 889.233 | 18.267 | 0.18404
2020-03-21 11:30:00 | 2.32 | 299.8 | 1.913 | 317.694 | 2.209 | 320.133 | 2.437 | 320.1 | 9.383 | 889.533 | 16.94 | 0.19256
2020-03-21 11:45:00 | 2.103 | 297.887 | 2.168 | 297.365 | 2.344 | 295.533 | 2.46 | 289.283 | 9.849 | 889.3 | 16.045 | 0.14282
2020-03-21 12:00:00 | 1.613 | 160.209 | 1.566 | 327.717 | 1.616 | 294.534 | 2.03 | 246.333 | 9.395 | 889.333 | 16.692 | 0.088821
2020-03-21 12:15:00 | 2.12 | 205.172 | 2.281 | 245.507 | 2.346 | 272.567 | 2.687 | 274.502 | 9.816 | 889.567 | 15.433 | 0.13714
2020-03-21 12:30:00 | 1.255 | 121.073 | 0.774 | 101.3 | 0.757 | 132.1 | 0.978 | 185.967 | 9.87 | 889.567 | 15.909 | 0.20251
2020-03-21 12:45:00 | 2.289 | 130.416 | 2.414 | 232.295 | 2.363 | 151.967 | 2.522 | 175.467 | 10.811 | 889.533 | 14.948 | 0.16983
2020-03-21 13:00:00 | 1.816 | 173.502 | 1.523 | 219.059 | 1.482 | 230.867 | 1.81 | 221.267 | 10.436 | 889.5 | 15.691 | 0.12364
2020-03-21 13:15:00 | 1.412 | 321.947 | 1.584 | 237.717 | 1.642 | 209.471 | 1.933 | 230.033 | 11.693 | 889.733 | 15.112 | 0.12719
2020-03-21 13:30:00 | 2.454 | 21.508 | 2.167 | 66.154 | 2.056 | 39.567 | 2.453 | 131.3 | 11.211 | 889.4 | 16.207 | 0.098058
2020-03-21 13:45:00 | 1.633 | 291 | 1.212 | 279.789 | 1.471 | 276.55 | 1.689 | 288.017 | 11.478 | 889.567 | 16.151 | 0.13998
2020-03-21 14:00:00 | 2.104 | 254.68 | 1.34 | 260.044 | 1.299 | 287.667 | 2.058 | 292.6 | 11.349 | 889.467 | 17.276 | 0.18475
2020-03-21 14:15:00 | 0.875 | 300.28 | 0.456 | 201.084 | 0.483 | 293.369 | 0.456 | 170.874 | 11.87 | 889.5 | 16.968 | 0.2153
2020-03-21 14:30:00 | 2.497 | 119.029 | 2.095 | 33.311 | 2.343 | 44.873 | 3.028 | 45.267 | 12.155 | 889.333 | 16.589 | 0.23022
2020-03-21 14:45:00 | 2.642 | 97.983 | 2.581 | 90.754 | 2.799 | 98.133 | 3.046 | 90.767 | 12.505 | 889.767 | 16 | 0.86547
2020-03-21 15:00:00 | 3.264 | 37.77 | 3.33 | 31.529 | 3.48 | 42.367 | 3.467 | 37.133 | 12.718 | 889.433 | 15.712 | 1.3288
2020-03-21 15:15:00 | 2.828 | 97.393 | 3.011 | 84.94 | 3.563 | 85.767 | 3.616 | 82.2 | 12.589 | 889.433 | 16.76 | 1.7018
2020-03-21 15:30:00 | 3.255 | 49.923 | 3.091 | 49.706 | 3.369 | 51.7 | 3.58 | 49.667 | 12.714 | 889.6 | 16.453 | 4.0048
2020-03-21 15:45:00 | 5.484 | 49.118 | 5.364 | 44.669 | 5.445 | 49.267 | 5.488 | 43.433 | 12.503 | 889.967 | 17.469 | 3.5415
2020-03-21 16:00:00 | 3.22 | 129.34 | 3.241 | 148.244 | 3.485 | 161.367 | 3.722 | 38.7 | 12.353 | 889.533 | 17.767 | 3.2608
2020-03-21 16:15:00 | 3.029 | 127.095 | 3.046 | 76.294 | 3.451 | 73.362 | 3.678 | 69.4 | 12.751 | 889.7 | 18.269 | 2.0415
2020-03-21 16:30:00 | 3.717 | 74.212 | 3.687 | 64.478 | 4.117 | 70.1 | 4.156 | 64.7 | 12.914 | 889.333 | 18.581 | 0.31976
2020-03-21 16:45:00 | 3.295 | 53.476 | 3.04 | 51.048 | 3.068 | 53.567 | 3.252 | 51.833 | 12.593 | 889.3 | 18.392 | 0.076741
2020-03-21 17:00:00 | 1.994 | 153.033 | 1.83 | 175.565 | 2.196 | 180.533 | 2.354 | 179.867 | 12.891 | 889.733 | 18.429 | 0.11156
2020-03-21 17:15:00 | 2.982 | 29.436 | 2.925 | 24.61 | 3.242 | 31.7 | 3.487 | 38.033 | 12.822 | 889.333 | 18.619 | 0.073899
2020-03-21 17:30:00 | 1.363 | 61.348 | 1.06 | 41.671 | 1.34 | 48.367 | 1.755 | 58.1 | 13.282 | 889.7 | 18.829 | 0.13359
2020-03-21 17:45:00 | 2.22 | 44.32 | 2.326 | 36.57 | 2.414 | 42.7 | 2.88 | 44.667 | 12.805 | 889.233 | 19.312 | 0.31052
2020-03-21 18:00:00 | 2.92 | 77.542 | 2.882 | 68.795 | 3.097 | 69 | 3.314 | 65.367 | 12.893 | 889.333 | 19.861 | 0.093084
2020-03-21 18:15:00 | 2.732 | 69.76 | 2.625 | 67.721 | 2.768 | 72.6 | 2.737 | 67.767 | 13.155 | 889.567 | 19.768 | 0.23022
2020-03-21 18:30:00 | 3.636 | 67.163 | 3.618 | 62.182 | 3.654 | 67.5 | 3.694 | 63.2 | 13.212 | 889.067 | 19.667 | 0.45334
2020-03-21 18:45:00 | 2.757 | 67.347 | 2.599 | 59.234 | 2.688 | 64.333 | 2.798 | 61.333 | 13.382 | 889.333 | 19.107 | 0.29986
2020-03-21 19:00:00 | 2.764 | 64.373 | 2.492 | 58.715 | 2.468 | 63.4 | 2.681 | 60.867 | 13.199 | 889.4 | 19.211 | 0.12648
2020-03-21 19:15:00 | 2.216 | 63.272 | 2.113 | 62.689 | 2.256 | 70.867 | 2.455 | 63.9 | 12.755 | 889.467 | 19.504 | 0.099479
2020-03-21 19:30:00 | 2.954 | 81.648 | 2.902 | 74.719 | 3.016 | 78.567 | 3.217 | 73.9 | 12.166 | 889.633 | 20.36 | 0.093084
2020-03-21 19:45:00 | 2.264 | 72.9 | 2.009 | 69.998 | 2.266 | 73.4 | 2.355 | 71.767 | 11.936 | 889.817 | 21.099 | 0.1549
2020-03-21 20:00:00 | 2.209 | 73.613 | 2.125 | 69.008 | 2.32 | 74.433 | 2.596 | 71.233 | 11.678 | 889.683 | 21.696 | 0.13572
2020-03-21 20:15:00 | 2.21 | 75.12 | 2.157 | 70.873 | 2.31 | 73.8 | 2.457 | 71.4 | 11.624 | 889.7 | 22.037 | 0.18333
2020-03-21 20:30:00 | 2.867 | 63.882 | 3.376 | 56.724 | 3.562 | 61.6 | 3.617 | 60.433 | 10.811 | 889.867 | 22.603 | 0.74681
2020-03-21 20:45:00 | 2.158 | 55.64 | 3.085 | 54.237 | 3.429 | 61.1 | 3.582 | 59 | 10.674 | 890.083 | 22.992 | 0.93653
2020-03-21 21:00:00 | 2.267 | 82.1 | 2.853 | 72.59 | 2.76 | 76.6 | 2.869 | 72.233 | 10.237 | 889.55 | 23.12 | 1.0722
2020-03-21 21:15:00 | 2.757 | 79.727 | 3.078 | 71.062 | 3.217 | 73.5 | 3.357 | 72.167 | 10.382 | 890.083 | 23.077 | 1.6315
2020-03-21 21:30:00 | 2.371 | 101.86 | 2.803 | 83.181 | 2.753 | 87.267 | 2.879 | 82.067 | 9.962 | 889.217 | 23.189 | 1.2961
2020-03-21 21:45:00 | 2.052 | 102.183 | 2.636 | 77.68 | 2.642 | 76.767 | 2.826 | 72.633 | 10.214 | 889.7 | 23.227 | 1.4467
2020-03-21 22:00:00 | 1.819 | 101.63 | 2.752 | 78.108 | 3.224 | 80.933 | 3.266 | 78.333 | 9.501 | 889.317 | 23.563 | 1.959
2020-03-21 22:15:00 | 1.53 | 82.177 | 2.514 | 68.322 | 2.732 | 69.267 | 2.985 | 61 | 8.804 | 889.583 | 24.011 | 1.4709
2020-03-21 22:30:00 | 0.41 | 130.547 | 1.568 | 81.893 | 2.131 | 78.1 | 2.746 | 74.767 | 8.741 | 890.083 | 24.405 | 0.23236
2020-03-21 22:45:00 | 0 | 124.127 | 0.033 | 65.974 | 1.657 | 67 | 2.3 | 69.967 | 8.97 | 889.2 | 25.04 | 0.24941
2020-03-21 23:00:00 | 0.312 | 128.717 | 0 | 80.256 | 1.062 | 75 | 2.287 | 70.3 | 7.773 | 889.8 | 26.037 | 0.21175
2020-03-21 23:15:00 | 0.699 | 180.64 | 0 | 80.26 | 1.129 | 74.933 | 2.242 | 72 | 7.603 | 890.05 | 26.768 | 0.17551
2020-03-21 23:30:00 | 1.834 | 194.187 | 0 | 107.254 | 1.172 | 79.6 | 1.997 | 76 | 7.512 | 889.733 | 26.885 | 0.18119
2020-03-21 23:45:00 | 2.594 | 202.6 | 0 | 107.254 | 0.67 | 96 | 1.811 | 86.033 | 7.506 | 889.733 | 26.763 | 0.19612