## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-22 00:00:00 | 3.846 | 216.813 | 1.321 | 179.653 | 0.077 | 96 | 1.589 | 86 | 7.549 | 889.767 | 26.341 | 0.20749
2020-03-22 00:15:00 | 3.053 | 224.907 | 0 | 179.781 | 0 | 96.033 | 1.202 | 86.033 | 7.77 | 889.7 | 27.216 | 0.19043
2020-03-22 00:30:00 | 2.777 | 234.567 | 0 | 186.573 | 0 | 95.967 | 1.078 | 86 | 7.406 | 889.583 | 27.445 | 0.18191
2020-03-22 00:45:00 | 4.218 | 228.56 | 0.08 | 209.556 | 0 | 95.967 | 0.208 | 85.933 | 4.998 | 889.6 | 28.469 | 0.19754
2020-03-22 01:00:00 | 3.654 | 222.78 | 0.781 | 209.589 | 0 | 96 | 1.371 | 86 | 6.813 | 889.5 | 28.448 | 0.20464
2020-03-22 01:15:00 | 4.033 | 230.173 | 0.566 | 209.435 | 0 | 96.033 | 1.388 | 86 | 6.81 | 889.867 | 28.139 | 0.20606
2020-03-22 01:30:00 | 3.71 | 233.893 | 1.207 | 215.959 | 0.236 | 110.033 | 1.444 | 86.033 | 5.064 | 889.867 | 30.736 | 0.20891
2020-03-22 01:45:00 | 4.382 | 230.6 | 1.656 | 219.149 | 0.37 | 109.9 | 1.654 | 86.033 | 4.869 | 890.233 | 30.432 | 0.21033
2020-03-22 02:00:00 | 5.435 | 231.507 | 3.244 | 228.79 | 1.916 | 218.533 | 1.702 | 155.933 | 3.776 | 889.7 | 31.541 | 0.21317
2020-03-22 02:15:00 | 5.216 | 232.073 | 2.837 | 225.738 | 1.838 | 214.667 | 1.593 | 163.433 | 3.525 | 889.933 | 32.64 | 0.21033
2020-03-22 02:30:00 | 5.966 | 221.507 | 2.939 | 221.668 | 1.641 | 212 | 1.549 | 171.1 | 3.575 | 889.9 | 31.808 | 0.21885
2020-03-22 02:45:00 | 6.06 | 221.987 | 4.092 | 233.14 | 2.638 | 226.967 | 1.696 | 186.067 | 3.267 | 889.433 | 33.36 | 0.2217
2020-03-22 03:00:00 | 5.835 | 222.52 | 3.043 | 233.411 | 1.872 | 227 | 1.164 | 199 | 2.797 | 890 | 34.16 | 0.21743
2020-03-22 03:15:00 | 6.177 | 216.96 | 3.568 | 233.453 | 1.872 | 227.033 | 0.829 | 198.9 | 2.541 | 889.6 | 35.925 | 0.22028
2020-03-22 03:30:00 | 6.032 | 219.72 | 3.737 | 231.71 | 1.969 | 230.533 | 0.47 | 199 | 1.966 | 890.067 | 38.661 | 0.21459
2020-03-22 03:45:00 | 5.959 | 221.993 | 4.327 | 237.351 | 3.281 | 245 | 1.975 | 237 | 1.998 | 889.833 | 39.051 | 0.22738
2020-03-22 04:00:00 | 6.058 | 217.993 | 4.199 | 239.656 | 2.971 | 249.867 | 2.205 | 253.7 | 1.689 | 889.717 | 39.536 | 0.2288
2020-03-22 04:15:00 | 5.697 | 222.313 | 4.088 | 240.748 | 3.127 | 254.6 | 2.25 | 254.017 | 1.999 | 889.95 | 39.573 | 0.21601
2020-03-22 04:30:00 | 5.897 | 226.507 | 2.715 | 258.033 | 1.744 | 272.2 | 1.795 | 274.1 | 1.762 | 889.617 | 40.155 | 0.23378
2020-03-22 04:45:00 | 6.266 | 215.887 | 4.609 | 244.37 | 3.657 | 256.067 | 2.791 | 266.433 | 1.54 | 888.067 | 41.643 | 0.1684
2020-03-22 05:00:00 | 5.556 | 217.107 | 3.454 | 255.133 | 2.608 | 275.333 | 2.688 | 286.9 | 1.319 | 889.942 | 44.629 | 0.081715
2020-03-22 05:15:00 | 5.73 | 222.393 | 3.529 | 258.871 | 2.708 | 281.667 | 3.08 | 292.667 | 1.519 | 890.142 | 45.616 | 0.13501
2020-03-22 05:30:00 | 5.338 | 225.967 | 3.517 | 270.653 | 3.06 | 292.2 | 3.441 | 305.8 | 1.499 | 889.892 | 45.835 | 0.49811
2020-03-22 05:45:00 | 4.575 | 240.893 | 3.531 | 280.654 | 3.449 | 302.133 | 3.601 | 304.733 | 2.098 | 889.692 | 47.707 | 0.68499
2020-03-22 06:00:00 | 4.396 | 235.533 | 3.378 | 280.2 | 3.083 | 302 | 3.221 | 312.2 | 3.438 | 890 | 44.667 | 0.13003
2020-03-22 06:15:00 | 4.862 | 238.347 | 3.962 | 271.395 | 3.404 | 292.4 | 3.55 | 302.767 | 2.973 | 889.583 | 45.931 | 1.4943
2020-03-22 06:30:00 | 5.568 | 239.727 | 4.991 | 273.95 | 4.518 | 286.2 | 4.766 | 295.167 | 1.689 | 889.825 | 46.533 | 4.635
2020-03-22 06:45:00 | 5.64 | 238.933 | 5.581 | 269.111 | 4.95 | 284.4 | 5.216 | 293.433 | 1.965 | 889.692 | 47.557 | 6.1812
2020-03-22 07:00:00 | 5.336 | 233.233 | 5.108 | 262.863 | 4.466 | 281.133 | 4.692 | 293.467 | 1.6 | 890.158 | 47.099 | 4.6528
2020-03-22 07:15:00 | 6.063 | 225.52 | 4.989 | 255.138 | 4.342 | 273.933 | 4.477 | 281.7 | 1.64 | 889.767 | 46.907 | 4.9065
2020-03-22 07:30:00 | 6.206 | 224.527 | 5.714 | 251.802 | 4.602 | 271.667 | 4.589 | 279.167 | 1.145 | 890.125 | 47.243 | 5.4387
2020-03-22 07:45:00 | 6.126 | 226.033 | 5.117 | 248 | 4.201 | 267.667 | 4.141 | 278.867 | 1.493 | 889.833 | 47.435 | 5.2468
2020-03-22 08:00:00 | 6.361 | 222.993 | 6.835 | 237.867 | 5.887 | 248.4 | 4.902 | 252.433 | 1.222 | 890.1 | 47.669 | 10.3032
2020-03-22 08:15:00 | 6.104 | 227.707 | 5.979 | 244.15 | 5.108 | 255.133 | 4.658 | 260.933 | 1.793 | 889.808 | 46.091 | 8.6661
2020-03-22 08:30:00 | 5.571 | 223.227 | 5.215 | 245.116 | 4.408 | 260 | 4.29 | 266.333 | 2.263 | 889.875 | 43.552 | 6.5891
2020-03-22 08:45:00 | 5.665 | 221.307 | 6.414 | 238.207 | 5.292 | 250.633 | 4.325 | 260.133 | 3.047 | 890.025 | 40.891 | 8.4138
2020-03-22 09:00:00 | 5.094 | 216.433 | 6.026 | 235.391 | 5.279 | 247.433 | 4.576 | 249.067 | 4.355 | 889.783 | 36.816 | 9.604
2020-03-22 09:15:00 | 4.899 | 223.86 | 5.934 | 233.815 | 5.386 | 248.233 | 4.725 | 250.533 | 5.825 | 890.1 | 33.403 | 10.1888
2020-03-22 09:30:00 | 4.756 | 226.1 | 5.268 | 231.862 | 5.232 | 242.267 | 4.8 | 243.933 | 7.156 | 889.85 | 30.261 | 8.9553
2020-03-22 09:45:00 | 4.366 | 235.033 | 4.565 | 238.641 | 4.701 | 243.567 | 4.735 | 241.433 | 8.574 | 889.95 | 27.077 | 6.8456
2020-03-22 10:00:00 | 4.525 | 233.8 | 4.639 | 241.684 | 4.645 | 246.3 | 4.698 | 243.767 | 9.843 | 889.85 | 24.869 | 7.8965
2020-03-22 10:15:00 | 4.744 | 254.027 | 4.73 | 259.815 | 4.634 | 263.417 | 4.822 | 257.133 | 10.618 | 890.133 | 23.275 | 8.1765
2020-03-22 10:30:00 | 5.032 | 271.267 | 5.052 | 271.997 | 5.117 | 273.3 | 5.159 | 268.75 | 10.297 | 890.2 | 22.368 | 7.6763
2020-03-22 10:45:00 | 4.514 | 276.293 | 4.53 | 276.988 | 4.755 | 279.633 | 4.762 | 274.333 | 10.622 | 889.75 | 21.795 | 5.6966
2020-03-22 11:00:00 | 4.442 | 278.127 | 4.517 | 282.035 | 4.594 | 287.567 | 4.814 | 287.133 | 10.961 | 889.633 | 20.676 | 4.694
2020-03-22 11:15:00 | 3.541 | 307.333 | 3.65 | 303.282 | 3.83 | 306.567 | 4.078 | 304.533 | 11.011 | 889.333 | 19.899 | 3.6658
2020-03-22 11:30:00 | 4.056 | 333.547 | 4 | 323.991 | 4.252 | 324.933 | 4.264 | 318.6 | 11.54 | 889.767 | 19.483 | 3.2913
2020-03-22 11:45:00 | 2.974 | 303.92 | 2.775 | 298.157 | 3.004 | 298.8 | 3.348 | 298.967 | 11.745 | 889.233 | 19.331 | 2.5261
2020-03-22 12:00:00 | 3.166 | 268.446 | 3.202 | 274.029 | 3.391 | 280.267 | 3.849 | 297.2 | 12.172 | 889.267 | 19.079 | 2.0521
2020-03-22 12:15:00 | 3.474 | 294.96 | 3.64 | 320.062 | 3.846 | 322.1 | 4.121 | 316.467 | 12.476 | 889.4 | 18.885 | 1.6443
2020-03-22 12:30:00 | 4.157 | 304.907 | 4.377 | 313.474 | 4.722 | 321 | 4.904 | 320.033 | 12.709 | 889.567 | 19.125 | 1.1369
2020-03-22 12:45:00 | 3.588 | 289.807 | 3.914 | 287.301 | 4.09 | 291.267 | 4.142 | 291.167 | 13.093 | 889.267 | 18.887 | 0.87044
2020-03-22 13:00:00 | 2.746 | 266.887 | 2.732 | 260.553 | 2.738 | 265.733 | 3.091 | 261.933 | 13.808 | 889.6 | 19.145 | 0.64448
2020-03-22 13:15:00 | 2.694 | 293.02 | 2.412 | 295.58 | 2.708 | 283.767 | 2.721 | 282.883 | 14.641 | 889.133 | 17.945 | 1.0516
2020-03-22 13:30:00 | 4.388 | 332.547 | 4.168 | 323.136 | 4.384 | 321.933 | 4.569 | 320.6 | 13.762 | 888.933 | 18.549 | 1.5789
2020-03-22 13:45:00 | 3.533 | 295.813 | 3.534 | 295.987 | 3.684 | 290.1 | 3.977 | 279.2 | 14.204 | 889.667 | 18.577 | 2.0749
2020-03-22 14:00:00 | 3.577 | 188.764 | 3.523 | 201.813 | 3.342 | 152.567 | 3.546 | 204.867 | 14.508 | 889.667 | 18.291 | 1.5661
2020-03-22 14:15:00 | 3.503 | 303.94 | 3.598 | 291.969 | 4.155 | 287.65 | 4.407 | 280 | 14.824 | 889.733 | 18.317 | 1.5043
2020-03-22 14:30:00 | 2.754 | 254.447 | 2.958 | 252.434 | 3.31 | 259.683 | 3.535 | 260.75 | 14.924 | 889.3 | 17.704 | 2.4536
2020-03-22 14:45:00 | 2.181 | 288.321 | 2.152 | 312.559 | 2.615 | 300.967 | 3.128 | 328.1 | 14.437 | 889.733 | 17.851 | 2.7058
2020-03-22 15:00:00 | 5.255 | 304.867 | 5.27 | 301.506 | 5.222 | 308.5 | 5.38 | 308.167 | 14.708 | 889.533 | 17.708 | 2.2489
2020-03-22 15:15:00 | 3.068 | 154.184 | 3.1 | 200.751 | 3.242 | 82.4 | 3.219 | 153.033 | 15.088 | 889.867 | 17.791 | 2.5218
2020-03-22 15:30:00 | 4.179 | 280.187 | 4.222 | 311.421 | 4.289 | 295.733 | 4.845 | 322.2 | 15.024 | 889.467 | 17.957 | 0.81644
2020-03-22 15:45:00 | 1.5 | 193.211 | 1.318 | 213.444 | 2.033 | 236.6 | 2.259 | 291 | 14.996 | 889.633 | 18.289 | 0.57343
2020-03-22 16:00:00 | 4.432 | 303.12 | 4.252 | 296.132 | 4.368 | 306.667 | 4.753 | 306 | 15.305 | 889.4 | 18.304 | 1.3565
2020-03-22 16:15:00 | 4.286 | 283.6 | 4.151 | 280.697 | 4.505 | 285.667 | 4.597 | 282.667 | 15.214 | 889.533 | 18.929 | 3.0164
2020-03-22 16:30:00 | 3.889 | 294.582 | 4.181 | 284.093 | 4.188 | 285.367 | 4.378 | 285 | 15.483 | 889.367 | 19.173 | 3.6466
2020-03-22 16:45:00 | 4.626 | 300.96 | 4.813 | 296.797 | 4.915 | 303.433 | 4.976 | 306.633 | 15.946 | 889.433 | 18.939 | 3.3127
2020-03-22 17:00:00 | 4.516 | 309.713 | 4.582 | 319.012 | 4.85 | 324.867 | 4.938 | 321.2 | 15.863 | 889.467 | 18.381 | 2.3008
2020-03-22 17:15:00 | 4.641 | 309.707 | 4.74 | 305.826 | 5.062 | 311.267 | 5.12 | 307.833 | 15.296 | 889.567 | 18.787 | 6.0796
2020-03-22 17:30:00 | 3.213 | 295.787 | 3.211 | 291.137 | 3.67 | 294.4 | 3.848 | 291.983 | 15.652 | 889.367 | 18.793 | 10.9392
2020-03-22 17:45:00 | 5.371 | 311.973 | 5.251 | 326.242 | 5.251 | 329.333 | 5.298 | 328.233 | 15.934 | 889.333 | 19.073 | 13.2322
2020-03-22 18:00:00 | 5.203 | 269.447 | 5.296 | 269.456 | 5.288 | 277.183 | 5.161 | 276.6 | 15.272 | 889.6 | 19.52 | 12.0782
2020-03-22 18:15:00 | 5.665 | 314.067 | 5.789 | 308.135 | 6.015 | 310.2 | 6.467 | 309.433 | 15.644 | 889.667 | 19.809 | 16.0901
2020-03-22 18:30:00 | 6.583 | 306.907 | 6.862 | 304.297 | 7.143 | 309.733 | 7.48 | 307.9 | 15.716 | 889.733 | 19.783 | 19.6337
2020-03-22 18:45:00 | 4.674 | 301.067 | 5.111 | 298.899 | 5.394 | 301.367 | 5.708 | 298.167 | 14.958 | 889.533 | 19.704 | 21.8322
2020-03-22 19:00:00 | 7.618 | 285.493 | 8.284 | 284.296 | 8.686 | 290.367 | 8.92 | 289.267 | 15.21 | 889.4 | 19.988 | 40.5478
2020-03-22 19:15:00 | 6.939 | 291 | 7.298 | 290.005 | 7.64 | 295.533 | 8.019 | 294.133 | 14.974 | 889.267 | 20.464 | 37.0056
2020-03-22 19:30:00 | 6.488 | 290.307 | 7.033 | 285.982 | 7.502 | 292.1 | 7.792 | 288.1 | 14.32 | 889.967 | 21.429 | 36.7946
2020-03-22 19:45:00 | 7.644 | 286.347 | 8.478 | 289.035 | 8.87 | 292.1 | 9.245 | 290.633 | 13.845 | 890.017 | 22.512 | 47.7423
2020-03-22 20:00:00 | 7.888 | 283.747 | 8.63 | 282.606 | 9.2 | 286 | 9.614 | 282.8 | 13.495 | 889.85 | 23.085 | 56.6137
2020-03-22 20:15:00 | 8.297 | 276.867 | 9.148 | 278.96 | 9.546 | 282.333 | 10.032 | 280.6 | 13.278 | 889.767 | 24.053 | 59.3309
2020-03-22 20:30:00 | 6.675 | 271.12 | 7.431 | 272.036 | 8.104 | 276.1 | 8.512 | 272.2 | 12.78 | 889.883 | 24.699 | 49.955
2020-03-22 20:45:00 | 8.051 | 274.98 | 8.923 | 277.465 | 9.598 | 280.967 | 9.875 | 278.667 | 12.632 | 889.75 | 25.099 | 53.4225
2020-03-22 21:00:00 | 8.12 | 269.067 | 9.056 | 273.347 | 9.54 | 277.6 | 9.955 | 274.133 | 12.082 | 889.8 | 24.947 | 58.2039
2020-03-22 21:15:00 | 8.784 | 268.033 | 9.807 | 274.953 | 10.158 | 279.4 | 10.655 | 276.4 | 12.14 | 889.733 | 24.736 | 67.5138
2020-03-22 21:30:00 | 7.988 | 265.3 | 9.747 | 270.285 | 10.365 | 274.333 | 10.582 | 272.7 | 11.682 | 889.2 | 24.787 | 77.0133
2020-03-22 21:45:00 | 7.511 | 261.26 | 8.775 | 266.5 | 9.289 | 271.533 | 9.544 | 266.5 | 11.624 | 889.55 | 24.144 | 71.9534
2020-03-22 22:00:00 | 7.96 | 264.42 | 9.681 | 267.948 | 10.616 | 271.033 | 10.918 | 267.7 | 10.878 | 889.783 | 24.736 | 77.9385
2020-03-22 22:15:00 | 7.318 | 263.587 | 8.829 | 267.344 | 9.636 | 271.467 | 10.245 | 268.633 | 10.578 | 889.817 | 24.648 | 77.9449
2020-03-22 22:30:00 | 8.263 | 261.5 | 9.95 | 267.695 | 10.987 | 270.433 | 11.692 | 268.7 | 10.362 | 889.983 | 25.888 | 75.8892
2020-03-22 22:45:00 | 8.636 | 267.373 | 10.431 | 275.673 | 11.31 | 279.2 | 11.839 | 277.7 | 9.592 | 889.8 | 26.661 | 77.1903
2020-03-22 23:00:00 | 9.228 | 267.827 | 10.793 | 276.136 | 11.56 | 278.767 | 12.164 | 275.3 | 9.528 | 890.067 | 27.235 | 77.79
2020-03-22 23:15:00 | 10.212 | 263.793 | 11.694 | 273.846 | 12.147 | 276.567 | 12.593 | 274.067 | 9.058 | 890.317 | 27.984 | 77.3466
2020-03-22 23:30:00 | 9.136 | 257.9 | 11.012 | 268.014 | 11.593 | 271.6 | 12.063 | 266.233 | 8.97 | 889.7 | 29.419 | 77.3317
2020-03-22 23:45:00 | 8.682 | 261.947 | 10.549 | 266.906 | 11.578 | 270.867 | 12.281 | 265.767 | 8.19 | 889.7 | 31.789 | 77.4312