## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-23 00:00:00 | 9.75 | 258.967 | 11.381 | 267.687 | 12.164 | 270.933 | 12.734 | 268.133 | 8.367 | 889.95 | 35.123 | 77.0503
2020-03-23 00:15:00 | 10.108 | 252.847 | 11.945 | 267.734 | 12.978 | 271.167 | 13.741 | 268.467 | 7.97 | 889.517 | 37.405 | 75.3869
2020-03-23 00:30:00 | 10.352 | 253.053 | 11.938 | 265.868 | 13.089 | 270.067 | 14.017 | 266.7 | 7.636 | 890.017 | 38.808 | 75.4288
2020-03-23 00:45:00 | 9.072 | 256.507 | 10.894 | 264.905 | 12.071 | 268.133 | 12.806 | 265.567 | 7.626 | 889.717 | 39.051 | 75.5325
2020-03-23 01:00:00 | 11.299 | 250.18 | 13.199 | 261.382 | 14.224 | 266.7 | 14.596 | 263.233 | 7.689 | 890.067 | 39.68 | 75.5538
2020-03-23 01:15:00 | 10.587 | 255.293 | 12.149 | 261.938 | 13.338 | 266 | 13.92 | 263.333 | 7.356 | 889.65 | 40.224 | 75.605
2020-03-23 01:30:00 | 9.959 | 250.647 | 11.957 | 262.722 | 12.929 | 266.367 | 14.011 | 264.433 | 6.916 | 889.958 | 41.445 | 75.605
2020-03-23 01:45:00 | 10.711 | 246.673 | 12.373 | 258.572 | 13.396 | 263.967 | 13.7 | 260.683 | 7.122 | 889.492 | 42.032 | 75.6199
2020-03-23 02:00:00 | 9.905 | 236.02 | 11.742 | 251.81 | 12.607 | 256.467 | 13.099 | 254.767 | 6.717 | 889.808 | 42.091 | 72.5417
2020-03-23 02:15:00 | 7.428 | 224.253 | 8.715 | 238.284 | 9.506 | 244 | 9.696 | 241.367 | 6.501 | 889.95 | 43.051 | 75.4004
2020-03-23 02:30:00 | 9.179 | 233.72 | 10.729 | 246.066 | 11.391 | 249.8 | 11.497 | 245.167 | 5.871 | 889.892 | 44.32 | 78.2277
2020-03-23 02:45:00 | 7.595 | 231.133 | 8.866 | 244.718 | 9.558 | 250.233 | 9.608 | 245.8 | 6.012 | 890.067 | 44.405 | 79.3476
2020-03-23 03:00:00 | 7.959 | 218.473 | 8.952 | 230.146 | 9.56 | 235.533 | 9.616 | 231.933 | 5.684 | 889.758 | 45.024 | 77.6834
2020-03-23 03:15:00 | 7.581 | 222.433 | 8.562 | 230.745 | 9.268 | 234.467 | 9.312 | 230.133 | 5.3 | 890.242 | 45.088 | 69.4558
2020-03-23 03:30:00 | 6.459 | 225.52 | 7.665 | 236.573 | 8.54 | 241.133 | 8.825 | 234.767 | 5.508 | 889.642 | 44.256 | 61.9124
2020-03-23 03:45:00 | 6.148 | 227.713 | 7.434 | 243.234 | 7.882 | 246.867 | 8.077 | 242.633 | 5.869 | 889.783 | 44.277 | 53.2833
2020-03-23 04:00:00 | 7.612 | 230.86 | 8.411 | 246.08 | 8.73 | 250.833 | 8.738 | 244.767 | 5.429 | 889.775 | 44.085 | 45.4322
2020-03-23 04:15:00 | 7.404 | 228.253 | 8.055 | 243.337 | 8.489 | 248.967 | 8.578 | 243.967 | 5.707 | 889.583 | 43.861 | 41.7216
2020-03-23 04:30:00 | 6.231 | 231.087 | 7.414 | 241.15 | 7.961 | 246.733 | 7.972 | 242.333 | 5.491 | 889.8 | 44.277 | 31.5925
2020-03-23 04:45:00 | 5.767 | 225.933 | 7.16 | 243.152 | 7.671 | 248.867 | 7.66 | 244.533 | 4.919 | 889.85 | 45.157 | 32.4956
2020-03-23 05:00:00 | 6.609 | 223.773 | 7.729 | 239.856 | 8.038 | 247.067 | 7.98 | 243.6 | 4.738 | 889.583 | 45.707 | 33.9637
2020-03-23 05:15:00 | 7.273 | 224.867 | 7.934 | 238.499 | 8.223 | 245.467 | 8.188 | 243.2 | 4.635 | 889.608 | 46.741 | 30.4272
2020-03-23 05:30:00 | 5.597 | 225.753 | 6.334 | 239.436 | 6.554 | 245.233 | 6.446 | 241.067 | 4.514 | 890.183 | 47.456 | 25.7687
2020-03-23 05:45:00 | 4.877 | 223.96 | 5.885 | 233.637 | 6.216 | 239.433 | 6.07 | 234.267 | 4.136 | 889.858 | 48.853 | 26.8481
2020-03-23 06:00:00 | 5.193 | 217.507 | 5.788 | 228.226 | 5.971 | 234.967 | 6.065 | 231.3 | 3.86 | 889.983 | 50.176 | 24.0307
2020-03-23 06:15:00 | 4.609 | 217.733 | 5.894 | 232.189 | 5.874 | 240.7 | 5.602 | 240.867 | 3.204 | 889.783 | 51.84 | 25.2827
2020-03-23 06:30:00 | 5.695 | 212.433 | 7 | 223.724 | 7.044 | 230.067 | 6.738 | 227.633 | 3.522 | 890.275 | 52.619 | 32.1773
2020-03-23 06:45:00 | 6.128 | 209.313 | 7.113 | 216.811 | 7.014 | 222.633 | 7.021 | 220.233 | 2.736 | 889.683 | 53.376 | 35.8772
2020-03-23 07:00:00 | 5.891 | 212.3 | 7.183 | 221.099 | 7.341 | 227.4 | 7.338 | 224.333 | 2.151 | 890.425 | 55.136 | 43.3566
2020-03-23 07:15:00 | 7.158 | 210.307 | 8.233 | 219.783 | 8.645 | 223.067 | 8.865 | 218.967 | 2.464 | 890.117 | 55.424 | 56.4595
2020-03-23 07:30:00 | 7.091 | 210.693 | 9.711 | 217.752 | 10.101 | 220.567 | 9.98 | 216.367 | 2.102 | 890.383 | 55.573 | 61.1109
2020-03-23 07:45:00 | 7.599 | 209.86 | 10.424 | 217.155 | 10.671 | 219.6 | 10.676 | 214 | 2.274 | 890.167 | 56.277 | 67.7881
2020-03-23 08:00:00 | 7.411 | 211.547 | 10.002 | 217.396 | 10.3 | 220 | 10.171 | 215.233 | 2.786 | 890.008 | 55.243 | 68.7438
2020-03-23 08:15:00 | 7.96 | 208.8 | 9.962 | 214.243 | 10.261 | 219.067 | 10.456 | 215 | 3.071 | 889.7 | 53.728 | 64.7518
2020-03-23 08:30:00 | 6.783 | 207.5 | 9.013 | 216.618 | 9.788 | 221.567 | 9.936 | 218.267 | 3.588 | 890.283 | 52.149 | 56.1717
2020-03-23 08:45:00 | 7.222 | 211.393 | 8.187 | 221.403 | 8.871 | 226.4 | 9.09 | 223.167 | 4.384 | 889.717 | 50.421 | 47.3223
2020-03-23 09:00:00 | 6.391 | 210.52 | 8.124 | 215.395 | 8.795 | 220.767 | 8.98 | 220.467 | 4.547 | 889.65 | 48.8 | 47.8758
2020-03-23 09:15:00 | 6.187 | 211.74 | 7.696 | 222.488 | 8.652 | 226.033 | 8.871 | 221.667 | 5.088 | 889.675 | 46.581 | 48.8905
2020-03-23 09:30:00 | 6.297 | 215.76 | 7.396 | 221.865 | 8.47 | 227.433 | 8.757 | 224.267 | 6.074 | 890.15 | 44.352 | 44.2079
2020-03-23 09:45:00 | 6.438 | 213.167 | 6.834 | 221.478 | 7.392 | 226.9 | 7.512 | 224.4 | 7.356 | 889.575 | 40.853 | 40.9961
2020-03-23 10:00:00 | 6.756 | 218.593 | 6.791 | 225.903 | 7.221 | 227.1 | 7.316 | 223.9 | 8.394 | 889.567 | 38.251 | 39.6788
2020-03-23 10:15:00 | 7.563 | 230.247 | 7.79 | 242.076 | 8.064 | 245.433 | 7.863 | 240.433 | 9.37 | 889.55 | 35.883 | 39.6752
2020-03-23 10:30:00 | 7.403 | 241.887 | 7.655 | 251.353 | 7.738 | 255.167 | 7.732 | 250.9 | 10.203 | 889.783 | 34.219 | 34.3104
2020-03-23 10:45:00 | 7.18 | 254.107 | 7.537 | 261.136 | 7.786 | 265.633 | 7.786 | 263.05 | 10.699 | 889.617 | 33.235 | 26.3535
2020-03-23 11:00:00 | 5.609 | 274.26 | 5.886 | 278.054 | 6.083 | 280.633 | 6.142 | 274.033 | 10.634 | 889.8 | 33.227 | 15.0043
2020-03-23 11:15:00 | 4.764 | 281.047 | 5.098 | 277.891 | 5.118 | 279.367 | 5.196 | 275.4 | 10.147 | 889.65 | 33.568 | 9.9245
2020-03-23 11:30:00 | 4.484 | 274.227 | 4.632 | 272.991 | 4.78 | 276.15 | 4.984 | 274.367 | 10.638 | 890.283 | 32.805 | 9.1358
2020-03-23 11:45:00 | 5.152 | 278.227 | 5.353 | 283.1 | 5.436 | 284.767 | 5.495 | 280.167 | 10.945 | 889.617 | 32.213 | 8.6824
2020-03-23 12:00:00 | 3.391 | 274.507 | 3.546 | 272.483 | 3.844 | 273.2 | 4.066 | 268.533 | 11.103 | 889.667 | 31.267 | 5.1232
2020-03-23 12:15:00 | 4.364 | 296.413 | 4.226 | 294.663 | 4.454 | 297.783 | 4.761 | 296.867 | 12.178 | 889.633 | 28.931 | 3.3262
2020-03-23 12:30:00 | 4.384 | 302.52 | 4.203 | 308.875 | 4.428 | 312.933 | 4.465 | 312.933 | 12.045 | 889.817 | 29.037 | 3.1613
2020-03-23 12:45:00 | 3.381 | 278.993 | 3.545 | 285.149 | 3.462 | 287.7 | 3.673 | 284.55 | 12.453 | 890.117 | 28.544 | 1.6165
2020-03-23 13:00:00 | 2.864 | 244.72 | 2.672 | 248.051 | 2.998 | 254.583 | 3.256 | 250.967 | 13.084 | 889.867 | 27.467 | 1.4972
2020-03-23 13:15:00 | 3.279 | 247.736 | 3.22 | 279.619 | 3.324 | 267.867 | 3.575 | 259.667 | 12.989 | 889.617 | 27.456 | 0.97916
2020-03-23 13:30:00 | 3.635 | 270.513 | 3.296 | 277.728 | 3.498 | 289.517 | 3.639 | 287.933 | 12.914 | 889.733 | 27.184 | 1.5434
2020-03-23 13:45:00 | 4.272 | 302.773 | 4.098 | 296.003 | 4.228 | 299.967 | 4.393 | 296.367 | 13.164 | 889.75 | 26.371 | 3.1109
2020-03-23 14:00:00 | 4.233 | 308.707 | 4.101 | 302.745 | 4.183 | 307.167 | 4.488 | 302.7 | 13.247 | 889.567 | 26.072 | 2.9275
2020-03-23 14:15:00 | 4.028 | 296.187 | 4.105 | 320.699 | 4.242 | 295.567 | 4.498 | 304.567 | 13.237 | 889.783 | 26.144 | 2.3207
2020-03-23 14:30:00 | 5.194 | 292.507 | 5.344 | 290.612 | 5.626 | 294.733 | 5.818 | 291.333 | 13.533 | 890.05 | 24.171 | 3.7752
2020-03-23 14:45:00 | 4.549 | 291.493 | 4.495 | 289.817 | 4.728 | 303.367 | 5.052 | 300.7 | 13.804 | 889.767 | 23.619 | 6.3219
2020-03-23 15:00:00 | 3.031 | 301.333 | 2.972 | 289.585 | 3.173 | 296.2 | 3.459 | 292.767 | 13.82 | 889.533 | 24.973 | 5.4174
2020-03-23 15:15:00 | 2.05 | 283.267 | 1.897 | 282.271 | 2.34 | 289.367 | 2.67 | 289 | 14.02 | 889.75 | 25.008 | 6.2935
2020-03-23 15:30:00 | 4.612 | 327.507 | 4.324 | 328.979 | 4.515 | 332.767 | 4.484 | 327.767 | 14.266 | 889.7 | 24.6 | 6.9934
2020-03-23 15:45:00 | 3.724 | 246.06 | 3.794 | 248.423 | 4.141 | 255.133 | 4.301 | 248.433 | 14.938 | 889.833 | 22.904 | 11.8139
2020-03-23 16:00:00 | 3.602 | 247.033 | 3.804 | 241.138 | 4.359 | 241.233 | 4.653 | 234.967 | 14.462 | 889.75 | 23.085 | 27.1778
2020-03-23 16:15:00 | 5.751 | 254.353 | 6.006 | 255.677 | 6.285 | 260.683 | 6.263 | 255.483 | 15.008 | 889.55 | 23.136 | 23.9624
2020-03-23 16:30:00 | 8.48 | 263.107 | 8.862 | 268.567 | 8.997 | 271.367 | 8.903 | 267.6 | 14.678 | 889.9 | 24.699 | 55.1066
2020-03-23 16:45:00 | 8.395 | 247.813 | 9.152 | 255.51 | 9.098 | 257.4 | 8.767 | 252.283 | 14.145 | 890.05 | 27.093 | 33.8855
2020-03-23 17:00:00 | 1.875 | 252.48 | 1.446 | 260.631 | 1.605 | 259.1 | 1.796 | 258.733 | 14.299 | 889.633 | 26.269 | 0.24799
2020-03-23 17:15:00 | 1.892 | 164.02 | 1.631 | 159.846 | 1.954 | 165.867 | 2.253 | 159.267 | 13.554 | 889.633 | 26.549 | 1.5455
2020-03-23 17:30:00 | 3.214 | 153.78 | 3.468 | 144.224 | 3.624 | 150.7 | 3.959 | 147.467 | 13.641 | 890.183 | 26.699 | 5.185
2020-03-23 17:45:00 | 3.443 | 142.993 | 3.299 | 142.624 | 3.239 | 148.5 | 3.458 | 142.567 | 13.178 | 889.75 | 28.656 | 0.46969
2020-03-23 18:00:00 | 0.692 | 269.507 | 0.126 | 233.621 | 0.899 | 257.133 | 1.672 | 254.95 | 13.658 | 890.083 | 26.453 | 0.20606
2020-03-23 18:15:00 | 2.296 | 84.38 | 1.592 | 68.65 | 1.402 | 65.9 | 1.254 | 121.267 | 14.208 | 889.633 | 25.979 | 0.17764
2020-03-23 18:30:00 | 2.24 | 86.573 | 1.652 | 84.147 | 2.023 | 90.9 | 2.339 | 85 | 14.104 | 889.7 | 26.688 | 0.15988
2020-03-23 18:45:00 | 1.843 | 83.713 | 1.153 | 77.354 | 1.393 | 74.8 | 1.63 | 67.667 | 13.866 | 889.833 | 26.272 | 0.16343
2020-03-23 19:00:00 | 2.102 | 68.143 | 1.456 | 61.05 | 1.751 | 62.167 | 2.003 | 57.733 | 14.078 | 889.617 | 25.605 | 0.15704
2020-03-23 19:15:00 | 1.974 | 38.55 | 1.41 | 37.299 | 1.633 | 40.933 | 1.965 | 43.767 | 14.054 | 889.767 | 24.976 | 0.15277
2020-03-23 19:30:00 | 1.741 | 37.318 | 1.072 | 39.801 | 1.363 | 47.2 | 1.67 | 42.333 | 14.458 | 889.683 | 24.672 | 0.17196
2020-03-23 19:45:00 | 3.004 | 13.062 | 2.521 | 4.177 | 2.636 | 5.467 | 2.542 | 4.467 | 13.828 | 889.617 | 24.795 | 0.34605
2020-03-23 20:00:00 | 2.291 | 24.627 | 2.043 | 23.962 | 2.134 | 21.867 | 1.942 | 22.1 | 13.616 | 889.75 | 25.872 | 0.18262
2020-03-23 20:15:00 | 2.41 | 7.96 | 2.517 | 0 | 2.325 | 0 | 2.963 | 35.333 | 13.324 | 889.767 | 26.699 | 0.19612
2020-03-23 20:30:00 | 3.307 | 0.668 | 4.062 | 11.884 | 4.504 | 0.133 | 4.923 | 0 | 12.488 | 889.783 | 27.803 | 1.2293
2020-03-23 20:45:00 | 2.845 | 321.173 | 4.06 | 340.436 | 4.712 | 244.033 | 4.858 | 222.667 | 11.707 | 889.95 | 29.448 | 1.7523
2020-03-23 21:00:00 | 2.642 | 300.44 | 3.147 | 313.611 | 3.561 | 293.933 | 3.837 | 262.367 | 11.249 | 889.9 | 30.512 | 0.4306
2020-03-23 21:15:00 | 1.425 | 276.733 | 0.619 | 307.819 | 1.18 | 324.567 | 1.921 | 326.267 | 11.128 | 889.183 | 31.309 | 0.23307
2020-03-23 21:30:00 | 3.205 | 264.353 | 2.442 | 283.316 | 2.316 | 295.967 | 2.364 | 309.233 | 11.195 | 889.367 | 31.301 | 0.2558
2020-03-23 21:45:00 | 4.334 | 225.327 | 2.31 | 238.591 | 1.737 | 262.867 | 1.871 | 285.867 | 9.818 | 889.333 | 32.187 | 0.17338
2020-03-23 22:00:00 | 4.65 | 218.3 | 3.013 | 219.973 | 2.179 | 227 | 2.009 | 230 | 9.633 | 889.35 | 32.912 | 0.16343
2020-03-23 22:15:00 | 4.49 | 226.48 | 3.67 | 226.227 | 2.992 | 228 | 2.708 | 230 | 10.185 | 889.883 | 33.387 | 0.12151
2020-03-23 22:30:00 | 4.335 | 228.647 | 3.322 | 228.504 | 3.241 | 228 | 3.039 | 230 | 9.37 | 889.867 | 32.741 | 0.67646
2020-03-23 22:45:00 | 5.386 | 223.887 | 4.83 | 234.553 | 4.163 | 241.967 | 3.779 | 236.967 | 7.116 | 889.967 | 34.939 | 4.4197
2020-03-23 23:00:00 | 5.568 | 219.707 | 4.502 | 241.704 | 4.252 | 247.033 | 4.264 | 241.767 | 6.661 | 889.85 | 35.056 | 7.0851
2020-03-23 23:15:00 | 5.692 | 224.84 | 5.166 | 257.13 | 5.06 | 272.867 | 5.333 | 272.467 | 6.314 | 889.95 | 35.848 | 10.2052
2020-03-23 23:30:00 | 5.807 | 222.673 | 5.747 | 253.467 | 5.803 | 268.4 | 5.994 | 268.233 | 6.28 | 889.783 | 36.072 | 18.3404
2020-03-23 23:45:00 | 6.018 | 233.8 | 6.609 | 254.339 | 6.675 | 265.333 | 6.897 | 265.9 | 6.989 | 889.933 | 34.984 | 28.7922