## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-24 00:00:00 | 6.107 | 254.48 | 7.914 | 271.748 | 8.842 | 277.933 | 9.644 | 276.433 | 7.946 | 889.733 | 34.283 | 52.8626
2020-03-24 00:15:00 | 8.261 | 266.167 | 9.504 | 275.259 | 10.627 | 278.8 | 11.194 | 277.9 | 10.053 | 889.933 | 34.653 | 67.2438
2020-03-24 00:30:00 | 7.377 | 250.227 | 9.253 | 260.464 | 10.037 | 264.967 | 10.405 | 262.333 | 8.966 | 889.9 | 36.315 | 70.5195
2020-03-24 00:45:00 | 10.903 | 257.413 | 12.579 | 266.787 | 13.454 | 270.133 | 14.068 | 268.767 | 9.274 | 889.867 | 37.688 | 73.2552
2020-03-24 01:00:00 | 11.947 | 259.52 | 13.522 | 273.697 | 14.418 | 276.633 | 15.224 | 274.7 | 9.074 | 890.067 | 43.168 | 73.2147
2020-03-24 01:15:00 | 14.609 | 248.413 | 16.591 | 258.343 | 17.98 | 263.033 | 18.557 | 258.517 | 9.17 | 889.583 | 44.352 | 70.4506
2020-03-24 01:30:00 | 14.453 | 257.373 | 17.121 | 265.536 | 18.276 | 270.267 | 19.171 | 266.867 | 8.762 | 890.067 | 45.099 | 69.5915
2020-03-24 01:45:00 | 14.012 | 258.653 | 15.633 | 266.577 | 16.473 | 270.033 | 16.663 | 266.667 | 9.316 | 889.892 | 46.56 | 69.4401
2020-03-24 02:00:00 | 12.704 | 259.247 | 14.647 | 271.652 | 15.479 | 274.667 | 16.175 | 272.367 | 8.561 | 890.067 | 50.821 | 63.6256
2020-03-24 02:15:00 | 12.548 | 263.24 | 13.76 | 271.857 | 14.354 | 276.2 | 14.911 | 272.833 | 8.07 | 889.842 | 52.715 | 63.4572
2020-03-24 02:30:00 | 11.587 | 259.54 | 12.797 | 270.874 | 13.614 | 274.333 | 14.107 | 271.3 | 7.739 | 889.708 | 54.357 | 63.3364
2020-03-24 02:45:00 | 13.292 | 269.747 | 14.523 | 279.611 | 15.228 | 280.567 | 15.598 | 275.967 | 7.089 | 889.775 | 55.621 | 63.2212
2020-03-24 03:00:00 | 12.188 | 278.8 | 12.875 | 286.782 | 13.364 | 288 | 13.928 | 287.867 | 6.475 | 889.583 | 56.555 | 65.5327
2020-03-24 03:15:00 | 17.212 | 263.027 | 19.26 | 278.502 | 20.45 | 279.833 | 21.384 | 278.833 | 4.324 | 889.533 | 61.824 | 66.3655
2020-03-24 03:30:00 | 17.343 | 245.633 | 18.726 | 267.856 | 19.197 | 271.3 | 19.533 | 268.3 | 3.371 | 890.208 | 63.931 | 66.2753
2020-03-24 03:45:00 | 15.922 | 251.613 | 17.797 | 265.198 | 18.134 | 269.767 | 18.491 | 267 | 2.834 | 890.192 | 62.944 | 66.3385
2020-03-24 04:00:00 | 13.398 | 253.373 | 14.794 | 268.57 | 15.132 | 273.133 | 15.373 | 270.1 | 2.422 | 889.675 | 64.123 | 66.4657
2020-03-24 04:15:00 | 15.109 | 250.893 | 16.565 | 266.007 | 17.317 | 271.933 | 17.809 | 267.633 | 2.18 | 889.667 | 63.893 | 66.3207
2020-03-24 04:30:00 | 15.912 | 251.133 | 17.656 | 267.064 | 18.19 | 270.3 | 18.854 | 268.05 | 1.576 | 889.525 | 60.581 | 65.6898
2020-03-24 04:45:00 | 17.69 | 245.833 | 19.872 | 264.392 | 20.354 | 267.1 | 20.785 | 263.867 | 1.359 | 889.5 | 59.355 | 63.2347
2020-03-24 05:00:00 | 15.895 | 241.967 | 17.735 | 259.199 | 18.576 | 264.2 | 18.801 | 261.8 | 1.636 | 889.742 | 58.848 | 63.5254
2020-03-24 05:15:00 | 16.213 | 250.32 | 18.002 | 261.635 | 18.8 | 265.167 | 19.178 | 262 | 1.566 | 889.475 | 57.365 | 63.4124
2020-03-24 05:30:00 | 16.422 | 247.247 | 18.547 | 260.462 | 19.198 | 263.833 | 19.598 | 261.983 | 0.958 | 890.1 | 57.093 | 63.5687
2020-03-24 05:45:00 | 16.219 | 241.473 | 17.903 | 264.061 | 18.878 | 267.5 | 19.215 | 265.133 | 0.965 | 889.55 | 57.461 | 63.6156
2020-03-24 06:00:00 | 15.012 | 244.273 | 17.103 | 264.847 | 18.137 | 267.4 | 18.232 | 264.467 | 0.865 | 889.758 | 58.848 | 63.2532
2020-03-24 06:15:00 | 12.562 | 244.307 | 14.071 | 261.12 | 14.265 | 264.533 | 14.517 | 260.683 | 0.615 | 890.267 | 57.237 | 61.5663
2020-03-24 06:30:00 | 10.954 | 246.147 | 11.788 | 263.644 | 11.94 | 268.367 | 12.324 | 266.133 | 0.432 | 889.883 | 56.043 | 58.2679
2020-03-24 06:45:00 | 10.693 | 259.22 | 11.261 | 274.52 | 11.614 | 276.833 | 11.88 | 275.567 | 0.1 | 889.642 | 54.768 | 54.6319
2020-03-24 07:00:00 | 11.954 | 254.107 | 13.312 | 271.412 | 13.674 | 274.033 | 13.926 | 271.067 | 0.1 | 889.933 | 55.008 | 52.6054
2020-03-24 07:15:00 | 11.32 | 257.16 | 12.62 | 277.634 | 13.237 | 280.067 | 13.703 | 278.5 | -0.149 | 890.075 | 56.773 | 51.1317
2020-03-24 07:30:00 | 10.446 | 288.773 | 11.16 | 292.317 | 11.975 | 296.233 | 12.739 | 294.3 | -0.798 | 889.958 | 55.232 | 49.4796
2020-03-24 07:45:00 | 8.681 | 250.847 | 9.32 | 273.895 | 9.56 | 276.5 | 9.887 | 274.333 | -1.62 | 890.35 | 55.403 | 50.7473
2020-03-24 08:00:00 | 11.693 | 236.8 | 13.35 | 268.705 | 13.47 | 270.767 | 13.703 | 268.933 | -1.666 | 889.975 | 53.504 | 50.1198
2020-03-24 08:15:00 | 12.276 | 237.4 | 12.874 | 265.216 | 13.048 | 266.8 | 13.26 | 262.717 | -1.62 | 889.833 | 51.099 | 48.1238
2020-03-24 08:30:00 | 9.367 | 232.773 | 10.954 | 260.7 | 11.38 | 262.067 | 11.666 | 258.35 | -1.58 | 889.767 | 48.4 | 34.7865
2020-03-24 08:45:00 | 7.72 | 219.06 | 8.675 | 245.291 | 9.18 | 247.833 | 9.294 | 243.867 | -1.82 | 890.033 | 43.051 | 44.959
2020-03-24 09:00:00 | 8.08 | 218.56 | 8.679 | 240.38 | 8.972 | 245.9 | 8.823 | 239.467 | -1.643 | 890.033 | 39.317 | 52.2863
2020-03-24 09:15:00 | 7.865 | 223.267 | 8.108 | 241.813 | 8.456 | 244.8 | 8.662 | 240.833 | -1.132 | 889.9 | 37.763 | 55.9365
2020-03-24 09:30:00 | 8.006 | 231.847 | 9.003 | 257.733 | 9.115 | 261.833 | 9.251 | 257.933 | -1.132 | 889.417 | 30.757 | 57.6469
2020-03-24 09:45:00 | 8.159 | 216.827 | 8.895 | 251.294 | 9.28 | 255 | 9.279 | 251.2 | -0.598 | 889.583 | 28.928 | 56.3117
2020-03-24 10:00:00 | 9.688 | 216.827 | 10.707 | 247.037 | 10.921 | 250.533 | 10.881 | 246.433 | -0.442 | 889.833 | 25.088 | 53.7274
2020-03-24 10:15:00 | 10.277 | 225.893 | 10.892 | 254.234 | 11.171 | 255.733 | 10.91 | 251.567 | -0.339 | 889.867 | 23.824 | 49.1272
2020-03-24 10:30:00 | 10.677 | 216.273 | 11.064 | 251.992 | 11.469 | 255.167 | 11.576 | 251.5 | 0.216 | 889.717 | 23.067 | 46.6814
2020-03-24 10:45:00 | 11.82 | 219.593 | 12.274 | 252.238 | 12.888 | 257.6 | 12.789 | 253.183 | 0.432 | 889.917 | 23.597 | 44.139
2020-03-24 11:00:00 | 12.132 | 228.787 | 12.912 | 255.351 | 13.075 | 259.333 | 13.12 | 254.65 | 1.289 | 889.933 | 23.739 | 40.4568
2020-03-24 11:15:00 | 12.18 | 222.173 | 12.986 | 252.128 | 13.083 | 255.85 | 13.009 | 252.633 | 1.115 | 889.767 | 23.307 | 41.0459
2020-03-24 11:30:00 | 10.691 | 229.073 | 11.321 | 260.047 | 11.467 | 264.233 | 11.469 | 259.6 | 1.419 | 889.917 | 20.771 | 42.9403
2020-03-24 11:45:00 | 10.762 | 230.82 | 11.854 | 258.474 | 12.37 | 261.233 | 12.261 | 258.333 | 1.992 | 889.4 | 19.181 | 38.1219
2020-03-24 12:00:00 | 11.732 | 257.12 | 12.227 | 276.125 | 12.468 | 276.8 | 12.622 | 273.767 | 2.092 | 889.2 | 18.473 | 35.4942
2020-03-24 12:15:00 | 10.987 | 245.06 | 11.645 | 275.736 | 11.626 | 277.6 | 11.876 | 277.267 | 0.942 | 889.7 | 17.635 | 35.2377
2020-03-24 12:30:00 | 9.896 | 236.927 | 10.382 | 262.064 | 10.184 | 265.033 | 10.447 | 262.1 | 1.105 | 889.567 | 19.925 | 36.3668
2020-03-24 12:45:00 | 10.025 | 223.313 | 10.614 | 256.589 | 10.829 | 258.9 | 10.832 | 257.25 | 2.197 | 889.633 | 18.025 | 37.292
2020-03-24 13:00:00 | 10.039 | 264.94 | 10.476 | 276.452 | 10.592 | 278.767 | 10.821 | 277.133 | 2.422 | 889.533 | 16.923 | 36.975
2020-03-24 13:15:00 | 8.959 | 233.093 | 9.851 | 263.02 | 10.112 | 265.567 | 9.676 | 263.383 | 2.707 | 889.567 | 17.443 | 35.205
2020-03-24 13:30:00 | 7.966 | 269.86 | 8.614 | 284.811 | 8.659 | 286.1 | 8.807 | 284.25 | 2.716 | 889.267 | 15.224 | 34.017
2020-03-24 13:45:00 | 7.222 | 260.527 | 7.631 | 281.238 | 8.062 | 281.6 | 8.276 | 280.133 | 2.666 | 889.933 | 13.612 | 35.5134
2020-03-24 14:00:00 | 9.2 | 270.847 | 9.571 | 283.566 | 9.65 | 286.367 | 9.756 | 284.567 | 2.757 | 889.5 | 12.536 | 35.5312
2020-03-24 14:15:00 | 7.755 | 255.467 | 8.146 | 272.983 | 8.368 | 276.167 | 8.794 | 273 | 3.304 | 889.6 | 14.22 | 35.2562
2020-03-24 14:30:00 | 9.078 | 267.233 | 9.472 | 283.91 | 9.782 | 286.9 | 10.028 | 286.367 | 3.689 | 889.7 | 14.877 | 34.3282
2020-03-24 14:45:00 | 10.333 | 245.767 | 10.598 | 271.674 | 11.159 | 273.683 | 11.333 | 271.867 | 3.488 | 889.5 | 14.86 | 34.5428
2020-03-24 15:00:00 | 9.499 | 259.507 | 10.061 | 277.529 | 10.402 | 278.133 | 10.647 | 277.1 | 3.2 | 889.467 | 15.347 | 34.2202
2020-03-24 15:15:00 | 9.409 | 252.633 | 10.153 | 279.544 | 10.285 | 281.65 | 10.668 | 279.667 | 3.304 | 889.8 | 16.157 | 33.1579
2020-03-24 15:30:00 | 7.889 | 234.467 | 8.129 | 266.866 | 8.373 | 270.233 | 8.286 | 265 | 3.672 | 889.467 | 16.251 | 32.362
2020-03-24 15:45:00 | 7.885 | 240.533 | 7.832 | 265.498 | 8.047 | 272.7 | 8.158 | 269.067 | 3.722 | 889.833 | 14.964 | 33.6809
2020-03-24 16:00:00 | 6.962 | 273.2 | 7.003 | 286.352 | 7.181 | 290.433 | 7.63 | 288.45 | 3.756 | 889.5 | 14.331 | 34.3673
2020-03-24 16:15:00 | 7.785 | 253.82 | 8.334 | 271.923 | 8.86 | 274.167 | 8.923 | 270.733 | 4.156 | 889.333 | 13.997 | 33.8066
2020-03-24 16:30:00 | 8.647 | 281.067 | 9.174 | 287.511 | 9.453 | 290.5 | 9.774 | 290.833 | 4.693 | 889.3 | 12.655 | 36.17
2020-03-24 16:45:00 | 9.223 | 254.467 | 9.595 | 271.15 | 9.549 | 276 | 9.522 | 275.5 | 4.384 | 889.433 | 12.22 | 38.7188
2020-03-24 17:00:00 | 10.536 | 271.073 | 11.175 | 291.284 | 11.669 | 294.267 | 12.034 | 293.2 | 4.881 | 889.4 | 10.705 | 38.1333
2020-03-24 17:15:00 | 9.835 | 279.08 | 10.516 | 290.054 | 10.756 | 294.567 | 11.306 | 293 | 4.636 | 889.367 | 10.861 | 40.5961
2020-03-24 17:30:00 | 9.896 | 279.86 | 10.548 | 288.733 | 10.8 | 293.183 | 11.093 | 290.8 | 4.99 | 889.567 | 10.851 | 39.9083
2020-03-24 17:45:00 | 9.134 | 272.153 | 9.547 | 282.954 | 9.762 | 287.133 | 10.215 | 286.567 | 5.124 | 889.233 | 9.946 | 38.3436
2020-03-24 18:00:00 | 8.08 | 270.64 | 8.421 | 285.905 | 8.835 | 289.3 | 9.24 | 289.833 | 4.914 | 889.2 | 9.638 | 36.2709
2020-03-24 18:15:00 | 7.142 | 314.733 | 7.556 | 310.097 | 7.943 | 313.667 | 8.21 | 308.9 | 4.984 | 889 | 8.533 | 38.8687
2020-03-24 18:30:00 | 7.584 | 269.973 | 7.959 | 281.061 | 8.138 | 283.767 | 8.545 | 278.867 | 5.087 | 889.133 | 8.543 | 41.048
2020-03-24 18:45:00 | 7.604 | 255.507 | 8.193 | 277.534 | 8.605 | 280.4 | 9.037 | 278.033 | 4.802 | 889.133 | 8.651 | 42.4421
2020-03-24 19:00:00 | 7.29 | 272.4 | 7.866 | 285.515 | 8.156 | 288.1 | 8.315 | 286.3 | 4.285 | 889.333 | 9.157 | 40.5989
2020-03-24 19:15:00 | 8.088 | 263.78 | 8.924 | 280.538 | 9.245 | 285.433 | 9.543 | 285.467 | 4.345 | 888.933 | 9.499 | 40.6721
2020-03-24 19:30:00 | 8.354 | 252.593 | 9.199 | 275.78 | 9.635 | 279.8 | 9.872 | 278.2 | 4.437 | 889.133 | 9.976 | 39.5821
2020-03-24 19:45:00 | 7.933 | 265.167 | 9.029 | 284.68 | 9.413 | 289.533 | 9.993 | 288.233 | 4.192 | 888.867 | 10.111 | 39.3192
2020-03-24 20:00:00 | 8.825 | 251.347 | 9.91 | 275.77 | 10.245 | 280.067 | 10.932 | 277.667 | 3.902 | 888.633 | 11.073 | 40.4106
2020-03-24 20:15:00 | 8.851 | 268.2 | 9.8 | 284.47 | 10.568 | 288.767 | 11.168 | 287.333 | 3.672 | 889.7 | 12.079 | 40.3751
2020-03-24 20:30:00 | 8.02 | 264.847 | 9.658 | 281.939 | 10.249 | 285.033 | 11 | 285.567 | 3.102 | 889.233 | 13.099 | 40.3765
2020-03-24 20:45:00 | 7.919 | 271.147 | 9.188 | 284.521 | 9.828 | 287.733 | 10.343 | 288.067 | 2.659 | 889.367 | 14.125 | 40.5364
2020-03-24 21:00:00 | 6.5 | 276.133 | 8.111 | 286.059 | 8.615 | 289 | 9.059 | 289.5 | 2.348 | 889.233 | 14.803 | 40.6053
2020-03-24 21:15:00 | 6.989 | 267.813 | 8.392 | 284.798 | 9.127 | 288.1 | 10.036 | 286.867 | 1.862 | 889.333 | 15.668 | 40.5961
2020-03-24 21:30:00 | 7.573 | 266.44 | 8.939 | 283.252 | 9.552 | 286.767 | 10.176 | 286.267 | 1.439 | 889.7 | 17.293 | 40.6458
2020-03-24 21:45:00 | 6.827 | 267.327 | 8.112 | 284.602 | 8.838 | 285.7 | 9.495 | 286.7 | 1.64 | 889.7 | 18.705 | 41.3813
2020-03-24 22:00:00 | 6.597 | 265.6 | 8.034 | 281.469 | 8.645 | 283.367 | 9.163 | 284.1 | 1.072 | 889.333 | 19.527 | 40.7361
2020-03-24 22:15:00 | 7.004 | 256.72 | 8.155 | 281.114 | 8.854 | 285.067 | 9.399 | 283.967 | 1.099 | 890 | 20.128 | 42.3292
2020-03-24 22:30:00 | 6.895 | 250.98 | 8.364 | 276.986 | 9.091 | 281.8 | 9.654 | 280.2 | 0.432 | 889.667 | 20.617 | 41.8275
2020-03-24 22:45:00 | 6.874 | 251.98 | 8.352 | 278.694 | 9.046 | 281.867 | 9.801 | 280.167 | 0.216 | 889.567 | 20.157 | 37.4604
2020-03-24 23:00:00 | 5.982 | 273.513 | 6.942 | 280.437 | 7.709 | 285.4 | 8.145 | 283.7 | -0.286 | 890 | 19.748 | 23.5702
2020-03-24 23:15:00 | 5.314 | 255.613 | 6.741 | 276.177 | 7.142 | 280.533 | 7.642 | 279.467 | -0.538 | 889.4 | 19.788 | 22.7154
2020-03-24 23:30:00 | 4.478 | 235.12 | 5.603 | 260.957 | 6.119 | 266.467 | 6.552 | 264.867 | -1.012 | 889.3 | 20.28 | 19.8134
2020-03-24 23:45:00 | 5.456 | 246.473 | 6.748 | 269.018 | 7.261 | 272.833 | 7.632 | 269.05 | -1.232 | 889.583 | 20.289 | 23.9781