## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-25 00:00:00 | 4.71 | 246.553 | 6.022 | 264.577 | 6.58 | 269.2 | 6.92 | 266.933 | -1.032 | 889.367 | 20.247 | 21.3326
2020-03-25 00:15:00 | 4.394 | 252.473 | 5.643 | 266.385 | 6.214 | 272 | 6.811 | 268.833 | -1.6 | 889.4 | 20.851 | 26.232
2020-03-25 00:30:00 | 7.165 | 237.46 | 8.696 | 265.647 | 9.153 | 270.933 | 9.713 | 266.433 | -1.009 | 889.367 | 20.931 | 45.4095
2020-03-25 00:45:00 | 7.338 | 232.32 | 8.958 | 262.511 | 9.56 | 265.467 | 9.756 | 262.033 | -1.289 | 889.767 | 20.952 | 46.8576
2020-03-25 01:00:00 | 6.759 | 232.987 | 8.39 | 256.12 | 9.158 | 260.967 | 9.215 | 258.1 | -1.503 | 889.5 | 21.581 | 46.8754
2020-03-25 01:15:00 | 7.284 | 229.247 | 8.574 | 254.557 | 9.037 | 259.7 | 9.21 | 257.567 | -1.64 | 889.75 | 21.005 | 45.968
2020-03-25 01:30:00 | 6.881 | 221.767 | 8.194 | 250.184 | 8.903 | 255.2 | 9.266 | 249.783 | -1.826 | 889.433 | 21.069 | 45.9367
2020-03-25 01:45:00 | 6.828 | 220.76 | 8.118 | 251.064 | 8.755 | 255.633 | 9.042 | 252.833 | -2.041 | 889.95 | 21.208 | 45.1658
2020-03-25 02:00:00 | 6.876 | 212.493 | 8.602 | 247.808 | 9.356 | 252.767 | 9.39 | 249.633 | -2.124 | 889.833 | 22.08 | 44.48
2020-03-25 02:15:00 | 7.883 | 207.673 | 9.653 | 244.071 | 10.439 | 249.7 | 10.385 | 246.883 | -2.058 | 889.85 | 22.475 | 47.4047
2020-03-25 02:30:00 | 7.36 | 211.667 | 9.085 | 242.534 | 9.805 | 247.267 | 9.698 | 243.75 | -2.148 | 890.05 | 21.469 | 47.5731
2020-03-25 02:45:00 | 5.3 | 224.367 | 6.864 | 245.247 | 8.044 | 247.367 | 8.461 | 243.267 | -2.148 | 889.817 | 21.344 | 46.7809
2020-03-25 03:00:00 | 5.705 | 230.593 | 7.022 | 250.953 | 7.515 | 254.633 | 7.564 | 250.917 | -2.661 | 889.583 | 21.067 | 43.4703
2020-03-25 03:15:00 | 5.063 | 233.613 | 6.23 | 251.535 | 6.732 | 256.3 | 6.883 | 253.533 | -2.72 | 889.65 | 21.389 | 40.7894
2020-03-25 03:30:00 | 5.176 | 226.993 | 6.184 | 245.285 | 6.66 | 251.633 | 6.817 | 248 | -3.076 | 889.9 | 21.68 | 41.0651
2020-03-25 03:45:00 | 5.829 | 230.733 | 6.753 | 243.378 | 7.024 | 248.833 | 7.036 | 245.633 | -3.237 | 889.533 | 21.867 | 41.566
2020-03-25 04:00:00 | 5.994 | 219.2 | 7.368 | 240.898 | 7.794 | 246.333 | 7.786 | 242.7 | -3.221 | 889.883 | 21.989 | 39.7349
2020-03-25 04:15:00 | 5.97 | 230.567 | 6.816 | 252.434 | 6.951 | 255.85 | 6.953 | 253.15 | -3.454 | 889.6 | 21.877 | 36.5992
2020-03-25 04:30:00 | 5.699 | 234.9 | 6.733 | 250.132 | 7.061 | 255.6 | 7.078 | 252.7 | -3.656 | 889.533 | 22.083 | 34.8419
2020-03-25 04:45:00 | 5.411 | 230.34 | 6.463 | 251.886 | 6.615 | 256.267 | 6.733 | 253.733 | -3.86 | 889.75 | 22.408 | 32.0387
2020-03-25 05:00:00 | 5.662 | 246.927 | 6.273 | 252.409 | 6.374 | 256.9 | 6.436 | 253.517 | -4.285 | 889.217 | 23.432 | 31.8327
2020-03-25 05:15:00 | 5.405 | 238.333 | 6.202 | 252.243 | 6.408 | 258.467 | 6.478 | 255.667 | -4.504 | 889.75 | 23.995 | 25.6969
2020-03-25 05:30:00 | 4.818 | 245.867 | 5.465 | 252.538 | 5.471 | 259.367 | 5.633 | 255.4 | -4.902 | 889.967 | 24.869 | 26.3293
2020-03-25 05:45:00 | 4.844 | 241.733 | 4.924 | 248.808 | 4.924 | 256.167 | 4.739 | 253.85 | -4.985 | 889.783 | 25.643 | 28.1896
2020-03-25 06:00:00 | 6.319 | 240.533 | 6.275 | 249.119 | 6.458 | 255.133 | 6.583 | 253.567 | -4.969 | 889.65 | 26.064 | 36.948
2020-03-25 06:15:00 | 6.11 | 241 | 6.078 | 252.728 | 6.064 | 260.067 | 6.312 | 259.45 | -4.902 | 890.067 | 26.357 | 31.0518
2020-03-25 06:30:00 | 5.969 | 229.6 | 6.804 | 245.531 | 6.732 | 250.733 | 6.452 | 246.667 | -5.485 | 889.55 | 27.68 | 34.3637
2020-03-25 06:45:00 | 6.31 | 227.733 | 7.177 | 248.824 | 7.2 | 253.933 | 7.243 | 251 | -5.202 | 890.233 | 27.792 | 44.1887
2020-03-25 07:00:00 | 6.37 | 226.533 | 7.689 | 249.594 | 7.901 | 256.033 | 7.921 | 253.05 | -5.285 | 889.55 | 28.859 | 47.5476
2020-03-25 07:15:00 | 6.21 | 228.233 | 7.387 | 252.613 | 7.53 | 257.933 | 7.676 | 255.55 | -5.152 | 889.7 | 29.013 | 45.6667
2020-03-25 07:30:00 | 6.525 | 224.353 | 7.48 | 246.029 | 7.562 | 252.1 | 7.725 | 249.9 | -5.809 | 889.617 | 29.984 | 45.7562
2020-03-25 07:45:00 | 7.036 | 223.067 | 8.298 | 245.329 | 8.452 | 250.867 | 8.501 | 247.4 | -5.502 | 889.6 | 29.989 | 49.5144
2020-03-25 08:00:00 | 6.949 | 224.96 | 8.58 | 240.791 | 9.072 | 247.033 | 9.151 | 242.467 | -4.916 | 889.933 | 29.387 | 48.9779
2020-03-25 08:15:00 | 6.622 | 212.967 | 8.02 | 245.858 | 8.817 | 250.367 | 8.86 | 245.333 | -4.008 | 889.567 | 28.203 | 47.5398
2020-03-25 08:30:00 | 6.318 | 219.233 | 7.476 | 248.028 | 7.821 | 253.167 | 8.024 | 248.7 | -3.471 | 889.95 | 27.589 | 35.8396
2020-03-25 08:45:00 | 5.756 | 218.507 | 6.623 | 244.795 | 7.365 | 250.2 | 7.335 | 247.317 | -2.565 | 888.567 | 26.357 | 27.9338
2020-03-25 09:00:00 | 5.536 | 217.667 | 5.995 | 245.154 | 6.554 | 248.667 | 6.769 | 243.967 | -1.813 | 889.917 | 25.093 | 26.3769
2020-03-25 09:15:00 | 5.73 | 227.167 | 5.83 | 245.623 | 6.012 | 250.967 | 6.104 | 246.3 | -1.299 | 889.433 | 24.267 | 25.5115
2020-03-25 09:30:00 | 6.354 | 232.467 | 6.681 | 255.994 | 6.756 | 259.667 | 6.523 | 256.133 | -0.892 | 889.767 | 24.024 | 27.5387
2020-03-25 09:45:00 | 6.799 | 238.187 | 7.262 | 269.124 | 7.538 | 271.967 | 7.603 | 269.6 | -0.995 | 889.983 | 23.619 | 32.1297
2020-03-25 10:00:00 | 6.689 | 256.853 | 7.294 | 270.518 | 7.398 | 272.8 | 7.583 | 268.667 | -1.048 | 889.617 | 23.088 | 32.3016
2020-03-25 10:15:00 | 7.017 | 258.767 | 7.28 | 279.009 | 7.533 | 280.4 | 7.746 | 277.633 | -1.048 | 890.2 | 22.541 | 36.5814
2020-03-25 10:30:00 | 6.8 | 252.887 | 7.074 | 273.728 | 7.313 | 275.6 | 7.299 | 273.733 | -0.628 | 890.017 | 22.688 | 34.8206
2020-03-25 10:45:00 | 6.098 | 269.26 | 6.43 | 278.922 | 6.428 | 282.3 | 6.483 | 280 | -0.752 | 889.867 | 22.421 | 29.8957
2020-03-25 11:00:00 | 6.589 | 262.167 | 6.861 | 278.367 | 7.019 | 284.033 | 7.147 | 283.033 | -0.309 | 889.45 | 21.848 | 30.9551
2020-03-25 11:15:00 | 5.919 | 294.593 | 5.987 | 297.581 | 6.12 | 297.4 | 6.498 | 295.4 | 0.067 | 889.4 | 21.549 | 31.6984
2020-03-25 11:30:00 | 7.149 | 299.44 | 7.083 | 304.239 | 7.36 | 308.767 | 7.686 | 305.133 | 0.083 | 889.6 | 20.476 | 36.8784
2020-03-25 11:45:00 | 7.159 | 284.26 | 7.525 | 289.892 | 7.874 | 292.667 | 8.183 | 291.267 | 0.266 | 889.95 | 20.861 | 41.7636
2020-03-25 12:00:00 | 7.059 | 285.767 | 7.253 | 294.655 | 7.621 | 298.7 | 8.227 | 297.533 | 0.682 | 889.567 | 20.559 | 47.3458
2020-03-25 12:15:00 | 9.123 | 275.04 | 9.647 | 290.449 | 9.936 | 292.533 | 10.294 | 291.467 | 0.366 | 889.633 | 20.893 | 47.3479
2020-03-25 12:30:00 | 8.403 | 284.333 | 8.714 | 294.735 | 9.16 | 300.067 | 9.584 | 297 | 0.532 | 889.8 | 21.285 | 47.5298
2020-03-25 12:45:00 | 10.416 | 277.567 | 11.145 | 291.607 | 11.282 | 295 | 11.823 | 294.6 | 0.868 | 889.917 | 22.376 | 34.7808
2020-03-25 13:00:00 | 9.706 | 277.113 | 10.483 | 289.536 | 10.761 | 293.133 | 11.152 | 291.367 | 0.992 | 890 | 21.485 | 48.0805
2020-03-25 13:15:00 | 12.377 | 285.187 | 12.788 | 296.651 | 13.519 | 300.567 | 14.431 | 298.833 | 1.526 | 889.833 | 21.541 | 46.8377
2020-03-25 13:30:00 | 11.535 | 278.68 | 12.408 | 293.482 | 12.68 | 297.333 | 13.292 | 297.167 | 1.048 | 889.633 | 21.296 | 45.9779
2020-03-25 13:45:00 | 10.987 | 261.993 | 11.312 | 288.558 | 11.626 | 293.9 | 11.923 | 292.567 | 1.446 | 889.283 | 20.867 | 45.1764
2020-03-25 14:00:00 | 12.198 | 264.393 | 12.832 | 288.615 | 13.07 | 290.6 | 13.714 | 290.533 | 1.556 | 889.45 | 20.475 | 46.189
2020-03-25 14:15:00 | 10.604 | 264.113 | 11.16 | 283.666 | 11.526 | 287.367 | 11.902 | 288.467 | 1.539 | 889.417 | 20.372 | 45.0094
2020-03-25 14:30:00 | 9.392 | 275.333 | 9.917 | 285.282 | 10.52 | 288.733 | 10.867 | 287.167 | 2.385 | 889.433 | 19.212 | 44.9092
2020-03-25 14:45:00 | 10.723 | 257.56 | 11.168 | 282.919 | 11.536 | 287.9 | 11.666 | 286.417 | 2.263 | 889.433 | 18.699 | 46.2344
2020-03-25 15:00:00 | 9.054 | 303.133 | 9.586 | 306.165 | 10.188 | 310.633 | 10.18 | 308.833 | 2.901 | 889.4 | 17.449 | 48.0514
2020-03-25 15:15:00 | 10.337 | 266.887 | 10.686 | 287.171 | 10.937 | 289.767 | 11.484 | 288.367 | 3.234 | 889.533 | 16.235 | 47.8567
2020-03-25 15:30:00 | 9.235 | 296.08 | 9.434 | 298.488 | 10.053 | 302.633 | 10.291 | 301.733 | 3.147 | 889.567 | 16.86 | 47.0793
2020-03-25 15:45:00 | 10.288 | 289.627 | 10.825 | 296.154 | 11.254 | 299.667 | 11.914 | 299.067 | 3.09 | 889.567 | 15.935 | 48.0876
2020-03-25 16:00:00 | 9.383 | 276.887 | 10.011 | 292.683 | 10.345 | 297.233 | 10.683 | 295.233 | 2.993 | 889.567 | 16.6 | 48.0109
2020-03-25 16:15:00 | 10.249 | 289.213 | 10.76 | 300.993 | 11.511 | 304.833 | 11.862 | 303.167 | 3.113 | 889.8 | 16.639 | 48.1352
2020-03-25 16:30:00 | 10.928 | 270.033 | 11.565 | 283.04 | 11.981 | 288.733 | 12.451 | 288.4 | 3.689 | 889.433 | 16.127 | 48.6752
2020-03-25 16:45:00 | 8.243 | 265.133 | 8.811 | 282.333 | 9.259 | 287.267 | 9.721 | 286.217 | 3.271 | 889.533 | 16.171 | 48.4727
2020-03-25 17:00:00 | 10.48 | 298.567 | 11.308 | 302.195 | 11.723 | 306.233 | 12.367 | 303.833 | 3.204 | 889.633 | 13.873 | 49.0831
2020-03-25 17:15:00 | 9.87 | 281.1 | 10.342 | 293.643 | 10.613 | 297.267 | 11.226 | 298 | 3.321 | 889.133 | 13.305 | 52.3474
2020-03-25 17:30:00 | 10.736 | 286.533 | 11.386 | 294.291 | 11.549 | 296.033 | 11.956 | 295.433 | 3.271 | 889.8 | 12.661 | 50.775
2020-03-25 17:45:00 | 9.155 | 329.933 | 9.236 | 327.166 | 9.492 | 333.867 | 9.831 | 331.467 | 3.121 | 889.967 | 12.319 | 51.747
2020-03-25 18:00:00 | 9.888 | 294.433 | 10.171 | 299.173 | 10.518 | 302.7 | 10.766 | 302.7 | 3.087 | 889.4 | 11.589 | 53.7096
2020-03-25 18:15:00 | 8.325 | 274.16 | 9.019 | 291.968 | 9.12 | 295.133 | 9.698 | 294.4 | 3.069 | 889.3 | 11.441 | 53.1689
2020-03-25 18:30:00 | 8.708 | 303.733 | 9.346 | 307.081 | 9.722 | 311.333 | 9.716 | 310.2 | 3.154 | 889.533 | 10.727 | 55.8548
2020-03-25 18:45:00 | 9.203 | 277.4 | 9.849 | 291.832 | 10.204 | 297.333 | 10.327 | 296.2 | 3.254 | 889.367 | 10.524 | 46.4611
2020-03-25 19:00:00 | 8.059 | 273.48 | 8.739 | 288.792 | 9.07 | 292.3 | 9.331 | 291.367 | 2.966 | 889.333 | 9.54 | 44.9753
2020-03-25 19:15:00 | 8.588 | 291.193 | 9.145 | 297.248 | 9.307 | 300.733 | 9.519 | 299.4 | 2.72 | 889.267 | 9.494 | 44.9369
2020-03-25 19:30:00 | 5.565 | 304.387 | 6.07 | 307.299 | 6.558 | 314.6 | 6.932 | 315 | 2.587 | 889.267 | 10.623 | 35.8751
2020-03-25 19:45:00 | 5.603 | 317.467 | 5.749 | 313.074 | 5.92 | 317.133 | 6.16 | 316.2 | 2.516 | 890 | 11.065 | 24.9629
2020-03-25 20:00:00 | 7.33 | 263.153 | 8.301 | 284.962 | 8.844 | 289.467 | 9.464 | 288.933 | 1.968 | 888.867 | 10.121 | 36.2922
2020-03-25 20:15:00 | 5.028 | 287.44 | 6.024 | 291.812 | 6.559 | 297.167 | 6.886 | 295.967 | 1.068 | 889.667 | 10.965 | 24.7078
2020-03-25 20:30:00 | 4.975 | 274.833 | 6.008 | 282.327 | 6.367 | 286.3 | 6.836 | 285.233 | 1.085 | 889.733 | 11.693 | 21.9366
2020-03-25 20:45:00 | 4.48 | 285.987 | 5.273 | 292.791 | 5.712 | 298.067 | 6.194 | 293.533 | 0.782 | 889.8 | 13.437 | 14.7109
2020-03-25 21:00:00 | 3.291 | 280.7 | 4.006 | 285.484 | 4.257 | 289.833 | 4.804 | 289.1 | 0.116 | 889.633 | 14.36 | 7.9313
2020-03-25 21:15:00 | 3.594 | 276.053 | 4.326 | 284.839 | 4.511 | 289.933 | 4.806 | 290.833 | 0.033 | 889.167 | 15.188 | 8.5964
2020-03-25 21:30:00 | 3.798 | 265.087 | 4.85 | 276.537 | 5.204 | 281.567 | 5.556 | 280.333 | -0.502 | 889.367 | 16.456 | 10.1277
2020-03-25 21:45:00 | 3.871 | 276.267 | 4.589 | 281.39 | 4.722 | 287.567 | 5.119 | 285.433 | -0.538 | 889.533 | 17.567 | 10.2783
2020-03-25 22:00:00 | 3.695 | 276.133 | 4.473 | 284.547 | 4.799 | 290.2 | 5.154 | 288.3 | -1.009 | 889.633 | 18.076 | 7.419
2020-03-25 22:15:00 | 3.403 | 93.178 | 4.206 | 110.085 | 4.571 | 123.233 | 4.773 | 143.567 | -1.879 | 889.433 | 18.471 | 8.7492
2020-03-25 22:30:00 | 5.625 | 96.733 | 5.871 | 89.772 | 5.409 | 94.033 | 5.606 | 88.033 | -1.546 | 889.6 | 19.432 | 20.9603
2020-03-25 22:45:00 | 5.247 | 128.433 | 5.782 | 124.618 | 5.33 | 127.867 | 5.493 | 125.333 | -2.082 | 889.817 | 21.408 | 37.8192
2020-03-25 23:00:00 | 4.796 | 133.157 | 5.032 | 128.96 | 4.864 | 135.933 | 4.785 | 131.2 | -2.801 | 889.75 | 22.224 | 37.3261
2020-03-25 23:15:00 | 4.343 | 144.967 | 4.998 | 138.689 | 5.321 | 143.733 | 4.951 | 139.333 | -3.337 | 889.883 | 22.832 | 34.2024
2020-03-25 23:30:00 | 4.711 | 151.053 | 5.655 | 143.098 | 5.975 | 148.8 | 6.244 | 142.967 | -3.15 | 889.883 | 22.949 | 25.4468
2020-03-25 23:45:00 | 4.934 | 146.24 | 5.702 | 144.077 | 5.546 | 148.4 | 5.803 | 145.133 | -3.197 | 889.983 | 22.576 | 23.1019