## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-26 00:00:00 | 4.456 | 134.24 | 4.458 | 133.116 | 4.834 | 134.867 | 5.085 | 130.3 | -3.441 | 889.933 | 23.131 | 24.3817
2020-03-26 00:15:00 | 3.949 | 142.333 | 4.291 | 141.005 | 4.662 | 146.7 | 4.943 | 143.267 | -3.321 | 890.017 | 23.003 | 22.3182
2020-03-26 00:30:00 | 3.71 | 155.707 | 4.257 | 148.165 | 4.442 | 153.633 | 4.943 | 148.167 | -4.091 | 889.933 | 23.029 | 22.1278
2020-03-26 00:45:00 | 3.639 | 180.173 | 3.543 | 162.767 | 3.405 | 160.633 | 3.714 | 150.267 | -4.823 | 890.217 | 24.203 | 16.4454
2020-03-26 01:00:00 | 3.186 | 154.26 | 3.782 | 140.218 | 3.878 | 141.933 | 4.168 | 135.933 | -5.78 | 889.633 | 25.237 | 19.758
2020-03-26 01:15:00 | 4.848 | 144.75 | 5.078 | 139.994 | 5.409 | 144.9 | 5.84 | 140.933 | -4.48 | 889.317 | 24.368 | 13.8497
2020-03-26 01:30:00 | 2.975 | 143.473 | 3.306 | 138.517 | 3.62 | 142.567 | 4.021 | 135 | -4.743 | 889.75 | 23.627 | 18.4783
2020-03-26 01:45:00 | 0.629 | 169.133 | 0.263 | 178.916 | 0.766 | 180.5 | 1.492 | 160.933 | -4.985 | 889.8 | 24.715 | 23.0131
2020-03-26 02:00:00 | 1.231 | 159.633 | 1.533 | 146.034 | 2.903 | 149.933 | 3.535 | 142.4 | -5.102 | 889.65 | 25.632 | 24.7554
2020-03-26 02:15:00 | 4.039 | 147.113 | 4.232 | 136.469 | 4.012 | 141.633 | 3.826 | 137.133 | -5.558 | 889.85 | 26.064 | 21.3824
2020-03-26 02:30:00 | 4.22 | 143.633 | 4.515 | 137.721 | 4.68 | 141.633 | 4.824 | 137.333 | -5.319 | 890.2 | 25.173 | 20.5432
2020-03-26 02:45:00 | 3.813 | 155.58 | 4.607 | 143.461 | 4.912 | 147.967 | 5.103 | 142.633 | -6.037 | 889.833 | 25.515 | 25.4219
2020-03-26 03:00:00 | 4.582 | 153.133 | 5.549 | 141.836 | 5.616 | 144.1 | 5.934 | 140.733 | -5.997 | 889.633 | 25.776 | 28.9876
2020-03-26 03:15:00 | 4.639 | 155.173 | 5.556 | 144.266 | 5.369 | 146.433 | 5.584 | 143.833 | -5.819 | 889.517 | 25.989 | 33.4975
2020-03-26 03:30:00 | 4.752 | 144.933 | 5.278 | 137.533 | 4.903 | 141.533 | 4.82 | 135.067 | -6.512 | 889.75 | 27.163 | 43.098
2020-03-26 03:45:00 | 3.458 | 164.153 | 4.188 | 148.236 | 4.84 | 145.7 | 5.041 | 142.3 | -5.958 | 890.05 | 26.992 | 37.4
2020-03-26 04:00:00 | 4.952 | 120.343 | 5.195 | 118.035 | 5.756 | 125.033 | 6.248 | 122.467 | -5.469 | 889.7 | 26.741 | 17.8409
2020-03-26 04:15:00 | 2.986 | 153.507 | 3.074 | 146.398 | 3.658 | 149.033 | 4.55 | 145 | -6.084 | 889.917 | 27.109 | 11.7442
2020-03-26 04:30:00 | 2.946 | 177.427 | 2.774 | 155.521 | 3.408 | 145.967 | 3.457 | 135.5 | -6.806 | 889.583 | 27.925 | 8.077
2020-03-26 04:45:00 | 2.886 | 178.687 | 2.977 | 146.235 | 3.701 | 145.833 | 3.699 | 138.433 | -7.556 | 889.6 | 29.589 | 6.9422
2020-03-26 05:00:00 | 3.751 | 213.207 | 2.22 | 173.925 | 2.679 | 153.933 | 3.246 | 143.833 | -9.458 | 890 | 29.488 | 2.72
2020-03-26 05:15:00 | 4.788 | 212.213 | 2.213 | 202.836 | 1.957 | 187.567 | 2.171 | 168.067 | -9.754 | 889.767 | 32.315 | 0.28067
2020-03-26 05:30:00 | 5.761 | 212.467 | 2.356 | 208.033 | 2.179 | 199.033 | 2.538 | 175.033 | -10.366 | 889.8 | 33.296 | 0.51161
2020-03-26 05:45:00 | 5.424 | 219.2 | 3.141 | 228.883 | 3.324 | 230.1 | 3.691 | 222.867 | -9.324 | 889.967 | 32.624 | 3.1222
2020-03-26 06:00:00 | 5.724 | 214.68 | 4.193 | 235.914 | 3.761 | 241.733 | 3.492 | 230.767 | -10.128 | 889.667 | 32.709 | 3.0561
2020-03-26 06:15:00 | 5.076 | 220.133 | 4.473 | 245.275 | 3.784 | 255.933 | 3.392 | 252.5 | -10.349 | 890.033 | 33.936 | 3.1038
2020-03-26 06:30:00 | 5.305 | 211.26 | 4.712 | 234.584 | 4.321 | 252.567 | 3.675 | 251.4 | -10.306 | 890.017 | 34.245 | 5.2959
2020-03-26 06:45:00 | 6.401 | 215.993 | 6.206 | 229.796 | 5.399 | 238 | 4.416 | 238.5 | -10.853 | 889.517 | 35.787 | 8.1395
2020-03-26 07:00:00 | 5.878 | 212.933 | 5.275 | 223.918 | 4.902 | 232.2 | 4.644 | 229.833 | -10.266 | 889.933 | 35.275 | 4.5441
2020-03-26 07:15:00 | 5.802 | 219.3 | 4.348 | 229.06 | 4.03 | 234.733 | 3.66 | 230 | -10.149 | 889.717 | 35.083 | 1.9349
2020-03-26 07:30:00 | 5.584 | 214.467 | 4.646 | 230.748 | 4.132 | 241.033 | 3.814 | 240.967 | -10.316 | 889.85 | 35.44 | 1.6336
2020-03-26 07:45:00 | 5.244 | 217.1 | 4.467 | 231.702 | 4.034 | 243.167 | 3.65 | 241.633 | -10.399 | 889.633 | 36.213 | 0.56845
2020-03-26 08:00:00 | 5.18 | 217.573 | 3.559 | 234.623 | 2.903 | 246.533 | 2.293 | 243.067 | -9.608 | 889.517 | 35.147 | 0.24941
2020-03-26 08:15:00 | 5.665 | 213.233 | 4.56 | 233.44 | 3.809 | 243.867 | 3.118 | 240.4 | -9.241 | 889.933 | 33.819 | 1.3941
2020-03-26 08:30:00 | 5.143 | 219.233 | 4.652 | 236.93 | 3.966 | 245.067 | 3.146 | 236.867 | -8.391 | 889.5 | 33.328 | 0.90668
2020-03-26 08:45:00 | 3.912 | 222.327 | 4.028 | 248.506 | 3.262 | 258.433 | 2.614 | 257.683 | -6.708 | 889.733 | 30.869 | 0.78162
2020-03-26 09:00:00 | 3.351 | 228.5 | 3.766 | 238.202 | 3.055 | 248.9 | 2.291 | 250.6 | -4.985 | 889.617 | 28.384 | 0.16627
2020-03-26 09:15:00 | 2.481 | 240.193 | 2.298 | 251.096 | 2.025 | 257.733 | 2.006 | 254.717 | -2.831 | 889.883 | 25.547 | 0.27002
2020-03-26 09:30:00 | 1.176 | 287.947 | 0.823 | 298.075 | 0.766 | 309.333 | 1.01 | 272.3 | -1.793 | 889.633 | 22.693 | 0.22028
2020-03-26 09:45:00 | 1.471 | 27.453 | 0.54 | 29.31 | 0.647 | 3.933 | 1.506 | 255.133 | -2.263 | 890.167 | 21.608 | 0.23449
2020-03-26 10:00:00 | 1.847 | 72.415 | 1.226 | 61.145 | 1.204 | 65 | 1.748 | 62.667 | -1.888 | 889.852 | 21.339 | 0.28281
2020-03-26 10:15:00 | 2.633 | 75.398 | 2.228 | 74.872 | 2.393 | 82.133 | 2.709 | 88.967 | -1.988 | 889.617 | 21.589 | 0.43202
2020-03-26 10:30:00 | 0.985 | 155.93 | 0.33 | 128.486 | 1.406 | 125.333 | 2.15 | 107.867 | -1.932 | 889.967 | 21.264 | 0.6054
2020-03-26 10:45:00 | 3.027 | 126.013 | 2.543 | 114.941 | 3.091 | 108.1 | 3.537 | 103.4 | -1.586 | 889.533 | 20.133 | 0.57769
2020-03-26 11:00:00 | 2.343 | 117.76 | 2.074 | 115.621 | 2.543 | 120.833 | 2.969 | 111.2 | -1.132 | 889.233 | 18.779 | 2.217
2020-03-26 11:15:00 | 2.855 | 98.147 | 2.96 | 82.92 | 3.182 | 89.267 | 3.417 | 85.133 | -0.688 | 889.133 | 18.493 | 3.4285
2020-03-26 11:30:00 | 2.685 | 113.313 | 1.997 | 105.24 | 2.493 | 101.267 | 2.86 | 91.8 | -0.575 | 889.6 | 18.048 | 4.5483
2020-03-26 11:45:00 | 3.251 | 97.137 | 3.062 | 89.734 | 3.546 | 90.4 | 3.966 | 82.1 | -0.618 | 889.733 | 17.525 | 6.3894
2020-03-26 12:00:00 | 3.001 | 88.4 | 3.351 | 85.601 | 3.596 | 93.567 | 3.796 | 94.533 | 0.366 | 889.733 | 16.997 | 5.5282
2020-03-26 12:15:00 | 4.445 | 89.352 | 4.511 | 84.04 | 4.91 | 88.067 | 5.207 | 85.133 | 0.017 | 889.667 | 16.835 | 7.1575
2020-03-26 12:30:00 | 4.463 | 118.403 | 4.693 | 104.302 | 4.881 | 99.267 | 4.929 | 96 | 0.017 | 889.4 | 16.491 | 8.384
2020-03-26 12:45:00 | 4.129 | 85.065 | 4.223 | 81.391 | 4.501 | 87.167 | 4.704 | 84.667 | 0.332 | 889.467 | 16.075 | 6.6843
2020-03-26 13:00:00 | 3.768 | 106.33 | 3.862 | 98.609 | 3.896 | 99.233 | 3.958 | 94.4 | 0.183 | 889.4 | 15.421 | 4.635
2020-03-26 13:15:00 | 4.71 | 84.937 | 4.736 | 83.331 | 4.785 | 87.667 | 4.954 | 83.667 | 0.632 | 889.8 | 14.696 | 3.9088
2020-03-26 13:30:00 | 3.597 | 72.72 | 3.586 | 75.985 | 3.867 | 83.133 | 4.426 | 81.833 | 1.125 | 889.433 | 14.459 | 5.1701
2020-03-26 13:45:00 | 4.305 | 69.471 | 4.303 | 71.341 | 4.299 | 76.967 | 4.633 | 74.667 | 0.765 | 889.6 | 14.344 | 4.4403
2020-03-26 14:00:00 | 3.316 | 97.885 | 3.227 | 100.419 | 3.625 | 94.5 | 4.084 | 86.967 | 1.209 | 889.633 | 14.523 | 3.4647
2020-03-26 14:15:00 | 3.104 | 52.179 | 3.379 | 37.204 | 3.679 | 31.9 | 3.8 | 27.133 | 1.048 | 889.433 | 13.968 | 3.6381
2020-03-26 14:30:00 | 3.936 | 79.767 | 3.93 | 77.159 | 3.969 | 87.6 | 4.017 | 82.533 | 1.549 | 889.667 | 12.731 | 1.8794
2020-03-26 14:45:00 | 3.673 | 103.582 | 3.455 | 97.86 | 3.683 | 101.467 | 3.632 | 95 | 1.439 | 889.167 | 12.472 | 2.3314
2020-03-26 15:00:00 | 3.919 | 21.846 | 3.877 | 29.485 | 4.087 | 37.733 | 4.434 | 36 | 1.439 | 889.7 | 11.504 | 0.9884
2020-03-26 15:15:00 | 3.235 | 138.473 | 2.999 | 123.81 | 3.173 | 125.1 | 3.486 | 115.333 | 2.306 | 889.333 | 10.744 | 0.78304
2020-03-26 15:30:00 | 3.571 | 61.633 | 3.48 | 56.688 | 4.002 | 68.333 | 4.185 | 61.667 | 3.321 | 889.433 | 10.032 | 0.43913
2020-03-26 15:45:00 | 2.1 | 91.081 | 1.655 | 42.219 | 2.315 | 61.529 | 2.833 | 58.667 | 2.28 | 888.867 | 9.332 | 0.99906
2020-03-26 16:00:00 | 3.204 | 171.16 | 2.739 | 161.92 | 2.971 | 160.867 | 3.03 | 154.067 | 2.364 | 889.2 | 9.547 | 0.54074
2020-03-26 16:15:00 | 3.509 | 88.727 | 3.354 | 84.73 | 3.47 | 90.833 | 3.574 | 83.767 | 3.016 | 889.067 | 8.995 | 0.42279
2020-03-26 16:30:00 | 2.559 | 148.76 | 2.305 | 139.801 | 2.642 | 138.367 | 2.876 | 132.9 | 2.838 | 888.867 | 8.54 | 0.74752
2020-03-26 16:45:00 | 4.108 | 61.167 | 4.476 | 59.622 | 4.582 | 67.433 | 4.449 | 65.7 | 3.104 | 888.8 | 7.751 | 1.2684
2020-03-26 17:00:00 | 1.157 | 169.167 | 1.229 | 133.589 | 1.873 | 29.467 | 2.053 | 31.8 | 3.337 | 889.133 | 7.815 | 0.61535
2020-03-26 17:15:00 | 1.438 | 56.53 | 0.903 | 47.699 | 1.244 | 79.767 | 1.905 | 46.312 | 2.993 | 888.8 | 7.751 | 0.49669
2020-03-26 17:30:00 | 1.986 | 85.1 | 1.623 | 76.382 | 2.114 | 83.667 | 2.435 | 72.567 | 3.188 | 889.267 | 8.087 | 0.44766
2020-03-26 17:45:00 | 1.355 | 121.533 | 0.81 | 61.89 | 1.297 | 58.175 | 1.418 | 41.3 | 3.372 | 889.067 | 8.153 | 1.0275
2020-03-26 18:00:00 | 4.087 | 45.533 | 4.184 | 42.368 | 4.615 | 48.067 | 4.497 | 42.933 | 3.605 | 888.733 | 7.919 | 2.9865
2020-03-26 18:15:00 | 4.436 | 82.867 | 4.242 | 77.127 | 4.607 | 80.667 | 4.832 | 74.767 | 3.388 | 888.867 | 8.021 | 3.0895
2020-03-26 18:30:00 | 3.48 | 47.2 | 3.536 | 44.919 | 3.785 | 51.3 | 4.19 | 55.333 | 3.471 | 888.8 | 7.443 | 5.4131
2020-03-26 18:45:00 | 4.529 | 61.355 | 4.386 | 54.54 | 4.356 | 56.4 | 4.402 | 53.767 | 4.142 | 889.067 | 7.572 | 5.5964
2020-03-26 19:00:00 | 3.019 | 60.85 | 2.867 | 57.912 | 3.102 | 65.633 | 3.294 | 57.4 | 4.046 | 889 | 7.395 | 7.1945
2020-03-26 19:15:00 | 4.887 | 57.433 | 4.421 | 53.134 | 4.466 | 63 | 4.612 | 58.767 | 3.622 | 889 | 7.164 | 7.8162
2020-03-26 19:30:00 | 4.526 | 71.867 | 4.442 | 71.13 | 4.703 | 77.5 | 4.699 | 72.9 | 3.422 | 889.2 | 7.224 | 9.3056
2020-03-26 19:45:00 | 4.608 | 71.5 | 4.823 | 65.599 | 5.255 | 70.533 | 5.457 | 65.4 | 3.354 | 889 | 7.296 | 9.987
2020-03-26 20:00:00 | 4.377 | 73.347 | 4.735 | 68.037 | 4.915 | 71.433 | 4.955 | 67.367 | 2.385 | 888.667 | 7.833 | 9.6154
2020-03-26 20:15:00 | 4.089 | 70.287 | 4.364 | 64.798 | 4.336 | 66.2 | 4.294 | 63.733 | 2.197 | 888.6 | 8.424 | 9.3027
2020-03-26 20:30:00 | 3.675 | 70.338 | 4.406 | 66.8 | 4.734 | 71.033 | 4.856 | 67 | 1.569 | 888.933 | 8.739 | 6.8882
2020-03-26 20:45:00 | 3.27 | 67.593 | 3.738 | 63.538 | 3.819 | 67.1 | 3.925 | 63.533 | 1.416 | 888.933 | 9.067 | 4.554
2020-03-26 21:00:00 | 2.439 | 82.237 | 2.668 | 75.478 | 3.098 | 78.4 | 3.512 | 72.733 | 0.915 | 889.2 | 8.752 | 1.4908
2020-03-26 21:15:00 | 1.397 | 93.8 | 2.387 | 73.819 | 2.726 | 76.067 | 2.955 | 72.8 | 0.465 | 888.867 | 8.953 | 0.83847
2020-03-26 21:30:00 | 1.064 | 111.767 | 1.29 | 85.385 | 1.85 | 91.8 | 2.274 | 79.267 | 0.532 | 889.4 | 9.211 | 0.29915
2020-03-26 21:45:00 | 1.16 | 101.837 | 1.673 | 82.087 | 2.263 | 82.367 | 2.734 | 80.533 | 0.183 | 888.867 | 9.372 | 0.46258
2020-03-26 22:00:00 | 0.563 | 131.007 | 0.84 | 90.45 | 1.561 | 93.333 | 2.019 | 79 | 0.033 | 889 | 9.432 | 0.36168
2020-03-26 22:15:00 | 1.34 | 135.933 | 1.32 | 99.8 | 1.327 | 97.5 | 1.757 | 85.067 | 0.1 | 889.067 | 9.252 | 0.98271
2020-03-26 22:30:00 | 1.38 | 143.613 | 1.5 | 100.609 | 1.449 | 95.1 | 1.864 | 90.533 | 0.1 | 888.667 | 9.428 | 1.0232
2020-03-26 22:45:00 | 1.177 | 140.867 | 1.179 | 95.45 | 1.337 | 92.767 | 1.438 | 99.833 | -0.193 | 888.933 | 9.656 | 0.9955
2020-03-26 23:00:00 | 1.425 | 171.053 | 1.306 | 103.682 | 2.054 | 105.867 | 2.261 | 103.3 | -0.882 | 888.933 | 10.009 | 1.1092
2020-03-26 23:15:00 | 1.694 | 158.647 | 1.753 | 115.79 | 2.464 | 108.867 | 2.946 | 105.833 | -1.032 | 889.167 | 10.448 | 2.7669
2020-03-26 23:30:00 | 1.947 | 184.067 | 2.08 | 128.133 | 3.167 | 120.8 | 3.558 | 113.167 | -1.523 | 889.467 | 10.453 | 3.8904
2020-03-26 23:45:00 | 2.444 | 204.84 | 1.881 | 160.967 | 2.102 | 142.367 | 2.294 | 125.633 | -2.114 | 889.2 | 10.883 | 2.5182