## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-27 00:00:00 | 3.56 | 211.86 | 2.26 | 173.633 | 2.712 | 158.8 | 2.724 | 137.633 | -1.902 | 889.267 | 11.035 | 0.97135
2020-03-27 00:15:00 | 4.73 | 218.073 | 2.346 | 191.802 | 2.14 | 174.867 | 2.711 | 155.933 | -2.298 | 889.733 | 10.979 | 0.21033
2020-03-27 00:30:00 | 4.692 | 220.62 | 2.502 | 198.145 | 2.056 | 182.167 | 2.316 | 160.7 | -2.39 | 889.433 | 11 | 0.30981
2020-03-27 00:45:00 | 5.256 | 226.573 | 2.959 | 214.651 | 2.052 | 204.633 | 1.771 | 168.8 | -5.604 | 889.333 | 11.36 | 0.26291
2020-03-27 01:00:00 | 5.775 | 223.9 | 3.06 | 217.907 | 2.448 | 207.7 | 2.239 | 189.133 | -6.727 | 889.6 | 12.864 | 0.25722
2020-03-27 01:15:00 | 4.871 | 233.633 | 2.799 | 219.915 | 2.1 | 210.9 | 1.986 | 192.1 | -6.262 | 889.167 | 13.181 | 0.24301
2020-03-27 01:30:00 | 3.941 | 235.967 | 0.963 | 224.607 | 0 | 210.2 | 0.815 | 192.033 | -5.018 | 889.2 | 13.779 | 0.23449
2020-03-27 01:45:00 | 4.361 | 229.993 | 0.495 | 227.085 | 0 | 210 | 0 | 191.967 | -4.483 | 889.267 | 13.381 | 0.23875
2020-03-27 02:00:00 | 3.413 | 233.873 | 0 | 227.585 | 0 | 210 | 0.564 | 191.9 | -3.18 | 889.467 | 13.72 | 0.23591
2020-03-27 02:15:00 | 4.695 | 225.913 | 0 | 228.469 | 0 | 210 | 0.06 | 192 | -4.046 | 889.533 | 13.363 | 0.23591
2020-03-27 02:30:00 | 4.741 | 227.967 | 1.678 | 234.448 | 0 | 209.867 | 0 | 192 | -5.285 | 889.5 | 14.736 | 0.23307
2020-03-27 02:45:00 | 5.455 | 227.7 | 1.7 | 238.701 | 0 | 221 | 0 | 192 | -7.091 | 889.333 | 14.464 | 0.22596
2020-03-27 03:00:00 | 6.147 | 220.64 | 2.801 | 234.212 | 1.354 | 244 | 0.518 | 193 | -7.803 | 889.3 | 15.677 | 0.22738
2020-03-27 03:15:00 | 5.742 | 222.287 | 1.836 | 235.531 | 0.96 | 244.1 | 0.087 | 193.067 | -8.314 | 889.333 | 16.899 | 0.22738
2020-03-27 03:30:00 | 6.163 | 223.2 | 2.732 | 237.026 | 1.453 | 243.9 | 0.245 | 193.067 | -8.591 | 889.433 | 17.043 | 0.22454
2020-03-27 03:45:00 | 3.916 | 230.967 | 0.373 | 259.043 | 0.057 | 244.967 | 0.463 | 193 | -5.7 | 889.133 | 18.205 | 0.22454
2020-03-27 04:00:00 | 3.008 | 230.787 | 0.087 | 296.383 | 0.523 | 290.933 | 1.408 | 320.767 | -4.364 | 889.2 | 16.283 | 0.2757
2020-03-27 04:15:00 | 2.318 | 230.153 | 0.03 | 356.632 | 1.633 | 32.867 | 2.404 | 26.9 | -4.463 | 889.967 | 16.151 | 0.28138
2020-03-27 04:30:00 | 3.567 | 229.16 | 0 | 325.486 | 0.716 | 22.467 | 2.258 | 31.033 | -4.916 | 889.533 | 15.961 | 0.26362
2020-03-27 04:45:00 | 3.894 | 229.573 | 0.273 | 257.658 | 0 | 18.6 | 1.603 | 45 | -4.325 | 889.467 | 16.364 | 0.25012
2020-03-27 05:00:00 | 2.8 | 225.28 | 0 | 259.022 | 0.707 | 83.2 | 2.33 | 87.5 | -4.709 | 889.5 | 16.624 | 0.22099
2020-03-27 05:15:00 | 2.118 | 230.773 | 0 | 258.847 | 0.473 | 94.5 | 2.438 | 95.133 | -3.977 | 889.067 | 16.763 | 0.079583
2020-03-27 05:30:00 | 1.55 | 231.64 | 0 | 258.969 | 1.653 | 96.267 | 3.053 | 98.333 | -3.826 | 889.233 | 17.267 | 0.14069
2020-03-27 05:45:00 | 2.744 | 223.48 | 0.033 | 176.012 | 1.334 | 128.467 | 2.472 | 111.867 | -3.88 | 889.4 | 17.285 | 0.2757
2020-03-27 06:00:00 | 2.327 | 224.64 | 0 | 164.504 | 0.487 | 125.133 | 2.162 | 107.667 | -4.424 | 889.767 | 17.603 | 0.24728
2020-03-27 06:15:00 | 1.553 | 230.967 | 0 | 109.269 | 1.367 | 110.033 | 2.539 | 108 | -3.806 | 889.333 | 17.707 | 0.20962
2020-03-27 06:30:00 | 1.859 | 221.953 | 0 | 109.255 | 0.48 | 110 | 2.079 | 106 | -4.249 | 889.767 | 18.176 | 0.21885
2020-03-27 06:45:00 | 2.048 | 226.86 | 0 | 109.208 | 0.417 | 110 | 2.173 | 96.3 | -4.518 | 889.8 | 18.133 | 0.25296
2020-03-27 07:00:00 | 2.015 | 240.973 | 0 | 109.244 | 0 | 110 | 1.79 | 93.033 | -4.175 | 889.5 | 18.536 | 0.23022
2020-03-27 07:15:00 | 3.231 | 238.86 | 0 | 307.199 | 0 | 110 | 1.603 | 86.1 | -5.697 | 889.3 | 19.019 | 0.23733
2020-03-27 07:30:00 | 3.905 | 231.433 | 0.063 | 274.082 | 0 | 110 | 0.611 | 86.3 | -4.985 | 889.6 | 19.191 | 0.23875
2020-03-27 07:45:00 | 4.363 | 224.7 | 0.154 | 224.087 | 0.097 | 119.067 | 1.494 | 110.267 | -5.452 | 889.733 | 19.768 | 0.2487
2020-03-27 08:00:00 | 5.097 | 224.167 | 0.729 | 214.9 | 0.46 | 157.033 | 2.138 | 121.1 | -5.219 | 889.267 | 20.357 | 0.24159
2020-03-27 08:15:00 | 4.184 | 229.227 | 1.578 | 223.216 | 0.44 | 217.067 | 0.504 | 163.5 | -5.181 | 889.667 | 21.408 | 0.22738
2020-03-27 08:30:00 | 2.496 | 241.34 | 0.027 | 238.497 | 0 | 225.9 | 0.5 | 164.867 | -4.209 | 889.767 | 20.723 | 0.2217
2020-03-27 08:45:00 | 2.915 | 231.7 | 0 | 238.604 | 0 | 208.367 | 1.804 | 127 | -3.002 | 889.367 | 19.176 | 0.22596
2020-03-27 09:00:00 | 2.698 | 225.093 | 0 | 236.7 | 0.17 | 125 | 2.016 | 120.033 | -2.744 | 889.633 | 18.547 | 0.24159
2020-03-27 09:15:00 | 2.074 | 235.2 | 0 | 234.519 | 0 | 124.9 | 1.885 | 120.4 | -0.538 | 889.367 | 17.16 | 0.24159
2020-03-27 09:30:00 | 2.099 | 231.1 | 0.87 | 214.623 | 0.71 | 230.3 | 0.705 | 129.733 | 0.1 | 889.5 | 15.917 | 0.2217
2020-03-27 09:45:00 | 0.296 | 250 | 0 | 233.546 | 0.03 | 202.867 | 0.487 | 190.333 | 1.669 | 889.8 | 14.643 | 0.21601
2020-03-27 10:00:00 | 0.406 | 149.467 | 0.073 | 119.666 | 0.06 | 118.067 | 0.651 | 159.933 | 3.004 | 889.433 | 12.749 | 0.25651
2020-03-27 10:15:00 | 2.746 | 70.377 | 2.461 | 66.932 | 2.411 | 73.567 | 2.489 | 68.267 | 1.189 | 889.667 | 12.8 | 1.3877
2020-03-27 10:30:00 | 4.096 | 83.793 | 4.315 | 80.134 | 4.586 | 82.533 | 4.429 | 79.433 | 1.232 | 889.333 | 13.005 | 5.7641
2020-03-27 10:45:00 | 4.678 | 97.43 | 4.311 | 95.451 | 4.495 | 98.567 | 4.794 | 93.3 | 1.236 | 889.733 | 13.051 | 11.514
2020-03-27 11:00:00 | 4.911 | 104.403 | 4.593 | 96.06 | 4.391 | 96.533 | 5.118 | 93.6 | 1.479 | 889.6 | 13.048 | 13.7104
2020-03-27 11:15:00 | 4.964 | 95.253 | 4.878 | 84.169 | 4.943 | 93.5 | 5.155 | 90.033 | 2.28 | 889.767 | 12.944 | 15.1336
2020-03-27 11:30:00 | 5.392 | 105.017 | 5.078 | 100.468 | 4.941 | 101.7 | 5.074 | 93.667 | 2.373 | 889.767 | 12.533 | 12.1073
2020-03-27 11:45:00 | 3.445 | 87.96 | 3.379 | 85.146 | 3.892 | 90.8 | 3.956 | 85.1 | 3.032 | 889.9 | 11.808 | 10.9925
2020-03-27 12:00:00 | 4.977 | 84.3 | 4.734 | 80.214 | 4.92 | 92.033 | 5.081 | 86.733 | 3.589 | 889.867 | 10.832 | 17.3094
2020-03-27 12:15:00 | 5.043 | 95.367 | 4.553 | 90.012 | 4.733 | 92.8 | 4.579 | 88.2 | 3.572 | 889.667 | 10.595 | 19.8589
2020-03-27 12:30:00 | 5.368 | 66.467 | 5.448 | 67.052 | 6.008 | 71.167 | 6.239 | 65.2 | 3.471 | 889.3 | 10.341 | 22.0936
2020-03-27 12:45:00 | 5.966 | 84.267 | 5.978 | 78.72 | 6.238 | 82.567 | 6.498 | 78 | 3.655 | 889.467 | 10.369 | 21.2417
2020-03-27 13:00:00 | 6.47 | 76.487 | 6.601 | 69.552 | 6.833 | 76.2 | 6.874 | 74.367 | 3.992 | 888.867 | 9.973 | 15.4825
2020-03-27 13:15:00 | 4.33 | 92.707 | 4.272 | 90.317 | 4.476 | 89.267 | 4.758 | 84.2 | 4.262 | 889.333 | 9.58 | 12.9678
2020-03-27 13:30:00 | 4.367 | 92.602 | 4.748 | 93.491 | 5.262 | 99.2 | 5.55 | 93.167 | 4.719 | 889.133 | 9.333 | 13.4411
2020-03-27 13:45:00 | 5.649 | 106.07 | 5.922 | 102.476 | 6.029 | 104.833 | 6.254 | 100.8 | 4.612 | 888.867 | 9.124 | 14.2113
2020-03-27 14:00:00 | 4.881 | 75.392 | 4.982 | 71.166 | 5.042 | 72.567 | 5.066 | 70.667 | 5.08 | 889 | 8.872 | 13.7424
2020-03-27 14:15:00 | 4.738 | 70.577 | 5.074 | 64.234 | 5.194 | 70.833 | 5.289 | 68.967 | 5.978 | 889 | 8.436 | 14.4494
2020-03-27 14:30:00 | 5.567 | 85.275 | 5.087 | 81.279 | 5.368 | 87.067 | 5.661 | 80.067 | 5.339 | 888.733 | 8.384 | 14.8565
2020-03-27 14:45:00 | 5.634 | 74.413 | 5.384 | 71.783 | 5.619 | 75.433 | 5.857 | 73.567 | 5.928 | 888.933 | 8.099 | 13.2407
2020-03-27 15:00:00 | 5.783 | 90.263 | 5.797 | 83.949 | 5.756 | 89.033 | 5.914 | 83 | 6.054 | 889.267 | 7.941 | 11.4366
2020-03-27 15:15:00 | 5.451 | 85.058 | 5.876 | 75.954 | 6.227 | 80.667 | 6.234 | 76.4 | 6.198 | 889.2 | 7.624 | 12.2068
2020-03-27 15:30:00 | 3.155 | 85.133 | 2.898 | 76.78 | 3.171 | 77.833 | 3.455 | 75.767 | 6.144 | 889 | 7.74 | 10.6443
2020-03-27 15:45:00 | 4.247 | 76.819 | 4.079 | 79.217 | 4.183 | 90.767 | 4.336 | 93.033 | 6.452 | 889.2 | 7.657 | 9.3312
2020-03-27 16:00:00 | 4.524 | 66.482 | 4.533 | 63.825 | 4.719 | 70.8 | 4.853 | 69.967 | 6.393 | 889.4 | 7.767 | 9.2104
2020-03-27 16:15:00 | 4.79 | 84.797 | 4.72 | 77.406 | 5.02 | 78.275 | 5.516 | 76.067 | 6.532 | 888.733 | 7.752 | 8.1893
2020-03-27 16:30:00 | 5.413 | 63.755 | 5.66 | 59.621 | 5.757 | 67.567 | 5.309 | 70.233 | 6.688 | 889.2 | 7.391 | 8.5026
2020-03-27 16:45:00 | 4.359 | 81.338 | 4.55 | 76.76 | 4.686 | 78 | 4.727 | 71.9 | 6.767 | 889.4 | 7.663 | 5.951
2020-03-27 17:00:00 | 2.83 | 68.988 | 2.919 | 60.416 | 3.258 | 68.567 | 3.586 | 68.367 | 7.122 | 888.733 | 7.693 | 4.019
2020-03-27 17:15:00 | 3.87 | 84.487 | 3.317 | 82.131 | 3.67 | 89.933 | 3.839 | 83 | 7.086 | 888.933 | 7.84 | 3.6282
2020-03-27 17:30:00 | 4.246 | 55.731 | 4.331 | 50.331 | 4.468 | 56.2 | 4.486 | 53.1 | 6.899 | 889.067 | 7.884 | 2.8224
2020-03-27 17:45:00 | 5.34 | 32.082 | 5.327 | 28.685 | 5.357 | 35.8 | 5.42 | 32.567 | 6.972 | 888.867 | 7.855 | 4.3558
2020-03-27 18:00:00 | 4.638 | 43.007 | 4.277 | 38.845 | 4.583 | 45.967 | 4.76 | 46.5 | 7.039 | 888.867 | 8.256 | 4.6265
2020-03-27 18:15:00 | 4.361 | 70.934 | 4.501 | 62.672 | 4.425 | 59.8 | 4.482 | 52.2 | 7.022 | 888.933 | 7.9 | 4.5292
2020-03-27 18:30:00 | 4.644 | 44.593 | 4.7 | 43.944 | 4.91 | 47.633 | 4.999 | 46.133 | 7.072 | 889.133 | 7.607 | 4.726
2020-03-27 18:45:00 | 3.628 | 34.246 | 3.437 | 36.732 | 3.743 | 41.7 | 3.808 | 42.8 | 7.559 | 889.067 | 7.312 | 4.5405
2020-03-27 19:00:00 | 3.599 | 51.25 | 3.404 | 46.946 | 3.932 | 49.9 | 4.19 | 47.133 | 7.306 | 888.933 | 7.061 | 4.6734
2020-03-27 19:15:00 | 4.154 | 70.093 | 4.21 | 64.956 | 4.509 | 68.8 | 4.636 | 64.833 | 7.206 | 889.2 | 7.199 | 4.0751
2020-03-27 19:30:00 | 3.458 | 53.945 | 3.196 | 46.032 | 3.377 | 49.567 | 3.316 | 47.233 | 6.926 | 889.133 | 7.452 | 3.0284
2020-03-27 19:45:00 | 3.309 | 53.182 | 3.062 | 50.908 | 3.383 | 57.033 | 3.35 | 53.467 | 6.75 | 888.933 | 7.505 | 2.0479
2020-03-27 20:00:00 | 3.212 | 38.598 | 3.057 | 41.465 | 3.009 | 51.5 | 2.942 | 50.9 | 5.954 | 889.133 | 8.111 | 2.1232
2020-03-27 20:15:00 | 2.713 | 52.518 | 2.893 | 45.357 | 3.294 | 49.433 | 3.633 | 43.033 | 4.955 | 888.8 | 9.167 | 1.5334
2020-03-27 20:30:00 | 2.137 | 53.423 | 1.931 | 51.728 | 2.02 | 54.667 | 2.414 | 52.6 | 4.881 | 889 | 9.573 | 0.83705
2020-03-27 20:45:00 | 1.885 | 49.773 | 1.387 | 51.01 | 1.67 | 55.833 | 2.17 | 62.3 | 4.616 | 888.867 | 9.561 | 0.955
2020-03-27 21:00:00 | 2.168 | 52.863 | 1.851 | 50.681 | 2.23 | 56.933 | 2.316 | 45.767 | 4.414 | 889.067 | 9.665 | 0.67646
2020-03-27 21:15:00 | 1.827 | 42.025 | 2.179 | 45.727 | 2.135 | 48.433 | 1.791 | 56.9 | 4.271 | 889.467 | 9.612 | 0.36807
2020-03-27 21:30:00 | 0.421 | 67.1 | 1.857 | 60.847 | 2.419 | 68.433 | 2.773 | 62.867 | 3.438 | 889 | 9.619 | 0.1343
2020-03-27 21:45:00 | 0.22 | 63.107 | 1.149 | 63.834 | 1.709 | 72 | 2.152 | 63 | 2.541 | 888.933 | 10.219 | 0.28636
2020-03-27 22:00:00 | 0.611 | 166.54 | 0 | 65.287 | 0.78 | 72 | 1.689 | 63 | 2.131 | 889.633 | 10.477 | 0.2217
2020-03-27 22:15:00 | 1.504 | 192.067 | 0 | 65.262 | 0.15 | 72 | 1.445 | 63.067 | 2.32 | 889.6 | 10.297 | 0.23164
2020-03-27 22:30:00 | 1.533 | 193.307 | 0 | 67.166 | 0.921 | 73.667 | 1.549 | 63.067 | 2.392 | 888.967 | 10.365 | 0.22312
2020-03-27 22:45:00 | 2.511 | 199.613 | 0 | 106.186 | 0.897 | 94 | 1.881 | 83.533 | 2.164 | 889.1 | 10.099 | 0.2487
2020-03-27 23:00:00 | 3.118 | 207.84 | 0.989 | 161.091 | 1.701 | 143.833 | 1.863 | 98.9 | 2.302 | 888.967 | 9.948 | 0.25865
2020-03-27 23:15:00 | 3.514 | 210.173 | 1.838 | 173.473 | 2.297 | 159.067 | 2.492 | 146.9 | 2.561 | 889 | 9.868 | 0.24017
2020-03-27 23:30:00 | 5.672 | 216.573 | 3.023 | 202.472 | 2.714 | 185.3 | 2.652 | 167.867 | 1.322 | 889.167 | 10.212 | 0.23875
2020-03-27 23:45:00 | 4.711 | 217.12 | 2.84 | 200.479 | 2.506 | 186 | 2.698 | 169.067 | 1.97 | 889.6 | 10.531 | 0.26433