## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-28 00:00:00 | 6.106 | 221.593 | 3.263 | 212.472 | 2.742 | 189.333 | 2.629 | 175.667 | -1.792 | 889.267 | 10.885 | 0.20535
2020-03-28 00:15:00 | 6.812 | 217.76 | 4.38 | 215.824 | 3.212 | 204.333 | 3.159 | 185.533 | -2.667 | 889.333 | 12.179 | 0.41213
2020-03-28 00:30:00 | 6.598 | 216.467 | 5.814 | 223.737 | 4.245 | 220.667 | 3.422 | 199 | -3.221 | 889.5 | 12.848 | 2.0756
2020-03-28 00:45:00 | 6.896 | 214.3 | 5.381 | 224.772 | 4.552 | 222.1 | 3.701 | 210.1 | -3.304 | 889.7 | 13.445 | 2.5765
2020-03-28 01:00:00 | 6.657 | 218.4 | 5.283 | 228.488 | 4.49 | 229.133 | 3.696 | 219.8 | -3.371 | 889.467 | 13.464 | 4.8617
2020-03-28 01:15:00 | 6.666 | 217.6 | 5.344 | 231.036 | 4.665 | 233.7 | 3.494 | 226 | -3.338 | 889.633 | 13.488 | 5.7243
2020-03-28 01:30:00 | 6.671 | 219.033 | 5.933 | 227.712 | 5.048 | 234.267 | 4.481 | 230.067 | -3.354 | 889.6 | 13.499 | 5.19
2020-03-28 01:45:00 | 6.732 | 217.767 | 5.423 | 225.569 | 4.616 | 233.467 | 3.885 | 231 | -3.572 | 889.667 | 13.715 | 3.6509
2020-03-28 02:00:00 | 6.75 | 217.5 | 5.641 | 230.308 | 4.918 | 239.433 | 4.03 | 235.2 | -3.555 | 889.133 | 13.979 | 6.1478
2020-03-28 02:15:00 | 6.812 | 215.1 | 5.851 | 226.56 | 5.263 | 233.867 | 4.503 | 232.533 | -3.84 | 889.667 | 14.173 | 7.0261
2020-03-28 02:30:00 | 6.868 | 215.98 | 5.35 | 223.572 | 4.6 | 231.9 | 3.835 | 231 | -3.896 | 889.433 | 14.219 | 3.9245
2020-03-28 02:45:00 | 6.423 | 221.033 | 4.395 | 222.8 | 3.275 | 230.867 | 2.551 | 233.367 | -3.857 | 889.767 | 14.597 | 0.90313
2020-03-28 03:00:00 | 7.361 | 218.333 | 4.061 | 223.943 | 3.382 | 230.867 | 2.721 | 236.9 | -3.672 | 889.767 | 14.579 | 1.5881
2020-03-28 03:15:00 | 7.14 | 216.76 | 5.53 | 224.17 | 4.204 | 229.733 | 3.074 | 230 | -4.054 | 889.7 | 15.467 | 3.2487
2020-03-28 03:30:00 | 7.163 | 215.987 | 5.87 | 219.038 | 4.347 | 225.467 | 3.125 | 223.4 | -4.331 | 889.633 | 16.168 | 2.3051
2020-03-28 03:45:00 | 7.075 | 215.673 | 6.33 | 220.898 | 4.658 | 225.267 | 3.32 | 219 | -3.961 | 889.333 | 16.603 | 2.3541
2020-03-28 04:00:00 | 6.867 | 217.8 | 5.722 | 226.802 | 4.181 | 233.5 | 2.748 | 219.967 | -4.221 | 889.4 | 17.243 | 3.1919
2020-03-28 04:15:00 | 7.314 | 216.2 | 6.221 | 223.694 | 4.931 | 230.1 | 3.738 | 227.3 | -3.79 | 889.4 | 17.659 | 5.3342
2020-03-28 04:30:00 | 7.514 | 216.273 | 5.837 | 224.844 | 4.765 | 230.067 | 3.266 | 223.9 | -3.809 | 889.633 | 18.464 | 4.9747
2020-03-28 04:45:00 | 7.574 | 210.84 | 5.763 | 223.966 | 4.707 | 230.867 | 3.699 | 227 | -4.175 | 889.267 | 19.24 | 6.0562
2020-03-28 05:00:00 | 7.233 | 217.42 | 5.202 | 223.59 | 4.629 | 228.233 | 3.705 | 223 | -4.364 | 889.867 | 19.957 | 6.8612
2020-03-28 05:15:00 | 7.414 | 215.667 | 5.718 | 227.767 | 4.757 | 234.167 | 3.91 | 226.933 | -4.952 | 889.767 | 21.179 | 7.7686
2020-03-28 05:30:00 | 7.544 | 215.733 | 5.673 | 228.342 | 4.92 | 235 | 4.103 | 231 | -4.885 | 889.717 | 22 | 7.0112
2020-03-28 05:45:00 | 7.294 | 214.033 | 5.888 | 227.095 | 4.976 | 234.767 | 3.93 | 231.067 | -5.135 | 889.633 | 22.72 | 7.424
2020-03-28 06:00:00 | 7.154 | 215.733 | 6.011 | 228.89 | 5.092 | 235.667 | 4.192 | 232.467 | -5.235 | 889.65 | 23.525 | 8.46
2020-03-28 06:15:00 | 6.408 | 208.333 | 6.323 | 230.343 | 5.436 | 238.667 | 4.3 | 235.967 | -5.252 | 889.75 | 24.117 | 9.7191
2020-03-28 06:30:00 | 7.143 | 215.667 | 5.742 | 229.477 | 4.935 | 237.867 | 3.986 | 236.733 | -5.385 | 890.033 | 24.496 | 7.3807
2020-03-28 06:45:00 | 7.157 | 213.133 | 7.093 | 217.326 | 5.983 | 223.6 | 4.502 | 224.767 | -5.302 | 889.767 | 25.173 | 9.2793
2020-03-28 07:00:00 | 5.849 | 208.533 | 7.026 | 212.537 | 6.139 | 215.6 | 5.327 | 213 | -5.269 | 889.733 | 25.995 | 9.6609
2020-03-28 07:15:00 | 5.848 | 208.1 | 7.211 | 215.626 | 6.879 | 218.267 | 6.209 | 213.3 | -5.369 | 889.717 | 27.045 | 11.7684
2020-03-28 07:30:00 | 7.125 | 210.433 | 6.866 | 215.766 | 6.187 | 219.833 | 5.492 | 215.167 | -4.885 | 889.633 | 27.595 | 11.6448
2020-03-28 07:45:00 | 6.532 | 208.967 | 7.129 | 217.284 | 6.622 | 220.733 | 5.406 | 217 | -4.852 | 889.967 | 28 | 11.1666
2020-03-28 08:00:00 | 6.675 | 210.253 | 7.237 | 215.239 | 6.911 | 221.533 | 5.94 | 217.933 | -3.933 | 889.5 | 27.621 | 11.4167
2020-03-28 08:15:00 | 6.017 | 210.227 | 6.985 | 208.881 | 6.741 | 213.267 | 6.306 | 212.9 | -3.043 | 889.9 | 26.715 | 13.0403
2020-03-28 08:30:00 | 5.536 | 209.407 | 6.437 | 205.482 | 6.154 | 209.667 | 5.843 | 204.667 | -2.381 | 889.167 | 26.56 | 12.3553
2020-03-28 08:45:00 | 4.013 | 205.533 | 5.153 | 203.338 | 6.754 | 213.033 | 6.478 | 211.933 | -0.638 | 889.367 | 25.12 | 10.6862
2020-03-28 09:00:00 | 3.505 | 208.72 | 4.373 | 209.363 | 6.162 | 213.367 | 6.07 | 212 | 1.432 | 889.383 | 23.275 | 9.0185
2020-03-28 09:15:00 | 3.998 | 209.753 | 4.371 | 207.512 | 5.668 | 212.133 | 5.801 | 212 | 3.049 | 890.083 | 21.387 | 7.2222
2020-03-28 09:30:00 | 4.357 | 209.833 | 4.102 | 210.425 | 4.347 | 215.367 | 4.63 | 211.6 | 4.322 | 889.5 | 20.093 | 4.019
2020-03-28 09:45:00 | 3.77 | 216.913 | 3.712 | 216.611 | 4.049 | 217.933 | 4.113 | 214.2 | 5.24 | 889.2 | 18.648 | 2.5538
2020-03-28 10:00:00 | 3.311 | 225.507 | 3.127 | 224.901 | 3.439 | 228.633 | 3.48 | 223.267 | 6.297 | 889.433 | 16.915 | 1.1774
2020-03-28 10:15:00 | 2.284 | 243.86 | 2.221 | 242.015 | 2.628 | 245.117 | 2.704 | 235.317 | 7.439 | 889.4 | 14.999 | 0.21885
2020-03-28 10:30:00 | 1.812 | 250.607 | 1.213 | 249.318 | 1.614 | 254.667 | 1.946 | 247.1 | 8.559 | 889.567 | 13.157 | 0.29418
2020-03-28 10:45:00 | 0.422 | 274.84 | 0.027 | 299.238 | 0.083 | 278.033 | 0.887 | 318.167 | 7.472 | 889.7 | 11.348 | 0.20749
2020-03-28 11:00:00 | 0.203 | 152.216 | 0.266 | 147.875 | 0.113 | 231.833 | 0.232 | 309.2 | 10.507 | 890.033 | 11.483 | 0.2018
2020-03-28 11:15:00 | 0.292 | 80.397 | 0 | 79.343 | 0.356 | 84.067 | 0.742 | 96.433 | 8.928 | 889.733 | 11.256 | 0.20606
2020-03-28 11:30:00 | 1.012 | 272.507 | 0.4 | 299.484 | 0.826 | 281.767 | 1.247 | 288.05 | 7.983 | 889.633 | 11.84 | 0.21104
2020-03-28 11:45:00 | 1.135 | 172.881 | 0.497 | 224.91 | 1.002 | 265.083 | 2.303 | 258.533 | 8.19 | 889.3 | 12.801 | 0.16059
2020-03-28 12:00:00 | 1.869 | 257.836 | 1.56 | 290.986 | 1.812 | 287.417 | 2.379 | 290.017 | 8.458 | 889.8 | 13.807 | 0.36097
2020-03-28 12:15:00 | 4.05 | 306.027 | 3.911 | 305.039 | 3.886 | 308.6 | 3.928 | 304.733 | 9.491 | 889.533 | 13.232 | 0.44624
2020-03-28 12:30:00 | 2.671 | 224.341 | 2.73 | 236.434 | 3.132 | 251.508 | 3.471 | 280.567 | 8.837 | 889.433 | 13.456 | 0.53719
2020-03-28 12:45:00 | 4.518 | 257.888 | 3.956 | 222.123 | 3.981 | 140.267 | 3.629 | 141.433 | 8.541 | 889.9 | 13.535 | 0.40644
2020-03-28 13:00:00 | 3.155 | 271.353 | 3.344 | 271.853 | 3.621 | 287.134 | 3.579 | 287.733 | 9.028 | 888.9 | 13.216 | 0.39792
2020-03-28 13:15:00 | 3.394 | 280.627 | 3.604 | 280.041 | 3.931 | 278.017 | 4.432 | 278.567 | 9.824 | 889.1 | 12.832 | 0.79583
2020-03-28 13:30:00 | 2.196 | 289.293 | 2.21 | 238.951 | 2.881 | 228.269 | 3.448 | 263.667 | 10.312 | 889.467 | 12.269 | 0.97277
2020-03-28 13:45:00 | 3.387 | 270.041 | 3.596 | 293.22 | 3.957 | 321.533 | 4.026 | 322.8 | 10.147 | 889.4 | 12.023 | 0.87755
2020-03-28 14:00:00 | 4.137 | 293.92 | 4.471 | 293.266 | 4.321 | 293.6 | 4.408 | 293.3 | 10.151 | 889.533 | 12.192 | 1.0765
2020-03-28 14:15:00 | 2.202 | 247.167 | 1.691 | 237.7 | 1.686 | 234.533 | 2 | 234.517 | 10.478 | 889.667 | 11.892 | 1.193
2020-03-28 14:30:00 | 4.336 | 297.287 | 4.463 | 301.649 | 4.777 | 309.933 | 4.856 | 307.6 | 11.02 | 889.5 | 11.041 | 1.959
2020-03-28 14:45:00 | 3.189 | 313.86 | 3.175 | 309.815 | 3.777 | 318.333 | 4.008 | 318.567 | 10.422 | 889.367 | 11.016 | 1.5981
2020-03-28 15:00:00 | 4.746 | 301.987 | 5.19 | 300.37 | 5.343 | 304.167 | 5.839 | 303.833 | 10.657 | 889.333 | 10.636 | 2.1885
2020-03-28 15:15:00 | 3.967 | 263.827 | 4.326 | 276.237 | 4.289 | 277.317 | 4.439 | 271.533 | 11.261 | 889.533 | 10.635 | 1.9043
2020-03-28 15:30:00 | 4.636 | 200.075 | 4.157 | 239.797 | 4.579 | 228.5 | 4.848 | 263.533 | 11.274 | 889.267 | 10.217 | 3.13
2020-03-28 15:45:00 | 5.599 | 328.453 | 5.735 | 323.104 | 6.232 | 329.867 | 6.151 | 329.467 | 11.457 | 888.9 | 10.075 | 11.5588
2020-03-28 16:00:00 | 4.593 | 299.333 | 4.699 | 300.847 | 4.536 | 300.983 | 4.714 | 292.667 | 11.724 | 889.2 | 9.978 | 9.0498
2020-03-28 16:15:00 | 5.432 | 302.793 | 5.774 | 308.145 | 6.227 | 310.167 | 6.682 | 302.833 | 11.757 | 888.6 | 9.5 | 10.0225
2020-03-28 16:30:00 | 1.313 | 190.234 | 1.348 | 181.12 | 1.886 | 159.267 | 2.541 | 278.867 | 11.778 | 889.133 | 9.445 | 7.5718
2020-03-28 16:45:00 | 6.363 | 209.394 | 7.154 | 275.412 | 7.098 | 267.9 | 7.044 | 242.433 | 12.111 | 889.067 | 8.896 | 22.7204
2020-03-28 17:00:00 | 5.732 | 152.763 | 5.99 | 161.889 | 6.04 | 153.167 | 6.024 | 258.833 | 11.903 | 888.733 | 8.894 | 15.1585
2020-03-28 17:15:00 | 5.618 | 183.402 | 5.786 | 246.521 | 6.012 | 237.1 | 6.423 | 260.767 | 11.974 | 888.733 | 8.923 | 17.8274
2020-03-28 17:30:00 | 5.728 | 250.714 | 5.781 | 308.328 | 6.157 | 264.333 | 6.29 | 286.733 | 11.795 | 889.333 | 8.851 | 15.0001
2020-03-28 17:45:00 | 6.59 | 322.08 | 7.018 | 328.43 | 7.221 | 334.333 | 7.15 | 329.267 | 11.745 | 889.133 | 8.375 | 18.8975
2020-03-28 18:00:00 | 6.13 | 336.16 | 6.279 | 330.289 | 6.711 | 336.933 | 6.686 | 337.133 | 11.595 | 888.533 | 8.017 | 18.6716
2020-03-28 18:15:00 | 5.224 | 327.36 | 5.411 | 322.513 | 5.838 | 323.6 | 6.067 | 321.2 | 11.87 | 889.267 | 7.634 | 21.7711
2020-03-28 18:30:00 | 7.664 | 284.333 | 7.855 | 287.943 | 8.06 | 291.567 | 8.249 | 290.067 | 12.057 | 888.867 | 6.852 | 41.6193
2020-03-28 18:45:00 | 7.054 | 311.72 | 7.51 | 304.837 | 7.767 | 309.8 | 8.161 | 307.867 | 11.64 | 888.933 | 6.619 | 37.0333
2020-03-28 19:00:00 | 6.853 | 303.667 | 7.197 | 305.442 | 7.532 | 311.033 | 7.726 | 309.233 | 11.924 | 889.2 | 6.502 | 32.4018
2020-03-28 19:15:00 | 6.767 | 300.413 | 7.193 | 301.577 | 7.441 | 308.067 | 7.775 | 305.8 | 11.524 | 888.467 | 6.615 | 28.606
2020-03-28 19:30:00 | 5.354 | 288.107 | 5.844 | 291.851 | 6.42 | 296.967 | 6.622 | 292.767 | 11.44 | 889.2 | 6.847 | 22.9939
2020-03-28 19:45:00 | 6.15 | 282.18 | 6.774 | 285.542 | 7.034 | 292.267 | 7.146 | 291.233 | 10.978 | 888.867 | 7.519 | 23.0074
2020-03-28 20:00:00 | 6.311 | 284.007 | 7.224 | 288.39 | 7.52 | 293.8 | 7.696 | 293.833 | 10.501 | 888.8 | 7.925 | 30.0364
2020-03-28 20:15:00 | 6.118 | 288.773 | 7.152 | 292.786 | 7.554 | 298.133 | 7.906 | 294.8 | 9.768 | 889.133 | 8.208 | 26.48
2020-03-28 20:30:00 | 4.614 | 279.28 | 5.203 | 284.876 | 5.561 | 290.433 | 5.972 | 289.367 | 9.174 | 889.2 | 8.66 | 17.3428
2020-03-28 20:45:00 | 3.985 | 274.473 | 5.137 | 283.826 | 5.558 | 288.267 | 5.982 | 286.1 | 8.845 | 889.067 | 8.896 | 17.3925
2020-03-28 21:00:00 | 3.975 | 270.047 | 4.801 | 284.21 | 5.508 | 291.367 | 6.2 | 288 | 8.123 | 888.867 | 9.35 | 12.6758
2020-03-28 21:15:00 | 3.862 | 252.233 | 4.528 | 269.809 | 5.085 | 280.667 | 5.514 | 279.5 | 7.322 | 889.267 | 9.785 | 9.3667
2020-03-28 21:30:00 | 4.736 | 251.227 | 5.112 | 264.112 | 5.314 | 270.5 | 5.438 | 267.967 | 6.532 | 889.533 | 10.617 | 15.1081
2020-03-28 21:45:00 | 5.014 | 248.98 | 5.511 | 261.796 | 5.681 | 268.8 | 5.935 | 268.2 | 6.118 | 889.3 | 11.076 | 16.3018
2020-03-28 22:00:00 | 4.955 | 241.88 | 5.612 | 260.243 | 5.613 | 268.067 | 5.762 | 266.5 | 5.687 | 889.533 | 11.356 | 17.109
2020-03-28 22:15:00 | 5.334 | 239.333 | 5.697 | 258.215 | 5.743 | 268.667 | 6.082 | 266.7 | 4.685 | 889.833 | 11.521 | 20.0593
2020-03-28 22:30:00 | 5.593 | 236.367 | 6.152 | 254.028 | 6.342 | 263.533 | 6.531 | 262.733 | 4.504 | 889.3 | 12.225 | 25.3957
2020-03-28 22:45:00 | 6.191 | 234.993 | 6.803 | 246.286 | 7.143 | 254.867 | 7.229 | 251.867 | 4.054 | 889.833 | 12.829 | 31.6543
2020-03-28 23:00:00 | 5.945 | 231.64 | 6.628 | 250.129 | 6.803 | 257.533 | 7.126 | 255.4 | 4.192 | 889.467 | 13.005 | 33.2105
2020-03-28 23:15:00 | 6.353 | 231.3 | 7.26 | 241.011 | 7.341 | 250 | 7.151 | 248.533 | 3.271 | 889.2 | 14.307 | 38.8197
2020-03-28 23:30:00 | 6.122 | 229.6 | 7.276 | 241.409 | 7.614 | 251.5 | 7.713 | 249.183 | 3.588 | 889.433 | 14.664 | 44.0821
2020-03-28 23:45:00 | 6.529 | 221.6 | 7.78 | 233.879 | 8.001 | 244.2 | 8.06 | 242.733 | 3.639 | 889.833 | 15.069 | 47.0601