## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-29 00:00:00 | 6.304 | 219.14 | 7.916 | 233.188 | 8.272 | 242.833 | 8.211 | 241.933 | 2.979 | 889.333 | 15.528 | 43.4874
2020-03-29 00:15:00 | 6.008 | 216.48 | 8.096 | 228.193 | 8.406 | 238.333 | 8.304 | 236.7 | 2.618 | 889.267 | 15.587 | 41.9881
2020-03-29 00:30:00 | 5.939 | 216.247 | 8.151 | 230.103 | 8.459 | 240.167 | 8.548 | 236.8 | 2.442 | 889.267 | 15.992 | 42.8479
2020-03-29 00:45:00 | 6.094 | 217.847 | 8.141 | 229.273 | 8.456 | 240.8 | 8.13 | 238.933 | 2.168 | 889.5 | 16.373 | 40.0696
2020-03-29 01:00:00 | 6.495 | 218.727 | 8.082 | 231.512 | 8.075 | 241.833 | 7.907 | 239.367 | 1.632 | 889.333 | 16.629 | 40.6238
2020-03-29 01:15:00 | 6.321 | 223.693 | 7.964 | 234.29 | 8.187 | 244.267 | 7.918 | 242.633 | 1.576 | 889.567 | 16.968 | 42.1323
2020-03-29 01:30:00 | 6.134 | 223.48 | 7.74 | 233.649 | 8.023 | 243.3 | 7.926 | 241.2 | 1.429 | 889.433 | 17.285 | 40.3723
2020-03-29 01:45:00 | 5.872 | 216.34 | 7.909 | 233.078 | 8.185 | 245.067 | 7.756 | 244.7 | 1.165 | 889.4 | 17.691 | 37.9762
2020-03-29 02:00:00 | 6.152 | 231.547 | 7.685 | 243.017 | 7.839 | 253.367 | 7.509 | 252.867 | 1.642 | 889.667 | 17.851 | 29.9276
2020-03-29 02:15:00 | 5.982 | 230.853 | 6.589 | 242.314 | 6.19 | 253.133 | 5.928 | 257.7 | 1.452 | 889.7 | 17.792 | 20.4892
2020-03-29 02:30:00 | 5.344 | 229.82 | 6.112 | 237.542 | 6.139 | 247.367 | 5.926 | 245.867 | 1.539 | 889.4 | 18.328 | 23.0224
2020-03-29 02:45:00 | 5.665 | 222.6 | 6.802 | 235.978 | 6.9 | 246.333 | 6.703 | 246.067 | 1.369 | 889.267 | 18.72 | 27.3199
2020-03-29 03:00:00 | 6.601 | 225.98 | 7.579 | 236.729 | 7.595 | 246.8 | 7.449 | 246.2 | 1.085 | 889.567 | 19.141 | 35.6918
2020-03-29 03:15:00 | 6.919 | 229.2 | 7.959 | 241.405 | 8.039 | 251.8 | 8.027 | 252.317 | 2.078 | 889.167 | 19.357 | 47.8879
2020-03-29 03:30:00 | 6.435 | 226.22 | 7.815 | 231.86 | 7.921 | 238.6 | 7.578 | 235.433 | 1.796 | 889.667 | 19.323 | 53.2548
2020-03-29 03:45:00 | 5.773 | 234.967 | 7.884 | 236.622 | 8.287 | 244.7 | 8.037 | 240.3 | 1.499 | 889.2 | 19.864 | 52.0561
2020-03-29 04:00:00 | 5.809 | 242.467 | 7.633 | 251.466 | 7.859 | 256.633 | 7.844 | 252.417 | 2.023 | 889.833 | 20.267 | 43.2692
2020-03-29 04:15:00 | 5.799 | 237.953 | 7.446 | 242.876 | 7.904 | 249.467 | 7.834 | 244.967 | 1.539 | 889.383 | 20.368 | 46.3922
2020-03-29 04:30:00 | 5.6 | 234.473 | 6.801 | 245.232 | 6.8 | 253.033 | 6.572 | 251.767 | 1.636 | 889.65 | 20.888 | 37.9364
2020-03-29 04:45:00 | 6.304 | 236.973 | 6.918 | 247.888 | 6.852 | 255.167 | 6.82 | 253.333 | 2.071 | 889.517 | 21.029 | 29.2157
2020-03-29 05:00:00 | 5.697 | 240.16 | 5.902 | 257.293 | 6.344 | 265.333 | 6.748 | 265.1 | 1.937 | 889.3 | 21.621 | 24.9864
2020-03-29 05:15:00 | 5.792 | 239.94 | 6.552 | 254.096 | 6.74 | 261.467 | 7.243 | 259.05 | 1.212 | 890.2 | 22.28 | 32.5077
2020-03-29 05:30:00 | 5.506 | 238.38 | 6.966 | 258.384 | 7.186 | 267.2 | 7.573 | 264.7 | 1.055 | 889.967 | 23.595 | 31.1434
2020-03-29 05:45:00 | 4.243 | 237.16 | 6.221 | 254.004 | 6.652 | 266.4 | 7.005 | 267.967 | 0.449 | 889.45 | 24.901 | 24.3369
2020-03-29 06:00:00 | 2.553 | 257.62 | 4.718 | 255.044 | 5.674 | 269.1 | 5.825 | 271.2 | 0.233 | 889.867 | 25.739 | 16.9207
2020-03-29 06:15:00 | 3.077 | 242.7 | 4.302 | 259.348 | 4.716 | 275.6 | 5.183 | 277.8 | 0.402 | 889.517 | 26.128 | 9.0242
2020-03-29 06:30:00 | 4.33 | 215.58 | 3.967 | 234.763 | 3.94 | 269.6 | 4.244 | 278.8 | 0.366 | 889.783 | 26.203 | 8.7968
2020-03-29 06:45:00 | 7.002 | 224.673 | 5.66 | 230.964 | 5.068 | 249.2 | 5.234 | 254.467 | 0.482 | 889.917 | 25.765 | 15.7938
2020-03-29 07:00:00 | 7.058 | 224.027 | 6.98 | 229.706 | 6.51 | 239.633 | 6.101 | 243.4 | 0.532 | 889.6 | 26.128 | 20.6839
2020-03-29 07:15:00 | 7.064 | 216.547 | 7.279 | 226.027 | 7.15 | 230.633 | 6.764 | 229 | 0.515 | 889.717 | 25.984 | 24.2659
2020-03-29 07:30:00 | 7.411 | 217.093 | 7.529 | 226.224 | 7.664 | 229.633 | 7.45 | 224.1 | 0.166 | 889.55 | 26.064 | 30.0591
2020-03-29 07:45:00 | 6.419 | 219.667 | 7.548 | 230.593 | 7.66 | 235.633 | 7.334 | 230.167 | -1.132 | 890.083 | 27.221 | 28.4355
2020-03-29 08:00:00 | 6.774 | 217.233 | 7.857 | 228.996 | 7.752 | 233.633 | 7.516 | 227.733 | -0.199 | 889.717 | 26.923 | 28.8462
2020-03-29 08:15:00 | 6.833 | 211.287 | 7.869 | 223.103 | 7.841 | 229.167 | 7.558 | 225.833 | 0.432 | 889.8 | 25.456 | 26.1005
2020-03-29 08:30:00 | 6.378 | 213.053 | 7.234 | 224.935 | 7.278 | 231.9 | 7.185 | 228.667 | 1.115 | 889.933 | 24.373 | 23.5745
2020-03-29 08:45:00 | 6.163 | 216.327 | 7.446 | 227.607 | 7.581 | 235.9 | 7.347 | 235.533 | 2.184 | 889.55 | 23.035 | 22.7651
2020-03-29 09:00:00 | 5.898 | 215.54 | 6.941 | 224.838 | 6.936 | 232.5 | 6.521 | 229.867 | 3.508 | 889.767 | 21.648 | 18.1536
2020-03-29 09:15:00 | 5.675 | 210.993 | 6.141 | 219.197 | 6.134 | 225.733 | 6.003 | 223.233 | 4.285 | 889.267 | 20.917 | 14.4828
2020-03-29 09:30:00 | 5.236 | 214.373 | 5.493 | 215.374 | 5.778 | 220.533 | 5.912 | 219.967 | 5.336 | 889.283 | 20.253 | 12.4179
2020-03-29 09:45:00 | 5.432 | 212.047 | 5.373 | 211.758 | 5.656 | 215 | 5.794 | 212.567 | 6.235 | 889.567 | 19.493 | 11.8473
2020-03-29 10:00:00 | 5.246 | 219.6 | 5.276 | 223.448 | 5.497 | 227.767 | 5.432 | 225.1 | 6.69 | 889.467 | 19.165 | 9.8534
2020-03-29 10:15:00 | 5.072 | 219.9 | 5.016 | 224.059 | 5.123 | 228.6 | 5.163 | 224.167 | 6.939 | 889.7 | 18.909 | 4.4226
2020-03-29 10:30:00 | 2.11 | 246.9 | 1.75 | 244.278 | 2.206 | 241.9 | 2.45 | 234.567 | 7.356 | 889.6 | 18.547 | 0.63311
2020-03-29 10:45:00 | 3.01 | 268.647 | 2.855 | 263.807 | 3.025 | 268.467 | 3.17 | 262.65 | 7.489 | 889.9 | 18.005 | 0.33752
2020-03-29 11:00:00 | 3.07 | 287.933 | 2.643 | 295.969 | 2.774 | 299.067 | 3.125 | 296.533 | 7.81 | 890.133 | 17.668 | 2.2212
2020-03-29 11:15:00 | 2.425 | 308.947 | 2.457 | 296.573 | 2.875 | 296.267 | 3.051 | 292.5 | 7.716 | 889.5 | 17.559 | 3.6758
2020-03-29 11:30:00 | 2.6 | 319.253 | 2.58 | 312.686 | 2.862 | 315.267 | 2.958 | 311.9 | 7.843 | 889.7 | 17.839 | 4.3806
2020-03-29 11:45:00 | 4.352 | 314.44 | 4.468 | 312.178 | 4.551 | 315.233 | 4.843 | 314.367 | 8.147 | 889.467 | 17.823 | 7.5952
2020-03-29 12:00:00 | 4.564 | 305.773 | 4.766 | 302.082 | 4.904 | 304.233 | 5.246 | 301.3 | 8.113 | 889.167 | 18.06 | 11.8359
2020-03-29 12:15:00 | 4.682 | 289.22 | 4.907 | 295.728 | 5.224 | 299.3 | 5.432 | 298.967 | 8.683 | 889.567 | 17.849 | 15.6595
2020-03-29 12:30:00 | 6.548 | 309.96 | 6.506 | 310.578 | 6.737 | 315.567 | 6.967 | 313.367 | 8.824 | 889.367 | 18.007 | 25.2216
2020-03-29 12:45:00 | 6.978 | 295.807 | 7.276 | 300.404 | 7.572 | 304.9 | 7.909 | 303.1 | 9.299 | 890.067 | 18.243 | 30.8876
2020-03-29 13:00:00 | 6.897 | 316.22 | 7.097 | 314.803 | 7.362 | 319.367 | 7.487 | 317.4 | 9.162 | 889.5 | 18.341 | 38.2363
2020-03-29 13:15:00 | 8.45 | 303.013 | 8.766 | 303.025 | 9.118 | 306.733 | 9.335 | 305.167 | 9.399 | 889.767 | 18.025 | 47.1362
2020-03-29 13:30:00 | 7.236 | 280.593 | 7.558 | 288.344 | 7.689 | 291.733 | 7.726 | 287.6 | 9.104 | 889.55 | 21.179 | 53.441
2020-03-29 13:45:00 | 9.056 | 288.84 | 9.392 | 295.667 | 9.751 | 303.1 | 10.185 | 302.133 | 8.334 | 889.383 | 19.887 | 60.1985
2020-03-29 14:00:00 | 11.919 | 295.907 | 12.458 | 301.655 | 12.972 | 306.3 | 13.546 | 305.267 | 8.749 | 889.833 | 19.388 | 61.68
2020-03-29 14:15:00 | 11.392 | 312.947 | 12.194 | 310.243 | 12.896 | 316.333 | 13.876 | 315.167 | 8.237 | 889.817 | 21.043 | 60.6113
2020-03-29 14:30:00 | 12.972 | 300.873 | 13.526 | 307.505 | 13.947 | 309.433 | 14.725 | 305.233 | 8.11 | 890.05 | 24.405 | 63.8217
2020-03-29 14:45:00 | 12.243 | 294.193 | 12.763 | 300.056 | 13.22 | 305.167 | 13.758 | 303.5 | 7.422 | 889.617 | 23.507 | 61.776
2020-03-29 15:00:00 | 14.358 | 296.333 | 14.767 | 300.107 | 15.343 | 305.767 | 16.448 | 302.167 | 7.339 | 889.917 | 26.6 | 70.0448
2020-03-29 15:15:00 | 12.963 | 297.587 | 13.46 | 301.675 | 14.067 | 305.833 | 14.538 | 303.333 | 6.933 | 890 | 27.853 | 70.479
2020-03-29 15:30:00 | 10.773 | 279.387 | 11.677 | 284.121 | 11.87 | 289.167 | 12.342 | 288.3 | 7.106 | 889.833 | 27.933 | 67.7895
2020-03-29 15:45:00 | 12.288 | 308.32 | 12.702 | 308.675 | 13.066 | 313.5 | 13.175 | 312.933 | 6.77 | 889.417 | 31.365 | 65.9186
2020-03-29 16:00:00 | 12.587 | 292.293 | 13.56 | 301.308 | 14.211 | 306.633 | 14.507 | 304.5 | 5.74 | 889.95 | 40.093 | 65.6137
2020-03-29 16:15:00 | 12.415 | 301.453 | 13.023 | 305.216 | 13.325 | 309.9 | 13.542 | 307.9 | 5.925 | 889.992 | 43.76 | 62.9242
2020-03-29 16:30:00 | 11.169 | 299.533 | 11.722 | 302.485 | 11.969 | 307.9 | 12.731 | 306.9 | 5.497 | 890.325 | 41.819 | 59.7643
2020-03-29 16:45:00 | 10.977 | 280.82 | 11.596 | 288.416 | 11.936 | 294.133 | 12.098 | 294.733 | 5.26 | 889.492 | 43.973 | 60.1047
2020-03-29 17:00:00 | 13.317 | 274.647 | 14.218 | 292.12 | 14.507 | 296.467 | 15.359 | 294.4 | 5.578 | 889.5 | 41.757 | 61.6637
2020-03-29 17:15:00 | 12.582 | 274.86 | 13.452 | 289.234 | 13.941 | 291.6 | 14.63 | 292.767 | 4.706 | 889.675 | 53.525 | 68.0837
2020-03-29 17:30:00 | 12.787 | 278.787 | 13.766 | 289.414 | 14.2 | 292.433 | 14.78 | 291.6 | 3.936 | 889.725 | 59.349 | 70.7298
2020-03-29 17:45:00 | 12.955 | 277.673 | 14.082 | 292.535 | 14.555 | 293.9 | 15.501 | 293.133 | 4.342 | 889.85 | 57.189 | 70.9551
2020-03-29 18:00:00 | 12.634 | 266.453 | 14 | 280.534 | 14.781 | 282.667 | 15.203 | 281.933 | 4.046 | 889.917 | 56.501 | 71.4596
2020-03-29 18:15:00 | 13.154 | 254.033 | 14.259 | 276.862 | 14.386 | 279.9 | 14.621 | 276 | 3.538 | 889.95 | 57.504 | 72.3066
2020-03-29 18:30:00 | 12.459 | 262.08 | 13.956 | 281.421 | 14.343 | 283.167 | 15.095 | 281.567 | 3.97 | 890.017 | 53.067 | 72.3662
2020-03-29 18:45:00 | 14.69 | 260.04 | 16.283 | 279.567 | 16.821 | 281.967 | 17.504 | 279.867 | 3.995 | 889.508 | 54.437 | 72.541
2020-03-29 19:00:00 | 12.792 | 260.487 | 13.853 | 280.727 | 14.732 | 282.217 | 15.28 | 282 | 3.936 | 889.858 | 54.256 | 72.5389
2020-03-29 19:15:00 | 13.849 | 263.113 | 15.562 | 281.089 | 16.082 | 282.2 | 16.525 | 283.133 | 3.877 | 889.708 | 55.803 | 72.3016
2020-03-29 19:30:00 | 13.166 | 253.34 | 14.865 | 279.84 | 15.288 | 280.733 | 15.646 | 279 | 3.217 | 889.825 | 58.475 | 72.6526
2020-03-29 19:45:00 | 12.263 | 244.3 | 13.435 | 275.286 | 14.03 | 277.833 | 14.614 | 275.733 | 2.877 | 889.792 | 60.389 | 72.5325
2020-03-29 20:00:00 | 13.791 | 249.02 | 15.542 | 274.13 | 15.732 | 277.167 | 15.72 | 275.5 | 2.536 | 889.967 | 58.261 | 71.6571
2020-03-29 20:15:00 | 10.578 | 252.54 | 11.869 | 273.273 | 12.283 | 275.5 | 12.424 | 272.633 | 2.241 | 889.967 | 57.845 | 71.6614
2020-03-29 20:30:00 | 9.78 | 234.873 | 11.232 | 266.357 | 11.789 | 271.4 | 11.942 | 269.1 | 2.254 | 889.408 | 57.68 | 72.4863
2020-03-29 20:45:00 | 8.764 | 231.667 | 10.082 | 261.452 | 10.232 | 266.233 | 10.489 | 263.867 | 2.111 | 889.933 | 58.085 | 68.9953
2020-03-29 21:00:00 | 10.062 | 231.333 | 11.253 | 267.306 | 11.894 | 271.4 | 12.01 | 267.9 | 1.496 | 889.917 | 58.101 | 68.4695
2020-03-29 21:15:00 | 8.69 | 231.32 | 9.806 | 265.028 | 10.232 | 268.233 | 10.512 | 264.817 | 1.372 | 889.467 | 59.259 | 67.9096
2020-03-29 21:30:00 | 10.352 | 232.307 | 11.681 | 262.473 | 12.01 | 266.9 | 12.119 | 264.433 | 1.276 | 890.025 | 60.219 | 67.452
2020-03-29 21:45:00 | 8.568 | 230.34 | 9.59 | 263.222 | 10.04 | 267.767 | 10.369 | 265.3 | 1.048 | 889.592 | 61.936 | 62.9143
2020-03-29 22:00:00 | 5.908 | 238.747 | 6.794 | 260.219 | 7.469 | 266.567 | 8.006 | 265.933 | 0.765 | 890.083 | 63.333 | 50.2442
2020-03-29 22:15:00 | 7.144 | 242.813 | 8.676 | 274.151 | 9.32 | 277.267 | 9.676 | 273.917 | 0.332 | 889.875 | 64.363 | 55.2068
2020-03-29 22:30:00 | 7.611 | 254.213 | 8.742 | 275.513 | 9.199 | 280.633 | 9.603 | 278.9 | 0.632 | 890.092 | 64.949 | 58.6097
2020-03-29 22:45:00 | 7.757 | 234.033 | 8.951 | 257.395 | 9.287 | 261.633 | 9.329 | 259.1 | 0.415 | 890.033 | 65.669 | 70.1024
2020-03-29 23:00:00 | 7.595 | 226.633 | 8.993 | 255.134 | 9.56 | 258.183 | 9.641 | 254.383 | 0.565 | 889.767 | 67.376 | 70.2118
2020-03-29 23:15:00 | 8.129 | 233.687 | 9.5 | 256.58 | 10.068 | 260.967 | 10.141 | 257.883 | 0.15 | 889.908 | 70.496 | 66.438
2020-03-29 23:30:00 | 7.342 | 236.42 | 8.664 | 256.658 | 9.45 | 262.183 | 10.136 | 257.267 | 0.017 | 889.567 | 72.272 | 60.7037
2020-03-29 23:45:00 | 7.342 | 236.42 | 8.664 | 256.658 | 9.45 | 262.183 | 10.136 | 257.267 | 0.017 | 889.567 | 72.272 | 39.5665