## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-30 00:00:00 | 5.521 | 241.96 | 6.93 | 256.785 | 7.492 | 261.367 | 7.779 | 257.383 | -0.312 | 889.8 | 71.557 | 46.108
2020-03-30 00:15:00 | 6.777 | 232.98 | 8.014 | 255.471 | 8.645 | 260.667 | 8.708 | 256.533 | -0.419 | 890.025 | 72.331 | 51.7705
2020-03-30 00:30:00 | 6.224 | 226.613 | 7.601 | 248.386 | 8.369 | 254.267 | 8.846 | 252.95 | -0.882 | 890.442 | 72.651 | 59.9342
2020-03-30 00:45:00 | 6.225 | 226.107 | 7.678 | 247.22 | 8.091 | 253.5 | 8.501 | 248.583 | -1.449 | 890.375 | 73.408 | 60.7996
2020-03-30 01:00:00 | 7.017 | 225.053 | 8.092 | 239.99 | 8.609 | 247.567 | 8.626 | 243.017 | -1.61 | 890.158 | 74.155 | 62.0886
2020-03-30 01:15:00 | 6.225 | 228.227 | 6.812 | 237.418 | 6.954 | 245.2 | 6.91 | 243.067 | -1.015 | 889.725 | 73.077 | 51.7897
2020-03-30 01:30:00 | 7.263 | 226.433 | 7.719 | 236.682 | 7.874 | 245.567 | 7.791 | 245.267 | -1.439 | 889.65 | 72.885 | 50.9299
2020-03-30 01:45:00 | 5.991 | 222.48 | 6.605 | 228.928 | 7.067 | 234.7 | 7.262 | 231.133 | -1.239 | 889.858 | 72.277 | 51.8792
2020-03-30 02:00:00 | 6.816 | 228.993 | 8.067 | 242.649 | 8.191 | 249.033 | 8.163 | 246.367 | -1.666 | 889.858 | 73.205 | 40.7325
2020-03-30 02:15:00 | 4.754 | 229.86 | 5.827 | 235.298 | 5.861 | 242.667 | 5.834 | 239.467 | -1.412 | 889.775 | 72.245 | 26.6846
2020-03-30 02:30:00 | 5.122 | 232.06 | 5.642 | 244.536 | 5.862 | 254.5 | 6.093 | 253.2 | -1.389 | 889.558 | 71.632 | 23.2156
2020-03-30 02:45:00 | 3.767 | 249.687 | 4.302 | 256.876 | 4.546 | 262.033 | 5.056 | 258.567 | -1.302 | 889.717 | 71.024 | 21.8634
2020-03-30 03:00:00 | 4.431 | 241.933 | 4.995 | 250.228 | 5.263 | 253.7 | 5.454 | 249.817 | -1.392 | 889.667 | 72.811 | 25.7119
2020-03-30 03:15:00 | 3.876 | 246.027 | 4.58 | 257.455 | 4.581 | 263.5 | 4.968 | 261.15 | -1.286 | 889.883 | 74.656 | 25.3637
2020-03-30 03:30:00 | 5.572 | 242.107 | 6.866 | 266.512 | 7.291 | 272.367 | 7.703 | 268.7 | -1.686 | 889.625 | 77.328 | 33.511
2020-03-30 03:45:00 | 5.532 | 247.4 | 6.553 | 262.32 | 6.828 | 266.167 | 7.087 | 262.833 | -1.526 | 889.967 | 79.755 | 30.6894
2020-03-30 04:00:00 | 5.691 | 228.687 | 6.898 | 252.107 | 7.182 | 258.467 | 7.174 | 255.8 | -1.809 | 889.388 | 81.483 | 34.1569
2020-03-30 04:15:00 | 5.824 | 247.673 | 6.917 | 259.547 | 7.26 | 265.733 | 7.538 | 264.4 | -1.799 | 890.208 | 83.477 | 32.2079
2020-03-30 04:30:00 | 5.652 | 235.987 | 6.597 | 252.881 | 6.91 | 259.233 | 7.246 | 258.367 | -1.766 | 890.125 | 84.757 | 29.7138
2020-03-30 04:45:00 | 5.295 | 252.753 | 6.369 | 269.001 | 6.543 | 274.833 | 6.749 | 271.967 | -1.503 | 889.408 | 82.107 | 26.8836
2020-03-30 05:00:00 | 5.15 | 243.08 | 6.343 | 259.326 | 6.701 | 264.967 | 7.074 | 262.2 | -2.098 | 890.408 | 82.059 | 23.3435
2020-03-30 05:15:00 | 4.784 | 241.093 | 6.031 | 253.769 | 6.272 | 260.267 | 6.519 | 257.967 | -2.028 | 890.004 | 82.037 | 23.5269
2020-03-30 05:30:00 | 4.993 | 237.84 | 6.379 | 253.779 | 6.967 | 260.8 | 7.215 | 258.85 | -2.201 | 890.225 | 82.592 | 28.8469
2020-03-30 05:45:00 | 5.1 | 238.98 | 6.388 | 248.881 | 6.919 | 255.733 | 7.325 | 254.3 | -2.352 | 890.033 | 79.883 | 35.1318
2020-03-30 06:00:00 | 4.459 | 229.507 | 6.234 | 245.95 | 6.554 | 253.467 | 6.682 | 251.4 | -2.659 | 889.683 | 77.237 | 36.2815
2020-03-30 06:15:00 | 5.694 | 234.807 | 7.024 | 253.712 | 7.357 | 260.267 | 7.651 | 257.6 | -2.76 | 889.525 | 76.176 | 38.3486
2020-03-30 06:30:00 | 6.192 | 217.813 | 7.045 | 232.06 | 7.058 | 242.1 | 6.988 | 241.283 | -2.888 | 890.183 | 75.509 | 34.3012
2020-03-30 06:45:00 | 6.139 | 224.367 | 7.072 | 231.633 | 6.989 | 239.133 | 6.858 | 235.8 | -3.756 | 889.8 | 79.563 | 37.5243
2020-03-30 07:00:00 | 5.996 | 222.5 | 7.616 | 238.038 | 7.902 | 245.067 | 7.942 | 241.7 | -3.807 | 889.9 | 80.725 | 43.6558
2020-03-30 07:15:00 | 6.383 | 228.467 | 7.668 | 235.213 | 8.084 | 243 | 8.184 | 238.967 | -3.387 | 889.875 | 80.096 | 43.6991
2020-03-30 07:30:00 | 5.899 | 225.433 | 7.529 | 235.786 | 7.865 | 241.333 | 8.048 | 237.6 | -3.169 | 889.75 | 79.509 | 51.1551
2020-03-30 07:45:00 | 7.252 | 227.747 | 8.68 | 242.589 | 9.092 | 248.9 | 9.022 | 244.4 | -2.618 | 890.008 | 78.411 | 44.5447
2020-03-30 08:00:00 | 4.904 | 235.293 | 6.825 | 238.826 | 7.424 | 246.533 | 7.534 | 243.05 | -2.111 | 889.85 | 75.584 | 32.5717
2020-03-30 08:15:00 | 4.908 | 239.273 | 6.346 | 243.924 | 6.796 | 249.9 | 6.866 | 244 | -1.479 | 890.117 | 72.981 | 26.7386
2020-03-30 08:30:00 | 5.29 | 232.033 | 6.556 | 239.612 | 6.858 | 246.733 | 6.976 | 243.15 | -1.149 | 889.8 | 70.475 | 30.5487
2020-03-30 08:45:00 | 5.388 | 242.46 | 6.125 | 244.45 | 6.586 | 250.6 | 6.655 | 245.533 | -0.662 | 889.817 | 68.437 | 25.2891
2020-03-30 09:00:00 | 5 | 236.44 | 5.594 | 237.057 | 5.985 | 242.667 | 6.179 | 239.267 | 0.299 | 889.942 | 63.669 | 16.8511
2020-03-30 09:15:00 | 5.093 | 238.087 | 5.292 | 242.011 | 5.411 | 248.167 | 5.5 | 242.533 | 0.835 | 890.475 | 59.52 | 20.8786
2020-03-30 09:30:00 | 6.306 | 240.587 | 6.804 | 250.009 | 6.911 | 254.6 | 6.953 | 251.667 | 1.359 | 889.942 | 52.741 | 20.3215
2020-03-30 09:45:00 | 6.357 | 250.34 | 6.673 | 267.343 | 6.61 | 270.333 | 6.728 | 267.133 | 1.085 | 889.65 | 51.573 | 19.483
2020-03-30 10:00:00 | 5.733 | 253.24 | 5.985 | 269.832 | 6.007 | 273.3 | 5.916 | 269.633 | 0.682 | 889.575 | 49.568 | 17.0223
2020-03-30 10:15:00 | 5.813 | 273.027 | 6.171 | 279.871 | 6.221 | 280.5 | 6.237 | 275.167 | 0.882 | 889.992 | 45.563 | 18.4584
2020-03-30 10:30:00 | 4.306 | 286.527 | 4.55 | 288.24 | 4.944 | 291.533 | 5.19 | 288.7 | 0.935 | 889.683 | 45.243 | 18.6652
2020-03-30 10:45:00 | 6.186 | 288.153 | 6.376 | 296.747 | 6.466 | 299.067 | 6.61 | 297.8 | 1.346 | 889.758 | 41.957 | 19.294
2020-03-30 11:00:00 | 5.4 | 280.1 | 5.5 | 285.459 | 5.862 | 289.9 | 6.049 | 287.833 | 1.532 | 889.7 | 40.232 | 18.3767
2020-03-30 11:15:00 | 5.364 | 281.493 | 5.698 | 294.738 | 5.883 | 296.7 | 5.944 | 290.467 | 1.848 | 889.517 | 40.459 | 14.7606
2020-03-30 11:30:00 | 4.754 | 258.887 | 5.184 | 273.705 | 5.281 | 273.05 | 5.571 | 268.767 | 1.912 | 889.583 | 38.739 | 11.5758
2020-03-30 11:45:00 | 4.735 | 299.853 | 4.885 | 306.924 | 4.994 | 309.5 | 5.115 | 306.533 | 2.025 | 890.083 | 33.493 | 11.46
2020-03-30 12:00:00 | 4.568 | 285.233 | 4.738 | 294.104 | 4.728 | 297.833 | 5.18 | 296.933 | 2.517 | 889.683 | 33.304 | 12.8897
2020-03-30 12:15:00 | 6.23 | 257.96 | 6.338 | 273.83 | 6.306 | 278.8 | 6.156 | 276.067 | 2.966 | 889.533 | 30.731 | 17.3734
2020-03-30 12:30:00 | 5.119 | 296.567 | 5.22 | 302.222 | 5.397 | 309.333 | 5.898 | 307.4 | 2.442 | 889.533 | 31.712 | 17.541
2020-03-30 12:45:00 | 4.629 | 255.333 | 4.954 | 267.407 | 4.988 | 274.233 | 5.151 | 271.933 | 3.217 | 889.483 | 31.013 | 15.9821
2020-03-30 13:00:00 | 3.842 | 297.4 | 3.899 | 299.788 | 3.995 | 307.3 | 4.393 | 302.167 | 3.404 | 889.75 | 31.397 | 13.4041
2020-03-30 13:15:00 | 5.225 | 322.787 | 5.444 | 330.796 | 5.656 | 322.567 | 5.952 | 329.633 | 3.886 | 889.85 | 27.88 | 14.0188
2020-03-30 13:30:00 | 4.501 | 248.713 | 4.61 | 262.057 | 4.644 | 271.033 | 5.246 | 271.367 | 3.843 | 889.767 | 26.021 | 13.8333
2020-03-30 13:45:00 | 1.928 | 262.253 | 2.116 | 263.212 | 1.973 | 278.383 | 2.172 | 268.867 | 4.666 | 889.95 | 26.309 | 9.4662
2020-03-30 14:00:00 | 2.314 | 232.387 | 2.402 | 239.846 | 2.153 | 245.333 | 2.494 | 244.167 | 4.513 | 889.733 | 26.296 | 7.9988
2020-03-30 14:15:00 | 3.185 | 321.56 | 3.521 | 320.226 | 3.413 | 277.901 | 3.481 | 265.634 | 4.165 | 889.683 | 25.536 | 7.4666
2020-03-30 14:30:00 | 5.651 | 282.173 | 5.895 | 292.286 | 5.93 | 297.067 | 6.198 | 295.667 | 4.401 | 889.583 | 23.419 | 8.1815
2020-03-30 14:45:00 | 6.209 | 231.147 | 6.485 | 255.342 | 6.653 | 261.767 | 6.905 | 262.867 | 5.28 | 889.867 | 21.064 | 9.1592
2020-03-30 15:00:00 | 6.508 | 257.273 | 7.054 | 275.393 | 7.117 | 279.967 | 7.028 | 280 | 5.547 | 889.667 | 20.244 | 11.6597
2020-03-30 15:15:00 | 4.321 | 239.88 | 4.391 | 255.849 | 4.449 | 262.217 | 4.631 | 263.833 | 5.613 | 889.917 | 21.235 | 14.5815
2020-03-30 15:30:00 | 6.538 | 298.547 | 7.002 | 299.465 | 7.229 | 303.933 | 7.256 | 302.333 | 4.904 | 889.9 | 21.029 | 19.3239
2020-03-30 15:45:00 | 6.41 | 323.427 | 6.681 | 328.866 | 7.293 | 328.167 | 7.639 | 326.8 | 5.077 | 889.4 | 20.615 | 20.7855
2020-03-30 16:00:00 | 3.562 | 288.053 | 3.978 | 292.703 | 4.332 | 292.633 | 4.695 | 284.417 | 4.988 | 890.067 | 21.288 | 21.3966
2020-03-30 16:15:00 | 5.938 | 283.2 | 6.034 | 292.057 | 6.335 | 301.933 | 6.598 | 299.367 | 4.719 | 889.667 | 22.091 | 26.7287
2020-03-30 16:30:00 | 5.015 | 280.487 | 5.165 | 284.184 | 5.466 | 289.367 | 5.855 | 289.533 | 5.204 | 889.8 | 21.939 | 19.7125
2020-03-30 16:45:00 | 6.7 | 285.447 | 6.814 | 296.488 | 6.978 | 302.633 | 7.269 | 300.933 | 5.061 | 889.767 | 22.08 | 21.0804
2020-03-30 17:00:00 | 4.834 | 298.473 | 5.145 | 298.688 | 5.162 | 297.433 | 5.359 | 293.2 | 5.14 | 889.583 | 20.244 | 16.9726
2020-03-30 17:15:00 | 6.646 | 279.047 | 6.686 | 290.676 | 6.602 | 292.6 | 6.972 | 289.467 | 5.359 | 889.267 | 19.596 | 20.3982
2020-03-30 17:30:00 | 3.634 | 208.37 | 4.416 | 294.575 | 4.791 | 301.633 | 5.306 | 309.167 | 5.081 | 889.533 | 19.684 | 9.1827
2020-03-30 17:45:00 | 4.071 | 295.627 | 4.245 | 298.02 | 4.298 | 301.3 | 4.842 | 300.867 | 5.945 | 889.667 | 18.832 | 12.8215
2020-03-30 18:00:00 | 5.197 | 293.307 | 5.605 | 295.21 | 5.515 | 297.433 | 5.714 | 296.7 | 5.485 | 889.833 | 18.219 | 14.0337
2020-03-30 18:15:00 | 3.282 | 305.373 | 3.416 | 304.281 | 3.428 | 303.267 | 3.77 | 301.867 | 5.646 | 889.3 | 18.421 | 9.1876
2020-03-30 18:30:00 | 6.227 | 276.527 | 6.66 | 289.836 | 6.518 | 293.067 | 6.645 | 294.867 | 5.472 | 888.967 | 17.369 | 15.7504
2020-03-30 18:45:00 | 3.936 | 269.58 | 4.365 | 279.853 | 4.523 | 284.6 | 4.872 | 282 | 6.254 | 889.567 | 16.161 | 7.4887
2020-03-30 19:00:00 | 3.277 | 310.573 | 3.505 | 304.944 | 3.665 | 308.2 | 3.865 | 303.5 | 5.789 | 889.9 | 16.483 | 6.3304
2020-03-30 19:15:00 | 4.701 | 328.067 | 4.959 | 319.59 | 5.204 | 323.033 | 5.404 | 319.4 | 5.862 | 889.567 | 16.828 | 9.9529
2020-03-30 19:30:00 | 4.811 | 309.873 | 5.279 | 307.192 | 5.554 | 311.1 | 5.722 | 308.5 | 5.643 | 889.433 | 16.372 | 7.4368
2020-03-30 19:45:00 | 2.978 | 305.84 | 3.412 | 302.289 | 3.438 | 310.533 | 3.737 | 313.5 | 5.161 | 889.767 | 16.521 | 5.6597
2020-03-30 20:00:00 | 4.917 | 315.4 | 5.115 | 311.963 | 5.386 | 316.733 | 5.773 | 317.3 | 5.051 | 889.8 | 16.271 | 6.1514
2020-03-30 20:15:00 | 3.328 | 322.64 | 4.004 | 321.655 | 4.216 | 328.233 | 4.491 | 329.467 | 4.746 | 889.5 | 17.517 | 5.8991
2020-03-30 20:30:00 | 2.677 | 341.453 | 3.257 | 341.807 | 3.236 | 345.133 | 3.449 | 344.633 | 4.169 | 889.767 | 17.123 | 3.2693
2020-03-30 20:45:00 | 2.821 | 333.933 | 4.139 | 339.588 | 4.444 | 347.233 | 4.403 | 348.1 | 3.605 | 889.133 | 17.107 | 2.7264
2020-03-30 21:00:00 | 2.022 | 23.267 | 3.946 | 137.159 | 3.612 | 0 | 4.309 | 0 | 3.271 | 889.4 | 16.476 | 0.18759
2020-03-30 21:15:00 | 1.633 | 324.093 | 2.998 | 0 | 3.646 | 7.746 | 3.572 | 5.467 | 2.598 | 889.267 | 16.963 | 0.084557
2020-03-30 21:30:00 | 1.216 | 0 | 2.483 | 18.128 | 2.791 | 18.767 | 3.254 | 15.833 | 2.578 | 889.7 | 17.149 | 0.25651
2020-03-30 21:45:00 | 1.279 | 315.653 | 0.764 | 17.061 | 1.377 | 17.036 | 2.113 | 16 | 2.537 | 889.8 | 17.421 | 0.2352
2020-03-30 22:00:00 | 0.937 | 291 | 0 | 17.055 | 1.353 | 17 | 2.133 | 16 | 2.496 | 889.433 | 17.845 | 0.22596
2020-03-30 22:15:00 | 1.013 | 270.133 | 0 | 17.056 | 0.027 | 16.966 | 1.655 | 16.033 | 1.749 | 889.533 | 17.933 | 0.22454
2020-03-30 22:30:00 | 2.833 | 247.573 | 1.269 | 291.501 | 0.81 | 188.633 | 1.478 | 11.88 | 1.112 | 889.367 | 19.057 | 0.4235
2020-03-30 22:45:00 | 1.757 | 335.84 | 2.18 | 71.537 | 2.772 | 8.835 | 3.771 | 13.167 | 0.665 | 889.567 | 18.9 | 8.5659
2020-03-30 23:00:00 | 4.004 | 129.453 | 5.038 | 121.934 | 5.087 | 126.567 | 5.856 | 121.9 | 0.632 | 889.517 | 21.557 | 14.9034
2020-03-30 23:15:00 | 4.225 | 131.067 | 5.144 | 121.24 | 5.32 | 125.2 | 5.63 | 120.933 | 0.932 | 889.983 | 24.709 | 15.7426
2020-03-30 23:30:00 | 4.315 | 149.887 | 4.85 | 139.94 | 4.594 | 140.033 | 4.325 | 134 | 0.116 | 889.683 | 25.765 | 16.149
2020-03-30 23:45:00 | 4.583 | 149.74 | 5.188 | 139.561 | 4.765 | 140 | 4.37 | 133.767 | 0.15 | 889.85 | 26.4 | 20.3947