## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-31 00:00:00 | 4.428 | 154 | 5.6 | 144.599 | 5.532 | 147.067 | 5.606 | 139.933 | -0.193 | 889.3 | 26.752 | 21.6929
2020-03-31 00:15:00 | 4.029 | 155.44 | 5.262 | 142.877 | 5.315 | 146.567 | 5.66 | 142.267 | -0.815 | 889.583 | 27.216 | 19.7729
2020-03-31 00:30:00 | 3.803 | 150.56 | 4.606 | 139.05 | 4.506 | 142.367 | 4.406 | 137.4 | -0.852 | 889.683 | 27.157 | 18.0683
2020-03-31 00:45:00 | 4.018 | 151.3 | 4.666 | 139.189 | 4.046 | 141.533 | 3.615 | 132.9 | -0.518 | 889.783 | 26.853 | 14.5872
2020-03-31 01:00:00 | 3.263 | 149.147 | 3.276 | 130.469 | 3.154 | 132 | 3.334 | 126.167 | -0.685 | 890.1 | 26.496 | 10.4432
2020-03-31 01:15:00 | 3.037 | 143.2 | 3.676 | 123.953 | 3.888 | 125.8 | 4.336 | 121.2 | -0.582 | 889.683 | 26.08 | 6.7568
2020-03-31 01:30:00 | 2.843 | 180.873 | 2.897 | 143.039 | 2.712 | 137.233 | 3.142 | 127.133 | -1.189 | 889.733 | 26.416 | 4.0467
2020-03-31 01:45:00 | 2.776 | 179.6 | 2.703 | 145.793 | 2.771 | 142.333 | 3.074 | 129.433 | -1.299 | 889.9 | 26.731 | 2.2646
2020-03-31 02:00:00 | 2.277 | 180.56 | 2.092 | 141.156 | 2.322 | 130.7 | 2.958 | 119.6 | -1.576 | 889.917 | 26.981 | 0.31194
2020-03-31 02:15:00 | 1.337 | 194.26 | 0.567 | 137.333 | 1.559 | 118.4 | 1.921 | 98.233 | -1.72 | 889.8 | 27.771 | 0.26859
2020-03-31 02:30:00 | 2.971 | 223.72 | 0 | 140.492 | 0.12 | 116 | 1.439 | 96 | -1.722 | 889.567 | 27.643 | 0.27783
2020-03-31 02:45:00 | 2.753 | 236.913 | 0 | 146.415 | 0 | 116 | 1.633 | 96 | -2.821 | 889.783 | 28.976 | 0.26931
2020-03-31 03:00:00 | 2.243 | 239.467 | 0 | 148.577 | 0 | 116 | 1.447 | 96 | -2.512 | 889.767 | 28.912 | 0.25651
2020-03-31 03:15:00 | 2.653 | 234.3 | 0 | 148.425 | 0.547 | 116 | 2.063 | 96 | -2.7 | 889.467 | 29.323 | 0.545
2020-03-31 03:30:00 | 1.53 | 227.5 | 0.17 | 130.391 | 1.672 | 107.067 | 2.883 | 93.2 | -2.414 | 889.75 | 29.323 | 2.5829
2020-03-31 03:45:00 | 0.876 | 167.533 | 1.228 | 125.163 | 2.22 | 115.533 | 3.006 | 109.367 | -2.425 | 889.833 | 28.933 | 1.4652
2020-03-31 04:00:00 | 2.232 | 210.707 | 0.55 | 144.627 | 1.492 | 137.5 | 2.731 | 123.133 | -3.13 | 889.783 | 29.44 | 1.1852
2020-03-31 04:15:00 | 2.754 | 211.42 | 1.783 | 159.172 | 2.207 | 153.867 | 3.337 | 134.333 | -3.234 | 889.85 | 29.723 | 1.8006
2020-03-31 04:30:00 | 3.881 | 214.387 | 1.875 | 178.395 | 2.246 | 160.067 | 3.067 | 146.567 | -3.334 | 889.917 | 28.843 | 1.3948
2020-03-31 04:45:00 | 3.136 | 211.467 | 1.855 | 177.675 | 2.1 | 158.367 | 2.282 | 140.1 | -3.421 | 889.8 | 28.917 | 1.7764
2020-03-31 05:00:00 | 3.07 | 212.467 | 1.52 | 173.756 | 1.896 | 156.833 | 2.29 | 132.933 | -3.823 | 889.9 | 29.771 | 1.6528
2020-03-31 05:15:00 | 2.78 | 215.033 | 1.186 | 166.457 | 1.934 | 154.667 | 2.651 | 133.333 | -3.505 | 889.45 | 28.795 | 2.2212
2020-03-31 05:30:00 | 3.138 | 211.2 | 1.741 | 175.512 | 1.928 | 160.7 | 2.337 | 141.433 | -3.672 | 889.8 | 29.397 | 3.0519
2020-03-31 05:45:00 | 2.822 | 202.613 | 2.154 | 167.9 | 2.401 | 154.2 | 2.529 | 137.3 | -3.217 | 889.75 | 28.037 | 5.7343
2020-03-31 06:00:00 | 2.77 | 185.3 | 2.58 | 155.133 | 2.595 | 142.767 | 2.69 | 129.833 | -3.622 | 889.933 | 27.557 | 8.1076
2020-03-31 06:15:00 | 3.903 | 188.333 | 3.612 | 156.312 | 3.663 | 144.9 | 3.182 | 130.8 | -3.79 | 889.7 | 27.232 | 12.1265
2020-03-31 06:30:00 | 3.497 | 173.467 | 3.992 | 138.018 | 4.269 | 130.067 | 4.726 | 121.167 | -4.537 | 889.633 | 28.112 | 12.2999
2020-03-31 06:45:00 | 3.32 | 166.093 | 4.135 | 130.087 | 4.725 | 126.6 | 5.024 | 118.9 | -4.516 | 889.983 | 28.491 | 12.8428
2020-03-31 07:00:00 | 3.491 | 159.58 | 4.159 | 131.248 | 4.511 | 128.6 | 4.952 | 122.1 | -4.51 | 889.717 | 28.581 | 14.0102
2020-03-31 07:15:00 | 3.772 | 159.733 | 4.514 | 132.15 | 4.566 | 128.367 | 5.172 | 121.3 | -4.985 | 889.217 | 29.109 | 13.3977
2020-03-31 07:30:00 | 3.211 | 163.373 | 4.186 | 129.025 | 4.416 | 124.2 | 4.627 | 120.867 | -4.756 | 889.733 | 28.656 | 13.7253
2020-03-31 07:45:00 | 3.482 | 172.027 | 4.79 | 139.662 | 4.181 | 139.933 | 3.588 | 133.233 | -4.583 | 889.667 | 28.405 | 17.4536
2020-03-31 08:00:00 | 3.754 | 171.167 | 5.62 | 142.538 | 5.758 | 145.9 | 5.856 | 139.3 | -4.503 | 889.783 | 26.869 | 21.3369
2020-03-31 08:15:00 | 4.688 | 153.567 | 6.084 | 141.04 | 6.32 | 145.7 | 6.242 | 137.7 | -3.588 | 889.683 | 25.424 | 25.3651
2020-03-31 08:30:00 | 4.79 | 152.927 | 6.474 | 143.019 | 6.997 | 144.833 | 7.13 | 139.567 | -2.96 | 889.517 | 24.603 | 26.5006
2020-03-31 08:45:00 | 5.32 | 151.267 | 6.158 | 142.717 | 6.434 | 145.133 | 6.529 | 139.333 | -1.856 | 889.95 | 23.237 | 26.1815
2020-03-31 09:00:00 | 5.085 | 143.667 | 5.469 | 137.468 | 5.043 | 141.767 | 5.092 | 134.767 | -0.828 | 889.733 | 21.787 | 25.5129
2020-03-31 09:15:00 | 5.465 | 132.52 | 5.661 | 127.197 | 5.301 | 131.733 | 5.398 | 127.633 | -0.638 | 889.833 | 21.093 | 27.4847
2020-03-31 09:30:00 | 6.242 | 120.29 | 6.658 | 117.737 | 6.714 | 124.067 | 6.916 | 118.933 | -0.05 | 889.883 | 20.568 | 28.7694
2020-03-31 09:45:00 | 5.852 | 111.367 | 6.232 | 108.03 | 6.317 | 113.033 | 6.459 | 105.833 | 0.382 | 889.467 | 19.736 | 28.0901
2020-03-31 10:00:00 | 6.782 | 108.613 | 6.572 | 103.79 | 6.513 | 104 | 6.572 | 100.333 | 0.549 | 889.167 | 19.264 | 32.3798
2020-03-31 10:15:00 | 6.085 | 93.653 | 6.03 | 86.096 | 5.799 | 91.267 | 5.677 | 88.433 | 0.699 | 889.9 | 19.053 | 37.837
2020-03-31 10:30:00 | 7.016 | 95.353 | 6.187 | 91.632 | 6.019 | 93.7 | 6.272 | 89.433 | 0.865 | 889.367 | 18.84 | 31.4902
2020-03-31 10:45:00 | 5.72 | 97.183 | 5.771 | 90.636 | 5.675 | 92.067 | 5.69 | 84.767 | 0.998 | 889.867 | 18.744 | 20.9638
2020-03-31 11:00:00 | 5.335 | 67.093 | 5.501 | 68.305 | 5.626 | 77.167 | 5.997 | 74.367 | 0.968 | 889.1 | 18.544 | 20.6746
2020-03-31 11:15:00 | 6.039 | 67.883 | 6.262 | 62.134 | 6.106 | 66.833 | 6.525 | 60.233 | 1.192 | 889.6 | 17.963 | 19.3239
2020-03-31 11:30:00 | 5.575 | 82.52 | 5.608 | 79.06 | 5.914 | 82.233 | 6.287 | 75.833 | 1.605 | 889.4 | 17.981 | 15.862
2020-03-31 11:45:00 | 5.287 | 89.925 | 5.205 | 85.097 | 5.285 | 91.467 | 5.473 | 90.033 | 1.982 | 889.7 | 17.68 | 16.0453
2020-03-31 12:00:00 | 4.954 | 96.078 | 4.913 | 90.761 | 5.076 | 94.567 | 5.378 | 89.067 | 2.016 | 889.567 | 17.733 | 16.1427
2020-03-31 12:15:00 | 5.026 | 94.113 | 5.33 | 89.22 | 5.148 | 93.267 | 5.011 | 91.1 | 2.451 | 889.933 | 17.752 | 15.101
2020-03-31 12:30:00 | 5.229 | 102.863 | 5.571 | 99.638 | 5.204 | 100.633 | 5.269 | 91.1 | 2.74 | 889.467 | 17.443 | 13.2855
2020-03-31 12:45:00 | 5.008 | 93.043 | 5.127 | 88.419 | 5.466 | 88.3 | 5.738 | 83.867 | 3.067 | 889.533 | 16.933 | 12.6644
2020-03-31 13:00:00 | 5.664 | 72.267 | 5.769 | 68.313 | 5.74 | 82.1 | 5.903 | 74.3 | 3.454 | 889.467 | 16.611 | 8.2099
2020-03-31 13:15:00 | 4.038 | 101.033 | 4.481 | 94.89 | 4.786 | 96.333 | 4.816 | 92.2 | 4.008 | 889.433 | 15.859 | 8.2952
2020-03-31 13:30:00 | 4.592 | 110.928 | 4.52 | 100.35 | 4.387 | 101.767 | 4.487 | 96.5 | 4.606 | 889.333 | 15.323 | 10.2556
2020-03-31 13:45:00 | 4.729 | 100.178 | 4.93 | 96.118 | 5.095 | 103.433 | 5.24 | 101.267 | 4.951 | 889.733 | 15.117 | 10.7907
2020-03-31 14:00:00 | 4.667 | 117.357 | 4.786 | 108.943 | 4.865 | 112.933 | 5.029 | 108.133 | 5.257 | 889 | 15.261 | 12.8385
2020-03-31 14:15:00 | 3.685 | 103.45 | 4.23 | 106.89 | 4.555 | 113.133 | 5.155 | 111.3 | 5.664 | 889.5 | 15.037 | 11.1303
2020-03-31 14:30:00 | 4.548 | 126.577 | 4.682 | 120.24 | 4.827 | 129.633 | 4.664 | 126.367 | 5.965 | 889.667 | 14.899 | 20.6874
2020-03-31 14:45:00 | 6.179 | 92.973 | 6.156 | 91.92 | 6.436 | 93.167 | 6.75 | 88.633 | 6.035 | 889.367 | 14.413 | 34.5179
2020-03-31 15:00:00 | 6.637 | 91.777 | 6.896 | 91.767 | 7.075 | 91.867 | 6.986 | 88.833 | 6.238 | 889.633 | 13.752 | 46.5997
2020-03-31 15:15:00 | 9.347 | 89.133 | 9.63 | 86.176 | 9.384 | 88.8 | 9.425 | 86.1 | 6.195 | 889.267 | 13.016 | 57.693
2020-03-31 15:30:00 | 7.752 | 105.837 | 7.635 | 98.395 | 7.746 | 103 | 8.168 | 101.767 | 6.284 | 889.267 | 12.779 | 53.2278
2020-03-31 15:45:00 | 8.633 | 100.21 | 8.862 | 97.733 | 8.845 | 103.333 | 8.729 | 96.633 | 6.611 | 889.233 | 12.864 | 47.3252
2020-03-31 16:00:00 | 10.003 | 83.447 | 10.182 | 78.891 | 10.532 | 84.8 | 10.523 | 80.5 | 6.108 | 889.833 | 13.205 | 46.4611
2020-03-31 16:15:00 | 8.561 | 91.843 | 8.481 | 88.198 | 8.383 | 91.967 | 8.774 | 89.533 | 6.241 | 889.367 | 12.765 | 46.3467
2020-03-31 16:30:00 | 10.494 | 92.607 | 10.231 | 87.946 | 10.401 | 91.967 | 11.031 | 82.6 | 6.831 | 889.3 | 13.123 | 46.955
2020-03-31 16:45:00 | 8.681 | 91.393 | 8.75 | 83.964 | 8.511 | 88.133 | 9.039 | 84.833 | 6.685 | 889.333 | 13.272 | 45.8635
2020-03-31 17:00:00 | 10.108 | 106.023 | 9.884 | 100.41 | 9.674 | 102.2 | 10.223 | 97.4 | 6.542 | 889.3 | 13.304 | 45.6418
2020-03-31 17:15:00 | 9.28 | 97.7 | 9.136 | 89.998 | 8.683 | 96.7 | 8.44 | 92.033 | 7.022 | 889.667 | 13.187 | 45.6489
2020-03-31 17:30:00 | 9.435 | 93.5 | 9.067 | 90.738 | 9.046 | 96.467 | 9.291 | 94.1 | 7.039 | 889.3 | 13.181 | 45.165
2020-03-31 17:45:00 | 8.686 | 98.777 | 8.518 | 92.941 | 7.893 | 96.067 | 8.158 | 88.767 | 6.884 | 889.767 | 13.259 | 47.5845
2020-03-31 18:00:00 | 9.732 | 95.243 | 9.207 | 89.974 | 9.401 | 92.7 | 9.461 | 88.567 | 6.667 | 889.233 | 13.408 | 49.5215
2020-03-31 18:15:00 | 10.408 | 89.887 | 10.694 | 88.105 | 10.412 | 91.833 | 10.598 | 87.433 | 6.545 | 889.3 | 13.595 | 48.747
2020-03-31 18:30:00 | 11.089 | 93.327 | 10.98 | 89.005 | 10.778 | 92.6 | 10.849 | 87.4 | 6.651 | 889.567 | 13.792 | 48.4983
2020-03-31 18:45:00 | 10.866 | 95.697 | 11.185 | 91.711 | 10.556 | 94.5 | 10.342 | 90.433 | 6.571 | 889.433 | 13.744 | 46.9344
2020-03-31 19:00:00 | 11.19 | 96.39 | 11.436 | 91.941 | 10.765 | 98.233 | 10.433 | 93.1 | 6.234 | 889.4 | 14.075 | 47.9732
2020-03-31 19:15:00 | 10.382 | 95.7 | 10.819 | 91.858 | 9.927 | 97.1 | 9.018 | 90.867 | 6.095 | 889.2 | 14.288 | 47.1227
2020-03-31 19:30:00 | 10.456 | 97.09 | 10.378 | 93.548 | 9.8 | 98.433 | 9.294 | 91.033 | 6.15 | 889.767 | 14.368 | 47.1589
2020-03-31 19:45:00 | 9.171 | 98.393 | 9.327 | 93.858 | 8.446 | 100.333 | 8.101 | 94.267 | 5.922 | 889.1 | 14.504 | 47.949
2020-03-31 20:00:00 | 9.462 | 93.043 | 9.96 | 87.243 | 9.418 | 94.833 | 9.154 | 88.967 | 5.309 | 889.1 | 14.848 | 48.8543
2020-03-31 20:15:00 | 8.583 | 93.867 | 9.268 | 88.646 | 8.655 | 94 | 8.339 | 89.067 | 4.835 | 889.333 | 15.384 | 45.5161
2020-03-31 20:30:00 | 8.141 | 92.293 | 9.154 | 87.382 | 8.5 | 92.667 | 8.256 | 88.333 | 4.498 | 889.6 | 15.643 | 43.621
2020-03-31 20:45:00 | 7.092 | 86.08 | 8.283 | 83.478 | 8.38 | 89.6 | 8.61 | 84.133 | 4.184 | 889.4 | 15.904 | 45.1487
2020-03-31 21:00:00 | 7.4 | 90.003 | 8.38 | 84.146 | 8.078 | 90.433 | 7.903 | 86 | 4.108 | 889.367 | 16.44 | 54.035
2020-03-31 21:15:00 | 6.902 | 90.037 | 7.458 | 83.883 | 7.679 | 88.233 | 7.862 | 85.933 | 3.826 | 889.467 | 17.003 | 57.504
2020-03-31 21:30:00 | 6.822 | 89.933 | 7.395 | 85.626 | 6.895 | 90.433 | 7.063 | 86.667 | 3.606 | 889.467 | 17.531 | 56.8276
2020-03-31 21:45:00 | 6.91 | 90.577 | 7.221 | 87.584 | 6.535 | 93.133 | 6.759 | 87 | 3.034 | 890 | 17.909 | 56.2399
2020-03-31 22:00:00 | 6.31 | 96.1 | 5.86 | 93.666 | 4.973 | 98.667 | 5.298 | 95.3 | 3.337 | 889.4 | 18.056 | 57.094
2020-03-31 22:15:00 | 6.216 | 101.367 | 6.475 | 100.375 | 5.644 | 104.5 | 6.212 | 99.7 | 3.254 | 889.567 | 18.128 | 47.7501
2020-03-31 22:30:00 | 5.156 | 99.067 | 5.605 | 99.682 | 5.435 | 101.6 | 6.16 | 102.1 | 3.421 | 889.533 | 17.963 | 41.3507
2020-03-31 22:45:00 | 4.954 | 107.3 | 5.88 | 102.467 | 5.853 | 107.8 | 6.789 | 104.567 | 3.104 | 889.567 | 18.307 | 41.0914
2020-03-31 23:00:00 | 4.756 | 110.59 | 5.772 | 104.162 | 6.34 | 107.6 | 6.78 | 100.633 | 3.025 | 889.533 | 18.843 | 38.1752
2020-03-31 23:15:00 | 4.626 | 115.833 | 5.525 | 112.368 | 6.304 | 117.9 | 6.748 | 111.5 | 3.221 | 889.633 | 18.824 | 29.286
2020-03-31 23:30:00 | 2.936 | 131.377 | 3.535 | 123.531 | 3.864 | 128.1 | 3.817 | 126.733 | 2.668 | 889.167 | 19.48 | 19.9946
2020-03-31 23:45:00 | 3.411 | 114.633 | 3.97 | 110.868 | 4.452 | 114.6 | 4.822 | 110.133 | 2.598 | 889.167 | 19.704 | 13.9797