## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-01 00:00:00 | 3.898 | 101.933 | 3.976 | 100.516 | 4.414 | 107.633 | 5.153 | 102.433 | 3.204 | 889.4 | 19.232 | 17.8821
2020-04-01 00:15:00 | 4.474 | 100.693 | 4.741 | 99.805 | 5.228 | 104.233 | 6.312 | 103.967 | 2.916 | 889.433 | 19.144 | 19.1235
2020-04-01 00:30:00 | 4.415 | 94.733 | 4.502 | 95.425 | 4.345 | 99.067 | 5.098 | 99.333 | 2.968 | 889.7 | 18.653 | 21.7789
2020-04-01 00:45:00 | 3.974 | 95.133 | 4.563 | 93.908 | 4.747 | 100.867 | 5.372 | 100.3 | 2.238 | 889.333 | 19.069 | 24.2758
2020-04-01 01:00:00 | 2.473 | 94.423 | 3.076 | 86.511 | 2.971 | 96.767 | 3.129 | 90.567 | 2.266 | 889.233 | 18.904 | 24.4947
2020-04-01 01:15:00 | 1.017 | 120.14 | 2.034 | 96.164 | 2.652 | 100.333 | 3.018 | 96.9 | 1.439 | 889.2 | 19.861 | 20.9169
2020-04-01 01:30:00 | 1.477 | 77.407 | 2.136 | 86.614 | 2.563 | 93.733 | 2.87 | 92.767 | 1.686 | 889.183 | 20.416 | 16.137
2020-04-01 01:45:00 | 1.774 | 89.433 | 2.956 | 87.248 | 2.726 | 96.933 | 3.053 | 91.767 | 1.499 | 889.517 | 20.755 | 12.0683
2020-04-01 02:00:00 | 2.884 | 107.27 | 3.206 | 99.044 | 3.084 | 103.5 | 3.525 | 97.133 | 1.793 | 889.333 | 20.552 | 7.7843
2020-04-01 02:15:00 | 3.236 | 115.54 | 3.741 | 104.767 | 4.176 | 110.6 | 4.624 | 106.6 | 2.164 | 889.433 | 20.077 | 7.866
2020-04-01 02:30:00 | 3.966 | 95.92 | 4.486 | 87.585 | 4.124 | 93.633 | 4.048 | 91.933 | 2.385 | 889.233 | 19.776 | 16.7445
2020-04-01 02:45:00 | 5.029 | 94.907 | 5.671 | 88.908 | 4.979 | 91.967 | 4.975 | 86.767 | 1.506 | 889.817 | 20.912 | 23.4537
2020-04-01 03:00:00 | 4.71 | 100.597 | 5.14 | 92.342 | 4.494 | 96.267 | 4.35 | 90.767 | 1.543 | 889.783 | 21.253 | 21.7256
2020-04-01 03:15:00 | 4.954 | 96.007 | 5.708 | 90.254 | 5.19 | 93.4 | 5.231 | 91.2 | 0.865 | 889.967 | 21.893 | 29.4708
2020-04-01 03:30:00 | 6.721 | 92.773 | 6.973 | 85.233 | 6.214 | 94.067 | 5.724 | 89.533 | 0.948 | 889.667 | 22.032 | 31.9158
2020-04-01 03:45:00 | 5.749 | 90.9 | 6.216 | 85.813 | 5.622 | 91.467 | 5.886 | 87.3 | 0.715 | 889.583 | 22.773 | 32.2228
2020-04-01 04:00:00 | 4.873 | 90.507 | 5.387 | 88.821 | 4.365 | 95.933 | 4.468 | 94.2 | 0 | 889.55 | 23.531 | 33.3561
2020-04-01 04:15:00 | 4.79 | 82.337 | 5.756 | 80.902 | 5.307 | 91 | 4.669 | 91.1 | -0.07 | 889.883 | 23.973 | 28.9719
2020-04-01 04:30:00 | 4.708 | 86.143 | 5.421 | 84.151 | 4.866 | 93.333 | 4.595 | 91.867 | -0.183 | 889.833 | 23.867 | 24.2801
2020-04-01 04:45:00 | 4.714 | 93.217 | 5.084 | 89.619 | 3.625 | 97.967 | 4.032 | 95.567 | -0.236 | 889.95 | 23.744 | 17.9134
2020-04-01 05:00:00 | 3.744 | 101.967 | 4.401 | 93.174 | 3.19 | 103.267 | 3.619 | 98.833 | -0.949 | 889.633 | 24.448 | 8.1566
2020-04-01 05:15:00 | 4.663 | 202.24 | 4.144 | 174.238 | 3.508 | 156.3 | 3.499 | 134.933 | -3.878 | 890.083 | 25.019 | 0.69138
2020-04-01 05:30:00 | 5.139 | 220.507 | 3.232 | 206.186 | 3.034 | 192.533 | 2.934 | 172.567 | -5.555 | 889.517 | 28.821 | 0.31194
2020-04-01 05:45:00 | 4.024 | 237.1 | 2.166 | 230.476 | 1.848 | 217 | 1.807 | 189.167 | -5.485 | 889.25 | 29.653 | 0.2558
2020-04-01 06:00:00 | 1.792 | 254.247 | 0 | 227.446 | 0 | 221.083 | 1.011 | 164.4 | -2.744 | 889.95 | 28.624 | 0.24372
2020-04-01 06:15:00 | 2.933 | 258.12 | 0 | 227.516 | 0.26 | 157.408 | 1.882 | 108.933 | -2.679 | 889.783 | 27.083 | 0.63454
2020-04-01 06:30:00 | 1.946 | 248.08 | 0.033 | 352.837 | 1.373 | 83.6 | 2.691 | 87.033 | -2.781 | 889.7 | 26.805 | 1.7935
2020-04-01 06:45:00 | 0.825 | 245.853 | 0.04 | 156.801 | 1.476 | 96.7 | 2.472 | 83.067 | -2.932 | 889.683 | 27.221 | 1.8027
2020-04-01 07:00:00 | 1.135 | 227.907 | 0 | 155.493 | 0.679 | 92.3 | 1.946 | 86.8 | -2.362 | 890.167 | 26.603 | 0.36097
2020-04-01 07:15:00 | 1.087 | 243.107 | 0 | 155.488 | 0.093 | 109 | 1.139 | 106.933 | -2.28 | 889.667 | 26.272 | 0.41071
2020-04-01 07:30:00 | 0 | 194.223 | 1.193 | 91.59 | 2.349 | 84.967 | 3.275 | 82.6 | -1.933 | 889.767 | 26.347 | 2.7584
2020-04-01 07:45:00 | 0.41 | 71.84 | 2.303 | 68.236 | 3.144 | 74.767 | 3.989 | 72.833 | -1.66 | 889.45 | 25.467 | 5.2795
2020-04-01 08:00:00 | 1.877 | 33.979 | 2.809 | 51.224 | 3.645 | 62.5 | 4.732 | 64.067 | -1.359 | 889.667 | 24.571 | 6.4846
2020-04-01 08:15:00 | 0.453 | 153.383 | 1.137 | 89.682 | 2.038 | 96.867 | 2.289 | 94.2 | -1.209 | 890.083 | 23.152 | 2.7733
2020-04-01 08:30:00 | 0.383 | 200.74 | 0.826 | 138.76 | 1.775 | 122.9 | 2.721 | 116.767 | -0.07 | 890.05 | 22.203 | 0.86263
2020-04-01 08:45:00 | 0 | 197.64 | 0.17 | 93.213 | 1.463 | 122.167 | 2.143 | 124.6 | 0.399 | 889.867 | 21.2 | 0.25651
2020-04-01 09:00:00 | 0.573 | 189.207 | 0.287 | 94.278 | 1.622 | 164.033 | 1.72 | 147 | 1.68 | 889.5 | 18.749 | 0.24586
2020-04-01 09:15:00 | 0.702 | 243.74 | 0 | 169.817 | 0 | 171.033 | 1.176 | 146.5 | 2.201 | 889.533 | 18.016 | 0.25722
2020-04-01 09:30:00 | 0.239 | 326.707 | 0 | 61.228 | 0.935 | 78.167 | 2.798 | 88.033 | 3.199 | 889.233 | 16.965 | 0.32331
2020-04-01 09:45:00 | 1.73 | 41.432 | 1.483 | 47.388 | 1.846 | 65.967 | 2.529 | 80.767 | 2.456 | 889.433 | 17.309 | 5.0607
2020-04-01 10:00:00 | 4.81 | 88.733 | 4.851 | 87.752 | 5.093 | 91.867 | 5.615 | 87.7 | 3.138 | 889.133 | 18.637 | 18.4307
2020-04-01 10:15:00 | 6.409 | 85.633 | 6.377 | 80.412 | 6.446 | 84.9 | 6.301 | 84.067 | 3.605 | 889.5 | 19.176 | 32.0515
2020-04-01 10:30:00 | 6.187 | 105.803 | 6.317 | 99.676 | 6.372 | 104.1 | 6.47 | 96.233 | 4.206 | 889.533 | 18.813 | 55.5457
2020-04-01 10:45:00 | 10.24 | 103.5 | 9.56 | 98.155 | 8.99 | 105.1 | 8.74 | 97.267 | 4.869 | 889 | 18.76 | 48.6859
2020-04-01 11:00:00 | 10.9 | 103.65 | 10.234 | 97.465 | 9.837 | 103.467 | 9.475 | 97 | 5.168 | 889.6 | 19.552 | 45.5551
2020-04-01 11:15:00 | 11.356 | 105 | 11.253 | 98.798 | 10.797 | 101.2 | 10.687 | 97.033 | 5.862 | 889.133 | 19.117 | 44.5959
2020-04-01 11:30:00 | 11.643 | 93.647 | 11.437 | 89.672 | 10.344 | 97 | 10.239 | 90.367 | 6.124 | 889.3 | 19.579 | 44.5426
2020-04-01 11:45:00 | 11.945 | 97.353 | 12.362 | 92.014 | 11.843 | 95.533 | 11.546 | 89.9 | 6.645 | 889.267 | 18.648 | 44.743
2020-04-01 12:00:00 | 13.424 | 95.69 | 13.455 | 92.932 | 13.316 | 96.867 | 13.483 | 91.867 | 6.548 | 889.567 | 18.861 | 44.9178
2020-04-01 12:15:00 | 12.933 | 96.73 | 13.089 | 90.939 | 12.956 | 96.333 | 13.553 | 91.633 | 6.638 | 889.533 | 18.877 | 44.7188
2020-04-01 12:30:00 | 12.88 | 88.307 | 13.047 | 85.564 | 12.937 | 88.467 | 13.368 | 86.833 | 6.731 | 889.8 | 18.941 | 45.0435
2020-04-01 12:45:00 | 12.855 | 107.267 | 13.433 | 101.142 | 13.706 | 106.067 | 13.786 | 101.633 | 7.056 | 889.5 | 18.133 | 45.3413
2020-04-01 13:00:00 | 12.168 | 107.1 | 12.533 | 101.856 | 12.621 | 107.267 | 12.766 | 101.8 | 7.206 | 889.1 | 18.621 | 45.5566
2020-04-01 13:15:00 | 12.77 | 94.967 | 13.114 | 93.389 | 12.864 | 97.967 | 12.856 | 93.467 | 7.589 | 889.6 | 17.467 | 45.4024
2020-04-01 13:30:00 | 12.55 | 101.317 | 12.366 | 97.679 | 12.442 | 103.733 | 12.591 | 97.8 | 7.689 | 889.233 | 17.325 | 45.3917
2020-04-01 13:45:00 | 10.997 | 98.333 | 10.727 | 92.16 | 10.364 | 96.233 | 10.928 | 92.3 | 7.572 | 889.433 | 17.067 | 44.7181
2020-04-01 14:00:00 | 10.051 | 87.69 | 10.524 | 83.328 | 10.285 | 88.733 | 10.574 | 85.533 | 8.434 | 889.333 | 16.272 | 44.8169
2020-04-01 14:15:00 | 11.92 | 100.58 | 11.977 | 94.858 | 11.635 | 97.8 | 11.301 | 92.567 | 8.841 | 889.4 | 15.907 | 44.679
2020-04-01 14:30:00 | 11.599 | 103.493 | 11.974 | 97.148 | 12.168 | 102.367 | 12.496 | 97.667 | 8.728 | 889.333 | 15.595 | 44.7977
2020-04-01 14:45:00 | 11.547 | 97.533 | 11.566 | 89.396 | 11.528 | 91.9 | 11.738 | 88.233 | 8.837 | 889.3 | 15.651 | 45.1586
2020-04-01 15:00:00 | 11.755 | 83.36 | 12.076 | 83.281 | 12.106 | 86.867 | 12.347 | 83.133 | 9.12 | 889.267 | 16.595 | 45.2304
2020-04-01 15:15:00 | 12.25 | 106.967 | 12.88 | 102.853 | 12.921 | 107.367 | 13.267 | 102.167 | 9.849 | 889.433 | 16.429 | 45.8138
2020-04-01 15:30:00 | 11.843 | 96.887 | 11.95 | 93.667 | 11.662 | 95.933 | 11.85 | 92.4 | 9.416 | 889.833 | 16.669 | 47.8865
2020-04-01 15:45:00 | 13.545 | 100.933 | 13.648 | 98.54 | 13.816 | 103.267 | 13.845 | 98.067 | 9.624 | 889.1 | 16.891 | 47.3095
2020-04-01 16:00:00 | 12.192 | 99.42 | 12.2 | 93.65 | 11.758 | 100.967 | 11.672 | 97.867 | 9.82 | 889.2 | 16.773 | 47.323
2020-04-01 16:15:00 | 12.679 | 100.8 | 12.235 | 96.4 | 12.407 | 102.167 | 12.309 | 97.467 | 9.341 | 889.5 | 16.933 | 46.6722
2020-04-01 16:30:00 | 13.966 | 98.367 | 13.868 | 94.368 | 13.852 | 100.167 | 13.441 | 95.667 | 9.783 | 889.467 | 17.088 | 47.3287
2020-04-01 16:45:00 | 13.088 | 94.94 | 13.396 | 90.838 | 12.953 | 95.833 | 13.086 | 93.2 | 9.495 | 889.633 | 17.136 | 48.0322
2020-04-01 17:00:00 | 12.446 | 91.82 | 13.192 | 87.618 | 13.076 | 90.933 | 13.033 | 88.167 | 10.191 | 889.733 | 17.048 | 49.4419
2020-04-01 17:15:00 | 13.635 | 93.597 | 14.297 | 92.139 | 14.161 | 97.1 | 14.733 | 92.6 | 9.772 | 889.733 | 17.605 | 49.5698
2020-04-01 17:30:00 | 14.075 | 93.773 | 14.552 | 87.44 | 14.069 | 92.2 | 13.765 | 89.867 | 9.728 | 889.633 | 17.939 | 48.3235
2020-04-01 17:45:00 | 13.289 | 100.22 | 13.592 | 97.359 | 13.376 | 101.167 | 13.002 | 96.433 | 9.637 | 889.5 | 17.813 | 47.7941
2020-04-01 18:00:00 | 13.578 | 91.533 | 14.216 | 87.216 | 14.278 | 91.633 | 14.712 | 87.467 | 9.783 | 889.833 | 18.032 | 48.5267
2020-04-01 18:15:00 | 13.239 | 93.18 | 13.11 | 89.89 | 13.443 | 94.1 | 13.698 | 89.067 | 9.37 | 889.833 | 18.155 | 48.4805
2020-04-01 18:30:00 | 13.035 | 92.88 | 13.182 | 86.485 | 12.949 | 92.367 | 12.972 | 87.267 | 9.654 | 889.467 | 17.76 | 48.5608
2020-04-01 18:45:00 | 13.101 | 95.113 | 13.394 | 91.89 | 13.084 | 98.3 | 12.861 | 93.433 | 9.758 | 889.333 | 17.512 | 49.2409
2020-04-01 19:00:00 | 12.731 | 94.913 | 13.352 | 90.552 | 13.162 | 94.867 | 12.999 | 91.2 | 9.383 | 889.2 | 17.941 | 49.3496
2020-04-01 19:15:00 | 12.214 | 94.28 | 13.284 | 88.599 | 13.333 | 93.767 | 13.218 | 87.9 | 9.058 | 889.633 | 17.789 | 47.4232
2020-04-01 19:30:00 | 12.054 | 98.073 | 12.686 | 92.199 | 12.231 | 98.8 | 12.132 | 91.6 | 8.895 | 889.667 | 18.24 | 47.2129
2020-04-01 19:45:00 | 11.2 | 95.1 | 11.555 | 91.338 | 11.058 | 96.767 | 10.693 | 91.033 | 8.691 | 889.533 | 18.528 | 46.9088
2020-04-01 20:00:00 | 9.858 | 97.947 | 10.156 | 93.304 | 9.532 | 100.2 | 9.337 | 93.867 | 8.177 | 889.433 | 18.765 | 45.2425
2020-04-01 20:15:00 | 9.652 | 96.393 | 9.31 | 93.954 | 8.726 | 97.8 | 8.496 | 96.467 | 7.88 | 889.367 | 19.304 | 45.4379
2020-04-01 20:30:00 | 7.597 | 97.233 | 7.425 | 92.338 | 6.21 | 100.9 | 6.391 | 95.3 | 7.372 | 889.5 | 19.56 | 46.5492
2020-04-01 20:45:00 | 7.958 | 103.667 | 8.292 | 98.092 | 7.341 | 103.533 | 7.013 | 100.867 | 7.256 | 889.533 | 19.917 | 47.7835
2020-04-01 21:00:00 | 6.999 | 98.573 | 7.138 | 95.722 | 6.358 | 105.867 | 6.402 | 97.733 | 6.797 | 889.4 | 20.195 | 48.2738
2020-04-01 21:15:00 | 6.798 | 99.917 | 6.901 | 98.828 | 5.725 | 101.967 | 5.93 | 95.8 | 6.559 | 890.033 | 20.269 | 49.194
2020-04-01 21:30:00 | 6.366 | 105.68 | 7.491 | 101.306 | 7.503 | 107.367 | 7.168 | 100.4 | 6.058 | 889.65 | 20.656 | 51.6674
2020-04-01 21:45:00 | 6.67 | 109.023 | 8.033 | 104.37 | 8.202 | 109.467 | 7.571 | 100.967 | 5.769 | 889.633 | 21.003 | 53.8567
2020-04-01 22:00:00 | 5.955 | 114.943 | 7.318 | 107.11 | 7.7 | 109.367 | 7.319 | 103.267 | 5.704 | 889.65 | 21.141 | 53.0488
2020-04-01 22:15:00 | 6.595 | 115.243 | 7.56 | 107.525 | 7.817 | 112.9 | 7.729 | 107.333 | 5.359 | 889.783 | 21.189 | 45.9211
2020-04-01 22:30:00 | 5.363 | 121.9 | 7.142 | 113.806 | 7.737 | 118.7 | 8.164 | 112.233 | 5.15 | 890.167 | 21.627 | 36.7803
2020-04-01 22:45:00 | 5.332 | 131.463 | 6.015 | 121.115 | 6.33 | 124.8 | 7.069 | 117.5 | 5.636 | 890 | 21.2 | 31.0269
2020-04-01 23:00:00 | 4.245 | 131.157 | 5.392 | 121.446 | 5.87 | 124.133 | 6.179 | 119.167 | 4.995 | 889.583 | 21.856 | 33.4535
2020-04-01 23:15:00 | 4.172 | 130.94 | 5.463 | 120.021 | 6.064 | 122.033 | 6.724 | 116.867 | 4.699 | 889.633 | 21.627 | 34.9798
2020-04-01 23:30:00 | 5.594 | 116.41 | 6.608 | 111.021 | 6.862 | 111.6 | 7.162 | 107.333 | 4.945 | 889.617 | 20.949 | 33.0634
2020-04-01 23:45:00 | 5.799 | 111.277 | 6.079 | 105.011 | 5.996 | 106.2 | 6.646 | 105 | 5.392 | 889.667 | 19.872 | 36.0826