## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-02 00:00:00 | 5.882 | 104.627 | 5.763 | 100.521 | 5.714 | 103.1 | 6.214 | 98.833 | 5.689 | 889.333 | 18.496 | 40.5606
2020-04-02 00:15:00 | 6.087 | 108.737 | 6.41 | 103.566 | 6.192 | 108.9 | 6.63 | 102.733 | 5.55 | 889.5 | 17.989 | 46.3424
2020-04-02 00:30:00 | 6.206 | 116.16 | 7.764 | 111.133 | 8.401 | 116.2 | 8.682 | 111.033 | 5.057 | 890.067 | 18.019 | 56.7977
2020-04-02 00:45:00 | 6.79 | 122.63 | 8.046 | 116.051 | 8.489 | 121.3 | 8.862 | 119.033 | 5.028 | 889.233 | 17.672 | 38.4182
2020-04-02 01:00:00 | 4.746 | 136.237 | 6.254 | 122.115 | 6.638 | 124.333 | 6.818 | 123.6 | 5.021 | 889.167 | 17.776 | 16.5725
2020-04-02 01:15:00 | 3.272 | 181.453 | 3.629 | 142.11 | 3.734 | 134.867 | 4.343 | 125.4 | 2.488 | 889.65 | 20.368 | 8.2838
2020-04-02 01:30:00 | 2.522 | 185.22 | 2.548 | 140.533 | 2.884 | 133.067 | 3.308 | 126.7 | 3.084 | 889.8 | 20.48 | 5.5993
2020-04-02 01:45:00 | 1.514 | 137.067 | 2.92 | 111.158 | 3.209 | 111.133 | 3.511 | 101.667 | 3.321 | 889.8 | 20.779 | 8.2255
2020-04-02 02:00:00 | 3.168 | 89.808 | 3.73 | 88.697 | 3.824 | 93.367 | 4.38 | 90.067 | 4.795 | 889.467 | 19.125 | 16.5363
2020-04-02 02:15:00 | 3.912 | 101.197 | 4.591 | 97.238 | 4.748 | 103.167 | 5.143 | 95.733 | 4.749 | 889.333 | 18.587 | 24.2523
2020-04-02 02:30:00 | 4.919 | 108.15 | 5.652 | 102.369 | 5.306 | 104.633 | 5.58 | 100.433 | 3.872 | 889.467 | 19.717 | 26.178
2020-04-02 02:45:00 | 4.361 | 121.47 | 5.762 | 112.097 | 6.536 | 114.2 | 6.994 | 109.133 | 3.743 | 889.417 | 20.32 | 26.988
2020-04-02 03:00:00 | 4.702 | 136.373 | 5.544 | 124.613 | 5.608 | 125.433 | 5.981 | 118.267 | 2.895 | 889.633 | 21.125 | 11.9411
2020-04-02 03:15:00 | 4.864 | 187.827 | 4.311 | 159.39 | 4.203 | 152.233 | 5.047 | 143.933 | 0.047 | 889.917 | 23.536 | 3.7156
2020-04-02 03:30:00 | 3.873 | 184.96 | 3.424 | 151.149 | 3.493 | 139.033 | 4.168 | 128.133 | 0.802 | 890.067 | 24.571 | 1.2044
2020-04-02 03:45:00 | 2.923 | 199.32 | 2.087 | 152.419 | 2.908 | 129.933 | 3.964 | 113.367 | -1.539 | 889.15 | 25.792 | 0.71767
2020-04-02 04:00:00 | 1.918 | 195.847 | 1.734 | 129.959 | 2.671 | 115.233 | 3.343 | 105.467 | 1.246 | 889.583 | 24.224 | 1.6357
2020-04-02 04:15:00 | 1.269 | 137 | 2.188 | 106.53 | 2.825 | 107.033 | 3.453 | 102.567 | 3.505 | 889.683 | 22.629 | 6.7234
2020-04-02 04:30:00 | 3.206 | 99.513 | 3.328 | 97.245 | 3.831 | 101.667 | 4.877 | 101.467 | 4.302 | 889.383 | 20.003 | 11.3605
2020-04-02 04:45:00 | 3.807 | 117.333 | 4.949 | 106.573 | 5.568 | 114.267 | 6.105 | 109.533 | 4.206 | 888.867 | 18.824 | 7.7395
2020-04-02 05:00:00 | 4.104 | 189.773 | 3.694 | 138.592 | 4.092 | 124.4 | 4.927 | 108.567 | 0.143 | 889.717 | 22.069 | 2.9183
2020-04-02 05:15:00 | 4.569 | 211.5 | 3.591 | 193.336 | 3.307 | 182.167 | 3.161 | 156.033 | -3.304 | 889.7 | 27.291 | 0.46684
2020-04-02 05:30:00 | 2.537 | 215.913 | 1.53 | 186.788 | 1.692 | 152.5 | 2.523 | 124.733 | 2.179 | 889.633 | 22.469 | 0.089531
2020-04-02 05:45:00 | 1.537 | 212.633 | 0.13 | 162.677 | 0.436 | 120.5 | 2.276 | 106.7 | 2.335 | 889.517 | 21.211 | 0.27073
2020-04-02 06:00:00 | 1.925 | 218.167 | 0 | 145.576 | 0.227 | 114.8 | 1.717 | 107.467 | 1.965 | 889.867 | 21.275 | 0.22596
2020-04-02 06:15:00 | 3.251 | 221.647 | 0.186 | 196.956 | 0 | 87 | 0.533 | 93 | 1.139 | 889.767 | 21.76 | 0.22312
2020-04-02 06:30:00 | 3.19 | 221.207 | 0 | 204.509 | 0 | 223 | 0 | 92.9 | 0.668 | 889.883 | 21.893 | 0.24444
2020-04-02 06:45:00 | 2.653 | 221.987 | 0 | 204.604 | 0 | 223 | 0.414 | 93.033 | -0.698 | 889.917 | 23.552 | 0.21388
2020-04-02 07:00:00 | 2.27 | 237.727 | 0 | 265.187 | 0.056 | 51.004 | 1.656 | 72.633 | 0.116 | 889.8 | 23.413 | 2.2028
2020-04-02 07:15:00 | 1.168 | 265.853 | 0.233 | 249.074 | 1.74 | 69.962 | 3.104 | 74.567 | 1.389 | 889.9 | 22.336 | 14.2135
2020-04-02 07:30:00 | 0.566 | 203.48 | 1.144 | 74.177 | 3.339 | 87.633 | 3.854 | 83.967 | 0.549 | 889.917 | 21.851 | 21.9174
2020-04-02 07:45:00 | 2.198 | 100.153 | 3.996 | 101.357 | 3.848 | 102.9 | 3.988 | 95.6 | 0.765 | 889.617 | 20.96 | 8.7179
2020-04-02 08:00:00 | 3.02 | 189.433 | 2.649 | 162.018 | 2.84 | 145.5 | 2.998 | 131.133 | 1.493 | 889.4 | 19.693 | 2.8977
2020-04-02 08:15:00 | 6.583 | 217.3 | 3.843 | 205.206 | 3.168 | 183.9 | 3.293 | 152.3 | -1.546 | 889.633 | 23.461 | 0.89034
2020-04-02 08:30:00 | 5.452 | 220.54 | 4.125 | 217.913 | 3.453 | 204.567 | 3.598 | 186.767 | -1.372 | 889.417 | 24.293 | 0.11795
2020-04-02 08:45:00 | 4.538 | 221.813 | 3.061 | 208.478 | 2.666 | 193.067 | 2.839 | 172.333 | -0.482 | 889.967 | 23.867 | 0.25936
2020-04-02 09:00:00 | 2.808 | 223.713 | 1.408 | 214.783 | 1.713 | 204 | 1.768 | 167.5 | 2.119 | 889.533 | 20.776 | 0.24444
2020-04-02 09:15:00 | 1.173 | 238.247 | 0 | 214.429 | 0 | 204 | 1.388 | 146 | 5.505 | 889.467 | 17.867 | 0.22738
2020-04-02 09:30:00 | 0.274 | 132.58 | 1.167 | 104.601 | 1.88 | 110.217 | 3.022 | 110.633 | 6.989 | 889.667 | 14.696 | 3.8697
2020-04-02 09:45:00 | 4.055 | 106.797 | 4.317 | 97.334 | 4.426 | 100.7 | 4.602 | 91.2 | 6.452 | 889.667 | 13.32 | 15.3184
2020-04-02 10:00:00 | 4.865 | 93.713 | 4.933 | 86.994 | 5.027 | 90.4 | 5.038 | 85.1 | 6.208 | 889.367 | 14.189 | 17.1062
2020-04-02 10:15:00 | 4.884 | 85.55 | 4.961 | 77.88 | 5.181 | 84.733 | 5.193 | 78.867 | 6.061 | 889.267 | 14.741 | 11.0394
2020-04-02 10:30:00 | 3.044 | 124.707 | 3.173 | 111.975 | 3.55 | 109.767 | 4.029 | 109.433 | 6.776 | 889.9 | 14.448 | 10.7907
2020-04-02 10:45:00 | 3.544 | 53.609 | 3.297 | 54.634 | 2.974 | 74.433 | 2.946 | 79.4 | 7.442 | 889.3 | 13.397 | 19.4894
2020-04-02 11:00:00 | 5.076 | 97.537 | 5.963 | 94.317 | 6.098 | 96.567 | 6.137 | 94.4 | 8.398 | 889.2 | 11.792 | 43.0277
2020-04-02 11:15:00 | 9.365 | 102.42 | 9.186 | 94.786 | 9.11 | 99.633 | 9.341 | 96.967 | 9.091 | 889.733 | 11.555 | 51.6596
2020-04-02 11:30:00 | 11.362 | 83.287 | 11.585 | 79.509 | 11.868 | 85.133 | 12.299 | 81.767 | 9.074 | 889.633 | 11.907 | 49.3624
2020-04-02 11:45:00 | 10.695 | 98.007 | 9.749 | 93.152 | 9.698 | 99.867 | 9.837 | 94.133 | 8.995 | 889.933 | 11.104 | 47.5106
2020-04-02 12:00:00 | 10.268 | 89.92 | 10.134 | 87.666 | 9.498 | 92.733 | 9.509 | 87.2 | 9.174 | 889.6 | 11.093 | 46.0639
2020-04-02 12:15:00 | 11.108 | 86.133 | 11.756 | 80.869 | 11.345 | 87.033 | 10.914 | 87.4 | 9.849 | 889.533 | 11.035 | 45.2169
2020-04-02 12:30:00 | 11.08 | 90.9 | 11.265 | 85.015 | 10.864 | 91.567 | 11.16 | 85.2 | 9.766 | 889.633 | 11.005 | 44.9377
2020-04-02 12:45:00 | 12.712 | 87.793 | 12.763 | 83.712 | 12.944 | 87.967 | 13.159 | 83.6 | 10.078 | 889.8 | 11.309 | 44.6683
2020-04-02 13:00:00 | 11.898 | 87.897 | 12.303 | 83.921 | 12.875 | 87.333 | 13.159 | 83.6 | 10.26 | 889.267 | 11.043 | 44.7316
2020-04-02 13:15:00 | 12.337 | 94.537 | 12.022 | 90.634 | 11.43 | 95.667 | 11.474 | 90.133 | 10.147 | 889.3 | 10.795 | 44.8211
2020-04-02 13:30:00 | 12.006 | 91.98 | 12.422 | 86.632 | 11.99 | 93.4 | 12.145 | 88.2 | 10.774 | 889.433 | 10.644 | 44.3635
2020-04-02 13:45:00 | 10.292 | 99.867 | 10.66 | 96.387 | 10.795 | 101.367 | 11.362 | 96.067 | 10.861 | 889.067 | 10.245 | 44.6584
2020-04-02 14:00:00 | 11.084 | 91.833 | 11.124 | 85.654 | 11.093 | 91.733 | 11.341 | 87.4 | 10.728 | 889.7 | 10.352 | 43.567
2020-04-02 14:15:00 | 10.201 | 99.367 | 9.881 | 95.258 | 9.644 | 97.167 | 9.665 | 89.6 | 11.078 | 888.833 | 10.063 | 44.0004
2020-04-02 14:30:00 | 11.195 | 89.533 | 11.424 | 83.421 | 11.263 | 90.367 | 11.459 | 85.2 | 11.145 | 889.367 | 10.147 | 43.9038
2020-04-02 14:45:00 | 10.82 | 94.56 | 10.649 | 93.204 | 10.448 | 97.7 | 10.452 | 94.3 | 11.62 | 889.267 | 9.399 | 44.1084
2020-04-02 15:00:00 | 8.709 | 107.87 | 8.919 | 101.84 | 9.135 | 105.767 | 9.45 | 96.1 | 12.282 | 888.867 | 9.085 | 44.0537
2020-04-02 15:15:00 | 10.397 | 106.057 | 10.92 | 97.297 | 11.253 | 102.067 | 11.432 | 97.4 | 12.286 | 889 | 9.008 | 44.3003
2020-04-02 15:30:00 | 12.989 | 97.583 | 13.361 | 91.235 | 12.86 | 95.633 | 13.029 | 92.6 | 12.647 | 888.933 | 9.048 | 44.4104
2020-04-02 15:45:00 | 11.161 | 100.8 | 11.559 | 96.94 | 11.38 | 99.833 | 11.186 | 94.633 | 12.453 | 888.867 | 8.793 | 44.6527
2020-04-02 16:00:00 | 11.452 | 99.46 | 11.612 | 95.301 | 11.478 | 99.867 | 11.173 | 97.633 | 12.699 | 889 | 8.541 | 44.6243
2020-04-02 16:15:00 | 12.438 | 90.95 | 12.821 | 83.857 | 13.181 | 88.2 | 13.488 | 85.1 | 12.697 | 888.6 | 8.835 | 44.3443
2020-04-02 16:30:00 | 12.346 | 97.623 | 12.768 | 94.042 | 12.093 | 99.7 | 12.13 | 95 | 13.143 | 888.8 | 8.033 | 44.5653
2020-04-02 16:45:00 | 12.342 | 95.897 | 12.378 | 90.248 | 11.986 | 93.7 | 12.471 | 88.933 | 12.93 | 889.333 | 8.177 | 44.7202
2020-04-02 17:00:00 | 12.474 | 95.52 | 12.878 | 89.896 | 12.352 | 94.967 | 12.072 | 92.2 | 12.978 | 888.933 | 8.229 | 45.8912
2020-04-02 17:15:00 | 12.289 | 95.75 | 12.775 | 90.031 | 12.442 | 94 | 12.177 | 90.367 | 13.022 | 888.8 | 8.063 | 48.4322
2020-04-02 17:30:00 | 12.274 | 98.293 | 12.486 | 95.217 | 12.231 | 96.733 | 12.174 | 93.2 | 13.087 | 889.067 | 7.873 | 49.4483
2020-04-02 17:45:00 | 12.888 | 97.103 | 13.375 | 92.699 | 12.976 | 96.9 | 12.894 | 93 | 12.355 | 889.333 | 8.124 | 49.5883
2020-04-02 18:00:00 | 12.16 | 95.843 | 12.587 | 93.181 | 12.132 | 100.567 | 11.836 | 93.8 | 12.776 | 889 | 7.98 | 46.7446
2020-04-02 18:15:00 | 13.398 | 91.877 | 13.8 | 87.956 | 13.347 | 92.8 | 13.713 | 88.267 | 12.726 | 888.933 | 8.259 | 43.405
2020-04-02 18:30:00 | 12.618 | 92.72 | 12.658 | 86.851 | 13.001 | 92.467 | 12.318 | 89.5 | 12.557 | 888.733 | 7.975 | 42.7079
2020-04-02 18:45:00 | 11.783 | 93.993 | 12.013 | 89.263 | 11.624 | 95 | 11.636 | 88.767 | 12.716 | 889 | 7.951 | 40.5513
2020-04-02 19:00:00 | 11.506 | 96.507 | 12.021 | 92.365 | 11.65 | 97 | 11.218 | 91.333 | 12.478 | 889.2 | 7.935 | 40.5407
2020-04-02 19:15:00 | 10.693 | 96.54 | 10.786 | 95.031 | 10.53 | 97.133 | 10.291 | 93.933 | 12.661 | 888.867 | 7.997 | 40.5833
2020-04-02 19:30:00 | 10.137 | 93.163 | 10.361 | 90.539 | 9.338 | 96.133 | 8.481 | 92 | 11.697 | 889.2 | 8.211 | 38.2875
2020-04-02 19:45:00 | 9.977 | 97.84 | 10 | 92.476 | 9.385 | 99.067 | 9.002 | 93.033 | 11.545 | 889.267 | 8.429 | 39.295
2020-04-02 20:00:00 | 8.61 | 100.06 | 8.991 | 95.13 | 7.939 | 100.167 | 7.458 | 92.867 | 10.816 | 889.133 | 8.889 | 44.9384
2020-04-02 20:15:00 | 8.101 | 99.793 | 7.867 | 97.794 | 7.132 | 102.533 | 7.372 | 98.767 | 10.77 | 889.2 | 9.212 | 52.599
2020-04-02 20:30:00 | 7.246 | 97.67 | 7.056 | 92.592 | 5.898 | 100.533 | 6.06 | 93.5 | 9.914 | 888.733 | 9.471 | 52.4746
2020-04-02 20:45:00 | 6.962 | 103.047 | 7.843 | 99.79 | 7.472 | 101.667 | 7.513 | 97.267 | 8.954 | 889.2 | 9.756 | 53.5732
2020-04-02 21:00:00 | 6.462 | 102.633 | 7.118 | 99.601 | 6.827 | 103.567 | 6.903 | 99.7 | 8.712 | 888.8 | 9.88 | 55.9358
2020-04-02 21:15:00 | 5.63 | 109.393 | 6.909 | 105.303 | 7.578 | 110.367 | 7.826 | 107.867 | 8.397 | 889.033 | 10.08 | 57.681
2020-04-02 21:30:00 | 5.228 | 112.827 | 6.789 | 107.959 | 7.616 | 112.067 | 8.261 | 109.5 | 7.963 | 889.033 | 10.2 | 56.4531
2020-04-02 21:45:00 | 4.756 | 113.467 | 5.899 | 109.316 | 6.741 | 114.067 | 7.568 | 110.167 | 7.846 | 889.8 | 10.44 | 46.7475
2020-04-02 22:00:00 | 3.754 | 109.967 | 5.136 | 105.064 | 5.789 | 112.167 | 6.374 | 108.667 | 7.439 | 889.367 | 10.448 | 37.4888
2020-04-02 22:15:00 | 4.932 | 114.767 | 6.199 | 109.215 | 6.819 | 112.9 | 7.228 | 107.4 | 7.456 | 889.8 | 10.757 | 31.6877
2020-04-02 22:30:00 | 3.955 | 115.41 | 4.924 | 107.824 | 5.311 | 111.933 | 5.672 | 107.3 | 7.406 | 889.433 | 10.629 | 24.3014
2020-04-02 22:45:00 | 2.029 | 162.453 | 2.238 | 140 | 2.95 | 133.733 | 3.772 | 115.767 | 6.436 | 889.633 | 10.779 | 17.8281
2020-04-02 23:00:00 | 2.469 | 143.423 | 2.568 | 132.537 | 2.848 | 132.967 | 3.305 | 125.767 | 7.122 | 889.3 | 10.976 | 14.5197
2020-04-02 23:15:00 | 3.174 | 126.217 | 3.868 | 120.768 | 4.478 | 121.367 | 5.351 | 116.567 | 7.669 | 889.7 | 11.037 | 11.0315
2020-04-02 23:30:00 | 2.892 | 141.357 | 2.854 | 133.007 | 3.23 | 135.3 | 4.052 | 129.833 | 7.506 | 889.867 | 10.861 | 6.0334
2020-04-02 23:45:00 | 2.155 | 188.74 | 2.051 | 137.352 | 3.209 | 126.3 | 4.168 | 123.067 | 6.495 | 889.1 | 10.619 | 3.7411