## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-03 00:00:00 | 2.589 | 205.067 | 1.496 | 155.57 | 2.045 | 144.8 | 2.526 | 124.033 | 5.597 | 889.267 | 10.899 | 1.0424
2020-04-03 00:15:00 | 4.25 | 234.9 | 2.606 | 217.786 | 1.808 | 197.033 | 1.734 | 150.467 | 4.969 | 889.533 | 11.069 | 0.2423
2020-04-03 00:30:00 | 4.172 | 248.5 | 2.662 | 244.144 | 2.083 | 240.4 | 2.103 | 218.167 | 4.139 | 889.433 | 11.24 | 0.22454
2020-04-03 00:45:00 | 4.359 | 247.633 | 2.306 | 252.938 | 2.063 | 248.5 | 1.911 | 229.317 | 3.773 | 889.3 | 11.769 | 0.1343
2020-04-03 01:00:00 | 4.25 | 242.873 | 2.786 | 264.442 | 1.684 | 284.233 | 1.364 | 164.592 | 3.297 | 889.433 | 12.644 | 1.4957
2020-04-03 01:15:00 | 4.743 | 246.34 | 3.576 | 272.368 | 2.851 | 280.033 | 2.416 | 274.067 | 2.234 | 889.433 | 13.869 | 2.8956
2020-04-03 01:30:00 | 5.414 | 255.753 | 4.931 | 272.282 | 4.476 | 285.367 | 4.037 | 289.767 | 2.938 | 889.333 | 14.019 | 5.8536
2020-04-03 01:45:00 | 5.236 | 260.793 | 5.672 | 278.154 | 5.321 | 287.6 | 5.012 | 291.233 | 2.643 | 889.4 | 13.376 | 7.365
2020-04-03 02:00:00 | 5.853 | 257.66 | 5.48 | 269.688 | 5.3 | 277.833 | 5.069 | 279.7 | 3.528 | 889.4 | 12.973 | 8.2127
2020-04-03 02:15:00 | 3.925 | 254.24 | 5.432 | 254.456 | 5.21 | 265.3 | 4.952 | 268.833 | 1.956 | 889.433 | 13.096 | 8.4962
2020-04-03 02:30:00 | 4.491 | 240.767 | 4.935 | 259.879 | 4.747 | 268.467 | 4.466 | 269.633 | 0.432 | 889.533 | 14.496 | 6.3546
2020-04-03 02:45:00 | 5.442 | 244.187 | 4.498 | 255.515 | 4.368 | 264.4 | 4.206 | 262.8 | 1.065 | 889.933 | 14.683 | 2.6639
2020-04-03 03:00:00 | 5.463 | 234.9 | 3.829 | 262.846 | 3.216 | 276.067 | 3.287 | 274.2 | 1.012 | 889.7 | 14.221 | 1.3821
2020-04-03 03:15:00 | 6.001 | 243.807 | 3.816 | 260.701 | 3.481 | 277.133 | 3.663 | 284 | 0.116 | 889.8 | 14.771 | 2.045
2020-04-03 03:30:00 | 5.796 | 243.533 | 4.247 | 262.494 | 3.933 | 268.467 | 3.99 | 269.7 | 1.292 | 889.567 | 13.848 | 4.0261
2020-04-03 03:45:00 | 5.088 | 258.9 | 4.669 | 271.566 | 4.259 | 279.667 | 4.439 | 280.033 | 1.84 | 889.733 | 13.175 | 3.7383
2020-04-03 04:00:00 | 4.406 | 225.8 | 3.98 | 253.236 | 3.892 | 278.467 | 4.393 | 292.067 | -2.172 | 889.333 | 14.716 | 1.1397
2020-04-03 04:15:00 | 4.41 | 238.307 | 4.178 | 249.933 | 3.912 | 265.567 | 3.587 | 274.517 | 2.895 | 889.6 | 12.427 | 1.09
2020-04-03 04:30:00 | 3.572 | 213.453 | 4.865 | 243.83 | 4.3 | 255.2 | 3.53 | 250.8 | -1.826 | 889.4 | 14.349 | 2.18
2020-04-03 04:45:00 | 4.826 | 223.073 | 4.729 | 241.063 | 3.904 | 252.333 | 3.332 | 253.183 | -1.376 | 889.567 | 15.157 | 1.6514
2020-04-03 05:00:00 | 5.353 | 230.3 | 3.909 | 233.772 | 3.686 | 246.067 | 3.213 | 245.6 | -2.151 | 889.533 | 16.043 | 0.61677
2020-04-03 05:15:00 | 6.443 | 224.807 | 4.32 | 229.33 | 3.855 | 243.1 | 3.368 | 240.667 | 1.325 | 889.467 | 14.44 | 1.4496
2020-04-03 05:30:00 | 6.889 | 229.267 | 5.286 | 228.212 | 4.08 | 236.9 | 3.134 | 243.767 | 1.312 | 889.533 | 13.848 | 2.4728
2020-04-03 05:45:00 | 6.947 | 229.8 | 5.567 | 232.259 | 4.781 | 239.633 | 3.589 | 238.1 | 0.143 | 889.333 | 15.141 | 5.7861
2020-04-03 06:00:00 | 6.539 | 226.147 | 6.2 | 227.501 | 5.419 | 234.8 | 4.622 | 232.9 | -1.012 | 889.533 | 17.632 | 7.5711
2020-04-03 06:15:00 | 6.256 | 231.607 | 6.024 | 228.7 | 5.468 | 232.4 | 4.929 | 226.2 | -1.165 | 889.5 | 18.621 | 5.7186
2020-04-03 06:30:00 | 5.669 | 229.08 | 5.806 | 227.045 | 6.039 | 229.1 | 5.46 | 221.833 | -1.583 | 889.467 | 19.408 | 3.8442
2020-04-03 06:45:00 | 5.95 | 220.173 | 6.679 | 217.092 | 5.563 | 218.867 | 4.088 | 214.333 | -1.775 | 889.467 | 19.411 | 2.1033
2020-04-03 07:00:00 | 4.927 | 232.993 | 5.717 | 221.524 | 4.894 | 223.433 | 3.741 | 221.7 | -2.541 | 889.7 | 19.933 | 0.35457
2020-04-03 07:15:00 | 6.06 | 231.56 | 5.433 | 220.68 | 4.711 | 227.933 | 4.187 | 227.8 | -2.18 | 889.5 | 19.421 | 0.81857
2020-04-03 07:30:00 | 7.145 | 223.273 | 5.283 | 220.454 | 4.354 | 227.867 | 3.629 | 229.5 | -1.569 | 889.067 | 18.728 | 0.95855
2020-04-03 07:45:00 | 6.971 | 223.887 | 4.153 | 221.809 | 3.07 | 228.7 | 2.301 | 229.967 | 0 | 890.033 | 16.885 | 0.11298
2020-04-03 08:00:00 | 6.24 | 218.847 | 4.414 | 215.303 | 3.204 | 223.6 | 2.239 | 226.167 | -0.538 | 889.4 | 17.035 | 0.26362
2020-04-03 08:15:00 | 5.736 | 223.407 | 3.648 | 217.152 | 1.987 | 235.433 | 1.61 | 228.633 | 0.366 | 889.4 | 16.211 | 0.23733
2020-04-03 08:30:00 | 5.087 | 227.587 | 3.867 | 215.295 | 2.024 | 222.9 | 1.616 | 229.833 | 1.249 | 889.1 | 15.568 | 0.22951
2020-04-03 08:45:00 | 4.731 | 219.493 | 3.054 | 213.523 | 1.586 | 219.1 | 1.273 | 230.4 | 2.67 | 889.367 | 14.616 | 0.22667
2020-04-03 09:00:00 | 3.079 | 217.033 | 2.552 | 218.03 | 1.849 | 229.367 | 1.447 | 224.333 | 5.184 | 889.5 | 12.84 | 0.23093
2020-04-03 09:15:00 | 2.274 | 213.367 | 0 | 212.494 | 0 | 219.9 | 0 | 226.867 | 7.039 | 889.6 | 11.613 | 0.23164
2020-04-03 09:30:00 | 0 | 223.18 | 0 | 213.503 | 0 | 220 | 0.06 | 227.033 | 10.008 | 889.067 | 9.452 | 0.22028
2020-04-03 09:45:00 | 1.012 | 133.447 | 0.459 | 130.859 | 0.164 | 150.167 | 0.91 | 166.133 | 9.078 | 889.333 | 8.145 | 0.22312
2020-04-03 10:00:00 | 1.617 | 98.42 | 1.113 | 98.339 | 1.262 | 97.833 | 1.68 | 101.333 | 9.416 | 888.8 | 8.06 | 0.23449
2020-04-03 10:15:00 | 1.112 | 77.907 | 0.486 | 87.689 | 0.413 | 83.5 | 0.806 | 84.533 | 9.591 | 889 | 8.061 | 0.21885
2020-04-03 10:30:00 | 1.687 | 52.845 | 1.146 | 45.46 | 1.359 | 46.2 | 2.201 | 53.267 | 10.078 | 888.933 | 8.148 | 0.24728
2020-04-03 10:45:00 | 2.589 | 40.189 | 2.393 | 39.63 | 2.739 | 47.867 | 2.476 | 45.133 | 9.893 | 889.133 | 8.1 | 0.35528
2020-04-03 11:00:00 | 3.108 | 35.828 | 3.079 | 28.307 | 3.24 | 35.7 | 3.16 | 37.133 | 10.28 | 888.867 | 8.017 | 2.8188
2020-04-03 11:15:00 | 3.985 | 67.098 | 3.791 | 62.131 | 4.05 | 64.367 | 3.94 | 60.367 | 10.545 | 888.8 | 7.799 | 6.0071
2020-04-03 11:30:00 | 4.205 | 64.688 | 4.278 | 60.676 | 4.739 | 64.4 | 4.835 | 62.6 | 10.84 | 888.733 | 7.448 | 9.0967
2020-04-03 11:45:00 | 4.735 | 87.462 | 4.941 | 85.545 | 5.274 | 92.5 | 5.51 | 88.967 | 10.761 | 888.733 | 7.447 | 10.6756
2020-04-03 12:00:00 | 4.399 | 122.62 | 4.706 | 121.027 | 4.97 | 126.167 | 5.103 | 120.167 | 10.58 | 889.2 | 7.045 | 10.0751
2020-04-03 12:15:00 | 4.222 | 111.92 | 4.41 | 106.222 | 4.771 | 111.3 | 4.817 | 112.967 | 10.828 | 889.067 | 6.901 | 12.9629
2020-04-03 12:30:00 | 5.012 | 105.297 | 4.985 | 99.832 | 5.444 | 101.567 | 5.865 | 94.7 | 11.74 | 888.733 | 6.913 | 27.231
2020-04-03 12:45:00 | 5.856 | 87.02 | 6.054 | 84.952 | 6.076 | 92.5 | 5.85 | 89.6 | 12.345 | 889.267 | 6.677 | 23.9859
2020-04-03 13:00:00 | 4.574 | 104.487 | 4.524 | 102.121 | 5.02 | 106.867 | 5.388 | 100.767 | 11.982 | 889.067 | 6.503 | 23.33
2020-04-03 13:15:00 | 5.749 | 93.1 | 6.06 | 87.345 | 6.074 | 89.033 | 6.368 | 89.7 | 12.536 | 888.8 | 6.272 | 22.7978
2020-04-03 13:30:00 | 5.926 | 90.567 | 5.8 | 89.106 | 5.571 | 87.9 | 5.725 | 85.467 | 12.841 | 889 | 6.153 | 18.479
2020-04-03 13:45:00 | 4.826 | 76.435 | 4.806 | 72.795 | 5.046 | 81.767 | 5.433 | 81.033 | 12.816 | 888.8 | 5.905 | 22.618
2020-04-03 14:00:00 | 6.1 | 68.453 | 6.359 | 62.29 | 7.038 | 70.333 | 6.922 | 67.5 | 13.699 | 889.133 | 5.501 | 25.6067
2020-04-03 14:15:00 | 6.986 | 85.673 | 7.026 | 79.554 | 6.901 | 81.033 | 7.098 | 84 | 13.483 | 889 | 5.331 | 25.3672
2020-04-03 14:30:00 | 4.718 | 104.797 | 4.873 | 99.751 | 5.143 | 103.067 | 5.769 | 98.533 | 13.285 | 888.667 | 5.225 | 21.6225
2020-04-03 14:45:00 | 4.541 | 81.933 | 4.563 | 78.543 | 4.961 | 86.6 | 5.466 | 81.9 | 13.466 | 888 | 4.795 | 16.8951
2020-04-03 15:00:00 | 6.436 | 71.673 | 6.806 | 67.434 | 7.285 | 70 | 7.618 | 69.833 | 14.254 | 888.2 | 4.906 | 20.0373
2020-04-03 15:15:00 | 5.468 | 62.44 | 5.69 | 60.305 | 6.127 | 67.767 | 6.352 | 67.067 | 13.774 | 888 | 4.933 | 16.6209
2020-04-03 15:30:00 | 6.189 | 89.797 | 5.982 | 85.443 | 5.818 | 89.667 | 5.915 | 81.233 | 14.041 | 888 | 4.829 | 15.7554
2020-04-03 15:45:00 | 6.425 | 84.533 | 6.692 | 80.527 | 6.982 | 84.3 | 7.078 | 79.267 | 14.537 | 888 | 4.803 | 13.1661
2020-04-03 16:00:00 | 4.689 | 81.653 | 5.077 | 69.311 | 5.393 | 74.967 | 5.458 | 74.967 | 14.241 | 888 | 4.756 | 8.5908
2020-04-03 16:15:00 | 2.616 | 104.697 | 2.781 | 97.722 | 3.139 | 106.967 | 3.852 | 97.233 | 14.312 | 888 | 4.583 | 8.3961
2020-04-03 16:30:00 | 3.226 | 66.687 | 2.894 | 57.434 | 3.37 | 63.667 | 3.839 | 57.7 | 14.358 | 888 | 4.509 | 7.7395
2020-04-03 16:45:00 | 3.096 | 96.237 | 3.006 | 85.853 | 3.093 | 89.433 | 3.303 | 91.8 | 14.641 | 888 | 4.634 | 6.2516
2020-04-03 17:00:00 | 3.495 | 86.063 | 3.573 | 80.593 | 3.741 | 82.4 | 4.028 | 87.967 | 15.074 | 888 | 4.807 | 5.8764
2020-04-03 17:15:00 | 4.029 | 127.353 | 4.354 | 115.743 | 4.547 | 128.133 | 4.645 | 113.6 | 15.108 | 888 | 4.709 | 7.5448
2020-04-03 17:30:00 | 5.54 | 104.38 | 5.45 | 98.263 | 5.421 | 102.6 | 5.554 | 100.067 | 15.041 | 888.467 | 5.01 | 8.6249
2020-04-03 17:45:00 | 3.192 | 113.927 | 3.189 | 109.102 | 3.376 | 119.233 | 3.545 | 120.267 | 15.21 | 888 | 4.831 | 10.3743
2020-04-03 18:00:00 | 5.63 | 70.587 | 5.776 | 65.872 | 5.947 | 71.633 | 6.179 | 68.933 | 15.058 | 888 | 4.875 | 9.2743
2020-04-03 18:15:00 | 3.656 | 76.067 | 3.471 | 83.259 | 3.375 | 89.4 | 3.675 | 87.1 | 15.008 | 888 | 4.877 | 12.3489
2020-04-03 18:30:00 | 4.782 | 99.767 | 5.019 | 92.998 | 5.002 | 100.167 | 4.932 | 96.7 | 15.281 | 888 | 4.659 | 18.5259
2020-04-03 18:45:00 | 6.121 | 90.553 | 5.793 | 85.69 | 5.565 | 87.967 | 5.389 | 87.533 | 15.424 | 888 | 4.503 | 24.7803
2020-04-03 19:00:00 | 4.927 | 108.993 | 4.915 | 104.371 | 5.04 | 108.1 | 4.945 | 100.833 | 15.106 | 888 | 4.643 | 20.777
2020-04-03 19:15:00 | 5.147 | 108.767 | 5.354 | 100.346 | 5.373 | 102.7 | 5.282 | 97.333 | 15.108 | 888 | 4.54 | 29.3144
2020-04-03 19:30:00 | 5.602 | 91.667 | 5.386 | 83.249 | 5.383 | 85.8 | 5.627 | 84.167 | 14.824 | 888 | 4.671 | 36.4649
2020-04-03 19:45:00 | 6.352 | 96.2 | 6.324 | 91.89 | 5.539 | 98.233 | 5.13 | 92.867 | 14.112 | 888 | 4.857 | 39.9097
2020-04-03 20:00:00 | 5.486 | 100.627 | 5.424 | 94.126 | 4.811 | 101.533 | 4.449 | 93.633 | 13.695 | 888 | 4.837 | 36.0065
2020-04-03 20:15:00 | 5.224 | 101.697 | 5.371 | 97.915 | 4.403 | 101.233 | 3.86 | 92.767 | 13.014 | 888 | 4.699 | 33.8429
2020-04-03 20:30:00 | 4.748 | 96.487 | 5.328 | 89.372 | 4.465 | 95.533 | 4.429 | 89.2 | 12.249 | 888.133 | 4.995 | 28.1036
2020-04-03 20:45:00 | 4.456 | 95.62 | 4.663 | 91.51 | 4.049 | 93.8 | 3.948 | 91.567 | 11.866 | 888.533 | 5.167 | 27.2396
2020-04-03 21:00:00 | 4.166 | 94.467 | 5.025 | 87.4 | 4.635 | 92.167 | 4.533 | 87.533 | 11.178 | 888.6 | 5.178 | 28.2948
2020-04-03 21:15:00 | 3.719 | 91.39 | 4.897 | 86.169 | 4.919 | 91.267 | 4.927 | 88.133 | 10.943 | 889.2 | 5.493 | 22.9001
2020-04-03 21:30:00 | 3.986 | 94.23 | 4.717 | 88.928 | 4.201 | 96.433 | 4.007 | 87.067 | 10.326 | 888.933 | 5.852 | 14.9802
2020-04-03 21:45:00 | 3.214 | 94.633 | 4.147 | 85.658 | 4.008 | 90.9 | 3.591 | 86.333 | 10.07 | 888.8 | 6.191 | 8.3889
2020-04-03 22:00:00 | 2.443 | 83.513 | 3.257 | 81.714 | 2.958 | 88.9 | 2.593 | 87.767 | 9.349 | 888.933 | 6.352 | 4.2769
2020-04-03 22:15:00 | 2.133 | 78.993 | 2.926 | 77.138 | 2.641 | 91.9 | 2.389 | 103.7 | 9.12 | 888.733 | 6.768 | 2.612
2020-04-03 22:30:00 | 0 | 71.343 | 1.618 | 76.883 | 2.02 | 95.367 | 2.524 | 106.333 | 7.823 | 888.867 | 7.053 | 0.71483
2020-04-03 22:45:00 | 0.416 | 168.228 | 0 | 89.243 | 1.362 | 103.167 | 2.348 | 107.1 | 7.256 | 889.067 | 7.643 | 0.2757
2020-04-03 23:00:00 | 1.55 | 218.507 | 0 | 85.253 | 0.877 | 103 | 1.761 | 107 | 7.719 | 889.067 | 7.743 | 0.22028
2020-04-03 23:15:00 | 2.996 | 235.133 | 0.22 | 131.119 | 0 | 103.067 | 0.843 | 107 | 7.256 | 888.933 | 7.364 | 0.18191
2020-04-03 23:30:00 | 3.691 | 228.807 | 0.762 | 212.502 | 0 | 183 | 0 | 107 | 6.678 | 888.933 | 7.336 | 0.18333
2020-04-03 23:45:00 | 4.071 | 233.74 | 1.42 | 212.374 | 0 | 182.967 | 0 | 107 | 6.182 | 889.4 | 7.117 | 0.19612