## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-04 00:00:00 | 6.832 | 228.187 | 3.896 | 236.938 | 2.372 | 227.167 | 1.374 | 117.033 | 3.565 | 889.267 | 7.352 | 0.22099
2020-04-04 00:15:00 | 5.75 | 227.173 | 4.572 | 243.29 | 3.908 | 249.267 | 3.294 | 237.033 | 2.28 | 888.8 | 7.983 | 1.586
2020-04-04 00:30:00 | 6.278 | 223.113 | 4.279 | 236.574 | 3.738 | 246.933 | 3.299 | 243.033 | 2.025 | 888.8 | 8.496 | 5.7499
2020-04-04 00:45:00 | 7.771 | 223.413 | 6.282 | 218.944 | 5.645 | 223.033 | 5.427 | 218.3 | 2.973 | 889 | 9.136 | 18.236
2020-04-04 01:00:00 | 4.928 | 225.44 | 7.182 | 212.177 | 6.54 | 214.367 | 6.478 | 210.633 | 2.995 | 888.533 | 9.301 | 26.0224
2020-04-04 01:15:00 | 6.274 | 221.8 | 8.144 | 217.268 | 7.841 | 219.4 | 7.544 | 212.2 | 3.103 | 889.1 | 10.925 | 23.1176
2020-04-04 01:30:00 | 7.18 | 216.633 | 8.134 | 221.32 | 6.798 | 227.8 | 6.584 | 219.9 | 3.689 | 889.567 | 10.843 | 21.5643
2020-04-04 01:45:00 | 7.611 | 219.633 | 7.47 | 219.858 | 6.747 | 226.133 | 6.804 | 220.733 | 3.588 | 889.367 | 11.885 | 16.1618
2020-04-04 02:00:00 | 7.014 | 217.4 | 6.95 | 222.134 | 6.057 | 228.8 | 6.08 | 223.567 | 3.321 | 889.7 | 12.189 | 10.5405
2020-04-04 02:15:00 | 6.278 | 214.453 | 6.732 | 214.534 | 5.857 | 219.867 | 5.06 | 215.833 | 3.284 | 889.433 | 12.413 | 11.2177
2020-04-04 02:30:00 | 3.122 | 140.847 | 4.46 | 124.234 | 4.657 | 124.933 | 4.971 | 117.933 | 3.995 | 889.667 | 12.32 | 11.6547
2020-04-04 02:45:00 | 3.628 | 170.493 | 3.673 | 145.11 | 3.425 | 146.167 | 3.107 | 139.967 | 4.981 | 889.567 | 12.363 | 3.339
2020-04-04 03:00:00 | 4.539 | 190.373 | 3.159 | 157.596 | 2.633 | 147 | 2.358 | 138.633 | 3.675 | 889.867 | 12.709 | 0.7802
2020-04-04 03:15:00 | 4.466 | 243.84 | 3.585 | 195.201 | 2 | 170.167 | 1.384 | 144.8 | 1.275 | 889.6 | 13.152 | 0.31478
2020-04-04 03:30:00 | 5.542 | 236.827 | 5.362 | 227.23 | 3.96 | 209.1 | 1.964 | 187.9 | 4.138 | 889.467 | 12.739 | 0.24728
2020-04-04 03:45:00 | 6.448 | 233.127 | 5.038 | 240.629 | 3.364 | 240.367 | 2.15 | 220.9 | 3.21 | 889.4 | 12.133 | 0.21885
2020-04-04 04:00:00 | 5.867 | 229.187 | 4.288 | 241.386 | 2.886 | 253.4 | 1.4 | 228.167 | 1.619 | 889.2 | 13.179 | 0.22596
2020-04-04 04:15:00 | 6.309 | 226.993 | 4.318 | 233.929 | 3.263 | 246.4 | 2.412 | 241.8 | 1.015 | 889.233 | 13.525 | 0.24372
2020-04-04 04:30:00 | 6.542 | 225.673 | 3.904 | 226.899 | 2.7 | 233 | 1.794 | 240 | 0.649 | 889.567 | 13.859 | 0.25012
2020-04-04 04:45:00 | 6.519 | 225.653 | 4.31 | 234.41 | 2.969 | 239.567 | 1.817 | 235.133 | 0.432 | 889.4 | 14.211 | 0.24515
2020-04-04 05:00:00 | 6.516 | 223.807 | 4.048 | 234.477 | 2.746 | 241.667 | 1.445 | 237.433 | 0.499 | 889.567 | 14.192 | 0.25296
2020-04-04 05:15:00 | 7.058 | 220.98 | 4.38 | 228.967 | 3.063 | 245.233 | 2.36 | 248.067 | 1.115 | 889.5 | 13.723 | 0.22525
2020-04-04 05:30:00 | 6.154 | 221.813 | 3.193 | 232.891 | 2.494 | 248.067 | 2.243 | 249.7 | 1.085 | 889.867 | 13.728 | 0.24444
2020-04-04 05:45:00 | 7.028 | 218.473 | 2.638 | 225.275 | 1.55 | 238.7 | 1.334 | 251 | 0.382 | 889.467 | 14.045 | 0.22454
2020-04-04 06:00:00 | 6.685 | 216.067 | 2.886 | 219.639 | 1.889 | 234.9 | 1.458 | 251 | 0.399 | 889.5 | 14.136 | 0.22454
2020-04-04 06:15:00 | 7.183 | 217.693 | 3.351 | 215.365 | 2.336 | 222.467 | 1.63 | 233.867 | 0.233 | 889.567 | 14.328 | 0.23022
2020-04-04 06:30:00 | 7.41 | 218.207 | 4.024 | 215.121 | 2.724 | 223.333 | 2.188 | 220.567 | -0.272 | 889.367 | 14.552 | 0.22525
2020-04-04 06:45:00 | 7.523 | 218.12 | 4.29 | 219.351 | 3.11 | 224.667 | 2.055 | 220.033 | 0.482 | 889.367 | 14.232 | 0.21104
2020-04-04 07:00:00 | 6.942 | 217.933 | 3.023 | 220.592 | 1.243 | 235.167 | 0.91 | 220 | 0.549 | 889.967 | 14.085 | 0.24017
2020-04-04 07:15:00 | 6.124 | 220.607 | 1.995 | 220.138 | 0 | 248.967 | 0.551 | 220 | 0.047 | 889.533 | 14.291 | 0.24017
2020-04-04 07:30:00 | 4.44 | 218.567 | 0.356 | 211.558 | 0 | 247.967 | 0 | 221 | -0.253 | 889.767 | 14.997 | 0.23875
2020-04-04 07:45:00 | 4.065 | 218.533 | 0.047 | 231.539 | 0 | 249.667 | 0 | 189.967 | 3.673 | 889.3 | 12.544 | 0.24159
2020-04-04 08:00:00 | 4.032 | 217.1 | 0.672 | 207.693 | 0 | 250 | 0 | 69 | 4.237 | 889.633 | 11.981 | 0.24017
2020-04-04 08:15:00 | 5.435 | 218.193 | 3.052 | 211.326 | 2.578 | 211.267 | 2.085 | 210.6 | 2.908 | 889.333 | 12.891 | 0.22454
2020-04-04 08:30:00 | 4.945 | 214.567 | 2.965 | 209.723 | 3.169 | 215.633 | 2.417 | 206.867 | 4.073 | 889.767 | 13.219 | 0.2217
2020-04-04 08:45:00 | 3.544 | 207.9 | 2.122 | 202.701 | 0.866 | 210.633 | 1.04 | 209 | 4.752 | 889.167 | 12.395 | 0.22028
2020-04-04 09:00:00 | 3.016 | 209.6 | 2.046 | 178.523 | 0.856 | 168.033 | 0.886 | 207 | 6.856 | 889.9 | 11.096 | 0.21601
2020-04-04 09:15:00 | 2.787 | 202.8 | 1.837 | 178.562 | 1.007 | 154 | 1.076 | 207.067 | 8.588 | 889.233 | 10.324 | 0.21885
2020-04-04 09:30:00 | 1.351 | 190.7 | 0.263 | 178.693 | 0 | 172 | 0.104 | 207 | 10.995 | 889.2 | 8.275 | 0.21317
2020-04-04 09:45:00 | 0.103 | 123.3 | 0 | 178.484 | 0 | 172.033 | 0.218 | 207.067 | 11.345 | 889.2 | 7.112 | 0.21459
2020-04-04 10:00:00 | 0 | 234.46 | 0 | 179.487 | 0 | 172 | 0.296 | 207 | 12.98 | 888.6 | 6.5 | 0.20749
2020-04-04 10:15:00 | 0.722 | 183.708 | 0.173 | 155.23 | 0.167 | 98.55 | 0.786 | 244.133 | 13.466 | 888.733 | 6.189 | 0.21743
2020-04-04 10:30:00 | 2.011 | 41.658 | 1.691 | 27.853 | 1.326 | 20.267 | 1.85 | 8.033 | 12.17 | 888.667 | 6.337 | 0.23733
2020-04-04 10:45:00 | 2.237 | 50.015 | 2.27 | 44.43 | 2.075 | 48.633 | 2.385 | 43.333 | 12.149 | 889.2 | 6.387 | 0.24017
2020-04-04 11:00:00 | 2.496 | 57.568 | 2.499 | 51.566 | 2.799 | 54.7 | 2.906 | 53.667 | 12.684 | 889 | 6.323 | 0.20464
2020-04-04 11:15:00 | 2.494 | 59.773 | 2.572 | 56.646 | 2.679 | 62.867 | 2.935 | 62.367 | 12.386 | 889.2 | 6.561 | 0.18617
2020-04-04 11:30:00 | 2.227 | 63.532 | 2.176 | 44.423 | 2.288 | 53.633 | 2.864 | 55.833 | 12.845 | 889.133 | 6.491 | 0.20677
2020-04-04 11:45:00 | 1.419 | 116.98 | 1.226 | 98.851 | 1.334 | 107.633 | 1.837 | 114.733 | 13.333 | 888.867 | 6.088 | 0.28209
2020-04-04 12:00:00 | 2.006 | 76.332 | 1.81 | 74.508 | 2.37 | 85.033 | 2.552 | 87.267 | 14.145 | 889.067 | 6.807 | 1.1142
2020-04-04 12:15:00 | 3.638 | 83.4 | 3.572 | 74.248 | 3.85 | 75.967 | 3.962 | 71.967 | 13.862 | 888.733 | 7.516 | 2.8764
2020-04-04 12:30:00 | 2.635 | 107.537 | 2.641 | 95.459 | 2.855 | 93.5 | 3.216 | 80.1 | 14.624 | 888.933 | 7.373 | 4.3146
2020-04-04 12:45:00 | 3.38 | 70.085 | 3.313 | 69.893 | 3.614 | 73.9 | 3.966 | 66.833 | 14.874 | 889 | 7.113 | 5.0898
2020-04-04 13:00:00 | 3.533 | 65.865 | 3.542 | 60.651 | 3.578 | 66.767 | 3.807 | 66 | 14.804 | 888.733 | 6.777 | 5.3797
2020-04-04 13:15:00 | 3.867 | 83.22 | 3.715 | 74.399 | 3.945 | 74.967 | 4.5 | 72.167 | 14.824 | 889.333 | 5.917 | 6.7809
2020-04-04 13:30:00 | 4.128 | 69.088 | 4.78 | 65.263 | 5.009 | 68.467 | 5.297 | 64.267 | 15.331 | 888.933 | 5.428 | 9.0867
2020-04-04 13:45:00 | 4.011 | 93.107 | 4.515 | 86.338 | 4.805 | 90.867 | 5.034 | 85.733 | 15.108 | 888.933 | 5.469 | 12.334
2020-04-04 14:00:00 | 5.605 | 82.743 | 6.121 | 72.241 | 5.838 | 75.8 | 5.698 | 70.267 | 15.702 | 889 | 5.404 | 13.726
2020-04-04 14:15:00 | 5.437 | 65.263 | 5.578 | 65.828 | 5.607 | 73.067 | 5.862 | 68.1 | 16.115 | 888.867 | 5.507 | 13.7118
2020-04-04 14:30:00 | 5.051 | 91.54 | 5.046 | 84.408 | 5.072 | 88.3 | 5.713 | 78.633 | 16.348 | 889 | 5.753 | 15.7746
2020-04-04 14:45:00 | 4.534 | 48.873 | 4.694 | 42.934 | 4.817 | 49.4 | 4.948 | 48.7 | 16.431 | 889.133 | 5.867 | 11.9105
2020-04-04 15:00:00 | 5.731 | 59.977 | 5.704 | 55.657 | 5.738 | 62.833 | 5.961 | 61.367 | 16.564 | 889 | 5.916 | 7.9711
2020-04-04 15:15:00 | 1.942 | 54.54 | 1.507 | 55.623 | 1.88 | 82.267 | 2.353 | 87.467 | 17.081 | 888.667 | 6.273 | 10.0176
2020-04-04 15:30:00 | 4.417 | 82.113 | 5.01 | 74.712 | 5.194 | 81.467 | 5.338 | 73.633 | 17.489 | 889.067 | 5.723 | 8.7265
2020-04-04 15:45:00 | 3.208 | 31.528 | 3.075 | 27.695 | 3.485 | 41.3 | 3.871 | 41.167 | 16.531 | 889 | 5.873 | 11.5119
2020-04-04 16:00:00 | 4.196 | 76.093 | 4.811 | 76.46 | 5.347 | 80.633 | 5.749 | 77.2 | 16.864 | 889 | 6.125 | 16.4077
2020-04-04 16:15:00 | 4.351 | 60.233 | 3.889 | 50.596 | 4.166 | 53.867 | 4.084 | 49.533 | 16.264 | 889 | 6.185 | 18.9352
2020-04-04 16:30:00 | 5.109 | 45.427 | 5.21 | 41.538 | 5.668 | 47.767 | 5.984 | 50.433 | 16.631 | 888.467 | 5.751 | 19.8412
2020-04-04 16:45:00 | 4.592 | 83.733 | 4.892 | 78.626 | 4.983 | 81.6 | 5.22 | 74.133 | 16.414 | 889 | 5.968 | 14.5332
2020-04-04 17:00:00 | 5.206 | 44.05 | 5.445 | 38.909 | 5.617 | 45.333 | 5.602 | 45.1 | 16.514 | 889.067 | 5.796 | 15.9245
2020-04-04 17:15:00 | 6.45 | 48.977 | 6.391 | 49.487 | 6.711 | 55.5 | 6.676 | 54.567 | 16.864 | 889.133 | 5.661 | 14.9127
2020-04-04 17:30:00 | 5.168 | 71.46 | 5.689 | 64.013 | 5.756 | 69.9 | 5.672 | 67.433 | 16.764 | 889.067 | 5.684 | 23.3926
2020-04-04 17:45:00 | 6.028 | 89.473 | 6.254 | 82.144 | 5.828 | 83.567 | 5.695 | 80.6 | 17.114 | 889.133 | 5.449 | 18.9572
2020-04-04 18:00:00 | 5.177 | 95.107 | 5.165 | 83.936 | 5.208 | 87.8 | 5.595 | 83.9 | 16.614 | 889.067 | 5.767 | 19.3288
2020-04-04 18:15:00 | 6.133 | 93.587 | 6.052 | 88.184 | 5.823 | 90.8 | 6.217 | 85.7 | 17.081 | 889.2 | 5.387 | 18.349
2020-04-04 18:30:00 | 4.129 | 76.32 | 4.304 | 76.208 | 4.731 | 84.6 | 5.083 | 80.233 | 16.714 | 889.2 | 5.485 | 15.2679
2020-04-04 18:45:00 | 5.286 | 73.78 | 5.36 | 67.687 | 5.534 | 71.5 | 5.615 | 68.567 | 16.548 | 889.333 | 5.459 | 13.6095
2020-04-04 19:00:00 | 4.903 | 83.067 | 5.333 | 78.358 | 5.25 | 83.6 | 5.322 | 79.333 | 16.481 | 889.067 | 5.535 | 15.8222
2020-04-04 19:15:00 | 5.614 | 66.98 | 5.272 | 60.601 | 5.254 | 62.567 | 5.239 | 60.267 | 15.877 | 889.467 | 5.664 | 16.8191
2020-04-04 19:30:00 | 5.113 | 75.927 | 5.384 | 73.461 | 5.709 | 79.467 | 5.913 | 76.267 | 15.799 | 889.067 | 5.975 | 16.7601
2020-04-04 19:45:00 | 4.773 | 79.723 | 4.922 | 75.894 | 5.022 | 80.3 | 5.042 | 79.167 | 15.716 | 889.267 | 5.871 | 15.862
2020-04-04 20:00:00 | 4.941 | 82.193 | 5.616 | 75.944 | 5.877 | 80.8 | 6.039 | 76.533 | 15.062 | 889.2 | 6.176 | 13.8198
2020-04-04 20:15:00 | 4.196 | 77.867 | 4.89 | 74.071 | 5.199 | 79.267 | 5.252 | 74.867 | 14.624 | 888.667 | 6.381 | 12.911
2020-04-04 20:30:00 | 4.22 | 78.407 | 5.225 | 75.25 | 5.673 | 79.967 | 5.762 | 75.833 | 13.904 | 888.933 | 6.591 | 10.6592
2020-04-04 20:45:00 | 3.8 | 86.547 | 3.9 | 84.339 | 3.763 | 91.333 | 3.888 | 81.467 | 13.716 | 888.867 | 6.609 | 8.1047
2020-04-04 21:00:00 | 4.04 | 123.44 | 4.509 | 111.706 | 4.645 | 115.3 | 4.787 | 108.567 | 13.82 | 889.067 | 6.488 | 8.7485
2020-04-04 21:15:00 | 3.574 | 126.197 | 4.214 | 114.673 | 4.446 | 119.833 | 4.544 | 114.6 | 13.345 | 888.933 | 6.436 | 8.8508
2020-04-04 21:30:00 | 2.688 | 130.053 | 3.423 | 113.217 | 3.716 | 116.033 | 4.089 | 111.533 | 12.701 | 888.933 | 6.753 | 5.3314
2020-04-04 21:45:00 | 2.898 | 143.567 | 3.149 | 123.449 | 2.899 | 129.267 | 3.074 | 127 | 12.834 | 889.133 | 6.96 | 3.7568
2020-04-04 22:00:00 | 2.271 | 162.187 | 2.351 | 133.693 | 2.13 | 135.3 | 2.635 | 131.5 | 12.061 | 889.067 | 7.027 | 2.7748
2020-04-04 22:15:00 | 2.394 | 164.007 | 2.007 | 139.92 | 1.786 | 138.2 | 2.223 | 125.3 | 12.845 | 889.2 | 7.02 | 1.1447
2020-04-04 22:30:00 | 2.429 | 172.067 | 2.233 | 141.863 | 2.072 | 142.9 | 2.096 | 138.933 | 12.336 | 889.2 | 7.123 | 0.12719
2020-04-04 22:45:00 | 2.174 | 177.233 | 1.414 | 147.907 | 1.073 | 134.733 | 1.994 | 130.033 | 12.52 | 889.2 | 6.984 | 0.068214
2020-04-04 23:00:00 | 1.984 | 195.127 | 0.79 | 148.185 | 0.476 | 138.5 | 1.532 | 126.367 | 11.916 | 889 | 7.209 | 0.1947
2020-04-04 23:15:00 | 2.428 | 218.287 | 0.106 | 152.464 | 0.556 | 149 | 1.613 | 137.867 | 11.807 | 889.133 | 7.296 | 0.21175
2020-04-04 23:30:00 | 3.032 | 227.527 | 0.48 | 152.515 | 0.07 | 148.933 | 1.144 | 138 | 11.561 | 889 | 7.428 | 0.18333
2020-04-04 23:45:00 | 3.907 | 252.28 | 2.243 | 210.831 | 0.636 | 171.3 | 0.04 | 138.067 | 10.993 | 889.2 | 7.488 | 0.17054