## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-05 00:00:00 | 5 | 245.167 | 2.861 | 230.333 | 1.706 | 231.433 | 1.47 | 140.033 | 9.337 | 888.733 | 7.985 | 0.18191
2020-04-05 00:15:00 | 5.676 | 235 | 4.01 | 251.135 | 2.274 | 255.5 | 2.058 | 235.917 | 7.422 | 889.2 | 8.697 | 0.15206
2020-04-05 00:30:00 | 5.811 | 230.52 | 3.825 | 250.614 | 2.541 | 256 | 1.801 | 235.8 | 6.668 | 888.933 | 9.196 | 0.14851
2020-04-05 00:45:00 | 5.715 | 232.64 | 3.648 | 251.45 | 2.43 | 260 | 2.127 | 237.5 | 6.413 | 888.867 | 9.321 | 0.15632
2020-04-05 01:00:00 | 6.149 | 219.227 | 3.688 | 243.406 | 2.016 | 253.433 | 1.798 | 235.533 | 6.654 | 889 | 9.269 | 0.27357
2020-04-05 01:15:00 | 6.008 | 214.5 | 6.457 | 217.067 | 5.343 | 223.167 | 3.933 | 224.1 | 5.695 | 888.933 | 9.837 | 5.5296
2020-04-05 01:30:00 | 5.734 | 213.76 | 6.366 | 210.726 | 6.354 | 215.7 | 5.717 | 215.033 | 6.058 | 889.4 | 10.265 | 5.5808
2020-04-05 01:45:00 | 5.929 | 220.14 | 5.294 | 218.852 | 5.048 | 222.033 | 4.621 | 211.3 | 5.833 | 889.333 | 10.28 | 8.5034
2020-04-05 02:00:00 | 6.383 | 213.513 | 6.686 | 210.295 | 6.117 | 214.567 | 5.62 | 213 | 5.968 | 889 | 10.149 | 10.8326
2020-04-05 02:15:00 | 6.429 | 216.853 | 6.09 | 211.733 | 5.556 | 211.033 | 5.109 | 207.067 | 6.103 | 889.6 | 10.26 | 10.4965
2020-04-05 02:30:00 | 5.225 | 221.78 | 5.586 | 213.978 | 5.204 | 218.4 | 4.853 | 213 | 6.018 | 889.167 | 10.199 | 11.2355
2020-04-05 02:45:00 | 6.927 | 215.133 | 6.156 | 209.888 | 5.748 | 212.867 | 5.42 | 210.4 | 5.531 | 889.533 | 10.573 | 13.4524
2020-04-05 03:00:00 | 6.617 | 212.98 | 6.543 | 207.794 | 6.078 | 209.367 | 5.948 | 205.7 | 5.852 | 889.333 | 10.533 | 16.0567
2020-04-05 03:15:00 | 7.339 | 214.933 | 6.13 | 212.123 | 5.967 | 212.767 | 6.215 | 207.6 | 6.077 | 889.467 | 11.037 | 18.1059
2020-04-05 03:30:00 | 7.246 | 216.353 | 6.267 | 212.55 | 5.653 | 214.133 | 5.635 | 210.8 | 5.491 | 889.267 | 12.307 | 14.8444
2020-04-05 03:45:00 | 6.911 | 219.153 | 6.63 | 216.849 | 6.03 | 221.433 | 5.464 | 218.433 | 5.11 | 889.7 | 14.592 | 10.0801
2020-04-05 04:00:00 | 6.256 | 218.38 | 6.23 | 218.564 | 5.652 | 223.633 | 5.168 | 220.333 | 4.644 | 888.4 | 16.219 | 8.7158
2020-04-05 04:15:00 | 6.826 | 218.353 | 6.753 | 217.286 | 6.493 | 223.933 | 5.868 | 220.667 | 4.133 | 889.6 | 17.341 | 8.1552
2020-04-05 04:30:00 | 7.052 | 215.753 | 6.533 | 214.47 | 6.016 | 219.6 | 5.375 | 218.633 | 4.166 | 889.367 | 17.459 | 7.0602
2020-04-05 04:45:00 | 6.665 | 218.64 | 6.622 | 213.811 | 5.846 | 221.7 | 4.866 | 220.833 | 4.125 | 889.233 | 17.144 | 7.7246
2020-04-05 05:00:00 | 7.528 | 216.007 | 6.226 | 212.513 | 5.574 | 216.867 | 4.478 | 218.933 | 3.976 | 889.6 | 17.163 | 7.569
2020-04-05 05:15:00 | 6.838 | 215.367 | 6.451 | 213.202 | 5.718 | 220.767 | 4.507 | 219.767 | 3.304 | 889.667 | 17.285 | 7.1554
2020-04-05 05:30:00 | 7.393 | 216 | 6.251 | 212.906 | 5.826 | 220.033 | 4.823 | 218.067 | 3.421 | 889.667 | 17.077 | 6.8278
2020-04-05 05:45:00 | 7.383 | 213.967 | 5.875 | 221.165 | 4.815 | 229.4 | 4.354 | 226.967 | 3.505 | 889.033 | 16.963 | 7.6912
2020-04-05 06:00:00 | 7.067 | 212.293 | 6.804 | 214.079 | 5.727 | 222.433 | 5.048 | 221.3 | 3.06 | 889.6 | 18.008 | 9.8428
2020-04-05 06:15:00 | 6.408 | 212.833 | 6.964 | 212.406 | 6.726 | 217.533 | 6.13 | 215.9 | 3.069 | 889.5 | 19.528 | 10.6791
2020-04-05 06:30:00 | 7.829 | 214.4 | 6.501 | 212.274 | 6.14 | 214 | 6.122 | 212.2 | 3.138 | 889.4 | 19.84 | 11.7428
2020-04-05 06:45:00 | 7.685 | 215.5 | 6.877 | 213.501 | 6.575 | 216.1 | 6.362 | 212.9 | 3.238 | 889.6 | 19.536 | 14.4195
2020-04-05 07:00:00 | 7.385 | 212.5 | 7.767 | 211.794 | 7.283 | 213.5 | 6.993 | 210.7 | 3.371 | 889.367 | 20.163 | 15.6893
2020-04-05 07:15:00 | 6.723 | 211.973 | 7.445 | 209.964 | 6.825 | 212.733 | 6.609 | 210.5 | 3.012 | 889.333 | 20.648 | 14.2838
2020-04-05 07:30:00 | 7.074 | 211.167 | 7.37 | 207.448 | 6.875 | 211.6 | 6.584 | 208.633 | 3.238 | 890 | 20.832 | 14.4607
2020-04-05 07:45:00 | 6.263 | 211.867 | 7.353 | 207.844 | 6.826 | 212 | 5.905 | 208.9 | 3.121 | 890.1 | 21.317 | 15.6453
2020-04-05 08:00:00 | 5.948 | 212.367 | 7.658 | 207.455 | 7.349 | 210.867 | 6.563 | 206.333 | 3.689 | 889.733 | 21.36 | 14.4373
2020-04-05 08:15:00 | 5.56 | 211.367 | 7.193 | 208.128 | 7.029 | 211.6 | 6.136 | 207.033 | 4.835 | 889.883 | 20.629 | 13.8838
2020-04-05 08:30:00 | 5.967 | 212.807 | 7.53 | 207.881 | 7.029 | 211.2 | 6.414 | 207.433 | 6.048 | 889.667 | 19.467 | 14.7912
2020-04-05 08:45:00 | 6.055 | 212.233 | 7.585 | 211.372 | 7.181 | 213.833 | 6.678 | 211.6 | 7.239 | 889.933 | 17.896 | 15.997
2020-04-05 09:00:00 | 5.083 | 212.08 | 6.011 | 211.59 | 7.468 | 215.9 | 6.85 | 212.167 | 8.924 | 889.6 | 15.544 | 15.118
2020-04-05 09:15:00 | 5.758 | 212.313 | 5.789 | 211.381 | 6.3 | 215.233 | 6.44 | 212.733 | 10.532 | 888.933 | 13.411 | 12.7703
2020-04-05 09:30:00 | 4.97 | 215.373 | 4.966 | 212.481 | 5.124 | 213.333 | 5.326 | 208.567 | 11.536 | 889.5 | 12.176 | 11.5922
2020-04-05 09:45:00 | 5.379 | 210.553 | 5.4 | 209.756 | 5.55 | 213.667 | 5.534 | 211 | 12.716 | 889.4 | 11.117 | 11.4934
2020-04-05 10:00:00 | 5.005 | 216.18 | 5.004 | 215.432 | 5.104 | 217.767 | 5.068 | 215.467 | 13.599 | 889.4 | 10.421 | 7.9008
2020-04-05 10:15:00 | 3.449 | 240.507 | 3.451 | 239.699 | 3.821 | 243.433 | 4.191 | 236.95 | 14.445 | 888.867 | 9.153 | 4.8098
2020-04-05 10:30:00 | 3.805 | 261.273 | 3.934 | 261.766 | 3.88 | 268.333 | 4.125 | 260.933 | 15.134 | 889.2 | 8.336 | 3.4391
2020-04-05 10:45:00 | 3.616 | 254.133 | 3.585 | 252.56 | 3.683 | 256.55 | 3.67 | 248.783 | 15.074 | 889.2 | 8.261 | 2.2191
2020-04-05 11:00:00 | 2.622 | 252.067 | 2.488 | 251.257 | 2.662 | 259.15 | 2.884 | 255.05 | 15.87 | 888.533 | 7.961 | 1.0886
2020-04-05 11:15:00 | 2.571 | 261.813 | 2.469 | 258.219 | 2.482 | 263.333 | 2.62 | 258.133 | 15.78 | 889.6 | 7.663 | 0.16556
2020-04-05 11:30:00 | 1.962 | 330.053 | 1.584 | 324.996 | 1.07 | 322.6 | 1.304 | 301.767 | 16.165 | 889.2 | 7.189 | 0.20322
2020-04-05 11:45:00 | 2.402 | 296.933 | 2.044 | 295.646 | 2.464 | 303.733 | 2.973 | 306.2 | 16.481 | 889.133 | 7.077 | 0.12719
2020-04-05 12:00:00 | 2.913 | 315.76 | 2.873 | 323.29 | 2.916 | 321.833 | 3.085 | 322.3 | 16.208 | 888.667 | 6.825 | 0.10872
2020-04-05 12:15:00 | 2.946 | 231.847 | 2.728 | 243.344 | 3.049 | 259.467 | 3.285 | 260.05 | 17.381 | 888.933 | 6.822 | 0.3766
2020-04-05 12:30:00 | 3.124 | 265.453 | 2.903 | 298.773 | 2.845 | 332.1 | 3.254 | 309.235 | 16.664 | 889.067 | 6.773 | 0.81999
2020-04-05 12:45:00 | 4.589 | 307.827 | 4.49 | 306.491 | 4.251 | 309.233 | 4.273 | 309.833 | 16.848 | 889.267 | 6.611 | 0.25509
2020-04-05 13:00:00 | 0.512 | 56.912 | 0.15 | 81.066 | 0.233 | 70.467 | 0.608 | 96.417 | 18.206 | 889.067 | 6.277 | 0.3027
2020-04-05 13:15:00 | 2.244 | 205.727 | 2.325 | 203.525 | 2.285 | 210.617 | 2.868 | 201.033 | 20.027 | 889 | 5.831 | 0.19185
2020-04-05 13:30:00 | 4.519 | 277.733 | 4.513 | 272.948 | 4.57 | 276.933 | 4.608 | 272.933 | 17.389 | 889.2 | 6.189 | 0.86973
2020-04-05 13:45:00 | 1.696 | 113.756 | 1.18 | 119.142 | 1.33 | 152.267 | 2.199 | 153.9 | 17.948 | 889.333 | 6.521 | 2.0905
2020-04-05 14:00:00 | 5.535 | 289.317 | 5.736 | 283.167 | 5.897 | 275.633 | 6.112 | 288.867 | 17.435 | 889 | 6.577 | 6.4932
2020-04-05 14:15:00 | 6.457 | 263.108 | 6.644 | 325.671 | 6.693 | 328.667 | 6.9 | 337.933 | 16.781 | 888.933 | 6.951 | 23.848
2020-04-05 14:30:00 | 5.26 | 319.947 | 5.473 | 324.703 | 5.607 | 327.2 | 5.48 | 326.167 | 16.548 | 888.933 | 7.237 | 17.7123
2020-04-05 14:45:00 | 2.426 | 226.687 | 2.27 | 277.514 | 2.46 | 287.367 | 2.926 | 293.367 | 17.418 | 889.2 | 6.932 | 10.591
2020-04-05 15:00:00 | 4.458 | 297.293 | 4.631 | 297.546 | 4.669 | 299.033 | 4.883 | 296.767 | 16.952 | 889.2 | 7.025 | 13.4368
2020-04-05 15:15:00 | 6.096 | 285.067 | 6.302 | 285.886 | 6.347 | 291.667 | 6.536 | 291.233 | 16.631 | 889.067 | 7.175 | 20.6597
2020-04-05 15:30:00 | 6.605 | 332.867 | 6.754 | 326.874 | 6.947 | 331.3 | 7.002 | 327.533 | 16.898 | 889.2 | 7.239 | 18.6083
2020-04-05 15:45:00 | 4.207 | 281.88 | 4.448 | 277.968 | 5.099 | 283.517 | 5.469 | 280.533 | 17.131 | 889.133 | 7.377 | 13.5782
2020-04-05 16:00:00 | 4.442 | 322.667 | 4.339 | 310.094 | 4.687 | 310.8 | 5.063 | 308.767 | 17.727 | 888.8 | 7.342 | 9.8385
2020-04-05 16:15:00 | 5.399 | 312.241 | 5.637 | 323.189 | 5.953 | 320.733 | 6.285 | 315.767 | 17.598 | 888.933 | 7.286 | 19.0091
2020-04-05 16:30:00 | 7.074 | 311.64 | 7.367 | 315.422 | 7.459 | 317.933 | 7.432 | 314.567 | 17.889 | 889.067 | 7.315 | 24.3469
2020-04-05 16:45:00 | 5.091 | 298.74 | 5.311 | 300.18 | 5.297 | 303.667 | 5.504 | 301.8 | 18.048 | 889.133 | 7.318 | 13.3636
2020-04-05 17:00:00 | 7.934 | 331.867 | 7.996 | 327.793 | 8.06 | 306.067 | 8.275 | 307.6 | 18.064 | 889.067 | 7.433 | 31.5648
2020-04-05 17:15:00 | 4.818 | 260.253 | 4.785 | 264.922 | 4.857 | 257.7 | 4.86 | 327.767 | 17.518 | 888.8 | 7.909 | 16.0673
2020-04-05 17:30:00 | 4.384 | 279.162 | 4.501 | 273.071 | 4.146 | 263.5 | 4.166 | 252 | 17.418 | 888.867 | 8.058 | 10.9136
2020-04-05 17:45:00 | 2.922 | 118.684 | 2.683 | 104.831 | 2.791 | 103.8 | 2.917 | 114.5 | 17.644 | 888.667 | 8.044 | 5.5204
2020-04-05 18:00:00 | 4.221 | 290.053 | 4.652 | 289.2 | 4.668 | 294.1 | 4.878 | 292.467 | 17.56 | 888.867 | 7.777 | 4.2471
2020-04-05 18:15:00 | 2.539 | 298.353 | 2.769 | 296.653 | 2.868 | 307.933 | 3.338 | 289.467 | 18.002 | 888.733 | 7.752 | 8.3257
2020-04-05 18:30:00 | 5.365 | 307.013 | 5.452 | 305.227 | 5.537 | 311.567 | 5.832 | 309 | 18.077 | 889 | 8.383 | 15.9572
2020-04-05 18:45:00 | 6.933 | 292.56 | 7.689 | 288.729 | 7.634 | 293.867 | 7.824 | 290.267 | 17.514 | 888.667 | 9.359 | 25.0127
2020-04-05 19:00:00 | 6.619 | 284.78 | 6.935 | 280.887 | 6.966 | 285.833 | 7.2 | 283.533 | 17.518 | 889 | 9.919 | 28.8788
2020-04-05 19:15:00 | 8.165 | 292.287 | 8.58 | 290.453 | 8.648 | 294.533 | 8.993 | 292.6 | 17.098 | 889.267 | 10.17 | 39.3974
2020-04-05 19:30:00 | 7.271 | 294.013 | 7.9 | 293.609 | 7.993 | 298.467 | 8.379 | 296.4 | 16.981 | 889.267 | 10.45 | 39.5395
2020-04-05 19:45:00 | 7.148 | 307.653 | 7.844 | 302.353 | 8.178 | 308.233 | 8.791 | 307.3 | 16.548 | 889.567 | 10.353 | 37.5606
2020-04-05 20:00:00 | 7.237 | 305.547 | 8.122 | 302.181 | 8.647 | 306.233 | 9.176 | 303.867 | 16.598 | 889.067 | 10.129 | 33.526
2020-04-05 20:15:00 | 6.74 | 305.293 | 7.622 | 304.333 | 8.007 | 309.833 | 8.576 | 308.2 | 15.74 | 889.267 | 9.698 | 28.6209
2020-04-05 20:30:00 | 4.676 | 295.867 | 5.796 | 295.036 | 6.312 | 300.767 | 7 | 298.567 | 15.488 | 888.8 | 9.66 | 23.6597
2020-04-05 20:45:00 | 5.442 | 303.507 | 6.26 | 302.231 | 6.633 | 308.033 | 7.323 | 306.867 | 15.212 | 889.133 | 9.519 | 23.3194
2020-04-05 21:00:00 | 5.098 | 285.733 | 6.396 | 287.066 | 7.067 | 294.233 | 7.619 | 291.867 | 14.858 | 889 | 9.642 | 25.1356
2020-04-05 21:15:00 | 5.032 | 287.333 | 6.306 | 288.98 | 6.925 | 295.667 | 7.589 | 294 | 14.52 | 888.8 | 9.671 | 22.947
2020-04-05 21:30:00 | 4.334 | 279.493 | 5.724 | 285.323 | 6.147 | 289.767 | 6.603 | 289.033 | 13.891 | 888.933 | 9.497 | 19.1889
2020-04-05 21:45:00 | 4.685 | 267.927 | 5.794 | 277.195 | 6.004 | 283.567 | 6.579 | 282.433 | 13.512 | 889.267 | 9.902 | 20.8381
2020-04-05 22:00:00 | 5.213 | 263.813 | 6.352 | 273.127 | 6.606 | 279.367 | 7.036 | 279.767 | 12.603 | 889.067 | 9.949 | 22.402
2020-04-05 22:15:00 | 5.028 | 252.98 | 5.984 | 265.974 | 6.225 | 274.033 | 6.654 | 272.467 | 12.016 | 889.4 | 10.178 | 23.1531
2020-04-05 22:30:00 | 5.372 | 248.333 | 6.033 | 259.788 | 6.355 | 267.867 | 6.719 | 265.733 | 11.195 | 889.433 | 10.695 | 23.3258
2020-04-05 22:45:00 | 6.111 | 241.533 | 6.479 | 251.046 | 6.565 | 259.1 | 6.676 | 259.433 | 10.911 | 889.833 | 10.923 | 26.9369
2020-04-05 23:00:00 | 5.91 | 242.787 | 6.591 | 251.591 | 6.761 | 258.967 | 6.99 | 257.15 | 10.432 | 889.367 | 11.291 | 32.3656
2020-04-05 23:15:00 | 5.615 | 232.227 | 6.779 | 245.33 | 6.999 | 253.767 | 7.232 | 250.317 | 9.966 | 889.767 | 11.656 | 37.2735
2020-04-05 23:30:00 | 5.641 | 233.78 | 7.201 | 244.732 | 7.313 | 253.767 | 7.391 | 252.417 | 9.722 | 889.2 | 12.096 | 42.0101
2020-04-05 23:45:00 | 6.094 | 241.233 | 7.165 | 249.556 | 7.328 | 256.967 | 7.716 | 255.783 | 9.562 | 889.5 | 12.091 | 41.6094