## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-06 00:00:00 | 6.114 | 241.087 | 7.04 | 250.92 | 7.256 | 257.533 | 7.374 | 256.05 | 9.428 | 889.267 | 11.931 | 40.9116
2020-04-06 00:15:00 | 5.434 | 233.133 | 6.936 | 246.026 | 7.04 | 254.9 | 7.324 | 252.733 | 9.408 | 889.333 | 11.995 | 43.1754
2020-04-06 00:30:00 | 5.49 | 234.933 | 7.269 | 245.04 | 7.222 | 253.9 | 7.49 | 252.567 | 8.995 | 889.433 | 12.029 | 45.6532
2020-04-06 00:45:00 | 5.822 | 239.933 | 7.379 | 247.581 | 7.42 | 256.233 | 7.482 | 255.45 | 8.774 | 889.533 | 12.112 | 44.7813
2020-04-06 01:00:00 | 6.358 | 235.973 | 7.503 | 246.033 | 7.543 | 255.6 | 7.614 | 255.267 | 8.687 | 889.467 | 12.36 | 43.4249
2020-04-06 01:15:00 | 6.182 | 233.007 | 7.464 | 243.658 | 7.525 | 254.467 | 7.684 | 253.583 | 8.304 | 889.233 | 12.603 | 40.0482
2020-04-06 01:30:00 | 6.124 | 232.833 | 7.363 | 243.731 | 7.453 | 254.5 | 7.619 | 254.117 | 8.307 | 889.667 | 12.883 | 38.1077
2020-04-06 01:45:00 | 5.847 | 231.38 | 7.367 | 243.227 | 7.416 | 254.4 | 7.544 | 254.533 | 7.699 | 889.3 | 13.144 | 39.2908
2020-04-06 02:00:00 | 6.027 | 228.293 | 7.126 | 242.958 | 7.425 | 254.567 | 7.67 | 253.067 | 7.676 | 889.467 | 13.573 | 37.8377
2020-04-06 02:15:00 | 6.101 | 219.567 | 7.157 | 233.91 | 7.363 | 248.333 | 7.474 | 248.833 | 7.322 | 889.767 | 13.904 | 39.4748
2020-04-06 02:30:00 | 6.169 | 218.927 | 7.244 | 232.722 | 7.426 | 247.767 | 7.575 | 248.517 | 6.87 | 889.1 | 14.064 | 41.7209
2020-04-06 02:45:00 | 5.123 | 218 | 6.871 | 230.106 | 7.165 | 245.1 | 7.2 | 247.533 | 7.122 | 889.633 | 14.208 | 36.3732
2020-04-06 03:00:00 | 5.204 | 223.087 | 6.561 | 238.135 | 6.775 | 253.9 | 6.952 | 256.35 | 6.635 | 889.433 | 14.659 | 32.2725
2020-04-06 03:15:00 | 5.732 | 231.6 | 6.807 | 248.1 | 7.304 | 257.4 | 7.684 | 257.033 | 6.857 | 889.467 | 14.568 | 34.8689
2020-04-06 03:30:00 | 5.853 | 241.5 | 7.137 | 255.3 | 7.396 | 263.933 | 7.794 | 262.333 | 7.089 | 889.6 | 14.551 | 35.3372
2020-04-06 03:45:00 | 6.044 | 241.233 | 7.03 | 254.878 | 7.107 | 263 | 7.607 | 260.933 | 7.106 | 889.533 | 14.327 | 38.5497
2020-04-06 04:00:00 | 5.93 | 243.033 | 7.181 | 255.644 | 7.486 | 264.733 | 8.04 | 263.3 | 6.989 | 889.167 | 14.096 | 35.3542
2020-04-06 04:15:00 | 5.971 | 232.653 | 7.126 | 251.863 | 7.661 | 263.2 | 8 | 262.433 | 7.049 | 889.767 | 13.952 | 32.3954
2020-04-06 04:30:00 | 6.286 | 222.04 | 7.148 | 247.71 | 7.926 | 262.933 | 8.488 | 262.333 | 5.567 | 889.733 | 14.736 | 30.2033
2020-04-06 04:45:00 | 6.502 | 224.2 | 6.482 | 244.98 | 6.612 | 258.167 | 7.033 | 258.15 | 5.728 | 889.633 | 14.712 | 27.5565
2020-04-06 05:00:00 | 6.283 | 220.32 | 6.459 | 237.022 | 6.368 | 252.767 | 6.603 | 254.283 | 5.657 | 889.6 | 14.843 | 29.7798
2020-04-06 05:15:00 | 6.537 | 225.293 | 7.27 | 241.732 | 7.464 | 255.967 | 7.885 | 256.983 | 5.28 | 889.6 | 15.043 | 35.4736
2020-04-06 05:30:00 | 5.996 | 218.693 | 7.38 | 236.464 | 7.449 | 252.633 | 7.566 | 253.883 | 5.395 | 889.267 | 15.277 | 34.4405
2020-04-06 05:45:00 | 7.022 | 215.567 | 7.461 | 228.604 | 7.225 | 246.467 | 6.864 | 248.533 | 4.404 | 889.233 | 15.701 | 34.768
2020-04-06 06:00:00 | 6.905 | 215.38 | 7.918 | 228.291 | 7.834 | 239.633 | 7.188 | 241.533 | 4.992 | 889.267 | 15.651 | 35.4821
2020-04-06 06:15:00 | 6.81 | 216.127 | 7.818 | 228.3 | 7.583 | 239.1 | 7.022 | 240.1 | 4.582 | 889.5 | 15.747 | 34.0269
2020-04-06 06:30:00 | 6.945 | 216.4 | 7.652 | 228.234 | 7.192 | 238.7 | 6.619 | 242.267 | 4.735 | 889.333 | 16.003 | 32.7429
2020-04-06 06:45:00 | 7.171 | 213.907 | 7.774 | 226.494 | 7.056 | 238.167 | 6.612 | 242.833 | 4.226 | 889.6 | 16.293 | 33.4378
2020-04-06 07:00:00 | 7.228 | 213.74 | 7.949 | 227.181 | 7.397 | 239.6 | 6.917 | 243.967 | 4.69 | 889.533 | 16.296 | 34.7353
2020-04-06 07:15:00 | 7.239 | 214.26 | 7.739 | 228.146 | 7.456 | 244.8 | 6.98 | 250.533 | 4.186 | 889.367 | 16.312 | 34.2088
2020-04-06 07:30:00 | 6.96 | 215.58 | 7.58 | 235.207 | 7.308 | 254.467 | 7.442 | 259.6 | 4.246 | 889.333 | 16.437 | 34.9748
2020-04-06 07:45:00 | 6.778 | 216.153 | 7.596 | 233.487 | 7.175 | 249.133 | 7.112 | 252.333 | 4.679 | 889.333 | 16.237 | 34.5534
2020-04-06 08:00:00 | 6.358 | 216.827 | 7.668 | 232.965 | 7.525 | 249.533 | 7.065 | 250.667 | 5.379 | 889.2 | 15.512 | 36.0968
2020-04-06 08:15:00 | 6.494 | 218.153 | 7.974 | 232.102 | 7.674 | 243.467 | 7.217 | 241.9 | 6.866 | 889.7 | 14.595 | 39.3121
2020-04-06 08:30:00 | 5.785 | 220.72 | 7.734 | 228.516 | 7.705 | 239.4 | 7.309 | 240 | 8.247 | 889.5 | 13.645 | 37.6671
2020-04-06 08:45:00 | 5.602 | 219.933 | 6.901 | 227.093 | 7.534 | 237.533 | 7.21 | 236.433 | 9.799 | 889.9 | 12.741 | 32.5923
2020-04-06 09:00:00 | 4.915 | 221.92 | 5.958 | 225.776 | 6.927 | 230.667 | 6.862 | 231.133 | 11.366 | 889.367 | 11.699 | 26.7798
2020-04-06 09:15:00 | 6.702 | 226.44 | 6.765 | 227.447 | 7.092 | 234.033 | 7.293 | 231.933 | 12.684 | 889.633 | 10.723 | 24.8705
2020-04-06 09:30:00 | 6.222 | 234.433 | 6.297 | 236.8 | 6.59 | 242.433 | 6.772 | 237.467 | 13.687 | 889 | 10.027 | 25.326
2020-04-06 09:45:00 | 6.434 | 239.493 | 6.498 | 237.512 | 6.677 | 240.467 | 6.858 | 234.367 | 14.433 | 889.067 | 9.531 | 29.8537
2020-04-06 10:00:00 | 6.563 | 254.613 | 6.985 | 252.959 | 7.04 | 256.967 | 6.985 | 252.233 | 14.858 | 889 | 9.146 | 36.8912
2020-04-06 10:15:00 | 6.558 | 287.26 | 7.094 | 288.36 | 7.07 | 288.567 | 7.422 | 286.8 | 15.029 | 889.133 | 9.061 | 51.7968
2020-04-06 10:30:00 | 7.48 | 286.053 | 8.017 | 288.632 | 8.242 | 292.367 | 8.482 | 289 | 14.499 | 889.2 | 9.47 | 45.7925
2020-04-06 10:45:00 | 7.803 | 283.88 | 8.358 | 286.924 | 8.439 | 289.667 | 8.632 | 287.367 | 14.428 | 889.333 | 9.757 | 31.2543
2020-04-06 11:00:00 | 7.147 | 291.013 | 7.57 | 291.851 | 7.755 | 296.733 | 8.155 | 295.667 | 15 | 888.933 | 9.723 | 34.0269
2020-04-06 11:15:00 | 7.988 | 296.427 | 8.412 | 299.388 | 8.67 | 301.767 | 9.112 | 299.067 | 15.326 | 889.367 | 10.337 | 40.9372
2020-04-06 11:30:00 | 5.827 | 290.587 | 6.104 | 289.658 | 6.206 | 294.667 | 6.497 | 291.6 | 15.585 | 889.2 | 11.241 | 33.818
2020-04-06 11:45:00 | 5.184 | 303.627 | 5.622 | 299.368 | 5.561 | 301.6 | 6.003 | 299.4 | 16.153 | 889.9 | 11.771 | 30.0222
2020-04-06 12:00:00 | 6.674 | 324.813 | 7.253 | 313.705 | 7.374 | 318.267 | 7.83 | 312.667 | 16.36 | 889.5 | 11.176 | 32.2185
2020-04-06 12:15:00 | 6.168 | 274.08 | 6.454 | 274.945 | 6.505 | 276.067 | 7.063 | 269.417 | 16.798 | 889.733 | 10.823 | 34.0624
2020-04-06 12:30:00 | 7.692 | 271.307 | 8.045 | 271.595 | 8.234 | 274.9 | 8.414 | 273.067 | 16.798 | 889.267 | 10.406 | 33.1238
2020-04-06 12:45:00 | 7.099 | 289.727 | 7.382 | 287.433 | 7.908 | 292.05 | 8.179 | 289.083 | 17.098 | 889.267 | 10.313 | 31.6593
2020-04-06 13:00:00 | 6.837 | 291.653 | 7.096 | 288.091 | 7.694 | 290.233 | 7.997 | 285.667 | 16.948 | 888.933 | 10.16 | 38.3877
2020-04-06 13:15:00 | 6.706 | 279.6 | 6.988 | 277.491 | 7.182 | 282.667 | 7.465 | 278.5 | 17.523 | 889.2 | 9.792 | 32.804
2020-04-06 13:30:00 | 7.057 | 279.92 | 7.28 | 283.553 | 7.53 | 288.3 | 7.523 | 284.033 | 17.885 | 888.667 | 9.667 | 34.6508
2020-04-06 13:45:00 | 8.374 | 288.347 | 8.865 | 288.466 | 8.855 | 289.9 | 9.122 | 287.067 | 17.231 | 888.933 | 9.711 | 36.2751
2020-04-06 14:00:00 | 7.911 | 301.413 | 8.639 | 301.695 | 8.535 | 306.867 | 8.332 | 302.133 | 17.994 | 888.867 | 9.393 | 37.7922
2020-04-06 14:15:00 | 6.637 | 260.953 | 6.962 | 263.421 | 7.102 | 266.133 | 7.195 | 262.783 | 18.373 | 889 | 8.924 | 29.3592
2020-04-06 14:30:00 | 7.169 | 296.833 | 7.237 | 293.12 | 7.248 | 295.9 | 7.521 | 288.467 | 18.027 | 888.667 | 8.977 | 31.9556
2020-04-06 14:45:00 | 7.677 | 298.067 | 7.874 | 296.366 | 8.227 | 300.7 | 8.566 | 296.65 | 18.41 | 888.8 | 8.859 | 28.2848
2020-04-06 15:00:00 | 5.398 | 306.467 | 5.687 | 301.416 | 6.112 | 307.933 | 6.136 | 304.367 | 18.706 | 888.533 | 8.961 | 32.5262
2020-04-06 15:15:00 | 6.056 | 281.073 | 6.264 | 277.304 | 6.537 | 284.35 | 6.657 | 282.733 | 18.823 | 888.8 | 8.946 | 33.9381
2020-04-06 15:30:00 | 8.163 | 308.747 | 8.523 | 302.076 | 8.513 | 307.033 | 9.07 | 305.967 | 18.806 | 888.933 | 8.8 | 41.2349
2020-04-06 15:45:00 | 7.037 | 280.44 | 7.124 | 278.398 | 7.39 | 282.433 | 7.621 | 277 | 18.998 | 889 | 8.96 | 40.1229
2020-04-06 16:00:00 | 8.7 | 293.12 | 8.89 | 291.225 | 9.065 | 297.7 | 9.347 | 296.433 | 19.318 | 889 | 8.757 | 45.0499
2020-04-06 16:15:00 | 7.706 | 295.733 | 8.076 | 292.936 | 8.44 | 300.533 | 8.593 | 297.933 | 19.456 | 889.2 | 8.679 | 41.2761
2020-04-06 16:30:00 | 7.266 | 311.68 | 7.553 | 305.32 | 7.661 | 311.2 | 8.009 | 307.533 | 19.448 | 889 | 8.389 | 33.3419
2020-04-06 16:45:00 | 8.785 | 311.907 | 9.507 | 304.544 | 9.827 | 308.333 | 9.97 | 305 | 19.118 | 889.133 | 8.48 | 42.062
2020-04-06 17:00:00 | 8.646 | 280.673 | 9.39 | 280.273 | 9.532 | 286.9 | 9.648 | 284.6 | 19.377 | 889 | 8.453 | 41.7323
2020-04-06 17:15:00 | 6.445 | 279.933 | 6.616 | 280.448 | 6.716 | 286.933 | 7.096 | 285.533 | 19.444 | 889.133 | 8.333 | 41.0779
2020-04-06 17:30:00 | 8.43 | 323.453 | 8.702 | 315.858 | 9.013 | 320.3 | 9.218 | 317.667 | 18.827 | 889.067 | 8.783 | 41.3166
2020-04-06 17:45:00 | 8.424 | 305.293 | 8.882 | 304.373 | 9.041 | 309.733 | 9.563 | 309.233 | 19.189 | 889.067 | 8.317 | 47.171
2020-04-06 18:00:00 | 7.494 | 297.053 | 7.748 | 295.41 | 8.109 | 299.3 | 8.543 | 297.167 | 19.148 | 889.133 | 8.279 | 52.9045
2020-04-06 18:15:00 | 6.931 | 316 | 7.316 | 308.217 | 7.617 | 312.433 | 8.261 | 311.1 | 19.214 | 889.067 | 7.877 | 45.5601
2020-04-06 18:30:00 | 8.294 | 296.52 | 9.104 | 295.387 | 9.418 | 298.6 | 9.801 | 295.7 | 19.439 | 888.933 | 7.629 | 45.5097
2020-04-06 18:45:00 | 8.192 | 284.56 | 8.778 | 285.85 | 8.967 | 289.433 | 9.344 | 288.2 | 19.331 | 888.867 | 7.592 | 38.8431
2020-04-06 19:00:00 | 6.244 | 289.72 | 6.384 | 286.261 | 6.306 | 291.7 | 6.771 | 290.567 | 19.168 | 888.733 | 7.387 | 40.3524
2020-04-06 19:15:00 | 8.694 | 319.08 | 9.05 | 314.503 | 9.232 | 317.967 | 9.506 | 316 | 18.923 | 889.067 | 7.665 | 48.9943
2020-04-06 19:30:00 | 7.201 | 311.6 | 7.968 | 304.946 | 8.299 | 308.7 | 8.812 | 306.367 | 18.773 | 888.8 | 7.469 | 42.1259
2020-04-06 19:45:00 | 7.246 | 317.667 | 7.6 | 312.498 | 7.793 | 316.267 | 8.067 | 315.233 | 18.302 | 889.133 | 7.906 | 38.3912
2020-04-06 20:00:00 | 6.588 | 310.973 | 7.197 | 306.846 | 7.604 | 312.3 | 8.118 | 309.367 | 18.239 | 889.133 | 8.111 | 31.8476
2020-04-06 20:15:00 | 5.06 | 301.187 | 6.078 | 301.2 | 6.3 | 306.3 | 6.604 | 304.933 | 17.473 | 889.6 | 8.611 | 21.0157
2020-04-06 20:30:00 | 4.783 | 307.853 | 5.972 | 306.442 | 6.374 | 310.633 | 6.898 | 308.467 | 16.814 | 888.8 | 8.898 | 20.2085
2020-04-06 20:45:00 | 3.757 | 286.587 | 5.34 | 292.646 | 5.911 | 300.433 | 6.662 | 299.3 | 16.314 | 889 | 9.076 | 17.4878
2020-04-06 21:00:00 | 4.076 | 292.12 | 5.481 | 295.844 | 5.947 | 301.433 | 6.426 | 298.433 | 15.702 | 889.067 | 9.431 | 15.8186
2020-04-06 21:15:00 | 4.049 | 270.287 | 4.477 | 279.891 | 4.88 | 285.1 | 5.408 | 285.633 | 15.124 | 888.933 | 9.636 | 13.6045
2020-04-06 21:30:00 | 4.34 | 247.08 | 4.834 | 268.169 | 4.906 | 279.867 | 5.331 | 281.367 | 14.379 | 889.233 | 10.158 | 12.3525
2020-04-06 21:45:00 | 5.209 | 253.947 | 5.639 | 270.02 | 5.818 | 278.667 | 6.224 | 279.3 | 13.343 | 889.7 | 10.809 | 14.3471
2020-04-06 22:00:00 | 5.228 | 253.4 | 5.265 | 267.549 | 5.411 | 276.733 | 5.648 | 277 | 13.493 | 889.733 | 10.803 | 11.5268
2020-04-06 22:15:00 | 4.944 | 237.12 | 4.948 | 261.147 | 4.746 | 272.133 | 5.024 | 274.333 | 12.116 | 889.167 | 11.639 | 9.1045
2020-04-06 22:30:00 | 5.422 | 240.767 | 5.517 | 261.837 | 5.375 | 274.2 | 5.589 | 274.467 | 11.328 | 889.467 | 12.435 | 14.2462
2020-04-06 22:45:00 | 5.811 | 243.473 | 5.693 | 262.32 | 5.572 | 273.533 | 5.838 | 272.533 | 11.386 | 889.567 | 12.427 | 17.1957
2020-04-06 23:00:00 | 5.974 | 236.213 | 6.212 | 256.162 | 6.087 | 271.333 | 6.434 | 272.7 | 10.118 | 889.733 | 13.129 | 17.1112
2020-04-06 23:15:00 | 6.266 | 230.193 | 6.31 | 242.461 | 5.813 | 253.833 | 5.718 | 255.85 | 10.16 | 889.733 | 13.744 | 17.7663
2020-04-06 23:30:00 | 6.188 | 227.613 | 6.317 | 239.174 | 5.818 | 249.867 | 5.651 | 251.333 | 9.866 | 889.4 | 14.315 | 18.1784
2020-04-06 23:45:00 | 5.845 | 227.913 | 6.943 | 239.484 | 6.506 | 252.667 | 6.102 | 254.083 | 9.183 | 889.8 | 14.84 | 19.4646