## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-07 00:00:00 | 5.399 | 233.547 | 6.686 | 243.327 | 6.072 | 252.5 | 5.791 | 253.817 | 9.472 | 889.433 | 15.045 | 17.5311
2020-04-07 00:15:00 | 6.066 | 220.88 | 6.743 | 236.43 | 6.274 | 246.067 | 5.712 | 248.567 | 9.083 | 889.3 | 15.251 | 17.1225
2020-04-07 00:30:00 | 6.164 | 216.767 | 7.159 | 229.611 | 6.872 | 238.767 | 6.192 | 236.5 | 7.823 | 889.5 | 15.792 | 18.9807
2020-04-07 00:45:00 | 7.114 | 213.547 | 7.036 | 225.881 | 6.664 | 234.2 | 6.376 | 232.9 | 7.566 | 889.3 | 16.283 | 19.8788
2020-04-07 01:00:00 | 6.665 | 212.707 | 7.334 | 219.843 | 6.84 | 229.233 | 6.273 | 228.067 | 7.836 | 888.767 | 16.237 | 20.4025
2020-04-07 01:15:00 | 6.785 | 214.933 | 7.346 | 219.848 | 6.933 | 226.7 | 6.48 | 225.167 | 7.306 | 889.533 | 16.741 | 21.4186
2020-04-07 01:30:00 | 7.045 | 215.487 | 7.594 | 220.786 | 7.124 | 226.033 | 6.68 | 224.467 | 7.362 | 889.667 | 16.803 | 23.6107
2020-04-07 01:45:00 | 6.91 | 217.333 | 7.374 | 221.605 | 7.169 | 227.7 | 6.884 | 225.867 | 7.322 | 889.7 | 16.963 | 25.3232
2020-04-07 02:00:00 | 7.12 | 217.493 | 7.556 | 222.853 | 7.339 | 229.6 | 7.065 | 226.733 | 7.409 | 889.633 | 17.413 | 26.9248
2020-04-07 02:15:00 | 6.76 | 219.013 | 7.726 | 223.533 | 7.4 | 230.533 | 7.164 | 228.9 | 7.13 | 889.733 | 17.741 | 25.3175
2020-04-07 02:30:00 | 6.546 | 222.413 | 7.241 | 227.518 | 7.162 | 234.7 | 6.825 | 232.867 | 7.599 | 889.867 | 18.187 | 23.7315
2020-04-07 02:45:00 | 6.345 | 220.8 | 7.485 | 227.597 | 7.292 | 235.633 | 6.929 | 233.4 | 7.306 | 889.133 | 18.843 | 24.4449
2020-04-07 03:00:00 | 6.438 | 222.467 | 7.269 | 228.566 | 7.042 | 235.867 | 6.665 | 234.167 | 6.757 | 889.5 | 19.581 | 22.2109
2020-04-07 03:15:00 | 6.405 | 217.76 | 7.401 | 226.606 | 7.107 | 234.867 | 6.506 | 233.533 | 6.87 | 889.467 | 20.067 | 22.2628
2020-04-07 03:30:00 | 6.34 | 217.88 | 7.38 | 228.321 | 7.065 | 236.867 | 6.64 | 234.667 | 6.3 | 889.85 | 20.584 | 22.3281
2020-04-07 03:45:00 | 6.643 | 216.18 | 7.709 | 226.586 | 7.334 | 234.833 | 6.843 | 233.6 | 6.399 | 890.033 | 20.923 | 24.8329
2020-04-07 04:00:00 | 7.104 | 216.04 | 7.545 | 223.373 | 7.061 | 232.1 | 6.529 | 231.233 | 6.23 | 890.383 | 21.264 | 29.8658
2020-04-07 04:15:00 | 7.376 | 214.18 | 8.683 | 217.791 | 7.976 | 224.367 | 7.399 | 222 | 6.068 | 889.567 | 21.861 | 34.2941
2020-04-07 04:30:00 | 7.228 | 211.767 | 9.227 | 215.426 | 8.222 | 224.167 | 7.509 | 223.6 | 6.077 | 889.417 | 21.824 | 33.8656
2020-04-07 04:45:00 | 7.108 | 213.373 | 8.4 | 217.993 | 7.778 | 224.567 | 7.192 | 222.667 | 6.263 | 889.767 | 22.021 | 32.5205
2020-04-07 05:00:00 | 6.938 | 214.6 | 8.406 | 221.411 | 7.772 | 231.067 | 7.34 | 230.367 | 6.26 | 889.867 | 21.952 | 31.7694
2020-04-07 05:15:00 | 7.417 | 214.133 | 8.33 | 218.889 | 7.788 | 226.467 | 7.154 | 224.033 | 5.862 | 889.667 | 21.899 | 29.4189
2020-04-07 05:30:00 | 6.936 | 214.173 | 8.135 | 217.65 | 7.885 | 224.533 | 7.271 | 222.433 | 6.28 | 889.55 | 21.829 | 28.9265
2020-04-07 05:45:00 | 6.177 | 214.367 | 7.635 | 220.172 | 7.084 | 226.2 | 6.838 | 223.4 | 5.912 | 889.583 | 22.197 | 27.403
2020-04-07 06:00:00 | 6.839 | 214.507 | 8.325 | 215.892 | 7.808 | 221 | 7.16 | 220.533 | 5.749 | 889.55 | 22.587 | 27.1913
2020-04-07 06:15:00 | 6.776 | 213.807 | 8.594 | 215.939 | 8.305 | 220.433 | 7.952 | 218.533 | 6.082 | 889.767 | 22.555 | 28.9513
2020-04-07 06:30:00 | 6.983 | 216.693 | 7.333 | 214.403 | 7.384 | 219.4 | 7.307 | 217.333 | 6.604 | 889.467 | 22.149 | 21.9196
2020-04-07 06:45:00 | 6.432 | 218.547 | 7.583 | 214.601 | 7.545 | 218.9 | 7.336 | 215.333 | 6.235 | 889.683 | 22.165 | 22.8156
2020-04-07 07:00:00 | 6.899 | 214.607 | 8.085 | 213.252 | 7.821 | 219.067 | 7.416 | 214.667 | 6.562 | 890.3 | 22.48 | 24.4158
2020-04-07 07:15:00 | 6.771 | 214.453 | 8.445 | 212.93 | 8.122 | 217.7 | 7.792 | 213.233 | 6.784 | 889.667 | 22.165 | 26.2412
2020-04-07 07:30:00 | 7.248 | 212.24 | 9.053 | 212.442 | 9.071 | 216.567 | 8.795 | 212.967 | 6.628 | 889.867 | 22.293 | 36.0932
2020-04-07 07:45:00 | 8.235 | 214.467 | 9.237 | 215.343 | 8.932 | 219.4 | 8.602 | 215.833 | 7.973 | 889.317 | 20.808 | 37.6174
2020-04-07 08:00:00 | 5.573 | 230.853 | 6.939 | 220.952 | 8.385 | 223.8 | 8.159 | 222.333 | 8.937 | 889.2 | 19.381 | 34.5605
2020-04-07 08:15:00 | 6.056 | 213.52 | 8.106 | 217.925 | 8.463 | 224.833 | 7.874 | 221.733 | 9.391 | 889.5 | 18.472 | 33.99
2020-04-07 08:30:00 | 6.28 | 216.12 | 8.053 | 217.814 | 8.127 | 224.633 | 7.662 | 222.733 | 10.045 | 889.4 | 17.891 | 31.5044
2020-04-07 08:45:00 | 5.694 | 219.2 | 6.815 | 220.324 | 7.392 | 227.6 | 6.951 | 225.633 | 11.061 | 889.367 | 16.499 | 24.4669
2020-04-07 09:00:00 | 5.602 | 221.327 | 6.485 | 222.294 | 6.581 | 229.833 | 6.385 | 228.833 | 12.057 | 889.333 | 15.267 | 17.5524
2020-04-07 09:15:00 | 4.776 | 229.44 | 4.74 | 229.136 | 5.112 | 237.133 | 5.604 | 234.967 | 13.291 | 889.5 | 13.789 | 11.3705
2020-04-07 09:30:00 | 4.496 | 241.487 | 4.419 | 239.172 | 4.538 | 244.933 | 4.53 | 243.767 | 14.258 | 889.533 | 12.88 | 8.4458
2020-04-07 09:45:00 | 3.82 | 242 | 3.961 | 240.569 | 4.045 | 249.2 | 4.244 | 252.817 | 15.074 | 889.5 | 12.192 | 6.0022
2020-04-07 10:00:00 | 4.121 | 269.113 | 4.331 | 267.571 | 4.222 | 268.9 | 4.318 | 265.017 | 15.846 | 889.567 | 11.611 | 6.9394
2020-04-07 10:15:00 | 4.976 | 282.393 | 4.985 | 284.939 | 5.076 | 289.1 | 5.227 | 283.733 | 15.45 | 889.533 | 11.469 | 9.8172
2020-04-07 10:30:00 | 5.316 | 303.093 | 5.509 | 299.918 | 5.391 | 304.333 | 5.865 | 300.433 | 15.21 | 889.5 | 11.863 | 8.7847
2020-04-07 10:45:00 | 3.7 | 310.76 | 3.828 | 310.167 | 3.814 | 312.2 | 4.23 | 308.6 | 15.26 | 889.533 | 12.06 | 5.0599
2020-04-07 11:00:00 | 3.669 | 313.32 | 3.792 | 313.801 | 3.818 | 314.433 | 4.137 | 315 | 15.652 | 889.567 | 11.648 | 6.5358
2020-04-07 11:15:00 | 4.629 | 313.173 | 4.629 | 305.774 | 4.639 | 312.9 | 5.114 | 312 | 15.972 | 889.6 | 11.612 | 7.4276
2020-04-07 11:30:00 | 4.503 | 335.573 | 4.577 | 330.378 | 4.539 | 329.833 | 4.907 | 327.867 | 16.096 | 889.5 | 11.344 | 6.6651
2020-04-07 11:45:00 | 5.116 | 330.667 | 5.128 | 321.893 | 5.332 | 324.433 | 5.267 | 325.733 | 16.681 | 889.367 | 11.204 | 7.3146
2020-04-07 12:00:00 | 5.002 | 320.2 | 5.152 | 309.223 | 5.088 | 305.4 | 5.305 | 307.2 | 16.614 | 889.167 | 11.177 | 9.4512
2020-04-07 12:15:00 | 4.009 | 317.987 | 4.362 | 306.797 | 4.154 | 313.067 | 4.42 | 310.733 | 16.981 | 889.867 | 11.08 | 9.3674
2020-04-07 12:30:00 | 5.532 | 324.107 | 5.744 | 312.359 | 6.081 | 311.667 | 6.319 | 307.767 | 17.481 | 889.967 | 10.885 | 12.0711
2020-04-07 12:45:00 | 5.792 | 310.08 | 5.79 | 325.215 | 6.034 | 330.867 | 6.552 | 326.9 | 17.252 | 889.733 | 10.889 | 16.5036
2020-04-07 13:00:00 | 3.865 | 310.32 | 4.054 | 307.377 | 4.061 | 313.5 | 4.318 | 313.367 | 17.456 | 889.5 | 10.808 | 11.0848
2020-04-07 13:15:00 | 4.514 | 280.747 | 4.65 | 311.999 | 4.863 | 319.067 | 5.152 | 307.667 | 17.973 | 889.3 | 10.849 | 9.6445
2020-04-07 13:30:00 | 3.929 | 324.947 | 3.839 | 320.225 | 3.872 | 320.133 | 4.387 | 312.6 | 17.839 | 889.3 | 11.163 | 16.5633
2020-04-07 13:45:00 | 6.545 | 290.647 | 6.903 | 293.41 | 7.136 | 296.4 | 7.731 | 296.467 | 18.406 | 889.5 | 12.303 | 23.1353
2020-04-07 14:00:00 | 4.134 | 313.027 | 4.447 | 310.14 | 4.934 | 311.667 | 5.733 | 308.167 | 18.185 | 889.367 | 13.561 | 23.1083
2020-04-07 14:15:00 | 5.853 | 315.08 | 6.395 | 312.197 | 6.642 | 317.7 | 6.938 | 316.533 | 18.552 | 889.033 | 13.405 | 26.0252
2020-04-07 14:30:00 | 6.368 | 317.8 | 6.776 | 307.954 | 6.716 | 311.1 | 7.167 | 311.7 | 18.706 | 889.467 | 13.029 | 22.3708
2020-04-07 14:45:00 | 6.506 | 322.467 | 6.678 | 318.189 | 6.96 | 320.9 | 7.208 | 317.333 | 18.656 | 889.633 | 13.021 | 30.3547
2020-04-07 15:00:00 | 6.919 | 305.893 | 7.085 | 307.905 | 7.053 | 313.4 | 7.301 | 308.6 | 18.977 | 889.467 | 12.784 | 24.4243
2020-04-07 15:15:00 | 4.937 | 333.48 | 5.285 | 333.565 | 5.475 | 297.283 | 5.778 | 327.033 | 18.773 | 889.433 | 12.452 | 18.8854
2020-04-07 15:30:00 | 6.648 | 319.013 | 7.121 | 311.141 | 7.093 | 313.167 | 7.315 | 313.033 | 18.989 | 889.367 | 12.339 | 21.8592
2020-04-07 15:45:00 | 7.609 | 301.12 | 8.16 | 298.275 | 8.405 | 306.367 | 8.542 | 305.767 | 19.014 | 889.567 | 12.489 | 26.4864
2020-04-07 16:00:00 | 4.798 | 301.2 | 5.126 | 299.402 | 5.225 | 289.267 | 5.714 | 301.3 | 20.118 | 889.467 | 12.084 | 18.9224
2020-04-07 16:15:00 | 6.736 | 279.453 | 6.993 | 274.167 | 7.149 | 279.133 | 7.434 | 280.717 | 19.318 | 889.367 | 11.48 | 15.2729
2020-04-07 16:30:00 | 5.264 | 288.913 | 5.603 | 289.238 | 5.641 | 292.433 | 6.076 | 293.067 | 19.956 | 889.467 | 11.308 | 20.1645
2020-04-07 16:45:00 | 5.55 | 298.241 | 5.637 | 304.155 | 5.921 | 319.267 | 6.012 | 306.5 | 19.627 | 889.033 | 12.283 | 16.8653
2020-04-07 17:00:00 | 6.336 | 286.2 | 6.704 | 286.989 | 6.919 | 288.967 | 7.196 | 285.667 | 19.639 | 889.433 | 12.329 | 20.8786
2020-04-07 17:15:00 | 6.009 | 276.92 | 5.966 | 276.595 | 6.079 | 280.733 | 6.174 | 278.133 | 19.398 | 889.2 | 12.561 | 20.9056
2020-04-07 17:30:00 | 7.406 | 279.933 | 7.776 | 280.905 | 7.828 | 283.933 | 8.054 | 281.8 | 19.231 | 889.467 | 13.227 | 32.6221
2020-04-07 17:45:00 | 6.785 | 288.44 | 6.89 | 289.603 | 6.984 | 293.033 | 7.015 | 290.5 | 19.527 | 889.6 | 13.976 | 26.7472
2020-04-07 18:00:00 | 5.176 | 287.093 | 5.5 | 282.008 | 5.341 | 285.9 | 5.49 | 282.8 | 19.477 | 889.467 | 13.96 | 18.2545
2020-04-07 18:15:00 | 5.764 | 295.033 | 6.065 | 292.342 | 6.152 | 294.367 | 6.61 | 295.767 | 19.602 | 889.5 | 13.563 | 23.6143
2020-04-07 18:30:00 | 8.193 | 327.973 | 8.377 | 320.892 | 8.066 | 326.167 | 8.3 | 325.3 | 19.031 | 889.167 | 14.565 | 32.2377
2020-04-07 18:45:00 | 3.874 | 318.467 | 3.929 | 333.253 | 4.254 | 301.3 | 4.677 | 334.1 | 19.073 | 889.267 | 15.977 | 14.2064
2020-04-07 19:00:00 | 3.697 | 311.227 | 4.027 | 303.86 | 3.962 | 310.4 | 4.383 | 309.067 | 18.918 | 889.433 | 15.905 | 14.0493
2020-04-07 19:15:00 | 6.107 | 273.667 | 6.797 | 271.956 | 7.074 | 273.267 | 7.262 | 270.133 | 18.794 | 889.533 | 15.837 | 22.8085
2020-04-07 19:30:00 | 6.998 | 289.4 | 7.551 | 290.241 | 7.674 | 294.5 | 8.016 | 294.633 | 18.689 | 889.467 | 14.939 | 24.4016
2020-04-07 19:45:00 | 6.757 | 282.84 | 7.616 | 283.61 | 7.781 | 288.033 | 7.841 | 285.233 | 19.102 | 889.667 | 14.327 | 25.9577
2020-04-07 20:00:00 | 6.376 | 288.4 | 7.157 | 289.524 | 7.505 | 294.367 | 7.921 | 292.9 | 18.606 | 889.667 | 15.001 | 24.5586
2020-04-07 20:15:00 | 4.958 | 309.813 | 5.46 | 304.338 | 5.785 | 308.2 | 6.146 | 306.033 | 17.994 | 889.5 | 15.945 | 18.0846
2020-04-07 20:30:00 | 4.078 | 299.907 | 4.848 | 295.863 | 4.825 | 300.367 | 5.225 | 298.233 | 18.106 | 889.733 | 16.629 | 10.5405
2020-04-07 20:45:00 | 3.43 | 299.867 | 4.531 | 297.063 | 4.904 | 303.433 | 5.487 | 301.333 | 17.573 | 889.433 | 17.04 | 8.6376
2020-04-07 21:00:00 | 3.833 | 306.72 | 4.768 | 306.716 | 5.018 | 312.333 | 5.612 | 311.933 | 16.781 | 889.833 | 17.604 | 10.5974
2020-04-07 21:15:00 | 3.782 | 301.507 | 4.679 | 304.176 | 4.857 | 309.6 | 5.413 | 308.9 | 16.864 | 889.2 | 17.673 | 9.8087
2020-04-07 21:30:00 | 3.824 | 281.547 | 4.458 | 288.96 | 4.614 | 295.333 | 5.144 | 294.167 | 16.255 | 889.533 | 17.724 | 7.9228
2020-04-07 21:45:00 | 4.03 | 262.373 | 4.294 | 274.956 | 4.497 | 281.967 | 5.02 | 284.667 | 15.772 | 889.833 | 18.129 | 7.5995
2020-04-07 22:00:00 | 4.596 | 245.687 | 4.853 | 258.558 | 4.911 | 267.333 | 5.149 | 266.367 | 15.046 | 889.5 | 18.76 | 8.3619
2020-04-07 22:15:00 | 3.564 | 246.467 | 4.191 | 266.387 | 4.159 | 275.6 | 4.365 | 274.833 | 13.808 | 889.667 | 19.667 | 6.2686
2020-04-07 22:30:00 | 4.313 | 246.7 | 4.13 | 265.386 | 4.037 | 273.133 | 4.219 | 273.067 | 13.339 | 889.967 | 20.269 | 5.4884
2020-04-07 22:45:00 | 4.631 | 244.867 | 4.103 | 261.941 | 3.884 | 271.2 | 4.232 | 268.267 | 13.245 | 889.783 | 20.491 | 4.6571
2020-04-07 23:00:00 | 4.963 | 236.62 | 4.004 | 257.625 | 3.895 | 272 | 4.264 | 269.733 | 12.893 | 889.85 | 20.923 | 4.451
2020-04-07 23:15:00 | 5.819 | 231.613 | 4.802 | 246.721 | 4.401 | 257.167 | 4.457 | 255.267 | 12.211 | 889.867 | 21.285 | 6.7788
2020-04-07 23:30:00 | 5.434 | 226.767 | 4.742 | 248.776 | 4.38 | 258.133 | 4.44 | 256.667 | 11.195 | 889.583 | 22.213 | 6.7355
2020-04-07 23:45:00 | 5.552 | 230.467 | 4.46 | 252.597 | 4.069 | 263.6 | 4.209 | 261.8 | 10.611 | 889.45 | 22.763 | 6.0583