## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-08 00:00:00 | 5.626 | 227.26 | 5.021 | 249.429 | 4.307 | 262.8 | 4.366 | 261.567 | 10.47 | 890.033 | 23.173 | 6.5528
2020-04-08 00:15:00 | 5.429 | 226.96 | 5.354 | 247.132 | 4.708 | 260.2 | 4.721 | 262.9 | 9.989 | 890.233 | 23.808 | 7.3771
2020-04-08 00:30:00 | 5.957 | 224.327 | 5.325 | 244.274 | 4.53 | 258.667 | 4.509 | 263.133 | 10.082 | 889.75 | 23.925 | 8.2795
2020-04-08 00:45:00 | 6.024 | 218.053 | 6.279 | 234.803 | 5.413 | 247.7 | 4.6 | 253.5 | 10.055 | 889.833 | 24.032 | 11.7116
2020-04-08 01:00:00 | 6.038 | 220.053 | 6.855 | 234.886 | 6.076 | 245.867 | 5.424 | 245.533 | 9.733 | 889.7 | 24.523 | 14.4011
2020-04-08 01:15:00 | 5.978 | 219.953 | 6.522 | 234.292 | 5.925 | 243.733 | 5.205 | 243.833 | 9.449 | 889.317 | 24.8 | 12.744
2020-04-08 01:30:00 | 5.857 | 224.873 | 6.362 | 237.128 | 5.718 | 246.967 | 5.131 | 246.733 | 9.037 | 889.55 | 25.104 | 12.2637
2020-04-08 01:45:00 | 5.969 | 220.747 | 6.143 | 239.214 | 5.514 | 250.467 | 5.058 | 251.433 | 8.958 | 889.55 | 25.445 | 12.7334
2020-04-08 02:00:00 | 5.736 | 221.013 | 6.241 | 239.52 | 5.532 | 251.733 | 5.098 | 254.667 | 8.862 | 889.75 | 25.797 | 12.9693
2020-04-08 02:15:00 | 5.946 | 218.027 | 6.163 | 238.036 | 5.435 | 250.1 | 4.994 | 253.167 | 8.687 | 889.85 | 26.224 | 13.4894
2020-04-08 02:30:00 | 6.138 | 224.9 | 6.29 | 241.836 | 5.519 | 255.1 | 5.233 | 259.233 | 8.391 | 889.933 | 26.613 | 15.6808
2020-04-08 02:45:00 | 6.236 | 225.013 | 6.374 | 243.706 | 5.747 | 257.567 | 5.647 | 262.333 | 8.418 | 889.75 | 26.971 | 16.3267
2020-04-08 03:00:00 | 6.159 | 226.353 | 6.326 | 244.632 | 5.781 | 258.567 | 5.74 | 262.367 | 8.578 | 889.9 | 27.248 | 15.1521
2020-04-08 03:15:00 | 5.758 | 225.153 | 6.196 | 244.629 | 5.627 | 260 | 5.54 | 263.067 | 8.414 | 889.9 | 27.637 | 13.8418
2020-04-08 03:30:00 | 5.338 | 228.04 | 5.885 | 247.904 | 5.413 | 264.533 | 5.38 | 268.333 | 8.287 | 889.45 | 28.208 | 11.1033
2020-04-08 03:45:00 | 4.67 | 220.587 | 5.86 | 246.576 | 5.382 | 263.533 | 5.267 | 266.233 | 8.147 | 889.8 | 28.827 | 9.3212
2020-04-08 04:00:00 | 4.181 | 216.387 | 5.312 | 244.327 | 4.834 | 264.067 | 4.936 | 267.3 | 7.763 | 889.45 | 29.76 | 8.2042
2020-04-08 04:15:00 | 4.063 | 207.133 | 4.658 | 230.114 | 3.966 | 250.833 | 3.639 | 258.8 | 7.189 | 889.883 | 30.352 | 8.8572
2020-04-08 04:30:00 | 3.859 | 185.767 | 5.529 | 213.144 | 5.421 | 230.267 | 4.539 | 236.933 | 7.406 | 889.717 | 30.64 | 9.0107
2020-04-08 04:45:00 | 3.929 | 192.153 | 6.045 | 214.961 | 5.955 | 231.667 | 4.902 | 230.633 | 7.696 | 889.467 | 30.677 | 9.1656
2020-04-08 05:00:00 | 5.349 | 215.087 | 6.205 | 227.779 | 5.208 | 237.8 | 4.443 | 242 | 7.016 | 889.6 | 31.92 | 8.622
2020-04-08 05:15:00 | 5.576 | 215.533 | 6.257 | 227.082 | 5.428 | 235.367 | 4.511 | 235.667 | 7.506 | 889.483 | 31.349 | 7.4375
2020-04-08 05:30:00 | 5.35 | 216.6 | 6.166 | 228.552 | 5.477 | 238.4 | 4.67 | 238.867 | 7.289 | 889.6 | 31.632 | 7.4325
2020-04-08 05:45:00 | 6.357 | 214.9 | 6.765 | 230.271 | 6.198 | 237.733 | 5.706 | 233.733 | 7.606 | 889.783 | 31.584 | 12.2182
2020-04-08 06:00:00 | 6.239 | 213.933 | 6.825 | 230.442 | 6.112 | 241.467 | 5.606 | 240.6 | 7.372 | 889.933 | 31.547 | 15.3994
2020-04-08 06:15:00 | 6.318 | 214.033 | 6.906 | 229.812 | 6.282 | 242.433 | 5.681 | 241.733 | 7.222 | 889.167 | 32.139 | 15.9437
2020-04-08 06:30:00 | 6.291 | 214.44 | 6.67 | 231.66 | 6.193 | 245.667 | 5.653 | 245.567 | 6.48 | 889.7 | 32.779 | 14.9745
2020-04-08 06:45:00 | 6.128 | 214.387 | 6.553 | 233.925 | 6.028 | 247.133 | 5.426 | 247.767 | 6.701 | 890 | 33.531 | 13.7736
2020-04-08 07:00:00 | 6.052 | 213.273 | 6.851 | 234.82 | 6.212 | 247.3 | 5.578 | 245.567 | 6.562 | 889.333 | 33.973 | 13.1306
2020-04-08 07:15:00 | 6.097 | 215.847 | 6.592 | 232.184 | 5.879 | 244.8 | 5.322 | 244.6 | 6.781 | 890.033 | 34.005 | 13.1178
2020-04-08 07:30:00 | 6.821 | 211.627 | 6.972 | 228.439 | 6.019 | 239.567 | 5.362 | 239.467 | 6.174 | 889.933 | 33.573 | 15.1187
2020-04-08 07:45:00 | 6.278 | 211.507 | 7.141 | 222.706 | 6.232 | 233.833 | 5.478 | 232.6 | 6.711 | 889.817 | 32.725 | 15.2921
2020-04-08 08:00:00 | 4.58 | 195.933 | 6.174 | 206.7 | 7.134 | 225.567 | 6.073 | 228.067 | 6.956 | 889.6 | 31.829 | 14.7727
2020-04-08 08:15:00 | 4.701 | 199.047 | 6.023 | 206.556 | 7.539 | 223.067 | 6.312 | 226.933 | 8.15 | 889.717 | 30.235 | 17.1723
2020-04-08 08:30:00 | 5.578 | 211.24 | 7.53 | 215.707 | 6.408 | 224.8 | 6.085 | 225.133 | 9.93 | 890.083 | 27.824 | 16.3565
2020-04-08 08:45:00 | 6.058 | 213.167 | 7.138 | 218.989 | 6.059 | 226.967 | 5.567 | 227.067 | 11.345 | 889.65 | 25.755 | 14.0962
2020-04-08 09:00:00 | 5.116 | 217.273 | 5.811 | 220.386 | 6.101 | 228.733 | 5.902 | 227.4 | 13.21 | 889.85 | 23.925 | 10.6258
2020-04-08 09:15:00 | 4.642 | 217.833 | 4.664 | 223.017 | 4.972 | 228.933 | 5.399 | 226.433 | 14.824 | 889.433 | 22.384 | 6.8698
2020-04-08 09:30:00 | 4.795 | 234.2 | 4.665 | 232.175 | 4.844 | 235.533 | 4.889 | 231.467 | 15.834 | 889.917 | 21.36 | 5.2241
2020-04-08 09:45:00 | 3.939 | 273.38 | 4.248 | 272.373 | 4.307 | 279.4 | 4.721 | 276.9 | 16.731 | 889.933 | 20.741 | 6.231
2020-04-08 10:00:00 | 4.158 | 305.053 | 4.196 | 297.514 | 4.298 | 302.133 | 4.577 | 298.067 | 15.792 | 889.767 | 21.115 | 7.6976
2020-04-08 10:15:00 | 5.336 | 291.413 | 5.468 | 289.787 | 5.56 | 294.4 | 5.97 | 291.133 | 16.1 | 889.833 | 21.48 | 15.5273
2020-04-08 10:30:00 | 6.224 | 293.84 | 6.305 | 295.122 | 6.489 | 299.033 | 6.813 | 295.233 | 16.298 | 889.617 | 21.573 | 19.0077
2020-04-08 10:45:00 | 5.791 | 290.227 | 5.912 | 291.192 | 5.96 | 297.3 | 6.404 | 297.6 | 16.381 | 889.983 | 21.48 | 20.8409
2020-04-08 11:00:00 | 6.084 | 285.773 | 6.284 | 284.025 | 6.439 | 289.833 | 6.529 | 286.367 | 16.881 | 889.6 | 20.997 | 18.6076
2020-04-08 11:15:00 | 5.286 | 299.827 | 5.604 | 290.718 | 5.794 | 297.733 | 6.262 | 295.3 | 17.148 | 889.367 | 20.185 | 19.6813
2020-04-08 11:30:00 | 7.678 | 292.307 | 8.228 | 290.892 | 8.247 | 294.533 | 8.515 | 290.9 | 17.477 | 889.333 | 17.755 | 28.4909
2020-04-08 11:45:00 | 6.05 | 280.187 | 6.686 | 277.608 | 6.618 | 280.2 | 7.101 | 279.767 | 17.652 | 889.2 | 16.736 | 33.1323
2020-04-08 12:00:00 | 6.889 | 271.213 | 7.362 | 272.134 | 7.215 | 274.933 | 7.244 | 272.25 | 17.931 | 889.4 | 17.201 | 38.5198
2020-04-08 12:15:00 | 7.119 | 293.633 | 7.53 | 290.687 | 7.615 | 291.767 | 7.547 | 287.65 | 17.702 | 889.633 | 17.216 | 34.8128
2020-04-08 12:30:00 | 6.184 | 280.02 | 6.428 | 282.411 | 6.902 | 283.833 | 7.153 | 280.567 | 18.039 | 889.033 | 16.544 | 33.0826
2020-04-08 12:45:00 | 8.105 | 267.387 | 8.947 | 268.089 | 8.718 | 273.867 | 8.833 | 268.2 | 18.606 | 889.367 | 15.945 | 33.9367
2020-04-08 13:00:00 | 7.589 | 303.88 | 8.003 | 301.428 | 8.111 | 304.8 | 8.794 | 302.767 | 18.114 | 889.3 | 16.156 | 36.9701
2020-04-08 13:15:00 | 7.861 | 296.8 | 8.46 | 292.431 | 8.697 | 293.867 | 8.844 | 291.733 | 18.656 | 889.4 | 14.744 | 35.8651
2020-04-08 13:30:00 | 4.956 | 294.747 | 5.268 | 292.094 | 5.343 | 298.8 | 5.566 | 297.333 | 18.489 | 889.667 | 15.36 | 26.6519
2020-04-08 13:45:00 | 6.499 | 316.32 | 6.73 | 313.996 | 6.884 | 317.733 | 7.184 | 315.533 | 18.96 | 889.533 | 16.097 | 25.6351
2020-04-08 14:00:00 | 4.72 | 296.347 | 4.822 | 293.991 | 5.091 | 299.467 | 5.426 | 294.333 | 19.089 | 889.167 | 15.636 | 20.3904
2020-04-08 14:15:00 | 7.488 | 334.293 | 7.616 | 328.162 | 7.799 | 330.833 | 7.798 | 328.5 | 19.498 | 889.233 | 14.72 | 25.2081
2020-04-08 14:30:00 | 5.781 | 322.787 | 6.313 | 321.743 | 6.715 | 314.333 | 6.678 | 321.9 | 19.468 | 889.8 | 14.212 | 17.6022
2020-04-08 14:45:00 | 5.016 | 258.22 | 5.121 | 257.784 | 5.434 | 264.85 | 5.58 | 259.2 | 20.189 | 889.467 | 13.145 | 17.3194
2020-04-08 15:00:00 | 5.645 | 268.353 | 6.109 | 271.014 | 6.146 | 277.9 | 6.454 | 277.633 | 20.281 | 889.667 | 13.035 | 23.9603
2020-04-08 15:15:00 | 5.001 | 282.62 | 5.202 | 282.818 | 5.129 | 290.1 | 5.571 | 287.767 | 20.589 | 889.567 | 11.76 | 23.1496
2020-04-08 15:30:00 | 4.289 | 304.733 | 4.358 | 294.619 | 4.756 | 299.267 | 5.461 | 294.6 | 20.848 | 890.067 | 10.688 | 18.2189
2020-04-08 15:45:00 | 6.058 | 311.907 | 6.265 | 303.581 | 6.404 | 306.067 | 6.657 | 303.233 | 20.127 | 889.133 | 10.259 | 19.5953
2020-04-08 16:00:00 | 5.581 | 333.133 | 5.61 | 329.028 | 5.791 | 331.833 | 5.876 | 328.833 | 20.323 | 889.333 | 10.44 | 11.0237
2020-04-08 16:15:00 | 5.669 | 306.167 | 5.849 | 299.331 | 5.786 | 299.7 | 6.221 | 295.2 | 20.794 | 889 | 9.881 | 12.7845
2020-04-08 16:30:00 | 3.438 | 311.693 | 3.549 | 305.725 | 3.462 | 310.8 | 3.902 | 312.467 | 20.518 | 889.5 | 10.819 | 8.1694
2020-04-08 16:45:00 | 5.06 | 304.667 | 5.163 | 301.325 | 5.295 | 307.233 | 5.627 | 302.133 | 20.831 | 889.1 | 10.113 | 7.5981
2020-04-08 17:00:00 | 4.933 | 321.853 | 4.912 | 313.602 | 4.93 | 314.7 | 5.293 | 307.167 | 20.785 | 889 | 8.701 | 12.8684
2020-04-08 17:15:00 | 5.958 | 314.747 | 6.104 | 315.13 | 6.297 | 320.733 | 6.621 | 309.567 | 21.289 | 888.733 | 9.237 | 10.5548
2020-04-08 17:30:00 | 5.581 | 326.88 | 5.881 | 320.967 | 5.94 | 324.933 | 5.991 | 321.767 | 21.41 | 889.133 | 8.744 | 10.4951
2020-04-08 17:45:00 | 2.416 | 307.853 | 2.528 | 326.501 | 2.588 | 332.667 | 3.087 | 329.767 | 20.689 | 888.667 | 8.947 | 5.8195
2020-04-08 18:00:00 | 5.34 | 287.447 | 5.51 | 283.038 | 5.892 | 289.767 | 6.18 | 289.167 | 21.218 | 889.067 | 8.265 | 8.2227
2020-04-08 18:15:00 | 4.588 | 307.48 | 4.788 | 318.668 | 4.727 | 313.9 | 5.023 | 329.5 | 21.152 | 889.333 | 8.178 | 9.9003
2020-04-08 18:30:00 | 4.54 | 308.587 | 4.7 | 306.84 | 4.983 | 312.067 | 5.358 | 308.8 | 21.502 | 888.733 | 8.57 | 6.2253
2020-04-08 18:45:00 | 5.329 | 308.493 | 5.447 | 323.85 | 5.493 | 325.933 | 5.693 | 321.1 | 21.56 | 888.667 | 8.613 | 6.1507
2020-04-08 19:00:00 | 5.086 | 326.8 | 5.183 | 320.892 | 5.18 | 325.8 | 5.372 | 324.8 | 21.464 | 889.2 | 8.911 | 8.234
2020-04-08 19:15:00 | 3.658 | 322.333 | 3.947 | 314.493 | 3.863 | 324.333 | 4.252 | 320.7 | 21.21 | 888.8 | 8.783 | 7.9029
2020-04-08 19:30:00 | 3.789 | 319.96 | 3.825 | 312.342 | 3.978 | 314.333 | 4.317 | 311.233 | 21.389 | 888.667 | 8.979 | 5.504
2020-04-08 19:45:00 | 3.971 | 313.627 | 4.183 | 315.008 | 4.463 | 319.6 | 4.985 | 318.967 | 20.944 | 889.133 | 9.556 | 6.9366
2020-04-08 20:00:00 | 3.792 | 296.213 | 4.39 | 297.412 | 4.388 | 303.433 | 4.915 | 303.733 | 20.623 | 889.1 | 10.179 | 8.8714
2020-04-08 20:15:00 | 3.715 | 297.733 | 4.205 | 298.317 | 4.504 | 305.133 | 5.036 | 303.333 | 20.202 | 889.5 | 10.241 | 7.4105
2020-04-08 20:30:00 | 3.25 | 303.76 | 3.74 | 304.268 | 3.833 | 310.133 | 4.384 | 306.5 | 19.581 | 889.433 | 10.724 | 5.2944
2020-04-08 20:45:00 | 3.411 | 309.613 | 4.204 | 306.665 | 4.36 | 313.8 | 4.673 | 313.067 | 18.973 | 889.333 | 11.74 | 4.8795
2020-04-08 21:00:00 | 2.612 | 302.467 | 2.965 | 306.375 | 3.141 | 312.733 | 3.665 | 311.033 | 18.523 | 889.5 | 12.056 | 2.2738
2020-04-08 21:15:00 | 2.698 | 275.6 | 2.464 | 299.812 | 2.508 | 310.6 | 3.289 | 305.3 | 18.506 | 889.5 | 12.248 | 1.019
2020-04-08 21:30:00 | 4.532 | 250.28 | 3.948 | 257.598 | 3.332 | 274.533 | 3.376 | 279.033 | 16.798 | 889.367 | 13.419 | 1.5569
2020-04-08 21:45:00 | 4.794 | 240.94 | 4.036 | 250.975 | 3.864 | 258.133 | 4.07 | 256.867 | 15.687 | 889.4 | 13.392 | 3.6608
2020-04-08 22:00:00 | 4.832 | 235 | 3.945 | 250.58 | 3.617 | 258 | 3.752 | 258 | 14.958 | 889.633 | 12.808 | 3.6829
2020-04-08 22:15:00 | 4.91 | 232.333 | 4.09 | 249.362 | 3.924 | 257.533 | 4.205 | 256.7 | 14.095 | 889.567 | 12.933 | 4.5583
2020-04-08 22:30:00 | 5.27 | 224.487 | 4.706 | 248.539 | 4.332 | 256.933 | 4.58 | 255.267 | 12.97 | 889.6 | 13.035 | 6.6864
2020-04-08 22:45:00 | 5.723 | 230.467 | 4.809 | 252.891 | 4.53 | 263 | 4.933 | 258.467 | 12.403 | 889.667 | 13.709 | 7.1462
2020-04-08 23:00:00 | 5.705 | 225.893 | 4.874 | 247.86 | 4.176 | 261 | 4.546 | 258.6 | 12.486 | 889.533 | 14.123 | 5.5524
2020-04-08 23:15:00 | 5.199 | 223.127 | 4.695 | 245.302 | 3.814 | 260 | 3.942 | 265 | 12.07 | 889.767 | 14.659 | 3.7532
2020-04-08 23:30:00 | 5.825 | 221.627 | 5.13 | 243.839 | 3.998 | 257.7 | 3.788 | 264.1 | 11.424 | 889.867 | 14.816 | 4.1028
2020-04-08 23:45:00 | 6.072 | 219.3 | 5.831 | 234.852 | 4.568 | 250.633 | 3.705 | 264 | 10.778 | 889.6 | 15.4 | 5.7158